## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-27 00:00:00 | 2.0314 | 307.8579 | 2.3364 | 338.3 | 4.0493 | 31.3243 | 4.6486 | 14.3514 | 11.2 | 889 | 92.3571 | 5.2436
2020-02-27 00:15:00 | 2.516 | 201.8013 | 2.896 | 221.7533 | 4.5233 | 74.392 | 4.8933 | 14.964 | 11.3527 | 888.0667 | 91.6733 | 8.7027
2020-02-27 00:30:00 | 3.2293 | 85.5287 | 3.724 | 93.9767 | 4.9867 | 115.6773 | 4.7373 | 14.03 | 11.4867 | 888 | 90.8733 | 9.7353
2020-02-27 00:45:00 | 3.076 | 151.6393 | 3.5427 | 166.6267 | 5.206 | 5.7887 | 5.1573 | 17.1347 | 11.4107 | 888 | 91.0467 | 12.8453
2020-02-27 01:00:00 | 3.0707 | 159.782 | 3.5393 | 175.5767 | 5.074 | 59.242 | 5.008 | 14.676 | 11.218 | 888 | 91.9733 | 13.37
2020-02-27 01:15:00 | 3.482 | 114.158 | 4.0073 | 125.44 | 5.4847 | 124.9567 | 5.36 | 53.2047 | 11.178 | 888 | 91.86 | 15.9247
2020-02-27 01:30:00 | 4.1807 | 152.2607 | 4.8173 | 167.3167 | 6.9413 | 346.06 | 6.5147 | 191.2493 | 11.1113 | 888 | 91.6 | 34.96
2020-02-27 01:45:00 | 5.184 | 169.0573 | 5.9667 | 185.7733 | 8.6807 | 307.4987 | 8.6613 | 4.802 | 11.05 | 887.0667 | 91.2733 | 31.1033
2020-02-27 02:00:00 | 4.3113 | 143.2027 | 4.966 | 157.3633 | 6.9333 | 129.82 | 7.0693 | 18.5813 | 10.874 | 887.6 | 91.8533 | 33.096
2020-02-27 02:15:00 | 4.81 | 81.0127 | 5.5373 | 89.022 | 7.4153 | 38.9167 | 7.09 | 20.274 | 10.6873 | 888 | 92.22 | 36.14
2020-02-27 02:30:00 | 5.0093 | 165.914 | 5.762 | 182.318 | 8.1187 | 11.0853 | 7.9153 | 20.202 | 10.572 | 887.4 | 92.24 | 37.2353
2020-02-27 02:45:00 | 5.3953 | 210.712 | 6.2053 | 231.5433 | 8.79 | 13.096 | 8.5967 | 19.804 | 10.5347 | 887 | 91.8667 | 36.2333
2020-02-27 03:00:00 | 5.5573 | 177.0433 | 6.402 | 194.5473 | 8.848 | 7.4107 | 8.5993 | 23.9313 | 10.494 | 887 | 91.6533 | 36.2113
2020-02-27 03:15:00 | 5.488 | 71.2193 | 6.3173 | 78.2547 | 8.8193 | 13.6493 | 8.6953 | 126.9613 | 10.4173 | 887 | 91.48 | 36.9187
2020-02-27 03:30:00 | 5.9593 | 82.0147 | 6.8553 | 90.1213 | 9.898 | 125.4487 | 9.2207 | 16.518 | 10.3113 | 887 | 91.3067 | 39.4047
2020-02-27 03:45:00 | 6.4413 | 196.3933 | 7.406 | 215.8187 | 10.9647 | 12.7073 | 10.522 | 17.1287 | 10.152 | 887 | 91.6733 | 40.1533
2020-02-27 04:00:00 | 6.5013 | 153.8793 | 7.482 | 169.0933 | 11.072 | 17.3527 | 10.5193 | 17.3673 | 9.99 | 886.4 | 92.3133 | 40.876
2020-02-27 04:15:00 | 6.3087 | 236.3727 | 7.2613 | 259.7467 | 10.1413 | 9.9013 | 9.7667 | 20.754 | 9.7053 | 886 | 93.5933 | 42.9233
2020-02-27 04:30:00 | 6.2573 | 84.3153 | 7.2033 | 92.6513 | 10.5487 | 11.432 | 9.8773 | 17.4967 | 9.4427 | 886 | 95 | 42.8107
2020-02-27 04:45:00 | 6.618 | 50.8667 | 7.614 | 55.8953 | 10.5093 | 12.9033 | 10.3213 | 18.0387 | 9.0993 | 885.7333 | 96.8733 | 43.9893
2020-02-27 05:00:00 | 6.79 | 73.926 | 7.8107 | 81.23 | 11.2247 | 11.7767 | 10.8793 | 17.3007 | 8.8167 | 885 | 98.3467 | 44.1347
2020-02-27 05:15:00 | 6.5913 | 144.3327 | 7.5807 | 158.6 | 10.396 | 11.5813 | 10.076 | 20.7093 | 8.5973 | 885 | 99.2333 | 45.966
2020-02-27 05:30:00 | 6.7013 | 188.1447 | 7.706 | 206.75 | 10.7653 | 9.658 | 10.5167 | 19.6187 | 8.4607 | 885 | 99.6533 | 45.3913
2020-02-27 05:45:00 | 6.64 | 166.0807 | 7.636 | 182.5027 | 10.282 | 13.1413 | 9.908 | 14.9787 | 8.372 | 885 | 99.92 | 46.9947
2020-02-27 06:00:00 | 6.4647 | 101.4987 | 7.44 | 111.536 | 9.8387 | 15.404 | 9.8693 | 16.5887 | 8.2227 | 885 | 99.94 | 47.0527
2020-02-27 06:15:00 | 6.054 | 131.4247 | 6.966 | 144.424 | 9.5607 | 18.05 | 9.4487 | 11.874 | 8.09 | 885 | 99.9267 | 47.5593
2020-02-27 06:30:00 | 6.1493 | 117.9713 | 7.0787 | 129.632 | 9.0607 | 66.2247 | 8.856 | 12.7193 | 7.9633 | 885 | 100 | 48.8687
2020-02-27 06:45:00 | 5.808 | 202.3947 | 6.686 | 222.4033 | 8.7073 | 5.546 | 8.78 | 15.8673 | 7.8513 | 885 | 100 | 48.588
2020-02-27 07:00:00 | 6.2513 | 313.506 | 7.1973 | 344.5133 | 9.3733 | 12.3753 | 9.298 | 17.3367 | 7.7527 | 885 | 100 | 49.242
2020-02-27 07:15:00 | 6.3953 | 220.312 | 7.3607 | 242.1 | 9.772 | 119.764 | 9.708 | 122.4133 | 7.6487 | 885 | 100 | 47.8193
2020-02-27 07:30:00 | 5.5967 | 169.2993 | 6.4433 | 186.0427 | 9.3713 | 119.916 | 9.0927 | 148.486 | 7.5647 | 885 | 100 | 48.1667
2020-02-27 07:45:00 | 6.2227 | 16.6533 | 7.1667 | 18.2993 | 9.9627 | 120.962 | 9.5733 | 79.9613 | 7.4333 | 885.6667 | 100 | 47.7227
2020-02-27 08:00:00 | 6.3753 | 151.35 | 7.3387 | 166.312 | 10.638 | 10.3527 | 10.4973 | 18.2167 | 7.3247 | 885.6 | 100 | 47.0213
2020-02-27 08:15:00 | 6.7927 | 194.2747 | 7.8167 | 213.486 | 10.7813 | 8.2173 | 10.67 | 17.4467 | 7.2213 | 886 | 100 | 47.0607
2020-02-27 08:30:00 | 7.1947 | 148.0653 | 8.2767 | 162.704 | 11.6413 | 14.354 | 11.5687 | 17.8867 | 7.1173 | 886 | 100 | 48.0133
2020-02-27 08:45:00 | 7.068 | 299.0967 | 8.1307 | 328.6667 | 11.192 | 15.6993 | 10.912 | 14.15 | 7.0527 | 886 | 100 | 46.9533
2020-02-27 09:00:00 | 6.6167 | 130.328 | 7.6147 | 143.2167 | 10.1973 | 162.738 | 10.1227 | 15.7113 | 7.0533 | 886 | 100 | 48.018
2020-02-27 09:15:00 | 6.5147 | 312.2933 | 7.4947 | 343.18 | 9.7867 | 190.872 | 9.6347 | 13.8913 | 7.0067 | 886 | 100 | 48.7707
2020-02-27 09:30:00 | 6.6407 | 192.4407 | 7.64 | 211.468 | 10.496 | 4.7307 | 10.4593 | 10.8473 | 6.95 | 886 | 100 | 49.258
2020-02-27 09:45:00 | 6.8707 | 213.4453 | 7.906 | 234.5533 | 10.8707 | 12.3973 | 10.5567 | 21.272 | 6.8787 | 886 | 100 | 48.0147
2020-02-27 10:00:00 | 7.0007 | 69.0987 | 8.058 | 75.9287 | 10.3267 | 156.6427 | 10.2967 | 32.3993 | 6.84 | 886 | 100 | 47.7947
2020-02-27 10:15:00 | 6.936 | 126.098 | 7.9767 | 138.5667 | 11.164 | 72.744 | 10.918 | 50.7953 | 6.8133 | 886 | 100 | 47.474
2020-02-27 10:30:00 | 7.0667 | 193.3127 | 8.1253 | 212.432 | 11.236 | 152.332 | 11.3347 | 14.458 | 6.7487 | 886 | 100 | 47.2247
2020-02-27 10:45:00 | 7.1187 | 119.4707 | 8.1907 | 131.2807 | 11.7613 | 14.9733 | 11.7553 | 16.86 | 6.67 | 886 | 100 | 47.7
2020-02-27 11:00:00 | 6.7667 | 299.996 | 7.788 | 329.6667 | 11.39 | 16.0593 | 11.2867 | 19.6947 | 6.62 | 886 | 100 | 47.2247
2020-02-27 11:15:00 | 6.0873 | 139.1373 | 7.0027 | 152.894 | 11.1687 | 15.0927 | 11.2567 | 24.3847 | 6.628 | 886 | 100 | 47.818
2020-02-27 11:30:00 | 6.6807 | 131.8007 | 7.6927 | 144.8347 | 11.724 | 13.5153 | 11.5607 | 21.11 | 6.6393 | 886 | 100 | 48.974
2020-02-27 11:45:00 | 6.9573 | 101.2053 | 8.0053 | 111.2113 | 12.0813 | 12.7947 | 12.234 | 17.768 | 6.6173 | 886 | 100 | 49.884
2020-02-27 12:00:00 | 7.2913 | 253.568 | 8.3867 | 278.64 | 12.2433 | 12.3533 | 12.3333 | 15.076 | 6.578 | 886 | 100 | 52.46
2020-02-27 12:15:00 | 7.9067 | 78.348 | 9.102 | 86.0933 | 13.008 | 17.986 | 12.8833 | 19.1987 | 6.6207 | 886 | 100 | 52.0387
2020-02-27 12:30:00 | 7.7307 | 147.3167 | 8.898 | 161.8867 | 11.9853 | 12.218 | 11.5253 | 16.74 | 6.606 | 886 | 100 | 51.0427
2020-02-27 12:45:00 | 7.8333 | 210.0193 | 9.01 | 230.7867 | 12.1053 | 17.6087 | 12.1 | 18.7207 | 6.6147 | 886 | 100 | 50.2733
2020-02-27 13:00:00 | 7.7787 | 166.9927 | 8.9547 | 183.506 | 12.024 | 48.5987 | 11.9693 | 12.1813 | 6.572 | 886 | 100 | 50.1787
2020-02-27 13:15:00 | 7.106 | 159.9813 | 8.1747 | 175.8007 | 11.4767 | 118.7267 | 11.326 | 10.322 | 6.6267 | 885.7333 | 100 | 51.052
2020-02-27 13:30:00 | 7.174 | 299.6493 | 8.2507 | 329.28 | 11.4813 | 80.8247 | 10.8553 | 15.246 | 6.58 | 885 | 100 | 51.5833
2020-02-27 13:45:00 | 6.92 | 211.9493 | 7.9647 | 232.91 | 10.6487 | 3.1927 | 10.5607 | 120.3593 | 6.5473 | 885 | 100 | 52.5913
2020-02-27 14:00:00 | 7.206 | 165.7433 | 8.2913 | 182.132 | 11.5653 | 11.0053 | 11.4747 | 123.1493 | 6.5927 | 885 | 100 | 54.3227
2020-02-27 14:15:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 14:30:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 14:45:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 15:00:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 15:15:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 15:30:00 | 7.7753 | 122.9053 | 8.9427 | 135.0547 | 12.1567 | 5.1293 | 11.9093 | 13.514 | 6.6 | 885 | 100 | 53.8467
2020-02-27 15:45:00 | 9.0373 | 111.0913 | 10.3953 | 122.0733 | 15.646 | 14.8247 | 15.014 | 18.8233 | 6.7293 | 884 | 96.4667 | 60.5533
2020-02-27 16:00:00 | 9.0373 | 111.0913 | 10.3953 | 122.0733 | 15.646 | 14.8247 | 15.014 | 18.8233 | 6.7293 | 884 | 96.4667 | 60.5533
2020-02-27 16:15:00 | 9.0373 | 111.0913 | 10.3953 | 122.0733 | 15.646 | 14.8247 | 15.014 | 18.8233 | 6.7293 | 884 | 96.4667 | 60.5533
2020-02-27 16:30:00 | 9.0373 | 111.0913 | 10.3953 | 122.0733 | 15.646 | 14.8247 | 15.014 | 18.8233 | 6.7293 | 884 | 96.4667 | 60.5533
2020-02-27 16:45:00 | 9.0373 | 111.0913 | 10.3953 | 122.0733 | 15.646 | 14.8247 | 15.014 | 18.8233 | 6.7293 | 884 | 96.4667 | 60.5533
2020-02-27 17:00:00 | 8.4013 | 116.7607 | 9.67 | 128.3053 | 15.014 | 10.7893 | 14.4973 | 19.3093 | 6.8093 | 884 | 95.9133 | 61.0227
2020-02-27 17:15:00 | 8.3887 | 207.992 | 9.652 | 228.5533 | 15.1807 | 8.1907 | 14.686 | 16.492 | 6.914 | 884 | 95.1333 | 60.6953
2020-02-27 17:30:00 | 8.32 | 173.5773 | 9.58 | 190.7373 | 15.3027 | 8.1527 | 14.6593 | 15.2213 | 6.918 | 884 | 94.6267 | 60.7073
2020-02-27 17:45:00 | 8.1387 | 215.3327 | 9.3673 | 236.6193 | 14.6733 | 12.1933 | 14.212 | 22.392 | 6.9007 | 884 | 94.4133 | 59.88
2020-02-27 18:00:00 | 8.028 | 60.0087 | 9.2393 | 65.94 | 14.51 | 13.9033 | 14.262 | 16.3513 | 6.9327 | 884 | 94.2867 | 60.6227
2020-02-27 18:15:00 | 8.1587 | 125.9807 | 9.3847 | 138.4307 | 14.6527 | 11.9873 | 14.264 | 23.4873 | 7.0247 | 884 | 93.7533 | 60.094
2020-02-27 18:30:00 | 8.232 | 137.5147 | 9.4747 | 151.1073 | 14.9093 | 100.7307 | 14.9473 | 28.8787 | 7.0593 | 884 | 93.3467 | 59.234
2020-02-27 18:45:00 | 8.6013 | 175.0173 | 9.8973 | 192.3187 | 15.61 | 17.6713 | 16.3593 | 31.6433 | 7.1407 | 884 | 92.7133 | 60.5973
2020-02-27 19:00:00 | 8.87 | 116.754 | 10.2033 | 128.2987 | 15.8207 | 18.5427 | 16.7113 | 29.6373 | 7.1973 | 884 | 91.9867 | 61.3613
2020-02-27 19:15:00 | 9.7893 | 71.4587 | 11.2633 | 78.5187 | 17.584 | 14.8473 | 17.8913 | 26.1293 | 7.29 | 884 | 91.38 | 61.6987
2020-02-27 19:30:00 | 9.934 | 165.8227 | 11.4367 | 182.2133 | 17.5673 | 21.0527 | 17.9773 | 26.6593 | 7.4587 | 884 | 90.3467 | 60.7993
2020-02-27 19:45:00 | 9.6533 | 255.7847 | 11.1027 | 281.0733 | 17.108 | 9.7 | 17.2373 | 23.7487 | 7.524 | 884.9333 | 89.64 | 61.98
2020-02-27 20:00:00 | 9.3653 | 253.188 | 10.774 | 278.22 | 16.4793 | 16.31 | 16.5967 | 64.9833 | 7.6187 | 885 | 88.5533 | 61.7767
2020-02-27 20:15:00 | 9.4653 | 261.37 | 10.8933 | 287.22 | 16.442 | 11.1693 | 16.322 | 86.4973 | 7.7173 | 885 | 87.72 | 62.5393
2020-02-27 20:30:00 | 9.5827 | 139.1267 | 11.0207 | 152.8867 | 17.0347 | 7.168 | 16.9593 | 23.834 | 7.7487 | 885.6 | 86.92 | 62.218
2020-02-27 20:45:00 | 9.5227 | 184.174 | 10.9587 | 202.3867 | 17.0373 | 11.912 | 16.7667 | 22.756 | 7.7433 | 886 | 86.8067 | 61.334
2020-02-27 21:00:00 | 9.2073 | 118.48 | 10.592 | 130.1933 | 16.3713 | 11.5887 | 16.172 | 19.3267 | 7.9427 | 886 | 84.6 | 60.6933
2020-02-27 21:15:00 | 8.864 | 223.6527 | 10.2053 | 245.7733 | 15.866 | 13.1033 | 15.5093 | 23.5933 | 8.1373 | 886 | 82.72 | 60.994
2020-02-27 21:30:00 | 9.3053 | 262.262 | 10.7047 | 288.1933 | 16.432 | 13.8787 | 16.0653 | 24.2193 | 8.268 | 886 | 81.4533 | 60.9647
2020-02-27 21:45:00 | 8.8827 | 261.0673 | 10.2167 | 286.8867 | 15.846 | 16.5107 | 16.1587 | 25.6293 | 8.3353 | 886 | 80.9 | 60.1727
2020-02-27 22:00:00 | 9.074 | 136.25 | 10.4393 | 149.72 | 16.2527 | 8.164 | 16.1327 | 21.596 | 8.3427 | 886.6 | 80.68 | 61.226
2020-02-27 22:15:00 | 9.1387 | 95.6827 | 10.5087 | 105.1393 | 16.0767 | 13.1733 | 16.5193 | 25.9067 | 8.4733 | 886.0667 | 79.1907 | 61.02
2020-02-27 22:30:00 | 9.8123 | 186.8662 | 11.1967 | 215.5293 | 17.1792 | 9.0708 | 17.325 | 24.2125 | 8.6158 | 886 | 77.5908 | 60.0308
2020-02-27 22:45:00 | 10.606 | 316.262 | 12.194 | 347.54 | 18.814 | 12.484 | 18.994 | 25.424 | 8.648 | 886 | 77.292 | 59.764
2020-02-27 23:00:00 | 10.5727 | 137.488 | 12.1573 | 151.0793 | 18.656 | 16.6593 | 18.9513 | 25.7307 | 8.542 | 886 | 77.1627 | 59.3993
2020-02-27 23:15:00 | 10.0433 | 190.9027 | 11.5553 | 209.7833 | 17.8333 | 14.1033 | 18.1767 | 24.7547 | 8.376 | 886 | 77.7033 | 59.4813
2020-02-27 23:30:00 | 9.48 | 157.23 | 10.9053 | 172.7793 | 16.6467 | 27.2853 | 17.0373 | 32.4153 | 8.1893 | 886 | 78.8013 | 59.5273
2020-02-27 23:45:00 | 10.188 | 148.9507 | 11.716 | 163.6773 | 17.9067 | 24.4573 | 18.296 | 31.0207 | 8.1253 | 886 | 79.098 | 59.0307