## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-28 00:00:00 | 9.6771 | 186.6857 | 11.1343 | 205.1393 | 17.2043 | 17.1879 | 17.4607 | 27.7736 | 8.0729 | 886 | 79.5479 | 58.2779
2020-02-28 00:15:00 | 9.4373 | 95.3993 | 10.8593 | 104.8233 | 16.8773 | 12.2707 | 16.8947 | 22.8533 | 8.096 | 886 | 79.7173 | 58.764
2020-02-28 00:30:00 | 9.5887 | 143.3947 | 11.0293 | 157.57 | 17.072 | 15.6553 | 16.9613 | 21.382 | 8.1427 | 886 | 79.5593 | 59.756
2020-02-28 00:45:00 | 9.2587 | 176.4267 | 10.652 | 193.8767 | 16.5333 | 22.1687 | 16.3067 | 24.7847 | 8.0753 | 886 | 79.9867 | 59.5007
2020-02-28 01:00:00 | 8.884 | 293.524 | 10.2227 | 322.5533 | 15.5487 | 18.4253 | 15.53 | 27.134 | 8.06 | 886 | 79.752 | 60.2007
2020-02-28 01:15:00 | 9.2847 | 257.8513 | 10.6827 | 283.3467 | 15.9673 | 16.9293 | 15.71 | 21.5227 | 8.126 | 886 | 79.016 | 60.3393
2020-02-28 01:30:00 | 10.2887 | 209.2793 | 11.8313 | 229.98 | 17.8113 | 12.03 | 17.3073 | 20.5967 | 8.1873 | 885.4 | 78.0573 | 59.6073
2020-02-28 01:45:00 | 9.6773 | 219.922 | 11.138 | 241.6667 | 17.2013 | 9.5913 | 17.2867 | 18.0793 | 8.178 | 885 | 77.8067 | 61.1527
2020-02-28 02:00:00 | 9.556 | 124.8413 | 10.9907 | 137.1867 | 17.0753 | 7.542 | 16.9967 | 23.28 | 8.13 | 885 | 77.8127 | 60.9073
2020-02-28 02:15:00 | 9.462 | 93.8827 | 10.8887 | 103.17 | 16.234 | 16.4693 | 15.9853 | 11.728 | 8.2047 | 885 | 76.6247 | 60.9367
2020-02-28 02:30:00 | 8.6367 | 185.2033 | 9.94 | 203.52 | 14.378 | 9.1987 | 14.1093 | 15.3533 | 8.2093 | 885 | 76.2853 | 61.56
2020-02-28 02:45:00 | 7.9193 | 116.9387 | 9.1113 | 128.5073 | 13.6427 | 18.336 | 13.5527 | 22.3473 | 8.0747 | 885 | 76.9467 | 60.208
2020-02-28 03:00:00 | 7.0947 | 114.1767 | 8.1607 | 125.4627 | 12.206 | 16.5353 | 11.966 | 27.402 | 7.8967 | 885 | 77.654 | 60.434
2020-02-28 03:15:00 | 7.9933 | 105.6067 | 9.204 | 116.0433 | 13.8813 | 10.3693 | 13.6967 | 24.05 | 7.718 | 884.7333 | 78.2607 | 60.4767
2020-02-28 03:30:00 | 7.6393 | 58.84 | 8.786 | 64.6533 | 13.6173 | 29.7973 | 14.126 | 31.07 | 7.664 | 884 | 78.0027 | 58.84
2020-02-28 03:45:00 | 7.4613 | 85.392 | 8.5907 | 93.8313 | 13.1327 | 15.7727 | 13.4447 | 26.0707 | 7.6293 | 884.6667 | 77.824 | 58.25
2020-02-28 04:00:00 | 7.128 | 195.4273 | 8.2053 | 214.7493 | 12.8667 | 18.118 | 13.5293 | 21.658 | 7.7027 | 884 | 76.982 | 55.7647
2020-02-28 04:15:00 | 6.196 | 134.464 | 7.1333 | 147.756 | 11.26 | 18.9227 | 11.4653 | 22.6827 | 7.6747 | 884.9333 | 76.9733 | 49.8173
2020-02-28 04:30:00 | 5.5593 | 56.2213 | 6.3967 | 61.7813 | 10.2853 | 12.3113 | 10.4913 | 26.6647 | 7.732 | 885 | 76.5027 | 47.226
2020-02-28 04:45:00 | 5.2867 | 141.3467 | 6.086 | 155.3213 | 9.958 | 18.152 | 9.9667 | 25.162 | 7.564 | 885 | 77.6333 | 47.8373
2020-02-28 05:00:00 | 5.002 | 221.1327 | 5.7533 | 242.9987 | 9.038 | 17.1333 | 9.1553 | 17.548 | 7.374 | 885 | 78.3167 | 40.244
2020-02-28 05:15:00 | 4.6487 | 74.9293 | 5.3473 | 82.336 | 8.642 | 13.0747 | 8.868 | 21.866 | 7.538 | 885 | 77.0927 | 47.2207
2020-02-28 05:30:00 | 5.0973 | 121.0313 | 5.8593 | 132.9907 | 9.144 | 23.3287 | 9.6773 | 31.4707 | 7.2027 | 885 | 79.62 | 46.946
2020-02-28 05:45:00 | 4.968 | 126.3373 | 5.7147 | 138.8227 | 9.3607 | 15.5513 | 10.5913 | 31.0833 | 6.9213 | 885 | 81.1987 | 47.226
2020-02-28 06:00:00 | 5.6433 | 137.416 | 6.49 | 151.0033 | 10.3273 | 12.1013 | 10.844 | 24.084 | 6.9507 | 884.4 | 80.0633 | 47.162
2020-02-28 06:15:00 | 5.8873 | 153.1253 | 6.7707 | 168.2667 | 10.4873 | 11.2087 | 10.4087 | 24.29 | 7.2453 | 884.2667 | 78.0173 | 45.9827
2020-02-28 06:30:00 | 5.6807 | 106.2007 | 6.5353 | 116.696 | 10.47 | 11.5773 | 10.1267 | 20.2087 | 6.992 | 885 | 79.9933 | 46.95
2020-02-28 06:45:00 | 5.1773 | 92.4473 | 5.9513 | 101.5867 | 9.584 | 11.6733 | 9.5313 | 17.95 | 6.64 | 885 | 81.8133 | 48.2993
2020-02-28 07:00:00 | 5.5987 | 135.4867 | 6.442 | 148.8827 | 10.0113 | 9.9787 | 9.7987 | 19.5487 | 6.4887 | 885 | 82.6533 | 52.4773
2020-02-28 07:15:00 | 6.064 | 31.7453 | 6.9793 | 34.8807 | 9.6787 | 8.5407 | 9.348 | 20.9727 | 6.7547 | 885 | 81.16 | 54.2647
2020-02-28 07:30:00 | 5.662 | 184.4473 | 6.5147 | 202.684 | 9.8413 | 12.7313 | 9.9227 | 16.5913 | 6.7093 | 885 | 81.3467 | 51.8133
2020-02-28 07:45:00 | 5.408 | 150.1287 | 6.2287 | 164.968 | 8.9613 | 11.0373 | 9.1027 | 15.8853 | 6.444 | 885 | 83.16 | 49.118
2020-02-28 08:00:00 | 5.3373 | 214.9787 | 6.1467 | 236.23 | 8.8847 | 12.086 | 8.902 | 19.4213 | 6.5273 | 885 | 83.2467 | 48.7047
2020-02-28 08:15:00 | 5.0947 | 168.6413 | 5.862 | 185.3147 | 8.4713 | 7.6207 | 8.728 | 14.2947 | 6.83 | 885.2667 | 82.8133 | 47.5627
2020-02-28 08:30:00 | 5.0967 | 121.4513 | 5.866 | 133.4607 | 7.9573 | 4.044 | 8.1187 | 10.6693 | 7.2433 | 886 | 81.3533 | 48.174
2020-02-28 08:45:00 | 5.2087 | 117.342 | 5.9873 | 128.946 | 8.2527 | 7.7253 | 8.516 | 9.034 | 7.6893 | 886 | 80.1553 | 47.3487
2020-02-28 09:00:00 | 5.4153 | 119.9293 | 6.2307 | 131.7833 | 8.7833 | 9.1667 | 8.802 | 15.8587 | 8.3593 | 886.6 | 77.4053 | 48.582
2020-02-28 09:15:00 | 6.2053 | 181.1873 | 7.1453 | 199.096 | 10.4293 | 4.388 | 10.3553 | 14.7313 | 9.2767 | 887 | 73.8907 | 51.236
2020-02-28 09:30:00 | 6.688 | 60.1627 | 7.698 | 66.1087 | 11.1953 | 9.3973 | 11.2073 | 17.514 | 9.6767 | 887 | 72.3107 | 52.4213
2020-02-28 09:45:00 | 6.7213 | 158.1707 | 7.7327 | 173.8047 | 11.6067 | 8.74 | 11.468 | 13.2227 | 10.434 | 887.2667 | 70.5893 | 50.4067
2020-02-28 10:00:00 | 7.416 | 247.9567 | 8.534 | 272.4753 | 13.0533 | 10.0707 | 13.0633 | 18.696 | 11.114 | 888 | 67.2033 | 50.2073
2020-02-28 10:15:00 | 6.9693 | 113.8547 | 8.024 | 125.1067 | 12.2173 | 18.0993 | 12.1053 | 20.498 | 11.7667 | 888 | 64.258 | 47.192
2020-02-28 10:30:00 | 6.6253 | 181.4073 | 7.626 | 199.3493 | 11.8073 | 19.6767 | 11.2047 | 21.9893 | 12.6667 | 888 | 61.564 | 42.43
2020-02-28 10:45:00 | 6.1093 | 180.9427 | 7.0353 | 198.834 | 10.7707 | 20.926 | 10.424 | 15.7773 | 13.1007 | 888.9333 | 59.518 | 38.2627
2020-02-28 11:00:00 | 6.016 | 94.3267 | 6.92 | 103.6567 | 10.4107 | 10.4813 | 10.3173 | 14.906 | 13.2567 | 889 | 58.572 | 37.9947
2020-02-28 11:15:00 | 6.4807 | 64.8447 | 7.4547 | 71.2533 | 10.99 | 12.932 | 10.468 | 19.07 | 13.2007 | 888.7333 | 58.5647 | 37.8827
2020-02-28 11:30:00 | 6.6613 | 177.6573 | 7.6647 | 195.222 | 11.1047 | 12.6847 | 10.89 | 18.4513 | 12.946 | 888 | 58.5607 | 33.2587
2020-02-28 11:45:00 | 6.2847 | 196.9133 | 7.23 | 216.3847 | 10.466 | 9.864 | 10.1007 | 18.1947 | 13.5447 | 888 | 57.1573 | 29.1253
2020-02-28 12:00:00 | 5.7987 | 114.5307 | 6.6727 | 125.856 | 9.8427 | 12.2413 | 9.476 | 20.6093 | 14.2613 | 888 | 54.2873 | 25.7313
2020-02-28 12:15:00 | 5.6373 | 146.0313 | 6.482 | 160.472 | 9.7927 | 18.562 | 9.4553 | 23.9847 | 14.992 | 888 | 51.3027 | 23.966
2020-02-28 12:30:00 | 5.2467 | 181.198 | 6.04 | 199.12 | 8.7833 | 15.1833 | 8.432 | 17.3207 | 15.1113 | 888 | 49.968 | 19.0773
2020-02-28 12:45:00 | 5.2707 | 127.8773 | 6.0613 | 140.5253 | 9.0267 | 11.1527 | 8.7313 | 18.1487 | 15.8507 | 888 | 47.816 | 16.2633
2020-02-28 13:00:00 | 4.8093 | 182.8387 | 5.5333 | 200.9187 | 7.27 | 9.352 | 7.3227 | 15.4913 | 15.846 | 888 | 46.6667 | 13.232
2020-02-28 13:15:00 | 4.484 | 92.5487 | 5.1633 | 101.702 | 7.068 | 16.2687 | 6.6473 | 23.4573 | 16.0633 | 887.7333 | 45.5353 | 9.936
2020-02-28 13:30:00 | 4.2813 | 123.1547 | 4.922 | 135.334 | 6.7367 | 17.6367 | 6.1953 | 18.9927 | 16.702 | 887 | 43.608 | 9.874
2020-02-28 13:45:00 | 4.276 | 62.8027 | 4.9227 | 69.0067 | 6.4173 | 13.0793 | 6.28 | 15.4653 | 16.7247 | 887 | 43.1473 | 10.6573
2020-02-28 14:00:00 | 4.4873 | 207.9467 | 5.1693 | 228.5093 | 7.4067 | 14.8333 | 7.1327 | 32.528 | 17.7087 | 887 | 40.4973 | 10.362
2020-02-28 14:15:00 | 4.7387 | 60.314 | 5.4547 | 66.2773 | 7.362 | 14.836 | 6.894 | 19.8713 | 18.0313 | 887 | 39.394 | 9.074
2020-02-28 14:30:00 | 4.3293 | 76.1027 | 4.984 | 83.6307 | 7.0027 | 63.892 | 6.398 | 21.0407 | 18.0413 | 887 | 37.9107 | 8.7213
2020-02-28 14:45:00 | 4.332 | 206.214 | 4.986 | 226.6013 | 6.9507 | 9.668 | 6.3173 | 24.9707 | 18.0527 | 887 | 37.2507 | 6.6273
2020-02-28 15:00:00 | 3.3053 | 35.662 | 3.802 | 39.1847 | 5.4593 | 15.4753 | 4.8793 | 18.0087 | 18.462 | 887 | 37.358 | 4.5113
2020-02-28 15:15:00 | 2.8773 | 53.55 | 3.3067 | 58.8467 | 3.876 | 14.1273 | 3.544 | 123.5367 | 18.4493 | 886.0667 | 35.614 | 1.7833
2020-02-28 15:30:00 | 2.6573 | 135.4 | 3.0647 | 148.792 | 3.5373 | 17.6707 | 3.198 | 41.4613 | 18.6553 | 886 | 36.956 | 1.272
2020-02-28 15:45:00 | 2.9747 | 133.3887 | 3.422 | 146.5787 | 4.044 | 61.7513 | 3.85 | 194.0193 | 18.704 | 886 | 36.0813 | 1.8973
2020-02-28 16:00:00 | 3.0887 | 162.48 | 3.5493 | 178.5467 | 4.6827 | 189.246 | 4.2253 | 129.684 | 19.2013 | 886 | 35.1353 | 1.502
2020-02-28 16:15:00 | 3.046 | 4.6267 | 3.502 | 5.076 | 5.0013 | 16.576 | 4.6767 | 35.6187 | 18.9887 | 886 | 37.1313 | 0.21667
2020-02-28 16:30:00 | 2.4573 | 176.826 | 2.8307 | 194.3113 | 4.4013 | 15.7733 | 4.342 | 26.652 | 17.868 | 886 | 39.9573 | 0
2020-02-28 16:45:00 | 1.92 | 110.3873 | 2.2187 | 121.3053 | 3.614 | 21.4853 | 3.528 | 24.4707 | 17.2093 | 886 | 41.4133 | 0
2020-02-28 17:00:00 | 1.7207 | 45.5067 | 1.9847 | 49.9967 | 2.8333 | 18.4353 | 2.5047 | 18.7673 | 16.7133 | 885.4 | 42.6933 | 0
2020-02-28 17:15:00 | 1.9893 | 69.884 | 2.2893 | 76.7893 | 2.8067 | 21.382 | 2.3113 | 23.364 | 16.4673 | 885 | 43.9227 | 0
2020-02-28 17:30:00 | 1.9973 | 118.9333 | 2.298 | 130.6887 | 2.6907 | 52.9447 | 2.1627 | 30.8333 | 17.3353 | 885 | 41.5513 | 0
2020-02-28 17:45:00 | 1.5467 | 259.4907 | 1.7813 | 285.152 | 1.99 | 84.458 | 1.534 | 10.4833 | 16.5993 | 885 | 41.8873 | 0
2020-02-28 18:00:00 | 0.47333 | 177.736 | 0.54533 | 195.31 | 0.5 | 16.6287 | 0.081333 | 9.1953 | 16.3533 | 885 | 40.1713 | 0
2020-02-28 18:15:00 | 0.148 | 14.3073 | 0.17267 | 15.7187 | 0.27867 | 87.88 | 0.498 | 79.136 | 16.128 | 885 | 41.6533 | 0
2020-02-28 18:30:00 | 0.97933 | 79.114 | 1.1313 | 86.9347 | 1.562 | 155.5533 | 1.8313 | 161.8267 | 16.0487 | 885 | 42.596 | 0.43067
2020-02-28 18:45:00 | 1.498 | 149.1947 | 1.732 | 163.94 | 2.2233 | 178.1933 | 2.7647 | 187.9867 | 15.8187 | 884.7333 | 43.228 | 0.672
2020-02-28 19:00:00 | 1.886 | 171.522 | 2.174 | 188.48 | 2.8147 | 203.4733 | 2.9227 | 202.08 | 15.628 | 884 | 43.5873 | 1.7387
2020-02-28 19:15:00 | 2.7647 | 181.876 | 3.1873 | 199.8667 | 3.8167 | 213.2467 | 4.1393 | 218.5 | 15.5947 | 884.2667 | 44.2207 | 4.9447
2020-02-28 19:30:00 | 2.588 | 172.048 | 2.9787 | 189.0667 | 3.504 | 211.1933 | 4.0247 | 218.6667 | 15.652 | 885 | 48.6853 | 3.6047
2020-02-28 19:45:00 | 2.3827 | 177.408 | 2.742 | 194.9467 | 3.2507 | 214.1867 | 3.7967 | 223.7867 | 15.4353 | 885 | 52.1333 | 6.1213
2020-02-28 20:00:00 | 2.8947 | 169.758 | 3.332 | 186.5467 | 3.774 | 214.1333 | 4.3793 | 216.9867 | 15.144 | 885 | 53.7873 | 5.7853
2020-02-28 20:15:00 | 2.4467 | 170.9327 | 2.8187 | 187.8333 | 3.108 | 199.8267 | 3.382 | 194.8333 | 14.778 | 885 | 54.4093 | 3.8473
2020-02-28 20:30:00 | 2.7327 | 171.0453 | 3.1513 | 187.9533 | 3.4 | 178.5267 | 3.7507 | 187.3533 | 14.328 | 885 | 54.9547 | 2.572
2020-02-28 20:45:00 | 2.62 | 161.942 | 3.0153 | 177.9467 | 3.2607 | 193.44 | 3.5373 | 205.5333 | 14.0727 | 885 | 57.9933 | 2.46
2020-02-28 21:00:00 | 2.9287 | 160.2047 | 3.3707 | 176.04 | 3.5053 | 183.26 | 3.7293 | 180.16 | 14.0353 | 885 | 60.076 | 5.0093
2020-02-28 21:15:00 | 2.9353 | 149.4673 | 3.3753 | 164.2467 | 3.53 | 173.1267 | 3.736 | 179.5333 | 13.764 | 885 | 60.5453 | 5.1487
2020-02-28 21:30:00 | 2.9713 | 162.732 | 3.4187 | 178.82 | 3.6627 | 161.9267 | 4.0353 | 178.32 | 13.4213 | 885 | 61.228 | 6.2633
2020-02-28 21:45:00 | 3.02 | 158.018 | 3.4787 | 173.64 | 3.678 | 177.9667 | 4.1773 | 167.86 | 13.116 | 885 | 62.272 | 6.008
2020-02-28 22:00:00 | 3.0827 | 163.0353 | 3.548 | 179.1533 | 3.8533 | 179.5067 | 4.386 | 174.62 | 12.96 | 885 | 62.8853 | 6.5527
2020-02-28 22:15:00 | 2.9193 | 163.422 | 3.366 | 179.58 | 3.5813 | 175.86 | 4.152 | 180.3267 | 12.9647 | 885 | 62.366 | 6.6633
2020-02-28 22:30:00 | 3.0733 | 162.8433 | 3.5267 | 179.2786 | 3.6685 | 178.4929 | 4.17 | 185.1933 | 12.7853 | 885 | 61.8323 | 8.0162
2020-02-28 22:45:00 | 2.9 | 158.804 | 3.344 | 174.5 | 3.438 | 176.96 | 4.072 | 179.74 | 12.666 | 885 | 61.83 | 7.51
2020-02-28 23:00:00 | 2.8133 | 161.3833 | 3.2387 | 177.34 | 3.4027 | 176.42 | 4.022 | 185.0267 | 12.5247 | 885 | 61.614 | 9.948
2020-02-28 23:15:00 | 3.01 | 161.856 | 3.462 | 177.8533 | 3.618 | 179.7867 | 4.3887 | 180.0933 | 12.4693 | 885 | 61.8527 | 10.6587
2020-02-28 23:30:00 | 3.21 | 160.972 | 3.6947 | 176.8867 | 3.8253 | 186.52 | 4.4773 | 181.42 | 12.2847 | 885 | 62.8373 | 10.7707
2020-02-28 23:45:00 | 3.1193 | 154.0207 | 3.5927 | 169.2467 | 3.748 | 172.0467 | 4.598 | 183.8667 | 12.194 | 885 | 63.7727 | 9.1153