## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-29 00:00:00 | 2.9629 | 155.5493 | 3.4093 | 170.9357 | 3.53 | 176.4071 | 3.9036 | 183.0286 | 12.0971 | 885 | 64.9893 | 8.0357
2020-02-29 00:15:00 | 2.508 | 141.5567 | 2.8887 | 155.5533 | 2.9607 | 176.82 | 3.7113 | 191.9 | 12.0873 | 885 | 66.0013 | 5.46
2020-02-29 00:30:00 | 2.7033 | 160.888 | 3.1113 | 176.7933 | 3.176 | 185.84 | 3.7953 | 189.66 | 12.0287 | 885 | 67.2907 | 4.074
2020-02-29 00:45:00 | 3.008 | 170.6787 | 3.4607 | 187.5533 | 3.546 | 199.98 | 4.004 | 191.4933 | 12.0287 | 885 | 67.9007 | 3.7573
2020-02-29 01:00:00 | 3.1493 | 174.1847 | 3.6227 | 191.4067 | 3.608 | 191.16 | 4.0867 | 192.5667 | 12.0987 | 885 | 67.1493 | 3.8327
2020-02-29 01:15:00 | 2.9167 | 148.99 | 3.3533 | 163.7267 | 3.638 | 179.7933 | 4.176 | 187.66 | 11.9973 | 885 | 67.744 | 3.6567
2020-02-29 01:30:00 | 2.3973 | 156.216 | 2.7613 | 171.66 | 2.8473 | 184.6267 | 3.1647 | 196.02 | 11.774 | 885 | 68.9313 | 2.598
2020-02-29 01:45:00 | 1.9293 | 132.6727 | 2.218 | 145.7867 | 2.2967 | 169.8133 | 2.4987 | 196.5467 | 11.5713 | 885 | 70.0307 | 2.3733
2020-02-29 02:00:00 | 1.7673 | 122.9007 | 2.0367 | 135.0533 | 2.1507 | 165.4667 | 2.38 | 167.9667 | 11.4493 | 885 | 70.472 | 1.5407
2020-02-29 02:15:00 | 1.6753 | 164.0753 | 1.9333 | 180.3 | 2.0747 | 187.8267 | 2.3873 | 189.4733 | 11.348 | 885 | 71.224 | 1.366
2020-02-29 02:30:00 | 1.352 | 175.8533 | 1.558 | 193.24 | 1.8507 | 185.76 | 2.1807 | 195.2667 | 11.3347 | 885 | 71.7787 | 1.612
2020-02-29 02:45:00 | 1.484 | 177.744 | 1.7173 | 195.32 | 1.8087 | 189.28 | 2.3507 | 196.0667 | 11.2147 | 885 | 73.0533 | 2.3887
2020-02-29 03:00:00 | 1.6347 | 155.888 | 1.886 | 171.3 | 2.094 | 172.34 | 2.6127 | 186.6933 | 10.9627 | 884.4 | 74.7593 | 2.422
2020-02-29 03:15:00 | 1.6193 | 156.6307 | 1.868 | 172.1133 | 2.248 | 176.3133 | 2.388 | 193.38 | 10.6793 | 884 | 76.3353 | 2.944
2020-02-29 03:30:00 | 1.9753 | 163.7973 | 2.274 | 179.9933 | 2.8253 | 183.0867 | 3.2753 | 210.9067 | 10.51 | 884 | 76.972 | 3.3773
2020-02-29 03:45:00 | 2 | 164.9613 | 2.3033 | 181.2667 | 2.4907 | 184.1733 | 2.9927 | 208.7067 | 10.534 | 884 | 76.4893 | 3.068
2020-02-29 04:00:00 | 1.5273 | 161.9033 | 1.76 | 177.9133 | 2.3373 | 172.5267 | 2.2573 | 198.2733 | 10.346 | 884 | 77.4327 | 1.988
2020-02-29 04:15:00 | 1.1427 | 159.244 | 1.314 | 174.9933 | 2.1233 | 165.4733 | 1.8913 | 197.9867 | 10.274 | 884 | 77.8433 | 1.684
2020-02-29 04:30:00 | 0.99467 | 159.25 | 1.142 | 175 | 1.942 | 168.28 | 2.0053 | 191.92 | 10.3307 | 883.4 | 77.588 | 1.32
2020-02-29 04:45:00 | 0.93467 | 159.25 | 1.0753 | 175 | 1.8433 | 167.6733 | 1.9013 | 183.56 | 10.304 | 883 | 77.636 | 0.86
2020-02-29 05:00:00 | 0.81533 | 178.7847 | 0.94133 | 196.4667 | 1.4927 | 167.66 | 1.7427 | 171.9333 | 10.0473 | 883 | 78.5853 | 0.45533
2020-02-29 05:15:00 | 1.1827 | 67.712 | 1.36 | 74.4013 | 0.99867 | 134.0867 | 1.5793 | 146.94 | 8.802 | 883 | 83.7267 | 0
2020-02-29 05:30:00 | 1.2367 | 65.8873 | 1.428 | 72.396 | 1.312 | 115.5133 | 1.8573 | 131.4067 | 8.346 | 883 | 86.2067 | 0
2020-02-29 05:45:00 | 1.3193 | 320.3773 | 1.5187 | 352.0533 | 1.2247 | 131.9267 | 2.0647 | 143.4867 | 8.338 | 883 | 86.12 | 0
2020-02-29 06:00:00 | 1.0087 | 274.5387 | 1.166 | 301.6853 | 0.60667 | 110.9067 | 1.5633 | 141.32 | 8.5167 | 883 | 85.5667 | 0
2020-02-29 06:15:00 | 1.4067 | 155.626 | 1.6233 | 171.0147 | 0.80333 | 145.4667 | 1.7567 | 162.6267 | 8.01 | 883 | 87.8133 | 0
2020-02-29 06:30:00 | 1.678 | 107.8993 | 1.934 | 118.5633 | 0.90133 | 207.68 | 2.2173 | 196.6733 | 7.6407 | 883 | 89.7667 | 0
2020-02-29 06:45:00 | 2.0747 | 323.9427 | 2.3893 | 355.9733 | 1.5793 | 312.34 | 1.6733 | 241.7267 | 7.4833 | 883 | 90.7667 | 0
2020-02-29 07:00:00 | 2.8947 | 109.3533 | 3.328 | 120.1667 | 2.9453 | 69.606 | 1.0513 | 305.7333 | 7.398 | 883 | 91.14 | 0
2020-02-29 07:15:00 | 3.522 | 212.5713 | 4.058 | 233.59 | 4.0867 | 3.6913 | 3.0987 | 192.1733 | 7.2153 | 883 | 91.9 | 0
2020-02-29 07:30:00 | 3.76 | 268.736 | 4.322 | 295.3067 | 4.4507 | 10.398 | 3.968 | 125.016 | 6.9753 | 883 | 92.96 | 0
2020-02-29 07:45:00 | 3.952 | 320.8947 | 4.5427 | 352.6333 | 4.9887 | 4.8847 | 4.3393 | 24.89 | 6.8493 | 883 | 93.3933 | 0.009333
2020-02-29 08:00:00 | 3.952 | 320.8947 | 4.5427 | 352.6333 | 4.9887 | 4.8847 | 4.3393 | 24.89 | 6.8493 | 883 | 93.3933 | 0.009333
2020-02-29 08:15:00 | 3.9613 | 320.8287 | 4.5627 | 352.56 | 4.496 | 119.5007 | 4.324 | 41.508 | 7.2487 | 883.9333 | 91.9467 | 0.092667
2020-02-29 08:30:00 | 3.8227 | 107.772 | 4.4 | 118.4267 | 4.226 | 5.12 | 4.228 | 8.566 | 7.512 | 884 | 90.8333 | 0.034667
2020-02-29 08:45:00 | 3.8813 | 194.2973 | 4.4687 | 213.51 | 4.674 | 7.9353 | 4.664 | 11.9993 | 7.7507 | 884.2667 | 89.7933 | 0.62867
2020-02-29 09:00:00 | 4.196 | 46.4213 | 4.8327 | 51.0127 | 4.9627 | 7.898 | 4.9607 | 14.0947 | 7.9953 | 885 | 88.9133 | 1.648
2020-02-29 09:15:00 | 4.2627 | 111.6787 | 4.9067 | 122.7193 | 5.1087 | 6.092 | 5.0153 | 15.0367 | 8.234 | 885 | 88.1133 | 2.8533
2020-02-29 09:30:00 | 4.3607 | 127.928 | 5.0193 | 140.5733 | 5.6027 | 10.5293 | 5.1947 | 14.5587 | 8.6353 | 885.6 | 86.7933 | 3.8353
2020-02-29 09:45:00 | 4.208 | 142.72 | 4.8447 | 156.8313 | 5.6233 | 10.262 | 5.3147 | 11.1073 | 9.1793 | 886 | 84.3533 | 4.6607
2020-02-29 10:00:00 | 4.328 | 71.304 | 4.9793 | 78.3493 | 5.83 | 15.4673 | 5.3567 | 12.852 | 9.816 | 886 | 81.72 | 5.4227
2020-02-29 10:15:00 | 4.7373 | 36.5373 | 5.4553 | 40.152 | 7.1127 | 15.8793 | 6.57 | 10.444 | 10.57 | 886.2667 | 78.664 | 6.5967
2020-02-29 10:30:00 | 4.8173 | 157.564 | 5.55 | 173.1367 | 7.8527 | 13.9773 | 7.3173 | 14.558 | 11.578 | 887 | 74.5793 | 7.3407
2020-02-29 10:45:00 | 4.748 | 292.1993 | 5.466 | 321.0933 | 7.9427 | 10.7687 | 7.4147 | 15.66 | 12.3307 | 887 | 71.648 | 12.7107
2020-02-29 11:00:00 | 4.8833 | 83.0973 | 5.6207 | 91.3087 | 7.7047 | 16.5533 | 7.3653 | 13.8253 | 12.6407 | 887 | 70.134 | 13.51
2020-02-29 11:15:00 | 5.0227 | 118.5247 | 5.7787 | 130.2407 | 8.2507 | 56.5147 | 7.8327 | 22.584 | 12.2953 | 887 | 70.7873 | 15.4847
2020-02-29 11:30:00 | 4.8307 | 37.04 | 5.5593 | 40.6973 | 8.3987 | 86.8147 | 7.7407 | 13.4467 | 11.1253 | 887 | 74.85 | 19.4333
2020-02-29 11:45:00 | 4.5647 | 77.422 | 5.2527 | 85.0733 | 7.6053 | 14.5347 | 7.2727 | 14.4287 | 10.1567 | 887 | 78.602 | 20.0487
2020-02-29 12:00:00 | 4.584 | 221.6553 | 5.276 | 243.57 | 7.4267 | 20.386 | 7.0273 | 14.85 | 10.198 | 887 | 79.1147 | 22.2547
2020-02-29 12:15:00 | 4.3707 | 195.5033 | 5.0293 | 214.84 | 6.4447 | 21.1453 | 6.1613 | 15.386 | 10.448 | 887 | 78.3567 | 16.5127
2020-02-29 12:30:00 | 4.2787 | 164.7873 | 4.9253 | 181.0733 | 6.1627 | 123.888 | 5.8353 | 10.254 | 10.9067 | 887 | 76.682 | 16.444
2020-02-29 12:45:00 | 4.47 | 144.686 | 5.152 | 158.99 | 7.4173 | 20.704 | 7.06 | 14.1793 | 11.9333 | 887 | 73.3147 | 18.8707
2020-02-29 13:00:00 | 4.708 | 159.4367 | 5.418 | 175.2033 | 7.4167 | 23.0033 | 6.9573 | 21.258 | 12.248 | 886.4 | 71.7273 | 21.0273
2020-02-29 13:15:00 | 4.5033 | 103.284 | 5.182 | 113.4913 | 7.164 | 22.7167 | 6.3413 | 20.1253 | 12.4333 | 886 | 71.548 | 23.5393
2020-02-29 13:30:00 | 4.6287 | 37.3787 | 5.3333 | 41.072 | 7.314 | 130.4607 | 6.9853 | 12.4593 | 12.6987 | 886 | 70.806 | 25.9727
2020-02-29 13:45:00 | 4.948 | 49.0587 | 5.6933 | 53.9093 | 7.9293 | 5.868 | 7.8473 | 18.1053 | 13.1947 | 886 | 68.974 | 24.724
2020-02-29 14:00:00 | 4.618 | 110.5533 | 5.3127 | 121.4853 | 7.3327 | 7.1447 | 7.242 | 13.0147 | 13.614 | 886 | 67.4607 | 19.1533
2020-02-29 14:15:00 | 4.116 | 196.534 | 4.7433 | 215.9653 | 7.3793 | 35.3253 | 7.31 | 24.9673 | 14.2713 | 886 | 65.4533 | 15.7827
2020-02-29 14:30:00 | 3.752 | 194.7467 | 4.318 | 214 | 6.6787 | 83.0553 | 6.5433 | 16.508 | 14.8733 | 886 | 63.1053 | 9.7673
2020-02-29 14:45:00 | 3.2493 | 155.1447 | 3.7433 | 170.4853 | 5.4687 | 9.9467 | 5.338 | 26.4193 | 15.7087 | 885.7333 | 59.9467 | 7.2587
2020-02-29 15:00:00 | 3.2973 | 149.328 | 3.7927 | 164.0947 | 5.4147 | 12.7253 | 5.432 | 23.9053 | 16.2893 | 885.6 | 57.9287 | 7.2087
2020-02-29 15:15:00 | 3.5227 | 172.1913 | 4.0547 | 189.2147 | 5.8827 | 5.5213 | 5.8453 | 14.1347 | 17.4253 | 885.0667 | 53.8387 | 5.8313
2020-02-29 15:30:00 | 3.1053 | 73.422 | 3.5733 | 80.6753 | 5.3347 | 10.1667 | 5.3233 | 19.7587 | 18.588 | 885.6 | 49.9127 | 4.61
2020-02-29 15:45:00 | 3.332 | 256.6107 | 3.8353 | 281.9867 | 5.7973 | 15.9407 | 5.5247 | 22.0633 | 18.3987 | 886 | 49.2693 | 3.472
2020-02-29 16:00:00 | 2.538 | 201.884 | 2.9187 | 221.8433 | 3.9773 | 11.9893 | 4.0247 | 26.4867 | 18.2473 | 886 | 48.5473 | 0.002667
2020-02-29 16:15:00 | 2.4687 | 114.5907 | 2.838 | 125.9167 | 3.3847 | 126.642 | 3.0387 | 169.4647 | 17.0667 | 886 | 51.23 | 0
2020-02-29 16:30:00 | 2.4927 | 169.8193 | 2.8673 | 186.614 | 3.5287 | 63.7493 | 3.2727 | 205.8333 | 17.604 | 886 | 47.0653 | 0
2020-02-29 16:45:00 | 2.42 | 24.6913 | 2.7913 | 27.13 | 3.7953 | 306.336 | 3.6753 | 65.2967 | 17.956 | 886 | 45.9447 | 0
2020-02-29 17:00:00 | 2.2507 | 219.4947 | 2.5927 | 241.1967 | 3.4947 | 214.8807 | 3.2647 | 339.06 | 17.8353 | 886 | 46.63 | 0
2020-02-29 17:15:00 | 1.6853 | 122.0993 | 1.9427 | 134.17 | 2.6053 | 242.42 | 2.7087 | 314.3133 | 17.9207 | 886 | 46.6587 | 0
2020-02-29 17:30:00 | 1.706 | 266.568 | 1.9693 | 292.9333 | 2.55 | 330.5333 | 2.8093 | 323.84 | 17.3093 | 886 | 48.1907 | 0.26733
2020-02-29 17:45:00 | 1.76 | 74.8133 | 2.028 | 82.208 | 2.7053 | 182.5427 | 2.7373 | 329.4733 | 16.114 | 885.0667 | 51.578 | 0
2020-02-29 18:00:00 | 1.4073 | 115.4753 | 1.6227 | 126.8893 | 2.1673 | 272.814 | 2.0107 | 289.844 | 15.7407 | 885 | 52.5293 | 0
2020-02-29 18:15:00 | 1.056 | 21.5013 | 1.2233 | 23.6207 | 1.9007 | 343.78 | 1.7973 | 278.7793 | 15.4567 | 885 | 54.0233 | 0
2020-02-29 18:30:00 | 0.988 | 218.4587 | 1.1373 | 240.056 | 1.9307 | 345.5133 | 1.838 | 190.8573 | 14.9967 | 885 | 56.0507 | 0
2020-02-29 18:45:00 | 1.18 | 287.3167 | 1.3647 | 315.7333 | 2.3453 | 261.1667 | 2.3993 | 13.7227 | 14.464 | 884.0667 | 57.9727 | 0
2020-02-29 19:00:00 | 1.3353 | 277.37 | 1.5367 | 304.8 | 2.6553 | 309.4933 | 2.806 | 3.574 | 13.822 | 884 | 60.104 | 0
2020-02-29 19:15:00 | 1.2527 | 280.1953 | 1.448 | 307.8933 | 2.4933 | 122.3067 | 2.4867 | 12.5473 | 13.4813 | 884 | 61.134 | 0
2020-02-29 19:30:00 | 1.33 | 299.1467 | 1.536 | 328.72 | 2.6213 | 121.454 | 2.5847 | 11.86 | 13.2393 | 884 | 62.0693 | 0
2020-02-29 19:45:00 | 1.412 | 301.3707 | 1.6353 | 331.18 | 2.7987 | 4.8147 | 2.8413 | 12.1327 | 12.8647 | 884 | 63.514 | 0
2020-02-29 20:00:00 | 1.214 | 302.5147 | 1.4033 | 332.4267 | 2.3033 | 7.3647 | 2.3253 | 11.4833 | 12.9573 | 884.6 | 63.0727 | 0
2020-02-29 20:15:00 | 1.3067 | 310.484 | 1.51 | 341.1933 | 2.496 | 7.1367 | 2.5393 | 9.3253 | 13.0167 | 885 | 62.7267 | 0
2020-02-29 20:30:00 | 1.0707 | 310.22 | 1.24 | 340.9 | 2.0533 | 14.84 | 2.168 | 17.4833 | 12.988 | 885 | 62.944 | 0
2020-02-29 20:45:00 | 1.0453 | 310.136 | 1.212 | 340.8067 | 1.9667 | 8.5907 | 2.0173 | 19.2907 | 12.968 | 885 | 63.0827 | 0
2020-02-29 21:00:00 | 1.316 | 309.6087 | 1.5227 | 340.2267 | 2.0713 | 166.4427 | 2.1027 | 18.4813 | 13.1587 | 885 | 62.5407 | 0
2020-02-29 21:15:00 | 1.776 | 309.552 | 2.0513 | 340.1667 | 2.508 | 214.5173 | 2.466 | 11.052 | 13.6467 | 885.2667 | 60.67 | 0
2020-02-29 21:30:00 | 2.0133 | 308.7173 | 2.3207 | 339.24 | 2.7713 | 124.002 | 2.7307 | 11.0773 | 13.72 | 886 | 60.47 | 0
2020-02-29 21:45:00 | 2.2267 | 317.632 | 2.564 | 349.04 | 3.134 | 202.3627 | 3.2353 | 5.176 | 13.31 | 886 | 62.6053 | 0
2020-02-29 22:00:00 | 2.116 | 112.0507 | 2.4327 | 123.1233 | 3 | 103.9973 | 3.022 | 9.8807 | 12.722 | 886 | 66.698 | 0
2020-02-29 22:15:00 | 2.4987 | 276.6787 | 2.882 | 304.04 | 3.4173 | 20.9867 | 3.2467 | 8.2087 | 12.5327 | 886 | 68.1593 | 0
2020-02-29 22:30:00 | 2.7183 | 58.0433 | 3.1317 | 63.7783 | 3.855 | 14.7567 | 3.6033 | 20.6617 | 12.4267 | 886 | 68.38 | 0
2020-02-29 22:45:00 | 2.7133 | 251.384 | 3.1273 | 276.2433 | 3.862 | 6.6953 | 4.246 | 24.2193 | 12.2573 | 886 | 68.914 | 2.504
2020-02-29 23:00:00 | 2.788 | 203.2687 | 3.214 | 223.3633 | 4.9227 | 18.0227 | 5.4133 | 31.2913 | 11.6187 | 886 | 72.0407 | 5.6693
2020-02-29 23:15:00 | 2.906 | 273.8773 | 3.3433 | 300.9627 | 5.0593 | 15.8767 | 5.4353 | 25.9553 | 11.266 | 886.9333 | 73.8553 | 10.5407
2020-02-29 23:30:00 | 3.38 | 206.1487 | 3.8907 | 226.53 | 5.5867 | 7.45 | 6.0353 | 15.8913 | 11.2033 | 887 | 74.3 | 17.028
2020-02-29 23:45:00 | 3.878 | 130.7073 | 4.4627 | 143.622 | 6.498 | 95.2407 | 6.4287 | 18.926 | 11.186 | 887 | 74.456 | 27.8727