## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-01 00:00:00 | 4.4914 | 195.37 | 5.1693 | 214.6893 | 7.5779 | 6.7007 | 7.505 | 24.0721 | 11.15 | 887 | 74.676 | 37.815
2020-03-01 00:15:00 | 4.8 | 323.05 | 5.53 | 355 | 8.09 | 0.15 | 8.1 | 18.67 | 11.26 | 887 | 74.18 | 43.8033
2020-03-01 00:30:00 | 5.3667 | 241.6027 | 6.1807 | 265.492 | 9.596 | 12.3067 | 9.9507 | 13.3367 | 11.0747 | 887 | 75.0787 | 48.1027
2020-03-01 00:45:00 | 5.6507 | 147.6533 | 6.502 | 162.25 | 10.488 | 12.73 | 10.794 | 23.0173 | 10.7893 | 887 | 76.1487 | 51.7007
2020-03-01 01:00:00 | 5.746 | 169.8547 | 6.6127 | 186.6467 | 10.7833 | 12.9093 | 10.9813 | 22.084 | 10.6733 | 886.4 | 76.4167 | 55.4733
2020-03-01 01:15:00 | 5.9413 | 168.6367 | 6.8347 | 185.31 | 11.2107 | 13.176 | 11.6593 | 21.9787 | 10.522 | 886 | 77.0927 | 59.0007
2020-03-01 01:30:00 | 5.9687 | 163.2727 | 6.868 | 179.4167 | 11.3273 | 13.4733 | 12.49 | 20.1907 | 10.2067 | 886 | 78.5633 | 59.5627
2020-03-01 01:45:00 | 5.7007 | 267.5493 | 6.5627 | 294 | 10.8007 | 12.2147 | 12.184 | 21.0493 | 9.838 | 886 | 80.4573 | 60.5793
2020-03-01 02:00:00 | 5.806 | 307.1453 | 6.676 | 337.52 | 10.8393 | 11.4713 | 11.91 | 17.478 | 9.472 | 886 | 82.2867 | 59.494
2020-03-01 02:15:00 | 6.1227 | 188.0207 | 7.0493 | 206.6167 | 11.3827 | 9.2893 | 12.3813 | 19.3553 | 9.5687 | 886 | 81.9467 | 58.326
2020-03-01 02:30:00 | 5.7293 | 201.5067 | 6.5913 | 221.43 | 10.4567 | 54.1153 | 11.6893 | 19.702 | 9.95 | 886 | 79.8987 | 58.214
2020-03-01 02:45:00 | 5.918 | 100.8613 | 6.8113 | 110.83 | 10.824 | 74.084 | 12.3273 | 18.29 | 10.144 | 886 | 79.214 | 57.6793
2020-03-01 03:00:00 | 6.3853 | 263.8447 | 7.3533 | 289.9333 | 12.0993 | 11.686 | 13.602 | 21.3027 | 10.2853 | 886.6 | 79.0107 | 59.7087
2020-03-01 03:15:00 | 7.1173 | 184.3693 | 8.192 | 202.5967 | 13.2727 | 31.83 | 14.3953 | 23.3127 | 10.562 | 886.0667 | 77.5647 | 60.2753
2020-03-01 03:30:00 | 6.7973 | 276.6433 | 7.8233 | 304 | 12.682 | 46.6573 | 13.446 | 24.8767 | 10.7953 | 886.6 | 75.4893 | 59.4987
2020-03-01 03:45:00 | 6.654 | 166.72 | 7.654 | 183.2067 | 12.4147 | 12.2193 | 12.6067 | 22.184 | 10.8507 | 887 | 73.8413 | 58.8213
2020-03-01 04:00:00 | 6.7107 | 148.3333 | 7.7287 | 163 | 12.434 | 17.302 | 12.5647 | 22.8927 | 11.034 | 887 | 70.4213 | 57.8213
2020-03-01 04:15:00 | 6.7827 | 202.0153 | 7.8047 | 221.9933 | 12.328 | 14.3247 | 12.5667 | 23.5133 | 11.2233 | 887 | 66.7947 | 57.946
2020-03-01 04:30:00 | 7.004 | 237.5333 | 8.0567 | 261.0267 | 12.848 | 15.7207 | 13.07 | 26.9833 | 11.388 | 887 | 62.7 | 57.214
2020-03-01 04:45:00 | 7.0053 | 217.1307 | 8.0593 | 238.6067 | 12.6387 | 11.6493 | 12.9987 | 19.5927 | 11.4107 | 887 | 62.1587 | 56.6667
2020-03-01 05:00:00 | 6.8773 | 173.34 | 7.9167 | 190.48 | 12.538 | 12.8507 | 12.9227 | 21.6707 | 11.34 | 887 | 61.4 | 57.6167
2020-03-01 05:15:00 | 6.372 | 210.834 | 7.33 | 231.6867 | 11.91 | 17.7627 | 12.5807 | 23.874 | 11.2347 | 887 | 59.66 | 58.4647
2020-03-01 05:30:00 | 6.278 | 148.4553 | 7.2273 | 163.1333 | 11.6873 | 20.248 | 12.4007 | 31.86 | 11.3 | 887 | 55.9947 | 58.7073
2020-03-01 05:45:00 | 6.492 | 196.1627 | 7.4753 | 215.56 | 11.7807 | 18.3807 | 12.9107 | 32.0793 | 11.2107 | 887 | 54.872 | 59.2347
2020-03-01 06:00:00 | 6.7867 | 187.6193 | 7.81 | 206.17 | 12.3993 | 20.6573 | 13.18 | 31.638 | 11.104 | 887 | 53.204 | 60.2147
2020-03-01 06:15:00 | 6.9387 | 208.8667 | 7.9867 | 229.5233 | 12.7153 | 19.1387 | 13.418 | 26.2293 | 11.1213 | 887.2667 | 50.5113 | 58.368
2020-03-01 06:30:00 | 6.676 | 191.6133 | 7.6893 | 210.5587 | 12.366 | 21.2373 | 13.262 | 29.7453 | 11.216 | 888 | 47.5347 | 59.0513
2020-03-01 06:45:00 | 7.2093 | 269.8287 | 8.3033 | 296.5133 | 13.278 | 15.2613 | 13.9053 | 28.5313 | 11.218 | 888 | 46.0073 | 60.2513
2020-03-01 07:00:00 | 7.438 | 145.1187 | 8.5553 | 159.4667 | 13.7747 | 15.574 | 14.0493 | 24.6247 | 11.2333 | 888 | 44.5027 | 58.428
2020-03-01 07:15:00 | 7.388 | 160.1893 | 8.5013 | 176.0267 | 13.5073 | 19.7493 | 13.9127 | 27.1967 | 11.0893 | 888 | 44.144 | 58.5987
2020-03-01 07:30:00 | 7.4453 | 209.5313 | 8.57 | 230.2533 | 13.7013 | 16.2573 | 13.882 | 27.448 | 11.044 | 888 | 42.9487 | 59.0313
2020-03-01 07:45:00 | 7.4873 | 96.678 | 8.612 | 106.2367 | 13.6993 | 12.5967 | 13.892 | 23.4107 | 11.0367 | 888 | 41.6547 | 56.842
2020-03-01 08:00:00 | 7.3973 | 122.4927 | 8.512 | 134.6 | 13.616 | 15.3647 | 14.008 | 22.0933 | 11.038 | 888 | 40.6973 | 56.5767
2020-03-01 08:15:00 | 7.9953 | 183.0427 | 9.1987 | 201.1367 | 14.4887 | 23.38 | 14.622 | 23.468 | 11.02 | 888 | 40.0647 | 57.7367
2020-03-01 08:30:00 | 7.718 | 167.5887 | 8.8767 | 184.15 | 14.084 | 21.1967 | 14.3807 | 28.028 | 11.0107 | 888.6 | 39.4673 | 58.8027
2020-03-01 08:45:00 | 7.8733 | 122.7547 | 9.0627 | 134.8887 | 14.2673 | 20.128 | 14.5727 | 31.2593 | 10.9893 | 889 | 39.2353 | 59.6327
2020-03-01 09:00:00 | 7.7493 | 164.5387 | 8.9127 | 180.808 | 13.8987 | 20.9247 | 13.982 | 26.4567 | 10.9947 | 889 | 38.734 | 59.0453
2020-03-01 09:15:00 | 7.318 | 285.3787 | 8.42 | 313.6 | 13.0367 | 21.3467 | 13.54 | 24.3927 | 10.9947 | 889 | 38.4347 | 59.9307
2020-03-01 09:30:00 | 7.3793 | 107.5653 | 8.4867 | 118.2 | 13.29 | 14.6133 | 13.6387 | 34.4947 | 10.9733 | 889 | 37.8633 | 59.0727
2020-03-01 09:45:00 | 7.4213 | 206.8867 | 8.5407 | 227.3347 | 13.6113 | 17.736 | 13.892 | 27.3153 | 10.9573 | 889.9333 | 37.3887 | 59.2247
2020-03-01 10:00:00 | 7.796 | 198.886 | 8.9707 | 218.548 | 14.0147 | 15.5693 | 13.9887 | 27.8927 | 10.964 | 890 | 36.8967 | 58.902
2020-03-01 10:15:00 | 7.9073 | 201.0547 | 9.1047 | 220.9387 | 14.3747 | 16.8813 | 14.124 | 28.7813 | 11.0227 | 890 | 36.1773 | 59.4073
2020-03-01 10:30:00 | 8.196 | 149.9773 | 9.434 | 164.8073 | 15.0133 | 14.0513 | 15.1693 | 26.218 | 11.084 | 890 | 35.5167 | 59.8873
2020-03-01 10:45:00 | 8.2553 | 198.036 | 9.5047 | 217.6213 | 14.7047 | 14.112 | 14.9993 | 29.2867 | 11.1413 | 890 | 34.7347 | 59.772
2020-03-01 11:00:00 | 8.1207 | 263.9793 | 9.342 | 290.0867 | 14.612 | 20.6513 | 14.606 | 27.6827 | 11.2493 | 890 | 34.36 | 59.0533
2020-03-01 11:15:00 | 7.58 | 234.85 | 8.7233 | 258.0733 | 13.7167 | 14.0747 | 13.7793 | 18.6973 | 11.3053 | 890 | 33.8127 | 58.992
2020-03-01 11:30:00 | 7.2167 | 117.846 | 8.302 | 129.5 | 12.9053 | 8.9927 | 13.0293 | 17.822 | 11.2353 | 890 | 33.8027 | 57.4413
2020-03-01 11:45:00 | 6.9947 | 200.0467 | 8.0527 | 219.8267 | 12.6593 | 15.554 | 12.724 | 27.1667 | 11.18 | 890 | 34.2107 | 56.598
2020-03-01 12:00:00 | 7.1893 | 207.152 | 8.2787 | 227.64 | 12.552 | 10.328 | 12.654 | 22.73 | 11.204 | 890 | 33.2127 | 54.424
2020-03-01 12:15:00 | 7.2493 | 183.9213 | 8.34 | 202.1067 | 12.726 | 25.3 | 12.6813 | 20.8647 | 11.222 | 890 | 32.9393 | 53.4587
2020-03-01 12:30:00 | 7.092 | 215.1053 | 8.158 | 236.376 | 12.4893 | 11.0973 | 12.5347 | 18.7267 | 11.1847 | 890 | 33.3133 | 51.0107
2020-03-01 12:45:00 | 6.734 | 213.8287 | 7.7427 | 234.9747 | 12.01 | 18.146 | 11.9927 | 26.44 | 11.2493 | 890 | 33.324 | 48.3247
2020-03-01 13:00:00 | 6.502 | 75.3227 | 7.4807 | 82.766 | 11.668 | 12.1973 | 11.5113 | 21.6407 | 11.224 | 890 | 33.4973 | 50.2813
2020-03-01 13:15:00 | 6.6227 | 209.9133 | 7.6187 | 230.6667 | 11.7287 | 8.36 | 11.4593 | 18.9053 | 11.2233 | 889.7333 | 33.486 | 49.0033
2020-03-01 13:30:00 | 6.4227 | 232.534 | 7.3907 | 255.5267 | 11.6707 | 8.966 | 11.5867 | 17.61 | 11.25 | 889 | 34.108 | 48.508
2020-03-01 13:45:00 | 5.9287 | 243.8593 | 6.8173 | 267.9667 | 10.632 | 18.25 | 10.584 | 20.5113 | 11.1793 | 889 | 33.9527 | 46.9667
2020-03-01 14:00:00 | 5.8087 | 198.208 | 6.6833 | 217.8013 | 10.4267 | 11.6253 | 10.42 | 20.5313 | 11.0393 | 889 | 34.4233 | 46.7607
2020-03-01 14:15:00 | 5.48 | 109.2327 | 6.306 | 120.032 | 10.2027 | 10.558 | 10.2573 | 18.4593 | 11.028 | 888.7333 | 35.1507 | 45.1767
2020-03-01 14:30:00 | 5.7727 | 250.8393 | 6.6453 | 275.6453 | 10.3773 | 24.4 | 10.632 | 35.0787 | 11.144 | 888 | 35.216 | 45.6147
2020-03-01 14:45:00 | 5.9053 | 129.0647 | 6.7987 | 141.8213 | 10.558 | 18.538 | 11.3807 | 23.196 | 11.144 | 888 | 35.6847 | 45.024
2020-03-01 15:00:00 | 5.7133 | 250.7147 | 6.5767 | 275.5067 | 10.4553 | 16.328 | 10.6887 | 17.0213 | 11.0133 | 888 | 36.6313 | 40.2553
2020-03-01 15:15:00 | 5.4773 | 288.9147 | 6.2987 | 317.4867 | 9.8667 | 19.7647 | 10.0287 | 21.9933 | 10.8613 | 888 | 38.276 | 37.724
2020-03-01 15:30:00 | 5.5707 | 107.1287 | 6.4133 | 117.7233 | 9.8953 | 15.9533 | 9.7973 | 15.624 | 10.696 | 887.4 | 39.694 | 36.6713
2020-03-01 15:45:00 | 5.4693 | 151.174 | 6.2907 | 166.12 | 9.6727 | 12.1413 | 9.536 | 17.7973 | 10.6867 | 887 | 39.574 | 36.0253
2020-03-01 16:00:00 | 5.4693 | 155.4053 | 6.2913 | 170.7667 | 9.9093 | 14.74 | 9.8547 | 23.888 | 10.5827 | 887 | 41.0707 | 37.7907
2020-03-01 16:15:00 | 5.3167 | 59.688 | 6.1213 | 65.5873 | 9.5213 | 9.612 | 9.354 | 12.9733 | 10.3853 | 887 | 43.0193 | 39.1747
2020-03-01 16:30:00 | 4.9627 | 157.6433 | 5.7173 | 173.2293 | 9.1353 | 14.0067 | 8.9887 | 18.7253 | 10.2573 | 887 | 44.2387 | 34.2073
2020-03-01 16:45:00 | 4.6227 | 133.208 | 5.3153 | 146.3753 | 8.286 | 8.5447 | 7.856 | 13.116 | 10.1427 | 887 | 45.6113 | 34.758
2020-03-01 17:00:00 | 4.3633 | 32.8047 | 5.02 | 36.0407 | 7.406 | 124.54 | 7.26 | 17.7893 | 10.17 | 887 | 45.0907 | 33.174
2020-03-01 17:15:00 | 4.3387 | 131.7453 | 4.9967 | 144.768 | 7.506 | 13.686 | 7.3593 | 13.5933 | 10.1453 | 886.7333 | 45.0493 | 27.8093
2020-03-01 17:30:00 | 3.84 | 140.724 | 4.4247 | 154.6327 | 6.6453 | 132.3113 | 6.45 | 60.3587 | 10.18 | 886.6 | 44.7513 | 24.774
2020-03-01 17:45:00 | 3.822 | 130.554 | 4.3953 | 143.4587 | 6.5827 | 290.4147 | 6.534 | 188.7633 | 10.1493 | 887 | 44.708 | 24.6467
2020-03-01 18:00:00 | 4.056 | 34.2873 | 4.668 | 37.6773 | 7.3333 | 235.3567 | 7.0667 | 52.47 | 10.138 | 886.4 | 44.7047 | 26.2187
2020-03-01 18:15:00 | 3.9467 | 65.2227 | 4.542 | 71.6687 | 7.1913 | 192.1547 | 6.954 | 75.0973 | 10.0967 | 886 | 44.9447 | 25.2987
2020-03-01 18:30:00 | 4.0447 | 48.8233 | 4.66 | 53.6513 | 6.938 | 211.3007 | 6.9707 | 98.208 | 10.138 | 886 | 44.8733 | 26.1013
2020-03-01 18:45:00 | 3.6467 | 263.024 | 4.1947 | 289.0333 | 6.3933 | 96.2033 | 6.586 | 4.4987 | 10.0927 | 886 | 45.8047 | 30.3233
2020-03-01 19:00:00 | 3.89 | 201.966 | 4.4727 | 221.9333 | 7.0387 | 125.896 | 7.0027 | 5.586 | 10.012 | 886 | 46.352 | 29.7347
2020-03-01 19:15:00 | 3.898 | 121.5167 | 4.48 | 133.5267 | 6.9367 | 136.016 | 6.914 | 124.4613 | 10.022 | 886 | 46.6273 | 27.6827
2020-03-01 19:30:00 | 3.8347 | 109.706 | 4.4127 | 120.5533 | 6.718 | 147.4773 | 6.7367 | 121.4667 | 10.02 | 886 | 47.1487 | 30.4993
2020-03-01 19:45:00 | 4.2427 | 120.6187 | 4.878 | 132.5467 | 7.4727 | 258.6133 | 7.302 | 161.814 | 9.9433 | 886.2667 | 48.046 | 33.138
2020-03-01 20:00:00 | 3.856 | 94.2653 | 4.438 | 103.5867 | 6.946 | 165.9227 | 7.002 | 176.5867 | 9.914 | 887 | 48.7453 | 33.298
2020-03-01 20:15:00 | 3.8386 | 119.5721 | 4.4193 | 131.3914 | 6.2721 | 63.0979 | 6.0421 | 224.9643 | 9.82 | 887 | 49.6736 | 33.57
2020-03-01 20:30:00 | 3.6293 | 153.158 | 4.1787 | 168.3033 | 6.02 | 299.4533 | 6.0127 | 354.7533 | 9.824 | 887 | 50.1207 | 30.9473
2020-03-01 20:45:00 | 3.7273 | 246.4167 | 4.286 | 270.7827 | 6.6787 | 190.5633 | 6.6833 | 187.8707 | 9.7813 | 887 | 50.834 | 30.6453
2020-03-01 21:00:00 | 3.566 | 154.2933 | 4.1 | 169.5407 | 6.5593 | 80.9273 | 6.3493 | 1.1713 | 9.788 | 887 | 51.14 | 25.6027
2020-03-01 21:15:00 | 3.46 | 291.136 | 3.98 | 319.9267 | 6.2833 | 135.174 | 6.2687 | 53.276 | 9.698 | 887 | 51.852 | 24.3707
2020-03-01 21:30:00 | 3.6393 | 237.0373 | 4.1853 | 260.48 | 6.7027 | 167.6487 | 6.674 | 117.6333 | 9.666 | 887 | 52.5567 | 26.544
2020-03-01 21:45:00 | 3.4747 | 86.072 | 4 | 94.5807 | 6.5413 | 194.0933 | 6.8593 | 149.8467 | 9.654 | 887 | 52.9727 | 25.5133
2020-03-01 22:00:00 | 3.6767 | 25.472 | 4.228 | 27.982 | 6.5473 | 284.9767 | 6.6133 | 305.5827 | 9.7313 | 887 | 53.1673 | 29.5513
2020-03-01 22:15:00 | 4.316 | 154.5127 | 4.9667 | 169.792 | 7.5593 | 236.1733 | 7.588 | 236.1293 | 9.7407 | 887 | 54.5487 | 31.2947
2020-03-01 22:30:00 | 4.1155 | 158.5991 | 4.7336 | 174.2855 | 7.2936 | 265.6927 | 7.3455 | 162.8709 | 9.66 | 887 | 56.47 | 32.4
2020-03-01 22:45:00 | 4.275 | 178.405 | 4.92 | 196.05 | 7.21 | 212.31 | 7.35 | 0.645 | 9.535 | 887 | 58.44 | 29.04
2020-03-01 23:00:00 | 3.7573 | 244.0453 | 4.3307 | 268.18 | 6.458 | 100.8973 | 6.5227 | 330.8947 | 9.4607 | 887 | 59.5607 | 22.136
2020-03-01 23:15:00 | 3.348 | 156.196 | 3.8527 | 171.644 | 6.184 | 21.7067 | 6.192 | 171.334 | 9.2 | 887 | 63.6333 | 19.7047
2020-03-01 23:30:00 | 3.8893 | 153.82 | 4.472 | 169.026 | 6.91 | 64.3133 | 7.0013 | 235.0867 | 8.4453 | 887 | 72.6213 | 24.1893
2020-03-01 23:45:00 | 3.9373 | 220.9807 | 4.5313 | 242.8333 | 7.2713 | 238.6167 | 7.0753 | 211.6313 | 7.9633 | 887 | 77.1393 | 28.2907