## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-02 00:00:00 | 3.8921 | 189.6793 | 4.4821 | 208.4357 | 6.9164 | 208.5564 | 6.6936 | 14.9486 | 7.9157 | 887 | 77.3021 | 29.1436
2020-03-02 00:15:00 | 3.9673 | 199.2327 | 4.57 | 218.93 | 6.986 | 16.3407 | 6.6807 | 69.2067 | 7.7333 | 887 | 80.3987 | 29.908
2020-03-02 00:30:00 | 3.8627 | 156.8953 | 4.4513 | 172.4067 | 6.6127 | 172.394 | 6.4187 | 75.3707 | 7.4767 | 886.4 | 82.8333 | 33.5267
2020-03-02 00:45:00 | 3.8433 | 127.936 | 4.4207 | 140.5847 | 6.8527 | 300.9573 | 6.6367 | 237.5093 | 7.3113 | 886 | 84.9333 | 36.446
2020-03-02 01:00:00 | 4.0987 | 232.866 | 4.7187 | 255.8853 | 7.376 | 119.572 | 7.454 | 1.3253 | 7.06 | 886 | 88.7733 | 42.3967
2020-03-02 01:15:00 | 4.402 | 247.282 | 5.064 | 271.7333 | 7.83 | 142.604 | 7.936 | 5.1153 | 6.844 | 886 | 90.98 | 41.404
2020-03-02 01:30:00 | 4.402 | 184.0987 | 5.0707 | 202.3033 | 7.7893 | 189.782 | 7.5673 | 119.8127 | 6.7673 | 886 | 91.9333 | 44.0353
2020-03-02 01:45:00 | 4.5473 | 192.7313 | 5.236 | 211.79 | 7.5693 | 15.6007 | 7.382 | 125.824 | 6.5507 | 886 | 94.1667 | 43.3987
2020-03-02 02:00:00 | 5.0507 | 67.5893 | 5.81 | 74.2667 | 7.696 | 11.722 | 7.4953 | 7.3767 | 6.3513 | 886 | 95.8933 | 44.3793
2020-03-02 02:15:00 | 5.1593 | 200.9427 | 5.932 | 220.816 | 8.1813 | 123.348 | 8.1167 | 11.1093 | 6.22 | 886 | 97.3667 | 48.152
2020-03-02 02:30:00 | 5.5533 | 18.1133 | 6.3933 | 19.8967 | 8.9367 | 14.894 | 8.6713 | 13.888 | 6.1193 | 886 | 98.6 | 48.5707
2020-03-02 02:45:00 | 5.3513 | 42.714 | 6.1593 | 46.938 | 9 | 17.28 | 8.7967 | 17.8873 | 6.054 | 886 | 99.38 | 48.4673
2020-03-02 03:00:00 | 5.1753 | 20.2787 | 5.954 | 22.2787 | 9.3413 | 11.5573 | 9.308 | 17.6073 | 6.0753 | 886 | 99.86 | 51.0687
2020-03-02 03:15:00 | 5.856 | 140.0387 | 6.742 | 153.8867 | 10.118 | 9.9033 | 10.1 | 14.9093 | 6.0673 | 885.7333 | 99.9933 | 53.1567
2020-03-02 03:30:00 | 5.75 | 76.8087 | 6.6173 | 84.4033 | 10.4187 | 4.198 | 10.1127 | 12.9373 | 6.068 | 885 | 100 | 52.7213
2020-03-02 03:45:00 | 6.5953 | 86.7073 | 7.586 | 95.28 | 11.3913 | 65.898 | 11.0693 | 11.1073 | 6.022 | 885 | 100 | 56.2587
2020-03-02 04:00:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 04:15:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 04:30:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 04:45:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 05:00:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 05:15:00 | 7.5079 | 141.0557 | 8.6357 | 155.0021 | 12.3186 | 84.4493 | 11.7821 | 7.7364 | 5.9236 | 885 | 100 | 58.7607
2020-03-02 05:30:00 | 7.9867 | 122.9633 | 9.1927 | 135.1233 | 14.44 | 18.598 | 14.74 | 24.8953 | 4.736 | 886 | 100 | 60.5307
2020-03-02 05:45:00 | 7.9867 | 122.9633 | 9.1927 | 135.1233 | 14.44 | 18.598 | 14.74 | 24.8953 | 4.736 | 886 | 100 | 60.5307
2020-03-02 06:00:00 | 7.9867 | 122.9633 | 9.1927 | 135.1233 | 14.44 | 18.598 | 14.74 | 24.8953 | 4.736 | 886 | 100 | 60.5307
2020-03-02 06:15:00 | 7.9867 | 122.9633 | 9.1927 | 135.1233 | 14.44 | 18.598 | 14.74 | 24.8953 | 4.736 | 886 | 100 | 60.5307
2020-03-02 06:30:00 | 7.9867 | 122.9633 | 9.1927 | 135.1233 | 14.44 | 18.598 | 14.74 | 24.8953 | 4.736 | 886 | 100 | 60.5307
2020-03-02 06:45:00 | 7.88 | 204.9627 | 9.0713 | 225.2347 | 14.558 | 12.4967 | 15.1013 | 21.69 | 4.6327 | 886 | 100 | 60.7273
2020-03-02 07:00:00 | 7.812 | 151.2853 | 8.9887 | 166.2413 | 14.3513 | 11.8273 | 14.4293 | 21.5433 | 4.538 | 886 | 100 | 61.4087
2020-03-02 07:15:00 | 7.6667 | 215.67 | 8.818 | 237 | 14.006 | 22.31 | 14.0647 | 30.174 | 4.4947 | 886 | 100 | 61.09
2020-03-02 07:30:00 | 7.3693 | 150.36 | 8.4813 | 165.228 | 13.606 | 19.2373 | 14.0867 | 27.2353 | 4.4727 | 886 | 100 | 61.6467
2020-03-02 07:45:00 | 7.3813 | 166.6167 | 8.496 | 183.0933 | 13.5887 | 17.0367 | 13.8547 | 25.1247 | 4.4347 | 886 | 100 | 61.3667
2020-03-02 08:00:00 | 7.5107 | 158.688 | 8.642 | 174.3833 | 13.884 | 19.3427 | 14.272 | 24.4627 | 4.3953 | 886 | 100 | 62.1693
2020-03-02 08:15:00 | 7.5147 | 55.4907 | 8.6447 | 60.9787 | 13.904 | 16.8907 | 14.5313 | 27.7053 | 4.4147 | 886.9333 | 100 | 62.7767
2020-03-02 08:30:00 | 7.4147 | 220.9247 | 8.534 | 242.774 | 13.7673 | 15.6547 | 14.06 | 22.9853 | 4.4347 | 887 | 100 | 62.4533
2020-03-02 08:45:00 | 7.6227 | 104.57 | 8.7693 | 114.9107 | 14.148 | 11.7347 | 13.9627 | 17.978 | 4.472 | 887 | 100 | 61.6787
2020-03-02 09:00:00 | 7.66 | 156.448 | 8.8173 | 171.9127 | 14.1073 | 7.7927 | 13.9873 | 16.6147 | 4.5407 | 887 | 100 | 61.848
2020-03-02 09:15:00 | 7.2973 | 168.4773 | 8.3967 | 185.134 | 13.4607 | 10.2953 | 13.6647 | 22.922 | 4.6153 | 887.2667 | 100 | 62.0127
2020-03-02 09:30:00 | 6.8833 | 213.7433 | 7.93 | 234.8733 | 12.6933 | 14.9013 | 13.2 | 25.0127 | 4.7193 | 888 | 100 | 62.4927
2020-03-02 09:45:00 | 7.0614 | 232.6814 | 8.1243 | 255.6857 | 13.0629 | 16.9279 | 13.0886 | 24.3007 | 4.8379 | 888 | 99.8714 | 62.2313
2020-03-02 10:00:00 | 7.3453 | 211.0173 | 8.454 | 231.88 | 13.4667 | 11.0113 | 13.2373 | 20.6153 | 4.8913 | 888 | 99.3 | 62.2793
2020-03-02 10:15:00 | 7.3113 | 167.6953 | 8.4127 | 184.2733 | 13.2953 | 15.0573 | 13.0307 | 17.2327 | 5.0433 | 888.2667 | 98.5733 | 61.7933
2020-03-02 10:30:00 | 7.3553 | 223.4133 | 8.466 | 245.5067 | 13.1167 | 15.274 | 13.082 | 25.256 | 5.2373 | 889 | 97.3933 | 62.09
2020-03-02 10:45:00 | 7.368 | 92.6413 | 8.4853 | 101.8013 | 13.1113 | 9.23 | 13.196 | 24.75 | 5.476 | 889 | 95.84 | 62.3113
2020-03-02 11:00:00 | 7.456 | 124.6887 | 8.5727 | 137.0187 | 13.356 | 11.1767 | 13.732 | 25.6967 | 5.77 | 889 | 94.48 | 62.0467
2020-03-02 11:15:00 | 7.3413 | 142.7587 | 8.4493 | 156.8733 | 13.1527 | 13.2347 | 13.3927 | 25.9847 | 5.9913 | 889 | 93.1467 | 61.582
2020-03-02 11:30:00 | 7.304 | 244.6047 | 8.4053 | 268.7933 | 13.118 | 18.444 | 13.346 | 25.296 | 6.048 | 889 | 92.0333 | 59.4407
2020-03-02 11:45:00 | 7.7187 | 176.4613 | 8.8827 | 193.9093 | 13.5627 | 24.118 | 14.4373 | 30.9893 | 6.1547 | 889 | 89.44 | 56.6487
2020-03-02 12:00:00 | 7.0087 | 76.3747 | 8.066 | 83.924 | 12.4247 | 21.9067 | 13.0627 | 28.572 | 6.4187 | 889 | 89.1733 | 58.384
2020-03-02 12:15:00 | 7.1013 | 243.0627 | 8.1733 | 267.1 | 12.8367 | 16.06 | 13.26 | 32.4927 | 6.608 | 889 | 89.3733 | 58.906
2020-03-02 12:30:00 | 7.1527 | 201.5933 | 8.232 | 221.5267 | 12.5787 | 15.6433 | 13.1907 | 29.012 | 6.7513 | 889 | 87.5267 | 57.1267
2020-03-02 12:45:00 | 7.0753 | 132.0027 | 8.14 | 145.0587 | 12.2367 | 20.214 | 13.0273 | 31.61 | 7.022 | 889 | 85.4133 | 53.888
2020-03-02 13:00:00 | 6.696 | 119.8607 | 7.71 | 131.71 | 11.7067 | 22.8727 | 12.22 | 32.2347 | 7.3427 | 889 | 83.3067 | 49.0747
2020-03-02 13:15:00 | 6.2867 | 166.0567 | 7.2413 | 182.47 | 11.034 | 26.7253 | 11.5293 | 28.7847 | 7.9173 | 888.0667 | 81.8667 | 46.44
2020-03-02 13:30:00 | 6.1693 | 213.396 | 7.1067 | 234.49 | 10.7907 | 24.1913 | 11.408 | 26.3973 | 8.5633 | 888 | 79.542 | 43.6293
2020-03-02 13:45:00 | 6.0267 | 198.8607 | 6.9367 | 218.5293 | 10.4807 | 13.774 | 10.6747 | 29.764 | 9.5467 | 888 | 76.5873 | 43.084
2020-03-02 14:00:00 | 5.9933 | 167.9507 | 6.8913 | 184.5607 | 10.4447 | 15.954 | 10.5253 | 34.8427 | 9.8647 | 888 | 73.7993 | 46.0993
2020-03-02 14:15:00 | 5.856 | 108.984 | 6.7387 | 119.7533 | 10.1447 | 20.1773 | 9.9673 | 22.2053 | 9.8653 | 888 | 72.9 | 45.0667
2020-03-02 14:30:00 | 5.982 | 212.282 | 6.8847 | 233.27 | 10.2887 | 17.6153 | 10.2633 | 18.5907 | 9.7707 | 888 | 72.6173 | 44.9987
2020-03-02 14:45:00 | 5.954 | 181.5727 | 6.8567 | 199.52 | 10.4167 | 17.362 | 10.2947 | 33.8447 | 10.0707 | 888 | 70.9867 | 42.082
2020-03-02 15:00:00 | 5.1733 | 175.4413 | 5.95 | 192.7813 | 9.0847 | 17.6573 | 8.834 | 24.9533 | 9.742 | 888 | 71.0107 | 39.8227
2020-03-02 15:15:00 | 5.124 | 62.6167 | 5.8967 | 68.7987 | 8.746 | 16.47 | 8.164 | 29.6767 | 9.5933 | 887.0667 | 71.45 | 41.28
2020-03-02 15:30:00 | 4.94 | 168.3533 | 5.6773 | 184.9953 | 8.3427 | 31.3933 | 7.646 | 23.7413 | 9.502 | 887 | 71.0547 | 40.7793
2020-03-02 15:45:00 | 4.7993 | 124.5273 | 5.526 | 136.8427 | 8.2467 | 28.1813 | 7.816 | 32.1707 | 9.3887 | 887 | 70.5487 | 39.1593
2020-03-02 16:00:00 | 4.764 | 171.2853 | 5.4833 | 188.2233 | 8.2547 | 16.0387 | 8.0173 | 25.6387 | 9.1167 | 887 | 70.8973 | 32.9267
2020-03-02 16:15:00 | 4.6913 | 81.114 | 5.396 | 89.1367 | 8.15 | 20.7193 | 7.79 | 28.0933 | 9.164 | 887 | 70.3213 | 30.12
2020-03-02 16:30:00 | 3.858 | 140.754 | 4.438 | 154.67 | 7.0207 | 8.596 | 6.7467 | 27.4993 | 9.2027 | 887 | 70.238 | 26.4773
2020-03-02 16:45:00 | 3.3587 | 198.6247 | 3.874 | 218.26 | 6.074 | 17.8393 | 5.9567 | 30.704 | 9.126 | 887 | 70.754 | 25.8393
2020-03-02 17:00:00 | 3.6847 | 259.6613 | 4.2413 | 285.34 | 6.6647 | 18.722 | 6.4067 | 24.944 | 9.054 | 887 | 70.7033 | 21.8433
2020-03-02 17:15:00 | 3.536 | 207.6327 | 4.0733 | 228.168 | 6.412 | 17.2167 | 5.9613 | 26.6053 | 9.018 | 887 | 70.666 | 16.0853
2020-03-02 17:30:00 | 3.1853 | 223.0673 | 3.6653 | 245.1307 | 6.0127 | 22.8653 | 6.0167 | 28.6953 | 8.884 | 887 | 72.1613 | 12.1113
2020-03-02 17:45:00 | 2.8027 | 174.8147 | 3.2233 | 192.0947 | 5.384 | 21.432 | 5.218 | 29.6247 | 8.74 | 887 | 73.1273 | 11.204
2020-03-02 18:00:00 | 2.8033 | 146.4247 | 3.226 | 160.896 | 5.0793 | 24.9193 | 4.5647 | 35.6913 | 8.6007 | 887 | 74.288 | 11.6767
2020-03-02 18:15:00 | 2.5207 | 27.9053 | 2.9033 | 30.6653 | 4.18 | 128.1567 | 4.2053 | 136.626 | 8.4833 | 887 | 74.6627 | 8.9733
2020-03-02 18:30:00 | 2.2653 | 165.0687 | 2.6113 | 181.3907 | 4.0533 | 16.9193 | 3.9413 | 28.4447 | 8.3487 | 887 | 75.436 | 7.8473
2020-03-02 18:45:00 | 2.1107 | 112.468 | 2.4307 | 123.5847 | 3.576 | 21.9287 | 3.4327 | 62.3987 | 8.116 | 887 | 77.268 | 6.3727
2020-03-02 19:00:00 | 2.1853 | 219.4587 | 2.5147 | 241.158 | 4.1653 | 178.4267 | 4.05 | 189.7593 | 7.9033 | 887 | 78.8113 | 7.21
2020-03-02 19:15:00 | 2.488 | 153.162 | 2.866 | 168.31 | 4.6687 | 190.4067 | 4.586 | 3.6793 | 7.6893 | 887.9333 | 79.9067 | 5.7433
2020-03-02 19:30:00 | 2.8793 | 141.914 | 3.3107 | 155.9467 | 5.342 | 50.3 | 4.9807 | 6.1793 | 7.5973 | 888 | 80.58 | 10.7413
2020-03-02 19:45:00 | 3.3847 | 171.1147 | 3.8907 | 188.0333 | 6.244 | 76.0093 | 6.0307 | 10.578 | 7.5147 | 888 | 81.1133 | 16.9967
2020-03-02 20:00:00 | 3.5013 | 88.2353 | 4.0267 | 96.9547 | 6.104 | 11.842 | 6.0233 | 21.7713 | 7.452 | 888 | 81.28 | 18.338
2020-03-02 20:15:00 | 3.522 | 134.8347 | 4.0467 | 148.162 | 5.72 | 64.802 | 5.3453 | 62.0993 | 7.4447 | 888 | 80.8787 | 20.0227
2020-03-02 20:30:00 | 3.53 | 306.8427 | 4.06 | 337.1867 | 5.82 | 190.948 | 5.5507 | 120.8893 | 7.4747 | 888 | 80.1713 | 28.2513
2020-03-02 20:45:00 | 4.156 | 149.342 | 4.7793 | 164.108 | 7.2667 | 13.1873 | 7.1787 | 28.2753 | 7.3893 | 888 | 80.62 | 31.238
2020-03-02 21:00:00 | 4.378 | 243.1293 | 5.0427 | 267.172 | 7.142 | 265.6347 | 6.7 | 127.0227 | 7.4287 | 888 | 79.8653 | 34.9967
2020-03-02 21:15:00 | 4.7827 | 263.354 | 5.5067 | 289.3933 | 6.992 | 177.8433 | 6.8833 | 161.1427 | 7.4933 | 888.9333 | 78.978 | 37.2707
2020-03-02 21:30:00 | 4.396 | 28.0213 | 5.0627 | 30.7947 | 7.4667 | 12.6747 | 7.3673 | 72.5227 | 7.4387 | 889 | 79.322 | 36.8293
2020-03-02 21:45:00 | 4.9587 | 146.8547 | 5.71 | 161.3747 | 8.3027 | 16.098 | 8.1053 | 15.9167 | 7.3833 | 889 | 79.7087 | 32.7253
2020-03-02 22:00:00 | 3.632 | 84.7573 | 4.182 | 93.1407 | 6.5227 | 16.6853 | 6.552 | 25.1353 | 7.3267 | 889 | 80.1327 | 26.8487
2020-03-02 22:15:00 | 3.9147 | 194.9687 | 4.5033 | 214.2487 | 6.9687 | 51.7487 | 6.912 | 125.5813 | 7.2313 | 889 | 80.68 | 27.1407
2020-03-02 22:30:00 | 4.3158 | 109.1215 | 4.9717 | 133.6557 | 7.4642 | 96.38 | 7.4975 | 13.4042 | 7.2308 | 889 | 80.4 | 29.2254
2020-03-02 22:45:00 | 4.9525 | 205.5833 | 5.7042 | 225.91 | 8.2292 | 17.7458 | 8.185 | 14.7125 | 7.2133 | 889 | 80.7083 | 32.715
2020-03-02 23:00:00 | 5.058 | 131.8733 | 5.816 | 144.912 | 8.5173 | 16.994 | 8.374 | 21.8527 | 7.2073 | 889 | 80.8333 | 32.9367
2020-03-02 23:15:00 | 4.9233 | 166.2773 | 5.6653 | 182.7233 | 8.7887 | 14.7293 | 8.8373 | 17.366 | 7.0833 | 889 | 81.66 | 24.77
2020-03-02 23:30:00 | 4.196 | 134.412 | 4.8293 | 147.7013 | 7.2827 | 26.6593 | 7.3167 | 26.7287 | 7.0067 | 889.6 | 82.16 | 24.1273
2020-03-02 23:45:00 | 3.5547 | 78.4567 | 4.094 | 86.2087 | 6.512 | 15.0467 | 7.1807 | 26.7707 | 6.8607 | 889.0667 | 83.2667 | 24.4207