## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-03 00:00:00 | 4.2571 | 190.6279 | 4.8979 | 209.4786 | 7.58 | 13.8607 | 8.7136 | 29.9043 | 6.8586 | 889 | 82.9714 | 27.6743
2020-03-03 00:15:00 | 5.5567 | 86.9907 | 6.3967 | 95.5933 | 9.7013 | 15.0507 | 10.1133 | 20.738 | 6.878 | 889 | 82.8533 | 35.8
2020-03-03 00:30:00 | 5.4313 | 169.4827 | 6.244 | 186.24 | 9.456 | 54.6687 | 9.3987 | 24.47 | 6.8927 | 889 | 82.7667 | 36.7833
2020-03-03 00:45:00 | 5.4187 | 147.9233 | 6.2327 | 162.5467 | 8.8313 | 345.1 | 8.4967 | 52.5887 | 6.9247 | 889.2667 | 82.4667 | 35.866
2020-03-03 01:00:00 | 4.812 | 182.4613 | 5.5447 | 200.5033 | 8.526 | 103.3813 | 8.308 | 82.5353 | 6.912 | 890 | 82.4333 | 32.3987
2020-03-03 01:15:00 | 4.64 | 297.9093 | 5.336 | 327.3733 | 8.052 | 13.7107 | 8.2753 | 24.8233 | 6.792 | 890 | 83.1467 | 28.634
2020-03-03 01:30:00 | 4.324 | 247.3373 | 4.978 | 271.7933 | 7.9413 | 16.7753 | 8.5833 | 27.388 | 6.694 | 890 | 83.8067 | 30.8133
2020-03-03 01:45:00 | 5.6167 | 185.836 | 6.464 | 204.2133 | 9.95 | 7.6793 | 10.1033 | 22.5033 | 6.7033 | 890 | 83.4133 | 36.8467
2020-03-03 02:00:00 | 5.7413 | 174.814 | 6.6047 | 192.0933 | 10.226 | 15.6613 | 10.5367 | 19.088 | 6.7027 | 890 | 83.2867 | 39.5853
2020-03-03 02:15:00 | 5.6193 | 190.5053 | 6.4733 | 209.3467 | 10.34 | 11.0707 | 10.5307 | 19.0427 | 6.696 | 889.0667 | 83.1933 | 39.6987
2020-03-03 02:30:00 | 5.1387 | 157.7493 | 5.918 | 173.3467 | 9.734 | 12.1287 | 10.1627 | 17.374 | 6.58 | 889 | 83.6933 | 39.4053
2020-03-03 02:45:00 | 4.96 | 120.2667 | 5.7027 | 132.1533 | 9.1993 | 7.4887 | 9.1673 | 13.242 | 6.4873 | 889 | 84.3 | 42.346
2020-03-03 03:00:00 | 6.002 | 86.9613 | 6.9073 | 95.554 | 10.1967 | 9.6207 | 10.2267 | 17.1767 | 6.4167 | 889 | 84.9733 | 44.4393
2020-03-03 03:15:00 | 5.432 | 186.65 | 6.2567 | 205.1067 | 9.91 | 20.4433 | 10.308 | 22.0247 | 6.3473 | 889 | 85.6933 | 42.9833
2020-03-03 03:30:00 | 5.1167 | 172.7233 | 5.8927 | 189.8 | 9.322 | 17.242 | 9.536 | 28.3607 | 6.2467 | 889 | 86.4333 | 40.6213
2020-03-03 03:45:00 | 5.192 | 294.576 | 5.9713 | 323.7067 | 9.4913 | 9.934 | 9.77 | 24.4667 | 6.2353 | 888.3333 | 86.3667 | 38.4727
2020-03-03 04:00:00 | 4.4253 | 116.5607 | 5.0893 | 128.08 | 8.3547 | 20.936 | 8.4467 | 27.058 | 6.1487 | 889 | 87.26 | 34.4873
2020-03-03 04:15:00 | 4.1433 | 232.8433 | 4.7707 | 255.8693 | 7.5573 | 10.174 | 7.868 | 21.224 | 6.038 | 888.0667 | 87.5933 | 35.894
2020-03-03 04:30:00 | 4.446 | 157.84 | 5.122 | 173.444 | 7.6167 | 16.714 | 7.852 | 18.558 | 6.2347 | 888 | 86.1733 | 38.7267
2020-03-03 04:45:00 | 4.6967 | 93.3207 | 5.406 | 102.5433 | 8.012 | 8.9093 | 8.11 | 17.802 | 6.3253 | 888 | 85.56 | 44.6033
2020-03-03 05:00:00 | 5.2553 | 221.52 | 6.048 | 243.4247 | 9.4347 | 10.0173 | 9.508 | 18.3 | 6.336 | 888 | 85.4467 | 45.8033
2020-03-03 05:15:00 | 5.496 | 99.4693 | 6.3247 | 109.306 | 9.83 | 12.9853 | 9.538 | 12.9673 | 6.35 | 888 | 85.1667 | 48.9787
2020-03-03 05:30:00 | 5.9547 | 115.6873 | 6.8513 | 127.122 | 10.634 | 10.0093 | 10.3613 | 18.6087 | 6.3393 | 888 | 85.16 | 49.4827
2020-03-03 05:45:00 | 5.332 | 117.1353 | 6.134 | 128.72 | 10.2593 | 14.0827 | 10.3213 | 20.6707 | 6.264 | 888.2667 | 85.6733 | 47.454
2020-03-03 06:00:00 | 5.1833 | 224.6827 | 5.9647 | 246.9 | 9.7733 | 12.7853 | 10.02 | 19.2087 | 6.1793 | 889 | 86.3467 | 49.492
2020-03-03 06:15:00 | 5.3947 | 178.8893 | 6.2013 | 196.576 | 10.1313 | 16.5127 | 10.472 | 24.304 | 6.116 | 889 | 86.8733 | 50.3667
2020-03-03 06:30:00 | 5.452 | 151.68 | 6.274 | 166.6807 | 10.2407 | 13.3307 | 10.4727 | 23.1793 | 6.1167 | 889 | 86.7733 | 51.2827
2020-03-03 06:45:00 | 5.5493 | 153.938 | 6.386 | 169.1573 | 10.5273 | 14.498 | 10.6793 | 23.7153 | 6.234 | 889.9333 | 85.2533 | 51.8907
2020-03-03 07:00:00 | 5.0107 | 108.934 | 5.764 | 119.7033 | 9.6587 | 15.7307 | 10.188 | 22.9753 | 6.352 | 890 | 84.1 | 52.06
2020-03-03 07:15:00 | 5.028 | 148.3833 | 5.788 | 163.0547 | 9.742 | 14.0447 | 10.2613 | 23.962 | 6.2907 | 890 | 84.4467 | 56.1753
2020-03-03 07:30:00 | 5.8213 | 118.3087 | 6.6913 | 130.0087 | 11.0367 | 18.492 | 11.3987 | 25.012 | 6.34 | 890 | 84.08 | 56.588
2020-03-03 07:45:00 | 6.508 | 125.1027 | 7.486 | 137.4733 | 12.082 | 18.0567 | 12.5927 | 25.2993 | 6.3253 | 890 | 83.64 | 57.7587
2020-03-03 08:00:00 | 6.69 | 166.6313 | 7.6953 | 183.1013 | 12.22 | 15.6953 | 12.278 | 24.6987 | 6.5033 | 890.6 | 80.86 | 58.038
2020-03-03 08:15:00 | 7.0213 | 190.372 | 8.0813 | 209.1933 | 12.8487 | 16.6173 | 12.976 | 23.3787 | 6.616 | 891 | 79.6173 | 58.8487
2020-03-03 08:30:00 | 7.112 | 132.1673 | 8.184 | 145.2333 | 13.1027 | 15.3187 | 13.3847 | 26.3127 | 6.7773 | 891 | 78.0353 | 56.8427
2020-03-03 08:45:00 | 6.3133 | 252.26 | 7.2647 | 277.2067 | 11.8 | 13.8087 | 12.0087 | 26.8727 | 7.0067 | 891 | 75.97 | 48.8373
2020-03-03 09:00:00 | 6.0313 | 198.6393 | 6.9373 | 218.28 | 11.148 | 13.5067 | 11.186 | 21.2413 | 7.1987 | 891 | 74.5693 | 43.736
2020-03-03 09:15:00 | 6.0007 | 191.0307 | 6.9033 | 209.92 | 10.714 | 15.338 | 10.858 | 18.166 | 7.4307 | 891.2667 | 73.934 | 41.2567
2020-03-03 09:30:00 | 5.5307 | 237.398 | 6.3607 | 260.872 | 10.1453 | 13.0993 | 10.2227 | 19.3873 | 7.8167 | 892 | 72.8653 | 38.7467
2020-03-03 09:45:00 | 5.9613 | 89.0213 | 6.8633 | 97.818 | 10.2213 | 13.3587 | 10.226 | 15.706 | 7.9573 | 892 | 71.0953 | 38.6653
2020-03-03 10:00:00 | 5.3713 | 107.7993 | 6.1833 | 118.46 | 9.1533 | 11.362 | 8.9613 | 17.8287 | 8.2027 | 892 | 69.81 | 28.1493
2020-03-03 10:15:00 | 4.1787 | 155.9573 | 4.8067 | 171.38 | 6.516 | 19.1507 | 6.3367 | 25.4347 | 8.6007 | 892.2667 | 67.526 | 20.07
2020-03-03 10:30:00 | 4.0147 | 246.478 | 4.6193 | 270.8533 | 6.672 | 20.0373 | 6.6433 | 22.75 | 9.4767 | 893 | 65.0213 | 13.4313
2020-03-03 10:45:00 | 3.8627 | 89.0873 | 4.4447 | 97.8933 | 6.432 | 18.1787 | 6.2073 | 24.3407 | 10.5873 | 893 | 60.7093 | 10.2213
2020-03-03 11:00:00 | 4.3253 | 6.254 | 4.9767 | 6.8633 | 6.23 | 13.1753 | 5.8913 | 21.0773 | 11.558 | 893 | 56.392 | 10.2693
2020-03-03 11:15:00 | 4.6187 | 18.7947 | 5.3133 | 20.6533 | 7.03 | 20.454 | 6.7033 | 28.1093 | 11.6173 | 893.9333 | 55.648 | 14.5727
2020-03-03 11:30:00 | 4.3213 | 42.2513 | 4.972 | 46.4307 | 6.6847 | 25.998 | 6.4187 | 30.9373 | 12.2527 | 894 | 54.264 | 15.61
2020-03-03 11:45:00 | 4.802 | 4.9467 | 5.5227 | 5.4327 | 7.308 | 19.5807 | 6.972 | 25.1013 | 11.7607 | 893.0667 | 54.8327 | 12.8433
2020-03-03 12:00:00 | 4.7167 | 117.366 | 5.4273 | 128.9647 | 6.902 | 23.1833 | 6.5033 | 30.3447 | 12.2987 | 893 | 52.6387 | 9.7153
2020-03-03 12:15:00 | 4.3927 | 127.4953 | 5.0507 | 140.0987 | 6.044 | 27.01 | 5.8653 | 27.8667 | 12.1013 | 893 | 51.604 | 6.84
2020-03-03 12:30:00 | 3.9833 | 172.894 | 4.5847 | 189.9853 | 5.4087 | 25.1393 | 5.2727 | 30.1347 | 12.6087 | 893 | 49.6307 | 3.654
2020-03-03 12:45:00 | 3.3813 | 274.8367 | 3.8907 | 302.012 | 4.93 | 25.6827 | 4.6127 | 33.7567 | 13.0767 | 893 | 48.1087 | 2.9913
2020-03-03 13:00:00 | 3.2767 | 16.154 | 3.7707 | 17.7487 | 4.6047 | 25.7427 | 4.4513 | 27.5173 | 13.5507 | 893 | 46.08 | 2.108
2020-03-03 13:15:00 | 2.796 | 116.36 | 3.2153 | 127.86 | 3.9907 | 26.2553 | 3.79 | 39.4993 | 13.952 | 892.0667 | 44.5127 | 1.368
2020-03-03 13:30:00 | 2.27 | 11.546 | 2.6153 | 12.684 | 3.204 | 26.912 | 3.2147 | 37.2367 | 14.094 | 892 | 42.5027 | 0.986
2020-03-03 13:45:00 | 2.148 | 18.1967 | 2.4713 | 19.9927 | 2.88 | 45.4687 | 3.084 | 16.2247 | 14.2673 | 892 | 40.8113 | 0.236
2020-03-03 14:00:00 | 2.662 | 18.7947 | 3.0633 | 20.6467 | 3.7693 | 25.3267 | 3.9573 | 24.6827 | 14.7667 | 892 | 38.672 | 0
2020-03-03 14:15:00 | 2.062 | 109.1433 | 2.3767 | 119.9333 | 3.2287 | 34.714 | 3.4707 | 39.9927 | 14.152 | 892 | 38.9133 | 0
2020-03-03 14:30:00 | 1.3733 | 57.4147 | 1.5813 | 63.0833 | 1.9553 | 37.2767 | 2.002 | 29.0507 | 13.4487 | 891.4 | 39.6033 | 0
2020-03-03 14:45:00 | 0.65467 | 203.4893 | 0.764 | 223.612 | 1.0027 | 241.1633 | 1.14 | 209.786 | 13.5367 | 891 | 39.91 | 0
2020-03-03 15:00:00 | 1.46 | 166.9773 | 1.6827 | 183.49 | 1.8967 | 316.8333 | 2.324 | 258.522 | 13.622 | 891 | 39.9353 | 0
2020-03-03 15:15:00 | 1.17 | 238.332 | 1.3487 | 261.9 | 1.704 | 184.994 | 1.6453 | 190.724 | 14.874 | 891 | 37.126 | 0
2020-03-03 15:30:00 | 2.5787 | 267.408 | 2.964 | 293.8533 | 3.6207 | 239.506 | 3.6273 | 237.2027 | 16.0287 | 891 | 35.2193 | 0
2020-03-03 15:45:00 | 2.132 | 170.744 | 2.4547 | 187.6267 | 3.036 | 20.106 | 2.8513 | 29.7687 | 15.264 | 890.7333 | 35.974 | 0
2020-03-03 16:00:00 | 1.4787 | 130.6073 | 1.7007 | 143.5233 | 2.3087 | 19.0007 | 2.2667 | 31.86 | 15.2853 | 890 | 35.9467 | 0
2020-03-03 16:15:00 | 1.838 | 125.2193 | 2.112 | 137.5967 | 2.9727 | 122.9133 | 2.6833 | 6.7327 | 13.9047 | 890 | 39.3433 | 0
2020-03-03 16:30:00 | 1.0393 | 141.3713 | 1.1993 | 155.3467 | 1.3373 | 203.98 | 1.4193 | 103.7587 | 14.3713 | 890 | 38.7327 | 0
2020-03-03 16:45:00 | 1.7193 | 126.7553 | 1.98 | 139.2853 | 2.0807 | 222.06 | 2.0927 | 251.78 | 15.078 | 890 | 35.9393 | 0
2020-03-03 17:00:00 | 0.91933 | 91.178 | 1.0627 | 100.1947 | 1.0407 | 226.2533 | 1.0613 | 308.04 | 15.2353 | 890 | 35.174 | 0
2020-03-03 17:15:00 | 2.096 | 151.9233 | 2.418 | 166.9467 | 2.3787 | 174.2067 | 2.2053 | 194.8533 | 14.786 | 890 | 36.6073 | 0
2020-03-03 17:30:00 | 2.344 | 161.066 | 2.698 | 177 | 2.8567 | 194.3133 | 2.7953 | 199.86 | 14.3633 | 890 | 37.8467 | 0
2020-03-03 17:45:00 | 1.8447 | 173.6553 | 2.128 | 190.8267 | 2.3733 | 197.3867 | 2.3487 | 210.18 | 13.564 | 890 | 39.464 | 0
2020-03-03 18:00:00 | 1.8873 | 182.9733 | 2.184 | 201.0667 | 2.6587 | 211.9133 | 2.5007 | 221.6133 | 13.182 | 890 | 40.312 | 0.156
2020-03-03 18:15:00 | 2.224 | 178.1247 | 2.566 | 195.74 | 2.9687 | 217 | 3.0893 | 234.9333 | 12.9407 | 890 | 41.1693 | 1.0753
2020-03-03 18:30:00 | 2.7727 | 174.974 | 3.1867 | 192.28 | 3.4387 | 209.6667 | 3.582 | 216.9067 | 12.71 | 889.4 | 41.398 | 1.642
2020-03-03 18:45:00 | 2.5007 | 177.6933 | 2.8813 | 195.26 | 3.3047 | 214.76 | 3.3867 | 221.0333 | 12.5487 | 889.2667 | 41.59 | 2.6747
2020-03-03 19:00:00 | 2.7653 | 168.7413 | 3.1833 | 185.4333 | 3.3387 | 193.36 | 3.5673 | 199.0333 | 12.3613 | 890 | 41.868 | 6.3413
2020-03-03 19:15:00 | 3.0373 | 173.3673 | 3.4947 | 190.5133 | 3.6753 | 206.8067 | 3.734 | 192.34 | 12.3233 | 890 | 41.914 | 8.2347
2020-03-03 19:30:00 | 2.9513 | 170.5633 | 3.398 | 187.4267 | 3.5007 | 195.0067 | 3.9187 | 195.3667 | 12.1467 | 890 | 42.9047 | 7.9687
2020-03-03 19:45:00 | 3.0587 | 158.4313 | 3.5193 | 174.1 | 3.646 | 187.7333 | 4.1927 | 193.2267 | 11.8233 | 890 | 44.3427 | 10.6747
2020-03-03 20:00:00 | 3.858 | 161.774 | 4.4387 | 177.7733 | 4.5127 | 190.8933 | 5.2 | 198.4333 | 11.7367 | 890 | 45.2807 | 26.2633
2020-03-03 20:15:00 | 4.8613 | 154.166 | 5.596 | 169.4133 | 5.6287 | 192.3533 | 6.4067 | 185.62 | 11.0933 | 890.2667 | 50.2233 | 27.216
2020-03-03 20:30:00 | 5.2433 | 165.57 | 6.0353 | 181.94 | 6.064 | 197.5133 | 6.6393 | 194.9867 | 10.694 | 891 | 53.6853 | 30.012
2020-03-03 20:45:00 | 5.734 | 166.608 | 6.598 | 183.0867 | 6.552 | 199.0267 | 7.1853 | 190.6667 | 10.522 | 891 | 55.3653 | 27.184
2020-03-03 21:00:00 | 5.0033 | 171.6507 | 5.7567 | 188.6267 | 5.8887 | 206 | 6.3793 | 200.78 | 10.1907 | 891 | 57.3267 | 27.0953
2020-03-03 21:15:00 | 5.2367 | 176.114 | 6.026 | 193.5333 | 6.298 | 196.3667 | 7.002 | 196.1867 | 9.8327 | 891 | 59.2673 | 25.0073
2020-03-03 21:30:00 | 5.4447 | 172.7987 | 6.2627 | 189.8867 | 6.4373 | 193.4267 | 6.938 | 200.1 | 9.61 | 891 | 59.9407 | 22.5867
2020-03-03 21:45:00 | 4.774 | 179.1673 | 5.4947 | 196.8867 | 5.6293 | 207.3733 | 6.52 | 207.5133 | 9.4147 | 891.2667 | 60.198 | 18.4087
2020-03-03 22:00:00 | 4.3433 | 158.6953 | 4.996 | 174.3867 | 5.1453 | 194.0867 | 6.0513 | 196.5733 | 9.2807 | 892 | 60.5227 | 18.4553
2020-03-03 22:15:00 | 3.9907 | 155.5547 | 4.5913 | 170.94 | 4.6787 | 194.4533 | 5.0753 | 212.08 | 9.096 | 892 | 61.464 | 18.4353
2020-03-03 22:30:00 | 3.5 | 176.334 | 4.027 | 193.77 | 4.236 | 213.55 | 4.757 | 216.75 | 8.887 | 892 | 62.464 | 15.56
2020-03-03 22:45:00 | 3.228 | 172.388 | 3.718 | 189.44 | 3.936 | 219.04 | 4.514 | 198.62 | 8.85 | 892 | 62.14 | 13.334
2020-03-03 23:00:00 | 3.028 | 166.2487 | 3.4813 | 182.6867 | 3.7447 | 205.9267 | 4.138 | 208.72 | 8.6207 | 892 | 63.3233 | 12.8567
2020-03-03 23:15:00 | 3.1713 | 156.6487 | 3.6533 | 172.1333 | 4.0553 | 198.98 | 4.388 | 207.12 | 8.5627 | 892 | 64.0653 | 13.5273
2020-03-03 23:30:00 | 3.088 | 169.3993 | 3.5513 | 186.1533 | 3.75 | 196.8267 | 4.244 | 211.8667 | 8.476 | 892 | 64.5987 | 12.1573
2020-03-03 23:45:00 | 3.438 | 169.0053 | 3.954 | 185.72 | 4.3107 | 210.9733 | 4.642 | 214.9933 | 8.3687 | 892 | 65.9047 | 10.4933