## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-04 00:00:00 | 3.1879 | 168.2329 | 3.67 | 184.8643 | 4.1729 | 214.3857 | 4.0386 | 209.8357 | 8.1793 | 892 | 67.6808 | 8.4014
2020-03-04 00:15:00 | 2.558 | 160.0967 | 2.9447 | 175.9267 | 3.2513 | 212.9667 | 3.6453 | 216.3 | 7.896 | 892 | 68.6633 | 9.4447
2020-03-04 00:30:00 | 2.552 | 164.358 | 2.936 | 180.6067 | 3.3647 | 209.06 | 3.3933 | 215.2533 | 7.8233 | 892 | 69.4053 | 7.868
2020-03-04 00:45:00 | 2.4293 | 166.428 | 2.7973 | 182.8867 | 3 | 209.2867 | 3.1093 | 209.5333 | 7.7127 | 892 | 69.4067 | 7.7573
2020-03-04 01:00:00 | 2.656 | 168.0947 | 3.0607 | 184.72 | 3.206 | 202.5267 | 3.44 | 206.8667 | 7.652 | 892 | 68.99 | 6.3087
2020-03-04 01:15:00 | 2.4007 | 158.8013 | 2.764 | 174.5 | 2.8367 | 197.4467 | 3.072 | 209.0467 | 7.61 | 891.7333 | 69.1613 | 4.6993
2020-03-04 01:30:00 | 2.244 | 164.99 | 2.5893 | 181.3 | 2.68 | 199.26 | 2.894 | 219.3533 | 7.58 | 891 | 69.4813 | 3.146
2020-03-04 01:45:00 | 2.0107 | 164.62 | 2.31 | 180.9 | 2.5307 | 197.6933 | 2.6833 | 206.6267 | 7.5413 | 891 | 69.6613 | 1.8093
2020-03-04 02:00:00 | 2.0293 | 174.7787 | 2.3327 | 192.06 | 2.6193 | 190.7733 | 2.576 | 206.76 | 7.4387 | 891 | 69.728 | 1.3947
2020-03-04 02:15:00 | 1.892 | 167.386 | 2.1853 | 183.94 | 2.5147 | 185.9333 | 2.3547 | 204.42 | 7.3833 | 891 | 70.0613 | 1.672
2020-03-04 02:30:00 | 2.2053 | 168.802 | 2.538 | 185.4867 | 2.7167 | 195.54 | 2.8853 | 217.02 | 7.3953 | 891 | 70.292 | 2.6867
2020-03-04 02:45:00 | 2.3773 | 164.7993 | 2.7367 | 181.0933 | 3.1207 | 200.6333 | 3.158 | 219.52 | 7.226 | 891 | 71.2773 | 3.1587
2020-03-04 03:00:00 | 2.7947 | 159.76 | 3.2113 | 175.56 | 3.4947 | 192.2067 | 3.536 | 204.1933 | 7.0887 | 891 | 72.268 | 2.9687
2020-03-04 03:15:00 | 2.5853 | 158.93 | 2.974 | 174.64 | 3.11 | 182.5333 | 3.1467 | 194.7467 | 7.1507 | 891 | 72.122 | 1.8847
2020-03-04 03:30:00 | 2.4067 | 158.068 | 2.768 | 173.6933 | 3.1353 | 179.9667 | 3.0267 | 191.3667 | 7.0073 | 891 | 73.1427 | 1.3187
2020-03-04 03:45:00 | 2.4287 | 161.1113 | 2.7973 | 177.0467 | 3.2267 | 181.4867 | 2.962 | 192.16 | 6.9247 | 891 | 73.5573 | 1.3907
2020-03-04 04:00:00 | 2.2753 | 164.25 | 2.624 | 180.4933 | 3.176 | 182.64 | 2.9847 | 193.3467 | 6.8633 | 891 | 73.658 | 1.3547
2020-03-04 04:15:00 | 2.3307 | 156.3027 | 2.6867 | 171.7533 | 3.2153 | 183.46 | 3.114 | 193.4 | 6.8173 | 891 | 73.6727 | 2.218
2020-03-04 04:30:00 | 2.264 | 158.27 | 2.6087 | 173.9133 | 3.1647 | 182.1533 | 3.0833 | 189.7667 | 6.736 | 891 | 74.166 | 2.0207
2020-03-04 04:45:00 | 2.4847 | 161.8387 | 2.8607 | 177.84 | 3.3367 | 179.86 | 3.1587 | 189.1933 | 6.7987 | 891 | 73.9367 | 1.458
2020-03-04 05:00:00 | 1.9893 | 155.3633 | 2.2893 | 170.7267 | 2.888 | 174.2533 | 2.9273 | 185.64 | 6.63 | 891 | 74.6493 | 0.50467
2020-03-04 05:15:00 | 1.6733 | 159.9607 | 1.9367 | 175.7733 | 2.6213 | 169.9 | 2.4307 | 176.32 | 6.662 | 890.7333 | 74.2 | 0.12267
2020-03-04 05:30:00 | 1.4627 | 161.524 | 1.6887 | 177.4933 | 2.2673 | 168.4 | 2.232 | 171.7733 | 6.846 | 890.6 | 73.368 | 0
2020-03-04 05:45:00 | 0.91067 | 138.05 | 1.05 | 151.7 | 1.646 | 165.1267 | 1.6873 | 172.9267 | 6.91 | 891 | 73.15 | 0
2020-03-04 06:00:00 | 0.924 | 138.05 | 1.068 | 151.7 | 1.584 | 165.2467 | 1.5727 | 173 | 7.0987 | 891 | 72.4333 | 0.042
2020-03-04 06:15:00 | 0.70267 | 138.05 | 0.80867 | 151.7 | 1.3627 | 165.8733 | 1.5353 | 172.9733 | 6.9233 | 891 | 73.102 | 0
2020-03-04 06:30:00 | 0.46133 | 138.05 | 0.53733 | 151.7 | 0.904 | 162.04 | 0.81667 | 167.14 | 6.844 | 891 | 73.2753 | 0
2020-03-04 06:45:00 | 0.194 | 137.9967 | 0.228 | 151.6333 | 0.386 | 161.0067 | 0.23267 | 165.7267 | 6.7707 | 891 | 73.4727 | 0
2020-03-04 07:00:00 | 0.040667 | 138.05 | 0.051333 | 151.7 | 0 | 161 | 0 | 165.74 | 6.7247 | 891 | 73.82 | 0
2020-03-04 07:15:00 | 0.392 | 211.7793 | 0.456 | 232.7267 | 0.10133 | 110.106 | 0 | 165.7 | 6.484 | 891 | 75.0913 | 0
2020-03-04 07:30:00 | 0.68 | 319.51 | 0.78267 | 351.1 | 0.38267 | 47.1347 | 0 | 165.7 | 6.4247 | 891 | 75.616 | 0
2020-03-04 07:45:00 | 1.2007 | 305.414 | 1.3893 | 335.62 | 1.1413 | 15.2933 | 0 | 165.7667 | 6.334 | 891 | 75.928 | 0
2020-03-04 08:00:00 | 1.692 | 303.5407 | 1.9467 | 333.56 | 1.8333 | 10.57 | 0.156 | 144.8253 | 6.3007 | 891 | 76.248 | 0
2020-03-04 08:15:00 | 2.1013 | 193.996 | 2.4173 | 213.1767 | 2.378 | 298.3227 | 1.7367 | 5.2427 | 6.484 | 891.2667 | 75.5107 | 0
2020-03-04 08:30:00 | 1.8733 | 308.126 | 2.1547 | 338.5933 | 1.926 | 355.98 | 0.61867 | 31.234 | 7.5527 | 892 | 70.5487 | 0
2020-03-04 08:45:00 | 1.512 | 314.8887 | 1.7413 | 346.0333 | 1.3287 | 356.6133 | 0.112 | 42.2753 | 7.8547 | 892 | 69.29 | 0
2020-03-04 09:00:00 | 1.242 | 168.116 | 1.4373 | 184.7367 | 1.0533 | 356.66 | 0.052 | 42.278 | 8.2827 | 892.6 | 67.4433 | 0
2020-03-04 09:15:00 | 0.73667 | 3.9133 | 0.85333 | 4.292 | 0.28 | 329.3133 | 0.12533 | 54.8933 | 8.212 | 893 | 66.2387 | 0
2020-03-04 09:30:00 | 0.67933 | 47.3307 | 0.792 | 52.0113 | 0.84667 | 143.2467 | 1.012 | 154.4733 | 9.43 | 893.6 | 62.0393 | 0
2020-03-04 09:45:00 | 0.976 | 187.3847 | 1.132 | 205.92 | 1.1813 | 104.3833 | 1.2473 | 123.7967 | 10.3247 | 894 | 59.1 | 0
2020-03-04 10:00:00 | 2.044 | 120.1107 | 2.3573 | 131.9867 | 2.2507 | 153.3067 | 2.3053 | 148.48 | 10.6987 | 894 | 60.6193 | 0
2020-03-04 10:15:00 | 2.476 | 151.3493 | 2.85 | 166.3133 | 2.7193 | 169.16 | 2.388 | 152.6267 | 10.2953 | 894 | 61.598 | 0
2020-03-04 10:30:00 | 2.9553 | 151.752 | 3.3987 | 166.76 | 3.21 | 146.7933 | 2.8433 | 169.4067 | 10.6187 | 894 | 60.7093 | 0
2020-03-04 10:45:00 | 3.4947 | 148.4013 | 4.0227 | 163.08 | 3.7373 | 163.6333 | 3.5393 | 179.3067 | 10.566 | 894 | 60.918 | 0
2020-03-04 11:00:00 | 3.4407 | 157.1547 | 3.9593 | 172.6933 | 3.6973 | 167.22 | 3.6393 | 172.7867 | 10.6127 | 894 | 59.8607 | 0.42867
2020-03-04 11:15:00 | 3.5307 | 134.8853 | 4.0613 | 148.22 | 3.9207 | 163.0467 | 3.8713 | 171.9467 | 10.9327 | 894 | 57.09 | 0.588
2020-03-04 11:30:00 | 3.3867 | 147.36 | 3.9027 | 161.9333 | 3.806 | 146.26 | 3.864 | 172.68 | 11.4467 | 894 | 54.4273 | 1.3493
2020-03-04 11:45:00 | 3.5727 | 148.848 | 4.108 | 163.5667 | 4.096 | 163.3133 | 4.4253 | 177.28 | 11.742 | 894 | 52.214 | 2.5167
2020-03-04 12:00:00 | 3.1807 | 151.9733 | 3.6607 | 167.0027 | 3.8267 | 208.3933 | 4.0547 | 206.4533 | 12.2413 | 894 | 49.4153 | 4.032
2020-03-04 12:15:00 | 3.5413 | 136.6687 | 4.074 | 150.1787 | 4.0727 | 196.2133 | 4.6247 | 185.2 | 12.352 | 893.0667 | 49.2593 | 5.2113
2020-03-04 12:30:00 | 3.262 | 183.894 | 3.7593 | 202.08 | 4.106 | 217.8933 | 4.3947 | 246.68 | 12.5747 | 893 | 48.2547 | 5.942
2020-03-04 12:45:00 | 3.0433 | 164.9287 | 3.4993 | 181.24 | 3.5533 | 216.3267 | 3.6113 | 229.56 | 12.9947 | 893 | 48.1573 | 3.766
2020-03-04 13:00:00 | 3.0033 | 144.62 | 3.458 | 158.9133 | 3.378 | 157.8933 | 3.882 | 205.44 | 13.078 | 893 | 47.936 | 3.4733
2020-03-04 13:15:00 | 4.0367 | 157.3747 | 4.65 | 172.9333 | 4.6773 | 142.0333 | 4.7073 | 186.6667 | 13.364 | 893 | 47.15 | 3.822
2020-03-04 13:30:00 | 4.08 | 123.982 | 4.698 | 136.24 | 4.732 | 147.08 | 5.028 | 162.28 | 13.484 | 892.4 | 46.468 | 4.1213
2020-03-04 13:45:00 | 4.41 | 140.0527 | 5.0807 | 153.9 | 5.2367 | 164.8067 | 5.3727 | 169.28 | 13.7413 | 892 | 45.8093 | 4.6227
2020-03-04 14:00:00 | 4.1627 | 142.058 | 4.7933 | 156.1067 | 4.7067 | 171.5133 | 4.6373 | 175.2733 | 13.8213 | 892 | 44.968 | 4.9507
2020-03-04 14:15:00 | 4.1567 | 172.8533 | 4.784 | 189.94 | 4.8467 | 169.4867 | 5.0333 | 172.9467 | 13.9593 | 892 | 44.3307 | 5.4473
2020-03-04 14:30:00 | 4.1147 | 141.63 | 4.7407 | 155.6333 | 4.812 | 186.3867 | 5.1427 | 183.96 | 14.5333 | 891.4 | 43.0067 | 5.6453
2020-03-04 14:45:00 | 4.172 | 147.0353 | 4.7947 | 161.5733 | 4.7787 | 172.6467 | 5.328 | 190.6733 | 14.508 | 891 | 42.2953 | 8.0767
2020-03-04 15:00:00 | 3.978 | 155.618 | 4.5807 | 171.0067 | 4.6593 | 170.0067 | 4.98 | 193.4933 | 14.87 | 891 | 41.222 | 7.86
2020-03-04 15:15:00 | 4.1807 | 154.2653 | 4.816 | 169.52 | 4.9747 | 177.3667 | 5.0687 | 186.2333 | 14.95 | 891 | 40.2853 | 6.738
2020-03-04 15:30:00 | 3.956 | 167.1833 | 4.5567 | 183.7133 | 4.7107 | 193.8133 | 4.606 | 197.34 | 14.9387 | 891 | 39.43 | 9.768
2020-03-04 15:45:00 | 4.0113 | 148.6493 | 4.62 | 163.34 | 4.868 | 178.4733 | 4.936 | 184.9133 | 15.0193 | 890.0667 | 38.824 | 15.828
2020-03-04 16:00:00 | 3.5667 | 201.0113 | 4.106 | 220.8867 | 4.6747 | 219.2667 | 4.798 | 228.48 | 15.6387 | 890 | 37.5807 | 20.6873
2020-03-04 16:15:00 | 4.3613 | 180.9813 | 5.0287 | 198.88 | 5.5233 | 226.1933 | 5.856 | 235.9 | 15.1487 | 890 | 38.9313 | 21.6687
2020-03-04 16:30:00 | 3.5307 | 121.4313 | 4.0647 | 133.44 | 4.6573 | 177.54 | 4.8653 | 173.12 | 15.262 | 890 | 39.486 | 26.0973
2020-03-04 16:45:00 | 3.418 | 169.456 | 3.93 | 186.2133 | 4.346 | 220.08 | 4.8713 | 219.46 | 15.646 | 890 | 38.0587 | 32.1227
2020-03-04 17:00:00 | 5.1053 | 189.882 | 5.8807 | 208.66 | 6.4187 | 221.4733 | 6.71 | 220.0867 | 14.5087 | 890 | 40.8353 | 28.8973
2020-03-04 17:15:00 | 4.604 | 147.884 | 5.3053 | 162.5067 | 5.7413 | 206.54 | 5.8827 | 215.4733 | 14.4433 | 890 | 41.698 | 29.672
2020-03-04 17:30:00 | 4.024 | 152.0773 | 4.628 | 167.1133 | 5.2453 | 206.7467 | 5.47 | 218.0933 | 14.292 | 890 | 42.3847 | 27.9833
2020-03-04 17:45:00 | 4.3253 | 153.7247 | 4.974 | 168.9267 | 5.2193 | 184.8933 | 5.5893 | 192.64 | 13.4547 | 890 | 43.994 | 24.214
2020-03-04 18:00:00 | 4.2767 | 148.204 | 4.9187 | 162.86 | 4.98 | 183.0733 | 5.6987 | 193.4133 | 13.1387 | 890 | 44.804 | 25.9367
2020-03-04 18:15:00 | 4.558 | 158.7327 | 5.2447 | 174.4333 | 5.3053 | 189.7333 | 5.8367 | 193.1867 | 13.054 | 889.0667 | 44.8093 | 25.8673
2020-03-04 18:30:00 | 4.4187 | 158.5673 | 5.0893 | 174.2467 | 5.3153 | 199.08 | 6.1653 | 197.4667 | 12.82 | 889 | 46.614 | 26.5247
2020-03-04 18:45:00 | 3.878 | 166.012 | 4.468 | 182.4267 | 4.6047 | 197.1467 | 5.0727 | 197.3533 | 12.4633 | 889 | 48.8633 | 21.976
2020-03-04 19:00:00 | 3.918 | 149.5573 | 4.5047 | 164.3467 | 4.7067 | 182.2267 | 5.284 | 187.6533 | 12.106 | 889 | 50.5793 | 21.672
2020-03-04 19:15:00 | 3.7467 | 138.6927 | 4.312 | 152.4 | 4.446 | 180.6933 | 4.7433 | 188.38 | 11.7973 | 889 | 51.364 | 17.394
2020-03-04 19:30:00 | 3.002 | 142.3987 | 3.4547 | 156.48 | 3.7367 | 183.7667 | 4.1753 | 204.4133 | 11.5433 | 889 | 53.156 | 12.9973
2020-03-04 19:45:00 | 3.2333 | 157.3213 | 3.722 | 172.8733 | 4.046 | 192.9867 | 4.4807 | 189.12 | 11.3473 | 889 | 54.5193 | 12.3513
2020-03-04 20:00:00 | 3.972 | 175.0407 | 4.5687 | 192.3467 | 4.7527 | 197.5533 | 5.1507 | 192.5533 | 11.2287 | 889 | 54.5547 | 11.3433
2020-03-04 20:15:00 | 3.7707 | 150.5733 | 4.3453 | 165.4533 | 4.5267 | 190.8533 | 5.0113 | 197.3533 | 11.1367 | 889.9333 | 54.84 | 9.3533
2020-03-04 20:30:00 | 3.902 | 160.1413 | 4.492 | 175.9667 | 4.4813 | 175.2067 | 4.8793 | 187.0067 | 11.074 | 890 | 55.5647 | 7.9027
2020-03-04 20:45:00 | 3.564 | 149.9067 | 4.0993 | 164.7267 | 4.3013 | 173.9467 | 4.828 | 184.44 | 11.0033 | 890 | 56.3993 | 10.11
2020-03-04 21:00:00 | 3.656 | 156.97 | 4.2047 | 172.4867 | 4.3267 | 186.3467 | 4.7247 | 191.98 | 10.8967 | 890 | 57.3453 | 11.8793
2020-03-04 21:15:00 | 3.622 | 151.166 | 4.166 | 166.1133 | 4.438 | 171.28 | 4.646 | 185.5333 | 10.6667 | 890 | 59.492 | 11.3333
2020-03-04 21:30:00 | 2.9173 | 156.346 | 3.358 | 171.8067 | 3.6607 | 185.3667 | 3.9673 | 193.8867 | 10.4213 | 890 | 61.018 | 10.6453
2020-03-04 21:45:00 | 3.456 | 176.664 | 3.9753 | 194.1333 | 4.1793 | 203.4867 | 4.438 | 188.1133 | 10.1653 | 890 | 62.4607 | 13.9327
2020-03-04 22:00:00 | 3.8387 | 160.6787 | 4.4227 | 176.56 | 4.656 | 174.4133 | 5.078 | 191.3067 | 10.0227 | 890 | 63.8 | 17.568
2020-03-04 22:15:00 | 3.998 | 153.6127 | 4.6007 | 168.8 | 4.8693 | 191.9533 | 5.24 | 204.8733 | 9.8673 | 890 | 65.948 | 14.9087
2020-03-04 22:30:00 | 3.42 | 174.1 | 3.9393 | 191.3133 | 4.2827 | 212.86 | 4.5253 | 200.6133 | 9.668 | 890 | 68.108 | 12.696
2020-03-04 22:45:00 | 3.2527 | 156.3473 | 3.7445 | 171.8091 | 4.0191 | 193.0364 | 4.3727 | 201.7545 | 9.5609 | 890 | 69.1582 | 10.51
2020-03-04 23:00:00 | 2.81 | 173.622 | 3.2347 | 190.7933 | 3.5867 | 210.28 | 3.6967 | 213.0133 | 9.4213 | 890 | 70.5747 | 6.9547
2020-03-04 23:15:00 | 3.4027 | 177.1827 | 3.92 | 194.7 | 4.3433 | 217.18 | 4.1927 | 214.2933 | 9.078 | 890 | 73.2007 | 6.502
2020-03-04 23:30:00 | 3.452 | 178.8487 | 3.968 | 196.54 | 4.3747 | 213.4467 | 4.516 | 211.6 | 8.9293 | 890 | 74.57 | 9.8307
2020-03-04 23:45:00 | 3.8827 | 179.7433 | 4.4627 | 197.5133 | 4.938 | 215.2533 | 5.018 | 211.5267 | 8.8847 | 890 | 75.0753 | 11.9893