## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-05 00:00:00 | 4.1579 | 169.7536 | 4.7879 | 186.5357 | 5.3464 | 214.4429 | 5.405 | 216.3357 | 8.7464 | 890 | 74.8038 | 14.2879
2020-03-05 00:15:00 | 4.294 | 178.348 | 4.94 | 195.98 | 5.342 | 212.12 | 5.4447 | 212.68 | 8.6393 | 890 | 75.5053 | 16.68
2020-03-05 00:30:00 | 4.5313 | 172.46 | 5.2207 | 189.5067 | 5.772 | 218.82 | 6.4647 | 221.84 | 8.4993 | 890 | 77.8253 | 18.8527
2020-03-05 00:45:00 | 4.076 | 173.8367 | 4.692 | 191.0267 | 5.2973 | 220.28 | 5.8027 | 219.5067 | 8.31 | 889.7333 | 79.4767 | 16.924
2020-03-05 01:00:00 | 3.7993 | 168.454 | 4.3773 | 185.1133 | 5.0373 | 214.0733 | 5.4993 | 220.04 | 8.15 | 889 | 79.5793 | 16.972
2020-03-05 01:15:00 | 4.1233 | 176.8027 | 4.75 | 194.28 | 5.4947 | 215.0133 | 5.9453 | 221.84 | 7.986 | 889 | 80.88 | 18.7047
2020-03-05 01:30:00 | 3.778 | 169.4693 | 4.3487 | 186.2267 | 5.0833 | 224.2467 | 5.5473 | 221.02 | 7.6907 | 889 | 82.7333 | 20.1887
2020-03-05 01:45:00 | 3.934 | 170.9167 | 4.5293 | 187.8133 | 5.2707 | 221.92 | 5.8253 | 224.26 | 7.5307 | 889 | 84.46 | 17.62
2020-03-05 02:00:00 | 3.77 | 169.02 | 4.334 | 185.73 | 5.091 | 208.72 | 5.622 | 224.15 | 7.364 | 889 | 85.88 | 16.271
2020-03-05 02:15:00 | 3.5827 | 170.8813 | 4.13 | 187.78 | 4.906 | 220.7533 | 5.4107 | 220.8733 | 7.2653 | 888.0667 | 87.4267 | 16.6967
2020-03-05 02:30:00 | 3.8027 | 172.0327 | 4.3773 | 189.04 | 5.192 | 214.84 | 5.588 | 219.2867 | 7.1487 | 888 | 88.58 | 16.3227
2020-03-05 02:45:00 | 3.5347 | 170.924 | 4.0687 | 187.8267 | 4.7127 | 218.8667 | 5.1407 | 223.9067 | 7.2367 | 888 | 88.8667 | 15.6333
2020-03-05 03:00:00 | 3.5813 | 180.4213 | 4.12 | 198.2533 | 4.7973 | 213.42 | 5.172 | 222.4133 | 7.312 | 888 | 89.04 | 13.264
2020-03-05 03:15:00 | 3.2413 | 173.7467 | 3.7307 | 190.9267 | 4.43 | 217.5133 | 4.82 | 220.56 | 7.3573 | 888 | 89.1733 | 11.4993
2020-03-05 03:30:00 | 3.0333 | 175.1987 | 3.494 | 192.5267 | 4.064 | 216.32 | 4.484 | 225.2933 | 7.354 | 888 | 90.0067 | 12.1327
2020-03-05 03:45:00 | 3.9073 | 179.9713 | 4.4953 | 197.7667 | 5.2973 | 225.4867 | 5.438 | 229.7933 | 7.3573 | 888 | 91.7133 | 11.9773
2020-03-05 04:00:00 | 3.79 | 172.594 | 4.3633 | 189.66 | 4.9233 | 219.3733 | 5.3747 | 228.1467 | 7.324 | 888 | 92.3667 | 10.6293
2020-03-05 04:15:00 | 3.7253 | 177.9747 | 4.296 | 195.5733 | 4.894 | 216.0733 | 5.082 | 220.62 | 7.3087 | 887.7333 | 92.9 | 9.4287
2020-03-05 04:30:00 | 3.2313 | 176.1967 | 3.7273 | 193.6133 | 4.4153 | 222.24 | 4.9147 | 223.3333 | 7.264 | 887 | 93.1133 | 6.952
2020-03-05 04:45:00 | 2.7327 | 161.6747 | 3.1413 | 177.6667 | 3.4247 | 197.0267 | 3.8553 | 211.82 | 7.1687 | 887 | 93.5933 | 5.0793
2020-03-05 05:00:00 | 3.1853 | 178.972 | 3.6713 | 196.6733 | 4.2093 | 213.5267 | 4.386 | 221.72 | 7.1127 | 887 | 94 | 4.6693
2020-03-05 05:15:00 | 2.548 | 156.598 | 2.9373 | 172.08 | 3.364 | 205.68 | 3.6173 | 200 | 7.082 | 887 | 94.2933 | 4.3907
2020-03-05 05:30:00 | 2.6527 | 154.7587 | 3.0533 | 170.0667 | 3.132 | 189.9933 | 3.0193 | 193.9533 | 6.9893 | 887 | 94.24 | 3.4407
2020-03-05 05:45:00 | 2.6327 | 158.5453 | 3.028 | 174.22 | 3.078 | 185.8 | 3.1167 | 191.5867 | 6.9413 | 887 | 93.9667 | 4.7913
2020-03-05 06:00:00 | 2.5913 | 155.032 | 2.978 | 170.3533 | 3.0427 | 198.6933 | 3.092 | 186.7133 | 6.964 | 887 | 93.8867 | 3.8487
2020-03-05 06:15:00 | 2.58 | 169.1593 | 2.9693 | 185.88 | 3.0453 | 202.3733 | 3.1707 | 189.28 | 6.9673 | 887 | 94.1 | 4.14
2020-03-05 06:30:00 | 2.744 | 167.349 | 3.158 | 183.89 | 3.281 | 202.88 | 3.396 | 191.37 | 6.964 | 887 | 94.16 | 4.201
2020-03-05 06:45:00 | 2.744 | 167.349 | 3.158 | 183.89 | 3.281 | 202.88 | 3.396 | 191.37 | 6.964 | 887 | 94.16 | 4.201
2020-03-05 07:00:00 | 2.744 | 167.349 | 3.158 | 183.89 | 3.281 | 202.88 | 3.396 | 191.37 | 6.964 | 887 | 94.16 | 4.201
2020-03-05 07:15:00 | 2.744 | 167.349 | 3.158 | 183.89 | 3.281 | 202.88 | 3.396 | 191.37 | 6.964 | 887 | 94.16 | 4.201
2020-03-05 07:30:00 | 2.744 | 167.349 | 3.158 | 183.89 | 3.281 | 202.88 | 3.396 | 191.37 | 6.964 | 887 | 94.16 | 4.201
2020-03-05 07:45:00 | 2.308 | 180.748 | 2.6553 | 198.62 | 2.9893 | 207.72 | 3.1593 | 206.3333 | 6.9153 | 887 | 95.38 | 3.43
2020-03-05 08:00:00 | 2.308 | 180.748 | 2.6553 | 198.62 | 2.9893 | 207.72 | 3.1593 | 206.3333 | 6.9153 | 887 | 95.38 | 3.43
2020-03-05 08:15:00 | 2.308 | 180.748 | 2.6553 | 198.62 | 2.9893 | 207.72 | 3.1593 | 206.3333 | 6.9153 | 887 | 95.38 | 3.43
2020-03-05 08:30:00 | 2.308 | 180.748 | 2.6553 | 198.62 | 2.9893 | 207.72 | 3.1593 | 206.3333 | 6.9153 | 887 | 95.38 | 3.43
2020-03-05 08:45:00 | 2.308 | 180.748 | 2.6553 | 198.62 | 2.9893 | 207.72 | 3.1593 | 206.3333 | 6.9153 | 887 | 95.38 | 3.43
2020-03-05 09:00:00 | 2.32 | 163.214 | 2.6667 | 179.3467 | 3.0907 | 223.94 | 3.2153 | 209.92 | 6.88 | 887 | 95.6533 | 4.0287
2020-03-05 09:15:00 | 2.196 | 166.3947 | 2.528 | 182.8467 | 3.0067 | 216.9667 | 3.048 | 217.3267 | 6.9287 | 887 | 96.0667 | 6.576
2020-03-05 09:30:00 | 2.7273 | 172.1627 | 3.1387 | 189.1867 | 3.6807 | 215.2733 | 3.7153 | 218.8733 | 7.038 | 887 | 96.0333 | 8.9133
2020-03-05 09:45:00 | 3.0367 | 171.2793 | 3.4973 | 188.2133 | 3.6947 | 212.2067 | 3.8093 | 206.88 | 7.05 | 887.2667 | 95.44 | 8.1893
2020-03-05 10:00:00 | 2.812 | 162.8653 | 3.2407 | 178.96 | 3.4513 | 208.24 | 3.6353 | 199.8667 | 7.0753 | 888 | 94.9267 | 6.6033
2020-03-05 10:15:00 | 2.748 | 173.762 | 3.1667 | 190.94 | 3.5087 | 215.9533 | 3.3173 | 215.24 | 7.122 | 888 | 95.0267 | 6.1473
2020-03-05 10:30:00 | 2.4773 | 173.208 | 2.8513 | 190.3333 | 3.116 | 208.9467 | 3.1627 | 217.1267 | 7.144 | 888 | 95.4 | 6.3673
2020-03-05 10:45:00 | 2.444 | 151.2053 | 2.8147 | 166.1533 | 2.9567 | 192.34 | 3.0333 | 197.08 | 7.2227 | 888 | 95.2733 | 6.1207
2020-03-05 11:00:00 | 2.8627 | 159.6213 | 3.2967 | 175.4067 | 3.4427 | 191.1867 | 3.7387 | 193.9 | 7.308 | 888 | 94.4867 | 6.6707
2020-03-05 11:15:00 | 3.082 | 161.894 | 3.542 | 177.9 | 3.4747 | 179.76 | 3.7013 | 196.1467 | 7.434 | 888 | 93.9267 | 7.52
2020-03-05 11:30:00 | 2.9213 | 140.8867 | 3.3607 | 154.8133 | 3.2093 | 184.6867 | 3.676 | 209.7933 | 7.6307 | 888 | 92.6733 | 8.1733
2020-03-05 11:45:00 | 3.0433 | 140.3673 | 3.4993 | 154.2467 | 3.3507 | 179.26 | 3.4707 | 189.8733 | 7.942 | 888 | 91.4133 | 7.9813
2020-03-05 12:00:00 | 3.094 | 174.458 | 3.5647 | 191.7133 | 3.5487 | 183.1067 | 4.028 | 193.7933 | 8.0727 | 888 | 91.0333 | 7.854
2020-03-05 12:15:00 | 3.2933 | 162.1993 | 3.7927 | 178.2333 | 3.752 | 176.74 | 3.8807 | 185.4933 | 8.3533 | 888 | 87.72 | 6.2707
2020-03-05 12:30:00 | 3.4573 | 158.2333 | 3.9813 | 173.88 | 3.9353 | 185.84 | 4.26 | 189.0067 | 8.3573 | 888 | 86.4133 | 5.022
2020-03-05 12:45:00 | 3.42 | 155.692 | 3.9413 | 171.08 | 4.016 | 183.16 | 4.2647 | 173.8067 | 8.3007 | 887.0667 | 86.1467 | 5.402
2020-03-05 13:00:00 | 4.0113 | 158.8993 | 4.6127 | 174.6133 | 4.544 | 190.6133 | 4.812 | 184.06 | 8.324 | 887 | 85.4467 | 5.6853
2020-03-05 13:15:00 | 3.1407 | 160.372 | 3.6173 | 176.2267 | 3.5513 | 199.88 | 3.7727 | 186.06 | 8.482 | 887 | 86.0733 | 3.8247
2020-03-05 13:30:00 | 2.7627 | 169.318 | 3.1753 | 186.06 | 3.2627 | 186.18 | 3.38 | 179.2867 | 8.558 | 886.4 | 85.24 | 3.722
2020-03-05 13:45:00 | 3.1873 | 152.4713 | 3.67 | 167.5467 | 3.7347 | 177.0733 | 3.83 | 174.08 | 8.532 | 886 | 84.72 | 3.3587
2020-03-05 14:00:00 | 2.9047 | 143.8247 | 3.3467 | 158.04 | 3.5413 | 194.0133 | 4.1233 | 185.5467 | 8.5553 | 886 | 83.98 | 4.2947
2020-03-05 14:15:00 | 3.3587 | 158.222 | 3.8633 | 173.86 | 3.9227 | 192.6733 | 4.1933 | 191.74 | 8.4593 | 885.0667 | 83.9 | 4.5767
2020-03-05 14:30:00 | 2.5547 | 153.2347 | 2.9367 | 168.3867 | 3.1773 | 204.3067 | 3.5033 | 197.66 | 8.462 | 885 | 84.3 | 2.9493
2020-03-05 14:45:00 | 2.228 | 163.3593 | 2.5713 | 179.5133 | 2.7967 | 212.08 | 3.0533 | 198.3467 | 8.474 | 885 | 84.62 | 1.968
2020-03-05 15:00:00 | 2.1987 | 180.8667 | 2.5293 | 198.7533 | 2.964 | 212.38 | 2.994 | 209.4 | 8.4667 | 884.4 | 85.2133 | 1.1587
2020-03-05 15:15:00 | 2.5173 | 177.888 | 2.8987 | 195.48 | 3.1713 | 208.6267 | 3.0213 | 202.34 | 8.4467 | 884 | 85.88 | 2.0133
2020-03-05 15:30:00 | 2.5933 | 162.082 | 2.9807 | 178.1067 | 3.2327 | 225.0933 | 3.1847 | 208.84 | 8.39 | 884 | 86.14 | 2.736
2020-03-05 15:45:00 | 2.4353 | 182.6247 | 2.804 | 200.6867 | 3.2333 | 214.6133 | 2.9593 | 218.8133 | 8.4173 | 884 | 86.44 | 2.926
2020-03-05 16:00:00 | 2.5053 | 163.636 | 2.8773 | 179.82 | 3.188 | 215.7333 | 3.1367 | 211.7667 | 8.3847 | 884 | 87.2933 | 3.2807
2020-03-05 16:15:00 | 2.4193 | 179.988 | 2.7813 | 197.7867 | 3.0127 | 213.82 | 2.878 | 211.6 | 8.3513 | 883.0667 | 87.3333 | 3.226
2020-03-05 16:30:00 | 2.0973 | 176.5547 | 2.418 | 194.0133 | 2.782 | 220.2267 | 2.8827 | 227.58 | 8.3973 | 883 | 87.26 | 2.54
2020-03-05 16:45:00 | 1.77 | 174.3633 | 2.038 | 191.6 | 2.412 | 222.9733 | 2.5973 | 212.06 | 8.4547 | 883 | 86.3267 | 2.1333
2020-03-05 17:00:00 | 1.5133 | 164.322 | 1.7413 | 180.5667 | 2.3273 | 218.8667 | 2.3273 | 219.0533 | 8.478 | 883 | 85.5 | 1.7013
2020-03-05 17:15:00 | 1.7593 | 175.348 | 2.0273 | 192.68 | 2.472 | 209.8467 | 2.8293 | 205.7267 | 8.5247 | 883 | 84.66 | 1.622
2020-03-05 17:30:00 | 1.5447 | 153.528 | 1.7833 | 168.7067 | 2.2273 | 200.82 | 2.4793 | 204.7933 | 8.556 | 883 | 84.96 | 1.4707
2020-03-05 17:45:00 | 2.6787 | 172.182 | 3.0813 | 189.2133 | 3.5867 | 220.6467 | 3.7047 | 215.9733 | 8.5467 | 883 | 84.56 | 2.678
2020-03-05 18:00:00 | 2.0253 | 176.3467 | 2.3267 | 193.78 | 2.7633 | 199.1933 | 2.9693 | 199.2933 | 8.458 | 883 | 85.14 | 2.5773
2020-03-05 18:15:00 | 1.4187 | 177.4173 | 1.6367 | 194.96 | 2.2353 | 210.28 | 2.3247 | 210.5267 | 8.36 | 883 | 85.94 | 2.2507
2020-03-05 18:30:00 | 1.48 | 178.228 | 1.704 | 195.8467 | 2.236 | 218.3 | 2.1767 | 203.22 | 8.2813 | 883 | 86.5333 | 2.1293
2020-03-05 18:45:00 | 1.2547 | 181.9173 | 1.444 | 199.9067 | 2.242 | 216.6 | 2.332 | 205.74 | 8.21 | 883 | 87.8067 | 2.41
2020-03-05 19:00:00 | 0.37933 | 114.464 | 0.44533 | 125.78 | 0.72 | 205.2667 | 1.464 | 218.14 | 8.1053 | 883 | 90.18 | 2.8387
2020-03-05 19:15:00 | 0.554 | 147.8453 | 0.64333 | 162.4667 | 1.0553 | 205.6933 | 2.0867 | 227.54 | 7.8987 | 883 | 93.8133 | 3.006
2020-03-05 19:30:00 | 0.39867 | 139.6027 | 0.46267 | 153.4133 | 0.67 | 189.02 | 1.332 | 225.42 | 7.7173 | 883 | 96.4733 | 2.5853
2020-03-05 19:45:00 | 0.12067 | 152.1287 | 0.14733 | 167.1733 | 0.22933 | 205.32 | 1.3933 | 235.7 | 7.6207 | 883 | 97.7267 | 2.12
2020-03-05 20:00:00 | 0.46267 | 152.07 | 0.52933 | 167.1 | 0.81333 | 178.5733 | 1.9133 | 223.5067 | 7.5713 | 883 | 98.3267 | 2.014
2020-03-05 20:15:00 | 0.64067 | 152.07 | 0.73867 | 167.1 | 1.27 | 207.12 | 2.6073 | 223.5733 | 7.5173 | 883 | 98.7933 | 1.702
2020-03-05 20:30:00 | 1.148 | 160.2107 | 1.3227 | 176.0533 | 2.0867 | 213.9933 | 3.106 | 223.1 | 7.486 | 883 | 99.0867 | 1.4373
2020-03-05 20:45:00 | 1.07 | 166.032 | 1.2367 | 182.4533 | 2.1253 | 229.24 | 3.0027 | 227.0933 | 7.4747 | 883.2667 | 99.1933 | 1.804
2020-03-05 21:00:00 | 0.76267 | 143.96 | 0.88067 | 158.2 | 1.51 | 225.98 | 2.416 | 235.36 | 7.548 | 884 | 98.0067 | 2.054
2020-03-05 21:15:00 | 0.672 | 144.0267 | 0.77467 | 158.2667 | 1.328 | 227.2267 | 2.2633 | 226.98 | 7.576 | 884 | 97.2267 | 2.5493
2020-03-05 21:30:00 | 0.976 | 165.9267 | 1.1247 | 182.3333 | 1.7547 | 210.24 | 2.466 | 228.6267 | 7.566 | 884 | 97.56 | 1.5453
2020-03-05 21:45:00 | 0.95267 | 226.458 | 1.1013 | 248.8533 | 1.8893 | 241.0133 | 2.5047 | 234.8267 | 7.5547 | 884 | 97.2333 | 0.786
2020-03-05 22:00:00 | 1.1527 | 211.456 | 1.3287 | 232.36 | 2.24 | 242.2933 | 2.2007 | 227.8333 | 7.6933 | 884 | 92.48 | 1.384
2020-03-05 22:15:00 | 1.312 | 185.0653 | 1.5167 | 203.3667 | 2.4573 | 233.12 | 2.472 | 225.7933 | 8.096 | 884 | 87.84 | 1.948
2020-03-05 22:30:00 | 1.2257 | 209.05 | 1.4143 | 229.7143 | 2.36 | 235.05 | 2.455 | 237.45 | 8.1929 | 884 | 86.7143 | 1.6943
2020-03-05 22:45:00 | 1.5775 | 178.4588 | 1.8275 | 196.1 | 2.645 | 211.9875 | 2.7662 | 208.1125 | 8.2925 | 884 | 85.7 | 1.8644
2020-03-05 23:00:00 | 1.4153 | 173.152 | 1.63 | 190.28 | 2.3947 | 210.6133 | 2.636 | 216.3867 | 8.29 | 884 | 85.26 | 1.3913
2020-03-05 23:15:00 | 1.6187 | 176.614 | 1.8673 | 194.08 | 2.7387 | 222.6533 | 2.85 | 223.6933 | 8.2347 | 884 | 85.5933 | 2.1393
2020-03-05 23:30:00 | 1.548 | 178.5493 | 1.7913 | 196.2067 | 2.3753 | 208.2667 | 2.5253 | 214.4867 | 8.1953 | 884 | 85.76 | 1.9147
2020-03-05 23:45:00 | 1.5047 | 174.7493 | 1.7387 | 192.0333 | 2.6353 | 215.08 | 2.9313 | 223.74 | 8.1573 | 884 | 86.1067 | 2.0073