## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-06 00:00:00 | 1.5907 | 173.4771 | 1.8307 | 190.6357 | 3.0157 | 229.6143 | 3.0336 | 229.6286 | 8.0957 | 884 | 86.32 | 1.3814
2020-03-06 00:15:00 | 1.1347 | 181.82 | 1.3093 | 199.8 | 1.9473 | 214.2467 | 2.67 | 220.9333 | 8.01 | 884 | 87.9667 | 0.69
2020-03-06 00:30:00 | 0.42133 | 181.73 | 0.484 | 199.7 | 0.81667 | 220.4933 | 1.96 | 234.3933 | 7.876 | 884 | 89.52 | 0.55067
2020-03-06 00:45:00 | 0.53067 | 186.3767 | 0.61267 | 204.8067 | 1.0567 | 243.6 | 2.0547 | 250.62 | 7.814 | 884 | 89.9 | 0.88933
2020-03-06 01:00:00 | 1.2653 | 242.852 | 1.458 | 266.8667 | 2.478 | 256.5867 | 2.8293 | 259.96 | 7.98 | 884 | 86.2733 | 1.092
2020-03-06 01:15:00 | 1.1253 | 185.4667 | 1.294 | 203.8067 | 2.1453 | 241.0467 | 2.6353 | 244.9 | 8.1887 | 884 | 84.2 | 1.1307
2020-03-06 01:30:00 | 0.888 | 190.1 | 1.0287 | 208.9 | 1.7667 | 228.9333 | 2.7233 | 236.8267 | 8.0867 | 884 | 86.4667 | 1.434
2020-03-06 01:45:00 | 1.8407 | 178.9113 | 2.12 | 196.6067 | 3.37 | 233.8267 | 3.7033 | 232.66 | 7.8953 | 883.7333 | 87.9933 | 2.3887
2020-03-06 02:00:00 | 2.4153 | 151.786 | 2.784 | 166.7933 | 3.4747 | 224.56 | 3.8 | 226.7267 | 7.906 | 883 | 87.0733 | 5.404
2020-03-06 02:15:00 | 3.24 | 147.626 | 3.7333 | 162.2267 | 3.7967 | 186.8133 | 3.632 | 214.62 | 7.5593 | 882.7333 | 93.0533 | 7.3387
2020-03-06 02:30:00 | 2.124 | 155.5607 | 2.4453 | 170.94 | 2.488 | 195.2733 | 2.9627 | 218.06 | 7.4187 | 882 | 95.28 | 5.128
2020-03-06 02:45:00 | 1.0913 | 166.9473 | 1.256 | 183.46 | 1.5007 | 204.2933 | 2.0213 | 203.6267 | 7.294 | 882 | 96.0533 | 3.356
2020-03-06 03:00:00 | 0.88733 | 156.0073 | 1.026 | 171.4267 | 1.596 | 204.8067 | 2.2953 | 213.54 | 7.098 | 882 | 97.7467 | 3.4733
2020-03-06 03:15:00 | 1.6227 | 170.2627 | 1.872 | 187.0933 | 2.8273 | 230.0733 | 3.358 | 234.38 | 7.0287 | 882 | 98.7667 | 3.6313
2020-03-06 03:30:00 | 1.8067 | 161.2527 | 2.078 | 177.2 | 3.338 | 233.8533 | 3.5193 | 243.2 | 7.07 | 882 | 98.26 | 4.5007
2020-03-06 03:45:00 | 1.5047 | 146.654 | 1.7333 | 161.1467 | 2.8067 | 232.4133 | 3.2567 | 235.82 | 7.134 | 882 | 97.2733 | 3.2053
2020-03-06 04:00:00 | 1.368 | 179.49 | 1.5813 | 197.24 | 2.644 | 245.2467 | 3.2153 | 251.44 | 6.9533 | 882 | 98.8667 | 1.7753
2020-03-06 04:15:00 | 1.442 | 265.158 | 1.665 | 291.38 | 2.669 | 262.29 | 3.442 | 265.28 | 7.018 | 882 | 97.92 | 2.334
2020-03-06 04:30:00 | 1.0433 | 210.6093 | 1.2093 | 231.44 | 2.0313 | 251.3667 | 2.91 | 252.7667 | 7.5567 | 881.4 | 89.4267 | 1.5907
2020-03-06 04:45:00 | 0.15133 | 260.7667 | 0.178 | 286.5467 | 0.294 | 258.1133 | 1.248 | 272.2467 | 7.7273 | 881.9333 | 87.74 | 0.41467
2020-03-06 05:00:00 | 0 | 227.016 | 0.002 | 249.472 | 0.002 | 267.44 | 0.41333 | 244.28 | 7.6667 | 882 | 89.98 | 0
2020-03-06 05:15:00 | 0.16667 | 10.342 | 0.19667 | 11.3653 | 0.17 | 153.0133 | 0.056667 | 155.272 | 7.55 | 882 | 91.26 | 0
2020-03-06 05:30:00 | 0.837 | 228.313 | 0.964 | 250.884 | 0.76 | 31.284 | 0.215 | 27.156 | 7.311 | 882 | 94.41 | 0
2020-03-06 05:45:00 | 0 | 306.77 | 0 | 337.1 | 0 | 38.4733 | 0 | 26.84 | 7.3107 | 882 | 91.9 | 0
2020-03-06 06:00:00 | 0.44933 | 306.77 | 0.52 | 337.1 | 0.42533 | 34.8113 | 0.20733 | 262.1773 | 7.5833 | 882 | 89.8933 | 0
2020-03-06 06:15:00 | 1.2153 | 315.8953 | 1.4047 | 347.1333 | 1.3067 | 11.3733 | 0.95267 | 193.7687 | 7.3107 | 882 | 93.4067 | 0
2020-03-06 06:30:00 | 1.236 | 313.7547 | 1.4227 | 344.7733 | 1.492 | 8.3633 | 1.1253 | 19.1167 | 7.1847 | 882 | 93.92 | 0
2020-03-06 06:45:00 | 1.342 | 293.738 | 1.552 | 322.79 | 1.5787 | 11.284 | 1.1413 | 19.158 | 7.2453 | 882 | 92.5467 | 0
2020-03-06 07:00:00 | 1.4127 | 227.5247 | 1.6347 | 250.0233 | 1.9913 | 16.2927 | 1.612 | 19.9133 | 7.266 | 882 | 91.8667 | 0
2020-03-06 07:15:00 | 2.0447 | 255.266 | 2.352 | 280.5067 | 2.5387 | 13.192 | 2.9887 | 26.6193 | 7.27 | 882 | 91.8267 | 0
2020-03-06 07:30:00 | 2.3447 | 315.2067 | 2.6933 | 346.38 | 2.816 | 121.6813 | 3.252 | 23.5887 | 7.2627 | 882 | 91.86 | 0
2020-03-06 07:45:00 | 2.2847 | 271.9227 | 2.6273 | 298.808 | 3.4927 | 124.5693 | 3.506 | 124.9633 | 7.2033 | 882 | 92.6267 | 0.83267
2020-03-06 08:00:00 | 2.158 | 245.5553 | 2.4813 | 269.842 | 4.0333 | 16.07 | 4.2827 | 14.612 | 7.182 | 882 | 93.7067 | 1.814
2020-03-06 08:15:00 | 2.16 | 305.3613 | 2.4867 | 335.5533 | 3.9253 | 12.2947 | 3.9847 | 17.8467 | 7.1893 | 882.2667 | 94.3133 | 2.9507
2020-03-06 08:30:00 | 2.452 | 172.5467 | 2.8227 | 189.6033 | 4.4647 | 15.1127 | 4.4773 | 23.8453 | 7.218 | 883 | 94.6333 | 3.8473
2020-03-06 08:45:00 | 2.4227 | 203.0313 | 2.79 | 223.1067 | 4.2253 | 14.8407 | 4.7133 | 22.1613 | 7.2927 | 883 | 94.5 | 4.3247
2020-03-06 09:00:00 | 2.688 | 32.4887 | 3.094 | 35.6993 | 4.8173 | 10.3307 | 5.1387 | 17.654 | 7.4153 | 883.6 | 94.0933 | 5.4367
2020-03-06 09:15:00 | 2.73 | 51.9973 | 3.1373 | 57.134 | 4.6227 | 10.6967 | 4.7633 | 16.56 | 7.4867 | 884 | 93.4533 | 7.326
2020-03-06 09:30:00 | 2.7413 | 160.572 | 3.16 | 176.4513 | 4.9473 | 9.766 | 4.8827 | 15.9747 | 7.64 | 884 | 93.4133 | 9.2887
2020-03-06 09:45:00 | 2.879 | 158.666 | 3.311 | 174.358 | 5.062 | 13.028 | 5.247 | 17.187 | 7.759 | 884 | 93.14 | 9.931
2020-03-06 10:00:00 | 3.0073 | 137.3413 | 3.4633 | 150.9273 | 5.3573 | 9.7793 | 5.6353 | 17.4527 | 7.9313 | 884.6 | 92.2733 | 12.83
2020-03-06 10:15:00 | 3.0533 | 84.16 | 3.5153 | 92.4767 | 5.3973 | 10.09 | 5.882 | 16.49 | 8.0307 | 885 | 91.3533 | 12.486
2020-03-06 10:30:00 | 2.898 | 109.528 | 3.338 | 120.3527 | 4.8087 | 8.9447 | 5.188 | 20.1973 | 8.368 | 885 | 89.4667 | 10.5013
2020-03-06 10:45:00 | 2.512 | 214.506 | 2.888 | 235.7147 | 4.4853 | 7.37 | 4.59 | 16.3213 | 8.638 | 885 | 87.8133 | 7.6033
2020-03-06 11:00:00 | 1.696 | 177.7827 | 1.96 | 195.364 | 3.2553 | 5.6427 | 3.6967 | 23.0967 | 9.0827 | 885 | 85.64 | 3.8207
2020-03-06 11:15:00 | 1.508 | 251.4933 | 1.7447 | 276.368 | 2.4513 | 8.4273 | 2.94 | 16.182 | 9.2653 | 885 | 83.68 | 2.256
2020-03-06 11:30:00 | 2.052 | 276.3253 | 2.3707 | 303.6507 | 3.3587 | 8.9033 | 3.5493 | 18.5387 | 9.412 | 885 | 83.34 | 3.354
2020-03-06 11:45:00 | 2.6173 | 159.7147 | 3.0133 | 175.5027 | 4.6547 | 13.012 | 4.6067 | 12.1313 | 9.644 | 885.6667 | 82.7333 | 4.504
2020-03-06 12:00:00 | 3.336 | 275.9807 | 3.8413 | 303.2747 | 5.6467 | 6.9413 | 5.7767 | 13.4853 | 9.7047 | 885 | 83.42 | 7.0893
2020-03-06 12:15:00 | 3.4873 | 157.092 | 4.016 | 172.632 | 6.2313 | 6.8707 | 6.3053 | 16.936 | 9.7313 | 885 | 82.5667 | 9.034
2020-03-06 12:30:00 | 3.112 | 173.6767 | 3.588 | 190.8493 | 5.7973 | 10.1433 | 5.69 | 18.3767 | 9.9527 | 885 | 80.8933 | 9.378
2020-03-06 12:45:00 | 2.551 | 233.467 | 2.933 | 256.556 | 4.601 | 11.256 | 4.616 | 20.501 | 10.269 | 885 | 79.48 | 7.778
2020-03-06 13:00:00 | 2.3793 | 23.3407 | 2.7373 | 25.6453 | 3.9267 | 17.1173 | 3.9067 | 22.756 | 10.5187 | 885 | 78.058 | 4.3593
2020-03-06 13:15:00 | 2.4393 | 24.006 | 2.806 | 26.3793 | 3.3407 | 10.9067 | 3.332 | 19.6587 | 10.5227 | 885 | 75.5307 | 2.194
2020-03-06 13:30:00 | 2.5367 | 57.1327 | 2.9267 | 62.7833 | 3.2507 | 52.7133 | 3.1947 | 14.3207 | 10.2647 | 885 | 74.4067 | 0.53267
2020-03-06 13:45:00 | 2.4807 | 91.426 | 2.8527 | 100.4647 | 3.2753 | 81.538 | 3.166 | 12.6993 | 10.6527 | 884.7333 | 73.4713 | 0
2020-03-06 14:00:00 | 2.538 | 118.8593 | 2.9227 | 130.606 | 3.32 | 11.9493 | 3.472 | 129.5733 | 11.6167 | 884 | 69.5727 | 0
2020-03-06 14:15:00 | 2.648 | 161.8147 | 3.0473 | 177.8147 | 3.5227 | 17.024 | 3.4807 | 25.6293 | 12.106 | 884 | 66.9353 | 0
2020-03-06 14:30:00 | 2.47 | 95.556 | 2.8447 | 104.9967 | 3.3553 | 10.92 | 3.308 | 18.7233 | 12.638 | 884 | 64.5473 | 0
2020-03-06 14:45:00 | 2.6267 | 47.6273 | 3.0247 | 52.3307 | 3.3647 | 11.068 | 3.0633 | 24.67 | 13.808 | 884 | 58.706 | 0
2020-03-06 15:00:00 | 2.8493 | 13.6907 | 3.2833 | 15.04 | 3.8627 | 10.9693 | 3.6467 | 21.4647 | 13.6673 | 884 | 58.554 | 0
2020-03-06 15:15:00 | 3.1087 | 114.434 | 3.5747 | 125.7387 | 4.816 | 15.3907 | 4.602 | 19.544 | 13.9707 | 884 | 56.2453 | 0.095333
2020-03-06 15:30:00 | 2.486 | 22.6373 | 2.8633 | 24.8753 | 3.9833 | 20.3087 | 3.8053 | 28.138 | 13.9907 | 884 | 55.8873 | 0
2020-03-06 15:45:00 | 2.5853 | 37.3207 | 2.9827 | 41.0087 | 3.436 | 9.0173 | 3.22 | 18.9493 | 13.5027 | 884 | 56.7607 | 0
2020-03-06 16:00:00 | 2.5679 | 124.5893 | 2.9571 | 136.9057 | 3.2764 | 11.935 | 3.1293 | 16.6093 | 13.6821 | 883.4286 | 55.935 | 0
2020-03-06 16:15:00 | 2.5133 | 220.2427 | 2.892 | 242.0167 | 3.6293 | 5.866 | 3.304 | 11.814 | 14.0373 | 883 | 54.9853 | 0
2020-03-06 16:30:00 | 2.384 | 38.7247 | 2.7447 | 42.55 | 3.6607 | 8.9767 | 3.2107 | 12.4747 | 14.8933 | 883 | 51.7033 | 0
2020-03-06 16:45:00 | 2.2507 | 24.7287 | 2.5927 | 27.1653 | 3.2073 | 7.688 | 2.9907 | 20.274 | 15.126 | 883.9333 | 50.636 | 0
2020-03-06 17:00:00 | 1.8827 | 122.9907 | 2.166 | 135.154 | 2.818 | 3.332 | 2.5347 | 17.726 | 15.6187 | 884 | 49.1387 | 0
2020-03-06 17:15:00 | 1.856 | 38.566 | 2.1327 | 42.3787 | 2.944 | 54.6767 | 3.0127 | 12.34 | 15.8953 | 884 | 47.7007 | 0
2020-03-06 17:30:00 | 1.0113 | 79.9073 | 1.1673 | 87.8113 | 1.456 | 133.3833 | 1.484 | 61.0607 | 14.4633 | 884.6 | 53.298 | 0
2020-03-06 17:45:00 | 0.74067 | 96.71 | 0.85533 | 106.2733 | 1.02 | 158.1267 | 1.148 | 178.92 | 13.1567 | 884.7333 | 59.8947 | 0
2020-03-06 18:00:00 | 1.1547 | 154.7287 | 1.3313 | 170.0267 | 1.676 | 210.88 | 1.764 | 220.4867 | 12.7153 | 884 | 62.6307 | 0
2020-03-06 18:15:00 | 1.7007 | 185.0313 | 1.9573 | 203.3267 | 2.5193 | 220.5 | 2.808 | 224.56 | 12.544 | 884 | 63.5067 | 0
2020-03-06 18:30:00 | 1.8073 | 183.822 | 2.084 | 202 | 2.858 | 221.4333 | 2.836 | 221.1 | 12.2233 | 884 | 65.05 | 0
2020-03-06 18:45:00 | 1.8833 | 180.0347 | 2.1707 | 197.84 | 2.996 | 226.9467 | 2.8527 | 229.4933 | 11.902 | 884 | 66.184 | 0
2020-03-06 19:00:00 | 1.9933 | 183.4427 | 2.2907 | 201.58 | 2.9187 | 219.42 | 2.6333 | 223.2867 | 11.7613 | 884 | 65.67 | 0
2020-03-06 19:15:00 | 1.3073 | 197.428 | 1.504 | 216.9467 | 2.132 | 226.1867 | 1.596 | 212.1533 | 11.6973 | 884 | 65.192 | 0
2020-03-06 19:30:00 | 0.71867 | 234.3447 | 0.82933 | 257.5133 | 1.2533 | 238.2 | 0.92733 | 232.6867 | 11.806 | 884 | 63.8413 | 0
2020-03-06 19:45:00 | 0.38867 | 221.83 | 0.44667 | 243.7667 | 0.75733 | 240.8267 | 1.1987 | 261.1467 | 11.7267 | 884 | 63.5167 | 0
2020-03-06 20:00:00 | 0.64467 | 250.498 | 0.746 | 275.2667 | 1.1207 | 280.2067 | 1.0967 | 288.0867 | 11.5387 | 884 | 63.1387 | 0
2020-03-06 20:15:00 | 0.496 | 306.76 | 0.568 | 337.1 | 0.95333 | 316.5867 | 0.85333 | 316.18 | 11.4647 | 884 | 63.4753 | 0
2020-03-06 20:30:00 | 0.010667 | 311.22 | 0.012 | 342 | 0.017333 | 317 | 0 | 318.7 | 11.4767 | 884 | 64.626 | 0
2020-03-06 20:45:00 | 0.244 | 311.22 | 0.286 | 342 | 0.462 | 317 | 0.722 | 330.4867 | 11.142 | 884 | 66.9833 | 0
2020-03-06 21:00:00 | 0.36733 | 311.22 | 0.428 | 342 | 0.72333 | 329.0933 | 1.5433 | 333.44 | 10.986 | 884 | 67.0473 | 0
2020-03-06 21:15:00 | 0.90133 | 311.22 | 1.0453 | 342 | 1.8007 | 352.3267 | 2.2053 | 339.54 | 10.7273 | 884 | 67.9753 | 0
2020-03-06 21:30:00 | 1.0213 | 311.4347 | 1.178 | 342.2333 | 2.0393 | 193.1247 | 1.7947 | 356.18 | 10.6067 | 884 | 69.2853 | 0
2020-03-06 21:45:00 | 0.72533 | 320.378 | 0.83667 | 352.06 | 1.44 | 14.4553 | 0.72467 | 70.912 | 10.6953 | 884 | 69.2113 | 0
2020-03-06 22:00:00 | 0.02 | 320.194 | 0.024 | 351.86 | 0.034 | 15.75 | 0 | 0.40667 | 10.8113 | 884 | 68.3527 | 0
2020-03-06 22:15:00 | 0 | 320.23 | 0 | 351.9 | 0 | 15.75 | 0 | 0.39 | 11.1293 | 884.2667 | 66.9427 | 0
2020-03-06 22:30:00 | 0 | 320.23 | 0 | 351.9 | 0 | 15.75 | 0 | 0.398 | 10.832 | 885 | 68.076 | 0
2020-03-06 22:45:00 | 0 | 320.23 | 0 | 351.9 | 0 | 15.75 | 0 | 0.415 | 10.66 | 885 | 68.86 | 0
2020-03-06 23:00:00 | 0.61333 | 309.3567 | 0.70933 | 339.9533 | 1.2227 | 141.982 | 0.50533 | 0.402 | 10.1933 | 885 | 71.156 | 0
2020-03-06 23:15:00 | 1.5327 | 201.4067 | 1.7687 | 221.3233 | 2.8847 | 237.3467 | 2.3847 | 164.7513 | 10.1433 | 885 | 71.8007 | 0
2020-03-06 23:30:00 | 3.28 | 216.772 | 3.7747 | 238.21 | 4.3653 | 188.8007 | 4.1053 | 217.2653 | 9.9867 | 885 | 73.0373 | 1.0007
2020-03-06 23:45:00 | 2.3773 | 180.52 | 2.7407 | 198.37 | 4.1373 | 12.048 | 4.0673 | 15.4873 | 9.3747 | 884.0667 | 75.604 | 1.8013