## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-07 00:00:00 | 2.1314 | 304.855 | 2.4536 | 335 | 2.7043 | 16.3464 | 2.1657 | 29.3307 | 9.0407 | 884 | 76.333 | 0.41571
2020-03-07 00:15:00 | 2.6887 | 271.3873 | 3.092 | 298.2187 | 3.5753 | 8.4647 | 3.398 | 19.3807 | 9.034 | 884 | 76.9133 | 0.186
2020-03-07 00:30:00 | 2.9113 | 254.0527 | 3.346 | 279.1713 | 3.858 | 14.524 | 4.2173 | 26.2553 | 9.1253 | 884 | 76.7627 | 0.41
2020-03-07 00:45:00 | 2.788 | 210.9387 | 3.2127 | 231.7967 | 3.856 | 19.712 | 3.9567 | 22.5733 | 8.8987 | 884 | 77.3867 | 0
2020-03-07 01:00:00 | 2.34 | 212.162 | 2.696 | 233.1433 | 2.9387 | 13.6227 | 3.124 | 23.6627 | 9.1253 | 884 | 76.1253 | 0
2020-03-07 01:15:00 | 1.8933 | 314.2047 | 2.1767 | 345.2733 | 2.634 | 13.2267 | 3.156 | 23.5193 | 8.854 | 884 | 77.3827 | 0
2020-03-07 01:30:00 | 1.6933 | 86.73 | 1.9467 | 95.3 | 2.6047 | 20.6733 | 2.1987 | 23.4707 | 8.9753 | 884 | 77.43 | 0
2020-03-07 01:45:00 | 0.76933 | 311.24 | 0.89467 | 342.02 | 1.4653 | 28.6533 | 1.4313 | 54.4807 | 8.964 | 884 | 77.8827 | 0
2020-03-07 02:00:00 | 0.14333 | 253.7333 | 0.166 | 278.8267 | 0.26667 | 28.69 | 0.29933 | 70.478 | 8.9967 | 884 | 77.7227 | 0
2020-03-07 02:15:00 | 0.34667 | 182.2427 | 0.40133 | 200.2667 | 0.64333 | 176.142 | 0.32 | 191.8993 | 9.142 | 884 | 76.69 | 0
2020-03-07 02:30:00 | 0.256 | 182.46 | 0.3 | 200.5 | 0.30867 | 211.8 | 0.026667 | 226.3 | 9.0727 | 884 | 76.966 | 0
2020-03-07 02:45:00 | 0.20067 | 182.46 | 0.23 | 200.5 | 0.388 | 211.8 | 0.20667 | 197.46 | 8.8153 | 883.7333 | 77.5647 | 0
2020-03-07 03:00:00 | 0.062667 | 182.46 | 0.072 | 200.5 | 0.12533 | 211.0133 | 0.382 | 164.5 | 8.5987 | 883 | 77.6507 | 0
2020-03-07 03:15:00 | 0.254 | 232.2853 | 0.298 | 255.2533 | 0.24133 | 205.34 | 0.338 | 164.5 | 8.42 | 883 | 78.5193 | 0
2020-03-07 03:30:00 | 0 | 304.3 | 0 | 334.4 | 0 | 205.2 | 1.0493 | 164.5 | 8.4493 | 883 | 78.6653 | 0
2020-03-07 03:45:00 | 0.13267 | 304.3 | 0.15133 | 334.4 | 0.26 | 205.2 | 0.95733 | 164.5 | 8.4073 | 883 | 78.916 | 0
2020-03-07 04:00:00 | 0.13333 | 304.3 | 0.154 | 334.4 | 0.09 | 205.2 | 0.51333 | 164.5 | 8.4293 | 882.4 | 78.888 | 0
2020-03-07 04:15:00 | 0.13333 | 304.3 | 0.154 | 334.4 | 0.09 | 205.2 | 0.51333 | 164.5 | 8.4293 | 882.4 | 78.888 | 0
2020-03-07 04:30:00 | 0.13333 | 304.3 | 0.154 | 334.4 | 0.09 | 205.2 | 0.51333 | 164.5 | 8.4293 | 882.4 | 78.888 | 0
2020-03-07 04:45:00 | 0.13333 | 304.3 | 0.154 | 334.4 | 0.09 | 205.2 | 0.51333 | 164.5 | 8.4293 | 882.4 | 78.888 | 0
2020-03-07 05:00:00 | 0.13333 | 304.3 | 0.154 | 334.4 | 0.09 | 205.2 | 0.51333 | 164.5 | 8.4293 | 882.4 | 78.888 | 0
2020-03-07 05:15:00 | 2.3947 | 274.6867 | 2.752 | 301.8493 | 2.5393 | 3.2687 | 1.0107 | 125.758 | 6.6833 | 882 | 89.0733 | 0
2020-03-07 05:30:00 | 2.3947 | 274.6867 | 2.752 | 301.8493 | 2.5393 | 3.2687 | 1.0107 | 125.758 | 6.6833 | 882 | 89.0733 | 0
2020-03-07 05:45:00 | 2.3947 | 274.6867 | 2.752 | 301.8493 | 2.5393 | 3.2687 | 1.0107 | 125.758 | 6.6833 | 882 | 89.0733 | 0
2020-03-07 06:00:00 | 2.3947 | 274.6867 | 2.752 | 301.8493 | 2.5393 | 3.2687 | 1.0107 | 125.758 | 6.6833 | 882 | 89.0733 | 0
2020-03-07 06:15:00 | 2.3947 | 274.6867 | 2.752 | 301.8493 | 2.5393 | 3.2687 | 1.0107 | 125.758 | 6.6833 | 882 | 89.0733 | 0
2020-03-07 06:30:00 | 2.448 | 146.592 | 2.8173 | 161.0873 | 2.6707 | 9.7313 | 1.2213 | 24.4633 | 6.6447 | 882 | 88.2533 | 0
2020-03-07 06:45:00 | 2.2313 | 317.4253 | 2.5707 | 348.8133 | 2.4413 | 12.72 | 1.506 | 38.1293 | 6.7687 | 882 | 85.7933 | 0
2020-03-07 07:00:00 | 2.1333 | 311.5493 | 2.4607 | 342.36 | 2.2893 | 13.5647 | 1.0967 | 35.6227 | 6.8127 | 882 | 85.42 | 0
2020-03-07 07:15:00 | 2.2273 | 311.216 | 2.5613 | 341.9933 | 2.4573 | 12.3687 | 0.902 | 34.198 | 6.7267 | 882 | 86.4 | 0
2020-03-07 07:30:00 | 2.2253 | 306.0427 | 2.5633 | 336.3133 | 2.396 | 15.868 | 0.11667 | 51.236 | 6.788 | 882 | 86.48 | 0
2020-03-07 07:45:00 | 2.4887 | 320.73 | 2.866 | 352.4467 | 2.566 | 96.0667 | 0.44733 | 33.4433 | 6.8167 | 882 | 86.0867 | 0
2020-03-07 08:00:00 | 2.694 | 216.6887 | 3.0967 | 238.12 | 2.8013 | 73.1487 | 1.4527 | 16.04 | 6.7627 | 882 | 86.1867 | 0
2020-03-07 08:15:00 | 2.446 | 315.2667 | 2.8213 | 346.4467 | 2.5447 | 22.9787 | 1.2313 | 11.988 | 7.3427 | 882.9333 | 83.98 | 0.108
2020-03-07 08:30:00 | 3.158 | 318.8587 | 3.6333 | 350.38 | 3.418 | 3.3913 | 2.258 | 139.4427 | 7.8753 | 883 | 82.0467 | 0.002
2020-03-07 08:45:00 | 3.644 | 167.9267 | 4.1907 | 184.522 | 4.274 | 6.8313 | 3.624 | 24.022 | 7.64 | 883.9333 | 84.3867 | 0
2020-03-07 09:00:00 | 3.7067 | 156.4687 | 4.2633 | 171.938 | 4.282 | 3.9293 | 3.9993 | 18.278 | 7.468 | 884 | 84.8933 | 0
2020-03-07 09:15:00 | 3.54 | 67.016 | 4.0727 | 73.64 | 4.1393 | 12.068 | 3.7893 | 24.382 | 7.7173 | 884 | 83.0333 | 0
2020-03-07 09:30:00 | 3.5547 | 110.2213 | 4.0907 | 121.1167 | 4.112 | 20.7533 | 3.3033 | 8.864 | 7.9353 | 884 | 81.9333 | 0
2020-03-07 09:45:00 | 2.1753 | 5.9407 | 2.504 | 6.5267 | 2.44 | 17.2133 | 1.7713 | 7.966 | 8.6233 | 884.9333 | 79.4753 | 0
2020-03-07 10:00:00 | 1.5707 | 3.048 | 1.812 | 3.3447 | 1.2947 | 12.9013 | 0.69333 | 225.9413 | 8.9407 | 885 | 77.3047 | 0.065714
2020-03-07 10:15:00 | 1.3053 | 184.994 | 1.5067 | 203.2853 | 1.508 | 144.2347 | 1.3527 | 162.6733 | 10.482 | 885 | 72.5253 | 0.15067
2020-03-07 10:30:00 | 1.818 | 150.412 | 2.0973 | 165.28 | 1.8413 | 177.04 | 1.5547 | 190.46 | 10.574 | 885 | 75.2773 | 0.27933
2020-03-07 10:45:00 | 2.4727 | 137.5433 | 2.8473 | 151.14 | 2.6507 | 187.1133 | 2.6573 | 214.9333 | 11.3253 | 885 | 73.9553 | 1.062
2020-03-07 11:00:00 | 2.6507 | 151.1487 | 3.05 | 166.0933 | 2.7727 | 201.9467 | 2.6313 | 218.06 | 11.3433 | 885 | 72.7 | 1.5253
2020-03-07 11:15:00 | 2.2573 | 150.7753 | 2.5987 | 165.68 | 2.432 | 203.6133 | 2.6947 | 214.68 | 11.3347 | 885 | 72.0633 | 2.044
2020-03-07 11:30:00 | 2.7987 | 144.1507 | 3.22 | 158.4067 | 3.1387 | 196.32 | 3.38 | 221.44 | 11.3707 | 885 | 70.8627 | 2.2853
2020-03-07 11:45:00 | 2.57 | 150.6673 | 2.956 | 165.5667 | 2.982 | 189.2267 | 2.9673 | 205.4533 | 11.238 | 885 | 70.8527 | 1.562
2020-03-07 12:00:00 | 2.412 | 141.6913 | 2.778 | 155.7 | 2.8033 | 197.2467 | 2.33 | 192.3667 | 11.2373 | 885 | 71.1467 | 1.076
2020-03-07 12:15:00 | 1.9587 | 151.378 | 2.2567 | 166.3467 | 2.388 | 177.26 | 2.534 | 197.5933 | 11.6313 | 885 | 70.3067 | 1.2793
2020-03-07 12:30:00 | 2.1833 | 164.2873 | 2.514 | 180.5333 | 2.2967 | 184.3533 | 2.1687 | 197.46 | 11.56 | 884.4 | 70.5993 | 1.7067
2020-03-07 12:45:00 | 1.9133 | 159.5393 | 2.2067 | 175.3133 | 2.1467 | 186.88 | 2.092 | 209.1667 | 11.674 | 884 | 70.674 | 2.12
2020-03-07 13:00:00 | 2.2967 | 149.6133 | 2.6413 | 164.4067 | 2.6173 | 181.56 | 1.9967 | 197.82 | 12.006 | 884 | 69.8567 | 2.3767
2020-03-07 13:15:00 | 2.4053 | 134.7847 | 2.7687 | 148.1133 | 2.694 | 183.0533 | 2.5373 | 205.3333 | 12.2493 | 884 | 68.9333 | 3.0327
2020-03-07 13:30:00 | 2.4593 | 149.44 | 2.8313 | 164.2133 | 2.966 | 188.0067 | 3.0087 | 212.5333 | 11.9733 | 884 | 70.0107 | 3.1333
2020-03-07 13:45:00 | 2.298 | 131.7113 | 2.648 | 144.7333 | 2.9293 | 172.9867 | 2.6387 | 195.3267 | 11.9167 | 883.0667 | 70.864 | 3.1627
2020-03-07 14:00:00 | 2.8553 | 147.1607 | 3.2887 | 161.7067 | 3.3213 | 167.5933 | 2.9933 | 186.04 | 11.8973 | 883 | 70.894 | 1.442
2020-03-07 14:15:00 | 2.8 | 158.106 | 3.2267 | 173.7467 | 3.108 | 184.92 | 3.002 | 198.9267 | 11.9593 | 883 | 70.4107 | 1.2113
2020-03-07 14:30:00 | 3.1307 | 147.2807 | 3.6067 | 161.84 | 3.5327 | 175.7467 | 3.6013 | 186.74 | 12.2013 | 882.4 | 69.794 | 1.4107
2020-03-07 14:45:00 | 2.9587 | 155.5227 | 3.406 | 170.8933 | 3.2873 | 179.0733 | 3.4767 | 179.8067 | 12.5333 | 882 | 68.382 | 0.95133
2020-03-07 15:00:00 | 3.3087 | 149.854 | 3.8047 | 164.6733 | 3.7487 | 164.58 | 4.0167 | 174.4333 | 12.5867 | 882 | 68.188 | 1.7593
2020-03-07 15:15:00 | 3.332 | 146.5447 | 3.832 | 161.04 | 3.938 | 180.5667 | 3.9873 | 162.56 | 12.7927 | 882 | 67.4647 | 2.682
2020-03-07 15:30:00 | 3.4133 | 160.1273 | 3.9293 | 175.96 | 3.996 | 181.5 | 3.9867 | 188.4467 | 12.5527 | 881.4 | 67.7407 | 2.9793
2020-03-07 15:45:00 | 3.5527 | 142.288 | 4.0853 | 156.36 | 4.0953 | 155.1067 | 4.096 | 172.56 | 12.564 | 881 | 67.4547 | 2.9753
2020-03-07 16:00:00 | 3.152 | 155.0027 | 3.6313 | 170.3267 | 3.5813 | 176.3333 | 3.7853 | 199.8867 | 12.4647 | 881 | 67.5233 | 1.844
2020-03-07 16:15:00 | 2.8867 | 146.4547 | 3.3207 | 160.9333 | 3.4273 | 170.94 | 3.62 | 179.9667 | 12.4673 | 881 | 67.7913 | 1.69
2020-03-07 16:30:00 | 3.116 | 165.7193 | 3.5933 | 182.1067 | 3.6747 | 173.0067 | 3.9653 | 195.5267 | 12.3987 | 881 | 67.4967 | 1.784
2020-03-07 16:45:00 | 2.856 | 148.78 | 3.286 | 163.4933 | 3.3253 | 177.04 | 3.6613 | 189.74 | 12.532 | 880.7333 | 66.872 | 2.1053
2020-03-07 17:00:00 | 2.848 | 156.4267 | 3.274 | 171.8933 | 3.3187 | 174.7067 | 3.522 | 205.6933 | 12.602 | 880 | 66.6233 | 1.6487
2020-03-07 17:15:00 | 2.5367 | 175.046 | 2.922 | 192.36 | 3.132 | 205.18 | 3.4813 | 195.7733 | 12.618 | 880.2667 | 66.5413 | 1.448
2020-03-07 17:30:00 | 3.25 | 168.7747 | 3.74 | 185.4667 | 3.824 | 189.2467 | 3.9347 | 201.0067 | 12.4607 | 880.4 | 67.0087 | 1.8867
2020-03-07 17:45:00 | 2.826 | 167.7493 | 3.2547 | 184.3333 | 3.6007 | 185.9467 | 3.6533 | 219.4467 | 12.3727 | 880 | 67.998 | 1.9187
2020-03-07 18:00:00 | 3.1093 | 173.2533 | 3.5787 | 190.38 | 3.8767 | 200.7 | 3.9413 | 208.9733 | 12.152 | 880 | 69.104 | 4.1593
2020-03-07 18:15:00 | 3.302 | 160.072 | 3.7973 | 175.9 | 3.9313 | 191.96 | 4.2827 | 200.4933 | 12.1147 | 880 | 68.9867 | 5.0133
2020-03-07 18:30:00 | 2.7607 | 159.4173 | 3.1787 | 175.18 | 3.1187 | 192.8533 | 3.496 | 182.8 | 12.0927 | 880 | 69.328 | 5.1473
2020-03-07 18:45:00 | 2.9333 | 150.686 | 3.3767 | 165.5867 | 3.5387 | 187.2867 | 3.734 | 191.58 | 12.0187 | 880 | 69.786 | 5.582
2020-03-07 19:00:00 | 2.844 | 156.2367 | 3.276 | 171.6867 | 3.4673 | 200.94 | 3.7667 | 187.2333 | 11.986 | 880 | 69.944 | 4.69
2020-03-07 19:15:00 | 3.0933 | 159.066 | 3.558 | 174.7933 | 3.85 | 201.16 | 4.2567 | 196.74 | 11.8553 | 880 | 70.6173 | 5.1953
2020-03-07 19:30:00 | 3.3273 | 154.8747 | 3.8287 | 170.1867 | 4.172 | 196.1333 | 4.486 | 200.16 | 11.8 | 880 | 71.098 | 7.5467
2020-03-07 19:45:00 | 3.448 | 161.1813 | 3.9673 | 177.12 | 4.2187 | 204.6733 | 4.5207 | 202.56 | 11.858 | 880 | 71.0033 | 8.1047
2020-03-07 20:00:00 | 2.8567 | 160.5407 | 3.2873 | 176.42 | 3.392 | 190.2267 | 3.69 | 193.36 | 11.9547 | 880 | 70.782 | 6.0187
2020-03-07 20:15:00 | 2.732 | 168.572 | 3.1473 | 185.2333 | 3.3873 | 196.82 | 3.4753 | 187.2467 | 11.926 | 880 | 71.3187 | 4.658
2020-03-07 20:30:00 | 2.5487 | 166.7947 | 2.936 | 183.2867 | 3.3333 | 197.4067 | 3.4907 | 196.3333 | 11.8573 | 880 | 71.9253 | 3.9673
2020-03-07 20:45:00 | 2.7133 | 168.9907 | 3.124 | 185.6933 | 3.688 | 205.9467 | 3.774 | 212.58 | 11.7153 | 880.2667 | 72.5893 | 4.6747
2020-03-07 21:00:00 | 3.292 | 175.3067 | 3.7893 | 192.6333 | 4.2767 | 213.32 | 4.3827 | 212.2733 | 11.68 | 880.4 | 73.3667 | 5.178
2020-03-07 21:15:00 | 2.6787 | 163.062 | 3.0833 | 179.1867 | 3.432 | 209.1133 | 3.546 | 203.52 | 11.6513 | 880.2667 | 74.2113 | 4.0887
2020-03-07 21:30:00 | 2.3933 | 176.5787 | 2.7587 | 194.04 | 3.3047 | 204.5 | 3.1033 | 196.1733 | 11.54 | 881 | 74.7113 | 4.2653
2020-03-07 21:45:00 | 2.2093 | 176.64 | 2.544 | 194.1067 | 2.9087 | 216.9133 | 2.7807 | 194.52 | 11.3693 | 881 | 75.766 | 4.38
2020-03-07 22:00:00 | 2.698 | 175.188 | 3.108 | 192.5067 | 3.608 | 221.8267 | 3.4093 | 204.6733 | 11.3393 | 881 | 76.324 | 7.3073
2020-03-07 22:15:00 | 3.5373 | 181.9587 | 4.0653 | 199.9467 | 4.6433 | 218.3733 | 4.9033 | 216.42 | 11.262 | 881 | 77.0573 | 9.558
2020-03-07 22:30:00 | 3.6167 | 176.8133 | 4.16 | 194.3 | 4.76 | 216.0333 | 4.9767 | 223.9667 | 11.21 | 881 | 77.41 | 12.3767
2020-03-07 22:45:00 | 3.5778 | 178.5722 | 4.0875 | 195.25 | 4.686 | 216.7 | 4.45 | 215.2222 | 11.2137 | 881 | 77.25 | 10.07
2020-03-07 23:00:00 | 3.298 | 170.9873 | 3.7927 | 187.8933 | 4.47 | 212.3867 | 4.972 | 220.3 | 11.1227 | 881 | 77.592 | 9.7733
2020-03-07 23:15:00 | 3.1187 | 162.132 | 3.5867 | 178.16 | 4.3153 | 219.44 | 4.7447 | 221.7867 | 11.0267 | 881 | 77.8987 | 7.372
2020-03-07 23:30:00 | 3.1293 | 154.956 | 3.598 | 170.2733 | 4.204 | 213.48 | 4.2347 | 217.2933 | 11.056 | 881 | 77.528 | 8.1913
2020-03-07 23:45:00 | 2.8587 | 172.946 | 3.2907 | 190.0467 | 3.93 | 215.3467 | 3.792 | 212.8933 | 10.9533 | 880.7333 | 77.9747 | 6.056