## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-08 00:00:00 | 2.8093 | 162.5464 | 3.2293 | 178.6214 | 3.81 | 210.6571 | 3.7571 | 212.0786 | 10.8236 | 880 | 78.489 | 5.8971
2020-03-08 00:15:00 | 2.6693 | 170.8387 | 3.072 | 187.7333 | 3.56 | 218.52 | 3.45 | 213.0933 | 10.7907 | 880 | 78.5467 | 4.1987
2020-03-08 00:30:00 | 2.319 | 178.137 | 2.678 | 195.75 | 3.066 | 213.84 | 2.908 | 211.94 | 10.846 | 880 | 78.072 | 4.682
2020-03-08 00:45:00 | 2.0967 | 167.0747 | 2.412 | 183.5933 | 2.9973 | 209.34 | 3.2247 | 214.3267 | 10.7327 | 880 | 78.5873 | 4.9547
2020-03-08 01:00:00 | 1.9493 | 164.964 | 2.25 | 181.28 | 2.8 | 212.5533 | 3.0653 | 218.96 | 10.6067 | 879.4 | 79.2207 | 4.2627
2020-03-08 01:15:00 | 1.934 | 178.092 | 2.225 | 195.71 | 2.574 | 207.96 | 3.042 | 224.9 | 10.562 | 879 | 79.445 | 3.664
2020-03-08 01:30:00 | 2.123 | 175.868 | 2.44 | 193.25 | 2.806 | 226.93 | 2.767 | 216.3 | 10.588 | 879 | 79.194 | 3.258
2020-03-08 01:45:00 | 2.4736 | 163.7857 | 2.8457 | 179.9857 | 3.1429 | 206.6357 | 3.4571 | 214.3071 | 10.4907 | 879 | 79.6543 | 2.9033
2020-03-08 02:00:00 | 2.352 | 170.924 | 2.7093 | 187.8267 | 3.0313 | 198.1933 | 3.312 | 204.0067 | 10.422 | 878.4 | 79.908 | 2.5187
2020-03-08 02:15:00 | 2.578 | 163.1407 | 2.9693 | 179.2733 | 3.2167 | 207.1067 | 3.3533 | 203.0133 | 10.44 | 878 | 79.73 | 3.5587
2020-03-08 02:30:00 | 2.6807 | 151.5693 | 3.0847 | 166.5533 | 3.1067 | 188.8267 | 3.4893 | 198.0267 | 10.3333 | 878 | 80.6 | 3.494
2020-03-08 02:45:00 | 1.4787 | 154.5233 | 1.702 | 169.8 | 1.9487 | 195.1733 | 2.6 | 205.1867 | 10.3773 | 878 | 80.1333 | 3.618
2020-03-08 03:00:00 | 1.704 | 158.5133 | 1.9613 | 174.1867 | 2.144 | 189.3 | 2.526 | 215.82 | 10.1987 | 878 | 81.3133 | 4.5713
2020-03-08 03:15:00 | 2.0667 | 158.4827 | 2.3773 | 174.1533 | 2.5367 | 188.58 | 2.602 | 216.8933 | 10.0113 | 878 | 82.4533 | 4.518
2020-03-08 03:30:00 | 1.9473 | 143.614 | 2.2453 | 157.8133 | 2.548 | 189.8933 | 2.744 | 200.76 | 9.874 | 877.4 | 83.2667 | 3.3353
2020-03-08 03:45:00 | 2.0793 | 144.9233 | 2.4027 | 159.2533 | 2.712 | 195.1933 | 3.3707 | 211.8533 | 9.9387 | 877 | 82.7 | 3.5507
2020-03-08 04:00:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 04:15:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 04:30:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 04:45:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 05:00:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 05:15:00 | 1.494 | 169.8293 | 1.7213 | 186.6133 | 2.3947 | 208.8133 | 2.8027 | 211.4467 | 9.946 | 877 | 82.5933 | 2.782
2020-03-08 05:30:00 | 1.2407 | 173.7373 | 1.4353 | 190.92 | 1.9653 | 195.1667 | 2.4733 | 206.3 | 9.5987 | 876 | 83.4333 | 1.7973
2020-03-08 05:45:00 | 1.2407 | 173.7373 | 1.4353 | 190.92 | 1.9653 | 195.1667 | 2.4733 | 206.3 | 9.5987 | 876 | 83.4333 | 1.7973
2020-03-08 06:00:00 | 1.2407 | 173.7373 | 1.4353 | 190.92 | 1.9653 | 195.1667 | 2.4733 | 206.3 | 9.5987 | 876 | 83.4333 | 1.7973
2020-03-08 06:15:00 | 1.2407 | 173.7373 | 1.4353 | 190.92 | 1.9653 | 195.1667 | 2.4733 | 206.3 | 9.5987 | 876 | 83.4333 | 1.7973
2020-03-08 06:30:00 | 1.2407 | 173.7373 | 1.4353 | 190.92 | 1.9653 | 195.1667 | 2.4733 | 206.3 | 9.5987 | 876 | 83.4333 | 1.7973
2020-03-08 06:45:00 | 0.81933 | 175.91 | 0.95267 | 193.3 | 1.3753 | 192.9 | 2.068 | 211.5533 | 9.6607 | 876 | 82.5533 | 1.5933
2020-03-08 07:00:00 | 0.434 | 175.91 | 0.508 | 193.3 | 0.86667 | 183.2067 | 1.1847 | 203.64 | 9.7573 | 876 | 81.76 | 1.138
2020-03-08 07:15:00 | 0.02 | 175.91 | 0.024 | 193.3 | 0.036 | 182.8 | 0.72267 | 210.7533 | 9.8513 | 876 | 81.1333 | 0.90267
2020-03-08 07:30:00 | 0.45067 | 271.054 | 0.518 | 297.86 | 0.68067 | 248.54 | 1.1593 | 246.12 | 9.916 | 876 | 80.6667 | 0.966
2020-03-08 07:45:00 | 1.0513 | 295.9627 | 1.2153 | 325.2267 | 1.2033 | 281.6867 | 0.77067 | 262.2133 | 9.9913 | 876 | 80.4733 | 0.58867
2020-03-08 08:00:00 | 1.262 | 304.74 | 1.46 | 334.88 | 1.2847 | 325.6867 | 0.23133 | 282.0067 | 10.01 | 876 | 80.5 | 0.22
2020-03-08 08:15:00 | 1.66 | 172.42 | 1.916 | 189.466 | 2.244 | 188.868 | 1.806 | 178.5193 | 9.952 | 876.9333 | 81.28 | 0
2020-03-08 08:30:00 | 2.8173 | 139.992 | 3.2473 | 153.834 | 3.5807 | 9.9647 | 3.5413 | 22.7667 | 9.7853 | 877 | 82.82 | 0
2020-03-08 08:45:00 | 3.1107 | 105.9367 | 3.578 | 116.41 | 4.4153 | 11.3067 | 4.3973 | 18.8407 | 9.568 | 877 | 84.4533 | 0.772
2020-03-08 09:00:00 | 3.344 | 181.6813 | 3.846 | 199.646 | 4.8167 | 14.8013 | 4.9547 | 22.9773 | 9.616 | 877 | 84.3067 | 3.278
2020-03-08 09:15:00 | 3.4853 | 107.3667 | 4.008 | 117.9807 | 5.04 | 15.3253 | 5.278 | 20.1353 | 9.702 | 877.2667 | 83.8933 | 8.6393
2020-03-08 09:30:00 | 3.3667 | 149.1033 | 3.8773 | 163.84 | 5.0347 | 13.102 | 5.33 | 15.246 | 9.826 | 878 | 83.26 | 13.2007
2020-03-08 09:45:00 | 3.686 | 206.4967 | 4.24 | 226.92 | 6.1427 | 12.8393 | 6.1073 | 14.858 | 9.9293 | 878 | 82.8533 | 18.0113
2020-03-08 10:00:00 | 4.0893 | 202.8433 | 4.7053 | 222.9 | 6.8387 | 19.764 | 7.124 | 19.5947 | 9.9767 | 878 | 82.9133 | 25.2647
2020-03-08 10:15:00 | 3.86 | 188.2673 | 4.4387 | 206.8867 | 6.5553 | 119.118 | 6.7473 | 11.7753 | 10.0387 | 878.2667 | 83.0133 | 29.0713
2020-03-08 10:30:00 | 4.302 | 218.2847 | 4.952 | 239.8733 | 6.826 | 3.7967 | 6.9953 | 17.2793 | 10.016 | 879 | 82.9 | 30.5547
2020-03-08 10:45:00 | 4.1627 | 108.016 | 4.7873 | 118.6967 | 6.786 | 6.1687 | 7.1133 | 16.4213 | 10.066 | 879 | 82.9133 | 30.748
2020-03-08 11:00:00 | 4.1927 | 80.6787 | 4.8227 | 88.65 | 6.7987 | 9.4353 | 7.1867 | 19.36 | 10.104 | 879 | 83.2067 | 33.6193
2020-03-08 11:15:00 | 4.3307 | 40.616 | 4.986 | 44.6253 | 7.6467 | 12.2787 | 7.9387 | 16.396 | 10.3147 | 879 | 82.4467 | 34.9247
2020-03-08 11:30:00 | 4.2547 | 150.6773 | 4.8953 | 165.568 | 7.522 | 8.0673 | 7.5553 | 12.7913 | 10.4873 | 879 | 82.3667 | 36.0333
2020-03-08 11:45:00 | 4.3093 | 95.6153 | 4.9653 | 105.0653 | 7.8773 | 13.6553 | 7.696 | 16.9113 | 10.778 | 879 | 81.8067 | 38.0693
2020-03-08 12:00:00 | 4.8033 | 54.3147 | 5.53 | 59.6813 | 8.618 | 15.0967 | 8.066 | 11.268 | 10.8827 | 879 | 81.88 | 38.574
2020-03-08 12:15:00 | 5.002 | 150.5833 | 5.7627 | 165.4733 | 8.7427 | 16.5933 | 8.1293 | 19.0813 | 11.0853 | 879 | 81.4867 | 40.82
2020-03-08 12:30:00 | 5.2947 | 173.9113 | 6.0993 | 191.1113 | 8.9853 | 18.93 | 8.468 | 21.8613 | 11.0973 | 879 | 81.68 | 39.5413
2020-03-08 12:45:00 | 5.468 | 20.3827 | 6.2873 | 22.392 | 9.7073 | 12.792 | 9.1793 | 16.0453 | 11.0273 | 879 | 82.3067 | 39.1847
2020-03-08 13:00:00 | 5.5573 | 27.4233 | 6.394 | 30.1267 | 9.9133 | 13.6667 | 9.5473 | 17.346 | 10.9673 | 879 | 82.82 | 40.4707
2020-03-08 13:15:00 | 5.5187 | 139.7713 | 6.3493 | 153.592 | 9.9227 | 13.8127 | 9.5467 | 20.502 | 10.8787 | 879 | 83.2333 | 40.3167
2020-03-08 13:30:00 | 5.2473 | 129.362 | 6.034 | 142.1487 | 9.592 | 14.5853 | 9.3993 | 19.102 | 11.108 | 879 | 82.6 | 39.696
2020-03-08 13:45:00 | 5.1573 | 150.1273 | 5.9327 | 164.9727 | 9.458 | 19.0827 | 9.32 | 17.0227 | 11.4307 | 879 | 81.3333 | 35.6753
2020-03-08 14:00:00 | 5.012 | 193.91 | 5.7613 | 213.0833 | 8.9593 | 11.1507 | 8.7547 | 27.768 | 11.8173 | 879 | 79.8273 | 33.9773
2020-03-08 14:15:00 | 5.5793 | 170.8107 | 6.422 | 187.694 | 9.5753 | 19.4813 | 9.2887 | 24.9173 | 12.2987 | 878.7333 | 77.9793 | 38.992
2020-03-08 14:30:00 | 5.8093 | 189.1613 | 6.6807 | 207.8627 | 10.2247 | 16.6967 | 10.212 | 21.446 | 12.6867 | 878 | 76.7493 | 43.6153
2020-03-08 14:45:00 | 6.0593 | 161.5553 | 6.9687 | 177.5267 | 10.528 | 18.9767 | 10.2453 | 21.2453 | 12.574 | 878 | 76.9227 | 49.218
2020-03-08 15:00:00 | 6.4133 | 204.5753 | 7.3767 | 224.8067 | 10.8087 | 19.5513 | 10.566 | 23.344 | 12.3473 | 878 | 77.564 | 53.3073
2020-03-08 15:15:00 | 7.0113 | 198.778 | 8.0633 | 218.4367 | 11.9667 | 5.3067 | 11.6693 | 19.3567 | 12.3687 | 878 | 77.5973 | 56.174
2020-03-08 15:30:00 | 7.484 | 293.518 | 8.6053 | 322.54 | 13.1687 | 15.94 | 12.7547 | 17.044 | 12.5847 | 878 | 76.402 | 56.9687
2020-03-08 15:45:00 | 8.0107 | 238.596 | 9.2173 | 262.1853 | 14.4673 | 11.6433 | 14.3293 | 19.33 | 12.532 | 878 | 75.3973 | 56.21
2020-03-08 16:00:00 | 7.5747 | 168.1207 | 8.716 | 184.7433 | 13.5133 | 4.006 | 13.3593 | 16.814 | 12.564 | 878 | 75.0287 | 55.7207
2020-03-08 16:15:00 | 7.888 | 138.0727 | 9.0813 | 151.7147 | 14.0473 | 12.3753 | 14.0927 | 17.6553 | 12.5853 | 878 | 74.824 | 57.936
2020-03-08 16:30:00 | 7.8187 | 274.13 | 8.9953 | 301.2267 | 13.8487 | 11.1447 | 13.9347 | 16.3053 | 12.656 | 878 | 74.6767 | 57.4787
2020-03-08 16:45:00 | 7.9547 | 188.07 | 9.1527 | 206.6667 | 14.3173 | 14.0913 | 13.8653 | 19.984 | 12.6113 | 878 | 74.33 | 57.648
2020-03-08 17:00:00 | 7.6427 | 207.8413 | 8.788 | 228.3967 | 13.3113 | 23.6247 | 13.63 | 33.474 | 12.588 | 878 | 73.7153 | 57.0067
2020-03-08 17:15:00 | 8.064 | 118.5007 | 9.2793 | 130.2167 | 13.8647 | 21.208 | 14.4013 | 36.59 | 12.6527 | 878 | 72.7087 | 57.7793
2020-03-08 17:30:00 | 8.248 | 297.06 | 9.49 | 326.4333 | 14.214 | 21.9313 | 15.0753 | 35.266 | 12.646 | 878 | 72.1927 | 59.538
2020-03-08 17:45:00 | 7.9493 | 191.1087 | 9.146 | 210.0067 | 13.7607 | 19.1767 | 14.3247 | 31.6407 | 12.6007 | 878 | 71.434 | 58.9607
2020-03-08 18:00:00 | 8.2027 | 150.3687 | 9.434 | 165.24 | 14.136 | 24.8987 | 14.6607 | 35.7093 | 12.7507 | 878 | 70.2493 | 59.1553
2020-03-08 18:15:00 | 8.3167 | 186.2187 | 9.5653 | 204.6267 | 14.7053 | 14.0047 | 14.7893 | 24.8013 | 12.7587 | 878.2667 | 70.5313 | 60.666
2020-03-08 18:30:00 | 9.536 | 280.3513 | 10.9673 | 308.0733 | 16.9267 | 16.874 | 17.1053 | 26.056 | 12.4407 | 879 | 70.884 | 60.9413
2020-03-08 18:45:00 | 9.7773 | 178.472 | 11.2527 | 196.1233 | 16.9353 | 14.3093 | 16.6447 | 22.3973 | 12.32 | 879 | 67.9687 | 60.7487
2020-03-08 19:00:00 | 9.5813 | 114.2473 | 11.0247 | 125.54 | 16.588 | 19.3473 | 16.314 | 22.5053 | 12.2033 | 879 | 64.488 | 61.366
2020-03-08 19:15:00 | 9.438 | 194.212 | 10.8567 | 213.4133 | 16.456 | 19.3633 | 16.6213 | 30.386 | 12.0567 | 879 | 60.1433 | 62.2147
2020-03-08 19:30:00 | 9.1813 | 88.8433 | 10.5627 | 97.6273 | 16.204 | 23.778 | 16.2033 | 26.6513 | 11.9847 | 879.6 | 58.1467 | 60.7267
2020-03-08 19:45:00 | 8.326 | 285.9927 | 9.572 | 314.2733 | 14.6247 | 14.9327 | 15.168 | 23.348 | 11.9827 | 880 | 55.646 | 58.95
2020-03-08 20:00:00 | 8.136 | 63.4013 | 9.36 | 69.6647 | 14.1567 | 26.894 | 14.6153 | 30.25 | 12.02 | 880 | 53.3767 | 59.43
2020-03-08 20:15:00 | 8.8093 | 150.8473 | 10.1347 | 165.7567 | 15.204 | 27.8167 | 15.9913 | 32.238 | 12.1287 | 880.2667 | 50.4353 | 61.3687
2020-03-08 20:30:00 | 9.3573 | 165.568 | 10.7673 | 181.9373 | 16.212 | 29.214 | 16.9187 | 31.85 | 12.1633 | 881 | 47.8493 | 61.2913
2020-03-08 20:45:00 | 9.258 | 119.284 | 10.658 | 131.0827 | 16.12 | 18.286 | 16.7673 | 25.4567 | 12.2213 | 881 | 46.15 | 60.0553
2020-03-08 21:00:00 | 9.0667 | 34.246 | 10.426 | 37.626 | 15.6213 | 26.02 | 16.3667 | 33.6173 | 12.248 | 881 | 44.34 | 59.1447
2020-03-08 21:15:00 | 8.27 | 114.484 | 9.5207 | 125.8007 | 14.44 | 21.504 | 15.5727 | 31.6093 | 12.21 | 881.2667 | 43.392 | 58.9633
2020-03-08 21:30:00 | 8.4893 | 191.36 | 9.768 | 210.2833 | 14.8433 | 23.9587 | 15.91 | 33.4887 | 12.2987 | 882 | 41.1873 | 59.8207
2020-03-08 21:45:00 | 9.4347 | 221.8753 | 10.8573 | 243.816 | 16.332 | 11.7613 | 16.8367 | 30.556 | 12.3793 | 882 | 39.4627 | 60.6933
2020-03-08 22:00:00 | 8.9507 | 212.222 | 10.2993 | 233.2067 | 15.6953 | 12.946 | 16.3867 | 31.0413 | 12.3213 | 882 | 38.8507 | 60.2847
2020-03-08 22:15:00 | 9.37 | 48.404 | 10.7793 | 53.1907 | 16.2793 | 7.4707 | 16.664 | 21.4147 | 12.3693 | 882 | 37.5553 | 58.288
2020-03-08 22:30:00 | 9.573 | 107.336 | 11.006 | 117.954 | 16.773 | 20.788 | 17.219 | 18.152 | 12.393 | 882 | 36.92 | 59.872
2020-03-08 22:45:00 | 10.1367 | 183.8567 | 11.6633 | 202.0333 | 17.8233 | 21.5033 | 17.6967 | 18.6567 | 12.55 | 882.8889 | 35.5011 | 55.418
2020-03-08 23:00:00 | 11.8193 | 249.802 | 13.6 | 274.5067 | 20.338 | 64.4147 | 19.6667 | 13.3693 | 12.4753 | 883 | 34.3827 | 48.536
2020-03-08 23:15:00 | 11.6307 | 161.316 | 13.38 | 177.2667 | 18.9747 | 12.1353 | 18.1533 | 15.5673 | 11.9367 | 883 | 37.7827 | 47.518
2020-03-08 23:30:00 | 12.398 | 100.618 | 14.2633 | 110.5633 | 20.7313 | 61.5133 | 19.9433 | 22.0307 | 11.0113 | 883.6 | 44.4893 | 47.8467
2020-03-08 23:45:00 | 12.092 | 287.2333 | 13.9187 | 315.64 | 20.1533 | 86.0727 | 19.5133 | 13.0707 | 10.042 | 884 | 51.4067 | 44.264