## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-09 00:00:00 | 12.1486 | 105.8379 | 13.9771 | 116.295 | 19.8021 | 147.5171 | 18.4786 | 136.9514 | 9.3079 | 884 | 56.258 | 42.0579
2020-03-09 00:15:00 | 12.5347 | 241.1767 | 14.4247 | 265.0227 | 20.8767 | 15.6467 | 19.9447 | 10.5133 | 8.576 | 884 | 62.19 | 41.788
2020-03-09 00:30:00 | 12.8313 | 106.2147 | 14.7547 | 116.7133 | 21.126 | 10.1173 | 20.342 | 13.6787 | 7.912 | 884 | 67.418 | 42.754
2020-03-09 00:45:00 | 13.604 | 260.3047 | 15.65 | 286.0427 | 22.9227 | 92.8907 | 21.9133 | 10.152 | 7.094 | 884 | 74.7973 | 44.2267
2020-03-09 01:00:00 | 12.8827 | 153.8187 | 14.8233 | 169.0273 | 21.7047 | 147.7213 | 20.9487 | 14.9807 | 6.142 | 884 | 83.2933 | 54.6473
2020-03-09 01:15:00 | 11.708 | 205.0867 | 13.4707 | 225.36 | 19.9207 | 9.8807 | 19.056 | 8.474 | 5.6113 | 884 | 88.0067 | 57.846
2020-03-09 01:30:00 | 9.9193 | 128.4973 | 11.4153 | 141.206 | 17.1787 | 4.6013 | 16.812 | 11.206 | 5.3187 | 884 | 91.1067 | 57.11
2020-03-09 01:45:00 | 9.7833 | 186.126 | 11.2553 | 204.5267 | 16.8713 | 13.5967 | 16.4733 | 19.4547 | 5.212 | 884 | 92.46 | 56.2253
2020-03-09 02:00:00 | 8.8813 | 135.5233 | 10.2187 | 148.9253 | 15.8393 | 15.1053 | 15.644 | 103.6833 | 5.212 | 884 | 92.8333 | 55.5687
2020-03-09 02:15:00 | 8.816 | 67.7147 | 10.142 | 74.4113 | 15.5973 | 18.298 | 16.0607 | 27.2607 | 5.348 | 884 | 91.6 | 56.054
2020-03-09 02:30:00 | 9.862 | 143.2907 | 11.344 | 157.4587 | 17.224 | 19.7293 | 17.4267 | 26.672 | 5.7013 | 884 | 87.84 | 56.9853
2020-03-09 02:45:00 | 9.3953 | 159.0027 | 10.816 | 174.7227 | 16.6173 | 17.2 | 16.686 | 28.5453 | 6.0773 | 884 | 83.54 | 56.4527
2020-03-09 03:00:00 | 9.5553 | 141.1167 | 10.996 | 155.0667 | 16.944 | 14.742 | 16.6147 | 21.6567 | 6.3127 | 884 | 80.672 | 56.876
2020-03-09 03:15:00 | 10.0827 | 114.4887 | 11.5973 | 125.804 | 17.788 | 13.6627 | 17.6013 | 27.8313 | 6.6267 | 883.7333 | 76.862 | 56.5027
2020-03-09 03:30:00 | 10.004 | 202.1187 | 11.5033 | 222.1067 | 17.4653 | 10.38 | 17.304 | 24.5267 | 6.89 | 883 | 73.6353 | 57.1793
2020-03-09 03:45:00 | 9.964 | 242.726 | 11.462 | 266.732 | 17.3013 | 8.562 | 16.9087 | 23.096 | 7.1313 | 883 | 71.182 | 57.7253
2020-03-09 04:00:00 | 9.5127 | 183.726 | 10.9407 | 201.8913 | 16.302 | 14.226 | 16.1673 | 23.484 | 7.188 | 883 | 70.5213 | 57.484
2020-03-09 04:15:00 | 9.476 | 144.6927 | 10.9 | 158.9933 | 16.658 | 8.3567 | 16.6833 | 14.2053 | 7.208 | 883 | 69.966 | 57.57
2020-03-09 04:30:00 | 9.4507 | 192.2187 | 10.8787 | 211.22 | 16.9273 | 15.972 | 17.1767 | 26.188 | 7.2653 | 883 | 69.104 | 57.1967
2020-03-09 04:45:00 | 9.6393 | 177.4393 | 11.0853 | 194.9833 | 17.1513 | 18.004 | 17.7053 | 26.7393 | 7.3233 | 883 | 68.0213 | 56.4953
2020-03-09 05:00:00 | 9.2693 | 134.8793 | 10.67 | 148.208 | 16.504 | 11.7987 | 16.9487 | 14.7467 | 7.4647 | 883 | 66.346 | 56.7333
2020-03-09 05:15:00 | 9.206 | 125.3573 | 10.5987 | 137.7453 | 16.2173 | 19.0647 | 16.4107 | 28.3667 | 7.6153 | 883 | 64.3047 | 56.7707
2020-03-09 05:30:00 | 9.072 | 256.9227 | 10.4427 | 282.3187 | 16.252 | 16.9213 | 16.4947 | 18.0713 | 7.6927 | 883 | 63.0987 | 56.7493
2020-03-09 05:45:00 | 8.5267 | 165.954 | 9.814 | 182.364 | 15.1527 | 13.3627 | 15.34 | 19.3207 | 7.7413 | 883 | 62.25 | 57.0367
2020-03-09 06:00:00 | 8.412 | 75.2433 | 9.6767 | 82.6827 | 14.9513 | 8.4173 | 15.1453 | 20.6287 | 7.7713 | 883.6 | 61.1533 | 56.6273
2020-03-09 06:15:00 | 8.5953 | 122.7853 | 9.8953 | 134.924 | 15.2553 | 12.3453 | 15.604 | 19.3333 | 7.76 | 884 | 59.7667 | 57.2307
2020-03-09 06:30:00 | 8.9147 | 209.0367 | 10.26 | 229.7067 | 15.6847 | 27.8533 | 15.578 | 25.692 | 7.7553 | 884 | 58.7047 | 56.0813
2020-03-09 06:45:00 | 8.7727 | 92.5153 | 10.0893 | 101.6567 | 15.0967 | 12.9173 | 14.8867 | 19.224 | 7.926 | 884 | 56.808 | 55.4353
2020-03-09 07:00:00 | 8.7193 | 241.0507 | 10.0313 | 264.8867 | 15.436 | 17.8907 | 15.252 | 24.48 | 8.0227 | 884 | 55.608 | 55.6293
2020-03-09 07:15:00 | 9.0727 | 192.1547 | 10.442 | 211.1533 | 16.0827 | 11.1487 | 16.1747 | 23.61 | 8.1227 | 884 | 54.23 | 55.4967
2020-03-09 07:30:00 | 9.616 | 173.158 | 11.064 | 190.2733 | 16.9267 | 19.0387 | 16.994 | 25.494 | 8.2093 | 884 | 52.954 | 56.076
2020-03-09 07:45:00 | 9.6373 | 138.9647 | 11.088 | 152.7 | 16.9773 | 128.6667 | 17.1827 | 26.956 | 8.3587 | 884.2667 | 51.5127 | 57.1593
2020-03-09 08:00:00 | 9.736 | 144.032 | 11.2027 | 158.27 | 17.0887 | 17.0953 | 16.9293 | 19.6707 | 8.4627 | 885 | 50.6553 | 54.8853
2020-03-09 08:15:00 | 10.082 | 136.886 | 11.6027 | 150.4193 | 17.746 | 16.5633 | 17.686 | 26.5607 | 8.5073 | 885 | 50.3 | 54.8727
2020-03-09 08:30:00 | 10.4113 | 166.5753 | 11.9767 | 183.044 | 18.474 | 21.234 | 18.524 | 20.7687 | 8.6093 | 885 | 49.7293 | 56.442
2020-03-09 08:45:00 | 10.2947 | 107.3287 | 11.8453 | 117.9367 | 18.138 | 21.5727 | 18.4713 | 22.8033 | 8.7687 | 885 | 48.8393 | 56.812
2020-03-09 09:00:00 | 11.094 | 302.764 | 12.768 | 332.7067 | 19.3627 | 13.6967 | 19.6267 | 22.8407 | 8.9047 | 885 | 48.0427 | 55.3887
2020-03-09 09:15:00 | 11.2713 | 307.0727 | 12.9633 | 337.44 | 19.7007 | 12.7773 | 19.5933 | 21.9887 | 9.0173 | 885.9333 | 47.3813 | 56.6253
2020-03-09 09:30:00 | 11.0933 | 190.0327 | 12.7627 | 208.8233 | 19.3473 | 16.9487 | 19.554 | 25.5533 | 9.2407 | 886 | 46.3593 | 56.7833
2020-03-09 09:45:00 | 10.7127 | 154.3867 | 12.3227 | 169.6467 | 18.6053 | 13.604 | 19.0013 | 28.7733 | 9.8693 | 886.9333 | 44.828 | 55.2133
2020-03-09 10:00:00 | 10.5587 | 156.6667 | 12.156 | 172.1567 | 18.3407 | 17.7753 | 18.714 | 26.6013 | 10.2253 | 887 | 43.4013 | 53.628
2020-03-09 10:15:00 | 10.7547 | 171.666 | 12.3747 | 188.6333 | 18.6427 | 14.604 | 18.9313 | 31.758 | 10.0987 | 887 | 42.3567 | 54.1933
2020-03-09 10:30:00 | 10.4893 | 222.96 | 12.0673 | 245.008 | 18.1713 | 12.3487 | 18.4327 | 27.1587 | 11.1247 | 887.6 | 40.1807 | 55.7007
2020-03-09 10:45:00 | 10.648 | 11.34 | 12.25 | 12.4507 | 18.1593 | 18.2653 | 18.992 | 20.894 | 11.4333 | 888 | 37.8447 | 54.4093
2020-03-09 11:00:00 | 11.0133 | 43.8413 | 12.6707 | 48.1733 | 18.684 | 20.4373 | 19.348 | 38.2973 | 10.7227 | 888 | 38.302 | 54.5513
2020-03-09 11:15:00 | 11.44 | 157.1553 | 13.1587 | 172.6967 | 19.9687 | 22.1033 | 20.0307 | 28.0547 | 10.938 | 888 | 38.4373 | 58.634
2020-03-09 11:30:00 | 11.9307 | 207.2953 | 13.728 | 227.7933 | 20.588 | 17.9333 | 20.8247 | 27.8607 | 10.884 | 888 | 37.7587 | 54.258
2020-03-09 11:45:00 | 11.4813 | 240.3673 | 13.2113 | 264.14 | 20.1513 | 17.5507 | 20.148 | 31.6107 | 10.624 | 888 | 38.246 | 54.28
2020-03-09 12:00:00 | 10.8733 | 258.0153 | 12.5053 | 283.5267 | 18.9367 | 21.57 | 19.2113 | 32.786 | 10.588 | 888 | 37.734 | 54.0147
2020-03-09 12:15:00 | 10.3247 | 191.636 | 11.876 | 210.5867 | 17.654 | 19.564 | 17.9933 | 23.7293 | 10.7253 | 888 | 36.878 | 51.8753
2020-03-09 12:30:00 | 9.7787 | 279.414 | 11.2493 | 307.04 | 16.062 | 23.6147 | 16.8493 | 35.4067 | 11.5727 | 888 | 35.062 | 51.3607
2020-03-09 12:45:00 | 10.192 | 218.178 | 11.73 | 239.752 | 17.4307 | 57.29 | 17.7587 | 21.3947 | 12.1393 | 888 | 33.3573 | 52.926
2020-03-09 13:00:00 | 9.716 | 73.902 | 11.174 | 81.204 | 16.564 | 81.9967 | 16.9333 | 27.028 | 11.384 | 888 | 33.7553 | 55.128
2020-03-09 13:15:00 | 9.89 | 200.3613 | 11.378 | 220.1773 | 16.8073 | 17.0407 | 17.2853 | 27.7073 | 11.0627 | 888 | 33.9913 | 56.1113
2020-03-09 13:30:00 | 9.6007 | 65.878 | 11.0447 | 72.3867 | 16.462 | 7.4293 | 16.7507 | 35.0173 | 11.3193 | 888 | 33.6013 | 56.488
2020-03-09 13:45:00 | 9.8953 | 84.9333 | 11.3813 | 93.332 | 17.4833 | 13.3873 | 17.44 | 21.366 | 12.03 | 888 | 32.944 | 54.8047
2020-03-09 14:00:00 | 8.8667 | 132.878 | 10.198 | 146.0167 | 15.2807 | 17.8893 | 15.564 | 26.828 | 12.1513 | 888 | 32.1307 | 53.438
2020-03-09 14:15:00 | 7.5273 | 127.3267 | 8.6667 | 139.9187 | 12.8927 | 73.1993 | 12.444 | 47.826 | 12.3233 | 888 | 32.2033 | 48.2453
2020-03-09 14:30:00 | 7.55 | 110.67 | 8.6853 | 121.6087 | 12.7073 | 20.396 | 12.7813 | 28.7453 | 12.0527 | 888 | 32.5147 | 48.5573
2020-03-09 14:45:00 | 8.0567 | 237.2733 | 9.2727 | 260.7307 | 13.6773 | 23.3667 | 13.7613 | 28.032 | 12.0627 | 887.7333 | 32.056 | 48.5147
2020-03-09 15:00:00 | 7.2453 | 46.0047 | 8.3373 | 50.548 | 12.1193 | 21.4293 | 12.2013 | 34.594 | 12.0313 | 887 | 31.692 | 45.716
2020-03-09 15:15:00 | 6.2033 | 198.674 | 7.1367 | 218.322 | 10.6153 | 29.554 | 10.5993 | 29.0707 | 11.868 | 887.2667 | 32.1133 | 41.1513
2020-03-09 15:30:00 | 6.2327 | 129.564 | 7.1787 | 142.3733 | 10.536 | 181.106 | 10.7527 | 28.948 | 11.7013 | 887.4 | 31.822 | 45.8593
2020-03-09 15:45:00 | 7.8287 | 219.3093 | 9.01 | 240.988 | 13.34 | 89.8587 | 13.778 | 31.38 | 11.8693 | 887 | 30.8153 | 49.972
2020-03-09 16:00:00 | 7.184 | 61.3233 | 8.2673 | 67.3853 | 12.0587 | 21.6207 | 12.1913 | 27.4593 | 12.2227 | 887 | 29.9033 | 41.3287
2020-03-09 16:15:00 | 6.3427 | 74.208 | 7.2967 | 81.5467 | 10.896 | 18.2827 | 10.9807 | 32.9873 | 12.2087 | 887 | 29.8953 | 39.172
2020-03-09 16:30:00 | 6.5927 | 130.926 | 7.586 | 143.8667 | 11.3827 | 26.18 | 11.3593 | 33.3267 | 12.094 | 887 | 29.8633 | 36.3033
2020-03-09 16:45:00 | 6.4493 | 115.6327 | 7.4193 | 127.07 | 11.0927 | 34.6147 | 10.8313 | 33.682 | 11.9 | 887 | 29.7927 | 41.2893
2020-03-09 17:00:00 | 5.55 | 175.4753 | 6.39 | 192.83 | 9.5473 | 19.65 | 9.3947 | 16.9727 | 11.8233 | 887 | 30.3693 | 38.014
2020-03-09 17:15:00 | 6.1887 | 123.5387 | 7.1207 | 135.7533 | 10.7447 | 28.5993 | 10.808 | 29.8293 | 11.8407 | 887.2667 | 30.342 | 37.1947
2020-03-09 17:30:00 | 5.502 | 100.084 | 6.3273 | 109.9767 | 9.7853 | 11.8553 | 9.7133 | 24.814 | 11.79 | 888 | 30.7067 | 31.0307
2020-03-09 17:45:00 | 5.4153 | 68.692 | 6.2273 | 75.48 | 9.6533 | 21.8007 | 9.772 | 24.3853 | 11.626 | 888 | 31.4573 | 29.748
2020-03-09 18:00:00 | 4.912 | 155.6587 | 5.6527 | 171.05 | 8.56 | 26.1407 | 8.212 | 33.7527 | 11.5207 | 888 | 30.31 | 23.6767
2020-03-09 18:15:00 | 3.7547 | 182.4507 | 4.3233 | 200.4933 | 6.6607 | 23.9 | 6.3287 | 41.38 | 11.408 | 888 | 30.608 | 23.468
2020-03-09 18:30:00 | 3.984 | 228.4547 | 4.5867 | 251.04 | 7.2787 | 17.3307 | 7.1173 | 30.0667 | 11.1967 | 888 | 31.7067 | 19.4967
2020-03-09 18:45:00 | 3.86 | 219.4847 | 4.4367 | 241.1867 | 7.0933 | 30.9327 | 6.5293 | 28.9027 | 11.0447 | 888 | 31.658 | 20.7313
2020-03-09 19:00:00 | 3.5753 | 250.4673 | 4.1133 | 275.236 | 6.4873 | 32.4247 | 5.5573 | 37.268 | 10.9993 | 888.6 | 31.124 | 18.09
2020-03-09 19:15:00 | 3.1213 | 161.2013 | 3.588 | 177.134 | 5.9593 | 25.0973 | 5.89 | 30.436 | 10.8053 | 889 | 31.6 | 16.2827
2020-03-09 19:30:00 | 3.2633 | 145.822 | 3.7507 | 160.2367 | 6.1313 | 25.6173 | 6.166 | 27.5753 | 10.474 | 889 | 32.8167 | 18.8353
2020-03-09 19:45:00 | 3.0107 | 191.884 | 3.4667 | 210.86 | 5.7213 | 16.4113 | 5.72 | 32.47 | 10.3567 | 889 | 32.766 | 17.574
2020-03-09 20:00:00 | 3.3173 | 193.598 | 3.8207 | 212.7467 | 6.4307 | 16.2753 | 6.4733 | 27.804 | 10.3113 | 889 | 32.46 | 16.8547
2020-03-09 20:15:00 | 3.4427 | 245.7453 | 3.964 | 270.0467 | 6.506 | 11.174 | 6.25 | 21.4653 | 10.126 | 889.2667 | 33.068 | 15.986
2020-03-09 20:30:00 | 3.3267 | 92.5133 | 3.8293 | 101.66 | 6.2387 | 17.0207 | 6.324 | 25.8707 | 10.138 | 890 | 32.9907 | 20.1653
2020-03-09 20:45:00 | 3.372 | 200.8133 | 3.8813 | 220.6667 | 6.5987 | 13.6953 | 6.8427 | 27.5647 | 10.0287 | 890 | 33.5747 | 22.462
2020-03-09 21:00:00 | 3.3587 | 226.668 | 3.8653 | 249.08 | 6.6547 | 20.704 | 7.006 | 29.0947 | 9.772 | 890 | 34.2233 | 23.3
2020-03-09 21:15:00 | 3.4207 | 201.188 | 3.9347 | 221.08 | 6.7233 | 20.278 | 7.2093 | 26.9793 | 9.6393 | 890.2667 | 34.7073 | 21.4527
2020-03-09 21:30:00 | 3.4227 | 168.0613 | 3.9367 | 184.68 | 6.7733 | 19.582 | 7.226 | 26.1933 | 9.5713 | 891 | 35.07 | 21.366
2020-03-09 21:45:00 | 3.6227 | 156.6673 | 4.1707 | 172.16 | 7.122 | 18.312 | 7.4747 | 24.5 | 9.5427 | 891 | 35.12 | 25.4847
2020-03-09 22:00:00 | 3.5727 | 178.478 | 4.1107 | 196.1253 | 6.6227 | 17.31 | 6.914 | 25.6073 | 9.932 | 891 | 33.6067 | 23.1007
2020-03-09 22:15:00 | 3.4667 | 159.774 | 3.986 | 175.5713 | 6.8527 | 17.2973 | 6.9113 | 21.2973 | 9.8993 | 891 | 33.8273 | 25.86
2020-03-09 22:30:00 | 3.4975 | 257.9975 | 4.02 | 283.5 | 6.76 | 18.3025 | 6.9925 | 25.8625 | 9.6475 | 891 | 34.58 | 27.026
2020-03-09 22:45:00 | 3.9433 | 42.6533 | 4.5367 | 46.875 | 7.0717 | 18.3317 | 7.765 | 27.7917 | 10.0483 | 891 | 32.25 | 28.785
2020-03-09 23:00:00 | 3.908 | 191.998 | 4.4953 | 210.9867 | 7.5173 | 19.9447 | 8.2747 | 30.396 | 9.6647 | 891 | 33.5473 | 31.2607
2020-03-09 23:15:00 | 3.932 | 213.2307 | 4.5213 | 234.3133 | 7.6347 | 17.7933 | 8.0947 | 23.6587 | 9.3 | 891.2667 | 34.2973 | 32.032
2020-03-09 23:30:00 | 4.1733 | 155.18 | 4.8013 | 170.5233 | 7.6553 | 19.58 | 8.0407 | 18.8047 | 9.268 | 891.4 | 33.5947 | 32.95
2020-03-09 23:45:00 | 4.274 | 158.4413 | 4.912 | 174.1033 | 8.074 | 13.8153 | 7.9767 | 16.236 | 9.0367 | 891.2667 | 34.232 | 31.9447