## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-10 00:00:00 | 3.6843 | 86.2471 | 4.2371 | 94.7714 | 6.645 | 14.0236 | 6.9207 | 18.3471 | 9.0893 | 892 | 32.6864 | 30.7764
2020-03-10 00:15:00 | 4.28 | 245.8173 | 4.9233 | 270.12 | 7.8587 | 17.5433 | 7.916 | 24.286 | 9.0833 | 892 | 33.0353 | 27.5613
2020-03-10 00:30:00 | 3.9327 | 235.664 | 4.5273 | 258.9667 | 7.3933 | 13.2327 | 7.3713 | 23.93 | 8.8893 | 892 | 32.8967 | 22.59
2020-03-10 00:45:00 | 3.7093 | 235.818 | 4.2687 | 259.1333 | 6.8367 | 20.554 | 6.796 | 24.018 | 8.7187 | 892 | 32.5187 | 24.1027
2020-03-10 01:00:00 | 4.08 | 107.998 | 4.7007 | 118.6733 | 7.5287 | 13.8873 | 7.7427 | 24.4247 | 8.852 | 892 | 31.4147 | 21.0627
2020-03-10 01:15:00 | 3.7186 | 71.0371 | 4.2793 | 78.0636 | 6.5207 | 18.3536 | 6.6579 | 44.07 | 8.9457 | 892 | 30.3621 | 15.172
2020-03-10 01:30:00 | 3.2073 | 187.0613 | 3.692 | 205.562 | 5.724 | 270.968 | 5.4967 | 281.2693 | 9.1413 | 892 | 29.184 | 12.91
2020-03-10 01:45:00 | 2.8167 | 123.6533 | 3.2387 | 135.8767 | 5.122 | 356.52 | 5.0953 | 349.7333 | 9.0867 | 892 | 28.886 | 12.706
2020-03-10 02:00:00 | 2.982 | 199.8307 | 3.4333 | 219.59 | 5.4827 | 301.548 | 5.1347 | 75.476 | 8.812 | 892 | 29.644 | 12.726
2020-03-10 02:15:00 | 3.1853 | 221.868 | 3.6667 | 243.81 | 5.55 | 169.362 | 5.3613 | 171.004 | 8.7653 | 891.7333 | 30.0293 | 12.1207
2020-03-10 02:30:00 | 2.6647 | 166.676 | 3.066 | 183.1533 | 4.9127 | 298.9133 | 4.732 | 112.3067 | 8.6113 | 891 | 30.238 | 6.5573
2020-03-10 02:45:00 | 2.558 | 214.012 | 2.948 | 235.1733 | 4.9547 | 164.2667 | 4.636 | 142.9413 | 8.4333 | 891 | 30.2173 | 8.5587
2020-03-10 03:00:00 | 3.028 | 134.5553 | 3.482 | 147.8633 | 5.5233 | 349.6467 | 5.3453 | 178.9687 | 8.2673 | 891 | 30.478 | 11.2347
2020-03-10 03:15:00 | 3.1267 | 154.8787 | 3.6007 | 170.1967 | 5.528 | 236.2 | 5.292 | 109.9653 | 8.4287 | 891 | 30.1893 | 10.174
2020-03-10 03:30:00 | 3.072 | 255.154 | 3.5347 | 280.388 | 5.476 | 345.2933 | 5.238 | 6.892 | 8.3413 | 891 | 30.6733 | 10.244
2020-03-10 03:45:00 | 2.9207 | 188.5813 | 3.3587 | 207.2333 | 5.2233 | 96.8367 | 5.3153 | 16.162 | 8.0547 | 891 | 31.5847 | 7.398
2020-03-10 04:00:00 | 2.6 | 68.4413 | 2.9893 | 75.202 | 4.9713 | 14.686 | 4.9847 | 14.5813 | 7.7987 | 891 | 32.4073 | 5.3107
2020-03-10 04:15:00 | 2.1347 | 176.2467 | 2.4613 | 193.674 | 3.9587 | 14.322 | 4.21 | 24.3287 | 7.3993 | 891 | 33.2853 | 3.3773
2020-03-10 04:30:00 | 2.0527 | 205.0687 | 2.3627 | 225.3493 | 4.0487 | 16.7833 | 4.272 | 28.182 | 7.0547 | 891 | 34.4733 | 4.3413
2020-03-10 04:45:00 | 2.072 | 100.154 | 2.3833 | 110.058 | 3.8353 | 15.8013 | 3.966 | 29.084 | 6.8287 | 890.0667 | 36.2153 | 7.0987
2020-03-10 05:00:00 | 2.3047 | 136.33 | 2.6487 | 149.8153 | 4.3673 | 15.282 | 4.9273 | 32.0847 | 6.908 | 890 | 36.644 | 6.2687
2020-03-10 05:15:00 | 2.208 | 132.3813 | 2.54 | 145.47 | 4.0307 | 7.4787 | 4.3667 | 133.5813 | 6.7673 | 890 | 36.1087 | 3.6473
2020-03-10 05:30:00 | 2.0767 | 215.5833 | 2.3867 | 236.9033 | 3.5647 | 16.946 | 3.9787 | 21.3493 | 6.8927 | 890 | 35.9793 | 5.6887
2020-03-10 05:45:00 | 2.088 | 225.6467 | 2.4073 | 247.9587 | 4.0627 | 8.63 | 4.2173 | 24.2927 | 6.3113 | 890 | 37.4527 | 5.3847
2020-03-10 06:00:00 | 1.8893 | 149.896 | 2.1807 | 164.7127 | 3.478 | 120.882 | 3.504 | 24.1373 | 6.176 | 890 | 36.622 | 3.986
2020-03-10 06:15:00 | 1.8587 | 233.932 | 2.142 | 257.0673 | 3.44 | 1.974 | 3.516 | 15.0953 | 6.1587 | 890 | 36.45 | 6.9867
2020-03-10 06:30:00 | 2.1813 | 306.4 | 2.514 | 336.7 | 4.0947 | 6.9793 | 3.898 | 13.6413 | 5.842 | 890 | 37.6993 | 10.1213
2020-03-10 06:45:00 | 2.6307 | 290.4533 | 3.0327 | 319.1733 | 4.5287 | 13.184 | 4.624 | 26.1793 | 5.524 | 890.9333 | 39.7707 | 13.4567
2020-03-10 07:00:00 | 2.892 | 302.3787 | 3.328 | 332.2867 | 4.7713 | 10.118 | 5.2547 | 24.992 | 5.0227 | 891 | 42.414 | 13.1153
2020-03-10 07:15:00 | 3.0933 | 267.15 | 3.5587 | 293.5667 | 5.2893 | 0.40867 | 5.3393 | 15.7593 | 4.9967 | 891 | 42.23 | 14.9953
2020-03-10 07:30:00 | 3.3233 | 251.4207 | 3.822 | 276.2867 | 5.8313 | 47.716 | 5.7413 | 15.794 | 4.8887 | 890.4 | 44.3533 | 17.3973
2020-03-10 07:45:00 | 3.5673 | 150.0513 | 4.104 | 164.8853 | 5.7987 | 81.3507 | 5.4227 | 18.3373 | 5.1813 | 890 | 44.2 | 21.8793
2020-03-10 08:00:00 | 3.6553 | 233.98 | 4.208 | 257.1147 | 6.588 | 13.7247 | 6.672 | 19.056 | 5.6833 | 890 | 42.6433 | 20.33
2020-03-10 08:15:00 | 3.4573 | 254.86 | 3.9787 | 280.0533 | 5.5933 | 122.0053 | 5.8007 | 25.5253 | 5.9393 | 890.9333 | 42.6833 | 10.2353
2020-03-10 08:30:00 | 2.5827 | 93.2593 | 2.974 | 102.48 | 4.2547 | 56.766 | 4.6413 | 18.7427 | 6.7347 | 891.6 | 40.616 | 4.3593
2020-03-10 08:45:00 | 2.5693 | 268.5693 | 2.9573 | 295.1253 | 3.9907 | 238.9 | 4.298 | 13.72 | 6.8413 | 892 | 39.3913 | 3.8887
2020-03-10 09:00:00 | 3.01 | 98.008 | 3.4607 | 107.6987 | 4.752 | 76.896 | 4.6367 | 10.6007 | 7.5833 | 892 | 38.332 | 6.2207
2020-03-10 09:15:00 | 3.1753 | 30 | 3.6567 | 32.962 | 5.4653 | 6.322 | 5.7193 | 12.25 | 7.8547 | 892.2667 | 38.7547 | 8.724
2020-03-10 09:30:00 | 2.9227 | 237.9567 | 3.366 | 261.4873 | 4.9653 | 7.26 | 5.6027 | 11.8453 | 7.6233 | 893 | 41.1927 | 7.1667
2020-03-10 09:45:00 | 3.2627 | 167.5967 | 3.7573 | 184.1693 | 5.1847 | 11.6973 | 5.3953 | 12.4473 | 7.8507 | 893 | 39.29 | 4.7587
2020-03-10 10:00:00 | 3.3493 | 74.9433 | 3.856 | 82.3573 | 5.41 | 7.7673 | 5.2727 | 13.016 | 8.0807 | 893 | 38.156 | 5.6213
2020-03-10 10:15:00 | 3.214 | 118.204 | 3.6987 | 129.8933 | 5.5713 | 3.5933 | 5.7073 | 14.8433 | 8.6087 | 893 | 38.6413 | 8.5353
2020-03-10 10:30:00 | 3.4533 | 185.096 | 3.9687 | 203.402 | 4.92 | 5.1447 | 4.9453 | 14.41 | 8.8073 | 893 | 37.36 | 7.2647
2020-03-10 10:45:00 | 3.452 | 211.3953 | 3.9693 | 232.296 | 5.2453 | 7.6307 | 4.9793 | 13.378 | 8.7633 | 893.6667 | 36.3033 | 7.0507
2020-03-10 11:00:00 | 3.5153 | 203.02 | 4.042 | 223.092 | 5.266 | 5.9693 | 4.9013 | 10.8527 | 9.0927 | 893 | 35.292 | 5.8533
2020-03-10 11:15:00 | 3.4447 | 212.9707 | 3.9653 | 234.0267 | 5.3413 | 280.904 | 5.03 | 47.5267 | 9.5627 | 893 | 34.5513 | 5.0387
2020-03-10 11:30:00 | 3.4227 | 175.3773 | 3.9413 | 192.7113 | 5.296 | 73.2353 | 4.936 | 102.4307 | 9.93 | 893 | 34.5973 | 3.2067
2020-03-10 11:45:00 | 3.4947 | 164.6613 | 4.0173 | 180.9453 | 4.958 | 121.3953 | 4.6693 | 6.5307 | 10.0133 | 893 | 34.4367 | 3.238
2020-03-10 12:00:00 | 3.8853 | 182.9753 | 4.4747 | 201.0767 | 4.8427 | 126.0093 | 4.7047 | 13.8087 | 10.5807 | 893 | 32.3387 | 1.6907
2020-03-10 12:15:00 | 3.6967 | 153.7213 | 4.256 | 168.9233 | 4.9813 | 13.498 | 4.4613 | 31.012 | 11.6153 | 893 | 30.4247 | 1.484
2020-03-10 12:30:00 | 3.8647 | 172.828 | 4.4527 | 189.918 | 5.114 | 9.6007 | 4.554 | 13.312 | 12.044 | 893 | 28.7633 | 0.75467
2020-03-10 12:45:00 | 3.1527 | 122.3867 | 3.6333 | 134.488 | 3.8533 | 21.5993 | 3.0487 | 22.43 | 12.1667 | 893 | 28.4693 | 0
2020-03-10 13:00:00 | 1.7387 | 200.3 | 2.0047 | 220.1013 | 1.9833 | 28.0293 | 1.26 | 4.5573 | 12.4267 | 893 | 27.4187 | 0
2020-03-10 13:15:00 | 2.0393 | 31.3127 | 2.3553 | 34.4 | 2.494 | 32.982 | 1.65 | 121.9693 | 13.218 | 893 | 26.2067 | 0
2020-03-10 13:30:00 | 2.1027 | 165.812 | 2.4247 | 182.2067 | 2.5293 | 82.9027 | 2.3553 | 90.6007 | 13.5987 | 893 | 26.9613 | 0
2020-03-10 13:45:00 | 1.9907 | 143.536 | 2.2913 | 157.7267 | 2.1913 | 137.7533 | 2.4233 | 163.6667 | 12.6707 | 892.7333 | 27.3967 | 0
2020-03-10 14:00:00 | 1.8353 | 135.528 | 2.1147 | 148.9267 | 1.9727 | 166.14 | 1.922 | 140.5933 | 12.99 | 892 | 27.6767 | 0
2020-03-10 14:15:00 | 2.214 | 97.2833 | 2.552 | 106.8933 | 2.646 | 152.3 | 2.7747 | 156.52 | 13.5113 | 892 | 27.132 | 0
2020-03-10 14:30:00 | 2.6427 | 127.5853 | 3.0433 | 140.2 | 3.1867 | 143.0533 | 3.668 | 147.2267 | 13.1847 | 891.4 | 27.728 | 0.33333
2020-03-10 14:45:00 | 2.9787 | 160.7653 | 3.434 | 176.66 | 3.554 | 154.1867 | 3.8327 | 156.6133 | 13.5373 | 891 | 28.8093 | 0.65533
2020-03-10 15:00:00 | 3.2773 | 133.702 | 3.7713 | 146.9267 | 3.9593 | 167.86 | 3.97 | 159.7 | 13.3767 | 890.4 | 29.294 | 2.26
2020-03-10 15:15:00 | 2.9827 | 144.8773 | 3.4293 | 159.2067 | 3.884 | 203.0267 | 3.9713 | 201.2067 | 13.5087 | 890 | 29.0267 | 2.8313
2020-03-10 15:30:00 | 3.1393 | 166.6133 | 3.61 | 183.0867 | 3.8827 | 201.0533 | 4.172 | 211.8067 | 14.2567 | 890 | 27.632 | 2.586
2020-03-10 15:45:00 | 2.642 | 186.0607 | 3.0433 | 204.46 | 3.3233 | 190.9133 | 3.3887 | 195.3867 | 14.3753 | 890 | 27.368 | 2.976
2020-03-10 16:00:00 | 2.6187 | 142.7727 | 3.012 | 156.8933 | 3.274 | 185.1333 | 3.4967 | 215.22 | 14.7687 | 890 | 26.388 | 3.0407
2020-03-10 16:15:00 | 3.4053 | 150.1287 | 3.924 | 164.9733 | 4.1787 | 164 | 4.3033 | 159.6 | 14.608 | 890 | 26.518 | 3.2773
2020-03-10 16:30:00 | 3.6107 | 148.108 | 4.156 | 162.7533 | 4.1953 | 160.78 | 4.3373 | 159.5 | 14.1247 | 889.4 | 27.0213 | 1.6787
2020-03-10 16:45:00 | 3.0473 | 139.2213 | 3.5093 | 152.9867 | 3.506 | 170.98 | 3.72 | 176.9067 | 13.8533 | 889 | 26.5147 | 0.78667
2020-03-10 17:00:00 | 2.5847 | 136.242 | 2.9787 | 149.7133 | 3.2287 | 165.7333 | 3.3333 | 182.56 | 13.9493 | 889 | 25.874 | 1.436
2020-03-10 17:15:00 | 2.204 | 160.206 | 2.539 | 176.05 | 2.874 | 206.12 | 2.854 | 230.24 | 13.937 | 889 | 26.608 | 1.799
2020-03-10 17:30:00 | 2.204 | 160.206 | 2.539 | 176.05 | 2.874 | 206.12 | 2.854 | 230.24 | 13.937 | 889 | 26.608 | 1.799
2020-03-10 17:45:00 | 2.204 | 160.206 | 2.539 | 176.05 | 2.874 | 206.12 | 2.854 | 230.24 | 13.937 | 889 | 26.608 | 1.799
2020-03-10 18:00:00 | 2.204 | 160.206 | 2.539 | 176.05 | 2.874 | 206.12 | 2.854 | 230.24 | 13.937 | 889 | 26.608 | 1.799
2020-03-10 18:15:00 | 2.204 | 160.206 | 2.539 | 176.05 | 2.874 | 206.12 | 2.854 | 230.24 | 13.937 | 889 | 26.608 | 1.799
2020-03-10 18:30:00 | 3.7533 | 173.9293 | 4.3187 | 191.08 | 4.716 | 212.78 | 5.412 | 213.4467 | 11.4453 | 887 | 34.0147 | 9.4
2020-03-10 18:45:00 | 3.7533 | 173.9293 | 4.3187 | 191.08 | 4.716 | 212.78 | 5.412 | 213.4467 | 11.4453 | 887 | 34.0147 | 9.4
2020-03-10 19:00:00 | 3.7533 | 173.9293 | 4.3187 | 191.08 | 4.716 | 212.78 | 5.412 | 213.4467 | 11.4453 | 887 | 34.0147 | 9.4
2020-03-10 19:15:00 | 3.7533 | 173.9293 | 4.3187 | 191.08 | 4.716 | 212.78 | 5.412 | 213.4467 | 11.4453 | 887 | 34.0147 | 9.4
2020-03-10 19:30:00 | 3.7533 | 173.9293 | 4.3187 | 191.08 | 4.716 | 212.78 | 5.412 | 213.4467 | 11.4453 | 887 | 34.0147 | 9.4
2020-03-10 19:45:00 | 3.198 | 168.8627 | 3.6793 | 185.5333 | 4.2673 | 210.5867 | 4.726 | 217.2867 | 11.224 | 887 | 34.8913 | 8.372
2020-03-10 20:00:00 | 1.9987 | 179.0247 | 2.296 | 196.72 | 2.972 | 216.2133 | 2.8893 | 214.2667 | 11.1207 | 887 | 35.038 | 5.8373
2020-03-10 20:15:00 | 1.0693 | 154.648 | 1.2307 | 169.94 | 1.6493 | 174.7667 | 1.6187 | 195.3 | 10.964 | 887 | 35.1467 | 3.2967
2020-03-10 20:30:00 | 2.1907 | 161.3447 | 2.522 | 177.3 | 2.604 | 173.2733 | 2.69 | 168.78 | 11.132 | 887 | 34.5713 | 3.7613
2020-03-10 20:45:00 | 2.5253 | 163.406 | 2.914 | 179.5667 | 3.1747 | 176.62 | 3.0333 | 181.9133 | 10.976 | 887.2667 | 35.1027 | 4.202
2020-03-10 21:00:00 | 2.688 | 164.4153 | 3.0913 | 180.6733 | 3.43 | 179.9933 | 3.3673 | 180.8533 | 10.784 | 888 | 35.726 | 4.0113
2020-03-10 21:15:00 | 2.9753 | 154.6527 | 3.428 | 169.9467 | 3.6207 | 184.72 | 3.7913 | 183.42 | 10.8707 | 888 | 35.4053 | 2.988
2020-03-10 21:30:00 | 2.6987 | 169.0813 | 3.1093 | 185.8067 | 3.3393 | 193.1667 | 3.8987 | 184.1867 | 11.066 | 888 | 34.5407 | 2.8873
2020-03-10 21:45:00 | 2.724 | 150.8893 | 3.13 | 165.8067 | 3.3113 | 184.2667 | 3.7433 | 181.1867 | 11.2 | 888 | 33.7687 | 2.5533
2020-03-10 22:00:00 | 2.246 | 142.3007 | 2.5833 | 156.3733 | 2.7273 | 179.4333 | 3.242 | 184.2867 | 11.236 | 888 | 33.3233 | 2
2020-03-10 22:15:00 | 1.86 | 151.924 | 2.138 | 166.9467 | 2.3833 | 177.0933 | 2.9687 | 187.3067 | 11.1633 | 888 | 33.3347 | 1.3487
2020-03-10 22:30:00 | 2.1307 | 167.396 | 2.4573 | 183.94 | 2.8867 | 180.24 | 3.6453 | 178.3 | 11.02 | 888 | 33.7393 | 1.218
2020-03-10 22:45:00 | 2.2043 | 168.1064 | 2.5386 | 184.7286 | 2.9007 | 176.7071 | 3.6769 | 177.9071 | 10.9015 | 888 | 34.0182 | 0.87929
2020-03-10 23:00:00 | 2.022 | 168.8087 | 2.3253 | 185.4933 | 2.6733 | 172.0867 | 3.3013 | 173.46 | 11.0147 | 888 | 33.414 | 0.90267
2020-03-10 23:15:00 | 2.2487 | 170.6693 | 2.586 | 187.5467 | 2.844 | 175.8333 | 3.558 | 173.5933 | 10.8733 | 888 | 33.804 | 0.86867
2020-03-10 23:30:00 | 2.2307 | 171.9513 | 2.5707 | 188.96 | 2.8247 | 187.2533 | 3.5593 | 179.2 | 10.7387 | 888.6 | 34.1047 | 1.0967
2020-03-10 23:45:00 | 2.1753 | 163.366 | 2.5007 | 179.52 | 2.8373 | 181.5067 | 3.558 | 180.9867 | 10.682 | 888.3333 | 34.1933 | 0.782