## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-11 00:00:00 | 1.8993 | 144.5186 | 2.1921 | 158.8071 | 2.4786 | 189.9214 | 3.1093 | 185.7643 | 10.6671 | 888.6 | 34.237 | 0.36786
2020-03-11 00:15:00 | 1.8907 | 170.8153 | 2.1827 | 187.7067 | 2.5953 | 192.8 | 3.06 | 192.16 | 10.6913 | 888 | 34.13 | 0.592
2020-03-11 00:30:00 | 1.9827 | 169.9847 | 2.2813 | 186.7867 | 2.6167 | 189.8667 | 3.1787 | 192.6867 | 10.674 | 888 | 34.2913 | 0.47933
2020-03-11 00:45:00 | 1.7287 | 151.994 | 1.9953 | 167.02 | 2.4587 | 175.84 | 3.2633 | 179.9533 | 10.2813 | 888 | 35.46 | 0.10333
2020-03-11 01:00:00 | 1.7833 | 168.5887 | 2.054 | 185.26 | 2.476 | 173.02 | 2.944 | 183.1933 | 10.248 | 888 | 35.4467 | 0.054667
2020-03-11 01:15:00 | 1.8367 | 174.518 | 2.122 | 191.78 | 2.3393 | 179.9933 | 3.054 | 177.06 | 10.3253 | 888 | 35.1807 | 0
2020-03-11 01:30:00 | 1.5393 | 167.958 | 1.776 | 184.5667 | 2.2467 | 172.0533 | 3.302 | 178.6533 | 10.3207 | 888 | 34.914 | 0
2020-03-11 01:45:00 | 0.93067 | 162.89 | 1.0753 | 179 | 1.636 | 175.4733 | 2.89 | 179.08 | 10.188 | 888 | 35.2793 | 0
2020-03-11 02:00:00 | 1.0227 | 168.938 | 1.176 | 185.64 | 1.63 | 188.92 | 2.498 | 194.0467 | 10.152 | 888 | 35.1253 | 0.50867
2020-03-11 02:15:00 | 1.9033 | 175.8573 | 2.192 | 193.24 | 2.5793 | 193.4133 | 3.0947 | 189.6733 | 10.024 | 888 | 35.8467 | 0.63333
2020-03-11 02:30:00 | 1.8287 | 161.0167 | 2.1087 | 176.94 | 2.6567 | 195.2333 | 3.0073 | 194.9867 | 9.462 | 887.4 | 38.1767 | 1.0433
2020-03-11 02:45:00 | 1.8027 | 161.608 | 2.082 | 177.5867 | 2.6753 | 190.1867 | 3.3227 | 179.0467 | 9.1593 | 887 | 39.4527 | 2.4887
2020-03-11 03:00:00 | 2.6213 | 181.4533 | 3.0153 | 199.4 | 3.3193 | 188.9733 | 4.2227 | 174.1333 | 9.1993 | 887 | 39.074 | 2.8673
2020-03-11 03:15:00 | 2.644 | 154.0227 | 3.0453 | 169.2467 | 3.346 | 166.1933 | 4.8347 | 166.4533 | 9.16 | 886.7333 | 39.3147 | 2.0753
2020-03-11 03:30:00 | 2.6267 | 174.4027 | 3.0327 | 191.64 | 3.2887 | 181.76 | 4.3667 | 166.6667 | 9.22 | 886 | 39.0027 | 3.2433
2020-03-11 03:45:00 | 2.7867 | 152.806 | 3.2053 | 167.9133 | 3.4687 | 174.5333 | 4.106 | 174.6533 | 9.1993 | 886 | 39.38 | 4.1053
2020-03-11 04:00:00 | 2.3947 | 169.4193 | 2.7547 | 186.1733 | 3.0573 | 174.0067 | 3.744 | 178.38 | 9.026 | 886 | 40.196 | 4.2367
2020-03-11 04:15:00 | 2.3947 | 169.4193 | 2.7547 | 186.1733 | 3.0573 | 174.0067 | 3.744 | 178.38 | 9.026 | 886 | 40.196 | 4.2367
2020-03-11 04:30:00 | 2.3947 | 169.4193 | 2.7547 | 186.1733 | 3.0573 | 174.0067 | 3.744 | 178.38 | 9.026 | 886 | 40.196 | 4.2367
2020-03-11 04:45:00 | 2.3947 | 169.4193 | 2.7547 | 186.1733 | 3.0573 | 174.0067 | 3.744 | 178.38 | 9.026 | 886 | 40.196 | 4.2367
2020-03-11 05:00:00 | 2.3947 | 169.4193 | 2.7547 | 186.1733 | 3.0573 | 174.0067 | 3.744 | 178.38 | 9.026 | 886 | 40.196 | 4.2367
2020-03-11 05:15:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 05:30:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 05:45:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 06:00:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 06:15:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 06:30:00 | 2.2747 | 174.448 | 2.6193 | 191.6933 | 3.1833 | 184.14 | 3.994 | 179.3067 | 7.9027 | 885 | 45.4273 | 2.9867
2020-03-11 06:45:00 | 1.8027 | 174.8707 | 2.08 | 192.1667 | 2.6207 | 187.2267 | 3.552 | 181.0333 | 8.116 | 885 | 44.898 | 3.434
2020-03-11 07:00:00 | 2.724 | 163.71 | 3.1393 | 179.8933 | 3.496 | 187.5 | 4.0527 | 180.48 | 8.0147 | 885 | 45.906 | 3.7573
2020-03-11 07:15:00 | 3.0333 | 174.436 | 3.4947 | 191.6867 | 3.7727 | 187.1533 | 4.254 | 186.2733 | 8.0887 | 885 | 46.388 | 3.2193
2020-03-11 07:30:00 | 2.906 | 163.5313 | 3.3427 | 179.7 | 3.686 | 189.6467 | 4.3127 | 197.6133 | 7.71 | 885 | 49.0387 | 4.8473
2020-03-11 07:45:00 | 2.9187 | 152.3253 | 3.3533 | 167.3867 | 3.5167 | 186.78 | 3.9187 | 196.6133 | 7.09 | 885 | 52.712 | 6.1453
2020-03-11 08:00:00 | 3.3907 | 169.4973 | 3.9033 | 186.26 | 3.9053 | 186.3 | 4.6133 | 193.0333 | 6.956 | 885 | 54.0927 | 6.91
2020-03-11 08:15:00 | 3.75 | 161.37 | 4.3153 | 177.32 | 4.3047 | 183.72 | 5.0887 | 184.8733 | 6.9587 | 885 | 54.534 | 10.4393
2020-03-11 08:30:00 | 3.7413 | 154.0927 | 4.3013 | 169.3267 | 4.3427 | 181.52 | 5.0187 | 180.54 | 7.0907 | 885.6 | 55.3933 | 8.484
2020-03-11 08:45:00 | 3.568 | 158.434 | 4.1033 | 174.1 | 3.9853 | 181.98 | 4.3733 | 182.6667 | 7.828 | 886 | 55.1533 | 6.4613
2020-03-11 09:00:00 | 3.428 | 162.7227 | 3.9407 | 178.8133 | 3.8633 | 194.7933 | 4.358 | 197.9067 | 8.4327 | 886 | 55.5713 | 5.556
2020-03-11 09:15:00 | 3.2493 | 150.8513 | 3.7373 | 165.7667 | 3.5513 | 184.1333 | 3.9713 | 201.8933 | 9.0547 | 886.9333 | 56.3347 | 4.6787
2020-03-11 09:30:00 | 3.0371 | 142.93 | 3.4929 | 157.0643 | 3.3271 | 161.55 | 3.4529 | 183.6071 | 9.395 | 887 | 55.1386 | 2.0787
2020-03-11 09:45:00 | 2.9587 | 149.6527 | 3.402 | 164.4467 | 3.2527 | 172.92 | 3.1253 | 196.2933 | 8.8233 | 887 | 55.7787 | 1.2973
2020-03-11 10:00:00 | 2.888 | 149.0107 | 3.3233 | 163.7467 | 3.1487 | 174.0333 | 3.2493 | 187.1 | 8.474 | 887 | 57.9807 | 1.6347
2020-03-11 10:15:00 | 3.1953 | 167.7133 | 3.6787 | 184.2933 | 3.8073 | 178.6933 | 3.978 | 182.5733 | 8.3793 | 887 | 60.238 | 3.372
2020-03-11 10:30:00 | 3.2067 | 151.392 | 3.694 | 166.3533 | 3.7307 | 177.2533 | 4.2667 | 191 | 8.5327 | 887 | 62.0367 | 3.462
2020-03-11 10:45:00 | 3.1967 | 151.5767 | 3.6793 | 166.56 | 3.596 | 180.96 | 4.202 | 201.3133 | 8.848 | 887 | 62.3167 | 2.146
2020-03-11 11:00:00 | 3.1833 | 161.5893 | 3.6647 | 177.5667 | 3.654 | 190.58 | 3.724 | 193.7333 | 8.9193 | 887 | 61.5653 | 3.74
2020-03-11 11:15:00 | 3.5013 | 156.3527 | 4.0293 | 171.8133 | 4.0747 | 182.8867 | 4.3987 | 190.0867 | 9.0427 | 887 | 61.56 | 3.9067
2020-03-11 11:30:00 | 3.5673 | 146.0793 | 4.1053 | 160.52 | 4.0667 | 187.6733 | 4.176 | 193.3933 | 9.3793 | 887 | 62.1127 | 4.4273
2020-03-11 11:45:00 | 4.1587 | 131.7913 | 4.7893 | 144.8267 | 4.824 | 171.8333 | 4.7467 | 175.7133 | 9.796 | 887 | 63.0867 | 5.194
2020-03-11 12:00:00 | 4.0733 | 137.6727 | 4.6907 | 151.2867 | 4.612 | 160.1 | 4.6627 | 183.9867 | 9.8447 | 887 | 63.9787 | 4.5827
2020-03-11 12:15:00 | 4.064 | 130.7793 | 4.6827 | 143.7067 | 4.688 | 167.66 | 4.5447 | 177.7467 | 10.4033 | 886.0667 | 62.7807 | 6.1013
2020-03-11 12:30:00 | 3.7767 | 141.258 | 4.3427 | 155.2267 | 4.1933 | 180.5467 | 4.456 | 176.3333 | 10.7413 | 886 | 62.564 | 6.1807
2020-03-11 12:45:00 | 3.8133 | 152.1033 | 4.384 | 167.1467 | 4.352 | 159.3133 | 4.372 | 168.98 | 11.2007 | 886 | 60.736 | 5.3447
2020-03-11 13:00:00 | 3.7467 | 161.4673 | 4.3113 | 177.4333 | 4.4007 | 162.68 | 4.588 | 169.82 | 11.7327 | 886 | 59.1633 | 6.656
2020-03-11 13:15:00 | 4.352 | 170.622 | 5.0093 | 187.4933 | 5.1233 | 172.88 | 5.396 | 188.0933 | 11.342 | 886 | 60.9467 | 8.2813
2020-03-11 13:30:00 | 3.8907 | 162.7853 | 4.4767 | 178.8733 | 4.574 | 185.16 | 4.982 | 196.3733 | 10.7147 | 886 | 63.6387 | 6.7313
2020-03-11 13:45:00 | 3.992 | 156.986 | 4.5913 | 172.5 | 4.534 | 170.3733 | 4.8567 | 176.5733 | 10.4853 | 885.0667 | 65.3413 | 7.3513
2020-03-11 14:00:00 | 4.5707 | 134.9547 | 5.26 | 148.2933 | 5.3287 | 157.5467 | 5.3693 | 172.2467 | 10.3107 | 885 | 66.1887 | 7.2287
2020-03-11 14:15:00 | 4.3927 | 147.086 | 5.0547 | 161.6267 | 5.106 | 158.1267 | 5.1767 | 173.3333 | 10.2387 | 884.7333 | 67.0593 | 6.6653
2020-03-11 14:30:00 | 4.2293 | 150.448 | 4.866 | 165.3267 | 4.8453 | 164.4467 | 4.8827 | 172.2 | 10.1393 | 884 | 67.7833 | 6.3707
2020-03-11 14:45:00 | 3.8329 | 147.4779 | 4.4136 | 162.0571 | 4.3114 | 167.3429 | 4.5543 | 176.1 | 10.1079 | 884 | 67.97 | 5.0067
2020-03-11 15:00:00 | 3.6107 | 149.9693 | 4.1543 | 164.7929 | 4.1643 | 168.9786 | 4.3293 | 175.2571 | 10.5229 | 883.4286 | 67.1429 | 3.9753
2020-03-11 15:15:00 | 3.556 | 149.1047 | 4.0927 | 163.84 | 4.0227 | 193.2533 | 4.0647 | 187.0667 | 10.572 | 883 | 67.25 | 3.5407
2020-03-11 15:30:00 | 3.5227 | 171.6173 | 4.054 | 188.58 | 4.1753 | 182.3067 | 4.4707 | 188.48 | 10.368 | 883 | 67.4 | 3.9047
2020-03-11 15:45:00 | 3.3687 | 174.356 | 3.8793 | 191.6 | 4.1507 | 201.3067 | 4.2593 | 192.7667 | 10.4107 | 883 | 67.2293 | 4.062
2020-03-11 16:00:00 | 3.2814 | 145.64 | 3.7729 | 160.0429 | 3.7714 | 192.9857 | 3.9836 | 190.6357 | 10.375 | 883 | 66.7579 | 4.5727
2020-03-11 16:15:00 | 3.112 | 156.6113 | 3.5833 | 172.1 | 3.6313 | 198.2733 | 3.91 | 189.0867 | 10.2693 | 883 | 66.9127 | 4.3227
2020-03-11 16:30:00 | 2.7653 | 160.9793 | 3.1847 | 176.9 | 3.3147 | 179.5 | 3.526 | 177.98 | 10.2293 | 883 | 67.2073 | 3.1327
2020-03-11 16:45:00 | 2.9027 | 139.4307 | 3.344 | 153.22 | 3.4787 | 182.2867 | 3.6433 | 186.84 | 10.244 | 883 | 66.6007 | 1.6733
2020-03-11 17:00:00 | 2.4913 | 142.5513 | 2.866 | 156.6467 | 2.9393 | 191.1267 | 3.0967 | 203.0067 | 10.2053 | 883 | 66.4307 | 0.442
2020-03-11 17:15:00 | 2.0807 | 171.0427 | 2.3947 | 187.9533 | 2.6767 | 193.8 | 3.016 | 191.4533 | 10.1913 | 883 | 66.576 | 0.37333
2020-03-11 17:30:00 | 1.544 | 181.0473 | 1.782 | 198.9467 | 2.1653 | 200.3333 | 2.4573 | 212.82 | 10.172 | 883 | 66.9893 | 0.55
2020-03-11 17:45:00 | 2.0453 | 175.148 | 2.36 | 192.4667 | 2.932 | 229.4267 | 2.982 | 222.6867 | 10.1007 | 883 | 67.8153 | 0.746
2020-03-11 18:00:00 | 2.1853 | 171.898 | 2.5247 | 188.8933 | 3.0027 | 211.5733 | 3.1993 | 212.2 | 10.0413 | 883 | 68.1253 | 1.3273
2020-03-11 18:15:00 | 1.8953 | 173.4733 | 2.1853 | 190.6267 | 2.814 | 211.6733 | 2.9727 | 210.08 | 9.9473 | 883 | 68.7113 | 1.058
2020-03-11 18:30:00 | 2.3433 | 173.1587 | 2.696 | 190.28 | 3.344 | 214.6467 | 3.522 | 210.58 | 9.8553 | 883 | 69.362 | 1.5267
2020-03-11 18:45:00 | 2.6293 | 169.9073 | 3.022 | 186.7067 | 3.2593 | 203.58 | 3.5547 | 205.8667 | 9.8493 | 883 | 68.6647 | 1.9807
2020-03-11 19:00:00 | 2.194 | 170.2707 | 2.5267 | 187.1 | 2.728 | 191.22 | 2.8987 | 200.48 | 9.8187 | 883 | 68.732 | 1.524
2020-03-11 19:15:00 | 1.9493 | 177.6673 | 2.244 | 195.2333 | 2.5993 | 205.3867 | 2.7667 | 197.6667 | 9.7593 | 883 | 69.0707 | 0.75667
2020-03-11 19:30:00 | 2.7747 | 168.368 | 3.1933 | 185.0133 | 3.4987 | 206.0467 | 3.6107 | 198.7 | 9.656 | 883 | 69.5967 | 1.8813
2020-03-11 19:45:00 | 2.6373 | 185.6067 | 3.036 | 203.9667 | 3.3373 | 224.3 | 3.5787 | 214.1667 | 9.6893 | 883 | 69.06 | 1.2627
2020-03-11 20:00:00 | 1.8587 | 174.202 | 2.1427 | 191.4267 | 2.5293 | 208.7267 | 2.776 | 207.6067 | 9.632 | 883 | 69.134 | 0
2020-03-11 20:15:00 | 1.7107 | 174.4507 | 1.9733 | 191.7 | 2.3053 | 200.9067 | 2.3687 | 194.0667 | 9.5507 | 883.9333 | 69.5333 | 0.054
2020-03-11 20:30:00 | 1.276 | 169.0413 | 1.4753 | 185.76 | 1.848 | 184.8933 | 2.3313 | 185.44 | 9.4653 | 884 | 70.1313 | 0
2020-03-11 20:45:00 | 0.93 | 177.3973 | 1.0733 | 194.9333 | 1.642 | 205.74 | 1.9133 | 198.1067 | 9.4853 | 884 | 70.0473 | 0
2020-03-11 21:00:00 | 1.084 | 183.1967 | 1.2513 | 201.3067 | 2.0107 | 215 | 2.18 | 222.2533 | 9.3967 | 884 | 70.3767 | 0
2020-03-11 21:15:00 | 1.744 | 185.4627 | 2.0173 | 203.8 | 3.0253 | 225.6067 | 3.0813 | 225.3067 | 9.2833 | 884.2667 | 71.2373 | 0.60867
2020-03-11 21:30:00 | 2.164 | 186.0553 | 2.4927 | 204.4533 | 3.2073 | 232.4933 | 3.356 | 232.5333 | 9.298 | 885 | 71.3913 | 0.968
2020-03-11 21:45:00 | 2.8487 | 167.9087 | 3.278 | 184.5067 | 3.898 | 208.24 | 4.1353 | 218.9867 | 9.1833 | 885 | 72.306 | 3.11
2020-03-11 22:00:00 | 2.3753 | 177.7853 | 2.732 | 195.3667 | 3.2833 | 213.9 | 3.6473 | 214.6933 | 9.236 | 885 | 72.2393 | 0.55467
2020-03-11 22:15:00 | 1.5367 | 158.1847 | 1.77 | 173.8267 | 2.3413 | 189.8333 | 2.682 | 201.5867 | 9.2827 | 885 | 72.0273 | 0
2020-03-11 22:30:00 | 1.1289 | 142.3911 | 1.33 | 156.8625 | 1.925 | 178.2222 | 1.8022 | 199.4125 | 9.22 | 885 | 72.3067 | 0
2020-03-11 22:45:00 | 1.04 | 169.26 | 1.202 | 186 | 1.892 | 186.1 | 1.973 | 201.48 | 8.976 | 885 | 73.418 | 0
2020-03-11 23:00:00 | 0.55733 | 169.26 | 0.64667 | 186 | 0.99733 | 184.38 | 1.1767 | 192.72 | 8.932 | 885 | 73.398 | 0
2020-03-11 23:15:00 | 0.090667 | 169.008 | 0.10467 | 185.72 | 0.172 | 184.3 | 0.74667 | 190.3267 | 9.0047 | 885 | 72.7687 | 0
2020-03-11 23:30:00 | 0.37867 | 168.942 | 0.44 | 185.64 | 0.75 | 184.3 | 0.796 | 190.34 | 9.072 | 885 | 72.464 | 0
2020-03-11 23:45:00 | 0.376 | 168.91 | 0.44133 | 185.6 | 0.742 | 184.3 | 0.50733 | 190.3 | 8.9627 | 885 | 73.0133 | 0