## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-12 00:00:00 | 0.79429 | 168.9557 | 0.91857 | 185.6571 | 1.1957 | 184.3 | 1.0443 | 190.3 | 9.0421 | 885 | 72.7671 | 0.026429
2020-03-12 00:15:00 | 1.2853 | 169.1073 | 1.4853 | 185.8267 | 1.8693 | 184.4067 | 1.6587 | 194.6533 | 8.902 | 885 | 73.5553 | 0.55333
2020-03-12 00:30:00 | 1.7493 | 168.1327 | 2.02 | 184.76 | 2.3373 | 190.1133 | 2.4667 | 214.0133 | 8.684 | 885 | 74.846 | 1.456
2020-03-12 00:45:00 | 2.28 | 164.266 | 2.62 | 180.5067 | 3.0453 | 184.56 | 3.0027 | 192.28 | 8.3227 | 885 | 76.76 | 0.65667
2020-03-12 01:00:00 | 2.296 | 154.6427 | 2.6447 | 169.9333 | 2.908 | 178.5733 | 3.1013 | 177.1 | 7.9633 | 884.4 | 78.7273 | 0.16467
2020-03-12 01:15:00 | 2.3373 | 161.4293 | 2.6927 | 177.3933 | 3.1233 | 186.3267 | 3.344 | 182.64 | 7.726 | 884 | 80.8067 | 1.7533
2020-03-12 01:30:00 | 1.9793 | 167.3133 | 2.2827 | 183.86 | 2.804 | 193.8467 | 3.0307 | 196.7933 | 7.6727 | 884.6 | 81.8467 | 1.6313
2020-03-12 01:45:00 | 1.9887 | 170.78 | 2.2893 | 187.6667 | 2.4627 | 189.9733 | 2.8947 | 205.0667 | 7.596 | 884.7333 | 82.7933 | 1.0907
2020-03-12 02:00:00 | 2.5147 | 157.2287 | 2.9007 | 172.7667 | 3.2447 | 185.44 | 3.3687 | 192.7 | 7.6373 | 884 | 83.3933 | 1.336
2020-03-12 02:15:00 | 1.5587 | 170.634 | 1.802 | 187.5 | 2.2533 | 188.8667 | 2.43 | 207.9867 | 7.67 | 884 | 82.36 | 0.93267
2020-03-12 02:30:00 | 1.3107 | 161.008 | 1.5073 | 176.92 | 1.9067 | 179 | 1.8333 | 200.4067 | 7.8227 | 884 | 80.92 | 0.986
2020-03-12 02:45:00 | 0.858 | 160.9 | 0.986 | 176.8 | 1.5913 | 171.0533 | 1.5013 | 200.58 | 7.8767 | 884 | 80.5867 | 0.81133
2020-03-12 03:00:00 | 0.79067 | 158.132 | 0.912 | 173.76 | 1.3827 | 163.9667 | 1.202 | 206.4733 | 7.9667 | 884 | 80.3867 | 0.338
2020-03-12 03:15:00 | 1.6213 | 147.4773 | 1.87 | 162.0533 | 2.258 | 162 | 1.93 | 173.1067 | 7.914 | 884 | 81.1133 | 0.284
2020-03-12 03:30:00 | 0.96467 | 163.6813 | 1.1133 | 179.8733 | 1.7127 | 165.38 | 1.6667 | 165.7067 | 7.94 | 884 | 81.2533 | 0.052
2020-03-12 03:45:00 | 0.71133 | 163.34 | 0.818 | 179.5 | 1.4067 | 161.0267 | 1.1927 | 167.2 | 8.0673 | 884 | 80.7467 | 0.007333
2020-03-12 04:00:00 | 0.47333 | 148.284 | 0.54733 | 162.94 | 0.93267 | 153.6 | 0.602 | 167.2 | 8.17 | 884 | 80.1187 | 0
2020-03-12 04:15:00 | 0.019333 | 144.5413 | 0.022667 | 158.8267 | 0.012 | 153.6 | 0 | 167.2 | 8.104 | 884 | 80.404 | 0
2020-03-12 04:30:00 | 0.204 | 167.0707 | 0.23667 | 183.5933 | 0.18133 | 135.156 | 0.20467 | 191.0467 | 7.9573 | 884 | 81.04 | 0
2020-03-12 04:45:00 | 1.4453 | 276.128 | 1.6633 | 303.4267 | 2.1847 | 20.5007 | 1.9467 | 111.7287 | 7.7147 | 884 | 82.34 | 0
2020-03-12 05:00:00 | 2.45 | 256.9527 | 2.82 | 282.3667 | 3.0607 | 76.732 | 3.0653 | 19.1793 | 7.4107 | 884 | 83.2 | 0
2020-03-12 05:15:00 | 2.3513 | 271.0087 | 2.7127 | 297.804 | 3.0013 | 82.542 | 3.0593 | 19.078 | 7.4453 | 884 | 81.8933 | 0
2020-03-12 05:30:00 | 2.2113 | 241.4393 | 2.5413 | 265.316 | 3.1567 | 19.534 | 3.5087 | 32.5267 | 7.526 | 884 | 81.4333 | 0.053333
2020-03-12 05:45:00 | 1.796 | 319.6167 | 2.0713 | 351.22 | 2.9 | 17.0847 | 3.1907 | 35.0007 | 7.374 | 883.0667 | 81.88 | 0
2020-03-12 06:00:00 | 1.868 | 207.3507 | 2.1587 | 227.8533 | 2.4147 | 17.3733 | 2.6033 | 39.6073 | 7.3373 | 883 | 81.8467 | 0
2020-03-12 06:15:00 | 1.368 | 142.806 | 1.5787 | 156.92 | 2.1707 | 100.9267 | 2.7313 | 104.034 | 7.6173 | 883 | 80.052 | 0
2020-03-12 06:30:00 | 0.73769 | 258.1838 | 0.85308 | 283.7154 | 0.78923 | 93.0815 | 1.3723 | 142.8077 | 7.6062 | 883 | 79.8154 | 0
2020-03-12 06:45:00 | 2.0267 | 295.2627 | 2.3333 | 324.4667 | 1.8813 | 276.3973 | 1.484 | 296.6333 | 7.042 | 883 | 83.0133 | 0
2020-03-12 07:00:00 | 2.4567 | 289.8793 | 2.824 | 318.54 | 2.816 | 341.6467 | 2.5907 | 344.76 | 6.8233 | 883 | 84.3533 | 0
2020-03-12 07:15:00 | 2.2867 | 317.7173 | 2.6307 | 349.1333 | 2.8673 | 233.72 | 2.764 | 196.0373 | 6.984 | 883 | 83.6867 | 0
2020-03-12 07:30:00 | 1.828 | 311.6767 | 2.1073 | 342.4933 | 2.3353 | 192.2 | 2.2587 | 19.2107 | 7.068 | 883 | 82.7933 | 0
2020-03-12 07:45:00 | 1.4727 | 305.382 | 1.692 | 335.58 | 1.944 | 133.0353 | 1.8513 | 17.014 | 7.1673 | 883.2667 | 82.4267 | 0
2020-03-12 08:00:00 | 1.5213 | 170.356 | 1.7513 | 187.1947 | 2.6673 | 282.4167 | 2.7293 | 232.4353 | 7.4093 | 884 | 81.8067 | 0
2020-03-12 08:15:00 | 2.4373 | 254.9607 | 2.8033 | 280.172 | 3.5007 | 77.2473 | 3.4433 | 9.7207 | 7.2487 | 884 | 83.74 | 0.23267
2020-03-12 08:30:00 | 2.5853 | 316.454 | 2.9727 | 347.7467 | 3.2307 | 7.88 | 3.474 | 13.0707 | 7.5353 | 884.6 | 83.6467 | 0.70933
2020-03-12 08:45:00 | 2.3627 | 316.0653 | 2.718 | 347.1867 | 2.986 | 121.666 | 3.5633 | 18.626 | 8.2147 | 885 | 80.7007 | 0
2020-03-12 09:00:00 | 2.47 | 168.07 | 2.842 | 184.6927 | 2.994 | 8.6127 | 3.6553 | 34.5013 | 8.5913 | 885 | 78.6553 | 0
2020-03-12 09:15:00 | 2.6247 | 4.298 | 3.0213 | 4.7207 | 3.2993 | 13.5613 | 3.324 | 21.7173 | 8.652 | 885.9333 | 78.2127 | 0
2020-03-12 09:30:00 | 2.7033 | 5.43 | 3.1113 | 5.9633 | 3.172 | 19.394 | 3.152 | 17.572 | 9.0193 | 886 | 76.6013 | 0
2020-03-12 09:45:00 | 2.7373 | 116.5053 | 3.1513 | 128.0253 | 3.1993 | 20.0927 | 3.2873 | 22.6153 | 9.196 | 886 | 76.2867 | 0
2020-03-12 10:00:00 | 2.58 | 17.8013 | 2.97 | 19.5587 | 3.6 | 23.7567 | 3.5733 | 25.922 | 10.2653 | 886.6 | 73.018 | 0
2020-03-12 10:15:00 | 2.7627 | 36.8447 | 3.188 | 40.484 | 4.008 | 15.498 | 4.0347 | 25.27 | 10.5793 | 887 | 70.9667 | 0
2020-03-12 10:30:00 | 2.8467 | 118.4987 | 3.2733 | 130.21 | 3.7747 | 12.0073 | 3.7173 | 22.028 | 10.846 | 887 | 69.8233 | 0
2020-03-12 10:45:00 | 2.732 | 115.3967 | 3.1447 | 126.802 | 3.1887 | 13.058 | 3.0427 | 18.884 | 11.0067 | 887 | 68.1733 | 0
2020-03-12 11:00:00 | 3.1467 | 26.2393 | 3.6213 | 28.8333 | 3.8687 | 19.5613 | 3.9947 | 24.504 | 11.5953 | 887.6 | 66.0233 | 0
2020-03-12 11:15:00 | 3.1813 | 170.644 | 3.6647 | 187.5153 | 4.1647 | 17.9113 | 4.068 | 25.468 | 12.432 | 887.0667 | 62.376 | 0
2020-03-12 11:30:00 | 3.1407 | 72.642 | 3.6207 | 79.8273 | 4.3393 | 23.938 | 4.372 | 24.8687 | 12.2287 | 887 | 63.1907 | 0.52067
2020-03-12 11:45:00 | 3.9627 | 24.9253 | 4.5593 | 27.3893 | 5.42 | 17.3907 | 5.1173 | 23.924 | 13.2267 | 887 | 60.3173 | 1.966
2020-03-12 12:00:00 | 4.1227 | 13.9567 | 4.7453 | 15.3367 | 5.7307 | 14.6087 | 5.2607 | 28.376 | 13.6053 | 887 | 58.3247 | 2.518
2020-03-12 12:15:00 | 3.632 | 14.9113 | 4.1813 | 16.376 | 5.0073 | 17.8593 | 4.624 | 25.9693 | 13.7747 | 887 | 56.4607 | 0.97
2020-03-12 12:30:00 | 3.3907 | 59.9793 | 3.9053 | 65.9067 | 4.7653 | 19.688 | 4.4053 | 24.52 | 14.442 | 887 | 54.4833 | 1.2173
2020-03-12 12:45:00 | 3.8347 | 120.1687 | 4.4093 | 132.0533 | 5.6507 | 20.0153 | 5.2113 | 21.3113 | 15.1347 | 887 | 52.1767 | 1.4533
2020-03-12 13:00:00 | 3.7253 | 170.0373 | 4.288 | 186.8453 | 5.2513 | 17.9687 | 4.9313 | 19.8533 | 15.5673 | 886.4 | 50.4427 | 1.278
2020-03-12 13:15:00 | 3.0347 | 35.2207 | 3.502 | 38.6993 | 4.6333 | 24.5347 | 4.2187 | 27.93 | 15.8833 | 886 | 48.8967 | 1.688
2020-03-12 13:30:00 | 3.16 | 117.654 | 3.6427 | 129.2873 | 5.2013 | 16.24 | 4.8433 | 19.3753 | 15.9307 | 886 | 47.08 | 1.2967
2020-03-12 13:45:00 | 3.2813 | 106.522 | 3.7753 | 117.0567 | 5.698 | 73.842 | 5.298 | 25.9573 | 15.818 | 886 | 46.8273 | 1.124
2020-03-12 14:00:00 | 2.996 | 121.2513 | 3.4547 | 133.238 | 4.2347 | 127.09 | 4.0093 | 17.81 | 16.3193 | 886 | 45.3873 | 0
2020-03-12 14:15:00 | 2.8907 | 71.5767 | 3.3273 | 78.648 | 3.738 | 82.8313 | 3.4967 | 22.0467 | 15.7693 | 885.0667 | 46.6147 | 0.398
2020-03-12 14:30:00 | 3.194 | 217.1833 | 3.674 | 238.6667 | 4.9307 | 162.5547 | 4.8133 | 38.1627 | 17.012 | 885 | 44.2127 | 0.82
2020-03-12 14:45:00 | 2.81 | 185.2273 | 3.2293 | 203.54 | 4.414 | 31.8373 | 3.9907 | 29.1333 | 16.7693 | 885 | 44.7427 | 0.16467
2020-03-12 15:00:00 | 1.9513 | 227.4167 | 2.2493 | 249.9033 | 2.56 | 135.094 | 2.1093 | 148.2453 | 16.262 | 885 | 44.7627 | 1.118
2020-03-12 15:15:00 | 2.538 | 154.9513 | 2.918 | 170.2733 | 3.156 | 233.1933 | 3.286 | 242.6133 | 15.188 | 885 | 52.51 | 2.1927
2020-03-12 15:30:00 | 2.512 | 154.948 | 2.894 | 170.2667 | 3.1587 | 222.24 | 3.3527 | 231.8267 | 14.5773 | 885 | 55.2587 | 1.3013
2020-03-12 15:45:00 | 3.0667 | 182.4753 | 3.5313 | 200.5133 | 3.824 | 222.2067 | 3.8267 | 224.2267 | 14.1753 | 884.7333 | 56.3533 | 1.2893
2020-03-12 16:00:00 | 3.0187 | 163.9127 | 3.4733 | 180.12 | 3.6427 | 203.7333 | 3.538 | 210.04 | 13.7347 | 884 | 57.688 | 0.614
2020-03-12 16:15:00 | 2.5247 | 149.9513 | 2.906 | 164.78 | 2.9973 | 181.4933 | 2.6873 | 165.8467 | 13.6147 | 883.7333 | 57.7927 | 0
2020-03-12 16:30:00 | 2.1687 | 146.5113 | 2.496 | 160.9933 | 2.484 | 184.0933 | 2.3527 | 192.5667 | 14.0253 | 883 | 56.424 | 0
2020-03-12 16:45:00 | 3.534 | 164.0647 | 4.0653 | 180.2867 | 4.0967 | 201.48 | 4.1927 | 206.72 | 14.2153 | 883.9333 | 55.7167 | 1.9407
2020-03-12 17:00:00 | 3.378 | 166.6993 | 3.8893 | 183.18 | 4.0807 | 218.24 | 4.0113 | 231.7267 | 14.4273 | 884 | 55.0253 | 1.8573
2020-03-12 17:15:00 | 2.5933 | 161.296 | 2.9807 | 177.2467 | 3.306 | 204.8733 | 3.4033 | 210.86 | 14.294 | 884 | 55.0133 | 1.3993
2020-03-12 17:30:00 | 2.7127 | 181.144 | 3.1233 | 199.0533 | 3.57 | 228.3067 | 3.6893 | 234 | 14.016 | 884 | 56.3387 | 2.77
2020-03-12 17:45:00 | 3.1913 | 192.4227 | 3.6773 | 211.4533 | 4.1113 | 218.0333 | 4.1493 | 223.5067 | 14.07 | 884 | 56.2027 | 4.106
2020-03-12 18:00:00 | 3.47 | 178.392 | 3.9933 | 196.0333 | 4.3593 | 220.4667 | 4.4587 | 227.0733 | 13.6693 | 884 | 57.256 | 3.9193
2020-03-12 18:15:00 | 3.1113 | 162.616 | 3.5833 | 178.7 | 3.914 | 213.26 | 4.326 | 220.2133 | 13.436 | 884 | 58.3833 | 7.0107
2020-03-12 18:30:00 | 2.7787 | 167.612 | 3.1947 | 184.1867 | 3.6773 | 215.48 | 4.0667 | 224.9133 | 13.2493 | 884 | 59.4527 | 5.516
2020-03-12 18:45:00 | 2.512 | 178.3833 | 2.89 | 196.02 | 3.0893 | 215.5667 | 3.5453 | 218.8867 | 13.1533 | 884 | 58.976 | 3.7267
2020-03-12 19:00:00 | 2.6133 | 178.688 | 3.0087 | 196.3533 | 3.2213 | 205.4533 | 3.52 | 219.6667 | 13.02 | 884 | 59.2567 | 3.14
2020-03-12 19:15:00 | 2.8893 | 174.662 | 3.3287 | 191.9267 | 3.666 | 202.7133 | 3.7987 | 212.0733 | 12.8627 | 884 | 59.7367 | 3.648
2020-03-12 19:30:00 | 2.3987 | 160.106 | 2.758 | 175.9333 | 3.05 | 205.1267 | 3.0507 | 208.2267 | 12.908 | 884.6 | 59.218 | 1.5313
2020-03-12 19:45:00 | 1.814 | 164.076 | 2.0873 | 180.2933 | 2.496 | 207.98 | 2.616 | 211.9667 | 12.96 | 885 | 58.984 | 1.2907
2020-03-12 20:00:00 | 2.3973 | 177.8287 | 2.762 | 195.4133 | 3.11 | 204.1467 | 3.2633 | 202.52 | 12.796 | 885 | 59.6013 | 2.1707
2020-03-12 20:15:00 | 2.7973 | 173.7887 | 3.2167 | 190.9733 | 3.61 | 208.02 | 3.6367 | 213.4 | 12.7487 | 885.2667 | 60.2013 | 3.4307
2020-03-12 20:30:00 | 2.002 | 199.8433 | 2.3053 | 219.6067 | 3.058 | 231.1867 | 3.4473 | 239.3933 | 12.5373 | 886 | 62.0553 | 3.292
2020-03-12 20:45:00 | 2.3127 | 182.48 | 2.662 | 200.5267 | 4.0713 | 248.4667 | 4.4633 | 255.54 | 12.2313 | 886.2667 | 64.3633 | 1.9867
2020-03-12 21:00:00 | 1.6793 | 242.9207 | 1.9373 | 266.94 | 3.182 | 259.68 | 3.4873 | 263.5 | 12.1247 | 887 | 64.816 | 0.196
2020-03-12 21:15:00 | 1.1807 | 185.6667 | 1.3687 | 204.0267 | 2.22 | 236.1 | 2.4833 | 245.92 | 12.214 | 887 | 63.5833 | 0
2020-03-12 21:30:00 | 1.2327 | 133.5573 | 1.4233 | 146.7667 | 1.9193 | 195.9467 | 2.7287 | 216.58 | 12.1647 | 887 | 64.6513 | 0
2020-03-12 21:45:00 | 1.7013 | 148.7413 | 1.964 | 163.4467 | 2.4013 | 189.1 | 2.89 | 209.54 | 11.968 | 887.2667 | 65.6547 | 0
2020-03-12 22:00:00 | 1.9547 | 151.46 | 2.2547 | 166.4333 | 2.5567 | 174.36 | 2.636 | 188.0067 | 11.8067 | 888 | 66.4473 | 0
2020-03-12 22:15:00 | 0.55267 | 145.714 | 0.642 | 160.12 | 0.95667 | 172.8933 | 1.4567 | 209.9733 | 12.018 | 888 | 65.524 | 0
2020-03-12 22:30:00 | 0.55267 | 145.714 | 0.642 | 160.12 | 0.95667 | 172.8933 | 1.4567 | 209.9733 | 12.018 | 888 | 65.524 | 0
2020-03-12 22:45:00 | 0.48556 | 141.69 | 0.56222 | 155.7 | 0.95778 | 172.5222 | 0.92111 | 190.7 | 12.0644 | 888 | 65.4567 | 0
2020-03-12 23:00:00 | 0.92667 | 183.5167 | 1.0727 | 201.6567 | 1.214 | 103.952 | 0.98733 | 92.9033 | 11.9467 | 888 | 65.992 | 0
2020-03-12 23:15:00 | 2.0313 | 309.0253 | 2.342 | 339.5867 | 2.9353 | 7.9367 | 2.8353 | 26.418 | 11.2427 | 888 | 68.696 | 0
2020-03-12 23:30:00 | 2.2933 | 309.1713 | 2.6373 | 339.7467 | 3.2593 | 12.592 | 3.3733 | 27.9153 | 10.92 | 888 | 69.8593 | 0.666
2020-03-12 23:45:00 | 2.5167 | 276.9773 | 2.904 | 304.364 | 3.7087 | 17.0833 | 4.278 | 20.256 | 10.986 | 888.2667 | 69.8673 | 4.6967