## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-13 00:00:00 | 2.6921 | 199.2679 | 3.0971 | 218.9636 | 4.7457 | 9.5607 | 5.1271 | 16.6764 | 10.865 | 889 | 70.6921 | 7.9693
2020-03-13 00:15:00 | 2.7293 | 89.888 | 3.1433 | 98.7707 | 5.234 | 11.406 | 5.2633 | 14.8487 | 10.7607 | 889 | 71.2887 | 11.0567
2020-03-13 00:30:00 | 3.4013 | 131.3847 | 3.912 | 144.38 | 6.634 | 15.0373 | 7.03 | 25.5673 | 10.606 | 889 | 72.044 | 25.998
2020-03-13 00:45:00 | 4.202 | 76.4333 | 4.8407 | 83.9833 | 7.6687 | 8.9513 | 7.6733 | 17.7387 | 10.4933 | 889 | 72.5613 | 34.3553
2020-03-13 01:00:00 | 4.1913 | 188.7907 | 4.826 | 207.452 | 7.9873 | 15.48 | 8.576 | 25.2007 | 10.304 | 889 | 73.5073 | 43.624
2020-03-13 01:15:00 | 4.4793 | 219.5879 | 5.1586 | 241.3 | 8.5993 | 19.9421 | 9.5471 | 23.3193 | 10.1736 | 889 | 73.8836 | 50.2513
2020-03-13 01:30:00 | 4.7933 | 150.76 | 5.516 | 165.6667 | 9.1687 | 17.8067 | 10.1827 | 28.028 | 10.4347 | 889.6 | 72.1673 | 51.658
2020-03-13 01:45:00 | 5.4193 | 227.9913 | 6.2433 | 250.5367 | 10.2233 | 20.198 | 10.896 | 28.812 | 10.6753 | 889.7333 | 70.202 | 56.766
2020-03-13 02:00:00 | 5.956 | 262.5387 | 6.8507 | 288.5 | 10.95 | 14.9407 | 11.2387 | 28.03 | 10.8193 | 889 | 65.6467 | 57.4053
2020-03-13 02:15:00 | 5.966 | 85.292 | 6.862 | 93.7193 | 10.882 | 12.6173 | 11.234 | 22.8747 | 10.7913 | 889 | 59.668 | 56.6953
2020-03-13 02:30:00 | 6.4927 | 177.9587 | 7.466 | 195.5573 | 11.9993 | 12.62 | 12.1767 | 22.8267 | 11.052 | 889 | 52.9347 | 56.0587
2020-03-13 02:45:00 | 6.46 | 157.5287 | 7.4327 | 173.1067 | 11.832 | 18.608 | 12.158 | 23.3433 | 11.5087 | 889.2667 | 45.994 | 53.878
2020-03-13 03:00:00 | 5.9233 | 80.1627 | 6.818 | 88.0893 | 10.6867 | 16.8453 | 10.56 | 13.6747 | 11.612 | 890 | 44.4887 | 53.9227
2020-03-13 03:15:00 | 5.5793 | 227.7273 | 6.42 | 250.2473 | 10.316 | 14.792 | 10.4287 | 19.5713 | 11.4767 | 889.7333 | 43.5107 | 51.586
2020-03-13 03:30:00 | 5.982 | 168.5553 | 6.88 | 185.218 | 11.0773 | 20.7993 | 11.398 | 23.2033 | 11.3887 | 889.6 | 41.7507 | 53.6893
2020-03-13 03:45:00 | 6.2393 | 179.9787 | 7.1793 | 197.7753 | 11.6487 | 14.904 | 11.4673 | 23.8267 | 11.504 | 890 | 39.5433 | 55.4987
2020-03-13 04:00:00 | 7.5 | 120.327 | 8.63 | 132.23 | 13.517 | 7.993 | 13.411 | 17.806 | 11.737 | 890 | 36.911 | 56.05
2020-03-13 04:15:00 | 7.516 | 176.7913 | 8.6473 | 194.27 | 13.6847 | 11.8607 | 13.7727 | 22.618 | 11.9647 | 890 | 33.9273 | 53.6913
2020-03-13 04:30:00 | 6.3773 | 210.0727 | 7.344 | 230.8467 | 11.916 | 15.1033 | 12.3473 | 19.0787 | 11.898 | 890 | 33.688 | 52.934
2020-03-13 04:45:00 | 6.0013 | 233.9247 | 6.9047 | 257.0533 | 11.1267 | 20.064 | 11.746 | 33.158 | 11.796 | 890 | 34.1087 | 51.43
2020-03-13 05:00:00 | 6.5547 | 152.95 | 7.544 | 168.0707 | 11.6373 | 29.06 | 12.3733 | 26.7587 | 11.7553 | 890 | 33.52 | 49.2633
2020-03-13 05:15:00 | 6.644 | 220.816 | 7.6453 | 242.6533 | 11.6153 | 23.612 | 11.8527 | 31.2133 | 11.796 | 890 | 32.2593 | 48.266
2020-03-13 05:30:00 | 6.698 | 174.378 | 7.7073 | 191.6233 | 11.75 | 17.3433 | 12.0307 | 34.268 | 11.7933 | 890 | 31.4533 | 49.198
2020-03-13 05:45:00 | 6.9533 | 210.32 | 8.002 | 231.1133 | 12.1747 | 24.2913 | 12.5493 | 27.4067 | 11.6807 | 890 | 31.4387 | 50.1027
2020-03-13 06:00:00 | 6.8307 | 120.2853 | 7.8607 | 132.18 | 12.0273 | 17.7207 | 12.2313 | 27.2127 | 11.636 | 890 | 31.1333 | 51.0807
2020-03-13 06:15:00 | 7.1493 | 200.9387 | 8.2293 | 220.8133 | 12.7767 | 20.564 | 12.8507 | 24.158 | 11.4853 | 890.2667 | 31.5787 | 52.9893
2020-03-13 06:30:00 | 6.6693 | 127.3327 | 7.674 | 139.926 | 12.1447 | 14.4493 | 12.3867 | 22.2593 | 11.4027 | 891 | 31.252 | 52.6693
2020-03-13 06:45:00 | 6.6273 | 139.2407 | 7.624 | 153.0053 | 12.2127 | 12.4167 | 12.218 | 24.372 | 11.33 | 891 | 31.3287 | 53.5787
2020-03-13 07:00:00 | 6.972 | 118.1453 | 8.0187 | 129.8293 | 12.6773 | 12.0033 | 12.672 | 26.8487 | 11.2167 | 891 | 31.348 | 55.52
2020-03-13 07:15:00 | 7.54 | 131.7513 | 8.6793 | 144.78 | 13.3907 | 24.586 | 13.508 | 33.0907 | 11.1427 | 891 | 31.234 | 55.1313
2020-03-13 07:30:00 | 7.3447 | 270.6493 | 8.45 | 297.4133 | 12.8993 | 18.074 | 13.2973 | 30.968 | 11.056 | 891.6 | 31.038 | 55.7807
2020-03-13 07:45:00 | 8.0807 | 87.1047 | 9.2967 | 95.72 | 13.8587 | 25.1307 | 14.5853 | 36.1253 | 10.968 | 892 | 30.5387 | 56.3993
2020-03-13 08:00:00 | 8.1893 | 133.1433 | 9.424 | 146.3087 | 14.214 | 25.084 | 14.9573 | 38.9487 | 10.868 | 892 | 30.3653 | 56.858
2020-03-13 08:15:00 | 8.73 | 27.0033 | 10.0467 | 29.676 | 15.2987 | 14.8007 | 15.6127 | 26.616 | 10.722 | 892 | 30.266 | 59.534
2020-03-13 08:30:00 | 8.8087 | 137.5407 | 10.138 | 151.142 | 15.3687 | 17.6247 | 15.6107 | 34.466 | 10.6107 | 892 | 30.2853 | 59.708
2020-03-13 08:45:00 | 9.0067 | 268.8673 | 10.3627 | 295.46 | 15.882 | 13.5353 | 15.6413 | 19.7313 | 10.5053 | 892 | 30.5187 | 60.2093
2020-03-13 09:00:00 | 8.974 | 168.8347 | 10.3273 | 185.5267 | 16.1893 | 7.4033 | 16.0167 | 18.8707 | 10.442 | 892.6 | 30.4813 | 59.2707
2020-03-13 09:15:00 | 9.658 | 115.3993 | 11.1093 | 126.8033 | 17.29 | 93.6307 | 16.8707 | 17.3547 | 10.378 | 893 | 30.8773 | 58.944
2020-03-13 09:30:00 | 9.484 | 162.7633 | 10.908 | 178.8533 | 17.2487 | 12.3033 | 17.0353 | 24.8753 | 10.356 | 893 | 31.034 | 59.5547
2020-03-13 09:45:00 | 9.7213 | 274.3507 | 11.1887 | 301.48 | 17.4873 | 9.9847 | 17.4613 | 24.282 | 10.3347 | 893 | 31.4993 | 58.846
2020-03-13 10:00:00 | 8.9573 | 296.4193 | 10.3133 | 325.7267 | 16.1007 | 14.5293 | 16.1027 | 23.2727 | 10.3493 | 893.6 | 31.74 | 58.5807
2020-03-13 10:15:00 | 8.884 | 168.4087 | 10.2213 | 185.06 | 16.1207 | 12.3507 | 15.9873 | 21.478 | 10.4407 | 894 | 32.076 | 58.4587
2020-03-13 10:30:00 | 8.5267 | 252.966 | 9.816 | 277.98 | 15.298 | 9.7367 | 14.8907 | 16.5493 | 10.6007 | 894 | 32.0467 | 58.304
2020-03-13 10:45:00 | 8.488 | 229.8887 | 9.7653 | 252.62 | 15.2833 | 14.7747 | 15.1547 | 21.9353 | 10.842 | 894.2667 | 32.162 | 59.086
2020-03-13 11:00:00 | 8.4533 | 113.3987 | 9.728 | 124.61 | 15.3627 | 14.3447 | 15.1467 | 22.884 | 11.0407 | 895 | 32.5693 | 58.5073
2020-03-13 11:15:00 | 8.284 | 241.7667 | 9.5407 | 265.6667 | 14.7073 | 15.1653 | 14.8513 | 25.014 | 11.2413 | 895 | 32.5813 | 57.162
2020-03-13 11:30:00 | 7.8833 | 119.6833 | 9.076 | 131.5167 | 13.9807 | 10.482 | 14.1013 | 25.9973 | 11.302 | 895 | 32.4553 | 56.8173
2020-03-13 11:45:00 | 8.2973 | 193.4847 | 9.542 | 212.62 | 14.844 | 10.4947 | 14.5027 | 22.2773 | 11.2847 | 895 | 32.702 | 56.15
2020-03-13 12:00:00 | 7.9447 | 142.4893 | 9.142 | 156.5767 | 13.894 | 14.058 | 13.7853 | 20.3753 | 11.3747 | 895 | 32.5553 | 53.232
2020-03-13 12:15:00 | 7.5733 | 177.9367 | 8.7093 | 195.5267 | 13.4747 | 17.3353 | 13.1427 | 13.9107 | 11.7327 | 895 | 32.9213 | 49.1013
2020-03-13 12:30:00 | 6.8847 | 178.914 | 7.92 | 196.6 | 12.0753 | 7.5893 | 12.04 | 19.1533 | 12.3227 | 895 | 32.11 | 45.684
2020-03-13 12:45:00 | 7.0433 | 235.1047 | 8.1073 | 258.3547 | 12.3413 | 19.3747 | 12.398 | 20.1387 | 13.0413 | 894.7333 | 31.0527 | 43.562
2020-03-13 13:00:00 | 7.3047 | 215.3087 | 8.4027 | 236.5987 | 12.694 | 127.412 | 12.5807 | 22.782 | 13.61 | 894.6 | 29.7347 | 40.8373
2020-03-13 13:15:00 | 6.8827 | 242.5807 | 7.9187 | 266.5667 | 11.81 | 19.5087 | 11.436 | 24.096 | 14.3413 | 894.0667 | 29.3607 | 40.1907
2020-03-13 13:30:00 | 6.1087 | 143.434 | 7.0347 | 157.6133 | 10.7427 | 14.21 | 10.32 | 22.1313 | 14.818 | 894 | 29.108 | 35.7793
2020-03-13 13:45:00 | 5.764 | 78.3633 | 6.6333 | 86.1107 | 10.0367 | 14.3127 | 9.5067 | 22.39 | 14.6587 | 894.6667 | 29.38 | 31.6973
2020-03-13 14:00:00 | 4.8833 | 236.7893 | 5.6193 | 260.2047 | 8.5913 | 17.0207 | 8.16 | 19.8113 | 14.6393 | 894 | 29.6167 | 25.9527
2020-03-13 14:15:00 | 4.586 | 217.7613 | 5.278 | 239.2933 | 7.8233 | 15.4213 | 7.724 | 20.8687 | 14.9407 | 894 | 29.09 | 17.5113
2020-03-13 14:30:00 | 5.1973 | 162.1213 | 5.986 | 178.1553 | 9.1367 | 21.0347 | 8.7653 | 20.0587 | 16.6093 | 894 | 26.652 | 21.9107
2020-03-13 14:45:00 | 5.608 | 119.1787 | 6.4487 | 130.9627 | 9.3313 | 19.152 | 9.0333 | 31.7933 | 17.2133 | 893.3333 | 25.5747 | 26.474
2020-03-13 15:00:00 | 6.1586 | 120.3643 | 7.0879 | 132.26 | 10.56 | 16.2393 | 10.355 | 28.3593 | 17.4986 | 893.4286 | 25.4779 | 33.5033
2020-03-13 15:15:00 | 6.336 | 142.5087 | 7.2867 | 156.596 | 11.1887 | 11.8147 | 10.7967 | 18.8987 | 17.9813 | 893 | 25.2767 | 30.91
2020-03-13 15:30:00 | 5.9093 | 191.4913 | 6.7987 | 210.4233 | 10.52 | 17.394 | 10.178 | 18.4207 | 18.298 | 893 | 24.694 | 30.308
2020-03-13 15:45:00 | 5.842 | 240.0427 | 6.7227 | 263.78 | 10.0507 | 13.582 | 9.4947 | 21.8973 | 18.058 | 893 | 24.5747 | 30.508
2020-03-13 16:00:00 | 5.5367 | 187.4233 | 6.366 | 205.9533 | 10.0433 | 16.1173 | 9.7713 | 20.78 | 17.7473 | 893 | 25.1487 | 30.11
2020-03-13 16:15:00 | 5.3093 | 293.3187 | 6.1067 | 322.32 | 9.3007 | 17.712 | 8.8373 | 27.2567 | 18.032 | 893 | 25.058 | 26.0347
2020-03-13 16:30:00 | 5.1813 | 239.8067 | 5.9673 | 263.5227 | 9.32 | 20.1533 | 8.8953 | 18.882 | 17.8173 | 893 | 25.3 | 25.84
2020-03-13 16:45:00 | 5.3927 | 180.7373 | 6.2067 | 198.6067 | 9.648 | 28.206 | 9.4847 | 19.5053 | 17.1913 | 893 | 25.9187 | 25.53
2020-03-13 17:00:00 | 4.656 | 218.41 | 5.3553 | 240.0067 | 8.3447 | 14.6327 | 8.0687 | 22.7247 | 17.0333 | 893 | 26.532 | 18.772
2020-03-13 17:15:00 | 4.686 | 164.7807 | 5.3907 | 181.07 | 8.4333 | 16.006 | 8.0013 | 9.912 | 16.8947 | 893 | 26.748 | 20.6813
2020-03-13 17:30:00 | 4.3853 | 118.0547 | 5.0553 | 129.7307 | 7.6827 | 8.2927 | 7.546 | 15.0847 | 16.434 | 893 | 27.0107 | 19.9867
2020-03-13 17:45:00 | 3.6447 | 144.0447 | 4.1933 | 158.2847 | 6.5167 | 24.414 | 6.3333 | 22.9833 | 15.7773 | 893 | 27.4507 | 19.0853
2020-03-13 18:00:00 | 4.5467 | 213.9607 | 5.2307 | 235.116 | 7.834 | 4.9107 | 7.542 | 12.366 | 14.8707 | 893 | 28.244 | 21.3507
2020-03-13 18:15:00 | 4.3747 | 140.918 | 5.0327 | 154.852 | 7.6133 | 20.796 | 7.4093 | 16.608 | 14.4907 | 893 | 27.1913 | 21.698
2020-03-13 18:30:00 | 3.9747 | 85.3833 | 4.5693 | 93.8233 | 7.28 | 16.9367 | 6.972 | 27.3993 | 14.0973 | 893 | 27.6053 | 18.0587
2020-03-13 18:45:00 | 3.616 | 189.0147 | 4.1627 | 207.7067 | 6.8913 | 14.1347 | 7.0007 | 30.5313 | 13.946 | 892.3333 | 27.3647 | 15.8273
2020-03-13 19:00:00 | 3.1653 | 122.4933 | 3.65 | 134.6 | 5.878 | 14.6467 | 5.8567 | 32.674 | 13.7813 | 893 | 27.0553 | 13.6013
2020-03-13 19:15:00 | 2.8027 | 203.53 | 3.2267 | 223.66 | 5.2527 | 35.1707 | 4.5967 | 31.97 | 13.6547 | 893 | 26.9307 | 9.2207
2020-03-13 19:30:00 | 1.9113 | 250.8287 | 2.2027 | 275.6333 | 3.6567 | 37.2413 | 2.9973 | 29.5613 | 13.7273 | 893 | 26.4333 | 7.734
2020-03-13 19:45:00 | 1.326 | 167.9967 | 1.536 | 184.6053 | 2.5887 | 30.672 | 2.1067 | 49.7353 | 13.846 | 893 | 25.9487 | 4.1633
2020-03-13 20:00:00 | 0.786 | 121.6107 | 0.90733 | 133.6373 | 1.512 | 49.5987 | 1.7173 | 68.2747 | 14.154 | 893 | 24.8733 | 0.39933
2020-03-13 20:15:00 | 1.266 | 55.1293 | 1.464 | 60.5773 | 2.3193 | 68.764 | 2.7967 | 66.764 | 14.1827 | 893 | 25.004 | 1.1147
2020-03-13 20:30:00 | 1.6807 | 129.5813 | 1.9347 | 142.3933 | 2.3 | 143.2093 | 2.1973 | 147.0353 | 14.198 | 893.6 | 27.0647 | 1.9367
2020-03-13 20:45:00 | 4.8627 | 160.75 | 5.5953 | 176.64 | 5.7513 | 190.4333 | 6.0147 | 193.6933 | 13.0167 | 894 | 38.8373 | 7.8573
2020-03-13 21:00:00 | 4.8 | 162.4587 | 5.5287 | 178.52 | 5.426 | 185.72 | 5.988 | 192.0333 | 12.5227 | 894 | 43.2707 | 11.5513
2020-03-13 21:15:00 | 4.644 | 150.0833 | 5.3407 | 164.92 | 5.2313 | 170.14 | 5.402 | 183.9467 | 12.082 | 894 | 45.8793 | 6.9133
2020-03-13 21:30:00 | 3.976 | 152.454 | 4.5793 | 167.5267 | 4.6753 | 181.1867 | 4.982 | 182.8867 | 11.618 | 894.6 | 47.9387 | 6.8193
2020-03-13 21:45:00 | 3.7473 | 156.408 | 4.3127 | 171.8733 | 4.5267 | 188.1667 | 4.5547 | 200 | 11.3013 | 895 | 49.088 | 12.4993
2020-03-13 22:00:00 | 3.9133 | 177.4907 | 4.5007 | 195.04 | 5.096 | 215.5333 | 5.4007 | 218.98 | 10.854 | 895 | 51.3227 | 14.96
2020-03-13 22:15:00 | 3.9413 | 174.7633 | 4.5393 | 192.0467 | 4.7813 | 210.4467 | 4.9767 | 210.0467 | 10.5927 | 895 | 53.702 | 11.4613
2020-03-13 22:30:00 | 3.588 | 165.436 | 4.132 | 181.8 | 4.308 | 195.04 | 4.446 | 209.82 | 10.54 | 895 | 54.29 | 8.154
2020-03-13 22:45:00 | 3.034 | 158.096 | 3.49 | 173.72 | 3.706 | 204.94 | 3.742 | 193.46 | 10.394 | 894.2 | 55.28 | 6.106
2020-03-13 23:00:00 | 3.0813 | 163.344 | 3.5433 | 179.5 | 3.6347 | 184.9733 | 3.7407 | 187.5067 | 10.2147 | 894.6 | 56.6527 | 4.136
2020-03-13 23:15:00 | 2.8353 | 154.3113 | 3.262 | 169.5667 | 3.392 | 187.4133 | 3.5487 | 193.4267 | 10.1207 | 895 | 57.7247 | 3.1427
2020-03-13 23:30:00 | 2.312 | 157.96 | 2.6573 | 173.58 | 2.9687 | 187.2333 | 3.0453 | 201.3533 | 10.022 | 895 | 58.9127 | 1.922
2020-03-13 23:45:00 | 2.3027 | 156.6727 | 2.6487 | 172.1667 | 2.902 | 182.04 | 2.9693 | 185.3267 | 9.968 | 895 | 59.852 | 0.61133