## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-14 00:00:00 | 2.47 | 161.9307 | 2.8436 | 177.9429 | 3.2521 | 181.3143 | 3.0979 | 182.8071 | 9.9664 | 895 | 60.541 | 0
2020-03-14 00:15:00 | 2.1267 | 163.8967 | 2.4473 | 180.1 | 2.95 | 176.92 | 3.054 | 174.42 | 10.0113 | 895 | 60.574 | 0
2020-03-14 00:30:00 | 2.2453 | 166.8173 | 2.5827 | 183.3067 | 2.888 | 181.2533 | 3.024 | 177.0133 | 10.18 | 894.4 | 59.432 | 0
2020-03-14 00:45:00 | 2.1933 | 169.6733 | 2.52 | 186.4467 | 2.7833 | 187.9733 | 2.7813 | 183.0867 | 10.1393 | 894 | 59.6713 | 0
2020-03-14 01:00:00 | 2.1507 | 169.6907 | 2.4773 | 186.4667 | 2.8053 | 193.4867 | 2.7333 | 202.9867 | 9.9787 | 894 | 61.486 | 0
2020-03-14 01:15:00 | 1.1653 | 177.3627 | 1.3427 | 194.9 | 1.8127 | 197.3133 | 2.0127 | 198.76 | 10.0113 | 894 | 61.8787 | 0
2020-03-14 01:30:00 | 0.812 | 186.46 | 0.93533 | 204.9 | 1.5253 | 190.1933 | 1.662 | 198.6 | 10.0513 | 894 | 61.8507 | 0
2020-03-14 01:45:00 | 0.72267 | 184.7053 | 0.83333 | 202.9667 | 1.3613 | 184.8267 | 1.4913 | 198.3333 | 10.0967 | 894 | 61.7853 | 0
2020-03-14 02:00:00 | 0.43267 | 184.28 | 0.50467 | 202.5 | 0.85667 | 184.9 | 0.83067 | 198.16 | 10.0987 | 894 | 61.6293 | 0
2020-03-14 02:15:00 | 0 | 184.28 | 0 | 202.5 | 0 | 184.9 | 0 | 198.2 | 9.9047 | 894 | 59.9473 | 0
2020-03-14 02:30:00 | 0.19733 | 191.876 | 0.228 | 210.8467 | 0.384 | 184.9 | 0 | 176.2507 | 10.0207 | 894 | 60.3447 | 0
2020-03-14 02:45:00 | 0.48467 | 261.0087 | 0.56067 | 286.8133 | 0.72067 | 76.244 | 0.87067 | 33.8013 | 9.8627 | 894 | 62.088 | 0
2020-03-14 03:00:00 | 1.344 | 314.168 | 1.552 | 345.2333 | 1.8227 | 56.5027 | 1.5807 | 64.058 | 9.4607 | 894 | 61.388 | 0
2020-03-14 03:15:00 | 1.3413 | 294.592 | 1.5493 | 323.7267 | 1.984 | 330.4267 | 1.7367 | 335.3733 | 9.2633 | 893.0667 | 61.6067 | 0
2020-03-14 03:30:00 | 1.8593 | 275.2533 | 2.1427 | 302.4693 | 2.2753 | 326.86 | 1.97 | 326.72 | 9.4427 | 893 | 60.5533 | 0
2020-03-14 03:45:00 | 1.4973 | 217.7287 | 1.732 | 239.2607 | 2.0687 | 344.1333 | 2.26 | 334.9467 | 9.3113 | 893 | 61.0093 | 0
2020-03-14 04:00:00 | 1.7613 | 128.282 | 2.0327 | 164.6333 | 2.3813 | 206.5673 | 2.6553 | 177.472 | 9.2467 | 893 | 61.2873 | 0
2020-03-14 04:15:00 | 1.7613 | 128.282 | 2.0327 | 164.6333 | 2.3813 | 206.5673 | 2.6553 | 177.472 | 9.2467 | 893 | 61.2873 | 0
2020-03-14 04:30:00 | 1.7613 | 128.282 | 2.0327 | 164.6333 | 2.3813 | 206.5673 | 2.6553 | 177.472 | 9.2467 | 893 | 61.2873 | 0
2020-03-14 04:45:00 | 1.7613 | 128.282 | 2.0327 | 164.6333 | 2.3813 | 206.5673 | 2.6553 | 177.472 | 9.2467 | 893 | 61.2873 | 0
2020-03-14 05:00:00 | 1.7613 | 128.282 | 2.0327 | 164.6333 | 2.3813 | 206.5673 | 2.6553 | 177.472 | 9.2467 | 893 | 61.2873 | 0
2020-03-14 05:15:00 | 2.692 | 299.1033 | 3.0993 | 328.68 | 5.1647 | 7.246 | 4.89 | 9.4813 | 7.0927 | 892 | 65.0873 | 8.816
2020-03-14 05:30:00 | 2.692 | 299.1033 | 3.0993 | 328.68 | 5.1647 | 7.246 | 4.89 | 9.4813 | 7.0927 | 892 | 65.0873 | 8.816
2020-03-14 05:45:00 | 2.692 | 299.1033 | 3.0993 | 328.68 | 5.1647 | 7.246 | 4.89 | 9.4813 | 7.0927 | 892 | 65.0873 | 8.816
2020-03-14 06:00:00 | 2.692 | 299.1033 | 3.0993 | 328.68 | 5.1647 | 7.246 | 4.89 | 9.4813 | 7.0927 | 892 | 65.0873 | 8.816
2020-03-14 06:15:00 | 2.692 | 299.1033 | 3.0993 | 328.68 | 5.1647 | 7.246 | 4.89 | 9.4813 | 7.0927 | 892 | 65.0873 | 8.816
2020-03-14 06:30:00 | 2.9187 | 93.7813 | 3.3593 | 103.0487 | 5.2467 | 119.6507 | 4.7887 | 9.6127 | 7.0627 | 892 | 65.7253 | 10.6613
2020-03-14 06:45:00 | 2.8547 | 107.78 | 3.286 | 118.432 | 5.1573 | 4.036 | 4.768 | 11.6187 | 7.05 | 892 | 66.2793 | 11.9647
2020-03-14 07:00:00 | 3.0667 | 160.5707 | 3.5327 | 176.4447 | 5.5627 | 49.4013 | 5.2973 | 51.7587 | 6.952 | 892 | 66.98 | 11.8407
2020-03-14 07:15:00 | 3.3833 | 245.644 | 3.89 | 269.9347 | 5.7993 | 184.9273 | 5.4487 | 101.586 | 7.11 | 892 | 66.572 | 16.4327
2020-03-14 07:30:00 | 3.6207 | 166.0267 | 4.166 | 182.4453 | 5.8447 | 160.9027 | 5.66 | 13.28 | 7.2453 | 892 | 66.3607 | 17.824
2020-03-14 07:45:00 | 3.968 | 204.7807 | 4.5687 | 225.0307 | 6.5033 | 296.7387 | 6.4767 | 16.5 | 7.2113 | 892.2667 | 67.006 | 20.1447
2020-03-14 08:00:00 | 4.0927 | 158.6987 | 4.71 | 174.3973 | 6.7573 | 7.6493 | 6.7213 | 13.508 | 7.3133 | 893 | 66.524 | 26.85
2020-03-14 08:15:00 | 4.3 | 169.3347 | 4.9427 | 186.0807 | 6.6107 | 58.7487 | 6.8167 | 7.5767 | 7.4373 | 893 | 66.51 | 30.886
2020-03-14 08:30:00 | 4.39 | 202.6307 | 5.0467 | 222.6653 | 6.402 | 304.5053 | 6.1787 | 7.7033 | 7.5347 | 893 | 66.3953 | 33.3587
2020-03-14 08:45:00 | 3.6627 | 205.0767 | 4.2153 | 225.3593 | 6.0513 | 132.5247 | 6.2053 | 7.998 | 7.8193 | 893.2667 | 66.2513 | 31.4373
2020-03-14 09:00:00 | 4.086 | 41.272 | 4.7013 | 45.3447 | 6.8473 | 8.5853 | 7.1073 | 14.642 | 8.15 | 894 | 65.066 | 32.37
2020-03-14 09:15:00 | 4.2767 | 290.1 | 4.9213 | 318.7933 | 7.0193 | 11.258 | 7.0007 | 15.7653 | 8.5273 | 894 | 63.3907 | 32.8367
2020-03-14 09:30:00 | 4.6673 | 142.5633 | 5.3647 | 156.6633 | 7.6873 | 10.0067 | 7.8147 | 13.742 | 8.8273 | 894 | 62.136 | 31.1013
2020-03-14 09:45:00 | 4.5353 | 145.114 | 5.2173 | 159.4567 | 7.9567 | 9.5947 | 8.0373 | 14.0567 | 9.0787 | 894 | 61.5707 | 27.488
2020-03-14 10:00:00 | 4.528 | 293.9973 | 5.21 | 323.0667 | 7.768 | 14.674 | 7.6813 | 12.7527 | 9.424 | 894.6 | 59.9907 | 22.8367
2020-03-14 10:15:00 | 3.8867 | 104.798 | 4.4767 | 115.1567 | 6.9293 | 15.186 | 6.7967 | 9.098 | 9.6887 | 895 | 59.44 | 18.52
2020-03-14 10:30:00 | 3.8807 | 105.7793 | 4.4647 | 116.2367 | 6.4247 | 4.7427 | 6.4373 | 13.1987 | 9.62 | 895 | 59.0753 | 13.6927
2020-03-14 10:45:00 | 3.3413 | 207.2547 | 3.8467 | 227.7467 | 5.9833 | 10.112 | 5.6447 | 13.106 | 9.942 | 895 | 59.4913 | 11.0253
2020-03-14 11:00:00 | 3.5873 | 211.8727 | 4.1287 | 232.8267 | 6.1013 | 12.3773 | 5.6813 | 12.9613 | 10.1447 | 895 | 58.496 | 9.238
2020-03-14 11:15:00 | 3.2293 | 71.0433 | 3.714 | 78.0607 | 5.7307 | 11.1353 | 5.2333 | 10.4293 | 10.566 | 895 | 57.996 | 9.3727
2020-03-14 11:30:00 | 3.4347 | 126.6067 | 3.958 | 139.128 | 6.046 | 14.3407 | 5.6133 | 10.0973 | 11.1527 | 895 | 56.46 | 9.5813
2020-03-14 11:45:00 | 3.8407 | 123.2573 | 4.4233 | 135.4407 | 6.1833 | 8.8493 | 5.8853 | 14.104 | 11.5207 | 895 | 54.4133 | 10.3007
2020-03-14 12:00:00 | 3.7427 | 105.1593 | 4.3047 | 115.5513 | 5.764 | 10.0413 | 5.5913 | 16.3927 | 11.948 | 895 | 53.084 | 8.164
2020-03-14 12:15:00 | 3.676 | 112.904 | 4.2273 | 124.0653 | 5.3393 | 12.4593 | 5.0207 | 8.482 | 11.9407 | 895 | 51.9567 | 6.0653
2020-03-14 12:30:00 | 3.7373 | 23.044 | 4.3013 | 25.316 | 5.1687 | 10.2747 | 4.988 | 17.2207 | 12.2067 | 895 | 50.7487 | 3.616
2020-03-14 12:45:00 | 3.4027 | 55.0313 | 3.9133 | 60.4673 | 4.812 | 19.7687 | 4.6393 | 9.4373 | 12.8113 | 895 | 49.2687 | 1.1773
2020-03-14 13:00:00 | 2.8747 | 101.772 | 3.304 | 111.8333 | 3.9647 | 17.002 | 3.7013 | 15.4907 | 13.47 | 895 | 47.252 | 0
2020-03-14 13:15:00 | 2.3173 | 34.8373 | 2.6647 | 38.2807 | 3.124 | 81.0973 | 2.7427 | 276.9507 | 13.4173 | 894.0667 | 46.102 | 0
2020-03-14 13:30:00 | 1.4413 | 186.994 | 1.6587 | 205.4813 | 1.9287 | 288.3333 | 2.014 | 322.4933 | 13.638 | 894 | 44.9833 | 0
2020-03-14 13:45:00 | 1.2173 | 171.4273 | 1.4007 | 188.3733 | 1.4653 | 200.0333 | 1.5047 | 145.84 | 14.728 | 894 | 41.8993 | 0
2020-03-14 14:00:00 | 1.626 | 146.6267 | 1.8807 | 161.1267 | 1.95 | 169.2 | 1.7973 | 148.2267 | 14.7093 | 894 | 44.4127 | 0
2020-03-14 14:15:00 | 2.1353 | 135.2273 | 2.4573 | 148.5933 | 2.41 | 152.48 | 2.4347 | 176.3533 | 14.7787 | 894 | 45.45 | 0
2020-03-14 14:30:00 | 2.7147 | 135.1587 | 3.124 | 148.52 | 3.2253 | 165.42 | 3.1673 | 171.5333 | 15.0747 | 894 | 43.842 | 0
2020-03-14 14:45:00 | 3.5933 | 140.5447 | 4.1333 | 154.44 | 3.9733 | 160.7133 | 3.8907 | 178.9467 | 15.1553 | 893.7333 | 39.0773 | 0.98933
2020-03-14 15:00:00 | 3.9267 | 155.0167 | 4.5153 | 170.34 | 4.5767 | 161.28 | 4.548 | 160.18 | 15.3333 | 893 | 35.7627 | 0.94133
2020-03-14 15:15:00 | 3.288 | 147.8233 | 3.788 | 162.44 | 3.9207 | 170.1333 | 3.9153 | 175.38 | 15.4427 | 893 | 33.668 | 1.5333
2020-03-14 15:30:00 | 2.89 | 166.71 | 3.3287 | 183.2 | 3.55 | 191.36 | 3.7373 | 215.9733 | 15.398 | 893 | 31.538 | 1.7067
2020-03-14 15:45:00 | 2.5047 | 173.7467 | 2.8847 | 190.9333 | 3.1307 | 207.3733 | 3.1767 | 202.8 | 15.6747 | 893 | 29.836 | 0.97333
2020-03-14 16:00:00 | 3.2213 | 140.2567 | 3.7073 | 154.1267 | 3.8227 | 163.6933 | 3.682 | 176.72 | 15.4193 | 892.4 | 29.8173 | 1.0347
2020-03-14 16:15:00 | 3.2093 | 149.6287 | 3.6927 | 164.4267 | 3.854 | 180.5 | 3.8147 | 170.98 | 15.3433 | 892 | 29.5433 | 1.4787
2020-03-14 16:30:00 | 2.666 | 167.2067 | 3.0713 | 183.7333 | 3.2327 | 219.2 | 3.3227 | 212.6933 | 15.074 | 892 | 33.6287 | 2.02
2020-03-14 16:45:00 | 2.5787 | 170.1153 | 2.9687 | 186.9333 | 3.4987 | 237.44 | 3.5167 | 241.0067 | 14.9333 | 892 | 35.7687 | 1.526
2020-03-14 17:00:00 | 2.6907 | 172.5773 | 3.1053 | 189.64 | 3.5553 | 216.4533 | 3.6813 | 227.6067 | 14.9113 | 892 | 35.1587 | 1.5493
2020-03-14 17:15:00 | 2.6813 | 161.8013 | 3.0827 | 177.8 | 3.56 | 216.5267 | 3.5187 | 233.5333 | 15.276 | 892 | 35.282 | 1.8933
2020-03-14 17:30:00 | 2.9787 | 158.7267 | 3.4293 | 174.42 | 3.666 | 206.32 | 3.5873 | 211.4733 | 15.248 | 892 | 35.482 | 2.1253
2020-03-14 17:45:00 | 2.4853 | 170.1627 | 2.862 | 186.9867 | 3.4567 | 222.1267 | 3.47 | 244.5333 | 15.2567 | 892 | 35.134 | 2.138
2020-03-14 18:00:00 | 2.8287 | 177.632 | 3.2553 | 195.2 | 3.6073 | 217.28 | 3.572 | 219.7867 | 14.83 | 892 | 36.7733 | 2.932
2020-03-14 18:15:00 | 2.0347 | 166.3327 | 2.344 | 182.78 | 2.868 | 224.0733 | 3.1113 | 237.16 | 14.586 | 891.0667 | 37.41 | 2.77
2020-03-14 18:30:00 | 1.89 | 152.548 | 2.1787 | 167.6333 | 2.6013 | 203.2533 | 2.8187 | 231.9733 | 14.5853 | 891 | 37.2387 | 3.0227
2020-03-14 18:45:00 | 2.4427 | 148.9633 | 2.8153 | 163.6933 | 3.2633 | 206.94 | 3.5547 | 223.1533 | 14.432 | 891 | 36.49 | 3.032
2020-03-14 19:00:00 | 2.588 | 171.7227 | 2.9813 | 188.7 | 3.6287 | 220.5133 | 3.8947 | 226.6133 | 14.1353 | 891 | 36.874 | 5.6033
2020-03-14 19:15:00 | 2.404 | 168.0733 | 2.7707 | 184.6933 | 3.3413 | 216.7933 | 3.6787 | 223.64 | 13.7973 | 891 | 37.114 | 5.7053
2020-03-14 19:30:00 | 2.5293 | 173.6073 | 2.9067 | 190.7733 | 3.52 | 227.3667 | 3.7833 | 226.94 | 13.6253 | 891 | 37.3447 | 8.522
2020-03-14 19:45:00 | 2.6873 | 169.61 | 3.0967 | 186.3733 | 3.7287 | 207.8333 | 4.176 | 217.6667 | 13.3313 | 891 | 38.7287 | 9.5793
2020-03-14 20:00:00 | 2.964 | 168.0773 | 3.4067 | 184.6933 | 3.9147 | 208.5133 | 4.4987 | 219.64 | 13.1987 | 891 | 39.5067 | 9.128
2020-03-14 20:15:00 | 2.9693 | 162.9327 | 3.4193 | 179.04 | 3.85 | 214.2133 | 4.1967 | 225.6533 | 13.0153 | 891 | 41.4807 | 10.4093
2020-03-14 20:30:00 | 3.1413 | 169.572 | 3.6113 | 186.3333 | 4.1433 | 218.0467 | 4.7007 | 219.62 | 12.7733 | 891 | 43.1253 | 14.524
2020-03-14 20:45:00 | 3.4813 | 171.7507 | 4.002 | 188.7333 | 4.5 | 221.0067 | 5.0433 | 229.4667 | 12.7213 | 891.2667 | 43.65 | 13.6287
2020-03-14 21:00:00 | 3.0507 | 166.4047 | 3.5087 | 182.8533 | 4.0827 | 213.8267 | 4.5287 | 223.7467 | 12.6593 | 892 | 43.8227 | 10.7193
2020-03-14 21:15:00 | 3.2787 | 173.3767 | 3.776 | 190.5267 | 4.2253 | 210.2467 | 4.7633 | 220.1533 | 12.4027 | 892 | 44.8693 | 10.1693
2020-03-14 21:30:00 | 3.4493 | 173.7473 | 3.9713 | 190.9267 | 4.4093 | 205.1 | 4.866 | 212.8067 | 12.4427 | 892 | 45.998 | 8.9827
2020-03-14 21:45:00 | 3.1387 | 167.89 | 3.6153 | 184.4867 | 3.9307 | 209.3667 | 4.5447 | 215.3733 | 12.3753 | 892 | 47.7947 | 7.5153
2020-03-14 22:00:00 | 2.6667 | 167.272 | 3.0673 | 183.8133 | 3.3167 | 212.44 | 3.9307 | 224.5533 | 12.1653 | 892 | 48.6687 | 5.8087
2020-03-14 22:15:00 | 3.0613 | 170.3527 | 3.5213 | 187.2 | 3.9267 | 213.82 | 4.3093 | 225.0467 | 12.0507 | 892 | 49.14 | 6.1473
2020-03-14 22:30:00 | 2.9753 | 178.9787 | 3.426 | 196.68 | 3.944 | 212.44 | 4.044 | 210.7533 | 11.788 | 892 | 50.3233 | 4.8793
2020-03-14 22:45:00 | 2.52 | 176.0522 | 2.8989 | 193.4556 | 3.1889 | 214.5667 | 3.4156 | 216.9556 | 11.7878 | 892 | 49.8711 | 4.017
2020-03-14 23:00:00 | 2.3787 | 173.7027 | 2.744 | 190.8733 | 3.1187 | 204.32 | 3.238 | 216.4067 | 11.5647 | 892 | 50.7967 | 3.204
2020-03-14 23:15:00 | 2.3567 | 176.33 | 2.7127 | 193.76 | 3.0367 | 210.3467 | 3.044 | 207.06 | 11.5433 | 892 | 51.1507 | 2.246
2020-03-14 23:30:00 | 2.414 | 172.0647 | 2.7773 | 189.08 | 3.158 | 205.6533 | 3.1107 | 198.2933 | 11.572 | 892 | 51.2227 | 1.2753
2020-03-14 23:45:00 | 2.1707 | 164.25 | 2.5 | 180.4933 | 2.8247 | 184.8533 | 3.006 | 176.6733 | 11.584 | 891.0667 | 50.882 | 1.0327