## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-15 00:00:00 | 1.9257 | 165.03 | 2.22 | 181.35 | 2.6793 | 178.1143 | 2.9271 | 173.7929 | 11.4171 | 891 | 51.3121 | 0.43214
2020-03-15 00:15:00 | 1.9547 | 164.3033 | 2.256 | 180.5467 | 2.7207 | 168.9067 | 2.9847 | 164.9733 | 11.28 | 891 | 51.83 | 0.064667
2020-03-15 00:30:00 | 1.9693 | 170.9193 | 2.2753 | 187.8133 | 2.624 | 168 | 3.18 | 164.0667 | 11.2707 | 891 | 51.7233 | 0.43
2020-03-15 00:45:00 | 2.156 | 174.166 | 2.484 | 191.3867 | 2.7967 | 172.1533 | 3.17 | 172.9467 | 11.226 | 891 | 51.7907 | 0.83
2020-03-15 01:00:00 | 2.284 | 168.948 | 2.63 | 185.6467 | 2.9267 | 181.66 | 3.1293 | 179.8467 | 11.1833 | 891 | 52.1107 | 1.2253
2020-03-15 01:15:00 | 2.6279 | 173.7871 | 3.0257 | 190.9643 | 3.51 | 201.3286 | 3.625 | 197.9929 | 10.9971 | 891 | 53.3607 | 3.254
2020-03-15 01:30:00 | 2.7387 | 176.6987 | 3.1573 | 194.1667 | 3.7987 | 216.7333 | 3.904 | 210.7333 | 10.7273 | 891 | 54.8193 | 3.7333
2020-03-15 01:45:00 | 2.5287 | 177.4667 | 2.914 | 195.0067 | 3.3153 | 201.02 | 3.5133 | 194.2667 | 10.3273 | 890.7333 | 56.724 | 3.772
2020-03-15 02:00:00 | 2.884 | 170.902 | 3.318 | 187.8 | 3.7673 | 187.38 | 3.9907 | 190.6867 | 10.288 | 890 | 57.136 | 2.7707
2020-03-15 02:15:00 | 2.002 | 156.0313 | 2.3033 | 171.4533 | 2.602 | 171.16 | 2.9967 | 174.1067 | 10.218 | 890 | 57.0807 | 1.248
2020-03-15 02:30:00 | 2.318 | 166.9893 | 2.6693 | 183.5 | 3.176 | 166.22 | 3.3013 | 172.8867 | 10.098 | 890 | 57.5107 | 1.1713
2020-03-15 02:45:00 | 2.5387 | 159.0107 | 2.9227 | 174.7267 | 3.3867 | 170.1933 | 3.328 | 180.4333 | 10.028 | 890 | 58.3253 | 0.72667
2020-03-15 03:00:00 | 2.4827 | 157.478 | 2.8553 | 173.0533 | 3.368 | 177.62 | 3.336 | 177.6933 | 10.154 | 890 | 58.698 | 0.32733
2020-03-15 03:15:00 | 2.302 | 165.4613 | 2.65 | 181.82 | 2.982 | 177.4533 | 3.1067 | 174.4 | 10.442 | 889.7333 | 57.4333 | 0.28333
2020-03-15 03:30:00 | 1.9227 | 166.9367 | 2.2213 | 183.44 | 2.57 | 174.7133 | 2.864 | 176.2733 | 10.586 | 889 | 55.98 | 0.15667
2020-03-15 03:45:00 | 2.0067 | 162.7247 | 2.3153 | 178.8067 | 2.6387 | 179.9867 | 3.046 | 178.54 | 10.6173 | 889 | 55.5467 | 0.36133
2020-03-15 04:00:00 | 2.482 | 170.1413 | 2.856 | 186.96 | 3.2127 | 190.8 | 3.288 | 188.0267 | 10.528 | 889 | 56.0847 | 0.53267
2020-03-15 04:15:00 | 2.208 | 170.372 | 2.538 | 187.22 | 2.884 | 198.17 | 3.119 | 192.05 | 10.456 | 889 | 56.701 | 0.418
2020-03-15 04:30:00 | 1.7927 | 175.6487 | 2.0647 | 193.0133 | 2.54 | 186.9933 | 2.9613 | 186.5067 | 10.3933 | 889 | 57.292 | 0.28267
2020-03-15 04:45:00 | 1.7933 | 167.7107 | 2.072 | 184.2867 | 2.5573 | 181.8067 | 3.0893 | 176.3267 | 10.3247 | 889 | 57.8107 | 0.506
2020-03-15 05:00:00 | 1.6913 | 175.7213 | 1.9487 | 193.1 | 2.4887 | 172.5333 | 3.0033 | 167.7733 | 10.368 | 889 | 57.7067 | 0.606
2020-03-15 05:15:00 | 1.3813 | 173.3067 | 1.5987 | 190.44 | 2.1947 | 166.0667 | 2.7153 | 155.94 | 10.398 | 889 | 57.508 | 0.42333
2020-03-15 05:30:00 | 1.2587 | 175.3473 | 1.456 | 192.6867 | 1.8953 | 184.0733 | 2.3713 | 162.66 | 10.39 | 889 | 58.102 | 0.192
2020-03-15 05:45:00 | 0.776 | 173.08 | 0.89533 | 190.2 | 1.5113 | 190.2467 | 2.1227 | 175.1533 | 10.1847 | 889 | 59.1567 | 0.19067
2020-03-15 06:00:00 | 0.71733 | 173.08 | 0.832 | 190.2 | 1.4347 | 180.1933 | 2.2487 | 171.0867 | 10.014 | 889 | 59.346 | 0.12933
2020-03-15 06:15:00 | 0.52667 | 173.1733 | 0.60933 | 190.2933 | 1.0433 | 169.1267 | 1.8293 | 161.74 | 10.262 | 889 | 58.8313 | 0.022667
2020-03-15 06:30:00 | 0.069333 | 173.18 | 0.077333 | 190.3 | 0.13533 | 169.2 | 1.8787 | 160.9 | 10.274 | 889 | 58.974 | 0.096
2020-03-15 06:45:00 | 0.002 | 173.18 | 0.002 | 190.3 | 0.004 | 169.2 | 1.176 | 160.9 | 10.306 | 889 | 58.8653 | 0
2020-03-15 07:00:00 | 0 | 173.18 | 0 | 190.3 | 0 | 169.2 | 0.03 | 160.9 | 10.222 | 889 | 59.044 | 0.12
2020-03-15 07:15:00 | 0.064 | 92.526 | 0.074 | 101.6753 | 0 | 169.2 | 0 | 160.9 | 9.998 | 889 | 59.9767 | 0.17467
2020-03-15 07:30:00 | 0.85733 | 149.5753 | 0.99667 | 164.3647 | 0.804 | 169.2 | 0 | 160.9 | 9.882 | 889 | 59.904 | 0.156
2020-03-15 07:45:00 | 1.0453 | 319.1467 | 1.2047 | 350.7067 | 1.4953 | 304.92 | 0 | 160.9 | 9.8593 | 889 | 60.0667 | 0.44333
2020-03-15 08:00:00 | 0.82333 | 317.2187 | 0.95067 | 348.58 | 0.946 | 339.66 | 0.23133 | 184.0467 | 9.9373 | 889 | 60.068 | 0.19
2020-03-15 08:15:00 | 1.7933 | 278.642 | 2.0673 | 306.196 | 2.122 | 304.0827 | 1.6047 | 352.26 | 9.606 | 889 | 61.1287 | 0.15267
2020-03-15 08:30:00 | 2.456 | 210.3287 | 2.828 | 231.1227 | 3.0893 | 1.7587 | 2.4093 | 71.6853 | 9.5127 | 889 | 61.5987 | 0
2020-03-15 08:45:00 | 2.6047 | 151.01 | 2.9947 | 165.9413 | 3.118 | 6.5867 | 2.388 | 1.434 | 9.4933 | 889.9333 | 61.7707 | 0
2020-03-15 09:00:00 | 2.6593 | 274.482 | 3.06 | 301.6293 | 3.0607 | 8.0493 | 2.4447 | 5.8067 | 9.4733 | 890 | 61.4593 | 0
2020-03-15 09:15:00 | 2.7867 | 115.116 | 3.2093 | 126.502 | 3.55 | 7.864 | 3.096 | 8.0813 | 9.494 | 890 | 61.6087 | 0
2020-03-15 09:30:00 | 2.6633 | 257.6887 | 3.0627 | 283.1687 | 3.6073 | 5.746 | 3.2107 | 7.7853 | 9.592 | 890 | 60.6953 | 0
2020-03-15 09:45:00 | 2.4553 | 179.2093 | 2.826 | 196.93 | 3.886 | 3.2887 | 3.5967 | 6.908 | 9.686 | 890 | 61.6633 | 0
2020-03-15 10:00:00 | 2.444 | 163.358 | 2.818 | 179.5133 | 3.6153 | 8.784 | 3.138 | 14.1227 | 9.92 | 890 | 60.9547 | 0
2020-03-15 10:15:00 | 2.4713 | 211.332 | 2.844 | 232.23 | 3.5973 | 8.346 | 3.0773 | 22.7133 | 9.9593 | 890 | 60.7573 | 0
2020-03-15 10:30:00 | 2.6973 | 272.2033 | 3.102 | 299.1173 | 3.6593 | 13.4027 | 2.992 | 7.3607 | 9.79 | 890.6 | 60.8373 | 0
2020-03-15 10:45:00 | 2.2453 | 129.3713 | 2.5833 | 142.1593 | 3.242 | 17.9093 | 2.9087 | 7.9313 | 9.914 | 891 | 60.6293 | 0
2020-03-15 11:00:00 | 2.246 | 213.2207 | 2.5853 | 234.302 | 3.0627 | 12.4073 | 2.516 | 11.2327 | 9.886 | 891 | 60.052 | 0
2020-03-15 11:15:00 | 2.2193 | 6.6893 | 2.5533 | 7.3413 | 3.1233 | 17.0687 | 2.236 | 10.744 | 10.0287 | 891 | 59.5587 | 0
2020-03-15 11:30:00 | 1.7553 | 254.522 | 2.018 | 279.6967 | 2.8353 | 18.3233 | 2.1007 | 5.006 | 10.3167 | 891 | 58.956 | 0
2020-03-15 11:45:00 | 1.6187 | 259.7707 | 1.8687 | 285.4667 | 2.4207 | 15.0173 | 1.7513 | 0.43333 | 10.534 | 891 | 57.7213 | 0
2020-03-15 12:00:00 | 1.3687 | 312.434 | 1.5747 | 343.3333 | 1.8867 | 15.3247 | 1.3553 | 0.50867 | 10.5193 | 890.4 | 56.9673 | 0
2020-03-15 12:15:00 | 1.184 | 277.1033 | 1.364 | 304.504 | 1.6 | 13.1833 | 1.2787 | 40.388 | 10.7953 | 890 | 56.7567 | 0
2020-03-15 12:30:00 | 1.4487 | 232.908 | 1.67 | 234.8253 | 1.8647 | 171.2207 | 1.3733 | 136.2547 | 10.8293 | 890 | 56.802 | 0
2020-03-15 12:45:00 | 0.95 | 10.6927 | 1.0973 | 11.748 | 1.2913 | 353.4267 | 0.688 | 12.426 | 10.9567 | 890 | 56.802 | 0
2020-03-15 13:00:00 | 0.96067 | 109.37 | 1.1113 | 120.1793 | 1.2253 | 353.5 | 0.69133 | 12.3847 | 11.0387 | 890 | 55.3533 | 0
2020-03-15 13:15:00 | 0.40067 | 116.2253 | 0.46733 | 127.72 | 0.506 | 355.8933 | 0.19467 | 13.698 | 11.3527 | 889.0667 | 55.6347 | 0
2020-03-15 13:30:00 | 0.043333 | 120.218 | 0.051333 | 132.1 | 0.066 | 241.7567 | 0.40733 | 122.712 | 11.2987 | 889 | 61.4653 | 0
2020-03-15 13:45:00 | 0.057333 | 97.0693 | 0.069333 | 106.6627 | 0.098667 | 245.4133 | 0.50733 | 271.9733 | 11.2453 | 889 | 61.6853 | 0
2020-03-15 14:00:00 | 0.074667 | 87.0953 | 0.088667 | 95.7093 | 0.13133 | 184.8733 | 0.56267 | 253.1133 | 11.396 | 888.4 | 64.374 | 0
2020-03-15 14:15:00 | 0.075333 | 262.586 | 0.088667 | 288.554 | 0.066667 | 322.0733 | 0.24733 | 264.34 | 11.53 | 888 | 61.5933 | 0
2020-03-15 14:30:00 | 0.256 | 253.5813 | 0.29667 | 278.6533 | 0.356 | 195.34 | 0.17333 | 281.4533 | 11.4373 | 888 | 62.98 | 0
2020-03-15 14:45:00 | 0.30133 | 169.0127 | 0.356 | 185.72 | 0.46067 | 140.9933 | 0.53733 | 143.1267 | 10.9187 | 887.7333 | 66.2607 | 0
2020-03-15 15:00:00 | 0.25133 | 168.8 | 0.292 | 185.5 | 0.48933 | 157.18 | 1.2367 | 204.3533 | 10.864 | 887 | 64.5653 | 0
2020-03-15 15:15:00 | 0.262 | 168.8293 | 0.30867 | 185.5267 | 0.51133 | 237.78 | 1.5447 | 250.5133 | 10.8767 | 887 | 66.902 | 0
2020-03-15 15:30:00 | 0.12267 | 159.0927 | 0.14267 | 174.8133 | 0.23067 | 230.9267 | 1.4013 | 234.2933 | 10.6827 | 887 | 71.362 | 0
2020-03-15 15:45:00 | 0.236 | 95.256 | 0.276 | 104.6733 | 0.45133 | 149.7267 | 0.87133 | 198.38 | 10.1747 | 887 | 72.99 | 0.336
2020-03-15 16:00:00 | 0.44267 | 178.392 | 0.51333 | 196.0333 | 0.77 | 310.1667 | 1.5353 | 285.82 | 10.228 | 887 | 73.274 | 0.032
2020-03-15 16:15:00 | 0.80533 | 316.39 | 0.93267 | 347.68 | 1.2013 | 189.252 | 1.0253 | 143.122 | 10.3373 | 887 | 71.6233 | 0
2020-03-15 16:30:00 | 0.17667 | 214.19 | 0.204 | 235.3733 | 0.3 | 32.5447 | 0.148 | 70.898 | 10.5287 | 887 | 69.946 | 0
2020-03-15 16:45:00 | 0.22 | 116.5467 | 0.26067 | 128.0733 | 0.308 | 182.6 | 0.36733 | 198.9933 | 10.6027 | 887 | 68.9687 | 0
2020-03-15 17:00:00 | 0.20067 | 139.6853 | 0.234 | 153.4987 | 0.34267 | 158.9347 | 0.30467 | 201.6787 | 10.64 | 887 | 69.08 | 0
2020-03-15 17:15:00 | 0.69533 | 6.1973 | 0.802 | 6.8 | 1.3627 | 283.0987 | 1.294 | 275.588 | 10.64 | 887 | 69.1733 | 0
2020-03-15 17:30:00 | 0.97667 | 255.192 | 1.1233 | 280.428 | 1.8813 | 81.546 | 1.884 | 197.3067 | 10.384 | 887 | 69.1507 | 0
2020-03-15 17:45:00 | 1.124 | 285.88 | 1.3033 | 314.1467 | 2.236 | 117.1973 | 2.5307 | 207.22 | 10.0533 | 887 | 71.016 | 0
2020-03-15 18:00:00 | 1.8847 | 207.756 | 2.1747 | 228.2933 | 3.7007 | 222.9727 | 4.3133 | 344.58 | 9.8213 | 887 | 72.2087 | 2.3927
2020-03-15 18:15:00 | 2.1507 | 258.2027 | 2.4747 | 283.7267 | 3.6167 | 223.0247 | 3.7967 | 302.808 | 9.7833 | 887 | 73.4527 | 3.7033
2020-03-15 18:30:00 | 2.812 | 226.1513 | 3.2353 | 248.5133 | 3.6593 | 168.3027 | 3.7587 | 124.4087 | 9.842 | 887 | 72.97 | 2.0793
2020-03-15 18:45:00 | 1.9633 | 191.396 | 2.258 | 210.3173 | 3.1407 | 192.304 | 3.1913 | 144.8327 | 9.8533 | 887 | 73.1813 | 0.54467
2020-03-15 19:00:00 | 0.89533 | 251.938 | 1.0347 | 276.848 | 1.7147 | 17.8453 | 1.874 | 22.7513 | 9.6693 | 887 | 74.4733 | 0.16133
2020-03-15 19:15:00 | 1.204 | 279.1387 | 1.394 | 306.7453 | 2.3773 | 29.1267 | 2.6713 | 35.8187 | 9.4813 | 887 | 74.6793 | 1.1333
2020-03-15 19:30:00 | 2.19 | 218.7527 | 2.5193 | 240.3847 | 4.342 | 22.178 | 4.408 | 28.0947 | 9.3293 | 887 | 75.978 | 5.6767
2020-03-15 19:45:00 | 2.8893 | 157.344 | 3.326 | 172.9033 | 5.6167 | 14.6127 | 5.5427 | 20.0007 | 9.212 | 887 | 77.544 | 7.5307
2020-03-15 20:00:00 | 2.9293 | 246.2587 | 3.3707 | 270.6133 | 5.5687 | 13.278 | 5.702 | 16.3947 | 9.2927 | 887 | 77.2827 | 8.938
2020-03-15 20:15:00 | 2.634 | 233.6427 | 3.0387 | 256.744 | 5.0747 | 10.772 | 5.36 | 19.0013 | 9.346 | 887.2667 | 76.8153 | 10.5007
2020-03-15 20:30:00 | 3.3167 | 118.612 | 3.8173 | 130.336 | 6.202 | 170.1587 | 5.9827 | 60.952 | 9.388 | 888 | 76.574 | 12.1827
2020-03-15 20:45:00 | 2.7027 | 188.7113 | 3.1133 | 207.3733 | 4.622 | 301.7267 | 4.38 | 130.5533 | 9.5347 | 888 | 75.8 | 7.316
2020-03-15 21:00:00 | 1.8207 | 247.2887 | 2.092 | 271.74 | 2.9307 | 12.872 | 2.9393 | 82.3227 | 9.61 | 888 | 75.176 | 4.6973
2020-03-15 21:15:00 | 2.5193 | 234.8753 | 2.896 | 258.0987 | 4.2073 | 29.8227 | 4.332 | 11.006 | 9.6567 | 888 | 75.034 | 5.3567
2020-03-15 21:30:00 | 2.1393 | 257.574 | 2.4593 | 283.048 | 4.1153 | 8.7273 | 4.0453 | 17.8847 | 9.5073 | 888 | 76.086 | 5.1747
2020-03-15 21:45:00 | 2.3673 | 241.5907 | 2.7227 | 265.4787 | 4.5387 | 8.9953 | 4.4313 | 18.0027 | 9.4233 | 888 | 76.5487 | 6.9813
2020-03-15 22:00:00 | 2.9953 | 174.4593 | 3.4467 | 191.704 | 4.7313 | 53.1147 | 4.5533 | 15.4607 | 9.478 | 888.6 | 76.1293 | 6.8367
2020-03-15 22:15:00 | 3.0033 | 8.356 | 3.4567 | 9.1793 | 4.604 | 186.5987 | 4.6273 | 14.1133 | 9.6567 | 889 | 75.0967 | 8.2333
2020-03-15 22:30:00 | 3.1 | 23.9675 | 3.5675 | 26.3275 | 4.805 | 19.7525 | 4.6575 | 7.005 | 9.6025 | 889 | 75.3375 | 9.972
2020-03-15 22:45:00 | 3.1 | 23.9675 | 3.5675 | 26.3275 | 4.805 | 19.7525 | 4.6575 | 7.005 | 9.6025 | 889 | 75.3375 | 9.972
2020-03-15 23:00:00 | 3.9707 | 188.292 | 4.5693 | 206.9067 | 6.884 | 118.1567 | 6.388 | 4.3613 | 9.39 | 889 | 77.3473 | 19.416
2020-03-15 23:15:00 | 3.5373 | 211.032 | 4.0747 | 231.9033 | 6.3147 | 8.5613 | 6.1653 | 8.548 | 9.2733 | 889 | 78.142 | 21.2773
2020-03-15 23:30:00 | 4.022 | 105.0493 | 4.6313 | 115.44 | 6.4507 | 124.5947 | 6.166 | 19.0373 | 9.2207 | 889 | 78.524 | 28.0807
2020-03-15 23:45:00 | 4.204 | 206.6327 | 4.8367 | 220.776 | 7.1193 | 12.422 | 6.8793 | 12.5667 | 9.1987 | 888.0667 | 78.722 | 32.3273