## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-16 00:00:00 | 4.5636 | 125.825 | 5.2486 | 138.2636 | 7.2779 | 11.0257 | 6.9179 | 17.0521 | 9.1707 | 888 | 78.936 | 31.7721
2020-03-16 00:15:00 | 4.1313 | 51.4427 | 4.7547 | 56.526 | 6.6533 | 5.4767 | 6.452 | 11.9867 | 9.1613 | 888 | 79.1067 | 27.0313
2020-03-16 00:30:00 | 4.1233 | 150.05 | 4.748 | 164.8833 | 6.61 | 12.97 | 6.3847 | 5.586 | 9.1273 | 888 | 79.3293 | 27.478
2020-03-16 00:45:00 | 4.3713 | 67.068 | 5.032 | 73.6967 | 6.9793 | 10.1213 | 6.6387 | 13.0713 | 9.0787 | 888 | 79.7347 | 33.656
2020-03-16 01:00:00 | 4.934 | 210.9513 | 5.68 | 231.8133 | 7.0207 | 10.4973 | 6.4573 | 23.422 | 9.068 | 888 | 80.0167 | 36.9633
2020-03-16 01:15:00 | 5.0353 | 110.3967 | 5.796 | 121.3067 | 7.4127 | 168.7933 | 6.94 | 19.252 | 8.8673 | 888 | 81.64 | 38.74
2020-03-16 01:30:00 | 5.2167 | 215.8907 | 5.9993 | 237.2367 | 7.9887 | 70.8087 | 7.4767 | 10.8913 | 8.7473 | 888 | 82.5867 | 40.292
2020-03-16 01:45:00 | 4.5427 | 229.0173 | 5.226 | 251.6667 | 7.6073 | 11.362 | 7.0073 | 6.102 | 8.5933 | 888 | 83.84 | 36.7153
2020-03-16 02:00:00 | 4.6787 | 164.084 | 5.3867 | 180.3067 | 7.738 | 14.5487 | 7.3053 | 17.096 | 8.538 | 888 | 84.4133 | 35.622
2020-03-16 02:15:00 | 4.8087 | 158.9853 | 5.5347 | 174.7 | 8.0213 | 13.4507 | 7.866 | 17.0947 | 8.4587 | 888 | 84.9867 | 35.5487
2020-03-16 02:30:00 | 4.6787 | 197.7353 | 5.3853 | 209.1067 | 8.5933 | 15.7087 | 8.4013 | 20.8987 | 8.3293 | 888 | 86.0267 | 38.478
2020-03-16 02:45:00 | 4.9633 | 160.2807 | 5.712 | 176.13 | 9.45 | 11.7467 | 9.2647 | 25.7553 | 8.2247 | 888 | 86.9867 | 43.0713
2020-03-16 03:00:00 | 5.0193 | 164.9413 | 5.772 | 181.2567 | 9.66 | 18.3147 | 9.7827 | 18.5027 | 8.1693 | 888 | 87.6733 | 41.1893
2020-03-16 03:15:00 | 4.8307 | 224.0853 | 5.5673 | 246.2467 | 9.0133 | 19.1007 | 9.3153 | 25.406 | 8.0673 | 888 | 88.4267 | 41.1613
2020-03-16 03:30:00 | 4.854 | 83.712 | 5.5907 | 91.9833 | 8.658 | 17.7227 | 8.9633 | 20.2453 | 8 | 888 | 88.8733 | 41.682
2020-03-16 03:45:00 | 4.708 | 159.724 | 5.414 | 175.5213 | 8.652 | 14.1433 | 8.9533 | 18.5353 | 7.8627 | 888 | 90.3267 | 40.2313
2020-03-16 04:00:00 | 4.786 | 190.4613 | 5.5093 | 209.292 | 8.5353 | 126.8627 | 8.8273 | 19.8893 | 7.6653 | 887.4 | 91.9867 | 39.4147
2020-03-16 04:15:00 | 5.008 | 181.1713 | 5.7687 | 199.0867 | 8.982 | 8.9447 | 8.9413 | 12.4407 | 7.56 | 887 | 92.4867 | 40.368
2020-03-16 04:30:00 | 5.182 | 151.9267 | 5.96 | 166.948 | 9.142 | 12.5613 | 8.842 | 16.962 | 7.6147 | 887 | 91.5133 | 41.252
2020-03-16 04:45:00 | 5.3613 | 44.4753 | 6.172 | 48.8687 | 9.5447 | 12.4613 | 9.4093 | 17.8707 | 7.642 | 887 | 90.8933 | 45.964
2020-03-16 05:00:00 | 6.3213 | 160.4387 | 7.2773 | 176.3 | 11.084 | 15.706 | 10.6393 | 16.5253 | 7.664 | 887 | 89.9533 | 47.554
2020-03-16 05:15:00 | 6.2887 | 112.9413 | 7.234 | 124.1033 | 10.7147 | 129.3747 | 10.424 | 20.036 | 7.7367 | 887 | 88.5133 | 49.1673
2020-03-16 05:30:00 | 6.8387 | 201.7853 | 7.866 | 221.7367 | 11.8407 | 16.1887 | 11.0567 | 16.59 | 7.5947 | 887 | 89.3667 | 52.1773
2020-03-16 05:45:00 | 7.1673 | 204.2187 | 8.25 | 224.4133 | 12.5493 | 14.46 | 12.146 | 21.6447 | 7.2573 | 887 | 91.6533 | 52.48
2020-03-16 06:00:00 | 6.844 | 245.1293 | 7.8747 | 269.3693 | 11.7807 | 14.7687 | 11.3787 | 20.0733 | 7.0233 | 887.6 | 93.2267 | 48.8647
2020-03-16 06:15:00 | 6.328 | 204.058 | 7.276 | 224.2387 | 11.132 | 10.1133 | 11.0867 | 15.3787 | 6.8573 | 888 | 94.2333 | 51.36
2020-03-16 06:30:00 | 6.628 | 53.3747 | 7.624 | 58.6507 | 11.7587 | 15.3193 | 11.4087 | 83.6867 | 6.664 | 888 | 95.4867 | 54.4427
2020-03-16 06:45:00 | 6.9967 | 193.486 | 8.048 | 212.6213 | 12.2787 | 11.13 | 12.1807 | 24.1487 | 6.47 | 888 | 96.3067 | 54.95
2020-03-16 07:00:00 | 7.0773 | 281.3147 | 8.1473 | 303.5933 | 12.7393 | 18.2373 | 12.5587 | 14.0133 | 6.3213 | 888 | 96.84 | 57.7387
2020-03-16 07:15:00 | 7.2907 | 282.73 | 8.3967 | 310.6933 | 13.4333 | 10.196 | 13.0007 | 19.59 | 6.21 | 888 | 97.38 | 57.1113
2020-03-16 07:30:00 | 7.672 | 186.586 | 8.8367 | 205.0367 | 13.9213 | 12.6787 | 13.9 | 15.868 | 6.128 | 888 | 97.6267 | 54.76
2020-03-16 07:45:00 | 7.3493 | 78.6207 | 8.4607 | 86.3933 | 12.722 | 15.118 | 12.7093 | 20.8687 | 6.014 | 888 | 98.0133 | 55.466
2020-03-16 08:00:00 | 7.6127 | 126.4267 | 8.7627 | 138.928 | 13.1407 | 55.2533 | 12.314 | 21.6547 | 5.9107 | 888.6 | 98.62 | 56.898
2020-03-16 08:15:00 | 7.6747 | 85.3067 | 8.8393 | 93.7413 | 13.52 | 78.932 | 13.0047 | 17.6593 | 5.8153 | 889 | 98.9867 | 56.6373
2020-03-16 08:30:00 | 7.842 | 120.8493 | 9.024 | 132.7933 | 13.8453 | 9.768 | 13.1213 | 17.4853 | 5.752 | 889 | 99.26 | 56.1607
2020-03-16 08:45:00 | 7.268 | 111.6233 | 8.3693 | 122.6607 | 13.2067 | 14.0133 | 12.6953 | 18.3027 | 5.706 | 889 | 99.42 | 56.1693
2020-03-16 09:00:00 | 7.0693 | 96.4787 | 8.1307 | 106.018 | 13.0633 | 8.946 | 12.8807 | 20.372 | 5.6573 | 889.6 | 99.56 | 56.5933
2020-03-16 09:15:00 | 7.4693 | 270.2733 | 8.5953 | 297 | 13.672 | 12.826 | 13.3087 | 13.728 | 5.6373 | 890 | 99.72 | 58.142
2020-03-16 09:30:00 | 7.5167 | 266.9033 | 8.6553 | 293.2933 | 13.81 | 8.6827 | 13.3233 | 21.0313 | 5.63 | 890 | 99.8 | 57.748
2020-03-16 09:45:00 | 8.1187 | 207.4907 | 9.3433 | 228.0053 | 14.374 | 13.63 | 14.2113 | 14.0473 | 5.6507 | 890 | 99.56 | 57.9793
2020-03-16 10:00:00 | 8.2667 | 88.006 | 9.5187 | 96.7013 | 14.6113 | 10.886 | 14.462 | 14.4693 | 5.7007 | 890 | 98.7 | 56.2467
2020-03-16 10:15:00 | 8.0713 | 115.7727 | 9.2847 | 127.2147 | 14.2767 | 12.7767 | 14.0247 | 18.7953 | 5.7887 | 890.9333 | 97.9467 | 56.318
2020-03-16 10:30:00 | 7.0547 | 148.3993 | 8.114 | 163.0733 | 12.648 | 12.8187 | 12.576 | 12.872 | 5.9 | 891 | 97.14 | 55.6413
2020-03-16 10:45:00 | 7.0153 | 208.3813 | 8.0733 | 228.9933 | 12.336 | 12.8313 | 12.2833 | 123.7747 | 6.0327 | 891 | 96.3867 | 55.6913
2020-03-16 11:00:00 | 6.428 | 123.056 | 7.394 | 135.22 | 11.5707 | 7.3767 | 11.44 | 8.0653 | 6.248 | 891 | 95.2 | 56.48
2020-03-16 11:15:00 | 6.7133 | 171.416 | 7.724 | 188.364 | 12.048 | 6.9073 | 12.0533 | 15.4247 | 6.4147 | 891 | 94.4933 | 56.5333
2020-03-16 11:30:00 | 7.6933 | 147.6613 | 8.85 | 162.2593 | 13.666 | 14.798 | 13.614 | 15.6393 | 6.5987 | 891 | 92.7867 | 56.7793
2020-03-16 11:45:00 | 7.558 | 160.5253 | 8.694 | 176.4007 | 13.5173 | 12.0207 | 13.5493 | 18.5607 | 6.9053 | 891 | 91.2267 | 56.53
2020-03-16 12:00:00 | 7.4507 | 230.816 | 8.5767 | 253.64 | 13.4493 | 13.2293 | 13.5593 | 17.034 | 7.252 | 891 | 90.1667 | 56.1927
2020-03-16 12:15:00 | 7.1107 | 250.982 | 8.1847 | 275.8067 | 13.0193 | 14.4707 | 12.626 | 23.6067 | 7.724 | 891 | 88.94 | 57.0073
2020-03-16 12:30:00 | 7.236 | 293.9953 | 8.3227 | 302.3193 | 12.93 | 13.6107 | 12.5553 | 15.9587 | 7.9947 | 891 | 87.0267 | 57.9913
2020-03-16 12:45:00 | 7.8833 | 204.5733 | 9.07 | 224.8007 | 13.8473 | 17.1413 | 13.6847 | 26.8293 | 8.2373 | 891 | 85.2533 | 57.148
2020-03-16 13:00:00 | 7.608 | 124.432 | 8.7513 | 158.9573 | 13.518 | 21.9393 | 13.2333 | 19.0587 | 8.5193 | 891 | 83.1267 | 56.5127
2020-03-16 13:15:00 | 7.3473 | 176.04 | 8.452 | 193.4473 | 13.1627 | 10.8513 | 12.9653 | 19.692 | 8.6633 | 891.9333 | 82.2067 | 56.2647
2020-03-16 13:30:00 | 7.142 | 119.8027 | 8.2167 | 131.6447 | 12.8847 | 9.5187 | 12.588 | 18.5613 | 8.9873 | 892 | 81.0933 | 55.524
2020-03-16 13:45:00 | 7.22 | 174.238 | 8.3127 | 191.4667 | 12.814 | 116.1953 | 12.75 | 20.828 | 9.5107 | 892 | 79.502 | 53.7813
2020-03-16 14:00:00 | 7.1647 | 252.422 | 8.2473 | 277.3867 | 12.5867 | 14.5413 | 12.536 | 26.5533 | 9.5753 | 892 | 77.904 | 51.6667
2020-03-16 14:15:00 | 7.104 | 111.832 | 8.1787 | 117.5347 | 12.4533 | 15.6913 | 12.086 | 22.2347 | 9.8793 | 892 | 77.3293 | 52.742
2020-03-16 14:30:00 | 6.3393 | 116.3467 | 7.2947 | 127.8433 | 10.7313 | 22.08 | 10.5547 | 32.8113 | 9.9067 | 892 | 75.948 | 51.4653
2020-03-16 14:45:00 | 6.182 | 306.158 | 7.1147 | 336.4333 | 10.528 | 24.118 | 11.2493 | 35.3547 | 9.97 | 891.0667 | 75.2293 | 49.178
2020-03-16 15:00:00 | 5.916 | 161.4 | 6.8053 | 177.3533 | 10.308 | 28.4653 | 10.884 | 30.288 | 10.1707 | 891 | 74.314 | 52.1347
2020-03-16 15:15:00 | 6.2193 | 129.1927 | 7.1533 | 141.9707 | 10.8913 | 20.7387 | 11.0067 | 26.5107 | 10.4707 | 891 | 73.0893 | 50.3507
2020-03-16 15:30:00 | 6.2413 | 88.804 | 7.1833 | 97.5847 | 10.5433 | 30.1247 | 10.728 | 29.986 | 11.0907 | 891 | 70.516 | 46.6253
2020-03-16 15:45:00 | 6.184 | 67.39 | 7.1153 | 74.0547 | 10.5167 | 17.9967 | 10.9093 | 31.8913 | 11.4887 | 891 | 68.4053 | 46.6793
2020-03-16 16:00:00 | 6.5493 | 215.822 | 7.538 | 237.1633 | 11.1207 | 12.5 | 11.652 | 31.4133 | 11.9047 | 891 | 66.7847 | 50.614
2020-03-16 16:15:00 | 6.5967 | 99.98 | 7.592 | 109.8667 | 11.42 | 29.6227 | 11.8227 | 32.4853 | 12.236 | 891.2667 | 64.7693 | 47.472
2020-03-16 16:30:00 | 6.0673 | 250.8747 | 6.9813 | 275.6867 | 10.462 | 24.0973 | 10.9073 | 33.38 | 11.602 | 892 | 66.608 | 43.214
2020-03-16 16:45:00 | 5.6293 | 211.3087 | 6.472 | 232.2033 | 9.6193 | 14.772 | 9.7167 | 31.8587 | 11.2747 | 892 | 67.9673 | 39.2727
2020-03-16 17:00:00 | 5.7047 | 133.3933 | 6.5627 | 146.584 | 9.7407 | 22.9793 | 10.3733 | 37.458 | 10.9447 | 892 | 68.886 | 43.1873
2020-03-16 17:15:00 | 6.262 | 195.4373 | 7.2047 | 214.7627 | 10.8293 | 21.4967 | 11.2527 | 31.6867 | 10.804 | 891.7333 | 69.7133 | 46.1027
2020-03-16 17:30:00 | 5.6893 | 175.3173 | 6.546 | 192.6533 | 9.8353 | 27.4727 | 10.5927 | 35.0447 | 10.898 | 891 | 69.462 | 37.852
2020-03-16 17:45:00 | 5.388 | 78.238 | 6.2047 | 85.976 | 9.4773 | 22.448 | 9.31 | 25.2647 | 10.8813 | 891 | 69.7587 | 29.5373
2020-03-16 18:00:00 | 4.432 | 77.5387 | 5.0973 | 87.5987 | 8.01 | 18.4353 | 7.672 | 22.5273 | 10.736 | 891 | 70.04 | 23.648
2020-03-16 18:15:00 | 4.8 | 190.9587 | 5.5273 | 209.84 | 8.4973 | 18.854 | 8.3893 | 32.5853 | 10.548 | 891.9333 | 70.8193 | 23.4747
2020-03-16 18:30:00 | 4.1947 | 249.1473 | 4.8247 | 273.78 | 7.6733 | 29.7167 | 7.942 | 29.2367 | 10.3827 | 892 | 71.4507 | 21.798
2020-03-16 18:45:00 | 3.568 | 193.06 | 4.1033 | 212.1533 | 6.6533 | 26.26 | 6.8093 | 35.408 | 10.0453 | 891.7333 | 72.9253 | 20.906
2020-03-16 19:00:00 | 3.4507 | 229.664 | 3.9727 | 252.3733 | 6.6193 | 24.0693 | 6.924 | 35.414 | 9.6033 | 891 | 75.7093 | 22.8447
2020-03-16 19:15:00 | 3.4467 | 233.4147 | 3.9687 | 256.4933 | 6.5553 | 27.6373 | 6.922 | 27.91 | 9.218 | 891 | 76.67 | 23.1347
2020-03-16 19:30:00 | 2.9487 | 152.4853 | 3.392 | 167.56 | 5.7167 | 16.4087 | 6.3053 | 33.596 | 8.9673 | 891 | 77.462 | 17.9087
2020-03-16 19:45:00 | 2.612 | 277.2293 | 3.0033 | 304.64 | 5.0653 | 18.786 | 5.136 | 32.876 | 8.808 | 891 | 78.064 | 12.0207
2020-03-16 20:00:00 | 2.4767 | 174.9827 | 2.8473 | 192.28 | 4.63 | 57.0833 | 4.5707 | 25.596 | 8.9453 | 891 | 77.296 | 12.3307
2020-03-16 20:15:00 | 2.6893 | 172.192 | 3.098 | 189.2167 | 5.158 | 81.9273 | 5.3693 | 23.242 | 8.9933 | 891 | 77.216 | 13.7173
2020-03-16 20:30:00 | 2.952 | 267.962 | 3.4 | 293.7907 | 5.7733 | 20.2167 | 5.7693 | 19.3147 | 8.9173 | 891.6 | 77.7353 | 14.616
2020-03-16 20:45:00 | 3.2507 | 139.0647 | 3.7447 | 152.8113 | 6.3673 | 14.744 | 6.4107 | 24.316 | 9.0127 | 892 | 77.384 | 21.2233
2020-03-16 21:00:00 | 3.4453 | 157.7253 | 3.9627 | 173.316 | 6.7107 | 15.9007 | 6.79 | 25.7873 | 9.16 | 892 | 76.7267 | 22.302
2020-03-16 21:15:00 | 3.6473 | 244.0167 | 4.2013 | 268.1473 | 7.132 | 17.5773 | 7.048 | 26.6787 | 9.1107 | 891.7333 | 77.13 | 24.2633
2020-03-16 21:30:00 | 3.702 | 116.3313 | 4.2567 | 127.8333 | 6.9953 | 10.0033 | 7.0093 | 22.4633 | 9.2153 | 891.6 | 76.4533 | 19.7327
2020-03-16 21:45:00 | 3.46 | 145.4373 | 3.982 | 159.8187 | 6.1113 | 8.168 | 6.164 | 14.3313 | 9.2847 | 892 | 76.372 | 15.4827
2020-03-16 22:00:00 | 3.1173 | 149.438 | 3.59 | 164.208 | 5.3227 | 9.1707 | 5.5487 | 17.628 | 9.376 | 892 | 75.8627 | 16.368
2020-03-16 22:15:00 | 3.1907 | 261.5293 | 3.674 | 287.3853 | 5.4033 | 128.2767 | 5.4207 | 16.2567 | 9.2613 | 892 | 76.6973 | 17.902
2020-03-16 22:30:00 | 3.455 | 154.085 | 3.98 | 169.32 | 5.87 | 18.28 | 5.995 | 15.845 | 9.26 | 892 | 76.84 | 19.3383
2020-03-16 22:45:00 | 3.032 | 165.884 | 3.486 | 182.284 | 5.664 | 4.886 | 6.142 | 15.67 | 9.17 | 892 | 77.83 | 19.102
2020-03-16 23:00:00 | 2.9053 | 299.4573 | 3.34 | 329.0667 | 5.066 | 11.082 | 5.5527 | 16.4407 | 9.032 | 892 | 78.286 | 12.0087
2020-03-16 23:15:00 | 3.0627 | 70.6787 | 3.5267 | 77.662 | 4.786 | 7.3387 | 5.1433 | 20.5253 | 9.0607 | 892 | 78.0267 | 6.704
2020-03-16 23:30:00 | 2.4653 | 157.814 | 2.844 | 173.4113 | 4.0307 | 15.2367 | 4.2807 | 24.4707 | 9.1533 | 892 | 77.41 | 1.6353
2020-03-16 23:45:00 | 1.964 | 264.1833 | 2.2613 | 290.3 | 3.6173 | 13.0633 | 3.0347 | 22.8827 | 9.068 | 892 | 77.782 | 0.24