## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-17 00:00:00 | 1.5036 | 308.8386 | 1.7364 | 339.3786 | 2.4579 | 152.8786 | 2.6193 | 15.1557 | 9.0657 | 892 | 77.3564 | 0
2020-03-17 00:15:00 | 1.344 | 301.7487 | 1.5527 | 332.1733 | 1.9807 | 305.7267 | 1.718 | 12.6867 | 9.238 | 892.2667 | 75.5427 | 0
2020-03-17 00:30:00 | 1.4033 | 311.864 | 1.6213 | 342.7067 | 1.884 | 156.8267 | 1.9633 | 70.1013 | 9.4567 | 893 | 74.0327 | 0
2020-03-17 00:45:00 | 2.1647 | 312.7627 | 2.496 | 343.6867 | 2.7873 | 314.6093 | 2.4407 | 71.7387 | 9.6633 | 893 | 72.834 | 0
2020-03-17 01:00:00 | 2.2347 | 313.994 | 2.5733 | 345.0333 | 3.18 | 16.8353 | 3.2327 | 10.0433 | 9.7 | 893 | 72.8493 | 0.63667
2020-03-17 01:15:00 | 2.2987 | 306.986 | 2.6487 | 337.34 | 3.54 | 2.6453 | 3.6593 | 9.1513 | 9.3053 | 893 | 75.8747 | 2.342
2020-03-17 01:30:00 | 2.4387 | 224.4973 | 2.8033 | 246.6933 | 3.098 | 1.944 | 3.5487 | 4.952 | 9.074 | 893 | 77.274 | 3.0027
2020-03-17 01:45:00 | 2.2847 | 162.9553 | 2.6367 | 179.0633 | 3.5087 | 49.036 | 4.0587 | 10.8313 | 8.882 | 893 | 78.484 | 3.596
2020-03-17 02:00:00 | 2.2593 | 245.666 | 2.6013 | 269.9567 | 3.794 | 77.8727 | 4.1367 | 8.1527 | 8.7653 | 892.4 | 79.0273 | 3.8707
2020-03-17 02:15:00 | 2.456 | 272.558 | 2.8327 | 299.508 | 4.5407 | 15.734 | 4.542 | 14.2287 | 8.514 | 892 | 81.18 | 3.7387
2020-03-17 02:30:00 | 2.468 | 112.8193 | 2.8387 | 123.9747 | 4.8107 | 18.564 | 4.4453 | 18.8033 | 8.2 | 892 | 82.92 | 3.122
2020-03-17 02:45:00 | 2.532 | 76.286 | 2.912 | 83.828 | 4.256 | 9.092 | 3.944 | 18.132 | 8.136 | 892 | 83.29 | 2.967
2020-03-17 03:00:00 | 2.516 | 240.813 | 2.9 | 264.63 | 4.432 | 16.093 | 3.937 | 16.688 | 8.216 | 892 | 83 | 2.962
2020-03-17 03:15:00 | 2.5653 | 152.466 | 2.9527 | 167.5427 | 4.0933 | 15.626 | 3.7707 | 12.434 | 8.284 | 892 | 82.46 | 2.642
2020-03-17 03:30:00 | 2.404 | 320.163 | 2.774 | 351.83 | 4.005 | 15.912 | 4.307 | 23.886 | 8.305 | 891.6 | 82.05 | 2.888
2020-03-17 03:45:00 | 2.4527 | 190.2933 | 2.82 | 209.11 | 4.2633 | 16.646 | 4.626 | 10.552 | 8.0953 | 891 | 82.8667 | 4.644
2020-03-17 04:00:00 | 2.85 | 182.634 | 3.2787 | 200.698 | 5.2387 | 14.23 | 5.3827 | 7.75 | 7.9827 | 891 | 83.0933 | 4.712
2020-03-17 04:15:00 | 2.71 | 164.099 | 3.125 | 180.328 | 4.928 | 3.062 | 5.271 | 6.86 | 7.94 | 891 | 83.46 | 4.326
2020-03-17 04:30:00 | 2.483 | 256.28 | 2.857 | 281.628 | 4.572 | 3.673 | 4.907 | 7.873 | 7.929 | 891 | 83.61 | 4.412
2020-03-17 04:45:00 | 2.426 | 194.496 | 2.789 | 213.727 | 4.677 | 7.35 | 5.099 | 8.115 | 7.624 | 891 | 85.24 | 4.133
2020-03-17 05:00:00 | 2.624 | 216.6833 | 3.0213 | 238.1167 | 5.0347 | 13.4913 | 5.1887 | 10.0333 | 7.4533 | 891 | 86.28 | 4.7453
2020-03-17 05:15:00 | 2.6247 | 92.2193 | 3.0207 | 101.3353 | 5.1227 | 18.1533 | 4.884 | 10.836 | 7.2787 | 891 | 87.1067 | 5.2813
2020-03-17 05:30:00 | 2.7373 | 236.1707 | 3.1547 | 259.522 | 5.292 | 19.4907 | 4.848 | 14.0867 | 7.0393 | 891 | 88.4533 | 6.3247
2020-03-17 05:45:00 | 2.652 | 204.791 | 3.056 | 225.043 | 5.038 | 17.735 | 5.38 | 21.388 | 6.84 | 891 | 89.31 | 8.133
2020-03-17 06:00:00 | 2.636 | 319.848 | 3.032 | 351.48 | 4.84 | 12.7 | 5.674 | 8.51 | 6.842 | 890 | 89.3 | 9.712
2020-03-17 06:15:00 | 2.636 | 319.848 | 3.032 | 351.48 | 4.84 | 12.7 | 5.674 | 8.51 | 6.842 | 890 | 89.3 | 9.712
2020-03-17 06:30:00 | 3.388 | 175.098 | 3.898 | 192.412 | 5.7 | 18.11 | 5.928 | 21.15 | 6.526 | 890.6 | 90.62 | 14.672
2020-03-17 06:45:00 | 3.38 | 304.342 | 3.891 | 334.44 | 5.989 | 13.252 | 6.281 | 19.43 | 6.398 | 890.9 | 91.26 | 17.385
2020-03-17 07:00:00 | 3.533 | 15.748 | 4.066 | 17.297 | 6.069 | 5.012 | 6.235 | 11.473 | 6.287 | 890.6 | 92.2 | 18.169
2020-03-17 07:15:00 | 3.627 | 225.51 | 4.175 | 247.8 | 6.192 | 180.008 | 6.15 | 5.561 | 6.324 | 890.9 | 92.24 | 18.216
2020-03-17 07:30:00 | 3.728 | 76.034 | 4.296 | 83.554 | 6.616 | 5.144 | 6.446 | 13.294 | 6.43 | 891 | 91.26 | 15.968
2020-03-17 07:45:00 | 3.728 | 76.034 | 4.296 | 83.554 | 6.616 | 5.144 | 6.446 | 13.294 | 6.43 | 891 | 91.26 | 15.968
2020-03-17 08:00:00 | 3.484 | 254.037 | 4.011 | 279.152 | 6.417 | 141.286 | 6.932 | 12.256 | 6.676 | 891 | 90.59 | 13.136
2020-03-17 08:15:00 | 3.7053 | 208.388 | 4.2653 | 228.99 | 5.7387 | 8.13 | 6.2647 | 13.1353 | 7.4293 | 891.9333 | 87.4667 | 14.2347
2020-03-17 08:30:00 | 3.894 | 300.848 | 4.476 | 330.6 | 6.148 | 5.382 | 6.666 | 15.426 | 7.714 | 892 | 86.9 | 13.852
2020-03-17 08:45:00 | 3.966 | 297.452 | 4.567 | 326.86 | 6.082 | 39.932 | 6.446 | 9.098 | 8.202 | 892 | 84.87 | 12.504
2020-03-17 09:00:00 | 3.772 | 227.327 | 4.346 | 249.806 | 6.308 | 7.251 | 6.206 | 10.292 | 8.969 | 893 | 81.87 | 11.952
2020-03-17 09:15:00 | 3.28 | 295.79 | 3.774 | 325.04 | 6.086 | 17.394 | 6.026 | 15.462 | 9.612 | 893 | 80.192 | 11.63
2020-03-17 09:30:00 | 3.86 | 290.19 | 4.443 | 318.89 | 6.556 | 14.577 | 6.074 | 12.627 | 9.646 | 894 | 78.046 | 14.969
2020-03-17 09:45:00 | 4.3 | 221.276 | 4.952 | 243.158 | 7.021 | 10.411 | 6.511 | 180.952 | 10.303 | 894 | 74.807 | 11.45
2020-03-17 10:00:00 | 3.56 | 197.08 | 4.096 | 235.52 | 6.256 | 3.88 | 6.262 | 11.064 | 11.624 | 894 | 70.89 | 8.906
2020-03-17 10:15:00 | 3.585 | 311.0575 | 4.13 | 341.825 | 5.425 | 8.475 | 5.5325 | 2.88 | 11.3475 | 894.75 | 69.53 | 6.305
2020-03-17 10:30:00 | 3.585 | 311.0575 | 4.13 | 341.825 | 5.425 | 8.475 | 5.5325 | 2.88 | 11.3475 | 894.75 | 69.53 | 6.305
2020-03-17 10:45:00 | 3.28 | 146.592 | 3.772 | 161.086 | 5.636 | 5.802 | 5.362 | 15.102 | 13.756 | 895 | 60.404 | 6.056
2020-03-17 11:00:00 | 3.0373 | 244.1947 | 3.2447 | 207.46 | 4.1727 | 239.8773 | 4.152 | 211.9893 | 13.356 | 895 | 56.7667 | 5.5807
2020-03-17 11:15:00 | 3.0373 | 244.1947 | 3.2447 | 207.46 | 4.1727 | 239.8773 | 4.152 | 211.9893 | 13.356 | 895 | 56.7667 | 5.5807
2020-03-17 11:30:00 | 3.0373 | 244.1947 | 3.2447 | 207.46 | 4.1727 | 239.8773 | 4.152 | 211.9893 | 13.356 | 895 | 56.7667 | 5.5807
2020-03-17 11:45:00 | 3.0373 | 244.1947 | 3.2447 | 207.46 | 4.1727 | 239.8773 | 4.152 | 211.9893 | 13.356 | 895 | 56.7667 | 5.5807
2020-03-17 12:00:00 | 2.184 | 202.9067 | 2.3687 | 231.2113 | 2.922 | 198.4433 | 3.06 | 232.3933 | 15.7333 | 894 | 42.3573 | 1.1973
2020-03-17 12:15:00 | 2.184 | 202.9067 | 2.3687 | 231.2113 | 2.922 | 198.4433 | 3.06 | 232.3933 | 15.7333 | 894 | 42.3573 | 1.1973
2020-03-17 12:30:00 | 2.184 | 202.9067 | 2.3687 | 231.2113 | 2.922 | 198.4433 | 3.06 | 232.3933 | 15.7333 | 894 | 42.3573 | 1.1973
2020-03-17 12:45:00 | 3.1447 | 287.5333 | 3.3587 | 246.612 | 3.8853 | 281.208 | 4.0747 | 247.8727 | 16.4533 | 894 | 40.312 | 3.7
2020-03-17 13:00:00 | 3.3853 | 244.88 | 3.5833 | 304.3407 | 4.246 | 239.4927 | 4.3687 | 305.8973 | 16.5533 | 894 | 36.0087 | 6.6387
2020-03-17 13:15:00 | 3.206 | 288.2867 | 3.4293 | 323.4893 | 3.8967 | 281.944 | 4.116 | 325.144 | 16.86 | 894 | 33.8067 | 5.4833
2020-03-17 13:30:00 | 3.2307 | 307.36 | 3.5087 | 286.9453 | 3.4807 | 300.598 | 3.934 | 288.412 | 17.3733 | 893.4 | 32.864 | 4.5987
2020-03-17 13:45:00 | 3.1833 | 310.7133 | 3.4047 | 303.9367 | 3.6167 | 303.878 | 3.908 | 305.4907 | 17.52 | 893 | 29.7407 | 4.054
2020-03-17 14:00:00 | 2.562 | 310.78 | 2.774 | 189.4313 | 2.9547 | 303.9427 | 3.246 | 190.4013 | 18.2067 | 893 | 26.5207 | 1.6313
2020-03-17 14:15:00 | 2.3987 | 282.42 | 2.5967 | 84.336 | 2.8853 | 276.206 | 3.12 | 84.768 | 18.9133 | 893 | 25.398 | 0.88867
2020-03-17 14:30:00 | 2.3967 | 268.9667 | 2.598 | 166.8473 | 2.8327 | 263.05 | 3.0893 | 167.7013 | 19.16 | 893 | 25.74 | 0.96467
2020-03-17 14:45:00 | 2.404 | 263.5467 | 2.5813 | 148.8587 | 2.7233 | 257.7493 | 2.964 | 149.6187 | 19.58 | 893 | 24.42 | 1.0607
2020-03-17 15:00:00 | 2.5213 | 187.4667 | 2.7073 | 272.138 | 2.8933 | 183.3427 | 3.14 | 273.53 | 19.5 | 893 | 20.9 | 0.81067
2020-03-17 15:15:00 | 2.3013 | 189.6733 | 2.4433 | 134.3367 | 2.6373 | 185.5007 | 2.8107 | 135.0253 | 20.02 | 892.7333 | 19.756 | 0.21467
2020-03-17 15:30:00 | 1.984 | 130.2267 | 2.108 | 90.818 | 2.2973 | 127.3613 | 2.4453 | 91.2813 | 20.2267 | 892 | 17.2733 | 0
2020-03-17 15:45:00 | 2.1293 | 122.44 | 2.288 | 37.816 | 2.2507 | 119.746 | 2.518 | 38.0087 | 20.1 | 892 | 17.2987 | 0
2020-03-17 16:00:00 | 2.0527 | 250.6333 | 2.0947 | 130.8893 | 2.46 | 245.12 | 2.424 | 131.5587 | 19.8133 | 892 | 19.9567 | 0.050667
2020-03-17 16:15:00 | 1.9067 | 167.9133 | 1.86 | 265.826 | 2.282 | 164.2193 | 2.086 | 267.186 | 19.14 | 892 | 21.078 | 0.414
2020-03-17 16:30:00 | 1.6787 | 227.1 | 1.836 | 269.3733 | 2.1693 | 222.1033 | 2.3233 | 270.75 | 19.2667 | 892 | 22.618 | 0.17267
2020-03-17 16:45:00 | 1.1707 | 240.2867 | 1.2613 | 139.1053 | 1.3153 | 235 | 1.4453 | 139.8147 | 19.28 | 891.0667 | 23.7613 | 0.11667
2020-03-17 17:00:00 | 1.976 | 238.6 | 2.0853 | 167.7333 | 2.3467 | 233.3493 | 2.4433 | 168.5913 | 19.44 | 891 | 23.2953 | 0.091333
2020-03-17 17:15:00 | 2.0547 | 343.68 | 2.1947 | 59.612 | 2.2467 | 336.1193 | 2.4547 | 59.9167 | 19.4333 | 891 | 22.074 | 0
2020-03-17 17:30:00 | 1.732 | 217.3933 | 1.8853 | 65.5447 | 1.8673 | 212.61 | 2.1213 | 65.8807 | 19.5733 | 891 | 21.7313 | 0
2020-03-17 17:45:00 | 0.97933 | 148.3533 | 1.0053 | 173.1387 | 0.90667 | 145.09 | 0.98 | 174.0247 | 19.9067 | 891 | 22.6693 | 0
2020-03-17 18:00:00 | 0.82133 | 145.9733 | 0.86667 | 228.7087 | 1.0047 | 142.7633 | 1.0427 | 229.878 | 19.7 | 891 | 23.4687 | 0
2020-03-17 18:15:00 | 0.43267 | 142.9333 | 0.454 | 236.71 | 0.57333 | 139.788 | 0.572 | 237.92 | 19.8667 | 890.7333 | 22.9173 | 0
2020-03-17 18:30:00 | 0.792 | 130.2933 | 0.86733 | 209.6833 | 0.734 | 127.4273 | 0.892 | 210.7547 | 19.44 | 890 | 24.3573 | 0
2020-03-17 18:45:00 | 1.4613 | 161.4533 | 1.472 | 144.0273 | 1.5627 | 157.902 | 1.554 | 144.7633 | 18.9 | 890 | 24.4193 | 0
2020-03-17 19:00:00 | 1.2593 | 168.4533 | 1.2907 | 147.0193 | 1.412 | 164.7473 | 1.4287 | 147.77 | 18.7067 | 890 | 23.8093 | 0
2020-03-17 19:15:00 | 1.5487 | 171.7267 | 1.5993 | 154.6793 | 1.7313 | 167.948 | 1.7787 | 155.4727 | 18.5333 | 890 | 23.3967 | 0.085333
2020-03-17 19:30:00 | 2.1707 | 182.2733 | 2.2813 | 167.5707 | 2.4227 | 178.264 | 2.5593 | 168.4267 | 18.2533 | 889.4 | 23.436 | 1.0787
2020-03-17 19:45:00 | 2.93 | 179.38 | 3.0607 | 173.5893 | 3.3167 | 175.4333 | 3.452 | 174.4753 | 17.9733 | 889.2667 | 24.2107 | 5.43
2020-03-17 20:00:00 | 3.0207 | 178.24 | 2.9913 | 174.0633 | 3.0187 | 174.318 | 2.9707 | 174.954 | 17.52 | 889.4 | 25.4893 | 10.352
2020-03-17 20:15:00 | 3.0287 | 186.9467 | 2.996 | 174.2013 | 3.0667 | 182.8347 | 2.9953 | 175.0913 | 17.0533 | 889.9333 | 27.1753 | 11.0227
2020-03-17 20:30:00 | 3.2493 | 172.4533 | 3.2173 | 161.102 | 3.3933 | 168.6593 | 3.294 | 161.9267 | 16.6267 | 890 | 28.5473 | 12.2273
2020-03-17 20:45:00 | 3.46 | 154.7 | 3.5307 | 155.9647 | 3.804 | 151.2967 | 3.84 | 156.7613 | 16.4333 | 890 | 30.8607 | 16.4413
2020-03-17 21:00:00 | 3.3173 | 139.5067 | 3.3953 | 136.3467 | 3.8367 | 136.4373 | 3.8367 | 137.044 | 16.1933 | 890 | 32.3167 | 13.4013
2020-03-17 21:15:00 | 3.3713 | 130.1333 | 3.4853 | 128.4307 | 3.8227 | 127.2707 | 3.9133 | 129.0887 | 15.7533 | 890 | 34.3433 | 11.258
2020-03-17 21:30:00 | 3.5153 | 136.0333 | 3.6533 | 127.38 | 3.9493 | 133.04 | 4.0893 | 128.0333 | 15.5467 | 890 | 36.06 | 11.0907
2020-03-17 21:45:00 | 3.4847 | 133.7467 | 3.572 | 128.4893 | 3.9147 | 130.8027 | 3.9573 | 129.146 | 15.4267 | 890 | 37.1693 | 9.8
2020-03-17 22:00:00 | 3.4673 | 124.52 | 3.5573 | 122.7507 | 3.966 | 121.7793 | 3.9967 | 123.3787 | 15.3867 | 890 | 38.1847 | 10.0313
2020-03-17 22:15:00 | 3.308 | 132.12 | 3.4107 | 127.4527 | 3.8313 | 129.214 | 3.878 | 128.1053 | 15.34 | 890 | 39.0247 | 9.5307
2020-03-17 22:30:00 | 3.254 | 127.98 | 3.302 | 129.88 | 3.752 | 125.166 | 3.696 | 130.544 | 15.24 | 890 | 39.64 | 9.42
2020-03-17 22:45:00 | 3.222 | 131.36 | 3.286 | 128.058 | 3.738 | 128.468 | 3.714 | 128.714 | 15.02 | 890 | 40.27 | 9.726
2020-03-17 23:00:00 | 3.2687 | 132.5533 | 3.3167 | 125.7833 | 3.7913 | 129.6367 | 3.7353 | 126.4267 | 14.9067 | 890 | 41.376 | 9.614
2020-03-17 23:15:00 | 3.348 | 133.42 | 3.428 | 127.7007 | 3.8933 | 130.4853 | 3.8873 | 128.3533 | 14.76 | 890 | 42.0247 | 9.5913
2020-03-17 23:30:00 | 3.3147 | 132.26 | 3.3793 | 125.5107 | 3.7793 | 129.3507 | 3.77 | 126.1513 | 14.7533 | 890 | 42.2167 | 8.3607
2020-03-17 23:45:00 | 3.102 | 130.8133 | 3.1547 | 123.8467 | 3.618 | 127.936 | 3.5693 | 124.48 | 14.7667 | 890 | 42.7313 | 7.4007