## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-18 00:00:00 | 3.055 | 131.0071 | 3.105 | 124.6321 | 3.5429 | 128.1257 | 3.5036 | 125.2686 | 14.7071 | 890 | 43.2286 | 6.9507
2020-03-18 00:15:00 | 3.27 | 117.12 | 3.3487 | 123.2993 | 3.7667 | 114.5433 | 3.7767 | 123.9313 | 14.5933 | 890 | 43.858 | 8.6613
2020-03-18 00:30:00 | 3.162 | 122.4933 | 3.2427 | 124.4287 | 3.698 | 119.798 | 3.698 | 125.0633 | 14.5267 | 889.4 | 44.3513 | 7.9093
2020-03-18 00:45:00 | 3.018 | 122.46 | 3.173 | 125.895 | 3.647 | 119.767 | 3.762 | 126.54 | 14.44 | 889 | 44.947 | 8.018
2020-03-18 01:00:00 | 3.2033 | 130.8867 | 3.3073 | 119.742 | 3.6913 | 128.006 | 3.752 | 120.3507 | 14.3067 | 889 | 45.396 | 7.2807
2020-03-18 01:15:00 | 3.1667 | 130.9867 | 3.262 | 121.1673 | 3.6767 | 128.104 | 3.712 | 121.7873 | 14.24 | 889 | 45.738 | 6.6173
2020-03-18 01:30:00 | 3.254 | 127.5067 | 3.354 | 121.0307 | 3.756 | 124.7013 | 3.8027 | 121.6493 | 14.1067 | 889 | 46.352 | 7.4513
2020-03-18 01:45:00 | 3.35 | 124.4667 | 3.4567 | 122.2173 | 3.7967 | 121.7273 | 3.8733 | 122.8427 | 13.96 | 888.7333 | 46.4593 | 7.6867
2020-03-18 02:00:00 | 3.564 | 125.4267 | 3.6773 | 120.1367 | 4.0013 | 122.6673 | 4.094 | 120.752 | 13.94 | 888 | 46.5053 | 9.514
2020-03-18 02:15:00 | 3.5847 | 125.8933 | 3.6993 | 121.044 | 4.0467 | 123.1233 | 4.1333 | 121.6613 | 13.6933 | 888 | 47.354 | 9.672
2020-03-18 02:30:00 | 3.4813 | 133.0333 | 3.5487 | 124.6627 | 3.9687 | 130.106 | 3.9607 | 125.3 | 13.6467 | 888 | 48.7053 | 9.216
2020-03-18 02:45:00 | 3.5087 | 121.2733 | 3.59 | 127.3673 | 3.9593 | 119.8327 | 3.9847 | 128.0193 | 13.4867 | 888 | 49.2427 | 8.6207
2020-03-18 03:00:00 | 3.4393 | 134.2533 | 3.5133 | 129.4547 | 3.9267 | 131.2993 | 3.9253 | 130.1173 | 13.3267 | 888 | 50.258 | 8.9493
2020-03-18 03:15:00 | 3.1973 | 132.3667 | 3.2527 | 133.628 | 3.6993 | 129.454 | 3.66 | 134.3093 | 13.1 | 888 | 51.528 | 7.0113
2020-03-18 03:30:00 | 3.178 | 128.0867 | 3.234 | 131.6993 | 3.7247 | 125.268 | 3.6773 | 132.37 | 12.94 | 887.4 | 52.8227 | 6.8307
2020-03-18 03:45:00 | 3.2133 | 126.7 | 3.2873 | 127.0233 | 3.7393 | 123.912 | 3.732 | 127.6733 | 12.68 | 887 | 53.8327 | 6.8913
2020-03-18 04:00:00 | 3.3627 | 127.82 | 3.4627 | 119.6553 | 3.7927 | 125.01 | 3.8633 | 120.2653 | 12.46 | 887 | 54.326 | 6.9733
2020-03-18 04:15:00 | 3.1013 | 128.88 | 3.1747 | 128.992 | 3.5647 | 126.0433 | 3.5727 | 129.652 | 12.26 | 887 | 55.008 | 6.1753
2020-03-18 04:30:00 | 2.9047 | 131.54 | 2.9667 | 123.736 | 3.43 | 128.646 | 3.4 | 124.3687 | 12.1333 | 887 | 55.7553 | 5.3767
2020-03-18 04:45:00 | 2.6747 | 134.3333 | 2.7607 | 131.3513 | 3.2167 | 131.3787 | 3.2253 | 132.0247 | 11.98 | 887 | 56.3833 | 4.884
2020-03-18 05:00:00 | 2.4067 | 135.2733 | 2.472 | 130.406 | 2.854 | 132.2973 | 2.852 | 131.0733 | 11.7667 | 887 | 56.292 | 4.7733
2020-03-18 05:15:00 | 2.6387 | 131.1133 | 2.734 | 133.47 | 3.1107 | 128.2287 | 3.1587 | 134.1527 | 11.82 | 886.0667 | 57.046 | 4.7507
2020-03-18 05:30:00 | 2.4347 | 134.1533 | 2.5653 | 136.9587 | 2.8293 | 131.202 | 2.964 | 137.658 | 11.8067 | 886 | 57.944 | 3.1973
2020-03-18 05:45:00 | 2.2327 | 126 | 2.3293 | 132.518 | 2.5927 | 123.2293 | 2.6673 | 133.1967 | 11.9333 | 886.9333 | 57.682 | 1.3953
2020-03-18 06:00:00 | 2.242 | 122 | 2.3727 | 125.562 | 2.6193 | 119.3167 | 2.7547 | 126.204 | 11.7733 | 887 | 58.198 | 0.89067
2020-03-18 06:15:00 | 2.3747 | 121.1733 | 2.5147 | 123.502 | 2.5153 | 118.508 | 2.7387 | 124.1327 | 11.7467 | 887 | 58.8493 | 0.66333
2020-03-18 06:30:00 | 1.9493 | 125.4133 | 2.0513 | 131.632 | 2.0927 | 122.6547 | 2.2473 | 132.306 | 11.8267 | 887 | 59.952 | 0
2020-03-18 06:45:00 | 1.7847 | 105.1333 | 1.898 | 105.5453 | 1.9673 | 102.8207 | 2.13 | 106.086 | 11.7867 | 887 | 60.6993 | 0
2020-03-18 07:00:00 | 1.6933 | 102.4 | 1.77 | 101.5687 | 1.8247 | 100.148 | 1.932 | 102.0873 | 11.86 | 886.4 | 60.9387 | 0
2020-03-18 07:15:00 | 1.1373 | 105.0533 | 1.1313 | 119.9867 | 1.1073 | 102.7427 | 1.106 | 120.6 | 11.94 | 886.2667 | 61.7273 | 0
2020-03-18 07:30:00 | 0.888 | 55.8867 | 0.94 | 74.928 | 0.83 | 54.656 | 0.94267 | 75.31 | 12.0467 | 887 | 62.7347 | 0
2020-03-18 07:45:00 | 1.0073 | 154.48 | 1.0447 | 263.454 | 1.436 | 151.0813 | 1.3847 | 264.8 | 11.9867 | 887 | 62.7253 | 0
2020-03-18 08:00:00 | 1.384 | 281.9533 | 1.4227 | 273.5073 | 2.1333 | 275.7493 | 1.9913 | 274.906 | 11.9267 | 887 | 63.2727 | 0
2020-03-18 08:15:00 | 1.9213 | 333.8867 | 2.052 | 330.252 | 2.2307 | 326.54 | 2.39 | 331.9393 | 12.06 | 887 | 62.812 | 0
2020-03-18 08:30:00 | 1.6893 | 315.7867 | 1.7453 | 339.958 | 1.9293 | 308.8393 | 1.9693 | 341.696 | 12.1667 | 887.6 | 61.2093 | 0
2020-03-18 08:45:00 | 1.646 | 253.6133 | 1.6773 | 336.464 | 2.1667 | 248.0333 | 2.078 | 338.1853 | 12.1 | 888 | 62.2127 | 0
2020-03-18 09:00:00 | 1.658 | 229.18 | 1.6813 | 339.62 | 2.2507 | 224.138 | 2.12 | 341.3573 | 12.1067 | 888 | 61.9007 | 0.12133
2020-03-18 09:15:00 | 1.348 | 323.06 | 1.398 | 337.306 | 1.866 | 315.9527 | 1.8093 | 339.0293 | 12.2133 | 888 | 61.682 | 0
2020-03-18 09:30:00 | 0.79933 | 311.66 | 0.838 | 213.4913 | 0.97667 | 304.804 | 1.0007 | 214.5813 | 12.7333 | 888.6 | 59.568 | 0
2020-03-18 09:45:00 | 0.54 | 227.1333 | 0.55133 | 240.6407 | 0.702 | 222.136 | 0.676 | 241.8693 | 12.94 | 889 | 56.358 | 0
2020-03-18 10:00:00 | 0.78733 | 325.7533 | 0.816 | 105.2193 | 0.84733 | 318.5873 | 0.88667 | 105.758 | 13.0333 | 889.6 | 55.956 | 0
2020-03-18 10:15:00 | 0.6 | 203.92 | 0.62467 | 226.1067 | 0.712 | 199.434 | 0.72733 | 227.2627 | 13.8267 | 890 | 54.5047 | 0
2020-03-18 10:30:00 | 0.532 | 238.34 | 0.536 | 131.724 | 0.788 | 233.0973 | 0.71933 | 132.3973 | 14.2467 | 890 | 51.9913 | 0
2020-03-18 10:45:00 | 0.454 | 231.72 | 0.458 | 112.3867 | 0.624 | 226.6227 | 0.582 | 112.9587 | 14.22 | 890 | 53.328 | 0
2020-03-18 11:00:00 | 0.524 | 193.2933 | 0.558 | 198.2987 | 0.59933 | 189.04 | 0.644 | 199.3133 | 14.5133 | 890 | 53.8813 | 0
2020-03-18 11:15:00 | 0.92933 | 137.56 | 0.97 | 150.2013 | 1.086 | 134.5333 | 1.1153 | 150.968 | 14.7467 | 890.6667 | 53.1327 | 0
2020-03-18 11:30:00 | 0.864 | 143.3667 | 0.91733 | 113.134 | 1.126 | 140.2127 | 1.15 | 113.7127 | 15.1133 | 890 | 51.756 | 0
2020-03-18 11:45:00 | 1.0073 | 98.78 | 1.0433 | 160.3127 | 1.196 | 96.6053 | 1.2107 | 161.1333 | 15.7867 | 890 | 49.4493 | 0
2020-03-18 12:00:00 | 1.1147 | 126.1733 | 1.1 | 215.578 | 1.3373 | 123.398 | 1.248 | 216.6807 | 16.06 | 890 | 47.708 | 0
2020-03-18 12:15:00 | 1.0587 | 120.02 | 1.114 | 229.836 | 1.3327 | 117.3793 | 1.3587 | 231.0113 | 16.14 | 890 | 47.2987 | 0
2020-03-18 12:30:00 | 1.0207 | 176.4733 | 1.1 | 127.9027 | 1.2853 | 172.59 | 1.3593 | 128.5573 | 15.64 | 890 | 47.1533 | 0
2020-03-18 12:45:00 | 0.75733 | 162.18 | 0.81133 | 125.17 | 0.97733 | 158.6107 | 1.01 | 125.81 | 15.88 | 890 | 48.9307 | 0
2020-03-18 13:00:00 | 0.82867 | 84.54 | 0.888 | 164.3953 | 1.0113 | 82.68 | 1.0733 | 165.236 | 16.8 | 890 | 49.156 | 0
2020-03-18 13:15:00 | 1.4947 | 63.9533 | 1.5753 | 136.444 | 1.6627 | 62.5467 | 1.7673 | 137.1427 | 17.0267 | 889.7333 | 44.6753 | 0
2020-03-18 13:30:00 | 1.4027 | 139.56 | 1.5033 | 254.8213 | 1.5827 | 136.49 | 1.72 | 256.1247 | 17.6533 | 889.6 | 43.1213 | 0
2020-03-18 13:45:00 | 1.868 | 153.7667 | 1.948 | 220.6047 | 2.3893 | 150.3827 | 2.3907 | 221.7327 | 17.8133 | 889.0667 | 39.9933 | 0
2020-03-18 14:00:00 | 1.8467 | 180.96 | 1.984 | 163.496 | 2.582 | 176.9787 | 2.63 | 164.3313 | 18.3533 | 889 | 36.5987 | 0.055333
2020-03-18 14:15:00 | 1.78 | 171.7533 | 1.8893 | 198.704 | 2.4787 | 167.9753 | 2.4833 | 199.7187 | 18.6733 | 889 | 36.672 | 0
2020-03-18 14:30:00 | 1.7773 | 177.18 | 1.8613 | 167.512 | 2.4387 | 173.282 | 2.404 | 168.368 | 19.3467 | 889 | 36.912 | 0.24933
2020-03-18 14:45:00 | 2.142 | 236.4 | 2.242 | 243.4567 | 2.8273 | 231.1987 | 2.8193 | 244.7027 | 18.9467 | 889 | 34.5547 | 0.146
2020-03-18 15:00:00 | 1.886 | 227.4667 | 2.0033 | 152.9127 | 2.5273 | 222.4627 | 2.566 | 153.6953 | 19.2133 | 889 | 35.05 | 0.13
2020-03-18 15:15:00 | 2.3407 | 277.4733 | 2.5133 | 239.1533 | 2.8273 | 271.368 | 3.014 | 240.376 | 19.5733 | 888.7333 | 32.7067 | 0.16133
2020-03-18 15:30:00 | 2.0807 | 288.58 | 2.2007 | 157.7187 | 2.6807 | 282.2307 | 2.734 | 158.5253 | 19.98 | 888 | 30.154 | 0.296
2020-03-18 15:45:00 | 2.414 | 212.86 | 2.6227 | 261.0867 | 2.8687 | 208.1773 | 3.134 | 262.4213 | 20.5067 | 888.2667 | 28.1993 | 0.99867
2020-03-18 16:00:00 | 3.1127 | 323.0867 | 3.2913 | 268.0713 | 3.4547 | 315.9787 | 3.696 | 269.44 | 20.04 | 889 | 27.796 | 2.138
2020-03-18 16:15:00 | 3.234 | 270.0667 | 3.404 | 269.6607 | 3.66 | 264.124 | 3.8607 | 271.0387 | 19.3933 | 888.7333 | 28.6993 | 7.2093
2020-03-18 16:30:00 | 3.142 | 314.4 | 3.4267 | 289.09 | 3.8687 | 307.4827 | 4.1987 | 290.5693 | 19.4867 | 888 | 30.4993 | 9.068
2020-03-18 16:45:00 | 3.0433 | 232.3467 | 3.2693 | 283.256 | 3.614 | 227.236 | 3.8773 | 284.7027 | 19.5267 | 888 | 30.608 | 7.81
2020-03-18 17:00:00 | 2.9113 | 275.5733 | 3.02 | 306.4207 | 3.078 | 270.938 | 3.234 | 307.988 | 19.34 | 888 | 29.4393 | 5.086
2020-03-18 17:15:00 | 3.366 | 314.3933 | 3.5393 | 328.1907 | 3.6207 | 307.4767 | 3.878 | 329.868 | 19.2667 | 887.7333 | 29.3047 | 6.2793
2020-03-18 17:30:00 | 2.64 | 149.56 | 2.7313 | 287.6227 | 2.902 | 146.2693 | 3.0027 | 289.0933 | 19.3333 | 887 | 29.1567 | 3.6927
2020-03-18 17:45:00 | 2.3307 | 271.86 | 2.4393 | 321.8987 | 2.66 | 265.88 | 2.7747 | 323.5447 | 19.3133 | 887 | 30.4167 | 1.8393
2020-03-18 18:00:00 | 2.06 | 282.58 | 2.1173 | 327.8527 | 2.2393 | 276.3627 | 2.2967 | 329.5273 | 19.3333 | 887 | 30.4287 | 0.22267
2020-03-18 18:15:00 | 1.9333 | 101.26 | 2.016 | 326.6787 | 2.126 | 99.0333 | 2.2253 | 328.3493 | 19.32 | 887 | 31.2287 | 0.30467
2020-03-18 18:30:00 | 1.9553 | 145.58 | 2.0353 | 271.9173 | 2.1707 | 142.3767 | 2.2647 | 273.3073 | 19.2533 | 887 | 31.2327 | 0.083333
2020-03-18 18:45:00 | 1.6773 | 61.2933 | 1.7647 | 143.296 | 1.7733 | 59.944 | 1.9127 | 144.0287 | 19.2467 | 886.7333 | 31.2013 | 0
2020-03-18 19:00:00 | 1.218 | 16.1267 | 1.2973 | 243.7767 | 1.332 | 15.7713 | 1.4493 | 245.0233 | 19.16 | 886 | 31.142 | 0
2020-03-18 19:15:00 | 0.86 | 211.3 | 0.93533 | 315.4973 | 0.97867 | 206.652 | 1.09 | 317.11 | 19.08 | 886.2667 | 31.1227 | 0
2020-03-18 19:30:00 | 0.72533 | 334.7733 | 0.77267 | 299.7847 | 0.806 | 327.4073 | 0.87333 | 301.316 | 19.1 | 887 | 30.746 | 0
2020-03-18 19:45:00 | 0.85467 | 323.7 | 0.894 | 305.904 | 1.0407 | 316.5787 | 1.0567 | 307.47 | 19.0933 | 887 | 30.408 | 0
2020-03-18 20:00:00 | 1.2267 | 303.38 | 1.2473 | 293.6413 | 1.3573 | 296.704 | 1.3593 | 295.1433 | 19.1133 | 887 | 30.3347 | 0
2020-03-18 20:15:00 | 1.3847 | 305.3467 | 1.4053 | 287.916 | 1.51 | 298.6287 | 1.5147 | 289.3893 | 19.1 | 887 | 30.6567 | 0
2020-03-18 20:30:00 | 1.132 | 259.5733 | 1.1147 | 296.966 | 1.3213 | 253.864 | 1.2327 | 298.4847 | 19.1733 | 887 | 30.952 | 0
2020-03-18 20:45:00 | 0.66733 | 229.8667 | 0.618 | 290.9227 | 0.64733 | 224.81 | 0.55867 | 292.4107 | 19.16 | 887 | 31.0253 | 0
2020-03-18 21:00:00 | 0.49133 | 90.7 | 0.47 | 161.4273 | 0.594 | 88.704 | 0.52533 | 162.2527 | 19.0067 | 887.6 | 31.768 | 0
2020-03-18 21:15:00 | 0.71467 | 130.0467 | 0.74333 | 88.3973 | 0.93467 | 127.1867 | 0.92267 | 88.8513 | 18.8933 | 888 | 31.6833 | 0
2020-03-18 21:30:00 | 0.72267 | 117.8067 | 0.71667 | 134.6707 | 0.988 | 115.214 | 0.90267 | 135.3573 | 18.4667 | 888 | 32.638 | 0
2020-03-18 21:45:00 | 0.632 | 188.3733 | 0.66067 | 143.0093 | 0.83133 | 184.2287 | 0.83067 | 143.7413 | 18.7067 | 888 | 34.2273 | 0
2020-03-18 22:00:00 | 0.82867 | 128.28 | 0.79133 | 186.9007 | 1.0107 | 125.4567 | 0.88933 | 187.8573 | 18.7533 | 888 | 35.484 | 0
2020-03-18 22:15:00 | 0.92533 | 108.4133 | 0.88933 | 197.7053 | 1.2247 | 106.0287 | 1.0727 | 198.716 | 18.7067 | 888 | 37.9207 | 0
2020-03-18 22:30:00 | 0.87143 | 93.0286 | 0.89571 | 182.3829 | 1.2614 | 90.98 | 1.1929 | 183.3171 | 18.4143 | 888 | 39.2929 | 0
2020-03-18 22:45:00 | 0.91333 | 74.0889 | 0.98667 | 174.0411 | 1.5578 | 72.46 | 1.51 | 174.93 | 18.0556 | 888 | 40.3 | 0
2020-03-18 23:00:00 | 1.0347 | 102.06 | 1.1267 | 165.0407 | 1.6713 | 99.8153 | 1.6633 | 165.8847 | 17.76 | 889 | 43.5067 | 0
2020-03-18 23:15:00 | 1.1127 | 126.08 | 1.1833 | 109.8027 | 1.51 | 123.3073 | 1.5253 | 110.3653 | 17.34 | 888.7333 | 44.85 | 0
2020-03-18 23:30:00 | 0.872 | 142.2733 | 0.95133 | 109.9913 | 1.1573 | 139.1453 | 1.222 | 110.5533 | 16.9267 | 888 | 46.3 | 0
2020-03-18 23:45:00 | 0.798 | 151.16 | 0.89333 | 115.86 | 1.0747 | 147.814 | 1.1767 | 116.452 | 16.92 | 888 | 46.396 | 0