## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-19 00:00:00 | 0.981 | 161.75 | 1.093 | 130.728 | 1.219 | 158.192 | 1.36 | 131.396 | 16.83 | 888 | 46.392 | 0
2020-03-19 00:15:00 | 1.0013 | 175.8733 | 1.1433 | 175.9867 | 1.2687 | 172.004 | 1.4507 | 176.8867 | 16.86 | 888 | 46.562 | 0
2020-03-19 00:30:00 | 0.932 | 181.3067 | 1.1207 | 203.1493 | 1.3427 | 177.3173 | 1.574 | 204.1887 | 17.0533 | 888 | 46.6173 | 0
2020-03-19 00:45:00 | 0.85667 | 161.4533 | 1.0007 | 145.1733 | 1.1407 | 157.9013 | 1.33 | 145.9167 | 16.68 | 888 | 46.85 | 0.20667
2020-03-19 01:00:00 | 0.554 | 170.5267 | 0.65267 | 216.77 | 0.81 | 166.7753 | 0.92467 | 217.8773 | 16.4333 | 888 | 48.716 | 0
2020-03-19 01:15:00 | 0.535 | 142.99 | 0.618 | 157.125 | 0.724 | 139.844 | 0.824 | 157.93 | 16.52 | 888 | 48.276 | 0.125
2020-03-19 01:30:00 | 0.51667 | 120.4583 | 0.525 | 147.2133 | 0.55833 | 117.8092 | 0.56 | 147.9667 | 16.2417 | 888 | 49.055 | 0
2020-03-19 01:45:00 | 0.14333 | 86.88 | 0.14533 | 102.37 | 0.16467 | 84.9693 | 0.16 | 102.8927 | 16.3133 | 888 | 47.3613 | 0
2020-03-19 02:00:00 | 0.668 | 207.1133 | 0.63067 | 331.106 | 0.84467 | 202.5567 | 0.72267 | 332.7993 | 16.1333 | 888 | 46.36 | 0.099333
2020-03-19 02:15:00 | 1.782 | 338.3667 | 1.7393 | 323.6053 | 2.208 | 330.922 | 2.0013 | 325.2607 | 16.2 | 888 | 48.1567 | 0.16467
2020-03-19 02:30:00 | 2.6653 | 279.8733 | 2.7367 | 326.314 | 3.3033 | 273.7167 | 3.256 | 327.9827 | 16.42 | 888 | 48.7427 | 2.1767
2020-03-19 02:45:00 | 3.254 | 344.7067 | 3.3853 | 317.1407 | 4.0433 | 337.1227 | 4.068 | 318.7613 | 15.98 | 887.7333 | 47.884 | 6.004
2020-03-19 03:00:00 | 3.4813 | 329.5667 | 3.6033 | 317.6547 | 4.4707 | 322.3167 | 4.418 | 319.2787 | 14.6467 | 887 | 51.1993 | 9.4193
2020-03-19 03:15:00 | 4.2227 | 334.3067 | 4.4107 | 321.1307 | 5.1867 | 326.9507 | 5.2633 | 322.772 | 14.38 | 887 | 53.6747 | 14.4427
2020-03-19 03:30:00 | 4.6967 | 345.2133 | 4.9827 | 324.82 | 5.672 | 337.618 | 5.9333 | 326.48 | 14.2733 | 887 | 54.5533 | 18.574
2020-03-19 03:45:00 | 4.9393 | 353.4 | 5.2407 | 326.66 | 5.826 | 345.6253 | 6.1373 | 328.328 | 13.8 | 886.7333 | 55.844 | 20.2107
2020-03-19 04:00:00 | 4.892 | 351.6667 | 5.206 | 331.0913 | 5.73 | 343.9307 | 6.0853 | 332.7847 | 14 | 886 | 56.5253 | 20.1947
2020-03-19 04:15:00 | 4.81 | 355.0778 | 5.1056 | 329.5433 | 5.65 | 347.522 | 5.97 | 331.2289 | 14.2333 | 886 | 56.3683 | 19.484
2020-03-19 04:30:00 | 5.0927 | 351.3667 | 5.4373 | 326.3907 | 5.9933 | 343.6367 | 6.392 | 328.06 | 13.6933 | 886 | 55.412 | 22.616
2020-03-19 04:45:00 | 5.6207 | 349.2733 | 5.9833 | 325.3233 | 6.5687 | 341.5893 | 6.98 | 326.9853 | 13.84 | 886 | 54.8673 | 27.75
2020-03-19 05:00:00 | 5.6073 | 345.6733 | 5.9633 | 327.354 | 6.602 | 338.0667 | 6.986 | 329.03 | 13.3533 | 886 | 55.0967 | 28.9607
2020-03-19 05:15:00 | 5.7913 | 345.9533 | 6.1793 | 325.5827 | 6.8027 | 338.3407 | 7.242 | 327.248 | 13.3533 | 886 | 56.0587 | 31.274
2020-03-19 05:30:00 | 5.556 | 350.2533 | 5.92 | 326.626 | 6.6087 | 342.548 | 6.9933 | 328.2953 | 13.1067 | 886 | 56.72 | 29.238
2020-03-19 05:45:00 | 5.734 | 350.7067 | 6.1213 | 325.1653 | 6.7967 | 342.9907 | 7.2207 | 326.8273 | 13.08 | 886 | 56.0873 | 31.986
2020-03-19 06:00:00 | 6.1573 | 349.0267 | 6.5513 | 328.1773 | 7.1613 | 341.3487 | 7.62 | 329.8573 | 13.08 | 886 | 55.096 | 36.124
2020-03-19 06:15:00 | 6.5353 | 344.3667 | 6.944 | 330.4527 | 7.5573 | 336.7907 | 8.034 | 332.1427 | 13.3933 | 886 | 56.3427 | 39.5707
2020-03-19 06:30:00 | 6.483 | 315.52 | 6.922 | 329.116 | 7.554 | 308.578 | 8.074 | 330.799 | 13.17 | 886 | 57.786 | 40.377
2020-03-19 06:45:00 | 6.424 | 347.0067 | 6.8367 | 329.5607 | 7.4507 | 339.3713 | 7.9387 | 331.2447 | 13.04 | 886 | 58.5207 | 39.75
2020-03-19 07:00:00 | 6.1793 | 349.62 | 6.5273 | 329.6387 | 7.1533 | 341.9293 | 7.536 | 331.3233 | 12.7733 | 886 | 57.4767 | 37.5287
2020-03-19 07:15:00 | 5.5213 | 349.1667 | 5.8253 | 328.4647 | 6.592 | 341.4867 | 6.8553 | 330.1447 | 12.6067 | 886 | 56.7887 | 32.6873
2020-03-19 07:30:00 | 5.3693 | 350.4933 | 5.694 | 326.6773 | 6.4707 | 342.782 | 6.762 | 328.3487 | 12.66 | 886 | 55.6273 | 30.358
2020-03-19 07:45:00 | 5.2373 | 329.06 | 5.51 | 326.7887 | 6.42 | 321.8207 | 6.596 | 328.4587 | 12.6 | 886.2667 | 55.9427 | 29.0213
2020-03-19 08:00:00 | 5.1693 | 279.0467 | 5.4427 | 327.1407 | 6.3567 | 272.9073 | 6.5333 | 328.8127 | 12.46 | 887 | 55.3087 | 28.856
2020-03-19 08:15:00 | 4.6587 | 307.3333 | 4.894 | 323.8947 | 5.774 | 300.5713 | 5.892 | 325.5507 | 12.8267 | 887.2667 | 53.8967 | 22.7967
2020-03-19 08:30:00 | 4.246 | 259.6733 | 4.45 | 326.1693 | 5.0467 | 253.96 | 5.2 | 327.836 | 13.0667 | 888 | 52.9453 | 16.1027
2020-03-19 08:45:00 | 4.1353 | 236.3933 | 4.4007 | 326.0393 | 4.674 | 231.194 | 5.0213 | 327.7067 | 13.44 | 888.2667 | 52.828 | 12.786
2020-03-19 09:00:00 | 3.7467 | 76.5867 | 4.0107 | 331.3787 | 4.0593 | 74.9007 | 4.472 | 333.074 | 13.5333 | 889 | 52.7467 | 8.4107
2020-03-19 09:15:00 | 4.2507 | 189.72 | 4.4767 | 334.1107 | 4.982 | 185.5453 | 5.2033 | 335.8193 | 13.9067 | 889 | 51.2327 | 10.7467
2020-03-19 09:30:00 | 4.0827 | 320.8 | 4.248 | 331.1187 | 4.7473 | 313.7427 | 4.8687 | 332.8107 | 14.2333 | 889.6 | 50.594 | 9.628
2020-03-19 09:45:00 | 3.724 | 337.7133 | 3.9067 | 328.8353 | 4.32 | 330.2827 | 4.4927 | 330.5167 | 14.5267 | 890 | 49.9867 | 7.3047
2020-03-19 10:00:00 | 3.4333 | 288.1 | 3.6147 | 327.408 | 3.916 | 281.7613 | 4.122 | 329.0827 | 14.5667 | 890 | 47.8887 | 6.21
2020-03-19 10:15:00 | 3.0087 | 296.9267 | 3.0893 | 329.0647 | 3.4733 | 290.394 | 3.498 | 330.7473 | 14.76 | 890 | 48.09 | 2.91
2020-03-19 10:30:00 | 2.2107 | 249.2667 | 2.296 | 330.434 | 2.4633 | 243.7813 | 2.5533 | 332.1233 | 15.1933 | 890 | 42.652 | 0.32267
2020-03-19 10:45:00 | 1.3273 | 194.1267 | 1.3467 | 201.5467 | 1.372 | 189.8553 | 1.4007 | 202.5767 | 16.2333 | 890 | 39.3653 | 0
2020-03-19 11:00:00 | 1.004 | 205.02 | 1.0407 | 99.3007 | 1.112 | 200.5107 | 1.1493 | 99.8087 | 17.5133 | 890 | 38.78 | 0
2020-03-19 11:15:00 | 1.0467 | 179.9 | 1.0373 | 75.4487 | 1.2013 | 175.9427 | 1.14 | 75.836 | 18.2867 | 890.6667 | 37.1373 | 0
2020-03-19 11:30:00 | 1.5147 | 138.7333 | 1.5233 | 126.0513 | 1.8867 | 135.6807 | 1.796 | 126.696 | 18.36 | 890 | 33.5347 | 0
2020-03-19 11:45:00 | 1.3227 | 144.36 | 1.3533 | 136.4513 | 1.72 | 141.184 | 1.6627 | 137.148 | 18.0667 | 890 | 34.956 | 0
2020-03-19 12:00:00 | 2.044 | 157.0733 | 2.0033 | 142.0313 | 2.366 | 153.6173 | 2.2 | 142.7593 | 18.2667 | 890 | 38.7407 | 0.39867
2020-03-19 12:15:00 | 2.4453 | 201.1867 | 2.4693 | 159.5907 | 2.4827 | 196.7613 | 2.516 | 160.406 | 18.5133 | 890 | 36.7433 | 2.496
2020-03-19 12:30:00 | 3.0647 | 193.0067 | 3.2467 | 143.3813 | 3.26 | 188.76 | 3.55 | 144.1133 | 18.6667 | 890 | 33.0173 | 4.5013
2020-03-19 12:45:00 | 2.7847 | 191.6267 | 2.88 | 152.0793 | 3.0447 | 187.41 | 3.152 | 152.8567 | 19.06 | 890 | 30.5313 | 5.6967
2020-03-19 13:00:00 | 3.114 | 179.6667 | 3.194 | 142.4893 | 3.4593 | 171.496 | 3.5147 | 143.216 | 18.9867 | 890 | 30.3753 | 6.062
2020-03-19 13:15:00 | 2.8673 | 184.0333 | 2.9167 | 130.5633 | 3.3327 | 179.984 | 3.2967 | 131.23 | 19.1933 | 889.7333 | 31.596 | 4.694
2020-03-19 13:30:00 | 2.864 | 169.3533 | 2.9793 | 140.9687 | 3.288 | 165.628 | 3.3867 | 141.69 | 19.6133 | 889 | 32.2193 | 5.7087
2020-03-19 13:45:00 | 2.6533 | 203.76 | 2.762 | 154.002 | 3.0567 | 199.278 | 3.1487 | 154.7893 | 20.0467 | 889 | 32.0213 | 6.9033
2020-03-19 14:00:00 | 2.8487 | 207.6467 | 2.9567 | 150.9973 | 3.3087 | 203.0787 | 3.382 | 151.7693 | 20.36 | 889 | 32.0467 | 6.5393
2020-03-19 14:15:00 | 2.9747 | 184.3 | 3.078 | 160.0347 | 3.0907 | 180.2447 | 3.2547 | 160.8527 | 20.6933 | 889 | 31.5933 | 8.8907
2020-03-19 14:30:00 | 3.28 | 184.2133 | 3.3753 | 165.1053 | 3.2727 | 180.162 | 3.4607 | 165.9507 | 20.6867 | 888.4 | 31.3487 | 11.3907
2020-03-19 14:45:00 | 3.28 | 184.2133 | 3.3753 | 165.1053 | 3.2727 | 180.162 | 3.4607 | 165.9507 | 20.6867 | 888.4 | 31.3487 | 11.3907
2020-03-19 15:00:00 | 3.856 | 169.4933 | 4.138 | 168.9387 | 4.1493 | 165.764 | 4.5993 | 169.8033 | 21.0867 | 888 | 30.0527 | 17.024
2020-03-19 15:15:00 | 4.78 | 171.8267 | 5.0413 | 140.924 | 4.7127 | 168.0467 | 5.2293 | 141.6447 | 20.9733 | 887.7333 | 27.5393 | 20.7407
2020-03-19 15:30:00 | 4.9127 | 158.8667 | 5.1953 | 141.504 | 5.272 | 155.3707 | 5.7067 | 142.2267 | 21.0533 | 887 | 27.1407 | 22.1007
2020-03-19 15:45:00 | 5.2893 | 145.4333 | 5.5133 | 137.254 | 6.0753 | 142.2327 | 6.272 | 137.954 | 21.0267 | 887 | 28.0667 | 24.968
2020-03-19 16:00:00 | 4.7913 | 162.56 | 5.108 | 164.1607 | 5.8147 | 158.9833 | 6.1153 | 165.0007 | 21.4533 | 887 | 27.5033 | 27.4667
2020-03-19 16:15:00 | 5.3 | 184.72 | 5.6693 | 162.0347 | 5.6673 | 180.6567 | 6.2593 | 162.862 | 21.34 | 887 | 27.4047 | 35.9047
2020-03-19 16:30:00 | 5.3327 | 172.0733 | 5.6553 | 149.8887 | 5.4013 | 168.288 | 5.9973 | 150.6547 | 21.18 | 887 | 23.726 | 35.754
2020-03-19 16:45:00 | 4.3227 | 163.3733 | 4.6493 | 160.1107 | 4.884 | 159.78 | 5.34 | 160.9307 | 21.2267 | 886.0667 | 23.234 | 30.8413
2020-03-19 17:00:00 | 5.0153 | 177.1933 | 5.2533 | 171.3527 | 5.1893 | 173.2953 | 5.594 | 172.2273 | 20.98 | 886 | 24.392 | 29.796
2020-03-19 17:15:00 | 4.462 | 175.4733 | 4.7713 | 163.072 | 4.45 | 171.6133 | 5.0433 | 163.9047 | 20.8667 | 886 | 26.5347 | 31.6593
2020-03-19 17:30:00 | 4.9667 | 162.66 | 5.2887 | 148.636 | 5.2267 | 159.0807 | 5.7633 | 149.396 | 20.76 | 886 | 27.1307 | 29.6533
2020-03-19 17:45:00 | 5.3793 | 154.06 | 5.608 | 141.3987 | 5.6973 | 150.6707 | 6.0413 | 142.1227 | 20.5 | 886 | 28.5533 | 28.4113
2020-03-19 18:00:00 | 5.6513 | 149.04 | 5.892 | 137.6113 | 6.2613 | 145.7627 | 6.542 | 138.3153 | 20.3267 | 886 | 31.2213 | 29.2407
2020-03-19 18:15:00 | 5.6053 | 149.08 | 5.9107 | 134.2667 | 6.0253 | 145.7993 | 6.48 | 134.9527 | 20.0533 | 885.0667 | 32.8547 | 26.0593
2020-03-19 18:30:00 | 5.6867 | 148.2067 | 5.9787 | 138.4347 | 6.152 | 144.9473 | 6.574 | 139.14 | 19.82 | 885 | 33.9867 | 27.0113
2020-03-19 18:45:00 | 5.0673 | 151.04 | 5.284 | 141.1887 | 5.596 | 147.7167 | 5.8573 | 141.9133 | 19.5867 | 885 | 35.3293 | 25.0813
2020-03-19 19:00:00 | 5.316 | 153.7 | 5.5753 | 140.258 | 5.668 | 150.318 | 6.0587 | 140.9747 | 19.38 | 885 | 36.3587 | 28.042
2020-03-19 19:15:00 | 4.5907 | 149.4267 | 4.8767 | 142.3707 | 4.9767 | 146.14 | 5.4107 | 143.098 | 19.1733 | 885 | 37.394 | 20.1673
2020-03-19 19:30:00 | 4.6473 | 146.4067 | 4.9067 | 146.9927 | 5.1967 | 143.1853 | 5.532 | 147.744 | 18.9533 | 885 | 38.0727 | 21.0767
2020-03-19 19:45:00 | 4.7647 | 142.68 | 5.07 | 142.638 | 5.2487 | 139.5407 | 5.69 | 143.3667 | 18.8133 | 885 | 38.64 | 21.858
2020-03-19 20:00:00 | 4.074 | 144.28 | 4.2347 | 146.3687 | 4.382 | 141.1047 | 4.6007 | 147.116 | 18.6733 | 885 | 38.818 | 14.792
2020-03-19 20:15:00 | 3.5173 | 147.8533 | 3.63 | 152.5747 | 3.8093 | 144.6007 | 3.9393 | 153.3547 | 18.4733 | 885 | 39.7567 | 11.2253
2020-03-19 20:30:00 | 3.2567 | 140.3133 | 3.3 | 142.8273 | 3.7133 | 137.2273 | 3.6673 | 143.558 | 18.3667 | 885 | 40.7913 | 10.196
2020-03-19 20:45:00 | 3.4993 | 147.5067 | 3.6033 | 146.4973 | 4.0287 | 144.2613 | 4.0753 | 147.2467 | 18.18 | 885 | 39.808 | 12.1973
2020-03-19 21:00:00 | 3.666 | 151.8933 | 3.764 | 141.752 | 4.1053 | 148.552 | 4.164 | 142.476 | 18.1467 | 885.6 | 39.1427 | 12.582
2020-03-19 21:15:00 | 4.262 | 158.6133 | 4.3687 | 145.382 | 4.7233 | 155.122 | 4.7947 | 146.126 | 18.12 | 886 | 40.426 | 14.6993
2020-03-19 21:30:00 | 4.2287 | 152.9333 | 4.3073 | 143.068 | 4.62 | 149.57 | 4.66 | 143.7993 | 18.1133 | 886 | 41.82 | 16.5893
2020-03-19 21:45:00 | 3.922 | 156.94 | 3.976 | 140.3627 | 4.2167 | 153.4873 | 4.2407 | 141.08 | 18.0733 | 886 | 42.3693 | 15.4027
2020-03-19 22:00:00 | 3.7993 | 154.42 | 3.8867 | 138.5487 | 4.172 | 151.0227 | 4.232 | 139.2587 | 18.02 | 886 | 43.5787 | 14.0087
2020-03-19 22:15:00 | 3.5527 | 157.1133 | 3.654 | 133.836 | 3.9273 | 153.656 | 4.012 | 134.522 | 17.84 | 886 | 44.432 | 13.8867
2020-03-19 22:30:00 | 3.82 | 144.925 | 4.0075 | 137.7025 | 4.27 | 141.7375 | 4.4975 | 138.4075 | 17.7 | 886 | 44.7 | 15.24
2020-03-19 22:45:00 | 3.9633 | 153.2778 | 4.1089 | 135.7456 | 4.35 | 151.3944 | 4.5462 | 136.4411 | 17.5875 | 886 | 45.202 | 15.0756
2020-03-19 23:00:00 | 3.726 | 152.64 | 3.8833 | 141.1447 | 4.134 | 149.2833 | 4.316 | 141.8667 | 17.56 | 886 | 45.746 | 14.1807
2020-03-19 23:15:00 | 3.8787 | 153.74 | 4.0133 | 141.6467 | 4.2587 | 150.3587 | 4.4047 | 142.3713 | 17.4133 | 886 | 45.878 | 15.1533
2020-03-19 23:30:00 | 3.5887 | 149.8667 | 3.7393 | 145.402 | 3.954 | 146.5687 | 4.1333 | 146.1467 | 17.2667 | 886 | 46.1853 | 14.654
2020-03-19 23:45:00 | 2.9813 | 146.0867 | 3.0927 | 150.5267 | 3.3127 | 142.872 | 3.4287 | 151.2967 | 17.26 | 886 | 47.088 | 12.6507