## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-20 00:00:00 | 2.8179 | 154.1429 | 2.8907 | 151.2821 | 3.1029 | 150.7514 | 3.16 | 152.0564 | 17.0643 | 886 | 47.345 | 12.085
2020-03-20 00:15:00 | 2.6907 | 156.9733 | 2.694 | 151.5053 | 2.796 | 153.5193 | 2.7767 | 152.28 | 17.1067 | 886 | 47.442 | 10.774
2020-03-20 00:30:00 | 2.726 | 159.2333 | 2.718 | 159.0493 | 2.8133 | 155.73 | 2.7747 | 159.8613 | 17.1067 | 886 | 48.1187 | 10.886
2020-03-20 00:45:00 | 2.6947 | 175.1933 | 2.668 | 161.1413 | 2.8 | 171.3387 | 2.7187 | 161.9653 | 17.0267 | 885.7333 | 48.4113 | 10.0147
2020-03-20 01:00:00 | 2.854 | 184.9333 | 2.8913 | 157.81 | 3.0507 | 180.864 | 3.0667 | 158.6173 | 16.9467 | 885 | 47.8973 | 10.0187
2020-03-20 01:15:00 | 3.3773 | 166.9867 | 3.428 | 153.3107 | 3.5913 | 163.3127 | 3.6287 | 154.0947 | 16.9133 | 885 | 47.232 | 11.8207
2020-03-20 01:30:00 | 3.528 | 162.9533 | 3.5913 | 148.3233 | 3.726 | 159.368 | 3.7947 | 149.082 | 16.8933 | 885 | 48.1247 | 13.2727
2020-03-20 01:45:00 | 3.2853 | 158.2733 | 3.3813 | 147.7293 | 3.49 | 154.7907 | 3.6187 | 148.486 | 16.6067 | 885 | 48.3707 | 12.426
2020-03-20 02:00:00 | 3.1027 | 160.12 | 3.1993 | 155.828 | 3.1747 | 156.5987 | 3.3447 | 156.6247 | 16.4933 | 885 | 49.688 | 11.8753
2020-03-20 02:15:00 | 2.8087 | 170.5733 | 2.918 | 162.7507 | 2.8587 | 167.1593 | 3.0527 | 163.584 | 16.3467 | 885 | 51.29 | 11.5133
2020-03-20 02:30:00 | 2.7007 | 171.6867 | 2.7547 | 174.8147 | 2.786 | 167.9107 | 2.8667 | 175.708 | 16.3733 | 885 | 51.942 | 11.2793
2020-03-20 02:45:00 | 2.63 | 169.8733 | 2.6327 | 170.2187 | 2.7073 | 166.1367 | 2.6953 | 171.0893 | 16.4333 | 884.0667 | 52.388 | 9.726
2020-03-20 03:00:00 | 2.4593 | 173.08 | 2.4713 | 170.1067 | 2.6407 | 169.2727 | 2.6127 | 170.976 | 16.3067 | 884 | 53.1593 | 8.618
2020-03-20 03:15:00 | 2.374 | 179.8733 | 2.394 | 162.5307 | 2.5733 | 175.9153 | 2.556 | 163.3627 | 16.0533 | 884 | 53.4013 | 7.6473
2020-03-20 03:30:00 | 2.3007 | 171.2 | 2.3393 | 157.0933 | 2.4873 | 167.434 | 2.5093 | 157.896 | 16.12 | 884 | 52.6333 | 6.2267
2020-03-20 03:45:00 | 2.346 | 168.48 | 2.398 | 149.9073 | 2.5287 | 164.7747 | 2.5773 | 150.6753 | 16.0867 | 884 | 52.0327 | 5.8353
2020-03-20 04:00:00 | 2.388 | 165.2867 | 2.4593 | 144.1833 | 2.578 | 161.6493 | 2.66 | 144.9207 | 16.04 | 883.4 | 52.204 | 5.7553
2020-03-20 04:15:00 | 2.4133 | 157.5467 | 2.5113 | 145.4413 | 2.6253 | 154.0793 | 2.7507 | 146.1853 | 15.94 | 883 | 52.646 | 4.94
2020-03-20 04:30:00 | 2.0987 | 148.0333 | 2.1547 | 145.78 | 2.3693 | 144.7767 | 2.4013 | 146.5267 | 15.9133 | 883 | 51.908 | 4.4313
2020-03-20 04:45:00 | 2.1633 | 143.82 | 2.2547 | 137.2973 | 2.4267 | 140.656 | 2.5253 | 138 | 15.8533 | 883 | 52.0433 | 3.6133
2020-03-20 05:00:00 | 2.3633 | 138.7933 | 2.4873 | 135.7213 | 2.6267 | 135.7407 | 2.786 | 136.414 | 15.6867 | 883 | 51.858 | 3.9127
2020-03-20 05:15:00 | 2.084 | 145.6933 | 2.13 | 134.1167 | 2.2627 | 142.4887 | 2.3053 | 134.802 | 15.76 | 882.0667 | 51.4567 | 2.146
2020-03-20 05:30:00 | 2.0153 | 141.3467 | 2.1427 | 136.3333 | 2.3153 | 138.2367 | 2.4687 | 137.0307 | 15.64 | 882 | 51.5287 | 1.3973
2020-03-20 05:45:00 | 2.454 | 139.6267 | 2.584 | 136.4053 | 2.5947 | 136.5533 | 2.804 | 137.102 | 15.62 | 882 | 52.308 | 1.7247
2020-03-20 06:00:00 | 2.5113 | 135.32 | 2.6173 | 130.994 | 2.668 | 132.3427 | 2.826 | 131.6633 | 15.66 | 882 | 52.512 | 2.2387
2020-03-20 06:15:00 | 2.4913 | 127.06 | 2.6193 | 130.3547 | 2.576 | 124.2653 | 2.7993 | 131.02 | 15.5867 | 882 | 52.74 | 2.358
2020-03-20 06:30:00 | 2.486 | 123.3933 | 2.6113 | 126.2333 | 2.6233 | 120.6787 | 2.8227 | 126.8793 | 15.5133 | 882 | 53.296 | 2.882
2020-03-20 06:45:00 | 2.3573 | 119.3933 | 2.4407 | 126.8467 | 2.4227 | 116.7687 | 2.56 | 127.496 | 15.52 | 882 | 53.1547 | 2.6773
2020-03-20 07:00:00 | 2.2387 | 118.9067 | 2.3387 | 122.8367 | 2.39 | 116.2907 | 2.538 | 123.4647 | 15.4333 | 882 | 54.3667 | 2.3893
2020-03-20 07:15:00 | 2.3433 | 131.1333 | 2.4367 | 133.2887 | 2.4907 | 128.25 | 2.6247 | 133.9707 | 15.1533 | 882 | 55.646 | 2.6813
2020-03-20 07:30:00 | 2.164 | 137.5867 | 2.2473 | 151.5113 | 2.3087 | 134.5607 | 2.4307 | 152.2867 | 14.46 | 882.6 | 58.0627 | 3.6187
2020-03-20 07:45:00 | 2.4707 | 124.1733 | 2.5787 | 134.2013 | 2.6873 | 121.4413 | 2.8333 | 134.888 | 14.66 | 883 | 60.1773 | 3.9487
2020-03-20 08:00:00 | 2.7053 | 125.5667 | 2.8067 | 128.346 | 2.9247 | 122.8033 | 3.0527 | 129.004 | 15.3867 | 883 | 58.492 | 4.0293
2020-03-20 08:15:00 | 2.49 | 124.38 | 2.5873 | 123.5333 | 2.5573 | 121.644 | 2.7247 | 124.1667 | 15.58 | 883.9333 | 53.8487 | 2.872
2020-03-20 08:30:00 | 2.126 | 122.3467 | 2.2073 | 121.696 | 2.2067 | 119.6547 | 2.3447 | 122.3167 | 15.78 | 884 | 49.62 | 1.822
2020-03-20 08:45:00 | 1.744 | 135.2467 | 1.8153 | 129.5713 | 1.8393 | 132.272 | 1.9427 | 130.2347 | 15.8533 | 884.9333 | 51.9173 | 1.3953
2020-03-20 09:00:00 | 1.4013 | 159.6133 | 1.464 | 168.2227 | 1.6573 | 156.1007 | 1.7047 | 169.0827 | 15.84 | 885 | 53.9447 | 1.0793
2020-03-20 09:15:00 | 1.3073 | 139.4467 | 1.3253 | 142.0647 | 1.5893 | 136.3787 | 1.5427 | 142.7907 | 16.26 | 885.9333 | 54.0207 | 0.99
2020-03-20 09:30:00 | 1.336 | 175.0733 | 1.342 | 150.07 | 1.58 | 172.2127 | 1.5193 | 150.8367 | 16.6867 | 886 | 53.7687 | 0.72333
2020-03-20 09:45:00 | 1.1093 | 138.2467 | 1.1113 | 144.026 | 1.206 | 135.2053 | 1.1833 | 144.7633 | 17.22 | 886 | 51.686 | 0.26867
2020-03-20 10:00:00 | 1.6413 | 130.9333 | 1.6813 | 137.16 | 1.7207 | 128.0507 | 1.776 | 137.8627 | 17.6067 | 886 | 49.148 | 0.312
2020-03-20 10:15:00 | 1.5393 | 144.0067 | 1.5867 | 127.2893 | 1.634 | 140.8387 | 1.6953 | 127.94 | 17.7133 | 886 | 48.0653 | 0.344
2020-03-20 10:30:00 | 1.9833 | 154.9 | 1.9653 | 130.602 | 2.1493 | 151.492 | 2.0733 | 131.27 | 17.74 | 886 | 48.526 | 0.398
2020-03-20 10:45:00 | 2.1713 | 172.24 | 2.124 | 129.3513 | 2.3333 | 168.4507 | 2.1967 | 130.0127 | 17.8 | 886 | 47.1733 | 0.92
2020-03-20 11:00:00 | 2.4087 | 137.4467 | 2.4227 | 131.078 | 2.658 | 134.4213 | 2.614 | 131.7487 | 17.9733 | 886 | 46.264 | 1.2673
2020-03-20 11:15:00 | 2.7793 | 147.8067 | 2.8413 | 124.42 | 3.116 | 144.5553 | 3.14 | 125.0573 | 18.1067 | 886 | 45.9547 | 2.194
2020-03-20 11:30:00 | 2.7287 | 163.82 | 2.7227 | 126.3187 | 3.1647 | 160.216 | 3.0307 | 126.9647 | 17.9533 | 886 | 45.604 | 2.5147
2020-03-20 11:45:00 | 2.684 | 151.5533 | 2.7013 | 127.2887 | 3.1127 | 148.702 | 3.0253 | 127.9407 | 18.2867 | 885.0667 | 44.7053 | 2.2853
2020-03-20 12:00:00 | 2.592 | 165.7733 | 2.638 | 127.4067 | 3.056 | 162.1247 | 3.0087 | 128.058 | 18.6067 | 885 | 44.22 | 2.886
2020-03-20 12:15:00 | 2.6893 | 158.3467 | 2.7593 | 135.154 | 3.166 | 154.864 | 3.1627 | 135.844 | 19.0667 | 885 | 43.3553 | 3.7013
2020-03-20 12:30:00 | 2.7527 | 180.6933 | 2.856 | 141.2633 | 3.0793 | 176.7193 | 3.182 | 141.984 | 19.5067 | 885 | 41.9787 | 5.146
2020-03-20 12:45:00 | 2.9487 | 166.7933 | 3.03 | 135.4333 | 3.3873 | 163.1253 | 3.4213 | 136.126 | 19.5733 | 885 | 40.972 | 6.048
2020-03-20 13:00:00 | 2.616 | 172.6133 | 2.7913 | 150.032 | 3.1833 | 168.8153 | 3.354 | 150.7987 | 20.1933 | 885 | 40.1187 | 6.5007
2020-03-20 13:15:00 | 2.4333 | 197.2533 | 2.4527 | 86.162 | 2.816 | 192.914 | 2.7453 | 86.6013 | 20.4467 | 884.7333 | 39.0287 | 2.6147
2020-03-20 13:30:00 | 2.692 | 149.44 | 2.846 | 87.0947 | 3.1847 | 146.152 | 3.332 | 87.5407 | 20.3667 | 884 | 39.584 | 2.2813
2020-03-20 13:45:00 | 2.2487 | 168.9133 | 2.4947 | 136.3067 | 2.6693 | 165.1973 | 3.018 | 137.0033 | 21.0133 | 884 | 39.3713 | 2.1773
2020-03-20 14:00:00 | 2.95 | 176.7 | 3.054 | 116.154 | 3.31 | 172.8113 | 3.4053 | 116.7467 | 20.7667 | 883.4 | 38.6187 | 3.6073
2020-03-20 14:15:00 | 2.7127 | 158.1467 | 2.842 | 111.87 | 3.0413 | 154.666 | 3.1933 | 112.4427 | 21.08 | 883.2667 | 37.3907 | 4.1073
2020-03-20 14:30:00 | 2.768 | 159.0733 | 2.9033 | 137.48 | 3.1653 | 155.574 | 3.3093 | 138.184 | 21.4933 | 883.4 | 36.9927 | 4.4753
2020-03-20 14:45:00 | 3.0787 | 170.02 | 3.214 | 157.986 | 3.476 | 166.28 | 3.62 | 158.7933 | 21.9667 | 883 | 35.8733 | 4.2467
2020-03-20 15:00:00 | 2.8507 | 176.8933 | 3 | 138.2373 | 3.074 | 173.0027 | 3.292 | 138.9447 | 21.9333 | 883 | 35.526 | 5.0667
2020-03-20 15:15:00 | 2.6353 | 197.2467 | 2.7493 | 164.44 | 2.8093 | 192.9073 | 2.9833 | 165.2813 | 22.28 | 882.7333 | 33.94 | 3.6293
2020-03-20 15:30:00 | 2.2207 | 174.72 | 2.3673 | 147.4627 | 2.498 | 170.876 | 2.698 | 148.216 | 22.6067 | 882 | 32.7253 | 2.336
2020-03-20 15:45:00 | 2.7713 | 181.5533 | 2.9267 | 137.298 | 2.772 | 177.56 | 3.0673 | 138.0007 | 22.42 | 882 | 32.6347 | 4.5687
2020-03-20 16:00:00 | 2.9913 | 179.1 | 3.1393 | 162.446 | 2.958 | 175.16 | 3.2493 | 163.2773 | 22.2667 | 882 | 33.218 | 6.938
2020-03-20 16:15:00 | 3.4567 | 175.9267 | 3.6153 | 147.6453 | 3.7493 | 172.0567 | 3.9653 | 148.4007 | 22.3733 | 882 | 33.2907 | 7.464
2020-03-20 16:30:00 | 3.1433 | 165.6533 | 3.4167 | 142.6453 | 3.4807 | 162.01 | 3.9013 | 143.374 | 22.3467 | 882 | 33.43 | 7.434
2020-03-20 16:45:00 | 3.106 | 173.8067 | 3.36 | 159.806 | 3.4107 | 169.982 | 3.806 | 160.6227 | 22.34 | 881.0667 | 32.9293 | 7.0333
2020-03-20 17:00:00 | 3.478 | 173.7867 | 3.6613 | 135.8247 | 3.778 | 169.9647 | 4.0427 | 136.5193 | 22.08 | 881 | 32.5407 | 7.6253
2020-03-20 17:15:00 | 3.554 | 168.5067 | 3.8033 | 146.5627 | 3.6133 | 164.7993 | 4.07 | 147.3133 | 22.1133 | 881 | 32.9947 | 10.1987
2020-03-20 17:30:00 | 4.132 | 160.3067 | 4.36 | 141.7067 | 4.2973 | 156.7793 | 4.686 | 142.4307 | 22.0733 | 881 | 32.132 | 13.0247
2020-03-20 17:45:00 | 3.534 | 171.0933 | 3.7753 | 156.954 | 3.8393 | 167.3293 | 4.2113 | 157.7587 | 22.0533 | 881 | 31.83 | 11.7907
2020-03-20 18:00:00 | 3.3573 | 171.9867 | 3.552 | 166.814 | 3.3847 | 168.202 | 3.7493 | 167.668 | 21.9067 | 880.4 | 32.9007 | 11.6027
2020-03-20 18:15:00 | 3.7273 | 171.7267 | 3.924 | 168.3787 | 3.8533 | 167.95 | 4.1927 | 169.24 | 21.6867 | 880 | 33.6013 | 12.648
2020-03-20 18:30:00 | 3.608 | 173.5867 | 3.8013 | 169.6447 | 3.688 | 169.7687 | 4.0353 | 170.5107 | 21.4 | 880 | 34.3693 | 11.952
2020-03-20 18:45:00 | 3.3307 | 167.6867 | 3.542 | 167.082 | 3.6087 | 163.9973 | 3.9327 | 167.9367 | 21.0933 | 880 | 35.2287 | 11.6047
2020-03-20 19:00:00 | 3.5727 | 160.1733 | 3.822 | 161.9313 | 3.508 | 156.65 | 4.002 | 162.758 | 20.9133 | 880 | 35.6513 | 11.6907
2020-03-20 19:15:00 | 3.4633 | 161.26 | 3.7113 | 168.8027 | 3.326 | 157.7113 | 3.8427 | 169.666 | 20.7733 | 880 | 35.618 | 11.0867
2020-03-20 19:30:00 | 3.3273 | 157.4733 | 3.5653 | 161.6633 | 3.3493 | 154.006 | 3.798 | 162.4913 | 20.5267 | 880 | 36.2553 | 11.1173
2020-03-20 19:45:00 | 3.1627 | 155.5067 | 3.39 | 156.7667 | 3.1513 | 152.084 | 3.588 | 157.57 | 20.4067 | 880 | 37.166 | 10.0653
2020-03-20 20:00:00 | 3.19 | 161.8533 | 3.4087 | 156.3293 | 3.2413 | 158.2927 | 3.6453 | 157.1293 | 20.2333 | 880 | 37.5673 | 10.1127
2020-03-20 20:15:00 | 2.8987 | 155.82 | 3.0707 | 155.306 | 2.8847 | 152.392 | 3.2147 | 156.1007 | 20.12 | 880 | 38.2047 | 9.0553
2020-03-20 20:30:00 | 2.9413 | 152.18 | 3.0893 | 144.8613 | 3.07 | 148.832 | 3.314 | 145.602 | 20.04 | 880 | 38.878 | 8.4167
2020-03-20 20:45:00 | 2.6873 | 152.4867 | 2.8787 | 148.1333 | 3.0173 | 149.1327 | 3.2893 | 148.8913 | 19.8467 | 880 | 39.93 | 6.85
2020-03-20 21:00:00 | 2.484 | 148.62 | 2.7073 | 145.6127 | 2.912 | 145.3493 | 3.214 | 146.3553 | 19.8133 | 880 | 40.4813 | 5.58
2020-03-20 21:15:00 | 2.324 | 153.6333 | 2.5033 | 146.8507 | 2.5427 | 150.2527 | 2.8173 | 147.5993 | 19.7267 | 880 | 40.7607 | 3.262
2020-03-20 21:30:00 | 2.006 | 163.4133 | 2.1493 | 148.4987 | 1.988 | 159.818 | 2.2667 | 149.2587 | 19.7867 | 880.6 | 40.5727 | 2.5087
2020-03-20 21:45:00 | 2.128 | 165.3 | 2.1873 | 148.172 | 2.0793 | 161.6633 | 2.208 | 148.9293 | 19.9 | 880.0667 | 40.9813 | 3.118
2020-03-20 22:00:00 | 1.9053 | 168.1733 | 1.988 | 151.4927 | 1.8927 | 164.4747 | 2.0587 | 152.2647 | 19.8867 | 880.6 | 40.778 | 2.7753
2020-03-20 22:15:00 | 1.774 | 166.62 | 1.8767 | 162.7407 | 1.7887 | 162.9547 | 1.9813 | 163.5713 | 19.7933 | 881 | 40.6507 | 2.486
2020-03-20 22:30:00 | 1.5753 | 137.14 | 1.6327 | 156.896 | 1.802 | 134.1233 | 1.8467 | 157.6987 | 19.7467 | 881 | 40.4153 | 2.038
2020-03-20 22:45:00 | 1.2083 | 150.35 | 1.305 | 137.465 | 1.5067 | 147.0433 | 1.6025 | 138.1683 | 19.5417 | 881 | 41.1008 | 1.5442
2020-03-20 23:00:00 | 1.4167 | 155.58 | 1.46 | 172.662 | 1.6773 | 152.1567 | 1.686 | 173.5453 | 19.5933 | 881 | 41.1673 | 1.0173
2020-03-20 23:15:00 | 1.1667 | 175.16 | 1.21 | 184.2167 | 1.4907 | 171.3067 | 1.4807 | 185.1587 | 19.4933 | 881 | 40.2033 | 1.3207
2020-03-20 23:30:00 | 1.1447 | 191.3467 | 1.1307 | 196.676 | 1.234 | 187.136 | 1.182 | 197.6807 | 19.48 | 881 | 40.3913 | 1.244
2020-03-20 23:45:00 | 1.2927 | 204.4067 | 1.306 | 190.528 | 1.3767 | 199.91 | 1.3773 | 191.5013 | 19.5067 | 881 | 41.0513 | 1.69