## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-23 00:00:00 | 1.1286 | 188.3857 | 1.1757 | 181.9379 | 1.0307 | 184.2407 | 1.1457 | 182.8664 | 16.8071 | 887 | 57.588 | 0.15643
2020-03-23 00:15:00 | 0.876 | 219.56 | 0.83667 | 188.0233 | 0.74133 | 214.7293 | 0.71 | 188.9847 | 16.4933 | 887 | 60.996 | 0.204
2020-03-23 00:30:00 | 0.58467 | 210.46 | 0.58067 | 228.93 | 0.684 | 205.8293 | 0.64933 | 230.1013 | 16.3667 | 887 | 61.768 | 0
2020-03-23 00:45:00 | 0.72467 | 214.3667 | 0.71067 | 293.5173 | 1.066 | 209.65 | 0.94267 | 295.018 | 16.3133 | 887 | 63.0267 | 0
2020-03-23 01:00:00 | 1.1 | 64.9733 | 1.0747 | 327.01 | 1.4347 | 63.5447 | 1.29 | 328.682 | 16.1267 | 887 | 64.512 | 0
2020-03-23 01:15:00 | 0.87733 | 38.0133 | 0.87533 | 227.7627 | 1.3687 | 37.1773 | 1.2153 | 228.9267 | 16.2267 | 887 | 66.222 | 0
2020-03-23 01:30:00 | 1.5279 | 79.2929 | 1.4579 | 339.0529 | 2.2836 | 77.5486 | 1.9336 | 340.785 | 15.7357 | 886.4286 | 67.9264 | 0.13786
2020-03-23 01:45:00 | 2.0527 | 320.9667 | 2.0067 | 322.884 | 2.7667 | 313.906 | 2.4733 | 324.534 | 15.4333 | 886 | 69.8553 | 1.0833
2020-03-23 02:00:00 | 2.222 | 297.12 | 2.1693 | 313.1687 | 2.784 | 290.582 | 2.5227 | 314.77 | 15.0667 | 886 | 71.726 | 1.4127
2020-03-23 02:15:00 | 2.212 | 266.44 | 2.136 | 319.996 | 2.61 | 260.58 | 2.3547 | 321.6313 | 14.66 | 886 | 73.24 | 1.0533
2020-03-23 02:30:00 | 2.602 | 309.0067 | 2.5767 | 322.2047 | 3.234 | 302.2087 | 3.0027 | 323.8527 | 14.52 | 886 | 74.4333 | 2.296
2020-03-23 02:45:00 | 2.8847 | 335.1267 | 2.894 | 315.9587 | 3.6367 | 327.7547 | 3.4393 | 317.574 | 14.1667 | 886 | 76.414 | 4.2073
2020-03-23 03:00:00 | 2.8927 | 315.88 | 2.912 | 310.522 | 3.6607 | 308.93 | 3.4773 | 312.1087 | 13.9 | 886 | 78.4547 | 4.522
2020-03-23 03:15:00 | 2.8607 | 319.6067 | 2.818 | 320.7653 | 3.68 | 312.5753 | 3.3647 | 322.404 | 14.0333 | 886 | 80.0573 | 4.424
2020-03-23 03:30:00 | 3.2307 | 330.8067 | 3.2753 | 321.1427 | 4.082 | 323.5287 | 3.92 | 322.7853 | 13.6333 | 886 | 81.6667 | 5.3653
2020-03-23 03:45:00 | 3.1453 | 331.08 | 3.1393 | 319.6693 | 4.076 | 323.7967 | 3.8013 | 321.3047 | 13.2667 | 885.0667 | 82.84 | 5.9313
2020-03-23 04:00:00 | 2.9493 | 331.38 | 2.9573 | 322.0553 | 3.6993 | 324.0893 | 3.4973 | 323.702 | 13.0933 | 885 | 83.4667 | 4.2533
2020-03-23 04:15:00 | 3.0247 | 324.0667 | 2.9887 | 319.9627 | 3.7493 | 316.9373 | 3.4687 | 321.598 | 13.0867 | 885 | 83.84 | 4.886
2020-03-23 04:30:00 | 3.178 | 332.16 | 3.2073 | 315.7573 | 3.8473 | 324.852 | 3.7087 | 317.3713 | 12.9333 | 885 | 84.6133 | 4.9093
2020-03-23 04:45:00 | 2.948 | 312.4667 | 2.8833 | 315.7627 | 3.628 | 305.5927 | 3.312 | 317.3793 | 12.64 | 885 | 85.3267 | 4.344
2020-03-23 05:00:00 | 3.2653 | 332.8933 | 3.246 | 319.1213 | 4.0473 | 325.5707 | 3.7847 | 320.754 | 12.4667 | 885 | 85.86 | 6.0433
2020-03-23 05:15:00 | 3.9433 | 337.2067 | 4.03 | 318.2273 | 4.796 | 329.788 | 4.7207 | 319.854 | 12.1267 | 885 | 87.4067 | 9.9813
2020-03-23 05:30:00 | 3.9267 | 334.5867 | 4.0267 | 324.4093 | 4.9553 | 327.2267 | 4.848 | 326.0673 | 12.0067 | 885 | 88.82 | 10.9287
2020-03-23 05:45:00 | 4.1807 | 330.64 | 4.2933 | 327.1727 | 5.2493 | 323.366 | 5.1533 | 328.848 | 11.7067 | 885 | 89.5467 | 14.0273
2020-03-23 06:00:00 | 4.76 | 312.8 | 4.9873 | 322.596 | 5.8353 | 305.918 | 5.95 | 324.2473 | 11.6533 | 885 | 90.4867 | 17.998
2020-03-23 06:15:00 | 5.3073 | 335.5533 | 5.602 | 323.5633 | 6.3593 | 328.1713 | 6.6107 | 325.216 | 11.48 | 885 | 90.2067 | 24.2373
2020-03-23 06:30:00 | 5.3373 | 338.42 | 5.694 | 326.0247 | 6.416 | 330.9747 | 6.7787 | 327.6913 | 11.3867 | 885 | 90.1533 | 26.0667
2020-03-23 06:45:00 | 4.904 | 337.48 | 5.1633 | 322.1673 | 6.0247 | 330.0547 | 6.1907 | 323.812 | 11.2133 | 885 | 90.58 | 22.0827
2020-03-23 07:00:00 | 4.7387 | 329.3733 | 4.9273 | 316.2647 | 5.8627 | 322.128 | 5.896 | 317.8827 | 11.1867 | 885 | 90.94 | 19.318
2020-03-23 07:15:00 | 4.26 | 325.5667 | 4.3973 | 322.5913 | 5.484 | 318.404 | 5.394 | 324.2393 | 11.16 | 885 | 91.14 | 17.2667
2020-03-23 07:30:00 | 4.2287 | 334.3067 | 4.31 | 319.108 | 5.2187 | 326.9513 | 5.0933 | 320.74 | 11.22 | 885 | 90.5933 | 14.394
2020-03-23 07:45:00 | 4.5327 | 333.56 | 4.7213 | 321.266 | 5.5887 | 326.2227 | 5.64 | 322.91 | 11.3133 | 885.9333 | 90.0533 | 18.1933
2020-03-23 08:00:00 | 4.5233 | 336.36 | 4.7313 | 322.422 | 5.626 | 328.9607 | 5.7047 | 324.068 | 11.4733 | 886 | 89.58 | 18.3973
2020-03-23 08:15:00 | 4.5327 | 335.2933 | 4.712 | 316.584 | 5.616 | 327.916 | 5.642 | 318.204 | 11.6067 | 886 | 88.5067 | 17.992
2020-03-23 08:30:00 | 4.304 | 332.48 | 4.4153 | 319.31 | 5.5347 | 325.1667 | 5.3907 | 320.942 | 11.5867 | 886.6 | 88.18 | 17.3207
2020-03-23 08:45:00 | 4.2127 | 328.3467 | 4.3207 | 322.91 | 5.328 | 321.124 | 5.2127 | 324.5607 | 11.68 | 887 | 88.32 | 15.6913
2020-03-23 09:00:00 | 4.55 | 311.8 | 4.7267 | 322.798 | 5.412 | 304.9413 | 5.4987 | 324.4487 | 11.82 | 887 | 87.54 | 17.2533
2020-03-23 09:15:00 | 4.3353 | 335.7867 | 4.4833 | 327.212 | 5.1947 | 328.4007 | 5.226 | 328.8853 | 12.0067 | 887 | 86.5867 | 14.6693
2020-03-23 09:30:00 | 4.5307 | 331.48 | 4.698 | 326.5793 | 5.24 | 324.1873 | 5.3507 | 328.2493 | 12.4 | 887.6 | 82.6867 | 13.5547
2020-03-23 09:45:00 | 4.732 | 318.5733 | 5.0333 | 328.8753 | 5.4127 | 311.5647 | 5.788 | 330.5573 | 12.7 | 888 | 79.6213 | 15.4807
2020-03-23 10:00:00 | 4.33 | 335.4667 | 4.65 | 325.2893 | 5.1933 | 328.086 | 5.5507 | 326.9527 | 13.28 | 888 | 78.1787 | 13.8133
2020-03-23 10:15:00 | 3.8167 | 313.5133 | 4.044 | 323.2347 | 4.668 | 306.616 | 4.85 | 324.8887 | 13.9533 | 888.9333 | 74.634 | 9.312
2020-03-23 10:30:00 | 2.9693 | 291.58 | 3.054 | 323.2227 | 3.56 | 285.1653 | 3.5473 | 324.876 | 14.5 | 889 | 72.6047 | 3.59
2020-03-23 10:45:00 | 2.2633 | 312.76 | 2.288 | 323.3393 | 2.758 | 305.8793 | 2.668 | 324.992 | 14.9733 | 889 | 71.3273 | 0.77533
2020-03-23 11:00:00 | 1.6013 | 254.0133 | 1.65 | 318.1187 | 1.8747 | 248.424 | 1.8873 | 319.744 | 15.7333 | 889 | 70.1273 | 0
2020-03-23 11:15:00 | 1.2013 | 176.0667 | 1.34 | 223.91 | 1.2227 | 172.1947 | 1.4787 | 225.0553 | 16.8867 | 889 | 69.248 | 0
2020-03-23 11:30:00 | 1.3353 | 152.78 | 1.3127 | 149.7507 | 1.6287 | 149.4187 | 1.502 | 150.5167 | 17.2467 | 889 | 68.6193 | 0
2020-03-23 11:45:00 | 1.5747 | 114.8667 | 1.6 | 119.3287 | 1.8493 | 112.3393 | 1.8193 | 119.9393 | 17.86 | 889 | 66.606 | 0
2020-03-23 12:00:00 | 1.8893 | 104.16 | 1.9027 | 122.674 | 2.0667 | 101.8687 | 2.042 | 123.302 | 17.88 | 889 | 64.3793 | 0
2020-03-23 12:15:00 | 1.812 | 159.88 | 1.9127 | 129.3633 | 2.1433 | 156.3633 | 2.2353 | 130.0247 | 18.38 | 889 | 60.1767 | 0
2020-03-23 12:30:00 | 2.3587 | 185.9 | 2.3873 | 126.7293 | 2.7387 | 181.8107 | 2.6847 | 127.378 | 18.46 | 889 | 58.5447 | 0.14867
2020-03-23 12:45:00 | 2.06 | 199.86 | 2.084 | 118.9253 | 2.4773 | 195.4633 | 2.4013 | 119.5333 | 18.7733 | 889 | 57.7453 | 0.021333
2020-03-23 13:00:00 | 1.762 | 233.2333 | 1.7853 | 106.8093 | 2.1013 | 228.102 | 2.048 | 107.356 | 19.44 | 888.4 | 57.2427 | 0
2020-03-23 13:15:00 | 2.1087 | 172.54 | 2.186 | 135.224 | 2.6667 | 168.744 | 2.652 | 135.9167 | 19.8133 | 888 | 56.622 | 0.12533
2020-03-23 13:30:00 | 2.074 | 170.4133 | 2.2147 | 118.24 | 2.8913 | 166.6647 | 2.92 | 118.8453 | 20.0933 | 888 | 54.8447 | 1.262
2020-03-23 13:45:00 | 2.7913 | 174.8067 | 2.9127 | 136.4513 | 3.2587 | 170.9627 | 3.3547 | 137.1473 | 19.9933 | 888 | 53.0987 | 2.7187
2020-03-23 14:00:00 | 2.6327 | 170.7933 | 2.782 | 131.1487 | 3.118 | 167.0353 | 3.2627 | 131.8207 | 19.9267 | 888 | 51.2147 | 2.5533
2020-03-23 14:15:00 | 2.6967 | 193.5667 | 2.7567 | 134.3 | 2.9053 | 189.3073 | 2.9607 | 134.984 | 20.26 | 888 | 50.1453 | 2.098
2020-03-23 14:30:00 | 2.6993 | 190.3933 | 2.8073 | 151.1853 | 2.9473 | 186.2047 | 3.0813 | 151.958 | 20.7933 | 887.4 | 47.5987 | 3.2087
2020-03-23 14:45:00 | 2.912 | 174.3933 | 3.0747 | 160.4047 | 3.214 | 170.5573 | 3.436 | 161.2233 | 20.9667 | 887.6667 | 45.8927 | 3.402
2020-03-23 15:00:00 | 2.7893 | 163.5467 | 2.9067 | 160.5933 | 3.2433 | 159.9493 | 3.3353 | 161.414 | 20.9533 | 887 | 46.0553 | 4.268
2020-03-23 15:15:00 | 3.1053 | 162.5267 | 3.224 | 140.5633 | 3.372 | 158.952 | 3.52 | 141.2833 | 20.8667 | 887 | 46.58 | 3.564
2020-03-23 15:30:00 | 3.1193 | 170.0929 | 3.1936 | 132.1557 | 3.4057 | 166.35 | 3.4729 | 132.8307 | 20.7857 | 887 | 46.2457 | 4.5453
2020-03-23 15:45:00 | 3.072 | 181.5667 | 3.126 | 139.0133 | 3.5107 | 177.5713 | 3.4893 | 139.7233 | 21.0533 | 887 | 46.1027 | 4.9233
2020-03-23 16:00:00 | 2.596 | 178.0333 | 2.67 | 151.0687 | 3.0273 | 174.1153 | 3.0473 | 151.8413 | 21.4867 | 887 | 45.3007 | 5.0027
2020-03-23 16:15:00 | 2.5413 | 161 | 2.7127 | 158.356 | 2.9 | 157.4587 | 3.1193 | 159.1667 | 21.54 | 887 | 45.6833 | 1.9033
2020-03-23 16:30:00 | 2.494 | 185.3467 | 2.5527 | 138.596 | 2.754 | 181.268 | 2.7927 | 139.3047 | 21.56 | 887 | 45.464 | 0.93867
2020-03-23 16:45:00 | 2.428 | 164.0533 | 2.5353 | 163.1247 | 2.7887 | 160.4447 | 2.89 | 163.958 | 21.3733 | 886.3333 | 45.17 | 1.6107
2020-03-23 17:00:00 | 2.066 | 156 | 2.2213 | 162.812 | 2.3547 | 152.5687 | 2.5707 | 163.6433 | 21.3333 | 887 | 46.0647 | 2.0467
2020-03-23 17:15:00 | 2.274 | 150.6867 | 2.4313 | 171.3773 | 2.6653 | 147.3707 | 2.8527 | 172.254 | 21.7067 | 886.0667 | 46.3207 | 1.2673
2020-03-23 17:30:00 | 2.3013 | 180.0267 | 2.376 | 147.0447 | 2.452 | 176.0653 | 2.5513 | 147.7967 | 21.5933 | 886 | 46.4787 | 0
2020-03-23 17:45:00 | 2.1633 | 179.6333 | 2.1733 | 142.0453 | 2.38 | 175.68 | 2.3393 | 142.7713 | 21.58 | 886 | 48.29 | 0.54533
2020-03-23 18:00:00 | 2.2793 | 135.8467 | 2.4973 | 175.0567 | 2.916 | 132.8587 | 3.1433 | 175.9513 | 21.6933 | 886 | 49.388 | 1.1867
2020-03-23 18:15:00 | 2.586 | 133.12 | 2.6793 | 134.938 | 2.9847 | 130.1927 | 3.0487 | 135.6267 | 21.26 | 886 | 50.988 | 1.186
2020-03-23 18:30:00 | 2.7 | 128.06 | 2.8553 | 120.7373 | 3.174 | 125.2427 | 3.3347 | 121.3547 | 20.9733 | 885.4 | 52.2027 | 2.126
2020-03-23 18:45:00 | 2.6873 | 143.1933 | 2.8207 | 129.7673 | 3.1513 | 140.0427 | 3.2733 | 130.4307 | 20.7267 | 885 | 53.282 | 1.9967
2020-03-23 19:00:00 | 2.3687 | 149.9667 | 2.5327 | 148.3433 | 2.8587 | 146.668 | 3.028 | 149.1007 | 20.54 | 885 | 53.8787 | 2.0027
2020-03-23 19:15:00 | 2.22 | 156.6867 | 2.2993 | 152.998 | 2.4313 | 153.24 | 2.5213 | 153.78 | 20.5333 | 885 | 54.1647 | 1.5513
2020-03-23 19:30:00 | 2.3287 | 152.8267 | 2.3827 | 147 | 2.5033 | 149.4647 | 2.5573 | 147.75 | 20.4467 | 885 | 55.23 | 2.154
2020-03-23 19:45:00 | 2.1107 | 170.4 | 2.1827 | 163.326 | 2.3507 | 166.652 | 2.4207 | 164.1607 | 20.2667 | 885 | 55.6953 | 3.11
2020-03-23 20:00:00 | 2.2287 | 193.5733 | 2.3153 | 167.4453 | 2.4387 | 189.3147 | 2.5433 | 168.3033 | 20.1533 | 885 | 56.454 | 3.9673
2020-03-23 20:15:00 | 2.316 | 182.8533 | 2.3713 | 171.8813 | 2.504 | 178.8307 | 2.56 | 172.7593 | 20.1267 | 885 | 56.3067 | 4.8067
2020-03-23 20:30:00 | 2.3667 | 195.9733 | 2.4447 | 172.662 | 2.6247 | 191.6627 | 2.7 | 173.5447 | 20.0533 | 885 | 56.2073 | 5.4127
2020-03-23 20:45:00 | 2.5613 | 180.9267 | 2.7133 | 171.3393 | 2.946 | 176.9467 | 3.1247 | 172.2147 | 19.9667 | 885.2667 | 56.89 | 5.4407
2020-03-23 21:00:00 | 2.312 | 171.6733 | 2.4187 | 167.9927 | 2.5 | 167.8967 | 2.652 | 168.8513 | 19.9267 | 886 | 56.9 | 4.5387
2020-03-23 21:15:00 | 2.08 | 173.4867 | 2.1167 | 162.1587 | 2.01 | 169.6707 | 2.1053 | 162.9873 | 19.8467 | 886 | 57.1647 | 4.276
2020-03-23 21:30:00 | 2.3533 | 149.52 | 2.4707 | 144.5287 | 2.6127 | 146.2313 | 2.762 | 145.268 | 19.66 | 886 | 59.354 | 3.3227
2020-03-23 21:45:00 | 2.6487 | 137.4533 | 2.764 | 135.2047 | 3.0153 | 134.428 | 3.128 | 135.8967 | 19.4933 | 886 | 59.7207 | 4.2247
2020-03-23 22:00:00 | 2.6627 | 141.86 | 2.7867 | 129.5653 | 3.0627 | 138.7393 | 3.182 | 130.2267 | 19.24 | 886 | 59.8393 | 4.1253
2020-03-23 22:15:00 | 2.5773 | 150.4933 | 2.6473 | 141.5753 | 2.878 | 147.1813 | 2.9267 | 142.298 | 19.18 | 886 | 60.594 | 3.8727
2020-03-23 22:30:00 | 2.4413 | 153.5933 | 2.4373 | 149.5747 | 2.632 | 150.214 | 2.5727 | 150.3407 | 19.14 | 886 | 61.0687 | 3.6307
2020-03-23 22:45:00 | 2.4273 | 159.7 | 2.4753 | 148.7207 | 2.6687 | 156.1873 | 2.6933 | 149.4813 | 19.0533 | 886 | 61.5887 | 3.4087
2020-03-23 23:00:00 | 2.3413 | 170.9267 | 2.3613 | 143.2833 | 2.4113 | 167.1667 | 2.4327 | 144.0167 | 19.0133 | 886.6 | 61.976 | 3.38
2020-03-23 23:15:00 | 2.3627 | 168.9133 | 2.37 | 134.9767 | 2.4567 | 165.196 | 2.4493 | 135.6667 | 18.9467 | 887 | 62.45 | 3.6787
2020-03-23 23:30:00 | 2.2533 | 158.0467 | 2.2933 | 134.1353 | 2.3407 | 154.5687 | 2.3893 | 134.822 | 18.8533 | 887 | 63.4973 | 2.988
2020-03-23 23:45:00 | 2.3073 | 156.4067 | 2.304 | 131.104 | 2.336 | 152.9653 | 2.3233 | 131.7753 | 18.7467 | 887 | 63.9173 | 3.266