## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-24 00:00:00 | 2.2743 | 150.1786 | 2.315 | 127.0629 | 2.39 | 146.8743 | 2.4357 | 127.7121 | 18.7857 | 887 | 64.2143 | 2.9557
2020-03-24 00:15:00 | 2.272 | 168.3267 | 2.2833 | 133.2873 | 2.256 | 164.624 | 2.2847 | 133.9693 | 18.7933 | 887 | 65.0227 | 2.438
2020-03-24 00:30:00 | 2.296 | 168.06 | 2.3327 | 146.2113 | 2.35 | 164.3633 | 2.408 | 146.9587 | 18.8067 | 886.4 | 65.926 | 2.09
2020-03-24 00:45:00 | 2.118 | 175.4267 | 2.1593 | 151.8253 | 2.184 | 171.5667 | 2.242 | 152.6013 | 18.7067 | 886 | 66.196 | 1.748
2020-03-24 01:00:00 | 2.1673 | 174.16 | 2.2287 | 145.5527 | 2.326 | 170.3293 | 2.3967 | 146.2967 | 18.6933 | 886 | 65.888 | 1.4967
2020-03-24 01:15:00 | 1.966 | 164.7333 | 1.9947 | 144.9513 | 2.0613 | 161.1087 | 2.0867 | 145.6933 | 18.6467 | 886 | 66.508 | 0.94667
2020-03-24 01:30:00 | 1.8027 | 162.2467 | 1.8633 | 150.696 | 2.034 | 158.6773 | 2.084 | 151.4673 | 18.7 | 886 | 66.8127 | 0.26067
2020-03-24 01:45:00 | 2.05 | 154.6467 | 2.104 | 149.2167 | 2.23 | 151.2447 | 2.2833 | 149.9813 | 18.6733 | 886 | 66.496 | 0.82
2020-03-24 02:00:00 | 1.866 | 148.64 | 1.9293 | 139.2607 | 2.0593 | 145.37 | 2.1253 | 139.9733 | 18.5533 | 886 | 65.7387 | 0.73867
2020-03-24 02:15:00 | 1.7993 | 151.2733 | 1.8873 | 149.5167 | 2.0487 | 147.9453 | 2.144 | 150.28 | 18.52 | 886 | 66.6713 | 0.074667
2020-03-24 02:30:00 | 2.034 | 153.26 | 2.114 | 153.6753 | 2.2047 | 149.3993 | 2.2887 | 154.462 | 18.4067 | 886 | 66.314 | 0.45467
2020-03-24 02:45:00 | 1.9533 | 150.8933 | 2.0213 | 153.292 | 2.0927 | 147.5747 | 2.1807 | 154.0747 | 18.4 | 886 | 66.4393 | 0.71067
2020-03-24 03:00:00 | 1.7727 | 146.8267 | 1.8427 | 149.6673 | 1.9013 | 143.5967 | 1.9927 | 150.4327 | 18.32 | 886 | 66.576 | 0.386
2020-03-24 03:15:00 | 1.8827 | 139.32 | 1.9787 | 140.5313 | 2.1133 | 136.2547 | 2.2267 | 141.252 | 18.3133 | 885.0667 | 66.606 | 0.11867
2020-03-24 03:30:00 | 1.892 | 146.48 | 1.9847 | 141.3473 | 2.0873 | 143.2573 | 2.2093 | 142.0693 | 18.2133 | 885 | 66.3833 | 0.031333
2020-03-24 03:45:00 | 1.6673 | 149.04 | 1.736 | 134.6187 | 1.768 | 145.7607 | 1.8747 | 135.3067 | 18.1933 | 885 | 66.162 | 0
2020-03-24 04:00:00 | 1.418 | 119.33 | 1.448 | 127.373 | 1.369 | 116.703 | 1.441 | 128.026 | 18.21 | 885 | 66.93 | 0
2020-03-24 04:15:00 | 0.91667 | 117.4733 | 0.90933 | 105.1487 | 0.74533 | 114.8893 | 0.78067 | 105.686 | 18.24 | 884.0667 | 68.438 | 0
2020-03-24 04:30:00 | 0.94867 | 111.1667 | 0.968 | 119.1473 | 0.91933 | 108.7227 | 0.966 | 119.756 | 17.96 | 884 | 70.222 | 0
2020-03-24 04:45:00 | 1.0453 | 104 | 1.068 | 118.6513 | 0.96533 | 101.712 | 1.036 | 119.258 | 17.9867 | 884 | 71.0987 | 0.164
2020-03-24 05:00:00 | 0.79333 | 126.1733 | 0.84 | 127.524 | 0.71533 | 123.398 | 0.82533 | 128.176 | 17.8933 | 884 | 73.036 | 0.382
2020-03-24 05:15:00 | 0.896 | 137.1133 | 0.86933 | 125.8553 | 0.71533 | 134.0973 | 0.71667 | 126.498 | 17.9133 | 884 | 74.0953 | 0.55867
2020-03-24 05:30:00 | 0.83733 | 108.66 | 0.862 | 106.1 | 0.71733 | 106.27 | 0.8 | 106.6433 | 17.9 | 884 | 74.7167 | 0.38733
2020-03-24 05:45:00 | 0.48867 | 102.36 | 0.54333 | 92.0427 | 0.574 | 100.108 | 0.65067 | 92.5147 | 17.7067 | 883.7333 | 76.3667 | 0
2020-03-24 06:00:00 | 0.77267 | 140.8133 | 0.80667 | 95.896 | 1.0073 | 137.716 | 1.0013 | 96.3873 | 17.4133 | 883 | 77.0147 | 0
2020-03-24 06:15:00 | 0.55533 | 188.0467 | 0.56933 | 144.0593 | 0.80933 | 183.9093 | 0.76467 | 144.7953 | 17.3533 | 883.2667 | 77.196 | 0
2020-03-24 06:30:00 | 0.74733 | 232.38 | 0.75667 | 304.3147 | 1.2207 | 227.2673 | 1.1013 | 305.8707 | 17.2733 | 884 | 77.4193 | 0
2020-03-24 06:45:00 | 1.4373 | 212.84 | 1.4027 | 333.2053 | 2.2273 | 208.158 | 1.9327 | 334.91 | 16.8867 | 883.0667 | 79.0227 | 0.32067
2020-03-24 07:00:00 | 1.774 | 313.5133 | 1.7593 | 328.5353 | 2.3873 | 306.6147 | 2.1873 | 330.2153 | 16.3933 | 883 | 80.2 | 0.64133
2020-03-24 07:15:00 | 1.8613 | 286.0067 | 1.7993 | 315.79 | 2.524 | 279.716 | 2.2127 | 317.4027 | 16.34 | 883 | 81.4267 | 0.95067
2020-03-24 07:30:00 | 1.4913 | 251.7467 | 1.4427 | 330.7667 | 1.9633 | 246.2087 | 1.73 | 332.458 | 16.52 | 883 | 81.24 | 0.39533
2020-03-24 07:45:00 | 1.9827 | 234.32 | 1.9127 | 322.5387 | 2.5613 | 229.1647 | 2.2647 | 324.188 | 16.3133 | 883.9333 | 80.52 | 0.956
2020-03-24 08:00:00 | 2.41 | 311.9267 | 2.354 | 320.2247 | 2.8907 | 305.0653 | 2.6493 | 321.8607 | 15.7733 | 884 | 80.8467 | 1.4107
2020-03-24 08:15:00 | 2.3833 | 275.1933 | 2.3553 | 322.4533 | 3.002 | 269.14 | 2.7727 | 324.102 | 15.2133 | 884 | 81.5533 | 2.222
2020-03-24 08:30:00 | 2.252 | 168.8267 | 2.2887 | 329.4293 | 2.8573 | 165.112 | 2.76 | 331.114 | 15.3 | 884 | 81.8533 | 1.4953
2020-03-24 08:45:00 | 1.9787 | 96.5467 | 1.934 | 321.3973 | 2.536 | 94.4227 | 2.2927 | 323.04 | 15.2067 | 884 | 81.5733 | 1.312
2020-03-24 09:00:00 | 1.886 | 159.7933 | 1.8233 | 320.81 | 2.5327 | 156.2773 | 2.2273 | 322.4493 | 15.32 | 884 | 81.5667 | 1.1287
2020-03-24 09:15:00 | 1.812 | 213.3867 | 1.7487 | 327.4133 | 2.384 | 208.6907 | 2.1013 | 329.0873 | 15.6733 | 884.2667 | 81.7133 | 0.79133
2020-03-24 09:30:00 | 1.8147 | 212.78 | 1.798 | 315.92 | 2.432 | 208.098 | 2.22 | 317.5347 | 15.52 | 885 | 82.1667 | 1.0667
2020-03-24 09:45:00 | 1.7473 | 78.94 | 1.726 | 307.8927 | 2.2847 | 77.204 | 2.0893 | 309.468 | 15.62 | 885 | 83.0533 | 0.67267
2020-03-24 10:00:00 | 1.752 | 262.4533 | 1.654 | 322.29 | 2.2427 | 256.68 | 1.9147 | 323.9373 | 15.4933 | 885 | 83.7133 | 0.61067
2020-03-24 10:15:00 | 1.468 | 289.46 | 1.4473 | 320.744 | 2.0327 | 283.0913 | 1.8293 | 322.386 | 15.7533 | 885 | 83.12 | 0.76467
2020-03-24 10:30:00 | 1.382 | 263.5333 | 1.4167 | 216.83 | 2.0267 | 257.7367 | 1.904 | 217.9373 | 16.4133 | 885 | 82.8867 | 0.802
2020-03-24 10:45:00 | 1.7033 | 290.9267 | 1.642 | 277.5047 | 2.0487 | 284.5267 | 1.834 | 278.9227 | 16.04 | 885 | 81.48 | 0.43133
2020-03-24 11:00:00 | 1.7707 | 281.24 | 1.7 | 330.5247 | 2.162 | 275.0533 | 1.9167 | 332.2153 | 15.7733 | 885 | 80.4233 | 0.22067
2020-03-24 11:15:00 | 1.508 | 281.68 | 1.5313 | 322.3553 | 1.9813 | 275.4827 | 1.8907 | 324.0047 | 15.8733 | 885 | 79.4973 | 0.19933
2020-03-24 11:30:00 | 1.0347 | 215.8933 | 1.082 | 202.7 | 1.406 | 211.1433 | 1.3907 | 203.736 | 17.0533 | 885 | 79.064 | 0.242
2020-03-24 11:45:00 | 0.94267 | 294.1267 | 0.988 | 189.96 | 1.2267 | 287.656 | 1.2273 | 190.932 | 17.4333 | 885 | 76.524 | 0.38733
2020-03-24 12:00:00 | 0.80133 | 180.3 | 0.89533 | 137.082 | 0.95467 | 176.334 | 1.0893 | 137.7833 | 18.02 | 885 | 75.5987 | 0.092
2020-03-24 12:15:00 | 0.60933 | 183.3867 | 0.68 | 149.6993 | 0.79267 | 179.3527 | 0.87333 | 150.4647 | 18.14 | 885 | 75.418 | 0.038
2020-03-24 12:30:00 | 0.82733 | 167.9533 | 0.852 | 137.8913 | 0.86067 | 164.258 | 0.89867 | 138.596 | 18.2 | 885 | 75.7993 | 0.23133
2020-03-24 12:45:00 | 1.402 | 186.1467 | 1.4407 | 166.762 | 1.3753 | 182.0507 | 1.4573 | 167.614 | 18.3133 | 884.0667 | 73.2973 | 0.248
2020-03-24 13:00:00 | 1.71 | 183.8067 | 1.7573 | 149.1973 | 1.9253 | 179.7627 | 1.9533 | 149.9607 | 18.2667 | 884.6 | 70.152 | 0.578
2020-03-24 13:15:00 | 1.4493 | 186.6733 | 1.4807 | 157.7573 | 1.5773 | 182.5667 | 1.6007 | 158.5653 | 18.1067 | 884.0667 | 71.5613 | 0.418
2020-03-24 13:30:00 | 1.378 | 186.4667 | 1.4373 | 171.476 | 1.5813 | 182.3647 | 1.6387 | 172.3527 | 18.2867 | 884 | 72.1727 | 0.059333
2020-03-24 13:45:00 | 1.464 | 193.1067 | 1.5267 | 144.2033 | 1.776 | 188.8587 | 1.804 | 144.94 | 18.2733 | 884 | 72.878 | 0
2020-03-24 14:00:00 | 1.4707 | 205.1 | 1.5127 | 174.326 | 1.6447 | 200.5873 | 1.6753 | 175.2153 | 18.4533 | 883.4 | 72.7467 | 0
2020-03-24 14:15:00 | 1.2353 | 206.2133 | 1.3613 | 163.2547 | 1.538 | 201.676 | 1.6873 | 164.0887 | 18.26 | 883 | 73.984 | 0
2020-03-24 14:30:00 | 1.4127 | 213.3467 | 1.432 | 178.9607 | 1.496 | 208.6533 | 1.51 | 179.876 | 18.3133 | 883 | 77.088 | 0
2020-03-24 14:45:00 | 1.4073 | 198.14 | 1.492 | 177.8793 | 1.5947 | 193.78 | 1.7 | 178.7873 | 18.3933 | 882.7333 | 78.9633 | 0
2020-03-24 15:00:00 | 0.73267 | 204.9933 | 0.78667 | 172.3807 | 0.834 | 200.4833 | 0.9 | 173.2633 | 19.18 | 882 | 76.134 | 0
2020-03-24 15:15:00 | 0.75667 | 194.34 | 0.78067 | 178.5033 | 0.912 | 190.0647 | 0.916 | 179.4167 | 19.1667 | 882 | 72.6133 | 0
2020-03-24 15:30:00 | 0.636 | 225.66 | 0.65533 | 173.8233 | 0.78733 | 220.6947 | 0.77733 | 174.7113 | 19.5333 | 882 | 72.2907 | 0
2020-03-24 15:45:00 | 0.90267 | 203.7733 | 0.94467 | 156.128 | 0.992 | 199.2893 | 1.0453 | 156.9267 | 19.18 | 882 | 71.3327 | 0
2020-03-24 16:00:00 | 0.87933 | 235.5867 | 0.88133 | 170.192 | 0.96467 | 230.4027 | 0.94067 | 171.062 | 18.9867 | 882 | 71.374 | 0
2020-03-24 16:15:00 | 0.54867 | 276.16 | 0.58733 | 126.632 | 0.71333 | 270.0853 | 0.73867 | 127.2787 | 19.1933 | 882 | 72.3307 | 0
2020-03-24 16:30:00 | 0.56133 | 228.74 | 0.54933 | 32.4487 | 0.65133 | 223.7073 | 0.604 | 32.616 | 18.9933 | 882 | 72.636 | 0
2020-03-24 16:45:00 | 0.39267 | 160.8533 | 0.38733 | 91.1307 | 0.48133 | 157.3153 | 0.444 | 91.5967 | 18.9533 | 882 | 73.17 | 0
2020-03-24 17:00:00 | 0.34133 | 126.4467 | 0.36867 | 141.106 | 0.38667 | 123.664 | 0.428 | 141.8267 | 18.8733 | 881.4 | 73.5727 | 0
2020-03-24 17:15:00 | 0.8 | 127.9667 | 0.86333 | 99.09 | 1.068 | 125.1507 | 1.1093 | 99.5973 | 18.6933 | 881 | 75.2453 | 0
2020-03-24 17:30:00 | 0.56467 | 194.9467 | 0.54133 | 107.4753 | 0.62733 | 190.658 | 0.568 | 108.0253 | 18.0867 | 881 | 77.2953 | 0
2020-03-24 17:45:00 | 0.88133 | 250.3333 | 0.88533 | 271.5513 | 1.0507 | 244.8253 | 1.0067 | 272.94 | 18.16 | 881 | 76.978 | 0
2020-03-24 18:00:00 | 1.6173 | 322.78 | 1.6813 | 186.9813 | 1.9213 | 315.6787 | 1.9527 | 187.936 | 17.7667 | 881 | 79.004 | 0
2020-03-24 18:15:00 | 1.9787 | 340.64 | 2.0693 | 319.6567 | 2.25 | 333.1453 | 2.3427 | 321.29 | 17.5467 | 881 | 80.78 | 0
2020-03-24 18:30:00 | 2.4127 | 330.1933 | 2.5227 | 323.014 | 2.982 | 322.9293 | 3.0267 | 324.6647 | 17.44 | 881 | 80.7667 | 0.012667
2020-03-24 18:45:00 | 2.4833 | 298.2133 | 2.5373 | 316.272 | 3.0073 | 291.652 | 2.96 | 317.8893 | 17.0667 | 881 | 81.5467 | 1.36
2020-03-24 19:00:00 | 2.84 | 316.94 | 3.0033 | 327.5967 | 3.36 | 309.9667 | 3.5193 | 329.2727 | 16.8133 | 881 | 83.8267 | 2.7047
2020-03-24 19:15:00 | 2.5827 | 345.7333 | 2.7793 | 325.8893 | 3.046 | 338.128 | 3.2893 | 327.5553 | 16.7067 | 881 | 84.6333 | 1.812
2020-03-24 19:30:00 | 2.564 | 258.9 | 2.7193 | 331.7507 | 2.9773 | 253.204 | 3.1547 | 333.4487 | 16.6467 | 881 | 85.14 | 1.4187
2020-03-24 19:45:00 | 2.1487 | 192.6533 | 2.1953 | 336.1253 | 2.5327 | 188.414 | 2.5133 | 337.8433 | 16.6 | 881 | 85.78 | 0.37867
2020-03-24 20:00:00 | 1.7793 | 65.7267 | 1.8167 | 319.5713 | 2.088 | 64.2807 | 2.0713 | 321.2053 | 16.7067 | 881 | 87.08 | 0
2020-03-24 20:15:00 | 1.718 | 24.5133 | 1.7153 | 29.94 | 1.822 | 23.9747 | 1.7887 | 30.0927 | 16.58 | 881 | 87.5333 | 0
2020-03-24 20:30:00 | 1.3293 | 69.98 | 1.32 | 25.186 | 1.228 | 68.4407 | 1.2413 | 25.316 | 16.68 | 881 | 88.46 | 0
2020-03-24 20:45:00 | 0.78933 | 132.5133 | 0.74867 | 259.6927 | 0.852 | 129.5967 | 0.756 | 261.0187 | 16.4867 | 881 | 89.3667 | 0
2020-03-24 21:00:00 | 0.83067 | 60.0533 | 0.84467 | 31.5813 | 0.81467 | 58.732 | 0.84933 | 31.744 | 16.7 | 881 | 89.5933 | 0
2020-03-24 21:15:00 | 1.024 | 222.8067 | 1.0053 | 274.682 | 1.3787 | 217.9047 | 1.2393 | 276.086 | 16.56 | 881.2667 | 88.9667 | 0
2020-03-24 21:30:00 | 2.3893 | 301.9267 | 2.346 | 318.3647 | 2.9613 | 295.2847 | 2.718 | 319.9927 | 16.2733 | 882 | 90.2933 | 0.29133
2020-03-24 21:45:00 | 2.6507 | 289.1933 | 2.7473 | 325.3473 | 3.1913 | 282.8313 | 3.22 | 327.0107 | 16.2667 | 882 | 92.2867 | 1.4893
2020-03-24 22:00:00 | 3.3633 | 338.6733 | 3.5367 | 316.7673 | 4.138 | 331.224 | 4.2433 | 318.388 | 16.0333 | 882 | 94.2533 | 5.4013
2020-03-24 22:15:00 | 3.514 | 334.16 | 3.764 | 312.5287 | 4.332 | 326.8087 | 4.5687 | 314.1267 | 16.14 | 882 | 92.0533 | 6.7593
2020-03-24 22:30:00 | 3.155 | 336.15 | 3.36 | 316.68 | 4.01 | 328.755 | 4.155 | 318.295 | 16.25 | 882 | 92 | 5.8033
2020-03-24 22:45:00 | 4.108 | 337.04 | 4.562 | 317.655 | 4.81 | 329.626 | 5.463 | 319.278 | 16.06 | 882 | 92.37 | 12.152
2020-03-24 23:00:00 | 3.6827 | 344.56 | 4.004 | 334.4773 | 4.2607 | 336.9793 | 4.7027 | 336.1853 | 16.06 | 882 | 93.5733 | 7.3907
2020-03-24 23:15:00 | 3.5513 | 326.1267 | 3.828 | 330.3413 | 4.216 | 318.952 | 4.5467 | 332.0307 | 16.16 | 882 | 92.24 | 6.1913
2020-03-24 23:30:00 | 3.2707 | 328.7533 | 3.4427 | 326.8287 | 3.8833 | 321.5213 | 4.0347 | 328.498 | 16.16 | 882 | 91.2667 | 4.4893
2020-03-24 23:45:00 | 2.766 | 299.6 | 2.8913 | 324.0633 | 3.2353 | 293.0093 | 3.3373 | 325.7207 | 16.34 | 882 | 90.6067 | 1.4853