## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-25 00:00:00 | 1.975 | 147.4929 | 2.0221 | 323.4807 | 2.2914 | 144.2486 | 2.2893 | 325.1336 | 16.4286 | 882 | 90.0429 | 0
2020-03-25 00:15:00 | 1.6707 | 221.64 | 1.6493 | 321.2527 | 2.0053 | 216.7633 | 1.8727 | 322.8967 | 16.3933 | 882 | 88.6933 | 0
2020-03-25 00:30:00 | 1.864 | 280.6267 | 1.8613 | 298.1667 | 2.3307 | 274.452 | 2.194 | 299.6907 | 16.3533 | 882 | 89.1067 | 0
2020-03-25 00:45:00 | 0.71133 | 212.4467 | 0.70667 | 301.7713 | 0.92733 | 207.7727 | 0.85867 | 303.3147 | 16.6 | 882 | 89.78 | 0
2020-03-25 01:00:00 | 0.57333 | 170.6133 | 0.57267 | 148.482 | 0.6 | 166.8593 | 0.59333 | 149.2393 | 16.58 | 881.4 | 89.2133 | 0
2020-03-25 01:15:00 | 1.7933 | 171.86 | 1.7847 | 158.0773 | 1.9433 | 168.0793 | 1.8867 | 158.8853 | 16 | 881 | 89.48 | 0.318
2020-03-25 01:30:00 | 1.7813 | 175.1467 | 1.832 | 162.3493 | 1.9213 | 171.2933 | 1.9787 | 163.1773 | 15.9333 | 881 | 90.9667 | 0.79733
2020-03-25 01:45:00 | 1.5407 | 176.8733 | 1.602 | 168.9867 | 1.6413 | 172.9833 | 1.7347 | 169.85 | 15.9333 | 880.7333 | 93.2733 | 0
2020-03-25 02:00:00 | 1 | 187.65 | 1.038 | 206.436 | 1.123 | 183.522 | 1.162 | 207.492 | 15.85 | 880 | 92.96 | 0
2020-03-25 02:15:00 | 1.0307 | 263.8267 | 1.018 | 263.2767 | 1.0947 | 258.0227 | 1.0533 | 264.6247 | 16.0667 | 880 | 92.58 | 0
2020-03-25 02:30:00 | 2.0887 | 285.6333 | 2.14 | 286.1633 | 2.4607 | 279.3493 | 2.4533 | 287.626 | 15.9 | 880 | 95.0933 | 0
2020-03-25 02:45:00 | 2.6127 | 308.4533 | 2.6647 | 299.614 | 3.1147 | 301.668 | 3.0687 | 301.146 | 15.6067 | 880 | 97.9333 | 0.88533
2020-03-25 03:00:00 | 1.9047 | 322.6067 | 1.9253 | 305.398 | 2.3527 | 315.5093 | 2.264 | 306.9573 | 15.5533 | 880 | 99.1133 | 0.094
2020-03-25 03:15:00 | 1.946 | 308.6333 | 1.9873 | 313.2093 | 2.4467 | 301.844 | 2.3807 | 314.808 | 15.3267 | 880 | 99.3667 | 0.17333
2020-03-25 03:30:00 | 1.8533 | 282.1933 | 1.8387 | 326.9773 | 2.398 | 275.9847 | 2.2133 | 328.6493 | 15.44 | 880 | 99 | 0.090667
2020-03-25 03:45:00 | 0.66067 | 195.8267 | 0.67533 | 293.694 | 0.97333 | 191.518 | 0.91 | 295.196 | 16.04 | 880 | 97.9733 | 0
2020-03-25 04:00:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 04:15:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 04:30:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 04:45:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 05:00:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 05:15:00 | 0.50533 | 208.6267 | 0.508 | 297.8913 | 0.87333 | 204.0373 | 0.77133 | 299.4147 | 16.1467 | 880 | 96.0733 | 0
2020-03-25 05:30:00 | 1.17 | 149.9533 | 1.2393 | 150.2267 | 1.268 | 146.654 | 1.3713 | 150.9947 | 15.4067 | 879 | 93.2267 | 0.68467
2020-03-25 05:45:00 | 1.17 | 149.9533 | 1.2393 | 150.2267 | 1.268 | 146.654 | 1.3713 | 150.9947 | 15.4067 | 879 | 93.2267 | 0.68467
2020-03-25 06:00:00 | 1.17 | 149.9533 | 1.2393 | 150.2267 | 1.268 | 146.654 | 1.3713 | 150.9947 | 15.4067 | 879 | 93.2267 | 0.68467
2020-03-25 06:15:00 | 1.17 | 149.9533 | 1.2393 | 150.2267 | 1.268 | 146.654 | 1.3713 | 150.9947 | 15.4067 | 879 | 93.2267 | 0.68467
2020-03-25 06:30:00 | 0.742 | 154.38 | 0.818 | 168.7827 | 0.83933 | 150.984 | 0.952 | 169.6473 | 15.6067 | 879 | 92.34 | 0.57267
2020-03-25 06:45:00 | 0.48467 | 187.3467 | 0.51133 | 242.5427 | 0.566 | 183.2253 | 0.59067 | 243.7833 | 15.9267 | 879 | 92.42 | 0.51267
2020-03-25 07:00:00 | 0.43933 | 206.5733 | 0.424 | 211.912 | 0.44533 | 202.0273 | 0.414 | 212.996 | 16.0467 | 879 | 92.64 | 0.394
2020-03-25 07:15:00 | 0.53 | 293.2533 | 0.51867 | 214.7093 | 0.394 | 286.8013 | 0.41467 | 215.8087 | 15.8533 | 879 | 93.4133 | 0
2020-03-25 07:30:00 | 0.74733 | 294.2267 | 0.76667 | 234.4713 | 0.758 | 287.7533 | 0.79067 | 235.6707 | 15.8 | 879 | 97.2267 | 0
2020-03-25 07:45:00 | 1.5087 | 291.7733 | 1.5407 | 286.9187 | 2.024 | 285.3547 | 1.936 | 288.386 | 15.7933 | 879 | 98.6467 | 0
2020-03-25 08:00:00 | 1.7767 | 292.9267 | 1.824 | 291.6967 | 2.3127 | 286.482 | 2.246 | 293.1887 | 15.78 | 879.6 | 98.9467 | 0
2020-03-25 08:15:00 | 2.4073 | 303.5933 | 2.4093 | 306.2053 | 2.932 | 296.9147 | 2.782 | 307.7713 | 15.4667 | 880 | 98.9533 | 0.562
2020-03-25 08:30:00 | 2.3347 | 321.7333 | 2.3153 | 317.4447 | 2.924 | 314.6553 | 2.7187 | 319.068 | 14.6933 | 880 | 98.0733 | 1.3567
2020-03-25 08:45:00 | 2.0193 | 272.1933 | 1.952 | 324.6247 | 2.558 | 266.206 | 2.276 | 326.2847 | 15.2533 | 880 | 96.5467 | 1.1573
2020-03-25 09:00:00 | 1.8213 | 167.7467 | 1.798 | 331.6007 | 2.044 | 164.0567 | 1.9387 | 333.2973 | 15.5333 | 880.6 | 92.6733 | 0
2020-03-25 09:15:00 | 1.4233 | 203.1333 | 1.366 | 270.612 | 1.572 | 198.666 | 1.4193 | 271.9947 | 15.8133 | 881 | 90.2933 | 0
2020-03-25 09:30:00 | 0.59533 | 189.1533 | 0.616 | 143.7147 | 0.74667 | 184.9913 | 0.74133 | 144.4493 | 16.9333 | 881 | 87 | 0
2020-03-25 09:45:00 | 0.446 | 186.92 | 0.474 | 94.22 | 0.52 | 182.8073 | 0.55533 | 94.7027 | 17.8067 | 881 | 84.26 | 0
2020-03-25 10:00:00 | 0.96933 | 102.5933 | 0.97133 | 109.6793 | 1.1407 | 100.3367 | 1.0947 | 110.2407 | 18.1933 | 881.6 | 80.5333 | 0
2020-03-25 10:15:00 | 1.0647 | 124.0267 | 1.0727 | 117.528 | 1.184 | 121.2973 | 1.1633 | 118.1307 | 18.44 | 882 | 78.42 | 0
2020-03-25 10:30:00 | 1.382 | 163.7467 | 1.364 | 138.1 | 1.404 | 160.144 | 1.3653 | 138.8073 | 18.4133 | 882 | 77.502 | 0
2020-03-25 10:45:00 | 1.472 | 159.3333 | 1.4607 | 143.258 | 1.7027 | 155.828 | 1.618 | 143.9907 | 17.9533 | 882 | 78.4187 | 0
2020-03-25 11:00:00 | 1.634 | 193.7 | 1.63 | 147.072 | 1.812 | 189.4393 | 1.7553 | 147.8233 | 18.0933 | 882 | 79.7613 | 0
2020-03-25 11:15:00 | 1.4247 | 197.08 | 1.486 | 160.2813 | 1.6813 | 192.746 | 1.72 | 161.1007 | 18.0933 | 882 | 80.4493 | 0
2020-03-25 11:30:00 | 1.8773 | 187.2867 | 1.992 | 143.2967 | 2.1673 | 183.1653 | 2.2987 | 144.0307 | 17.88 | 882 | 79.506 | 0.106
2020-03-25 11:45:00 | 1.6593 | 183.1467 | 1.734 | 155.1893 | 1.8833 | 179.1173 | 1.9593 | 155.982 | 17.82 | 881.7333 | 79.872 | 0.72267
2020-03-25 12:00:00 | 1.6587 | 203.6867 | 1.7373 | 169.1487 | 1.8587 | 199.206 | 1.9527 | 170.0127 | 17.7867 | 881 | 80.148 | 0.91067
2020-03-25 12:15:00 | 1.998 | 205.4667 | 2.0473 | 161.578 | 2.402 | 200.9473 | 2.3787 | 162.404 | 17.78 | 881 | 80.68 | 1.4167
2020-03-25 12:30:00 | 1.692 | 196.9933 | 1.7167 | 170.152 | 1.9207 | 192.66 | 1.904 | 171.0233 | 17.9933 | 881 | 80.9333 | 1.2807
2020-03-25 12:45:00 | 1.4886 | 180.8786 | 1.5293 | 155.8157 | 1.5964 | 176.8986 | 1.6436 | 156.6129 | 18.2571 | 880.7857 | 79.7779 | 1.024
2020-03-25 13:00:00 | 2.3327 | 162.6867 | 2.3493 | 134.1287 | 2.5313 | 159.106 | 2.508 | 134.816 | 18.8467 | 880 | 78.6413 | 1.5807
2020-03-25 13:15:00 | 2.548 | 189.46 | 2.572 | 144.978 | 3.0733 | 185.292 | 2.968 | 145.72 | 19.1733 | 880 | 75.5 | 3.6493
2020-03-25 13:30:00 | 2.6453 | 174.2667 | 2.768 | 145.3507 | 3.008 | 170.4327 | 3.1353 | 146.0927 | 19.4267 | 880 | 74.272 | 4.5133
2020-03-25 13:45:00 | 2.5127 | 185.16 | 2.652 | 156.8453 | 2.846 | 181.0867 | 3.0153 | 157.6473 | 19.6333 | 880 | 73.6653 | 3.9293
2020-03-25 14:00:00 | 2.2647 | 169.2733 | 2.428 | 174.9133 | 2.694 | 165.55 | 2.8787 | 175.806 | 19.6733 | 880 | 71.894 | 4.3133
2020-03-25 14:15:00 | 2.0887 | 178.5333 | 2.22 | 169.7487 | 2.5493 | 174.6067 | 2.6653 | 170.616 | 20.1533 | 880 | 71.2013 | 3.7367
2020-03-25 14:30:00 | 2.7733 | 199.88 | 2.8227 | 137.338 | 3.0393 | 195.4833 | 3.058 | 138.0387 | 20.2533 | 880 | 70.6087 | 3.97
2020-03-25 14:45:00 | 2.5627 | 173.7067 | 2.7007 | 153.1613 | 2.802 | 169.886 | 2.9947 | 153.9447 | 20.1867 | 879.0667 | 69.434 | 5.036
2020-03-25 15:00:00 | 2.9313 | 174.0133 | 3.0953 | 138.7713 | 3.5393 | 170.1833 | 3.6753 | 139.482 | 20.5867 | 879 | 69.134 | 6.4033
2020-03-25 15:15:00 | 2.716 | 179.6667 | 2.83 | 145.8053 | 3.0107 | 175.714 | 3.1467 | 146.5527 | 20.66 | 879 | 66.9633 | 6.476
2020-03-25 15:30:00 | 3.1007 | 167.8467 | 3.234 | 138.8947 | 3.4367 | 164.1547 | 3.5927 | 139.6053 | 20.8067 | 879 | 65.6127 | 9.85
2020-03-25 15:45:00 | 3.1613 | 185.34 | 3.296 | 149.5047 | 3.682 | 181.262 | 3.7893 | 150.2687 | 21.28 | 879 | 66.202 | 8.8967
2020-03-25 16:00:00 | 2.966 | 179.8 | 3.0853 | 163.0773 | 3.358 | 175.8447 | 3.4733 | 163.9127 | 21.4067 | 879 | 66.5313 | 9.3487
2020-03-25 16:15:00 | 3.612 | 195.3533 | 3.782 | 175.5907 | 3.9187 | 191.056 | 4.154 | 176.4893 | 20.9533 | 879 | 65.01 | 14.9947
2020-03-25 16:30:00 | 3.338 | 184.1067 | 3.542 | 162.616 | 3.8007 | 180.0553 | 4.0513 | 163.4493 | 21.04 | 879 | 64.362 | 12.396
2020-03-25 16:45:00 | 2.6973 | 178.6533 | 2.9 | 166.3593 | 2.5933 | 174.7567 | 3.014 | 167.2093 | 21.2133 | 879 | 63.5013 | 9.2587
2020-03-25 17:00:00 | 2.91 | 183.06 | 3.1267 | 158.612 | 3.0093 | 179.0333 | 3.3947 | 159.422 | 21.0667 | 879 | 62.8473 | 12.068
2020-03-25 17:15:00 | 2.7787 | 179.9667 | 2.978 | 170.91 | 2.7307 | 176.0073 | 3.122 | 171.782 | 21.2067 | 879 | 62.5807 | 9.9533
2020-03-25 17:30:00 | 3.2227 | 195.7533 | 3.392 | 168.3853 | 3.5473 | 191.4467 | 3.776 | 169.2453 | 21.2333 | 879 | 62.17 | 9.9933
2020-03-25 17:45:00 | 3.084 | 190.44 | 3.2647 | 169.2127 | 3.5313 | 186.2493 | 3.7453 | 170.0787 | 21.0667 | 878.7333 | 63.5367 | 7.9613
2020-03-25 18:00:00 | 3.102 | 193.94 | 3.244 | 168.5227 | 3.576 | 189.6733 | 3.706 | 169.3833 | 21.08 | 878 | 64.872 | 8.8273
2020-03-25 18:15:00 | 3.128 | 192.1333 | 3.296 | 170.4467 | 3.5447 | 187.9053 | 3.7473 | 171.318 | 20.9733 | 878 | 65.84 | 8.218
2020-03-25 18:30:00 | 3.22 | 184.8 | 3.3993 | 172.5453 | 3.6853 | 180.734 | 3.8927 | 173.4267 | 20.6133 | 878 | 67.5533 | 9.0973
2020-03-25 18:45:00 | 3.442 | 184.16 | 3.6733 | 176.5813 | 3.9293 | 180.108 | 4.2267 | 177.4833 | 20.5533 | 877.0667 | 69.228 | 10.5573
2020-03-25 19:00:00 | 3.522 | 186.4333 | 3.7927 | 179.2673 | 4.0993 | 182.3313 | 4.444 | 180.1833 | 20.3867 | 877 | 69.7827 | 11.3527
2020-03-25 19:15:00 | 3.7053 | 191.3133 | 3.96 | 179.756 | 4.1853 | 187.1047 | 4.53 | 180.6753 | 20.3733 | 877 | 69.9573 | 12.0927
2020-03-25 19:30:00 | 3.746 | 184.46 | 4.0087 | 172.9507 | 4.2407 | 180.4007 | 4.5933 | 173.834 | 20.3733 | 877 | 70.3113 | 12.072
2020-03-25 19:45:00 | 3.3913 | 186.94 | 3.6473 | 174.794 | 3.8667 | 182.8273 | 4.2133 | 175.6887 | 20.3 | 877 | 70.1867 | 10.2927
2020-03-25 20:00:00 | 3.02 | 187.4933 | 3.2273 | 177.226 | 3.4113 | 183.368 | 3.6913 | 178.132 | 20.3 | 877 | 70.376 | 7.2793
2020-03-25 20:15:00 | 2.5493 | 183.5067 | 2.6933 | 178.4467 | 2.738 | 179.4687 | 2.9573 | 179.3587 | 20.2267 | 877 | 70.6227 | 4.8087
2020-03-25 20:30:00 | 2.4053 | 188.3067 | 2.51 | 177.9707 | 2.51 | 184.164 | 2.676 | 178.88 | 20.2667 | 877 | 71.1293 | 3.7293
2020-03-25 20:45:00 | 2.046 | 183.66 | 2.1473 | 176.222 | 2.2593 | 179.62 | 2.3933 | 177.124 | 20.2867 | 877.2667 | 71.5693 | 2.4887
2020-03-25 21:00:00 | 1.624 | 204.74 | 1.6727 | 190.0253 | 1.712 | 200.2353 | 1.7833 | 190.996 | 20.2933 | 878 | 72.482 | 2.8307
2020-03-25 21:15:00 | 1.6913 | 190.88 | 1.6887 | 176.0087 | 1.6133 | 186.6793 | 1.6347 | 176.9067 | 20.3067 | 878 | 72.8853 | 2.9887
2020-03-25 21:30:00 | 1.9413 | 180.08 | 1.9353 | 167.5513 | 2.096 | 176.118 | 2.042 | 168.4087 | 20.24 | 878 | 73.142 | 2.174
2020-03-25 21:45:00 | 2.0073 | 156.2067 | 2.0733 | 156.4013 | 2.1727 | 152.7713 | 2.2513 | 157.2007 | 20.22 | 878 | 73.284 | 1.642
2020-03-25 22:00:00 | 1.8593 | 158.06 | 1.9527 | 145.226 | 2.062 | 154.582 | 2.182 | 145.9693 | 20.1467 | 878 | 72.7253 | 1.1027
2020-03-25 22:15:00 | 1.9207 | 167.72 | 2.026 | 146.1067 | 2.2127 | 164.03 | 2.3313 | 146.8533 | 20.1067 | 878.9333 | 71.856 | 0.79333
2020-03-25 22:30:00 | 2.0567 | 177.6556 | 2.154 | 165.1733 | 2.2811 | 173.7478 | 2.404 | 166.0156 | 20.0889 | 879 | 71.44 | 0.72222
2020-03-25 22:45:00 | 1.5855 | 173.0545 | 1.6445 | 147.1791 | 1.6764 | 169.2473 | 1.7664 | 147.9318 | 20.0727 | 879 | 72.4791 | 0.80818
2020-03-25 23:00:00 | 1.5593 | 136.52 | 1.6147 | 134.272 | 1.728 | 133.5167 | 1.7853 | 134.9607 | 20.12 | 879 | 73.3447 | 1.0193
2020-03-25 23:15:00 | 1.848 | 123.2533 | 1.9167 | 118.064 | 1.988 | 120.542 | 2.08 | 118.6673 | 20.1133 | 879.2667 | 73.92 | 1.3227
2020-03-25 23:30:00 | 1.8033 | 119.2467 | 1.9007 | 127.5907 | 1.972 | 116.6233 | 2.11 | 128.2413 | 20.08 | 879.4 | 73.5773 | 0.67467
2020-03-25 23:45:00 | 1.442 | 148.1333 | 1.5127 | 140.1607 | 1.5827 | 144.8547 | 1.676 | 140.8767 | 20.08 | 879.9333 | 73.484 | 0.87467