## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-26 00:00:00 | 1.1671 | 119.7857 | 1.2436 | 133.9707 | 1.2921 | 117.15 | 1.4021 | 134.6579 | 20.1214 | 880 | 74.244 | 0.91357
2020-03-26 00:15:00 | 0.982 | 93.5 | 1.022 | 106.8307 | 0.87733 | 91.444 | 0.98533 | 107.3767 | 20.08 | 880 | 74.4333 | 0.31867
2020-03-26 00:30:00 | 0.544 | 199.68 | 0.57067 | 102.6447 | 0.792 | 195.2867 | 0.768 | 103.1667 | 20.0667 | 880 | 75.2613 | 0.37667
2020-03-26 00:45:00 | 0.518 | 79.4 | 0.50933 | 85.0853 | 0.82467 | 77.6527 | 0.72 | 85.5207 | 20.0867 | 880 | 76.2267 | 0.378
2020-03-26 01:00:00 | 1.0547 | 101.52 | 1.066 | 59.4953 | 1.272 | 99.2867 | 1.2293 | 59.7993 | 19.9333 | 880 | 76.6713 | 0
2020-03-26 01:15:00 | 1.0653 | 192.0333 | 1.058 | 256.054 | 1.33 | 187.81 | 1.2407 | 257.3627 | 19.82 | 879.0667 | 77.118 | 0
2020-03-26 01:30:00 | 1.5427 | 81.0133 | 1.5587 | 321.4293 | 1.916 | 79.23 | 1.838 | 323.0713 | 19.6133 | 879 | 78.198 | 0
2020-03-26 01:45:00 | 2.0373 | 41.08 | 2.092 | 277.558 | 2.4147 | 40.1767 | 2.412 | 278.9747 | 19.3933 | 879 | 79.5547 | 0
2020-03-26 02:00:00 | 2.2607 | 173.1267 | 2.2573 | 309.0227 | 2.64 | 169.3173 | 2.53 | 310.6013 | 18.94 | 879 | 79.086 | 0.65333
2020-03-26 02:15:00 | 2.4173 | 279.6133 | 2.4393 | 321.584 | 3.0227 | 273.4613 | 2.8913 | 323.2293 | 18.8133 | 879 | 80.1867 | 1.322
2020-03-26 02:30:00 | 2.67 | 326.4467 | 2.7033 | 323.5873 | 3.3713 | 319.264 | 3.2353 | 325.2413 | 18.9333 | 879 | 80.6667 | 2.198
2020-03-26 02:45:00 | 2.7367 | 310.8267 | 2.7993 | 319.1287 | 3.378 | 303.9873 | 3.3127 | 320.76 | 18.96 | 879 | 80.94 | 2.8773
2020-03-26 03:00:00 | 2.5373 | 288.0333 | 2.5753 | 324.6313 | 3.2027 | 281.696 | 3.0827 | 326.2913 | 18.8267 | 879 | 81.3867 | 2.4187
2020-03-26 03:15:00 | 3.2267 | 295.4733 | 3.3073 | 332.6827 | 3.8173 | 288.9733 | 3.8013 | 334.3853 | 18.4 | 879 | 81.6333 | 5.3933
2020-03-26 03:30:00 | 3.6653 | 164.8933 | 3.8307 | 333.1913 | 4.154 | 161.2647 | 4.33 | 334.8933 | 18.2533 | 879 | 83.5 | 8.15
2020-03-26 03:45:00 | 3.8833 | 279.2133 | 4.044 | 324.3707 | 4.5013 | 273.0713 | 4.628 | 326.0273 | 17.8133 | 879 | 84.56 | 10.0793
2020-03-26 04:00:00 | 4.1353 | 325.3533 | 4.3367 | 319.0293 | 4.866 | 318.196 | 5.0387 | 320.66 | 17.8067 | 879 | 85.06 | 11.2587
2020-03-26 04:15:00 | 4.302 | 283.2533 | 4.5133 | 319.0373 | 5.0153 | 277.0213 | 5.2147 | 320.6667 | 17.76 | 879 | 86.0667 | 12.256
2020-03-26 04:30:00 | 4.518 | 330.26 | 4.7493 | 321.9973 | 5.1913 | 322.994 | 5.4387 | 323.642 | 17.4333 | 878.4 | 86.8733 | 14.948
2020-03-26 04:45:00 | 4.3667 | 330.3533 | 4.6707 | 324.142 | 5.0527 | 323.0853 | 5.432 | 325.8 | 17.1067 | 878 | 86.52 | 17.542
2020-03-26 05:00:00 | 4.6707 | 284.0933 | 4.9633 | 325.1387 | 5.4073 | 277.8433 | 5.7473 | 326.8013 | 17.1467 | 878 | 86.34 | 20.988
2020-03-26 05:15:00 | 5.3113 | 260.4667 | 5.6293 | 329.5473 | 6.0707 | 254.7373 | 6.4527 | 331.232 | 17.22 | 878 | 86.6267 | 25.4187
2020-03-26 05:30:00 | 5.4207 | 306.22 | 5.8347 | 328.3867 | 6.266 | 299.4827 | 6.8053 | 330.0653 | 17.2533 | 878 | 85.32 | 27.2173
2020-03-26 05:45:00 | 5.7747 | 279.5667 | 6.184 | 330.6167 | 6.6393 | 273.4167 | 7.1593 | 332.306 | 17.2667 | 878 | 87.04 | 32.28
2020-03-26 06:00:00 | 6.1233 | 320.2267 | 6.5707 | 327.8767 | 6.928 | 313.1827 | 7.5413 | 329.5533 | 17.3 | 878 | 87.96 | 36.2547
2020-03-26 06:15:00 | 7.0987 | 350.1333 | 7.6107 | 335.3693 | 7.804 | 342.4307 | 8.5767 | 337.0833 | 17.4 | 878 | 87.4733 | 45.5387
2020-03-26 06:30:00 | 7.3247 | 347.7333 | 7.8107 | 335.994 | 7.978 | 340.0833 | 8.7173 | 337.7127 | 17.24 | 878.6 | 87.52 | 49.656
2020-03-26 06:45:00 | 7.6513 | 237.3667 | 8.2273 | 333.452 | 8.508 | 232.1447 | 9.3567 | 335.158 | 16.8733 | 879 | 87.66 | 53.702
2020-03-26 07:00:00 | 8.698 | 346.2933 | 9.3393 | 332.2647 | 9.3913 | 338.6753 | 10.4053 | 333.9647 | 16.0333 | 879 | 89 | 59.0747
2020-03-26 07:15:00 | 8.8693 | 342.7467 | 9.6907 | 310.294 | 9.4607 | 335.2067 | 10.8453 | 311.88 | 15.62 | 879 | 88.3267 | 58.8213
2020-03-26 07:30:00 | 8.88 | 343.0533 | 9.714 | 331.1187 | 9.7693 | 335.5067 | 11.088 | 332.81 | 15.3333 | 879 | 85.2267 | 58.412
2020-03-26 07:45:00 | 8.758 | 339.46 | 9.5533 | 305.8267 | 9.9153 | 331.9927 | 11.0867 | 307.3907 | 15.26 | 879.9333 | 79.7527 | 58.504
2020-03-26 08:00:00 | 8.626 | 339.8667 | 9.4127 | 329.5213 | 9.548 | 332.3893 | 10.7687 | 331.2053 | 15.3267 | 880 | 74.8533 | 60.066
2020-03-26 08:15:00 | 8.8833 | 322.3867 | 9.646 | 333.2293 | 9.788 | 315.294 | 10.9733 | 334.934 | 15.3067 | 880.9333 | 68.54 | 59.7047
2020-03-26 08:30:00 | 8.8947 | 296.5267 | 9.6473 | 290.206 | 10.0533 | 290.0027 | 11.1473 | 291.6893 | 15.3667 | 881 | 63.468 | 60.592
2020-03-26 08:45:00 | 9.208 | 316.6533 | 9.9013 | 330.036 | 10.6073 | 309.686 | 11.52 | 331.7227 | 15.3867 | 881 | 59.0313 | 61.002
2020-03-26 09:00:00 | 9.4067 | 297.6667 | 10.0607 | 330.57 | 10.7393 | 291.118 | 11.59 | 332.2607 | 15.42 | 881.6 | 55.2753 | 61.186
2020-03-26 09:15:00 | 9.4773 | 319.2667 | 10.28 | 310.3787 | 10.9727 | 312.242 | 12.0627 | 311.9653 | 15.3867 | 882 | 51.446 | 62.218
2020-03-26 09:30:00 | 9.3127 | 297.6067 | 9.9627 | 307.926 | 10.806 | 291.0593 | 11.6027 | 309.4993 | 15.3267 | 882 | 49.6113 | 62.0273
2020-03-26 09:45:00 | 9.4893 | 321.5 | 10.2467 | 332.4807 | 10.9427 | 314.4267 | 11.9573 | 334.182 | 15.28 | 882.9333 | 48.13 | 61.778
2020-03-26 10:00:00 | 9.6573 | 318.8067 | 10.3293 | 329.0767 | 10.758 | 311.792 | 11.7167 | 330.76 | 15.3933 | 883 | 46.59 | 62.206
2020-03-26 10:15:00 | 9.9953 | 336.7467 | 10.7487 | 328.0727 | 11.1727 | 329.338 | 12.2613 | 329.7507 | 15.4333 | 883.2667 | 43.798 | 60.8087
2020-03-26 10:30:00 | 10.35 | 339.2267 | 11.1987 | 265.1427 | 11.7553 | 331.412 | 12.9787 | 266.498 | 15.5067 | 884 | 41.8013 | 60.4247
2020-03-26 10:45:00 | 10.4513 | 301.56 | 11.304 | 291.1633 | 12.0253 | 294.9247 | 13.1853 | 292.6533 | 15.72 | 884 | 40.6867 | 60.764
2020-03-26 11:00:00 | 10.5287 | 344.6933 | 11.2733 | 269.6753 | 12.0167 | 337.1087 | 13.0027 | 271.054 | 15.7067 | 884 | 38.976 | 59.6373
2020-03-26 11:15:00 | 10.282 | 322.3667 | 11.1413 | 245.824 | 12.1267 | 315.2753 | 13.2213 | 247.0793 | 15.6667 | 884 | 37.9027 | 60.2093
2020-03-26 11:30:00 | 10.9953 | 340.7933 | 11.7387 | 303.9807 | 12.4507 | 333.2967 | 13.4393 | 305.5367 | 15.4467 | 884.6 | 39.2427 | 60.0707
2020-03-26 11:45:00 | 11.4647 | 325.2933 | 12.1093 | 324.1473 | 12.8827 | 318.1367 | 13.6927 | 325.806 | 15.14 | 885 | 38.588 | 59.8253
2020-03-26 12:00:00 | 11.2613 | 325.0933 | 11.9073 | 304.6593 | 12.4607 | 317.9413 | 13.3447 | 306.218 | 14.96 | 885 | 39.5027 | 60.9627
2020-03-26 12:15:00 | 10.918 | 324.7867 | 11.8073 | 325.962 | 12.718 | 317.642 | 13.8787 | 327.6287 | 14.8133 | 884.0667 | 40.704 | 60.55
2020-03-26 12:30:00 | 12.006 | 297.1133 | 12.7607 | 327.962 | 13.3613 | 290.5767 | 14.4 | 329.6393 | 14.5933 | 884 | 40.8813 | 59.1193
2020-03-26 12:45:00 | 11.534 | 321.7133 | 12.0873 | 329.3253 | 12.652 | 314.6347 | 13.384 | 331.0093 | 14.28 | 884 | 41.0287 | 57.9893
2020-03-26 13:00:00 | 12.092 | 316.6733 | 12.6693 | 323.5927 | 13.2753 | 309.7067 | 14.0293 | 325.2467 | 14.0867 | 884 | 42.038 | 57.3587
2020-03-26 13:15:00 | 11.8207 | 300.7733 | 12.48 | 304.2753 | 13.1553 | 294.1573 | 14.026 | 305.8307 | 13.9867 | 884 | 42.654 | 55.2593
2020-03-26 13:30:00 | 12.9013 | 277.2867 | 13.4113 | 328.51 | 13.81 | 271.1853 | 14.5253 | 330.19 | 13.88 | 884 | 43.1733 | 56.224
2020-03-26 13:45:00 | 12.4407 | 342.6667 | 13.1167 | 328.0547 | 13.7107 | 335.128 | 14.6293 | 329.7313 | 13.6933 | 884 | 43.8593 | 54.8887
2020-03-26 14:00:00 | 12.5227 | 340.18 | 13.286 | 312.176 | 13.9587 | 332.6973 | 14.9947 | 313.7733 | 13.4867 | 884 | 45.0553 | 53.1907
2020-03-26 14:15:00 | 13.074 | 317.8867 | 13.7207 | 286.7747 | 14.2687 | 310.8933 | 15.154 | 288.2413 | 13.2867 | 883.7333 | 46.2153 | 50.4953
2020-03-26 14:30:00 | 12.7073 | 320.0067 | 13.464 | 333.6533 | 13.9813 | 313.3907 | 15.0673 | 335.36 | 13.14 | 883 | 46.9393 | 50.4913
2020-03-26 14:45:00 | 12.324 | 320.0133 | 12.9967 | 310.4307 | 13.8853 | 312.9733 | 14.7133 | 312.018 | 12.9733 | 883 | 47.6673 | 54.8167
2020-03-26 15:00:00 | 13.494 | 317.3133 | 14.3253 | 330.2633 | 14.7953 | 310.3327 | 15.9993 | 331.952 | 12.54 | 883.6 | 49.19 | 52.2933
2020-03-26 15:15:00 | 13.2267 | 316.6667 | 13.9373 | 334.4287 | 14.468 | 309.7007 | 15.4613 | 336.1407 | 12.18 | 883.3333 | 50.4187 | 48.74
2020-03-26 15:30:00 | 12.2 | 292.9933 | 13.0127 | 305.7813 | 13.4787 | 286.5493 | 14.6507 | 307.344 | 11.9933 | 883.4 | 52.4227 | 50.3053
2020-03-26 15:45:00 | 12.3153 | 346.3733 | 13.018 | 263.016 | 13.9027 | 338.7547 | 14.778 | 264.362 | 11.78 | 883.6667 | 54.232 | 50.886
2020-03-26 16:00:00 | 13.3067 | 323.4133 | 13.974 | 324.604 | 14.8707 | 316.2993 | 15.6873 | 326.2647 | 11.5267 | 883 | 55.8327 | 49.54
2020-03-26 16:15:00 | 12.54 | 325.84 | 13.31 | 331.3787 | 14.1213 | 318.6727 | 15.1227 | 333.074 | 11.3 | 883 | 57.3513 | 51.4307
2020-03-26 16:30:00 | 11.9453 | 302.26 | 12.7813 | 331.3727 | 13.5467 | 295.6093 | 14.6687 | 333.0673 | 11.2467 | 883 | 58.4867 | 52.71
2020-03-26 16:45:00 | 11.728 | 300.6 | 12.4773 | 308.7273 | 13.1967 | 293.986 | 14.1953 | 310.306 | 11.1733 | 883 | 59.2793 | 53.27
2020-03-26 17:00:00 | 12.0493 | 301.9333 | 12.736 | 329.3707 | 13.4847 | 295.2907 | 14.3733 | 331.0547 | 10.86 | 883 | 60.08 | 55.9887
2020-03-26 17:15:00 | 11.9527 | 300.7067 | 12.7893 | 304.966 | 13.5593 | 294.0907 | 14.68 | 306.5253 | 9.66 | 883 | 68.2853 | 55.894
2020-03-26 17:30:00 | 12.7087 | 300.3467 | 13.518 | 330.6353 | 14.4613 | 293.7387 | 15.4947 | 332.3267 | 9.18 | 883 | 86.5333 | 54.08
2020-03-26 17:45:00 | 12.2833 | 277.3533 | 13.032 | 325.6613 | 13.822 | 271.2507 | 14.7933 | 327.3273 | 9.5667 | 883 | 89.5867 | 57.4993
2020-03-26 18:00:00 | 11.776 | 301.9533 | 12.654 | 327.1467 | 13.532 | 295.3093 | 14.688 | 328.8187 | 9.6533 | 883 | 90.22 | 58.0387
2020-03-26 18:15:00 | 11.3327 | 323.84 | 12.1407 | 311.9633 | 12.9827 | 316.716 | 14.036 | 313.558 | 9.5 | 883 | 87.08 | 59.9867
2020-03-26 18:30:00 | 11.6493 | 259.56 | 12.52 | 337.3147 | 13.3727 | 253.85 | 14.5287 | 339.0367 | 8.5 | 883 | 88.2933 | 58.6553
2020-03-26 18:45:00 | 11.7047 | 298.9067 | 12.5433 | 292.74 | 13.352 | 292.3307 | 14.468 | 294.2373 | 8.6667 | 883 | 92.2667 | 58.3413
2020-03-26 19:00:00 | 11.504 | 299.12 | 12.32 | 328.4907 | 13.3327 | 292.5393 | 14.348 | 330.1693 | 8.2867 | 883.6 | 93.9867 | 59.662
2020-03-26 19:15:00 | 11.2573 | 300.4867 | 12.1113 | 304.1053 | 12.968 | 293.876 | 14.0933 | 305.66 | 7.5 | 883.3333 | 95.4067 | 62.6387
2020-03-26 19:30:00 | 11.5873 | 280.9 | 12.526 | 330.4647 | 13.2487 | 274.7207 | 14.5453 | 332.156 | 7.14 | 884 | 96.7 | 61.1387
2020-03-26 19:45:00 | 10.9553 | 255.5467 | 11.8247 | 312.2367 | 12.6313 | 249.9253 | 13.8007 | 313.8327 | 7.2933 | 884 | 97.7467 | 61.9993
2020-03-26 20:00:00 | 11.7107 | 237.2933 | 12.6173 | 310.4427 | 13.6127 | 232.0733 | 14.7853 | 312.0293 | 7.54 | 884 | 98.1 | 62.2027
2020-03-26 20:15:00 | 12.522 | 297.9467 | 13.4193 | 330.382 | 14.4073 | 291.3907 | 15.5667 | 332.07 | 7.7067 | 884 | 98.0467 | 61.0147
2020-03-26 20:30:00 | 12.1853 | 255.9533 | 13.2207 | 330.752 | 14.164 | 250.3233 | 15.5513 | 332.4427 | 7.64 | 884 | 97.64 | 61.324
2020-03-26 20:45:00 | 12.2993 | 301.2133 | 13.4813 | 311.018 | 14.0893 | 294.5867 | 15.8093 | 312.6067 | 7.64 | 884 | 97.0533 | 58.3593
2020-03-26 21:00:00 | 12.582 | 301.7467 | 13.7267 | 331.5687 | 14.4593 | 295.1087 | 16.086 | 333.2627 | 7.82 | 884 | 95.86 | 58.9313
2020-03-26 21:15:00 | 12.1227 | 323.78 | 13.0587 | 328.87 | 13.8827 | 316.6567 | 15.1513 | 330.5493 | 7.8067 | 884.9333 | 94.8667 | 59.6
2020-03-26 21:30:00 | 11.7767 | 344.2133 | 12.7253 | 331.7693 | 13.3753 | 336.64 | 14.7087 | 333.4653 | 7.8 | 885 | 93.88 | 61.0727
2020-03-26 21:45:00 | 10.7933 | 343.0933 | 11.5587 | 327.244 | 12.438 | 335.5453 | 13.4127 | 328.9193 | 7.8733 | 885.9333 | 93.5133 | 60.716
2020-03-26 22:00:00 | 10.638 | 298.68 | 11.2733 | 326.7893 | 12.146 | 292.108 | 12.9167 | 328.4593 | 7.72 | 886.6 | 93.9067 | 60.9053
2020-03-26 22:15:00 | 11.8493 | 298.56 | 12.6107 | 330.3953 | 13.5733 | 291.9913 | 14.5173 | 332.0833 | 7.22 | 887 | 95.3067 | 61.6533
2020-03-26 22:30:00 | 12.4969 | 316.1231 | 13.4815 | 306.8369 | 14.2269 | 309.1685 | 15.5892 | 308.4054 | 6.4538 | 887 | 96.7692 | 60.1538
2020-03-26 22:45:00 | 12.984 | 344.81 | 14.068 | 330.016 | 14.641 | 337.223 | 16.216 | 331.703 | 6.3 | 887 | 97.92 | 59.395
2020-03-26 23:00:00 | 12.698 | 326 | 13.67 | 332.0367 | 14.3867 | 318.828 | 15.7427 | 333.736 | 6.16 | 887 | 98.84 | 57.5107
2020-03-26 23:15:00 | 12.6073 | 279.1933 | 13.6533 | 327.076 | 14.4907 | 273.052 | 15.9313 | 328.7473 | 6.0333 | 887 | 99.2667 | 58.4133
2020-03-26 23:30:00 | 12.5213 | 347.4467 | 13.63 | 307.1253 | 14.368 | 339.8033 | 15.9327 | 308.6947 | 5.9733 | 887 | 99.46 | 57.724
2020-03-26 23:45:00 | 12.916 | 347.9 | 13.976 | 329.8333 | 14.732 | 340.246 | 16.2153 | 331.522 | 5.7933 | 887 | 99.62 | 56.2867