## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-27 00:00:00 | 12.7793 | 342.0071 | 13.8129 | 327.7221 | 14.5114 | 334.4829 | 15.9664 | 329.3964 | 5.7 | 887 | 99.74 | 55.1407
2020-03-27 00:15:00 | 12.31 | 301.8133 | 13.0907 | 325.948 | 13.8373 | 295.1733 | 14.8807 | 327.6147 | 5.4733 | 886.0667 | 99.92 | 57.0473
2020-03-27 00:30:00 | 12.5213 | 319.9667 | 13.366 | 325.7533 | 14.2413 | 312.926 | 15.344 | 327.418 | 5.3867 | 886 | 100 | 57.6293
2020-03-27 00:45:00 | 11.978 | 324.4667 | 12.9053 | 328.6147 | 13.8347 | 317.328 | 15.05 | 330.2947 | 5.3 | 886 | 100 | 58.8653
2020-03-27 01:00:00 | 11.688 | 256.1667 | 12.6173 | 314.1593 | 13.2833 | 250.532 | 14.5847 | 315.7647 | 5.2467 | 886 | 100 | 58.656
2020-03-27 01:15:00 | 11.8386 | 273.7643 | 12.8021 | 310.4029 | 13.4486 | 267.7414 | 14.8071 | 311.99 | 5.2214 | 885.0714 | 100 | 59.3607
2020-03-27 01:30:00 | 11.8747 | 305.6533 | 12.812 | 330.3293 | 13.5633 | 298.9287 | 14.8513 | 332.018 | 5.5133 | 885 | 99.6667 | 59.614
2020-03-27 01:45:00 | 11.7353 | 256.0867 | 12.4507 | 327.5587 | 13.3653 | 250.4533 | 14.248 | 329.2327 | 6.44 | 885 | 98.2133 | 59.5867
2020-03-27 02:00:00 | 11.7707 | 281.8933 | 12.6793 | 334.9713 | 13.4693 | 275.692 | 14.6993 | 336.684 | 6.44 | 885 | 96.36 | 58.5307
2020-03-27 02:15:00 | 11.066 | 216.7133 | 11.8347 | 307.4647 | 12.7047 | 211.946 | 13.6893 | 309.0353 | 6.58 | 885 | 95.56 | 58.2947
2020-03-27 02:30:00 | 10.8947 | 323.94 | 11.6647 | 336.0793 | 12.33 | 316.8133 | 13.382 | 337.7973 | 6.8067 | 885 | 94.4067 | 58.4573
2020-03-27 02:45:00 | 11.3473 | 279.94 | 12.1087 | 330.7207 | 12.6707 | 273.782 | 13.7353 | 332.412 | 6.8067 | 885 | 92.8133 | 58.1047
2020-03-27 03:00:00 | 11.254 | 342.6933 | 12.0913 | 310.0653 | 12.7947 | 335.154 | 13.94 | 311.65 | 6.9 | 885 | 90.58 | 58.3647
2020-03-27 03:15:00 | 11.1947 | 322.1133 | 11.9647 | 327.948 | 12.8467 | 315.0267 | 13.8267 | 329.6253 | 7.0867 | 885 | 89.2267 | 58.6173
2020-03-27 03:30:00 | 11.184 | 296.9133 | 11.9853 | 328.0793 | 12.8573 | 290.3833 | 13.8947 | 329.7567 | 7.2533 | 885 | 86.5667 | 58.6713
2020-03-27 03:45:00 | 11.414 | 324.1333 | 12.2587 | 331.274 | 13.1547 | 317.0027 | 14.248 | 332.9693 | 7.3533 | 885 | 84.2467 | 58.46
2020-03-27 04:00:00 | 11.0573 | 277.5 | 11.8267 | 311.3373 | 12.8093 | 271.3947 | 13.7647 | 312.9293 | 7.42 | 885 | 81.9667 | 58.6193
2020-03-27 04:15:00 | 11.806 | 277.4867 | 12.756 | 305.006 | 13.7293 | 271.3813 | 14.9727 | 306.5667 | 7.4867 | 884.0667 | 81.7533 | 58.4673
2020-03-27 04:30:00 | 11.8133 | 255.2533 | 12.5967 | 326.9773 | 13.594 | 249.6367 | 14.5627 | 328.65 | 7.42 | 884 | 80.5067 | 57.9413
2020-03-27 04:45:00 | 11.8973 | 299.2133 | 12.8687 | 308.9627 | 13.7607 | 292.6313 | 15.066 | 310.542 | 7.4267 | 884 | 78.884 | 56.7633
2020-03-27 05:00:00 | 11.776 | 232.0133 | 12.566 | 326.0193 | 13.8913 | 226.9087 | 14.78 | 327.686 | 7.54 | 884 | 78.4167 | 54.9
2020-03-27 05:15:00 | 10.938 | 323.3733 | 11.8313 | 335.5907 | 12.9213 | 316.26 | 14.0353 | 337.3073 | 7.6133 | 884 | 76.9367 | 54.534
2020-03-27 05:30:00 | 10.7507 | 275.3 | 11.474 | 312.8113 | 12.516 | 269.244 | 13.376 | 314.408 | 7.74 | 884 | 76.7607 | 54.8067
2020-03-27 05:45:00 | 11.0727 | 230.7067 | 11.8293 | 289.252 | 12.724 | 225.63 | 13.6747 | 290.732 | 7.8867 | 884 | 75.8607 | 56.6053
2020-03-27 06:00:00 | 10.8353 | 166.7 | 11.5433 | 269.5107 | 12.5553 | 163.0327 | 13.402 | 270.888 | 7.9467 | 884 | 73.37 | 57.4953
2020-03-27 06:15:00 | 11.3153 | 278.08 | 12.0067 | 312.7647 | 12.9167 | 271.962 | 13.764 | 314.3633 | 7.9867 | 884 | 73.1147 | 57.46
2020-03-27 06:30:00 | 11.3613 | 170.1133 | 12.1733 | 267.2287 | 13.296 | 166.3707 | 14.2753 | 268.5953 | 8.0133 | 884 | 72.4713 | 57.4727
2020-03-27 06:45:00 | 11.1067 | 307.1267 | 11.926 | 335.024 | 12.994 | 300.37 | 14.004 | 336.736 | 8.06 | 884 | 70.8347 | 57.3373
2020-03-27 07:00:00 | 11.12 | 166.7733 | 11.894 | 272.588 | 12.932 | 163.104 | 13.8727 | 273.9813 | 8.0667 | 884 | 70.044 | 56.658
2020-03-27 07:15:00 | 11.0127 | 193.6067 | 11.8293 | 286.9653 | 12.9927 | 189.3473 | 13.966 | 288.4313 | 8.0533 | 884 | 70.586 | 56.5353
2020-03-27 07:30:00 | 11.4787 | 170.4533 | 12.296 | 292.7627 | 13.41 | 166.7033 | 14.3987 | 294.2567 | 8.1067 | 884 | 69.598 | 57.1367
2020-03-27 07:45:00 | 11.7167 | 231.8133 | 12.424 | 314.3347 | 13.4733 | 226.7133 | 14.3107 | 315.9433 | 8.0533 | 884.2667 | 69.1493 | 56.714
2020-03-27 08:00:00 | 12.3753 | 255.0733 | 13.1313 | 310.4353 | 14.4547 | 249.4627 | 15.2853 | 312.0227 | 8.12 | 885 | 70.0207 | 55.23
2020-03-27 08:15:00 | 12.2387 | 190.3 | 13.1707 | 330.85 | 14.332 | 186.1127 | 15.4887 | 332.5427 | 8.14 | 885 | 68.6773 | 51.006
2020-03-27 08:30:00 | 12.5587 | 251.28 | 13.4613 | 227.194 | 14.6573 | 245.7507 | 15.76 | 228.3587 | 8.2 | 885 | 69.0913 | 47.1693
2020-03-27 08:45:00 | 12.374 | 282.16 | 13.2027 | 269.5567 | 14.6367 | 275.9513 | 15.556 | 270.9353 | 8.1733 | 885.9333 | 70.0307 | 47.0107
2020-03-27 09:00:00 | 12.9707 | 214.6733 | 13.882 | 317.354 | 15.1707 | 209.9493 | 16.262 | 318.9753 | 8.16 | 886 | 70.166 | 48.0273
2020-03-27 09:15:00 | 11.996 | 232.26 | 12.8567 | 292.3627 | 14.0333 | 227.1513 | 15.0773 | 293.8567 | 8.06 | 886 | 71.5507 | 48.7067
2020-03-27 09:30:00 | 11.0873 | 251.4733 | 11.752 | 267.1053 | 13.2253 | 245.9393 | 13.8653 | 268.472 | 8 | 886.6 | 72.5793 | 50.4053
2020-03-27 09:45:00 | 11.1193 | 230.4 | 11.872 | 270.7887 | 12.812 | 225.3327 | 13.7493 | 272.1727 | 8.1333 | 887 | 72.7973 | 50.7327
2020-03-27 10:00:00 | 10.312 | 276.0667 | 10.988 | 288.1193 | 12.2847 | 269.994 | 12.9927 | 289.5927 | 8.28 | 887 | 72.3427 | 52.9033
2020-03-27 10:15:00 | 10.8633 | 298.72 | 11.5273 | 305.3847 | 12.598 | 292.148 | 13.3547 | 306.9447 | 8.4667 | 887.9333 | 72.3653 | 53.7187
2020-03-27 10:30:00 | 10.96 | 210.9933 | 11.62 | 268.2267 | 12.73 | 206.352 | 13.4713 | 269.5987 | 8.72 | 888 | 71.3453 | 52.9613
2020-03-27 10:45:00 | 11.6627 | 258.0333 | 12.3687 | 268.5973 | 13.4113 | 252.3573 | 14.2427 | 269.972 | 8.9067 | 888 | 70.276 | 54.7393
2020-03-27 11:00:00 | 10.7353 | 296.3267 | 11.2873 | 331.326 | 12.546 | 289.8073 | 13.0727 | 333.0207 | 9.08 | 888 | 69.4327 | 50.9393
2020-03-27 11:15:00 | 10.106 | 276.82 | 10.656 | 334.1627 | 11.6287 | 270.7307 | 12.234 | 335.8713 | 9.2733 | 888.2667 | 68.74 | 49.1847
2020-03-27 11:30:00 | 9.278 | 234.9733 | 9.7033 | 290.0747 | 10.642 | 229.804 | 11.0593 | 291.558 | 9.6 | 889 | 67.652 | 48.3447
2020-03-27 11:45:00 | 9.8027 | 239.6333 | 10.1933 | 294.0847 | 11.1127 | 234.3613 | 11.4767 | 295.5887 | 9.8667 | 889 | 64.7413 | 48.0933
2020-03-27 12:00:00 | 8.8267 | 210.2933 | 9.4287 | 271.78 | 10.3347 | 205.666 | 11.0407 | 273.17 | 10.0667 | 889 | 62.008 | 48.1127
2020-03-27 12:15:00 | 9.1473 | 217.0733 | 9.7067 | 248.04 | 10.2973 | 212.2973 | 11.0267 | 249.31 | 10.06 | 889.6667 | 60.9107 | 47.3133
2020-03-27 12:30:00 | 8.912 | 188.4867 | 9.4793 | 247.8967 | 10.1153 | 184.3407 | 10.8453 | 249.1647 | 10.3467 | 889.6 | 60.7593 | 48.098
2020-03-27 12:45:00 | 8.7193 | 303.08 | 9.3833 | 201.338 | 10.208 | 296.412 | 11.034 | 202.368 | 10.4333 | 890 | 58.404 | 45.8813
2020-03-27 13:00:00 | 8.6227 | 165.32 | 9.0887 | 203.032 | 9.864 | 161.684 | 10.3907 | 204.0693 | 10.32 | 890 | 57.9407 | 46.8927
2020-03-27 13:15:00 | 8.4827 | 178.14 | 8.9893 | 269.146 | 9.7253 | 174.2207 | 10.3293 | 270.522 | 10.4467 | 890 | 59.2867 | 50.6373
2020-03-27 13:30:00 | 8.2313 | 210.82 | 8.9267 | 224.0347 | 9.4813 | 206.1807 | 10.4387 | 225.1793 | 10.5133 | 890 | 59.3407 | 56.1247
2020-03-27 13:45:00 | 9.01 | 165.8867 | 9.7767 | 188.708 | 10.7733 | 162.2373 | 11.7107 | 189.6733 | 10.7667 | 890 | 59.432 | 57.9267
2020-03-27 14:00:00 | 8.7853 | 151.8333 | 9.3073 | 271.062 | 10.1693 | 148.4927 | 10.7573 | 272.448 | 10.86 | 890 | 59.064 | 60.1747
2020-03-27 14:15:00 | 9.1153 | 196.5533 | 9.6007 | 224.522 | 10.3287 | 192.228 | 10.9027 | 225.67 | 10.8467 | 889.3333 | 59.3173 | 58.888
2020-03-27 14:30:00 | 9.458 | 213.58 | 10.1027 | 254.4493 | 10.6667 | 208.882 | 11.5387 | 255.75 | 11 | 890 | 58.766 | 61.262
2020-03-27 14:45:00 | 9.0973 | 148.6533 | 9.6047 | 228.304 | 9.924 | 145.384 | 10.6473 | 229.4707 | 11.1667 | 890 | 57.9653 | 62.7193
2020-03-27 15:00:00 | 8.7827 | 149.76 | 9.3533 | 296.0007 | 10.0507 | 146.4653 | 10.7653 | 297.514 | 11.4467 | 890 | 58.2407 | 61.0373
2020-03-27 15:15:00 | 8.012 | 100.8 | 8.7053 | 299.8947 | 9.37 | 98.5827 | 10.2933 | 301.4273 | 11.86 | 889.3333 | 57.0333 | 56.2993
2020-03-27 15:30:00 | 7.0467 | 109.7867 | 7.5507 | 164.748 | 8.1427 | 107.3727 | 8.7827 | 165.5893 | 11.9133 | 890 | 56.6227 | 57.0113
2020-03-27 15:45:00 | 7.5453 | 108.04 | 8.034 | 101.484 | 8.7987 | 105.6633 | 9.368 | 102.0033 | 11.84 | 890 | 57.8427 | 57.8813
2020-03-27 16:00:00 | 8.1767 | 193.6267 | 8.7287 | 98.472 | 9.442 | 188.976 | 10.1533 | 98.9747 | 11.8533 | 890 | 57.4173 | 59.1213
2020-03-27 16:15:00 | 7.9573 | 154.26 | 8.5173 | 165.726 | 9.2673 | 150.8667 | 9.9493 | 166.5727 | 11.8733 | 890 | 58.2367 | 58.4847
2020-03-27 16:30:00 | 7.4107 | 100.2133 | 8.0087 | 189.818 | 8.7093 | 98.0087 | 9.47 | 190.7873 | 11.9267 | 890 | 58.9687 | 59.684
2020-03-27 16:45:00 | 7.4147 | 126.8133 | 7.984 | 118.0833 | 8.6627 | 124.0247 | 9.384 | 118.688 | 11.8267 | 890 | 58.774 | 59.3587
2020-03-27 17:00:00 | 7.0787 | 150.2867 | 7.5287 | 143.882 | 8.308 | 146.9813 | 8.8053 | 144.6187 | 11.7267 | 890 | 59.272 | 56.2933
2020-03-27 17:15:00 | 7.1473 | 153.86 | 7.6073 | 57.1613 | 8.4553 | 150.4753 | 8.948 | 57.4533 | 11.7267 | 890 | 59.41 | 56.408
2020-03-27 17:30:00 | 6.6687 | 83.8067 | 7.1 | 55.9807 | 7.7107 | 81.9633 | 8.2287 | 56.266 | 11.96 | 890 | 60.0267 | 53.0873
2020-03-27 17:45:00 | 6.3593 | 63.4533 | 6.5667 | 14.9373 | 6.9273 | 62.058 | 7.158 | 15.0127 | 11.9267 | 890 | 59.4047 | 49.434
2020-03-27 18:00:00 | 6.7127 | 18.6667 | 6.9553 | 10.8427 | 6.4213 | 18.256 | 6.972 | 10.898 | 11.8067 | 890 | 59.9 | 44.9487
2020-03-27 18:15:00 | 6.532 | 63.5733 | 6.8107 | 56.1233 | 6.888 | 62.176 | 7.3147 | 56.4107 | 11.74 | 889.3333 | 61.886 | 43.9867
2020-03-27 18:30:00 | 5.806 | 66.8 | 6.1267 | 211.776 | 6.4313 | 65.3307 | 6.8587 | 212.8593 | 11.6467 | 889.4 | 63.744 | 41.7653
2020-03-27 18:45:00 | 5.1133 | 131.7933 | 5.4153 | 159.4787 | 5.5227 | 128.8933 | 5.98 | 160.2947 | 11.5667 | 889.9333 | 64.8787 | 39.4453
2020-03-27 19:00:00 | 5.1753 | 40.36 | 5.4193 | 121.0573 | 5.434 | 39.4727 | 5.8227 | 121.676 | 11.28 | 889.4 | 66.2807 | 34.9427
2020-03-27 19:15:00 | 6.0013 | 21.3 | 6.394 | 31.524 | 6.184 | 20.8307 | 6.8753 | 31.686 | 10.9667 | 889.6667 | 67.634 | 36.9633
2020-03-27 19:30:00 | 5.982 | 21.02 | 6.4787 | 100.2847 | 6.5553 | 20.558 | 7.332 | 100.7967 | 10.7533 | 889 | 69.0987 | 37.454
2020-03-27 19:45:00 | 5.8153 | 104.94 | 6.296 | 33.4347 | 6.316 | 102.6313 | 7.0813 | 33.6047 | 10.6333 | 889 | 70.2793 | 35.9167
2020-03-27 20:00:00 | 6.2047 | 37.3467 | 6.5747 | 34.758 | 6.7753 | 36.5253 | 7.3167 | 34.9373 | 10.4733 | 889 | 70.302 | 37.6913
2020-03-27 20:15:00 | 6.1793 | 16.5667 | 6.652 | 79.8373 | 6.9733 | 16.2013 | 7.636 | 80.246 | 10.2267 | 889 | 70.8653 | 37.9587
2020-03-27 20:30:00 | 5.5787 | 126.4467 | 5.996 | 53.582 | 6.1453 | 123.6667 | 6.7747 | 53.854 | 10 | 889.6 | 71.6647 | 32.258
2020-03-27 20:45:00 | 6.1407 | 125 | 6.4113 | 34.9027 | 6.648 | 122.25 | 7.0187 | 35.0787 | 9.9667 | 890 | 73.1873 | 36.63
2020-03-27 21:00:00 | 5.4147 | 242.2533 | 5.8107 | 72.9 | 6.026 | 236.9233 | 6.5993 | 73.274 | 9.6733 | 890 | 74.268 | 33.242
2020-03-27 21:15:00 | 5.6307 | 77.0867 | 6.176 | 274.198 | 6.4653 | 75.3927 | 7.2567 | 275.6 | 9.5067 | 890 | 75.8007 | 38.6733
2020-03-27 21:30:00 | 6.1027 | 168.86 | 6.7307 | 253.2693 | 7.148 | 165.146 | 8.0353 | 254.564 | 9.48 | 890 | 76.71 | 41.8327
2020-03-27 21:45:00 | 5.962 | 170.8867 | 6.394 | 337.078 | 6.6 | 167.128 | 7.236 | 338.8007 | 9.4067 | 890 | 78.0627 | 40.5667
2020-03-27 22:00:00 | 5.4387 | 337.96 | 5.7847 | 329.116 | 5.8633 | 330.524 | 6.4 | 330.7993 | 9.3133 | 890 | 78.8 | 33.2833
2020-03-27 22:15:00 | 5.5027 | 302.4133 | 5.8393 | 310.4493 | 5.794 | 295.1733 | 6.3573 | 312.0373 | 9.14 | 890 | 78.636 | 34.8853
2020-03-27 22:30:00 | 4.99 | 101.8429 | 5.3757 | 330.2429 | 5.3029 | 99.6014 | 5.9471 | 331.9314 | 9.0857 | 890 | 79.7857 | 34.3371
2020-03-27 22:45:00 | 5.72 | 345.8875 | 6.0775 | 332.655 | 6.1787 | 338.2775 | 6.7271 | 334.0086 | 8.975 | 890 | 80.9 | 33.8625
2020-03-27 23:00:00 | 5.46 | 339.88 | 5.8333 | 329.5673 | 6.0093 | 332.404 | 6.5587 | 331.252 | 8.6733 | 890 | 82.8 | 31.5167
2020-03-27 23:15:00 | 5.2347 | 343.9267 | 5.5613 | 329.5333 | 5.7333 | 336.3613 | 6.2093 | 331.2187 | 8.46 | 890 | 83.3467 | 25.9767
2020-03-27 23:30:00 | 4.7647 | 318.6867 | 5.05 | 324.3967 | 5.446 | 311.676 | 5.7907 | 326.0547 | 8.2867 | 890 | 84.4867 | 23.83
2020-03-27 23:45:00 | 5.2587 | 282.86 | 5.5913 | 333.9333 | 5.8907 | 276.6367 | 6.3393 | 335.6427 | 8.2267 | 890 | 86.3267 | 28.4953