## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-30 00:00:00 | 1.295 | 164.6429 | 1.2829 | 229.9993 | 1.6457 | 161.0207 | 1.5221 | 231.1736 | 8.3 | 885 | 90.0571 | 0
2020-03-30 00:15:00 | 0.79933 | 65.7133 | 0.83467 | 137.1353 | 1.1333 | 64.2673 | 1.1047 | 137.8347 | 8.8133 | 884.7333 | 89.24 | 0
2020-03-30 00:30:00 | 0.956 | 42.9333 | 1.0593 | 61.2947 | 1.24 | 41.9887 | 1.3527 | 61.6087 | 8.9533 | 884 | 89.9533 | 0
2020-03-30 00:45:00 | 0.9 | 76.2 | 0.982 | 111.198 | 1.0673 | 74.5247 | 1.1713 | 111.7667 | 8.7 | 884 | 90.7933 | 0
2020-03-30 01:00:00 | 1.3787 | 98.3667 | 1.542 | 120.45 | 1.4187 | 96.2027 | 1.716 | 121.0667 | 8.2933 | 884 | 91.96 | 0
2020-03-30 01:15:00 | 1.1667 | 132.7133 | 1.3287 | 120.9073 | 1.2827 | 129.1213 | 1.5853 | 121.5253 | 8.4933 | 884 | 92.9267 | 0
2020-03-30 01:30:00 | 1.568 | 156.0933 | 1.6447 | 144.9133 | 1.7253 | 153.4213 | 1.84 | 145.654 | 8.32 | 884 | 92.4933 | 0.454
2020-03-30 01:45:00 | 1.632 | 139.9067 | 1.7033 | 134.6113 | 1.7287 | 137.1033 | 1.8347 | 135.3013 | 8.3067 | 884 | 92.1333 | 0.304
2020-03-30 02:00:00 | 1.8313 | 140.2467 | 1.892 | 133.784 | 1.9267 | 137.16 | 2.0113 | 134.4687 | 8.1267 | 884 | 92.2467 | 0.57867
2020-03-30 02:15:00 | 1.4447 | 147.1667 | 1.5727 | 149.1453 | 1.6773 | 143.93 | 1.854 | 149.9067 | 7.9267 | 884 | 93.8667 | 0.73533
2020-03-30 02:30:00 | 1.2447 | 140.5067 | 1.3047 | 134.462 | 1.4033 | 137.4147 | 1.4707 | 135.15 | 7.7667 | 884 | 93.58 | 1.0287
2020-03-30 02:45:00 | 1.1227 | 119.58 | 1.1753 | 142.5533 | 1.2607 | 116.9487 | 1.32 | 143.2813 | 7.6133 | 884 | 93.4 | 0.98
2020-03-30 03:00:00 | 0.902 | 144.9933 | 0.986 | 135.3287 | 0.94867 | 143.0953 | 1.0993 | 136.02 | 7.6 | 884 | 93.2333 | 0.55933
2020-03-30 03:15:00 | 0.59333 | 152.0333 | 0.648 | 175.9173 | 0.68267 | 148.6887 | 0.762 | 176.816 | 7.6467 | 884 | 93.4067 | 0.21733
2020-03-30 03:30:00 | 0.43533 | 149.32 | 0.44667 | 254.2533 | 0.55067 | 146.0347 | 0.54133 | 255.552 | 7.7067 | 884 | 94.22 | 0
2020-03-30 03:45:00 | 1.0207 | 163.2733 | 0.97667 | 312.8827 | 1.2607 | 160.2993 | 1.1073 | 314.186 | 6.7467 | 883.0667 | 94.7533 | 0
2020-03-30 04:00:00 | 1.426 | 68.4933 | 1.44 | 297.3453 | 1.726 | 66.986 | 1.6647 | 298.8653 | 6.6067 | 883 | 94.9 | 0
2020-03-30 04:15:00 | 0.87286 | 135.7714 | 0.94429 | 146.525 | 1.0093 | 132.785 | 1.1043 | 147.2736 | 7.0071 | 883 | 95.0643 | 0
2020-03-30 04:30:00 | 1.0813 | 125.82 | 1.1727 | 120.06 | 1.2647 | 123.0507 | 1.384 | 120.6727 | 7.3933 | 883 | 94.74 | 0.186
2020-03-30 04:45:00 | 1.008 | 123.6267 | 1.0747 | 113.99 | 1.2107 | 120.9053 | 1.2793 | 114.572 | 7.22 | 883 | 94.38 | 0.41867
2020-03-30 05:00:00 | 0.82867 | 131.24 | 0.92333 | 140.3427 | 0.912 | 128.2087 | 1.0627 | 141.0607 | 7.1867 | 883 | 94.86 | 0.34533
2020-03-30 05:15:00 | 1.1007 | 124.1333 | 1.256 | 121.9487 | 1.1087 | 121.4033 | 1.4 | 122.574 | 7.2267 | 883 | 95.1333 | 0.338
2020-03-30 05:30:00 | 1.2227 | 134.4133 | 1.3507 | 129.6113 | 1.2207 | 131.456 | 1.464 | 130.274 | 7.2867 | 883 | 95.24 | 0.042
2020-03-30 05:45:00 | 0.98867 | 116.22 | 1.0987 | 116.6887 | 1.1207 | 113.6647 | 1.286 | 117.2847 | 7.24 | 883 | 95.32 | 0
2020-03-30 06:00:00 | 1.0873 | 101.36 | 1.2433 | 144.5813 | 1.146 | 99.1307 | 1.422 | 145.32 | 6.82 | 883 | 95.86 | 0
2020-03-30 06:15:00 | 1.1667 | 87.32 | 1.2893 | 213.3793 | 1.2427 | 85.3993 | 1.4553 | 214.4707 | 6.82 | 883 | 96.02 | 0
2020-03-30 06:30:00 | 1.0627 | 79.82 | 1.0867 | 80.2473 | 1.1493 | 78.2393 | 1.1607 | 80.6593 | 6.6267 | 883 | 96.34 | 0
2020-03-30 06:45:00 | 1.3253 | 95.9933 | 1.3947 | 216.8747 | 1.372 | 94.11 | 1.51 | 217.9847 | 6.3933 | 883 | 96.52 | 0
2020-03-30 07:00:00 | 1.3153 | 128.5133 | 1.3173 | 102.188 | 1.5533 | 125.6867 | 1.486 | 102.7107 | 6.24 | 883 | 96.7867 | 0
2020-03-30 07:15:00 | 1.17 | 91.94 | 1.2087 | 111.0213 | 1.1333 | 89.9187 | 1.2193 | 111.59 | 6.4667 | 883 | 97.0267 | 0
2020-03-30 07:30:00 | 1.4393 | 87.4267 | 1.546 | 169.2067 | 1.682 | 85.5027 | 1.8127 | 170.072 | 6.6267 | 883 | 97.1 | 0
2020-03-30 07:45:00 | 1.4913 | 94.4067 | 1.5113 | 273.9507 | 1.98 | 92.33 | 1.8787 | 275.3513 | 6.4 | 883 | 97.22 | 0
2020-03-30 08:00:00 | 1.488 | 95.56 | 1.4533 | 339.7833 | 1.9167 | 94.7553 | 1.734 | 341.52 | 6.2333 | 883 | 97.3 | 0
2020-03-30 08:15:00 | 1.5553 | 202.6133 | 1.5107 | 331.5353 | 1.9387 | 198.156 | 1.748 | 333.2307 | 6.2667 | 883 | 97.3 | 0.114
2020-03-30 08:30:00 | 1.894 | 286.1867 | 1.836 | 325.5313 | 2.4179 | 277.835 | 2.1536 | 327.3257 | 6.1667 | 883 | 97.2733 | 0.48
2020-03-30 08:45:00 | 1.974 | 311.66 | 1.9813 | 319.6567 | 2.56 | 304.8033 | 2.404 | 321.2907 | 6.04 | 883.9333 | 96.9 | 0.75933
2020-03-30 09:00:00 | 2.024 | 307.8867 | 2.0013 | 318.5673 | 2.654 | 301.8567 | 2.4273 | 320.1973 | 6.1067 | 884 | 96.4 | 0.92267
2020-03-30 09:15:00 | 1.7793 | 275.1933 | 1.7153 | 324.468 | 2.2873 | 268.4353 | 2.034 | 326.1273 | 6.1667 | 884 | 95.9333 | 0.76533
2020-03-30 09:30:00 | 2.3287 | 284.72 | 2.334 | 322.8307 | 2.8253 | 277.7187 | 2.6927 | 324.4813 | 6.26 | 884 | 95.3333 | 1.3093
2020-03-30 09:45:00 | 2.2713 | 333.88 | 2.224 | 317.6607 | 2.798 | 326.5347 | 2.5607 | 319.2847 | 6.2467 | 884 | 95.08 | 1.4687
2020-03-30 10:00:00 | 1.9593 | 282.6133 | 1.8373 | 320.236 | 2.472 | 276.396 | 2.0933 | 321.8733 | 6.28 | 884 | 94.3533 | 1.1707
2020-03-30 10:15:00 | 2.1853 | 282.8133 | 2.074 | 320.726 | 2.6613 | 276.5907 | 2.3167 | 322.3653 | 6.3133 | 884 | 93.9133 | 1.7687
2020-03-30 10:30:00 | 2.5967 | 330.48 | 2.5967 | 318.926 | 3.06 | 323.2227 | 2.9313 | 320.554 | 6.2933 | 884.6 | 93.8667 | 3.0413
2020-03-30 10:45:00 | 2.9087 | 324.62 | 2.998 | 320.412 | 3.418 | 319.074 | 3.4433 | 322.05 | 6.38 | 885 | 94.18 | 3.332
2020-03-30 11:00:00 | 2.9447 | 325.22 | 3.0293 | 321.8733 | 3.5147 | 318.064 | 3.508 | 323.5193 | 6.54 | 885 | 92.5533 | 3.6
2020-03-30 11:15:00 | 3.1027 | 336.1467 | 3.216 | 320.1047 | 3.7587 | 329.6513 | 3.7887 | 321.7427 | 6.6133 | 885 | 90.42 | 3.47
2020-03-30 11:30:00 | 2.7967 | 326.8267 | 2.9167 | 317.0553 | 3.2913 | 319.636 | 3.3753 | 318.676 | 6.8733 | 885 | 88.6533 | 2.8787
2020-03-30 11:45:00 | 2.8793 | 323.7667 | 3.0927 | 317.316 | 3.3933 | 316.644 | 3.6507 | 318.9373 | 7.16 | 885 | 87.8933 | 3.7053
2020-03-30 12:00:00 | 3.254 | 325.96 | 3.448 | 315.216 | 3.7973 | 317.772 | 4.0147 | 316.8273 | 7.2133 | 885 | 87.4333 | 4.482
2020-03-30 12:15:00 | 3.192 | 327.08 | 3.396 | 316.5073 | 3.6113 | 319.8847 | 3.8787 | 318.1247 | 7.4267 | 885 | 85.0533 | 4.0833
2020-03-30 12:30:00 | 2.5713 | 305.4467 | 2.6353 | 321.448 | 2.9853 | 298.7273 | 2.988 | 323.094 | 7.7267 | 885 | 83.3133 | 1.6473
2020-03-30 12:45:00 | 2.6573 | 332.7667 | 2.8 | 328.6733 | 3.0427 | 325.4453 | 3.2 | 330.354 | 7.9 | 885 | 83.1867 | 1.8107
2020-03-30 13:00:00 | 2.6413 | 318.2733 | 2.788 | 326.8413 | 3.084 | 332.162 | 3.2373 | 328.5127 | 7.8533 | 885 | 83.4333 | 1.9987
2020-03-30 13:15:00 | 2.4987 | 227.2733 | 2.552 | 305.5853 | 3.108 | 222.2747 | 3.036 | 307.148 | 7.9533 | 885 | 83.32 | 1.4787
2020-03-30 13:30:00 | 2.8813 | 315.5067 | 3.0513 | 324.05 | 3.504 | 308.5647 | 3.6453 | 325.7087 | 8 | 885 | 83.1133 | 2.4913
2020-03-30 13:45:00 | 2.51 | 342.8133 | 2.6373 | 307.5813 | 2.89 | 335.2713 | 3.0253 | 309.1547 | 8.0467 | 885 | 83.4933 | 1.128
2020-03-30 14:00:00 | 2.4127 | 309.7867 | 2.596 | 306.4927 | 2.8233 | 302.9713 | 3.05 | 308.0587 | 8.1867 | 884.4 | 83.7933 | 0.698
2020-03-30 14:15:00 | 2.7407 | 334.4 | 2.944 | 326.8933 | 3.2373 | 327.0427 | 3.4787 | 328.5633 | 8.3733 | 884 | 84.2467 | 1.6667
2020-03-30 14:30:00 | 2.7333 | 337.2133 | 2.9393 | 328.308 | 3.244 | 329.7947 | 3.4873 | 329.986 | 8.54 | 884 | 84.4533 | 2.23
2020-03-30 14:45:00 | 2.8353 | 335.6533 | 3.0667 | 266.0673 | 3.3133 | 327.5067 | 3.616 | 267.4287 | 8.64 | 884 | 86.22 | 2.9813
2020-03-30 15:00:00 | 3.046 | 332.8467 | 3.2607 | 306.5707 | 3.5887 | 326.3507 | 3.836 | 308.138 | 8.5133 | 884 | 86.0267 | 3.798
2020-03-30 15:15:00 | 3.1447 | 333.1067 | 3.3853 | 331.3913 | 3.6147 | 325.5227 | 3.9347 | 333.088 | 8.4667 | 884 | 85.9067 | 3.7807
2020-03-30 15:30:00 | 3.3453 | 339.8267 | 3.5313 | 327.1093 | 3.8287 | 332.3507 | 4.044 | 328.7813 | 8.42 | 884 | 85.32 | 4.3073
2020-03-30 15:45:00 | 3.6147 | 337.2867 | 3.8307 | 323.7767 | 4.0667 | 329.8207 | 4.344 | 325.4327 | 8.4733 | 884 | 84.6267 | 5.888
2020-03-30 16:00:00 | 3.86 | 339.8733 | 4.1247 | 321.9247 | 4.4287 | 332.396 | 4.7673 | 323.5713 | 8.4533 | 884 | 83.9333 | 7.62
2020-03-30 16:15:00 | 3.7953 | 341.1133 | 4.072 | 333.8627 | 4.3893 | 333.6087 | 4.7407 | 335.5707 | 8.52 | 884 | 84.54 | 9.4693
2020-03-30 16:30:00 | 4.346 | 300.1267 | 4.556 | 312.4833 | 5.0447 | 293.5233 | 5.2427 | 314.0813 | 8.3467 | 884 | 85.9667 | 14.7833
2020-03-30 16:45:00 | 4.94 | 338.8933 | 5.4113 | 306.1853 | 5.49 | 331.438 | 6.2253 | 307.7507 | 8.22 | 883.0667 | 86.6333 | 21.8187
2020-03-30 17:00:00 | 4.5013 | 317.6 | 4.8033 | 322.576 | 4.9273 | 310.6127 | 5.3767 | 324.2267 | 8.2533 | 883 | 86.7067 | 20.0147
2020-03-30 17:15:00 | 4.0973 | 228.1 | 4.2633 | 308.6033 | 4.432 | 223.082 | 4.6513 | 310.182 | 8.1467 | 883 | 87.2267 | 18.0727
2020-03-30 17:30:00 | 4.1373 | 167.2267 | 4.2707 | 284.9053 | 4.7573 | 163.5467 | 4.8307 | 286.3613 | 8.0333 | 883.6 | 88.0133 | 22.5093
2020-03-30 17:45:00 | 4.3987 | 232.7667 | 4.5927 | 308.4213 | 4.534 | 226.4267 | 4.868 | 309.9993 | 7.9467 | 884 | 88.6733 | 24.3153
2020-03-30 18:00:00 | 4.872 | 298.14 | 5.146 | 328.9613 | 5.0313 | 291.58 | 5.506 | 330.6413 | 7.88 | 884 | 89.56 | 30.4367
2020-03-30 18:15:00 | 5.7687 | 299.66 | 6.07 | 333.858 | 6.488 | 292.2127 | 6.8813 | 335.5633 | 7.8067 | 884 | 90.1467 | 41.3753
2020-03-30 18:30:00 | 6.906 | 322.6533 | 7.268 | 316.1887 | 7.5427 | 315.556 | 8.0473 | 317.8047 | 7.76 | 884 | 90.08 | 49.274
2020-03-30 18:45:00 | 6.632 | 279.2333 | 6.9073 | 326.7693 | 7.2353 | 271.8047 | 7.588 | 328.4407 | 7.6667 | 883.0667 | 90.1467 | 48.7607
2020-03-30 19:00:00 | 6.4327 | 228.42 | 6.54 | 326.314 | 6.8053 | 223.3933 | 6.9073 | 327.9813 | 7.7733 | 883.6 | 89.78 | 48.8067
2020-03-30 19:15:00 | 7.13 | 274.9867 | 7.3267 | 325.6473 | 7.882 | 268.9367 | 8.036 | 327.312 | 7.68 | 884 | 90.4267 | 54.052
2020-03-30 19:30:00 | 7.68 | 345.4333 | 8.0567 | 327.2513 | 8.562 | 337.8327 | 9.02 | 328.9247 | 7.42 | 884 | 94 | 59.072
2020-03-30 19:45:00 | 8.2853 | 323.0933 | 8.8033 | 326.8813 | 9.3453 | 315.9847 | 10.0187 | 328.5527 | 7.2 | 883.7333 | 95.7867 | 61.256
2020-03-30 20:00:00 | 8.7627 | 231.7533 | 9.2433 | 326.6593 | 9.6987 | 226.6553 | 10.3407 | 328.3293 | 7.1533 | 883 | 96.48 | 61.4873
2020-03-30 20:15:00 | 8.8247 | 299.8867 | 9.344 | 324.814 | 9.8967 | 293.2893 | 10.5733 | 326.474 | 7.24 | 883.2667 | 96.3467 | 60.9267
2020-03-30 20:30:00 | 8.8073 | 251.06 | 9.2613 | 331.634 | 9.76 | 246.358 | 10.3613 | 333.3287 | 7.2867 | 884 | 96.3667 | 58.6907
2020-03-30 20:45:00 | 8.4307 | 321.8333 | 8.9333 | 330.432 | 9.3353 | 314.7527 | 10.0267 | 332.122 | 7.4533 | 884 | 96.66 | 59.2407
2020-03-30 21:00:00 | 8.046 | 320.1 | 8.4587 | 333.4147 | 8.6327 | 313.058 | 9.2527 | 335.1193 | 7.4933 | 884.6 | 96.8333 | 55.7573
2020-03-30 21:15:00 | 7.306 | 303.3733 | 7.6593 | 329.0067 | 8.0413 | 296.6993 | 8.5 | 330.6887 | 7.3733 | 885 | 97.14 | 52.7713
2020-03-30 21:30:00 | 7.2573 | 276.62 | 7.6313 | 334.136 | 8.282 | 270.5347 | 8.6907 | 335.844 | 7.2533 | 885 | 97.04 | 53.0947
2020-03-30 21:45:00 | 7.35 | 256.4733 | 7.786 | 330.9227 | 8.496 | 250.832 | 8.99 | 332.6153 | 7.1867 | 885 | 96.84 | 57.4413
2020-03-30 22:00:00 | 7.5973 | 255.5 | 8.0393 | 326.424 | 8.6647 | 227.1627 | 9.1847 | 328.0933 | 7.2467 | 885 | 96.1933 | 56.3673
2020-03-30 22:15:00 | 6.7113 | 299.22 | 7.0107 | 325.6213 | 7.348 | 292.6373 | 7.7373 | 327.2867 | 7.3333 | 885 | 94.5067 | 53.2973
2020-03-30 22:30:00 | 6.4383 | 282.6667 | 6.72 | 324.205 | 6.36 | 276.4467 | 6.925 | 325.865 | 7.4333 | 885 | 93.65 | 51.7933
2020-03-30 22:45:00 | 7.316 | 338.08 | 7.568 | 330.29 | 7.714 | 330.642 | 8.084 | 331.978 | 7.58 | 885.2 | 92.48 | 53.196
2020-03-30 23:00:00 | 7.2767 | 342.9333 | 7.6567 | 324.012 | 7.8093 | 335.5333 | 8.3673 | 325.6693 | 7.6333 | 885 | 92.1 | 55.0827
2020-03-30 23:15:00 | 6.7253 | 318.3867 | 7.0787 | 320.086 | 7.3133 | 311.3813 | 7.814 | 321.724 | 7.5333 | 885.2667 | 91.0533 | 51.408
2020-03-30 23:30:00 | 6.922 | 342.0467 | 7.3347 | 325.2887 | 7.622 | 334.5227 | 8.2 | 326.952 | 7.5133 | 886 | 90.6667 | 54.7147
2020-03-30 23:45:00 | 6.6473 | 341.38 | 7.046 | 330.4073 | 7.2673 | 333.8693 | 7.8487 | 332.0973 | 7.4933 | 886 | 90.88 | 53.734