## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-03-31 00:00:00 | 6.7321 | 336.9929 | 7.0557 | 323.3121 | 7.1914 | 329.5793 | 7.6743 | 324.965 | 7.5571 | 885.6 | 91.53 | 49.2964
2020-03-31 00:15:00 | 6.3047 | 337.0333 | 6.5953 | 324.7427 | 6.6953 | 329.618 | 7.1407 | 326.402 | 7.96 | 885.2667 | 90.94 | 40.5493
2020-03-31 00:30:00 | 6.444 | 349.5733 | 6.7813 | 332.4033 | 6.94 | 341.8827 | 7.4373 | 334.102 | 8.22 | 886 | 90.4733 | 38.7573
2020-03-31 00:45:00 | 5.6633 | 303.4667 | 5.988 | 337.058 | 6.168 | 296.79 | 6.6407 | 338.7793 | 8.4 | 886 | 90.6867 | 29.544
2020-03-31 01:00:00 | 5.0793 | 301.1067 | 5.3833 | 334.3793 | 5.5627 | 294.378 | 5.9987 | 336.088 | 8.18 | 886 | 91.1133 | 23.802
2020-03-31 01:15:00 | 4.3821 | 226.85 | 4.6336 | 334.665 | 4.7121 | 246.735 | 5.0936 | 336.3764 | 7.9571 | 886 | 91.7857 | 18.6287
2020-03-31 01:30:00 | 3.7467 | 8.4 | 3.9613 | 331.8027 | 4.138 | 8.3013 | 4.4327 | 333.4987 | 8.0333 | 886 | 92.5533 | 12.65
2020-03-31 01:45:00 | 3.46 | 59.48 | 3.692 | 335.9507 | 3.8787 | 58.172 | 4.198 | 337.6667 | 8.1933 | 886 | 92.6467 | 8.1653
2020-03-31 02:00:00 | 2.6753 | 150.5333 | 2.7793 | 333.0947 | 2.9433 | 147.2207 | 3.0647 | 334.7967 | 8.0333 | 886 | 92.4267 | 4.0827
2020-03-31 02:15:00 | 1.8927 | 129.38 | 1.8033 | 106.166 | 1.9707 | 126.5347 | 1.782 | 106.7087 | 8.4867 | 886 | 92.8 | 1.9133
2020-03-31 02:30:00 | 1.604 | 53.0733 | 1.586 | 61.1707 | 1.4693 | 51.9067 | 1.4753 | 61.484 | 8.9533 | 886 | 92.4267 | 0.67067
2020-03-31 02:45:00 | 1.576 | 44.58 | 1.5707 | 99.0267 | 1.446 | 43.5993 | 1.474 | 99.5333 | 9.0067 | 886 | 91.6933 | 1.396
2020-03-31 03:00:00 | 1.728 | 51.1133 | 1.7933 | 117.3727 | 1.8713 | 49.996 | 1.9553 | 117.9727 | 8.7 | 886 | 91.26 | 0.902
2020-03-31 03:15:00 | 1.3847 | 38.8333 | 1.4147 | 100.6027 | 1.6033 | 37.3527 | 1.5873 | 101.1167 | 8.6867 | 886 | 90.2667 | 0
2020-03-31 03:30:00 | 1.3447 | 248.2467 | 1.3027 | 322.0953 | 1.7327 | 242.7853 | 1.5427 | 323.742 | 8.5867 | 885.4 | 90.3 | 0
2020-03-31 03:45:00 | 1.4273 | 314.98 | 1.388 | 322.5307 | 1.772 | 308.05 | 1.5967 | 324.18 | 8.6867 | 885.9333 | 90.2533 | 0
2020-03-31 04:00:00 | 1.8753 | 323.2867 | 1.8407 | 315.4373 | 2.13 | 304.654 | 2.0027 | 317.0507 | 8.68 | 886 | 90.0467 | 0
2020-03-31 04:15:00 | 1.8214 | 292.3 | 1.8571 | 324.3743 | 2.1971 | 285.87 | 2.1571 | 326.0329 | 8.5857 | 886 | 93.3286 | 0.29429
2020-03-31 04:30:00 | 2.4253 | 264.7333 | 2.5247 | 322.2387 | 2.8667 | 259.4427 | 2.916 | 323.8853 | 8.5533 | 885 | 96.1 | 0.49533
2020-03-31 04:45:00 | 2.812 | 210.1867 | 2.8833 | 318.072 | 3.6513 | 205.562 | 3.5453 | 319.698 | 8.3333 | 885 | 96.72 | 2.782
2020-03-31 05:00:00 | 2.6533 | 59.0067 | 2.718 | 328.744 | 3.2753 | 57.7087 | 3.22 | 330.426 | 8.0733 | 885 | 97.3267 | 3.5467
2020-03-31 05:15:00 | 3.2133 | 228.9533 | 3.322 | 324.1673 | 4.1907 | 223.9173 | 4.1133 | 325.8253 | 7.52 | 884.0667 | 97.8867 | 5.806
2020-03-31 05:30:00 | 3.862 | 141.3067 | 3.9907 | 318.8347 | 4.842 | 138.2 | 4.806 | 320.4647 | 7.18 | 884 | 98.28 | 8.3027
2020-03-31 05:45:00 | 4.0673 | 333.98 | 4.2173 | 309.0673 | 5.1367 | 326.6313 | 5.1133 | 310.6473 | 7.26 | 884 | 98.6933 | 11.7067
2020-03-31 06:00:00 | 3.898 | 324.4867 | 4.144 | 308.8507 | 4.5733 | 317.106 | 4.8447 | 310.4313 | 7.5467 | 884 | 98.98 | 9.6467
2020-03-31 06:15:00 | 3.8773 | 334.74 | 4.1267 | 311.4867 | 4.402 | 327.3753 | 4.726 | 313.0787 | 7.62 | 884 | 98.9667 | 9.098
2020-03-31 06:30:00 | 3.98 | 333.04 | 4.2607 | 310.614 | 4.7793 | 325.6533 | 5.082 | 312.1993 | 7.18 | 884 | 99.5267 | 10.006
2020-03-31 06:45:00 | 4.0447 | 329.76 | 4.3053 | 309.6147 | 4.8393 | 322.504 | 5.1047 | 311.198 | 6.9267 | 884 | 99.9533 | 11.5993
2020-03-31 07:00:00 | 3.8433 | 325.86 | 4.0313 | 316.6693 | 4.712 | 318.6907 | 4.8193 | 318.2893 | 6.9467 | 884 | 100 | 10.814
2020-03-31 07:15:00 | 3.436 | 334 | 3.5953 | 323.4967 | 4.188 | 326.6507 | 4.2767 | 325.15 | 6.8467 | 884.9333 | 100 | 9.5213
2020-03-31 07:30:00 | 4.1167 | 331.78 | 4.3567 | 331.3087 | 4.894 | 324.4813 | 5.1253 | 333.002 | 6.94 | 885 | 100 | 12.716
2020-03-31 07:45:00 | 4.4873 | 331.2733 | 4.754 | 328.4773 | 5.2527 | 323.9853 | 5.538 | 330.1573 | 6.74 | 885 | 100 | 15.176
2020-03-31 08:00:00 | 4.578 | 336.26 | 4.802 | 329.142 | 5.4227 | 328.8627 | 5.6033 | 330.8247 | 7.1333 | 885.6 | 100 | 16.7507
2020-03-31 08:15:00 | 4.314 | 339.0667 | 4.5367 | 333.9227 | 5.2027 | 331.5533 | 5.372 | 335.6307 | 7.38 | 886 | 100 | 16
2020-03-31 08:30:00 | 4.0167 | 334.84 | 4.1473 | 333.028 | 4.6893 | 326.372 | 4.7487 | 334.732 | 7.54 | 886 | 97.8 | 13.592
2020-03-31 08:45:00 | 3.308 | 311.3533 | 3.4973 | 318.3973 | 3.8827 | 304.0807 | 4.0807 | 320.026 | 7.6667 | 886.2667 | 92.3067 | 6.652
2020-03-31 09:00:00 | 3.4993 | 339.9533 | 3.7287 | 320.4507 | 4.1667 | 332.4753 | 4.4093 | 322.0887 | 8.02 | 887 | 92.0133 | 7.4167
2020-03-31 09:15:00 | 3.9013 | 337.9733 | 4.1427 | 324.586 | 4.5967 | 330.538 | 4.8547 | 326.2453 | 8.8333 | 887 | 91.7467 | 9.3907
2020-03-31 09:30:00 | 3.352 | 326.4067 | 3.5293 | 314.4333 | 3.9133 | 319.226 | 4.0907 | 316.04 | 9.2733 | 887 | 88.7467 | 6.366
2020-03-31 09:45:00 | 3.762 | 301.9333 | 3.9433 | 313.788 | 4.468 | 295.2913 | 4.6093 | 315.394 | 9.6533 | 887 | 86.34 | 8.55
2020-03-31 10:00:00 | 2.4293 | 277.18 | 2.4167 | 309.6813 | 2.9507 | 270.8987 | 2.772 | 311.2627 | 10.3267 | 887.6 | 84.82 | 3.234
2020-03-31 10:15:00 | 2.3487 | 285.1067 | 2.3747 | 309.0993 | 2.882 | 278.834 | 2.7787 | 310.6793 | 10.8933 | 888 | 83.6267 | 1.6893
2020-03-31 10:30:00 | 2.22 | 179.8067 | 2.266 | 316.1353 | 2.704 | 175.8507 | 2.6493 | 317.752 | 11.14 | 888 | 80.83 | 1.4467
2020-03-31 10:45:00 | 2.3167 | 255.1133 | 2.388 | 316.2453 | 2.588 | 249.5007 | 2.6467 | 317.8627 | 11.68 | 888 | 77.2713 | 0.54867
2020-03-31 11:00:00 | 2.178 | 256.4667 | 2.2113 | 296.9793 | 2.6347 | 250.8247 | 2.5647 | 298.498 | 12.26 | 888 | 73.7687 | 0.218
2020-03-31 11:15:00 | 2.1727 | 261.6467 | 2.2673 | 295.1213 | 2.478 | 255.89 | 2.57 | 296.6293 | 12.6933 | 888 | 72.2293 | 0
2020-03-31 11:30:00 | 1.4673 | 189.64 | 1.472 | 240.3667 | 1.7667 | 195.3327 | 1.6333 | 241.596 | 13.5467 | 888.6 | 70.3907 | 0
2020-03-31 11:45:00 | 1.51 | 170.94 | 1.6993 | 185.2973 | 1.5927 | 167.178 | 1.9273 | 186.244 | 14.5067 | 888.0667 | 68.53 | 0
2020-03-31 12:00:00 | 1.4747 | 153.7133 | 1.526 | 145.2073 | 1.4873 | 150.332 | 1.5833 | 145.9493 | 14.8467 | 888 | 65.9593 | 0
2020-03-31 12:15:00 | 1.412 | 153.5733 | 1.49 | 88.21 | 1.7347 | 150.1953 | 1.7887 | 88.66 | 14.5733 | 888 | 65.2847 | 0
2020-03-31 12:30:00 | 1.4913 | 110.0067 | 1.5747 | 111.14 | 1.632 | 107.5867 | 1.7507 | 111.7073 | 15.26 | 888 | 62.4527 | 0
2020-03-31 12:45:00 | 1.4653 | 120.5133 | 1.5207 | 103.864 | 1.902 | 114.6867 | 1.8893 | 104.3947 | 15.28 | 888 | 59.674 | 0
2020-03-31 13:00:00 | 1.598 | 143.3 | 1.7 | 102.514 | 1.6013 | 140.1473 | 1.7933 | 103.038 | 15.7 | 888 | 59.062 | 0
2020-03-31 13:15:00 | 1.5427 | 143.84 | 1.5747 | 150.7887 | 1.638 | 144.7567 | 1.672 | 151.5587 | 16 | 887.7333 | 57.6427 | 0
2020-03-31 13:30:00 | 1.4987 | 176.44 | 1.6447 | 138.8373 | 1.5873 | 174.202 | 1.8273 | 139.546 | 16.36 | 887 | 56.2407 | 0
2020-03-31 13:45:00 | 1.834 | 172.52 | 1.976 | 172.558 | 2.2307 | 161.0567 | 2.376 | 173.4413 | 16.52 | 887 | 53.1967 | 0
2020-03-31 14:00:00 | 2.2367 | 165.68 | 2.3467 | 137.174 | 2.864 | 162.0347 | 2.8913 | 137.876 | 16.5667 | 887 | 51.822 | 0.12533
2020-03-31 14:15:00 | 2.588 | 173.4667 | 2.6773 | 123.6187 | 3.2107 | 169.6507 | 3.2013 | 124.252 | 16.5133 | 886.7333 | 52.0333 | 1.258
2020-03-31 14:30:00 | 2.6627 | 159.9667 | 2.7467 | 142.4947 | 3.064 | 156.4473 | 3.1127 | 143.2227 | 16.5267 | 886 | 50.5253 | 1.7133
2020-03-31 14:45:00 | 2.4307 | 206.82 | 2.632 | 162.7967 | 2.896 | 201.396 | 3.1287 | 163.682 | 16.94 | 886 | 47.3167 | 1.372
2020-03-31 15:00:00 | 2.5587 | 165.9 | 2.6853 | 134.788 | 2.886 | 162.2507 | 3.0333 | 135.476 | 16.8733 | 886 | 46.3747 | 1.5547
2020-03-31 15:15:00 | 2.948 | 196.1933 | 3.022 | 126.5473 | 3.242 | 191.8767 | 3.3013 | 127.1933 | 16.7133 | 886 | 45.2087 | 2.888
2020-03-31 15:30:00 | 2.7847 | 199.0733 | 2.8787 | 136.58 | 3.172 | 194.6933 | 3.24 | 137.2793 | 17.1 | 886 | 43.2107 | 2.5933
2020-03-31 15:45:00 | 2.9373 | 173.4067 | 3.0553 | 130.62 | 3.2473 | 169.592 | 3.384 | 131.29 | 17.1 | 886 | 42.3393 | 3.172
2020-03-31 16:00:00 | 3.036 | 160.42 | 3.102 | 136.94 | 3.2893 | 156.8907 | 3.3453 | 137.6393 | 17.0867 | 885.4 | 42.774 | 3.5847
2020-03-31 16:15:00 | 2.91 | 167.42 | 3.0847 | 144.3907 | 3.3013 | 163.7367 | 3.52 | 145.1307 | 17.2067 | 885 | 42.8747 | 5.1307
2020-03-31 16:30:00 | 2.8493 | 174.64 | 2.936 | 138.2687 | 3.136 | 167.9553 | 3.2187 | 138.978 | 17.4933 | 885 | 43.226 | 3.7747
2020-03-31 16:45:00 | 3.3193 | 170.4533 | 3.4173 | 130.576 | 3.6047 | 166.7033 | 3.7093 | 131.2433 | 17.28 | 885 | 44.0247 | 4.9647
2020-03-31 17:00:00 | 3.1447 | 163.7467 | 3.2993 | 135.342 | 3.4367 | 160.144 | 3.6493 | 136.0353 | 17.48 | 885 | 44.9873 | 8.2427
2020-03-31 17:15:00 | 3.3733 | 149.2667 | 3.48 | 134.63 | 3.8547 | 145.9827 | 3.9207 | 135.318 | 17.1267 | 885 | 47.4973 | 7.6253
2020-03-31 17:30:00 | 3.7007 | 128.4267 | 3.7647 | 134.254 | 4.312 | 125.6027 | 4.2573 | 134.94 | 17.1733 | 885 | 49.4607 | 10.6487
2020-03-31 17:45:00 | 4.568 | 132.7533 | 4.702 | 135.1927 | 5.2287 | 129.834 | 5.2933 | 135.884 | 16.7667 | 885 | 51.956 | 17.1687
2020-03-31 18:00:00 | 4.4233 | 139.5067 | 4.5447 | 137.9753 | 4.9573 | 136.4367 | 5.0333 | 138.6813 | 16.3467 | 884.4 | 54.7033 | 15.9787
2020-03-31 18:15:00 | 4.64 | 147.3533 | 4.7587 | 138.798 | 4.946 | 144.8087 | 5.0893 | 139.5073 | 16.1067 | 884 | 55.3547 | 16.1667
2020-03-31 18:30:00 | 4.6507 | 154.1267 | 4.8387 | 138.968 | 4.9707 | 150.736 | 5.234 | 139.678 | 16.0467 | 884 | 56.0953 | 18.9487
2020-03-31 18:45:00 | 4.5813 | 162.4267 | 4.7433 | 143.57 | 4.964 | 158.572 | 5.168 | 144.304 | 15.8867 | 884 | 56.864 | 19.476
2020-03-31 19:00:00 | 4.0493 | 158.6 | 4.172 | 139.514 | 4.6747 | 155.1107 | 4.7267 | 140.2293 | 15.6667 | 884.6 | 59.27 | 17.978
2020-03-31 19:15:00 | 4.2033 | 164.9733 | 4.3687 | 148.3827 | 4.6687 | 161.344 | 4.848 | 149.1407 | 15.3733 | 885 | 61.9927 | 16.0073
2020-03-31 19:30:00 | 4.2807 | 159.0267 | 4.498 | 144.8927 | 4.404 | 155.528 | 4.7827 | 145.6333 | 15.1667 | 885 | 63.288 | 18.164
2020-03-31 19:45:00 | 4.0627 | 153.0067 | 4.2907 | 146.034 | 4.5073 | 149.6413 | 4.8153 | 146.7827 | 14.9933 | 885 | 63.654 | 16.7887
2020-03-31 20:00:00 | 4.0487 | 160.0733 | 4.3527 | 143.2833 | 4.4493 | 156.5507 | 4.9093 | 144.0167 | 14.74 | 885 | 64.5153 | 16.686
2020-03-31 20:15:00 | 3.9113 | 153.0733 | 4.036 | 131.7373 | 4.328 | 149.706 | 4.4433 | 132.41 | 14.56 | 885 | 65.496 | 13.8227
2020-03-31 20:30:00 | 4 | 153.6533 | 4.0813 | 139.2807 | 4.2073 | 150.272 | 4.308 | 139.992 | 14.3333 | 885 | 66.8 | 14.5893
2020-03-31 20:45:00 | 4.0493 | 158.2 | 4.1847 | 137.5187 | 4.238 | 154.7187 | 4.4433 | 138.2227 | 14.1667 | 885.9333 | 68.1887 | 14.3693
2020-03-31 21:00:00 | 4.4107 | 157.98 | 4.5393 | 137.9887 | 4.6633 | 154.504 | 4.8407 | 138.6953 | 14 | 886 | 69.0973 | 13.738
2020-03-31 21:15:00 | 3.79 | 163.7733 | 3.888 | 137.1947 | 3.922 | 160.1707 | 4.072 | 137.8947 | 13.9667 | 886.2667 | 69.8933 | 9.7093
2020-03-31 21:30:00 | 3.3627 | 156.3333 | 3.4387 | 143.6353 | 3.5753 | 152.8933 | 3.662 | 144.3693 | 13.8533 | 887 | 71.2313 | 7.4673
2020-03-31 21:45:00 | 3.6693 | 154.1467 | 3.8113 | 140.6293 | 3.938 | 150.7553 | 4.1333 | 141.3493 | 13.7333 | 887 | 72.3287 | 8.1733
2020-03-31 22:00:00 | 3.594 | 147.46 | 3.7607 | 139.15 | 4.028 | 144.2167 | 4.2207 | 139.8627 | 13.68 | 887 | 72.838 | 8.7387
2020-03-31 22:15:00 | 2.982 | 148.4667 | 3.1153 | 139.658 | 3.272 | 145.2 | 3.442 | 140.372 | 13.6 | 887 | 73.4847 | 4.2567
2020-03-31 22:30:00 | 2.6614 | 158.3714 | 2.7586 | 142.8857 | 2.8371 | 154.8871 | 2.97 | 143.6157 | 13.5286 | 887 | 73.9671 | 3.7714
2020-03-31 22:45:00 | 2.716 | 157.86 | 2.83 | 152.275 | 2.892 | 154.387 | 3.059 | 153.054 | 13.55 | 887 | 74.665 | 4.3182
2020-03-31 23:00:00 | 2.3047 | 152.5733 | 2.3927 | 150.064 | 2.5427 | 149.2167 | 2.646 | 150.8313 | 13.4467 | 887 | 74.8153 | 1.78
2020-03-31 23:15:00 | 2.3467 | 145.54 | 2.42 | 154.5307 | 2.6547 | 142.338 | 2.708 | 155.32 | 13.38 | 887 | 75.2927 | 2.0213
2020-03-31 23:30:00 | 2.0987 | 163.36 | 2.1913 | 162.7773 | 2.2807 | 159.7667 | 2.4067 | 163.61 | 13.3133 | 887 | 76.134 | 1.3567
2020-03-31 23:45:00 | 1.9927 | 175.3733 | 2.078 | 162.348 | 2.1967 | 171.516 | 2.2987 | 163.1773 | 13.2067 | 887 | 77.916 | 1.2393