## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-02 00:00:00 | 3.1921 | 275.6786 | 3.3993 | 327.6729 | 3.735 | 269.6136 | 3.9736 | 329.3471 | 11.7857 | 887 | 88.9571 | 5.0857
2020-04-02 00:15:00 | 3.3487 | 266.5375 | 3.6 | 320.98 | 3.9025 | 260.6725 | 4.2188 | 322.6187 | 11.675 | 887 | 88 | 6.135
2020-04-02 00:30:00 | 3.726 | 283.9333 | 4.0473 | 324.1173 | 4.4027 | 277.686 | 4.814 | 325.7733 | 11.5067 | 887 | 88.5933 | 8.876
2020-04-02 00:45:00 | 3.9493 | 308.1133 | 4.294 | 323.5353 | 4.554 | 301.3353 | 5.0313 | 325.1893 | 11.3333 | 887 | 89.7733 | 10.138
2020-04-02 01:00:00 | 4.2527 | 327.48 | 4.586 | 326.5153 | 4.8153 | 320.2753 | 5.2833 | 328.1847 | 11.4867 | 887 | 90.9533 | 12.0233
2020-04-02 01:15:00 | 4.3653 | 341.9533 | 4.7233 | 320.2347 | 4.9787 | 334.4293 | 5.4807 | 321.874 | 11.3667 | 887 | 91.74 | 13.3073
2020-04-02 01:30:00 | 4.6487 | 341.1933 | 5.0713 | 316.7533 | 5.362 | 333.6867 | 5.9527 | 318.374 | 11.14 | 887 | 91.7867 | 17.164
2020-04-02 01:45:00 | 4.932 | 341.6933 | 5.402 | 321.606 | 5.71 | 334.2353 | 6.3727 | 323.2507 | 11.1867 | 887 | 90.74 | 21.4387
2020-04-02 02:00:00 | 5.0207 | 342.0333 | 5.476 | 320.2887 | 5.7713 | 334.508 | 6.4173 | 321.9267 | 11.0533 | 886.3333 | 90.5867 | 22.0707
2020-04-02 02:15:00 | 5.0827 | 345.0933 | 5.5573 | 326.1227 | 5.774 | 337.5007 | 6.4693 | 327.7907 | 11.0667 | 886 | 91.9667 | 23.2807
2020-04-02 02:30:00 | 5.904 | 349.7933 | 6.3667 | 328.3147 | 6.5687 | 342.098 | 7.2487 | 329.9913 | 10.9667 | 886 | 92.5933 | 29.4553
2020-04-02 02:45:00 | 5.8673 | 347.5533 | 6.3267 | 322.1193 | 6.4633 | 339.908 | 7.16 | 323.768 | 10.8333 | 886 | 91.8467 | 30.8767
2020-04-02 03:00:00 | 5.696 | 343.7467 | 6.1373 | 323.6327 | 6.3587 | 336.184 | 6.998 | 325.2867 | 11 | 886 | 91.6933 | 29.62
2020-04-02 03:15:00 | 5.452 | 344.4067 | 5.932 | 319.2067 | 6.1313 | 336.6413 | 6.8487 | 320.8373 | 11.02 | 886 | 91.3 | 28.8213
2020-04-02 03:30:00 | 5.4587 | 345.6 | 5.9433 | 319.1727 | 6.0387 | 337.996 | 6.792 | 320.8047 | 10.8667 | 886 | 90.94 | 28.052
2020-04-02 03:45:00 | 5.2833 | 345.8 | 5.7553 | 326.0907 | 5.8593 | 338.192 | 6.586 | 327.7573 | 10.8467 | 886 | 91.2933 | 25.1907
2020-04-02 04:00:00 | 5.266 | 345.8733 | 5.672 | 329.22 | 5.8587 | 338.2633 | 6.456 | 330.902 | 10.9 | 886 | 90.7533 | 24.6067
2020-04-02 04:15:00 | 5.4427 | 348.4133 | 5.8133 | 331.5293 | 5.9367 | 341.192 | 6.498 | 333.2247 | 10.92 | 886 | 90.3067 | 26.09
2020-04-02 04:30:00 | 5.7507 | 345.0533 | 6.162 | 330.7147 | 6.3127 | 337.4613 | 6.934 | 332.4033 | 10.9 | 886 | 90 | 30.7
2020-04-02 04:45:00 | 5.782 | 341.2133 | 6.212 | 330.2713 | 6.158 | 333.7053 | 6.8687 | 331.96 | 10.8133 | 886 | 89.44 | 32.34
2020-04-02 05:00:00 | 5.5907 | 344.3 | 6.0013 | 326.644 | 5.8727 | 336.6007 | 6.566 | 328.3147 | 10.7533 | 886 | 89.36 | 30.252
2020-04-02 05:15:00 | 5.224 | 322.04 | 5.626 | 330.4933 | 5.6647 | 314.5113 | 6.3033 | 332.1827 | 10.66 | 886 | 89.9133 | 26.1533
2020-04-02 05:30:00 | 4.852 | 305.9 | 5.2907 | 334.972 | 5.3073 | 299.17 | 6.006 | 336.6833 | 10.6133 | 886 | 89.8933 | 21.1827
2020-04-02 05:45:00 | 5.3393 | 326.4533 | 5.7633 | 323.946 | 5.9213 | 319.2707 | 6.56 | 325.6033 | 10.7133 | 886 | 88.7 | 25.8647
2020-04-02 06:00:00 | 5.3893 | 343.46 | 5.8373 | 323.3387 | 5.8753 | 335.9493 | 6.5867 | 324.9933 | 10.6067 | 886 | 88.8333 | 28.4453
2020-04-02 06:15:00 | 5.3793 | 343.8867 | 5.8807 | 334.5347 | 5.8793 | 336.3213 | 6.6847 | 336.2447 | 10.4533 | 886 | 88.6333 | 32.428
2020-04-02 06:30:00 | 5.36 | 342.7 | 5.805 | 305.1758 | 5.8333 | 335.1617 | 6.54 | 306.7383 | 10.3333 | 886 | 88.4333 | 30.9925
2020-04-02 06:45:00 | 5.0893 | 324.8333 | 5.4947 | 308.95 | 5.434 | 317.6867 | 6.104 | 310.53 | 10.1933 | 886 | 87.4867 | 31.554
2020-04-02 07:00:00 | 5.3233 | 296.3667 | 5.6453 | 337.3247 | 5.5773 | 289.8467 | 6.1133 | 339.05 | 10.3067 | 886 | 86.1933 | 31.2827
2020-04-02 07:15:00 | 4.9067 | 345.54 | 5.2093 | 324.4087 | 5.0433 | 337.07 | 5.5873 | 326.068 | 10.36 | 886 | 85.7933 | 30.1033
2020-04-02 07:30:00 | 5.052 | 322.54 | 5.262 | 327.2007 | 5.2487 | 315.444 | 5.5927 | 328.8727 | 10.28 | 886 | 85.1 | 30.0833
2020-04-02 07:45:00 | 5.2407 | 253.8867 | 5.55 | 327.4607 | 5.7847 | 248.3 | 6.2167 | 329.1353 | 10.2133 | 887 | 85.4267 | 31.5953
2020-04-02 08:00:00 | 5.4333 | 319.3667 | 5.8527 | 334.5987 | 6.2387 | 312.0813 | 6.8007 | 336.31 | 10.1067 | 887 | 86.92 | 34.9553
2020-04-02 08:15:00 | 5.5573 | 346.4 | 6.058 | 327.8767 | 6.298 | 338.1587 | 7.0293 | 329.554 | 9.8267 | 887 | 90.6667 | 36.04
2020-04-02 08:30:00 | 5.8367 | 347.76 | 6.252 | 332.1153 | 6.3853 | 340.11 | 7.014 | 333.814 | 9.5667 | 887 | 93.6467 | 37.726
2020-04-02 08:45:00 | 6.1933 | 342.5 | 6.638 | 332.4093 | 6.6447 | 334.964 | 7.3587 | 334.108 | 9.34 | 887 | 94.6667 | 38.7473
2020-04-02 09:00:00 | 6.1787 | 340.0733 | 6.6613 | 327.5053 | 6.7233 | 332.4213 | 7.4787 | 329.18 | 9.16 | 887.6667 | 96.14 | 40.096
2020-04-02 09:15:00 | 6.2753 | 336.8533 | 6.8333 | 328.5867 | 6.822 | 329.444 | 7.72 | 330.268 | 9 | 888 | 97.4333 | 41.4353
2020-04-02 09:30:00 | 6.4333 | 340.7 | 6.9873 | 325.818 | 7.0533 | 333.2053 | 7.922 | 327.4847 | 9.0133 | 888 | 98.2733 | 41.3873
2020-04-02 09:45:00 | 6.5913 | 334.0533 | 7.1213 | 325.9607 | 7.296 | 326.7027 | 8.096 | 327.6293 | 8.96 | 888 | 98.8467 | 42.934
2020-04-02 10:00:00 | 6.69 | 335.8867 | 7.1913 | 324.3573 | 7.2373 | 328.4973 | 8.026 | 326.0153 | 8.8267 | 888 | 99.5333 | 44.364
2020-04-02 10:15:00 | 6.762 | 336.8133 | 7.266 | 324.01 | 7.1993 | 329.4033 | 8.0273 | 325.668 | 8.7667 | 888 | 99.96 | 44.186
2020-04-02 10:30:00 | 6.9367 | 335.7933 | 7.426 | 321.71 | 7.4673 | 328.634 | 8.244 | 323.3553 | 8.6733 | 888 | 100 | 45.7827
2020-04-02 10:45:00 | 7.0887 | 339.7067 | 7.5993 | 324.0767 | 7.958 | 332.2333 | 8.676 | 325.734 | 8.5933 | 889 | 100 | 46.794
2020-04-02 11:00:00 | 7.1273 | 320.0667 | 7.6153 | 324.246 | 7.8853 | 313.024 | 8.594 | 325.9033 | 8.5 | 889 | 100 | 47.8713
2020-04-02 11:15:00 | 7.2673 | 341.7533 | 7.7607 | 323.1707 | 7.9973 | 334.2347 | 8.7187 | 324.8233 | 8.5067 | 889 | 100 | 48.3567
2020-04-02 11:30:00 | 7.22 | 317.8 | 7.7 | 322.91 | 7.964 | 311.402 | 8.6487 | 324.5613 | 8.4 | 889 | 100 | 49.4547
2020-04-02 11:45:00 | 7.1393 | 338.06 | 7.674 | 323.1187 | 7.9767 | 331.4907 | 8.7427 | 324.7707 | 8.3933 | 889 | 100 | 50.606
2020-04-02 12:00:00 | 7.4247 | 336.7533 | 7.962 | 320.6347 | 8.192 | 329.346 | 8.99 | 322.272 | 8.3467 | 889 | 100 | 51.736
2020-04-02 12:15:00 | 7.1907 | 317.96 | 7.7287 | 320.4453 | 8.068 | 310.9653 | 8.8333 | 322.0827 | 8.2933 | 889 | 100 | 52.0693
2020-04-02 12:30:00 | 7.3093 | 339.0133 | 7.874 | 325.458 | 8.1033 | 331.5547 | 8.9507 | 327.1227 | 8.3533 | 888.3333 | 100 | 52.48
2020-04-02 12:45:00 | 7.372 | 342.9067 | 7.962 | 323.528 | 8.2153 | 335.3627 | 9.088 | 325.1827 | 8.3267 | 888 | 100 | 51.9747
2020-04-02 13:00:00 | 7.482 | 341.7133 | 8.014 | 324.514 | 8.3227 | 334.196 | 9.094 | 326.1727 | 8.26 | 888 | 100 | 52.4013
2020-04-02 13:15:00 | 7.5313 | 318.4867 | 8.0733 | 323.5093 | 8.2993 | 311.48 | 9.1107 | 325.164 | 8.3067 | 888 | 100 | 52.2847
2020-04-02 13:30:00 | 7.4207 | 342.3067 | 7.9873 | 326.718 | 8.2467 | 334.026 | 9.0767 | 328.3873 | 8.28 | 888 | 100 | 51.8393
2020-04-02 13:45:00 | 7.3773 | 340.28 | 7.8987 | 326.3393 | 8.2053 | 332.794 | 8.9533 | 328.0073 | 8.24 | 888 | 100 | 52.2287
2020-04-02 14:00:00 | 7.422 | 342.18 | 7.9193 | 326.5227 | 8.0393 | 334.652 | 8.806 | 328.1907 | 8.2 | 888 | 100 | 52.1653
2020-04-02 14:15:00 | 6.9073 | 296.0467 | 7.3927 | 327.8393 | 7.4933 | 289.5347 | 8.2453 | 329.514 | 8.24 | 888 | 100 | 50.7727
2020-04-02 14:30:00 | 7.1613 | 345.44 | 7.7087 | 329.1107 | 7.85 | 337.84 | 8.692 | 330.794 | 8.2 | 888 | 100 | 49.5407
2020-04-02 14:45:00 | 7.3987 | 340.7533 | 7.9487 | 327.702 | 8.2873 | 331.7827 | 9.0667 | 329.3767 | 8.4733 | 888 | 100 | 52.6213
2020-04-02 15:00:00 | 7.5787 | 341.9067 | 8.1747 | 327.944 | 8.302 | 334.3847 | 9.228 | 329.6193 | 8.4733 | 888 | 100 | 52.4773
2020-04-02 15:15:00 | 7.2587 | 344.8667 | 7.826 | 325.674 | 7.9773 | 337.2787 | 8.8447 | 327.3407 | 8.4333 | 887.6667 | 100 | 52.3787
2020-04-02 15:30:00 | 7.3373 | 321.1 | 7.9573 | 326.4187 | 8.0473 | 314.0347 | 9.018 | 328.086 | 8.3867 | 887 | 100 | 53.8953
2020-04-02 15:45:00 | 7.736 | 344.2733 | 8.3947 | 328.2953 | 8.434 | 337.456 | 9.47 | 329.9733 | 8.44 | 887 | 100 | 53.0407
2020-04-02 16:00:00 | 7.6473 | 342.08 | 8.27 | 325.75 | 8.336 | 334.2153 | 9.342 | 327.4173 | 8.5 | 887 | 99.7467 | 53.3767
2020-04-02 16:15:00 | 7.666 | 340.1 | 8.3033 | 327.806 | 8.5313 | 332.4933 | 9.5067 | 329.4807 | 8.4333 | 887 | 99.3667 | 54.0807
2020-04-02 16:30:00 | 7.3507 | 338.6067 | 7.9993 | 328.8293 | 7.9007 | 331.6393 | 8.9693 | 330.5107 | 8.4133 | 887 | 99.14 | 54.15
2020-04-02 16:45:00 | 7.0127 | 340.9667 | 7.5587 | 329.9313 | 7.7627 | 332.6893 | 8.5927 | 331.6173 | 8.3067 | 887 | 99.0333 | 53.0113
2020-04-02 17:00:00 | 7.3187 | 344.8533 | 7.9213 | 327.4133 | 8.0667 | 337.2667 | 8.994 | 329.0887 | 8.2533 | 887 | 99.0067 | 53.3547
2020-04-02 17:15:00 | 7.53 | 343.18 | 8.1413 | 326.228 | 8.248 | 335.63 | 9.1933 | 327.896 | 8.28 | 887 | 98.52 | 52.1433
2020-04-02 17:30:00 | 7.6613 | 340.1333 | 8.2687 | 320.8613 | 8.5093 | 332.6507 | 9.4173 | 322.502 | 8.3267 | 887 | 98.06 | 53.9247
2020-04-02 17:45:00 | 7.7753 | 345.06 | 8.356 | 325.3673 | 8.4893 | 337.572 | 9.3947 | 327.03 | 8.3267 | 887 | 97.6933 | 55.4287
2020-04-02 18:00:00 | 7.6747 | 341.78 | 8.196 | 323.6393 | 8.342 | 334.26 | 9.14 | 325.294 | 8.3733 | 887 | 96.8133 | 55.0187
2020-04-02 18:15:00 | 7.4853 | 318.9467 | 7.998 | 328.5113 | 8.208 | 333.7 | 8.974 | 330.19 | 8.3933 | 887 | 96 | 54.2413
2020-04-02 18:30:00 | 7.4273 | 340.8733 | 7.888 | 322.9287 | 8.232 | 333.374 | 8.874 | 324.5807 | 8.4067 | 887.6667 | 95.5667 | 54.322
2020-04-02 18:45:00 | 7.3053 | 317.5 | 7.788 | 325.0093 | 8.1867 | 310.5153 | 8.8427 | 326.67 | 8.4467 | 888 | 95.16 | 53.9853
2020-04-02 19:00:00 | 7.1587 | 344.96 | 7.6507 | 320.6413 | 7.8973 | 337.3707 | 8.614 | 322.2793 | 8.4867 | 888 | 94.4867 | 52.6613
2020-04-02 19:15:00 | 7.298 | 321.8 | 7.7567 | 322.4073 | 8.0113 | 314.72 | 8.678 | 324.0547 | 8.5467 | 888 | 93.82 | 53.7313
2020-04-02 19:30:00 | 7.1007 | 317.65 | 7.5393 | 321.4264 | 7.965 | 310.6621 | 8.55 | 323.0693 | 8.6286 | 888 | 92.9929 | 52.6287
2020-04-02 19:45:00 | 6.9153 | 337.6933 | 7.324 | 319.846 | 7.694 | 330.2633 | 8.2467 | 321.4793 | 8.6533 | 888 | 93.8333 | 51.4013
2020-04-02 20:00:00 | 6.45 | 314.3867 | 6.7687 | 319.4673 | 7.1693 | 307.47 | 7.568 | 321.0993 | 8.7067 | 888 | 94.1467 | 46.576
2020-04-02 20:15:00 | 6.572 | 341.3733 | 7.0067 | 319.0567 | 7.2453 | 333.8627 | 7.8793 | 320.688 | 8.6867 | 888.3333 | 93.3667 | 48.4207
2020-04-02 20:30:00 | 6.732 | 342.9933 | 7.168 | 321.1293 | 7.462 | 335.0573 | 8.08 | 322.7713 | 8.6867 | 889 | 93.24 | 48.4033
2020-04-02 20:45:00 | 6.5207 | 316.2467 | 6.8767 | 319.3153 | 7.008 | 333.2173 | 7.5607 | 320.9507 | 8.68 | 889 | 93.2133 | 46.986
2020-04-02 21:00:00 | 6.5693 | 347.5933 | 6.9493 | 322.746 | 7.1813 | 339.882 | 7.732 | 324.396 | 8.5933 | 889 | 92.86 | 47.7653
2020-04-02 21:15:00 | 6.6487 | 339.44 | 7.042 | 319.1007 | 7.2913 | 332.1627 | 7.8547 | 320.7327 | 8.5533 | 890 | 93.24 | 47.6027
2020-04-02 21:30:00 | 6.8153 | 338.4067 | 7.198 | 324.8393 | 7.6293 | 330.9613 | 8.1187 | 326.5013 | 8.4533 | 890 | 94.0733 | 50.846
2020-04-02 21:45:00 | 7.33 | 318.8467 | 7.7633 | 326.5607 | 8.2567 | 311.6687 | 8.8167 | 328.2293 | 8.4133 | 890 | 94.4333 | 54.7427
2020-04-02 22:00:00 | 7.2633 | 341.9 | 7.7847 | 318.7633 | 8.1127 | 334.3773 | 8.8507 | 320.3927 | 8.2933 | 890 | 94.8 | 49.94
2020-04-02 22:15:00 | 7.0087 | 317.3533 | 7.418 | 324.1167 | 7.7147 | 310.372 | 8.284 | 325.7733 | 8.2867 | 890 | 94.84 | 48.8933
2020-04-02 22:30:00 | 6.6188 | 341.8125 | 7.0975 | 324.4875 | 7.4 | 334.2925 | 8.0775 | 326.1463 | 8.175 | 890 | 95.025 | 45.485
2020-04-02 22:45:00 | 6.699 | 339.56 | 7.174 | 320.95 | 7.47 | 331.453 | 8.146 | 322.59 | 8.18 | 890 | 95.11 | 43.5036
2020-04-02 23:00:00 | 6.5247 | 292.9267 | 6.9887 | 319.5387 | 7.2873 | 309.4327 | 7.9407 | 321.1727 | 8.1267 | 890 | 95.4067 | 42.3713
2020-04-02 23:15:00 | 6.4173 | 336.5 | 6.9073 | 322.0687 | 7.1293 | 328.516 | 7.8533 | 323.7153 | 8.0533 | 890 | 95.6667 | 42.5793
2020-04-02 23:30:00 | 6.6493 | 339.02 | 7.1053 | 319.422 | 7.31 | 331.5627 | 7.9813 | 321.0547 | 8.06 | 890 | 95.8133 | 41.74
2020-04-02 23:45:00 | 6.4593 | 333 | 6.9047 | 324.2653 | 6.9667 | 325.5233 | 7.664 | 325.9227 | 7.94 | 890 | 96.6467 | 40.036