## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-04 00:00:00 | 6.0643 | 297.5143 | 6.3586 | 332.5764 | 6.8993 | 290.9707 | 7.2193 | 334.2757 | 7.7643 | 892 | 93.76 | 51.9543
2020-04-04 00:15:00 | 5.694 | 275.7933 | 6.0307 | 304.6207 | 6.472 | 269.5767 | 6.906 | 306.1787 | 7.8 | 892 | 91.0467 | 45.5473
2020-04-04 00:30:00 | 5.3893 | 232.0733 | 5.728 | 308.466 | 6.0127 | 226.9667 | 6.4767 | 310.0453 | 7.9067 | 892.6667 | 91.1667 | 40.334
2020-04-04 00:45:00 | 5.032 | 343.7133 | 5.3967 | 334.184 | 5.4813 | 336.152 | 6.0473 | 335.8913 | 7.86 | 893 | 91.42 | 38.3047
2020-04-04 01:00:00 | 5.1793 | 235.8 | 5.4067 | 328.8633 | 5.52 | 230.6133 | 5.854 | 330.544 | 7.82 | 893 | 90.74 | 42.1493
2020-04-04 01:15:00 | 5.0907 | 251.2357 | 5.3579 | 326.5129 | 5.2086 | 245.7093 | 5.6793 | 328.1807 | 7.8643 | 892.7143 | 88.6286 | 39.5033
2020-04-04 01:30:00 | 4.8527 | 236.6133 | 5.1113 | 320.158 | 4.9527 | 231.2513 | 5.404 | 321.7947 | 7.9067 | 892.6667 | 87.84 | 34.0313
2020-04-04 01:45:00 | 4.752 | 253.5067 | 4.9407 | 325.7593 | 5.0093 | 270.4227 | 5.3013 | 327.424 | 7.9267 | 893 | 89.1733 | 31.41
2020-04-04 02:00:00 | 4.7067 | 321 | 5.054 | 327.4347 | 4.9287 | 313.938 | 5.5207 | 329.1073 | 7.9533 | 893 | 90.9333 | 28.4613
2020-04-04 02:15:00 | 5.052 | 303.3333 | 5.4613 | 327.8313 | 5.5307 | 296.6593 | 6.1673 | 329.5087 | 7.9133 | 892.6667 | 91.38 | 30.6773
2020-04-04 02:30:00 | 5.214 | 344.5067 | 5.63 | 324.292 | 5.7113 | 336.9273 | 6.36 | 325.95 | 7.9267 | 892 | 92.96 | 30.6447
2020-04-04 02:45:00 | 5.45 | 351.66 | 5.8487 | 328.6333 | 6.0713 | 343.9233 | 6.648 | 330.3147 | 7.9333 | 892 | 94.02 | 31.3033
2020-04-04 03:00:00 | 5.73 | 303.1533 | 6.1133 | 328.5287 | 6.426 | 297.418 | 6.9507 | 330.2087 | 7.96 | 892 | 96.08 | 35.6173
2020-04-04 03:15:00 | 6.07 | 330.5 | 6.482 | 328.1907 | 6.808 | 323.2293 | 7.3793 | 329.868 | 7.92 | 892 | 97.6333 | 39.2773
2020-04-04 03:30:00 | 5.908 | 348.7733 | 6.2767 | 324.5453 | 6.6533 | 341.1 | 7.1367 | 326.2033 | 7.8333 | 892 | 98.28 | 38.0433
2020-04-04 03:45:00 | 6.124 | 326.6333 | 6.462 | 324.8993 | 6.8193 | 319.4473 | 7.2593 | 326.5593 | 8 | 892 | 98.7667 | 37.3247
2020-04-04 04:00:00 | 6.162 | 346.2933 | 6.4593 | 325.4647 | 6.7547 | 338.4213 | 7.144 | 327.128 | 8.0067 | 892 | 99.2867 | 39.072
2020-04-04 04:15:00 | 5.9413 | 336.8067 | 6.212 | 325.968 | 6.1993 | 329.398 | 6.6387 | 327.6347 | 7.9933 | 891.6667 | 99.6933 | 38.7073
2020-04-04 04:30:00 | 6.1927 | 337.36 | 6.5113 | 324.5447 | 6.8413 | 329.866 | 7.256 | 326.2047 | 7.7667 | 891 | 99.96 | 42.0773
2020-04-04 04:45:00 | 6.4347 | 334.1667 | 6.7813 | 324.8913 | 7.046 | 326.8153 | 7.5307 | 326.5527 | 7.7267 | 891 | 100 | 43.6233
2020-04-04 05:00:00 | 6.506 | 338.8533 | 6.848 | 326.8673 | 7.132 | 331.3993 | 7.6033 | 328.5367 | 7.74 | 891 | 100 | 46.3473
2020-04-04 05:15:00 | 6.564 | 315.6 | 6.9447 | 327.6827 | 7.274 | 308.918 | 7.784 | 329.358 | 7.64 | 891 | 100 | 49.1973
2020-04-04 05:30:00 | 6.3093 | 345.6267 | 6.7027 | 325.7067 | 6.8227 | 338.0227 | 7.4227 | 327.372 | 7.5667 | 891 | 100 | 50.18
2020-04-04 05:45:00 | 6.4267 | 341.4867 | 6.6627 | 334.17 | 7.226 | 336.06 | 7.4273 | 335.8787 | 7.76 | 891 | 100 | 49.6407
2020-04-04 06:00:00 | 6.71 | 345.4133 | 7.006 | 339.73 | 7.3707 | 338.2707 | 7.7313 | 341.4667 | 7.9867 | 891 | 100 | 49.6853
2020-04-04 06:15:00 | 6.7213 | 344.0733 | 7.0387 | 338.3227 | 7.3767 | 336.5033 | 7.7867 | 340.0527 | 8.0067 | 891 | 100 | 48.99
2020-04-04 06:30:00 | 6.5627 | 299.98 | 6.9013 | 331.582 | 7.2713 | 293.38 | 7.7107 | 333.276 | 7.8733 | 891 | 100 | 48.398
2020-04-04 06:45:00 | 6.5333 | 346.1 | 6.8347 | 334.586 | 7.216 | 338.1467 | 7.5933 | 336.298 | 7.7667 | 891 | 100 | 47.7567
2020-04-04 07:00:00 | 6.6987 | 346.8933 | 7.062 | 333.758 | 7.4593 | 339.0267 | 7.9367 | 335.4653 | 7.9533 | 891.6667 | 100 | 45.482
2020-04-04 07:15:00 | 6.9213 | 350.1533 | 7.3913 | 331.914 | 7.8 | 342.2473 | 8.4413 | 333.6107 | 7.9867 | 892 | 100 | 44.7047
2020-04-04 07:30:00 | 6.8407 | 347.9867 | 7.3333 | 335.8307 | 7.7293 | 340.33 | 8.41 | 337.5487 | 8.1133 | 892 | 100 | 43.822
2020-04-04 07:45:00 | 6.4473 | 324.6867 | 6.9627 | 335.3173 | 7.206 | 317.544 | 7.9633 | 337.0313 | 8.1267 | 892.3333 | 100 | 41.1053
2020-04-04 08:00:00 | 6.0927 | 325.6267 | 6.5807 | 332.8073 | 6.804 | 317.6293 | 7.518 | 334.508 | 8.0133 | 893 | 100 | 38.678
2020-04-04 08:15:00 | 6.254 | 327.9133 | 6.6893 | 337.2473 | 6.8073 | 320.7 | 7.4733 | 338.9727 | 8.1333 | 893 | 99.9667 | 37.9613
2020-04-04 08:30:00 | 6.0053 | 304.6933 | 6.4347 | 338.0753 | 6.5427 | 297.9907 | 7.1987 | 339.8033 | 8.0467 | 893 | 99.4067 | 36.4207
2020-04-04 08:45:00 | 5.8507 | 351.0667 | 6.252 | 338.3493 | 6.278 | 343.4713 | 6.9227 | 340.2167 | 8.3467 | 893 | 98.0867 | 34.3033
2020-04-04 09:00:00 | 5.698 | 354.1133 | 6.1307 | 339.5027 | 6.1747 | 346.3227 | 6.8567 | 341.238 | 8.2867 | 893 | 97.1 | 32.316
2020-04-04 09:15:00 | 5.7073 | 331.4933 | 6.1233 | 318.3333 | 6.0893 | 324.2013 | 6.7673 | 319.96 | 8.46 | 894 | 96.9067 | 32.1627
2020-04-04 09:30:00 | 5.384 | 350.8267 | 5.7833 | 339.9593 | 5.8207 | 343.1087 | 6.4507 | 341.6967 | 8.32 | 894 | 96.8867 | 29.3527
2020-04-04 09:45:00 | 5.4673 | 350.6 | 5.8787 | 341.1707 | 5.9453 | 342.8867 | 6.586 | 342.916 | 8.5133 | 894 | 95.1133 | 29.8813
2020-04-04 10:00:00 | 5.256 | 304.2933 | 5.62 | 344.5893 | 5.6447 | 297.5993 | 6.222 | 346.35 | 8.6867 | 894 | 93.4333 | 26.92
2020-04-04 10:15:00 | 5.1733 | 234.8067 | 5.472 | 338.36 | 5.5787 | 230.032 | 6.028 | 340.0927 | 8.7133 | 894 | 93.5933 | 24.5473
2020-04-04 10:30:00 | 5.0473 | 328.9867 | 5.366 | 336.9613 | 5.336 | 321.9107 | 5.864 | 338.682 | 8.86 | 894.6667 | 94.0867 | 21.912
2020-04-04 10:45:00 | 4.8847 | 303.4267 | 5.1893 | 338.3487 | 5.3287 | 296.7513 | 5.7793 | 340.0787 | 9.02 | 895 | 92.6867 | 21.654
2020-04-04 11:00:00 | 4.8707 | 283.3 | 5.1087 | 318.2547 | 5.3193 | 277.0667 | 5.644 | 319.8813 | 9.0867 | 895 | 91.9533 | 22.01
2020-04-04 11:15:00 | 4.5633 | 232.3 | 4.7753 | 318.6773 | 5.0167 | 227.1893 | 5.29 | 320.3067 | 9.3867 | 895 | 91.3133 | 17.528
2020-04-04 11:30:00 | 4.406 | 256.16 | 4.6213 | 314.5453 | 4.838 | 250.524 | 5.1227 | 316.152 | 9.6267 | 895 | 86.72 | 15.7473
2020-04-04 11:45:00 | 4.118 | 212.0733 | 4.31 | 294.3267 | 4.3467 | 207.408 | 4.648 | 295.83 | 9.9533 | 895 | 84.1533 | 12.3713
2020-04-04 12:00:00 | 3.5447 | 172.2867 | 3.7193 | 271.9433 | 3.7027 | 189.8893 | 3.9907 | 273.3327 | 10.0933 | 895 | 83.18 | 9.718
2020-04-04 12:15:00 | 3.508 | 215.4667 | 3.6453 | 317.028 | 3.5927 | 210.4393 | 3.8267 | 318.6493 | 10.2133 | 895 | 81.22 | 9.024
2020-04-04 12:30:00 | 3.3853 | 279.1467 | 3.586 | 267.7313 | 3.6593 | 272.7173 | 3.9553 | 269.1 | 10.6067 | 895 | 79.1573 | 9.16
2020-04-04 12:45:00 | 3.1993 | 190.2 | 3.3733 | 226.296 | 3.4993 | 186.016 | 3.7447 | 227.454 | 10.9133 | 895 | 76.0847 | 8.9633
2020-04-04 13:00:00 | 3.5093 | 236.5067 | 3.75 | 272.8887 | 4.09 | 231.304 | 4.3767 | 274.284 | 11.22 | 895 | 73.316 | 9.9587
2020-04-04 13:15:00 | 3.4513 | 211.8933 | 3.6873 | 211.358 | 3.716 | 207.2307 | 4.0873 | 212.44 | 11.4933 | 895 | 71.3427 | 6.9967
2020-04-04 13:30:00 | 2.9813 | 325.9467 | 3.1887 | 288.0813 | 3.3707 | 318.776 | 3.6553 | 289.5527 | 11.62 | 895 | 69.804 | 4.026
2020-04-04 13:45:00 | 2.8873 | 320.2467 | 3.1073 | 290.7653 | 3.3893 | 314.604 | 3.6593 | 292.2513 | 11.9067 | 895 | 69.4273 | 3.3087
2020-04-04 14:00:00 | 2.0413 | 245.3867 | 2.174 | 264.9267 | 2.3933 | 239.9893 | 2.5413 | 266.282 | 12.16 | 895 | 65.6433 | 1.3727
2020-04-04 14:15:00 | 1.7813 | 145.58 | 1.8187 | 266.916 | 2.2147 | 144.0273 | 2.142 | 268.28 | 12.6067 | 895 | 63.634 | 1.2007
2020-04-04 14:30:00 | 1.6393 | 166.3733 | 1.7387 | 135.7853 | 1.8067 | 162.714 | 1.9473 | 136.4793 | 12.74 | 895 | 60.6553 | 0.89333
2020-04-04 14:45:00 | 1.1507 | 159.9867 | 1.3033 | 156.4147 | 1.414 | 156.4667 | 1.626 | 157.2153 | 12.4267 | 894 | 62.31 | 0.35
2020-04-04 15:00:00 | 1.1893 | 194.6533 | 1.2833 | 135.0167 | 1.4073 | 190.3713 | 1.5253 | 135.7053 | 12.0933 | 894 | 70.52 | 0.18067
2020-04-04 15:15:00 | 1.1787 | 162.8867 | 1.2547 | 171.9913 | 1.36 | 159.304 | 1.4487 | 172.87 | 12.4467 | 894 | 71.302 | 0.542
2020-04-04 15:30:00 | 1.0107 | 170.9133 | 1.0873 | 126.4233 | 1.2947 | 165.83 | 1.372 | 127.0693 | 12.68 | 894 | 71.6133 | 0.72667
2020-04-04 15:45:00 | 1.0573 | 180.8133 | 1.13 | 139.7433 | 1.3767 | 176.836 | 1.42 | 140.458 | 13.0933 | 894 | 68.4147 | 1.7873
2020-04-04 16:00:00 | 0.91533 | 131 | 0.944 | 174.918 | 1.0247 | 128.1187 | 1.0467 | 175.8127 | 13.4067 | 894 | 68.2947 | 0.924
2020-04-04 16:15:00 | 1.0807 | 123.4867 | 1.1453 | 172.9893 | 1.302 | 120.7707 | 1.3607 | 173.8733 | 13.8333 | 893.6667 | 64.7233 | 1.604
2020-04-04 16:30:00 | 1.3727 | 134.2067 | 1.388 | 136.686 | 1.4833 | 131.254 | 1.482 | 137.3847 | 13.92 | 893.6667 | 66.5007 | 1.6267
2020-04-04 16:45:00 | 1.804 | 105.26 | 1.7873 | 177.872 | 2.1613 | 102.9447 | 2.0287 | 178.782 | 13.9533 | 893.3333 | 57.8507 | 2.998
2020-04-04 17:00:00 | 3.6913 | 160.5467 | 3.6773 | 102.2853 | 3.9553 | 157.06 | 3.862 | 103.576 | 13.5933 | 893.3333 | 53.1593 | 11.2133
2020-04-04 17:15:00 | 3.4673 | 192.8333 | 3.646 | 266.4387 | 3.6513 | 188.5893 | 3.9407 | 267.802 | 13.56 | 893 | 51.0333 | 10.7367
2020-04-04 17:30:00 | 4.128 | 44.7267 | 4.2033 | 33.3373 | 4.442 | 43.7427 | 4.4927 | 33.5067 | 13.5667 | 893 | 48.8473 | 13.724
2020-04-04 17:45:00 | 4.5213 | 70.8467 | 4.798 | 57.748 | 4.5987 | 92.3613 | 5.106 | 58.044 | 13.6067 | 893 | 46.3473 | 19.0767
2020-04-04 18:00:00 | 4.4147 | 27.1733 | 4.648 | 58.158 | 4.3107 | 26.5747 | 4.786 | 58.4573 | 13.4467 | 893 | 45.0573 | 18.23
2020-04-04 18:15:00 | 3.7247 | 37.9867 | 3.9147 | 59.5853 | 3.776 | 37.1507 | 4.1307 | 59.89 | 13.22 | 893 | 47.16 | 12.6593
2020-04-04 18:30:00 | 3.794 | 26.1667 | 4.046 | 58.042 | 4.1187 | 23.6667 | 4.4987 | 58.3373 | 12.9733 | 893 | 49.3367 | 11.238
2020-04-04 18:45:00 | 3.8713 | 42.4867 | 4.0647 | 145.4867 | 4.1647 | 41.5533 | 4.4493 | 146.2313 | 12.76 | 893 | 48.9267 | 13.4353
2020-04-04 19:00:00 | 4.248 | 217.2867 | 4.48 | 272.2227 | 4.8 | 212.5073 | 5.082 | 273.6153 | 12.6133 | 893 | 48.0713 | 17.7047
2020-04-04 19:15:00 | 3.6393 | 67.9667 | 3.8427 | 142.996 | 3.8527 | 66.4713 | 4.178 | 143.7287 | 12.4467 | 893 | 48.3767 | 13.7807
2020-04-04 19:30:00 | 3.9513 | 59.36 | 4.1147 | 30.344 | 4.2067 | 58.054 | 4.448 | 30.4987 | 12.2067 | 893 | 46.6207 | 13.116
2020-04-04 19:45:00 | 3.3947 | 83.1467 | 3.522 | 144.8927 | 3.7493 | 81.3173 | 3.8887 | 145.6333 | 12.06 | 893 | 47.1213 | 10.38
2020-04-04 20:00:00 | 3.7093 | 38.2933 | 3.9333 | 77.7127 | 4.214 | 37.4507 | 4.4953 | 78.1087 | 11.88 | 893 | 47.374 | 10.742
2020-04-04 20:15:00 | 3.2013 | 62.08 | 3.4087 | 188.5207 | 3.5313 | 60.7133 | 3.832 | 189.4833 | 11.8 | 893 | 47.8933 | 8.6787
2020-04-04 20:30:00 | 2.6233 | 191.66 | 2.756 | 231.7087 | 2.8927 | 187.4433 | 3.0687 | 232.8913 | 11.7533 | 893 | 48.4767 | 3.8787
2020-04-04 20:45:00 | 2.3233 | 259.7333 | 2.3987 | 231.916 | 2.564 | 254.0187 | 2.64 | 233.102 | 11.7667 | 893 | 48.968 | 1.8587
2020-04-04 21:00:00 | 1.726 | 141.2467 | 1.6387 | 278.794 | 1.9733 | 138.14 | 1.738 | 280.2193 | 11.7133 | 893 | 49.898 | 1.0473
2020-04-04 21:15:00 | 1.174 | 144.3267 | 1.1847 | 120.1107 | 1.4287 | 141.1507 | 1.3747 | 120.7247 | 11.6 | 893 | 51.3293 | 0.25933
2020-04-04 21:30:00 | 1.212 | 134.54 | 1.3273 | 94.5013 | 1.6507 | 131.5807 | 1.7433 | 94.9847 | 11.56 | 893 | 54.2207 | 0
2020-04-04 21:45:00 | 1.918 | 143.52 | 2.0367 | 132.3433 | 2.45 | 140.362 | 2.52 | 133.0193 | 10.64 | 894 | 64.922 | 0.093333
2020-04-04 22:00:00 | 1.9527 | 142.6533 | 2.0567 | 141.3213 | 2.1407 | 139.514 | 2.2813 | 142.0433 | 10.44 | 894 | 78.7273 | 0.022667
2020-04-04 22:15:00 | 1.8613 | 144.5667 | 1.9593 | 138.2293 | 2.0913 | 141.386 | 2.2107 | 138.9373 | 10.38 | 894 | 80.248 | 0.22667
2020-04-04 22:30:00 | 1.935 | 141.05 | 2.0562 | 126.92 | 2.1812 | 137.9462 | 2.3413 | 127.5675 | 10.3125 | 894 | 80.8875 | 0.22
2020-04-04 22:45:00 | 1.68 | 128.89 | 1.79 | 131.492 | 1.816 | 126.053 | 1.985 | 132.165 | 10.52 | 894 | 81.98 | 0
2020-04-04 23:00:00 | 1.538 | 86.74 | 1.6287 | 95.9747 | 1.7553 | 84.8307 | 1.8647 | 96.4653 | 10.4133 | 894 | 82.4467 | 0
2020-04-04 23:15:00 | 1.0613 | 67.66 | 1.1773 | 77.0267 | 1.2707 | 66.1707 | 1.4333 | 77.422 | 10.46 | 894 | 81.9733 | 0
2020-04-04 23:30:00 | 0.79933 | 74.98 | 0.87667 | 63.576 | 0.89933 | 73.3313 | 1.0133 | 63.902 | 10.6467 | 894 | 80.32 | 0.13133
2020-04-04 23:45:00 | 1.6647 | 152.9933 | 1.7387 | 141.478 | 1.9113 | 149.6273 | 1.984 | 142.202 | 10.6 | 894 | 79.7533 | 0