## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-05 00:00:00 | 1.629 | 160.98 | 1.686 | 137.153 | 1.839 | 157.438 | 1.885 | 137.856 | 10.45 | 894 | 80.51 | 0
2020-04-05 00:15:00 | 0.65267 | 108.0133 | 0.68867 | 127.3553 | 0.86133 | 105.6373 | 0.87 | 128.0067 | 10.5933 | 894 | 81.2 | 0
2020-04-05 00:30:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 00:45:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 01:00:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 01:15:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 01:30:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 01:45:00 | 0.618 | 90.94 | 0.63467 | 111.288 | 0.69933 | 88.9393 | 0.70733 | 111.8587 | 10.7133 | 894 | 81.4133 | 0
2020-04-05 02:00:00 | 1.6433 | 159.72 | 1.724 | 161.4673 | 1.8593 | 156.206 | 1.9513 | 162.2933 | 9.98 | 892 | 85.4333 | 0
2020-04-05 02:15:00 | 1.6433 | 159.72 | 1.724 | 161.4673 | 1.8593 | 156.206 | 1.9513 | 162.2933 | 9.98 | 892 | 85.4333 | 0
2020-04-05 02:30:00 | 1.6433 | 159.72 | 1.724 | 161.4673 | 1.8593 | 156.206 | 1.9513 | 162.2933 | 9.98 | 892 | 85.4333 | 0
2020-04-05 02:45:00 | 1.6433 | 159.72 | 1.724 | 161.4673 | 1.8593 | 156.206 | 1.9513 | 162.2933 | 9.98 | 892 | 85.4333 | 0
2020-04-05 03:00:00 | 1.682 | 154.5533 | 1.7567 | 147.86 | 1.9227 | 151.1533 | 2 | 148.616 | 9.7933 | 892 | 86.4933 | 0
2020-04-05 03:15:00 | 1.4473 | 153.9533 | 1.5233 | 149.3353 | 1.7033 | 150.5667 | 1.774 | 150.098 | 9.8267 | 892 | 87.8533 | 0
2020-04-05 03:30:00 | 0.67733 | 146.58 | 0.702 | 199.336 | 0.89067 | 143.356 | 0.87667 | 200.3553 | 10.0733 | 892 | 87.9467 | 0
2020-04-05 03:45:00 | 0.466 | 177.3067 | 0.48667 | 260.9627 | 0.48467 | 173.3593 | 0.52667 | 262.2967 | 10.1867 | 892 | 86.9867 | 0
2020-04-05 04:00:00 | 0.612 | 256 | 0.57667 | 298.5247 | 0.568 | 250.3667 | 0.51733 | 300.0507 | 10.2067 | 892 | 85.9 | 0
2020-04-05 04:15:00 | 0.692 | 153.16 | 0.69067 | 304.8173 | 0.588 | 149.7907 | 0.61667 | 306.3747 | 10.22 | 892 | 85.5467 | 0
2020-04-05 04:30:00 | 1.1433 | 170.3067 | 1.158 | 328.496 | 1.1667 | 166.56 | 1.1867 | 330.1773 | 10.3467 | 891.3333 | 84.22 | 0
2020-04-05 04:45:00 | 1.6673 | 87.54 | 1.71 | 333.0093 | 1.8073 | 85.614 | 1.8533 | 334.7113 | 10.1467 | 891 | 85.4067 | 0
2020-04-05 05:00:00 | 2.0007 | 208.66 | 2.0273 | 330.0887 | 2.372 | 204.07 | 2.3127 | 331.776 | 9.94 | 891 | 86.4867 | 0
2020-04-05 05:15:00 | 1.4913 | 209.4267 | 1.4693 | 324.7873 | 1.8747 | 204.8187 | 1.726 | 326.4467 | 10.3533 | 891 | 80.8987 | 0
2020-04-05 05:30:00 | 1.4393 | 195.3933 | 1.44 | 332.4347 | 1.7307 | 191.0947 | 1.65 | 334.1353 | 10.1533 | 891 | 79.7047 | 0
2020-04-05 05:45:00 | 1.108 | 188.1467 | 1.1487 | 314.6553 | 1.4453 | 184.0067 | 1.4207 | 316.2653 | 10.3 | 891 | 79.854 | 0
2020-04-05 06:00:00 | 1.266 | 236.96 | 1.3513 | 334.072 | 1.4293 | 231.748 | 1.5413 | 335.7807 | 10.36 | 891 | 79.5873 | 0
2020-04-05 06:15:00 | 1.4727 | 328.04 | 1.56 | 328.412 | 1.7447 | 320.8233 | 1.83 | 330.0927 | 10.3 | 891 | 80.168 | 0
2020-04-05 06:30:00 | 1.8547 | 262.16 | 1.9527 | 334.964 | 2.0953 | 256.3927 | 2.2107 | 336.6773 | 10.12 | 891 | 82.4067 | 0
2020-04-05 06:45:00 | 1.6507 | 17.12 | 1.7173 | 327.0093 | 1.9533 | 16.744 | 1.994 | 328.6827 | 10.14 | 891 | 82.98 | 0
2020-04-05 07:00:00 | 1.356 | 82.6467 | 1.428 | 322.174 | 1.6113 | 80.8287 | 1.6733 | 323.82 | 10.2667 | 891 | 82.7333 | 0
2020-04-05 07:15:00 | 1.43 | 62.7571 | 1.4743 | 319.1143 | 1.4379 | 61.3771 | 1.5221 | 320.7457 | 10.15 | 892 | 82.6286 | 0
2020-04-05 07:30:00 | 1.7133 | 36.6933 | 1.744 | 277.334 | 2.0833 | 35.8853 | 2.036 | 278.7513 | 10.16 | 892 | 81.62 | 0
2020-04-05 07:45:00 | 1.7713 | 38.24 | 1.7953 | 337.5547 | 2.11 | 37.398 | 2.06 | 339.278 | 10.1733 | 892 | 81.4467 | 0
2020-04-05 08:00:00 | 1.8107 | 145.2533 | 1.8133 | 337.716 | 2.202 | 142.0587 | 2.0953 | 339.442 | 10.1533 | 892 | 81.44 | 0
2020-04-05 08:15:00 | 1.862 | 305.68 | 1.8533 | 329.4167 | 1.9953 | 298.9547 | 1.946 | 331.1013 | 10.0667 | 892 | 80.2133 | 0
2020-04-05 08:30:00 | 1.7367 | 305.6 | 1.8187 | 308.5133 | 1.9353 | 298.8773 | 2.0333 | 310.0913 | 9.7267 | 892 | 79.3627 | 0
2020-04-05 08:45:00 | 1.6447 | 231.5867 | 1.6433 | 327.636 | 1.8313 | 228.6767 | 1.7707 | 329.3107 | 9.96 | 892.3333 | 77.9907 | 0
2020-04-05 09:00:00 | 1.5787 | 341.3733 | 1.6067 | 315.124 | 1.7227 | 333.412 | 1.7333 | 316.7367 | 10.1333 | 893 | 78.568 | 0
2020-04-05 09:15:00 | 1.6073 | 301.6067 | 1.6673 | 338.218 | 1.6907 | 294.9707 | 1.7827 | 339.9487 | 10.34 | 893 | 77.8913 | 0
2020-04-05 09:30:00 | 1.1873 | 12.8067 | 1.21 | 167.996 | 1.274 | 12.526 | 1.2887 | 168.8547 | 10.4533 | 893 | 78.8787 | 0
2020-04-05 09:45:00 | 0.64133 | 16.9667 | 0.66 | 52.1527 | 0.688 | 16.5933 | 0.70867 | 52.4213 | 10.7667 | 893 | 77.696 | 0
2020-04-05 10:00:00 | 0.446 | 60.1533 | 0.46 | 100.48 | 0.44267 | 58.8307 | 0.47 | 100.994 | 11 | 893 | 74.454 | 0
2020-04-05 10:15:00 | 0.30467 | 112.5267 | 0.30667 | 183.9493 | 0.35733 | 110.0513 | 0.344 | 184.8887 | 11.6333 | 894 | 72.7927 | 0
2020-04-05 10:30:00 | 0.782 | 159.2467 | 0.83133 | 145.5973 | 0.89 | 155.7433 | 0.94733 | 146.342 | 11.94 | 894 | 72.0047 | 0
2020-04-05 10:45:00 | 0.77867 | 180.6067 | 0.82267 | 152.4367 | 0.87467 | 176.6333 | 0.932 | 153.2153 | 12.22 | 894 | 69.2753 | 0
2020-04-05 11:00:00 | 0.92667 | 203.7533 | 0.96333 | 206.4547 | 1.0813 | 199.272 | 1.1053 | 207.51 | 12.4733 | 894.6667 | 68.6173 | 0
2020-04-05 11:15:00 | 1.018 | 186.8133 | 1.0607 | 156.8453 | 1.214 | 182.7353 | 1.248 | 157.6467 | 12.52 | 895 | 68.5327 | 0
2020-04-05 11:30:00 | 1.3967 | 191.5333 | 1.48 | 116.532 | 1.2953 | 187.3193 | 1.4833 | 117.128 | 12.36 | 895 | 67.944 | 0
2020-04-05 11:45:00 | 1.486 | 196.38 | 1.5753 | 126.996 | 1.3473 | 192.1373 | 1.5607 | 127.6453 | 12.1733 | 895 | 70.064 | 0
2020-04-05 12:00:00 | 0.85333 | 175.4933 | 0.91667 | 194.5387 | 1.0247 | 171.6327 | 1.096 | 195.532 | 12.1133 | 895 | 63.1207 | 0
2020-04-05 12:15:00 | 0.77667 | 92.6267 | 0.86733 | 139.0007 | 0.99133 | 90.5893 | 1.1007 | 139.7107 | 12.1733 | 895 | 66.4 | 0
2020-04-05 12:30:00 | 0.962 | 83.0133 | 1.0713 | 120.5087 | 1.2367 | 81.186 | 1.3647 | 121.1253 | 12.4867 | 895 | 66.9307 | 0
2020-04-05 12:45:00 | 1.578 | 155.56 | 1.5747 | 116.636 | 1.866 | 152.1387 | 1.7793 | 117.232 | 12.8733 | 894.6667 | 65.4753 | 0
2020-04-05 13:00:00 | 1.7287 | 128.36 | 1.7627 | 136.3533 | 1.8187 | 125.5367 | 1.8593 | 137.05 | 12.8933 | 894 | 62.9107 | 0
2020-04-05 13:15:00 | 1.6453 | 176.7067 | 1.66 | 121.1867 | 1.878 | 172.8187 | 1.8367 | 121.806 | 13.38 | 894 | 59.882 | 0
2020-04-05 13:30:00 | 1.6733 | 171.7333 | 1.732 | 142.352 | 1.8573 | 167.9547 | 1.9187 | 143.0787 | 13.5733 | 894 | 58.6787 | 0
2020-04-05 13:45:00 | 1.9113 | 149.0467 | 2.0193 | 149.718 | 2.138 | 145.7667 | 2.2767 | 150.4833 | 13.4867 | 893.6667 | 57.51 | 0
2020-04-05 14:00:00 | 2.088 | 145.6867 | 2.22 | 149.7387 | 2.2287 | 142.4813 | 2.4427 | 150.504 | 12.8933 | 893 | 59.042 | 0
2020-04-05 14:15:00 | 2.0947 | 125.7333 | 2.0613 | 132.486 | 2.224 | 123.5873 | 2.128 | 133.1633 | 13.4267 | 893 | 61.402 | 0
2020-04-05 14:30:00 | 2.0687 | 161.4467 | 2.1533 | 143.2893 | 2.4687 | 157.8947 | 2.51 | 144.0233 | 13.3933 | 893 | 59.2413 | 0
2020-04-05 14:45:00 | 1.564 | 154.4933 | 1.7273 | 164.878 | 1.808 | 154.374 | 2.05 | 165.722 | 13.2667 | 892.6667 | 61.0513 | 0.061333
2020-04-05 15:00:00 | 1.6473 | 126.76 | 1.7113 | 156.5247 | 1.724 | 123.9713 | 1.8213 | 157.326 | 13.0267 | 892 | 61.7893 | 0
2020-04-05 15:15:00 | 1.6027 | 157.68 | 1.7347 | 131.2347 | 1.862 | 154.642 | 2.0353 | 131.906 | 13.1533 | 892 | 62.1633 | 0
2020-04-05 15:30:00 | 1.7273 | 186.7733 | 1.866 | 140.166 | 2.026 | 182.6633 | 2.1867 | 140.8833 | 13.0667 | 892 | 62.046 | 0
2020-04-05 15:45:00 | 1.5727 | 175.8067 | 1.5953 | 140.8507 | 1.716 | 171.9387 | 1.7147 | 141.5707 | 13.2067 | 892 | 62.3053 | 0
2020-04-05 16:00:00 | 1.68 | 172.1867 | 1.7173 | 136.51 | 1.8967 | 168.3973 | 1.906 | 137.2073 | 13.2267 | 891.3333 | 62.4427 | 0
2020-04-05 16:15:00 | 2.1853 | 134.8933 | 2.21 | 135.394 | 2.4733 | 131.9267 | 2.4387 | 136.0867 | 13.0933 | 891 | 62.7747 | 0.328
2020-04-05 16:30:00 | 3.0687 | 142.7467 | 3.182 | 132.8893 | 3.4167 | 139.606 | 3.534 | 133.5693 | 13.08 | 891 | 62.4467 | 3.1667
2020-04-05 16:45:00 | 2.9407 | 162.0333 | 3.0413 | 137.4213 | 3.314 | 158.5653 | 3.4153 | 138.124 | 13.18 | 891 | 61.194 | 4.5007
2020-04-05 17:00:00 | 3.146 | 138.44 | 3.23 | 143.1413 | 3.4653 | 135.394 | 3.534 | 143.8713 | 13.4667 | 891 | 62.046 | 5.1547
2020-04-05 17:15:00 | 3.4053 | 144.1467 | 3.5087 | 137.52 | 3.9713 | 140.9753 | 4.0027 | 138.222 | 13.2733 | 891 | 61.4213 | 7.552
2020-04-05 17:30:00 | 3.4813 | 133.4267 | 3.546 | 144.2287 | 3.9687 | 129.93 | 3.952 | 144.9667 | 12.9067 | 891 | 62.3687 | 10.2013
2020-04-05 17:45:00 | 3.24 | 134.7643 | 3.2486 | 142.8436 | 3.6771 | 131.7993 | 3.5664 | 143.5736 | 12.8286 | 891 | 63.9257 | 8.6413
2020-04-05 18:00:00 | 3.5553 | 152.08 | 3.646 | 136.0653 | 3.9887 | 149.6333 | 4.0113 | 136.7613 | 12.4867 | 891 | 64.46 | 9.08
2020-04-05 18:15:00 | 3.5693 | 154.7467 | 3.612 | 140.6427 | 3.9813 | 151.3427 | 3.9487 | 141.3633 | 12.3267 | 891 | 65.7073 | 9.3087
2020-04-05 18:30:00 | 4.062 | 151.5667 | 4.1953 | 135.4733 | 4.2 | 148.232 | 4.4187 | 136.1653 | 12.0933 | 891 | 66.5993 | 12.414
2020-04-05 18:45:00 | 3.958 | 152.8533 | 4.1047 | 135.3173 | 4.2727 | 149.49 | 4.4607 | 136.008 | 11.8333 | 890.6667 | 68.0067 | 11.7013
2020-04-05 19:00:00 | 3.504 | 150.82 | 3.5953 | 141.8287 | 3.702 | 147.5027 | 3.8273 | 142.554 | 11.6067 | 890 | 69.96 | 9.4447
2020-04-05 19:15:00 | 3.356 | 134.14 | 3.4053 | 135.78 | 3.7473 | 131.1887 | 3.73 | 136.4733 | 11.4267 | 890 | 71.4827 | 9.9007
2020-04-05 19:30:00 | 3.1047 | 142.7733 | 3.2553 | 137.4087 | 3.508 | 139.632 | 3.6787 | 138.1113 | 11.1933 | 890 | 72.98 | 9.4453
2020-04-05 19:45:00 | 3.1373 | 148.4933 | 3.184 | 144.75 | 3.6807 | 145.2267 | 3.614 | 145.4913 | 11.02 | 890 | 74.2513 | 9.1433
2020-04-05 20:00:00 | 3.1687 | 165.5267 | 3.24 | 149.614 | 3.3653 | 162.158 | 3.45 | 150.378 | 10.9467 | 890 | 75.2993 | 9.7073
2020-04-05 20:15:00 | 3.1873 | 171.0333 | 3.19 | 150.1873 | 3.3947 | 167.5 | 3.354 | 150.956 | 10.76 | 890 | 76.2847 | 11.3873
2020-04-05 20:30:00 | 3.5953 | 152.6067 | 3.6827 | 144.4633 | 3.974 | 149.2493 | 4.0333 | 145.2027 | 10.6933 | 890.6667 | 76.4853 | 14.9513
2020-04-05 20:45:00 | 3.4987 | 151.6933 | 3.594 | 138.8247 | 4.028 | 148.3553 | 4.058 | 139.5333 | 10.58 | 891 | 77.5313 | 13.5827
2020-04-05 21:00:00 | 3.7107 | 161.3067 | 3.876 | 145.4733 | 3.9713 | 157.758 | 4.2127 | 146.218 | 10.4333 | 891 | 78.4287 | 15.258
2020-04-05 21:15:00 | 3.538 | 167.8067 | 3.69 | 153.54 | 3.852 | 164.114 | 4.05 | 154.3253 | 10.2267 | 891 | 78.7433 | 18.0973
2020-04-05 21:30:00 | 3.6427 | 170.9867 | 3.7613 | 156.4527 | 3.818 | 167.2253 | 3.998 | 157.254 | 10.1867 | 891.6667 | 79.466 | 19.2727
2020-04-05 21:45:00 | 3.6233 | 161.64 | 3.796 | 150.6633 | 3.932 | 158.084 | 4.1747 | 151.4333 | 10.02 | 892 | 80.236 | 17.136
2020-04-05 22:00:00 | 3.3493 | 168.5067 | 3.4947 | 147.4313 | 3.3687 | 164.7987 | 3.6413 | 148.1833 | 9.9667 | 892 | 80.8067 | 14.9353
2020-04-05 22:15:00 | 3.1293 | 161.4933 | 3.2573 | 147.32 | 3.3207 | 157.9407 | 3.5067 | 148.072 | 9.7267 | 892 | 81.5267 | 12.0767
2020-04-05 22:30:00 | 3.2483 | 163.1833 | 3.3183 | 152.6817 | 3.54 | 159.5933 | 3.59 | 153.4633 | 9.6 | 892 | 81.9667 | 12.1633
2020-04-05 22:45:00 | 3.23 | 169.1444 | 3.3178 | 151.6444 | 3.6867 | 164.7711 | 3.7033 | 152.4189 | 9.6 | 892 | 82.5333 | 9.065
2020-04-05 23:00:00 | 3.0407 | 156.7667 | 3.1267 | 143.4913 | 3.2927 | 153.3173 | 3.38 | 144.226 | 9.5933 | 892 | 81.9867 | 8.2567
2020-04-05 23:15:00 | 2.718 | 157.4267 | 2.7887 | 142.7367 | 3.0367 | 152.966 | 3.096 | 143.4673 | 9.52 | 892 | 81.3733 | 5.89
2020-04-05 23:30:00 | 2.4753 | 163.0533 | 2.5373 | 149.3213 | 2.686 | 159.74 | 2.7453 | 150.0833 | 9.44 | 892 | 81.3267 | 4.3353
2020-04-05 23:45:00 | 2.3133 | 173.7933 | 2.3347 | 151.0687 | 2.47 | 169.968 | 2.4687 | 151.8407 | 9.5467 | 892 | 81.98 | 3.2653