## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-06 00:00:00 | 2.5164 | 175.1214 | 2.6086 | 153.8586 | 2.865 | 171.27 | 2.94 | 154.6464 | 9.4643 | 892 | 82.8 | 3.8579
2020-04-06 00:15:00 | 2.476 | 181.06 | 2.542 | 158.6767 | 2.7427 | 177.2073 | 2.8113 | 159.4887 | 9.52 | 892 | 81.3267 | 4.4987
2020-04-06 00:30:00 | 2.4353 | 182.5667 | 2.5107 | 157.9073 | 2.7147 | 178.5507 | 2.7767 | 158.7153 | 9.52 | 892 | 80.8933 | 3.2713
2020-04-06 00:45:00 | 2.4593 | 180.2 | 2.5233 | 152.6607 | 2.7307 | 176.2367 | 2.772 | 153.4387 | 9.58 | 891.6667 | 81.24 | 2.5833
2020-04-06 01:00:00 | 2.5973 | 183.86 | 2.6627 | 157.0473 | 2.8827 | 179.8153 | 2.926 | 157.85 | 9.68 | 891 | 80.92 | 3.326
2020-04-06 01:15:00 | 2.5013 | 189.62 | 2.5607 | 163.5667 | 2.778 | 185.448 | 2.8147 | 164.4047 | 9.6933 | 891 | 81.6467 | 2.9787
2020-04-06 01:30:00 | 2.256 | 188.54 | 2.3573 | 162.7653 | 2.3933 | 184.3933 | 2.5467 | 163.5967 | 9.6933 | 891 | 81.48 | 2.0587
2020-04-06 01:45:00 | 2.0327 | 189.3667 | 2.1087 | 167.206 | 2.1253 | 185.2007 | 2.2487 | 168.06 | 9.78 | 891 | 81.92 | 1.3593
2020-04-06 02:00:00 | 1.726 | 185.9133 | 1.8247 | 164.3947 | 1.8713 | 181.9013 | 2.0193 | 165.236 | 9.9067 | 891 | 80.96 | 0.54533
2020-04-06 02:15:00 | 1.572 | 187.5067 | 1.6447 | 177.7407 | 1.6433 | 183.3813 | 1.7627 | 178.6507 | 9.8733 | 891 | 80.78 | 0.1
2020-04-06 02:30:00 | 1.6873 | 199.4267 | 1.7587 | 178.284 | 1.748 | 195.04 | 1.866 | 179.1927 | 9.8667 | 891 | 80.9533 | 0
2020-04-06 02:45:00 | 1.7273 | 205.72 | 1.8047 | 187.34 | 1.812 | 201.1947 | 1.9327 | 188.2967 | 9.88 | 891 | 80.5933 | 0
2020-04-06 03:00:00 | 1.352 | 201.5467 | 1.42 | 178.1913 | 1.5187 | 197.1127 | 1.5993 | 179.102 | 9.7867 | 890.3333 | 81.9933 | 0
2020-04-06 03:15:00 | 1.2167 | 209.7133 | 1.278 | 191.734 | 1.386 | 205.0993 | 1.4513 | 192.714 | 9.7733 | 890 | 82.6133 | 0
2020-04-06 03:30:00 | 1.1327 | 218.8867 | 1.2047 | 207.512 | 1.3213 | 214.072 | 1.3993 | 208.574 | 9.7867 | 890 | 79.1133 | 0
2020-04-06 03:45:00 | 1.1607 | 225.66 | 1.2253 | 209.26 | 1.3473 | 220.694 | 1.418 | 210.33 | 9.7133 | 890 | 77.3527 | 0
2020-04-06 04:00:00 | 1.2073 | 220.7467 | 1.2593 | 186.1593 | 1.316 | 215.89 | 1.3833 | 187.1113 | 9.6933 | 890 | 76.7793 | 0
2020-04-06 04:15:00 | 1.182 | 215.2133 | 1.214 | 183.2327 | 1.1753 | 210.4787 | 1.24 | 184.168 | 9.6933 | 890 | 80.058 | 0
2020-04-06 04:30:00 | 1.1367 | 222.3067 | 1.166 | 204.5967 | 1.0207 | 217.4153 | 1.1107 | 205.6433 | 9.6867 | 890 | 84.36 | 0.079333
2020-04-06 04:45:00 | 0.88133 | 234.7267 | 0.91133 | 207.994 | 0.84467 | 229.5953 | 0.91 | 209.058 | 9.72 | 889 | 85.2733 | 0
2020-04-06 05:00:00 | 0.59533 | 240.6133 | 0.62 | 201.0907 | 0.656 | 235.3193 | 0.68733 | 202.1173 | 9.86 | 889 | 82.9933 | 0
2020-04-06 05:15:00 | 0.366 | 288.2667 | 0.40267 | 213.7387 | 0.544 | 281.9247 | 0.56267 | 214.8307 | 10 | 889 | 82.5667 | 0
2020-04-06 05:30:00 | 0.32267 | 263.26 | 0.354 | 234.5053 | 0.45933 | 257.4693 | 0.478 | 235.7033 | 9.8867 | 889 | 84.2267 | 0
2020-04-06 05:45:00 | 0.38333 | 164.0933 | 0.37867 | 144.5153 | 0.358 | 160.4447 | 0.356 | 145.2533 | 9.7533 | 889 | 85.9 | 0
2020-04-06 06:00:00 | 0.24 | 225.92 | 0.22 | 169.86 | 0.26333 | 220.95 | 0.21933 | 170.73 | 9.62 | 889 | 86.76 | 0
2020-04-06 06:15:00 | 0.30067 | 281.7133 | 0.31667 | 236.3173 | 0.40333 | 275.516 | 0.402 | 237.526 | 9.6867 | 889 | 87.0733 | 0
2020-04-06 06:30:00 | 0.63067 | 302.6267 | 0.65067 | 272.75 | 0.88333 | 295.968 | 0.848 | 274.146 | 9.54 | 889 | 87.7 | 0
2020-04-06 06:45:00 | 1.0007 | 165.3857 | 1.0421 | 298.6814 | 1.45 | 161.7464 | 1.3964 | 300.2086 | 9.45 | 889 | 88.1786 | 0
2020-04-06 07:00:00 | 0.906 | 274.4667 | 0.93733 | 316.1673 | 1.3727 | 268.428 | 1.2987 | 317.784 | 9.5733 | 888.3333 | 89.24 | 0
2020-04-06 07:15:00 | 0.956 | 104.08 | 0.97733 | 335.16 | 1.3533 | 101.79 | 1.2793 | 336.874 | 9.68 | 889 | 88.9 | 0
2020-04-06 07:30:00 | 0.932 | 193.2067 | 0.93533 | 327.7927 | 1.4207 | 188.9367 | 1.2793 | 329.4687 | 9.8 | 889 | 87.5333 | 0
2020-04-06 07:45:00 | 0.76733 | 223.2267 | 0.73933 | 328.8747 | 1.24 | 218.3153 | 1.0447 | 330.5573 | 10.0867 | 889.3333 | 86.3467 | 0
2020-04-06 08:00:00 | 0.75 | 271.42 | 0.73867 | 324.1087 | 1.192 | 265.4493 | 1.0407 | 325.7653 | 10.5067 | 890 | 84.7333 | 0
2020-04-06 08:15:00 | 0.97533 | 188.68 | 0.92733 | 327.7133 | 1.1587 | 184.5287 | 1.0127 | 329.39 | 10.4533 | 890.3333 | 81.52 | 0
2020-04-06 08:30:00 | 0.83867 | 241.94 | 0.83133 | 321.88 | 1.0407 | 236.616 | 0.96867 | 323.5267 | 10.5 | 891 | 83.04 | 0
2020-04-06 08:45:00 | 0.494 | 147.5 | 0.49667 | 328.712 | 0.624 | 144.256 | 0.59133 | 330.3933 | 10.8 | 891 | 83.22 | 0
2020-04-06 09:00:00 | 0.49867 | 189.8267 | 0.45733 | 147.3127 | 0.48867 | 185.6507 | 0.41533 | 148.0673 | 11.4 | 891 | 80.8413 | 0
2020-04-06 09:15:00 | 0.63667 | 166.5467 | 0.634 | 138.576 | 0.73267 | 162.8833 | 0.69867 | 139.286 | 11.8267 | 891 | 77.6013 | 0
2020-04-06 09:30:00 | 0.75533 | 104.0533 | 0.78267 | 136.556 | 0.95267 | 101.762 | 0.94867 | 137.2533 | 12.8467 | 891.6667 | 73.6293 | 0
2020-04-06 09:45:00 | 1.1547 | 137.8867 | 1.206 | 124.6547 | 1.566 | 134.8527 | 1.5427 | 125.2913 | 12.86 | 892 | 69.9393 | 0
2020-04-06 10:00:00 | 1.3413 | 164.08 | 1.3807 | 141.4453 | 1.6407 | 160.5553 | 1.624 | 142.168 | 12.0133 | 892 | 67.472 | 0
2020-04-06 10:15:00 | 1.258 | 191.26 | 1.288 | 128.5227 | 1.502 | 187.0513 | 1.4867 | 129.1787 | 11.8 | 892 | 71.0373 | 0
2020-04-06 10:30:00 | 1.662 | 185.0067 | 1.6973 | 141.738 | 1.7993 | 180.9353 | 1.828 | 142.4627 | 11.94 | 892 | 72.5073 | 0
2020-04-06 10:45:00 | 1.5293 | 174.5933 | 1.6067 | 153.228 | 1.7387 | 170.7527 | 1.8253 | 154.01 | 12.3267 | 892 | 69.162 | 0
2020-04-06 11:00:00 | 1.58 | 150.58 | 1.6 | 148.9347 | 1.9813 | 140.7793 | 1.9133 | 149.6967 | 12.7933 | 892 | 64.06 | 0
2020-04-06 11:15:00 | 1.684 | 209.34 | 1.7073 | 125.8967 | 2.1553 | 204.61 | 2.0313 | 126.5387 | 13.2333 | 892 | 62.5133 | 0
2020-04-06 11:30:00 | 2.006 | 229.0333 | 2.0793 | 121.4807 | 2.58 | 223.9953 | 2.5547 | 122.1013 | 13.54 | 892 | 61.71 | 0
2020-04-06 11:45:00 | 1.794 | 268.3 | 1.9473 | 134.102 | 1.936 | 262.3967 | 2.1893 | 134.7893 | 13.8867 | 892 | 61.206 | 0
2020-04-06 12:00:00 | 2.0613 | 192.2733 | 2.1273 | 143.114 | 2.2873 | 189.3593 | 2.3213 | 143.8453 | 14.1867 | 892 | 60.5847 | 0
2020-04-06 12:15:00 | 1.6333 | 190.3667 | 1.706 | 124.7853 | 1.7693 | 184.5687 | 1.8613 | 125.4247 | 14.68 | 892 | 60.5427 | 0
2020-04-06 12:30:00 | 1.834 | 228.28 | 1.936 | 145.134 | 1.8887 | 204.6627 | 2.152 | 145.8773 | 14.7333 | 892 | 59.0067 | 0
2020-04-06 12:45:00 | 1.9267 | 186.9933 | 2.0867 | 148.362 | 1.92 | 183.0227 | 2.2293 | 149.1213 | 14.8933 | 891 | 58.186 | 0.116
2020-04-06 13:00:00 | 2.1907 | 187.1467 | 2.36 | 180.3627 | 2.288 | 183.03 | 2.5793 | 181.2853 | 15.1267 | 891 | 58.1013 | 0.33067
2020-04-06 13:15:00 | 1.764 | 216.9867 | 1.8873 | 120.5873 | 2.032 | 212.2133 | 2.1913 | 121.204 | 15.5 | 891 | 56.72 | 0.29533
2020-04-06 13:30:00 | 2.2707 | 172.8 | 2.4413 | 167.0287 | 2.5407 | 169.162 | 2.798 | 167.8833 | 15.82 | 891 | 55.564 | 0.095333
2020-04-06 13:45:00 | 2.394 | 178.42 | 2.5153 | 123.748 | 2.666 | 174.4947 | 2.8187 | 124.3827 | 15.5867 | 891 | 53.9133 | 0.164
2020-04-06 14:00:00 | 2.6933 | 151.2133 | 2.8333 | 125.496 | 3.042 | 148.6427 | 3.1613 | 126.1387 | 15.8333 | 891 | 50.524 | 1.258
2020-04-06 14:15:00 | 2.9053 | 167.8067 | 3.036 | 142.898 | 3.2407 | 164.1153 | 3.39 | 143.6293 | 15.68 | 891 | 51.9493 | 1.5233
2020-04-06 14:30:00 | 2.556 | 183.12 | 2.757 | 140.9 | 2.884 | 179.091 | 3.169 | 141.619 | 16.06 | 890.5 | 51.536 | 1.68
2020-04-06 14:45:00 | 2.729 | 187.23 | 2.923 | 129.468 | 3.095 | 183.111 | 3.356 | 130.131 | 15.78 | 890 | 49.822 | 1.157
2020-04-06 15:00:00 | 2.354 | 200.4067 | 2.4827 | 146.1907 | 2.636 | 195.9973 | 2.7993 | 146.9393 | 16.4867 | 890 | 49.5727 | 0.5
2020-04-06 15:15:00 | 2.472 | 193.3667 | 2.5953 | 135.896 | 2.4927 | 189.112 | 2.7207 | 136.5913 | 16.4133 | 890 | 48.38 | 0.638
2020-04-06 15:30:00 | 2.266 | 174.98 | 2.444 | 149.726 | 2.4 | 171.7687 | 2.69 | 149.016 | 16.52 | 889.3333 | 48.758 | 1.056
2020-04-06 15:45:00 | 2.6627 | 179.1 | 2.7553 | 139.8613 | 2.94 | 175.9293 | 3.0193 | 140.576 | 16.04 | 889 | 50.4507 | 1.576
2020-04-06 16:00:00 | 2.5413 | 176.9267 | 2.648 | 144.4513 | 2.65 | 173.0347 | 2.8213 | 145.1887 | 16.0533 | 889 | 51.6407 | 0.918
2020-04-06 16:15:00 | 2.4487 | 192.8133 | 2.594 | 166.4807 | 2.5773 | 189.0013 | 2.8067 | 167.3307 | 16.42 | 889 | 52.0627 | 1.126
2020-04-06 16:30:00 | 2.3233 | 189.4867 | 2.4087 | 139.0653 | 2.6 | 185.318 | 2.68 | 139.7747 | 16.6667 | 889 | 49.514 | 0.86867
2020-04-06 16:45:00 | 2.6173 | 175.3467 | 2.838 | 160.8947 | 2.94 | 171.4887 | 3.266 | 161.7167 | 16.3333 | 889 | 48.2213 | 2.5093
2020-04-06 17:00:00 | 2.8673 | 185.9667 | 3.0033 | 167.1273 | 3.026 | 181.8747 | 3.2393 | 167.9813 | 16 | 889 | 52.458 | 6.3253
2020-04-06 17:15:00 | 2.774 | 180.7933 | 2.8993 | 170.674 | 2.806 | 175.8507 | 3.028 | 171.546 | 15.9733 | 888 | 53.9867 | 6.7593
2020-04-06 17:30:00 | 2.6573 | 188.7467 | 2.8127 | 152.1307 | 2.9247 | 185.096 | 3.146 | 152.5947 | 16.06 | 888 | 54.0193 | 6.6187
2020-04-06 17:45:00 | 3.078 | 187.2667 | 3.2673 | 166.2267 | 3.5573 | 183.1473 | 3.778 | 167.078 | 15.9467 | 888 | 53.818 | 8.3413
2020-04-06 18:00:00 | 3.3247 | 189.8733 | 3.4807 | 159.948 | 3.6573 | 185.6973 | 3.86 | 160.766 | 15.6933 | 888 | 55.3087 | 8.808
2020-04-06 18:15:00 | 3.0387 | 182.7067 | 3.1967 | 166.0973 | 3.426 | 178.686 | 3.6173 | 166.946 | 15.6533 | 888 | 55.9493 | 8.244
2020-04-06 18:30:00 | 3.45 | 186.1467 | 3.65 | 174.788 | 3.744 | 182.0513 | 4.0393 | 175.6813 | 15.5733 | 888 | 55.6153 | 10.248
2020-04-06 18:45:00 | 3.2873 | 171.3533 | 3.516 | 162.2047 | 3.4147 | 167.584 | 3.814 | 163.0333 | 15.3467 | 888 | 55.9927 | 10.7313
2020-04-06 19:00:00 | 3.2047 | 170.68 | 3.4127 | 162.784 | 3.22 | 166.9253 | 3.6133 | 163.618 | 15.26 | 888 | 56.7853 | 9.574
2020-04-06 19:15:00 | 3.0247 | 161.2667 | 3.2013 | 156.1927 | 2.8833 | 157.7187 | 3.2613 | 156.9927 | 15.2 | 888 | 57.5347 | 7.6227
2020-04-06 19:30:00 | 3.378 | 159.5533 | 3.5233 | 153.1293 | 3.352 | 156.0433 | 3.6393 | 153.912 | 15.1133 | 888 | 57.8793 | 9.1147
2020-04-06 19:45:00 | 3.8693 | 172.94 | 4.0367 | 160.1187 | 3.9193 | 169.1353 | 4.226 | 160.936 | 14.8 | 888 | 57.8287 | 13.8867
2020-04-06 20:00:00 | 3.2133 | 164.2067 | 3.396 | 159.0873 | 3.1133 | 160.5947 | 3.4913 | 159.9013 | 14.6467 | 888 | 60.2113 | 8.6387
2020-04-06 20:15:00 | 3.0913 | 158.18 | 3.2187 | 154.4993 | 3.1527 | 154.7007 | 3.378 | 155.2887 | 14.6 | 888 | 61.9147 | 8.0973
2020-04-06 20:30:00 | 3.1627 | 154.9267 | 3.2813 | 154.7987 | 3.3367 | 151.5173 | 3.5133 | 155.5887 | 14.4533 | 888 | 62.9233 | 9.0627
2020-04-06 20:45:00 | 2.826 | 154.6267 | 2.9267 | 161.2207 | 3.026 | 151.224 | 3.1647 | 162.0427 | 14.3333 | 889 | 63.204 | 8.566
2020-04-06 21:00:00 | 3.1407 | 150.96 | 3.2687 | 154.968 | 3.472 | 147.64 | 3.6207 | 155.7607 | 14.3067 | 889 | 63.3907 | 9.6107
2020-04-06 21:15:00 | 3.0567 | 148.8133 | 3.24 | 142.7047 | 3.5873 | 145.448 | 3.784 | 143.4333 | 14.2 | 889.3333 | 63.8593 | 9.3413
2020-04-06 21:30:00 | 3.054 | 146.5733 | 3.246 | 138.2433 | 3.586 | 143.3473 | 3.7967 | 138.95 | 13.9867 | 890 | 65.1707 | 8.3367
2020-04-06 21:45:00 | 3 | 148.6933 | 3.1713 | 141.4193 | 3.4553 | 145.422 | 3.6453 | 142.142 | 13.92 | 890 | 65.8953 | 6.6413
2020-04-06 22:00:00 | 2.758 | 146.78 | 2.886 | 142.208 | 3.1053 | 144.1633 | 3.25 | 142.9353 | 13.9 | 890 | 66.738 | 5.0327
2020-04-06 22:15:00 | 2.5527 | 154.2333 | 2.6613 | 147.2233 | 2.7533 | 150.9827 | 2.9033 | 147.974 | 13.8333 | 890 | 67.3747 | 4.0727
2020-04-06 22:30:00 | 2.4625 | 154.4125 | 2.5575 | 145.6962 | 2.6357 | 151.5471 | 2.76 | 145.6671 | 13.7857 | 890 | 68.0088 | 4.4529
2020-04-06 22:45:00 | 2.9822 | 147.4333 | 3.0711 | 137.6922 | 3.3433 | 144.19 | 3.4078 | 138.3944 | 13.6778 | 890 | 69.018 | 7.5733
2020-04-06 23:00:00 | 3.1227 | 139.5467 | 3.2387 | 131.7767 | 3.5667 | 136.248 | 3.66 | 132.4493 | 13.5467 | 890 | 70.348 | 7.0007
2020-04-06 23:15:00 | 2.9793 | 140.4733 | 3.09 | 132.22 | 3.372 | 137.384 | 3.4667 | 132.8967 | 13.4733 | 890 | 71.6547 | 5.2093
2020-04-06 23:30:00 | 2.3333 | 141.4267 | 2.4233 | 126.6913 | 2.636 | 138.0733 | 2.7207 | 127.338 | 13.4067 | 890 | 72.4387 | 2.5747
2020-04-06 23:45:00 | 1.9967 | 133.2 | 2.0873 | 119.922 | 2.2167 | 130.2693 | 2.3247 | 120.536 | 13.3467 | 889 | 73.2747 | 2.31