## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-07 00:00:00 | 2.28 | 120.2643 | 2.3979 | 117.3314 | 2.635 | 116.2843 | 2.7607 | 117.9307 | 13.3429 | 889 | 74.07 | 3.8886
2020-04-07 00:15:00 | 2.45 | 120.66 | 2.582 | 127.8767 | 2.7227 | 118.0047 | 2.8947 | 128.53 | 13.2733 | 889 | 74.404 | 2.624
2020-04-07 00:30:00 | 2.5847 | 128.5133 | 2.6967 | 127.1007 | 2.8987 | 125.6853 | 3.0193 | 127.7507 | 13.2067 | 889 | 73.888 | 2.348
2020-04-07 00:45:00 | 2.834 | 126.52 | 2.9427 | 126.0913 | 3.1987 | 123.736 | 3.298 | 126.734 | 13.0933 | 889 | 73.8213 | 3.858
2020-04-07 01:00:00 | 2.262 | 130.76 | 2.3993 | 135.8967 | 2.556 | 127.8847 | 2.7333 | 136.5907 | 13 | 889 | 73.8047 | 1.4933
2020-04-07 01:15:00 | 1.892 | 133.3533 | 1.99 | 137.1747 | 2.078 | 130.4207 | 2.212 | 137.8747 | 13.08 | 889 | 73.5593 | 0
2020-04-07 01:30:00 | 1.8147 | 137.1867 | 1.912 | 148.924 | 1.9093 | 134.168 | 2.0687 | 149.6847 | 13.1733 | 889 | 74.07 | 0
2020-04-07 01:45:00 | 1.464 | 138.04 | 1.512 | 145.54 | 1.4867 | 135.59 | 1.5653 | 146.2833 | 13.1 | 889 | 74.3887 | 0
2020-04-07 02:00:00 | 1.332 | 120.08 | 1.4047 | 127.3293 | 1.368 | 117.4373 | 1.5 | 127.98 | 13.04 | 889 | 75.38 | 0
2020-04-07 02:15:00 | 1.5407 | 124.1133 | 1.584 | 121.4293 | 1.638 | 121.3827 | 1.6953 | 122.0487 | 12.9667 | 888 | 75.8747 | 0
2020-04-07 02:30:00 | 1.6667 | 154.52 | 1.7187 | 145.3887 | 1.7807 | 150.9453 | 1.8493 | 146.1333 | 12.8533 | 888 | 75.8833 | 0
2020-04-07 02:45:00 | 2.2747 | 164.7067 | 2.384 | 152.1187 | 2.3847 | 161.082 | 2.5613 | 152.896 | 12.68 | 888 | 76.3793 | 1.624
2020-04-07 03:00:00 | 2.8127 | 137.6667 | 2.95 | 133.3873 | 3.16 | 134.638 | 3.3193 | 134.068 | 11.9733 | 888 | 77.8347 | 4.9707
2020-04-07 03:15:00 | 2.4433 | 125.2467 | 2.5227 | 128.392 | 2.7527 | 122.4907 | 2.8153 | 129.0487 | 11.7333 | 888 | 81.88 | 4.8307
2020-04-07 03:30:00 | 2.3713 | 128.0933 | 2.4313 | 126.684 | 2.766 | 125.276 | 2.7667 | 127.33 | 11.48 | 888 | 81.38 | 4.5613
2020-04-07 03:45:00 | 2.484 | 139.4733 | 2.6207 | 132.7727 | 2.9307 | 136.5747 | 3.06 | 133.4533 | 11.06 | 888 | 82.36 | 4.6733
2020-04-07 04:00:00 | 2.1213 | 129.0267 | 2.1813 | 129.3947 | 2.504 | 126.1873 | 2.5067 | 130.0573 | 11.0267 | 888 | 83.38 | 3.4567
2020-04-07 04:15:00 | 2.277 | 133.5 | 2.388 | 131.267 | 2.656 | 130.563 | 2.757 | 131.938 | 11.02 | 888 | 83.84 | 3.59
2020-04-07 04:30:00 | 2.0887 | 130.7867 | 2.192 | 128.2227 | 2.3627 | 127.662 | 2.4767 | 128.8773 | 11.12 | 888 | 83.36 | 2.9067
2020-04-07 04:45:00 | 2.182 | 123.1067 | 2.2867 | 128.1113 | 2.3773 | 120.3987 | 2.5187 | 128.7667 | 11.1667 | 888 | 83.0933 | 2.95
2020-04-07 05:00:00 | 2.066 | 124.32 | 2.1707 | 122.25 | 2.3047 | 121.5853 | 2.436 | 122.8747 | 11.0267 | 888 | 83.18 | 2.8487
2020-04-07 05:15:00 | 2.1147 | 121.1067 | 2.2467 | 117.6807 | 2.3847 | 118.6913 | 2.5633 | 118.282 | 10.9467 | 887 | 83.8933 | 2.0973
2020-04-07 05:30:00 | 2.2253 | 125.5133 | 2.3353 | 124.5387 | 2.4787 | 122.7513 | 2.6147 | 125.176 | 10.9533 | 887 | 84.4867 | 2.436
2020-04-07 05:45:00 | 1.9973 | 135.8333 | 2.07 | 134.5847 | 2.352 | 132.7093 | 2.39 | 135.2747 | 10.8133 | 887 | 85.4267 | 2.0247
2020-04-07 06:00:00 | 1.8193 | 150.94 | 1.89 | 143.72 | 2.08 | 147.6187 | 2.138 | 144.4547 | 10.8867 | 887 | 85.6467 | 1.632
2020-04-07 06:15:00 | 1.78 | 148.1733 | 1.8453 | 147.9393 | 2.0167 | 144.914 | 2.072 | 148.696 | 10.9667 | 888 | 85.2333 | 0.796
2020-04-07 06:30:00 | 1.8067 | 155.1467 | 1.8727 | 145.8727 | 1.9767 | 151.7333 | 2.0567 | 146.6173 | 11.04 | 888 | 85.54 | 0.55667
2020-04-07 06:45:00 | 1.578 | 149.5933 | 1.6373 | 149.8733 | 1.724 | 146.302 | 1.7987 | 150.6413 | 11.08 | 888 | 86.08 | 0.31733
2020-04-07 07:00:00 | 1.2527 | 144.4333 | 1.284 | 145.8267 | 1.3353 | 141.256 | 1.3747 | 146.572 | 11.16 | 888 | 85.8 | 0
2020-04-07 07:15:00 | 0.95067 | 113.76 | 0.998 | 127.4127 | 0.95 | 111.2587 | 1.0427 | 128.0647 | 11.4067 | 888 | 85.6467 | 0
2020-04-07 07:30:00 | 0.93467 | 83.1667 | 0.938 | 97.4407 | 0.84933 | 81.338 | 0.87533 | 97.94 | 11.58 | 888 | 85.6133 | 0
2020-04-07 07:45:00 | 0.75 | 84.4333 | 0.80067 | 89.09 | 0.68267 | 82.6267 | 0.794 | 89.5447 | 11.8733 | 888 | 84.58 | 0
2020-04-07 08:00:00 | 0.72667 | 43.6467 | 0.77333 | 75.8533 | 0.78533 | 42.686 | 0.85667 | 76.2413 | 12.18 | 888.6667 | 83.4467 | 0
2020-04-07 08:15:00 | 0.53733 | 71.16 | 0.612 | 90.1453 | 0.66867 | 69.594 | 0.772 | 90.6067 | 12.6533 | 889 | 82.0333 | 0
2020-04-07 08:30:00 | 0.482 | 93.9867 | 0.52067 | 95.5847 | 0.51867 | 91.9193 | 0.58 | 96.072 | 13.2333 | 889 | 78.0793 | 0
2020-04-07 08:45:00 | 0.61467 | 114.98 | 0.632 | 109.08 | 0.65933 | 112.4507 | 0.68333 | 109.638 | 13.3133 | 890 | 73.026 | 0
2020-04-07 09:00:00 | 0.67267 | 236.3733 | 0.648 | 145.4813 | 0.73067 | 231.172 | 0.67333 | 146.2247 | 13.6533 | 890.6667 | 73.1407 | 0
2020-04-07 09:15:00 | 0.84933 | 184.8333 | 0.85333 | 136.3007 | 0.92533 | 180.7667 | 0.91 | 136.9973 | 13.92 | 891 | 76.058 | 0
2020-04-07 09:30:00 | 0.824 | 110.2133 | 0.82 | 143.492 | 0.952 | 107.79 | 0.90733 | 144.2267 | 14.0467 | 891 | 76.9927 | 0
2020-04-07 09:45:00 | 1.1147 | 169.36 | 1.1207 | 146.98 | 1.394 | 166.52 | 1.3207 | 147.7313 | 13.9467 | 891 | 76.5147 | 0
2020-04-07 10:00:00 | 1.1973 | 185.3933 | 1.2333 | 140.0633 | 1.5753 | 179.2413 | 1.5127 | 140.7787 | 14.0333 | 891 | 77.0087 | 0
2020-04-07 10:15:00 | 1.24 | 124.8667 | 1.2767 | 136.3987 | 1.6247 | 122.1193 | 1.5813 | 137.0953 | 14.52 | 891 | 73.2547 | 0
2020-04-07 10:30:00 | 1.3753 | 184.1867 | 1.4553 | 156.33 | 1.6847 | 180.1353 | 1.746 | 157.1287 | 14.9667 | 891.6667 | 71.7907 | 0
2020-04-07 10:45:00 | 2.2887 | 179.4067 | 2.2947 | 129.2587 | 2.3967 | 175.46 | 2.382 | 129.9193 | 14.9467 | 892 | 68.864 | 0
2020-04-07 11:00:00 | 2.3547 | 215.1267 | 2.402 | 137.082 | 2.4593 | 210.3947 | 2.5207 | 137.784 | 14.8733 | 892 | 67.3653 | 0.18667
2020-04-07 11:15:00 | 2.562 | 162.74 | 2.61 | 125.9347 | 2.8233 | 159.604 | 2.832 | 126.5773 | 15.3333 | 892 | 67.63 | 0.916
2020-04-07 11:30:00 | 2.552 | 175.5933 | 2.6693 | 150.3387 | 2.93 | 171.732 | 3.0433 | 151.1067 | 15.5533 | 892 | 64.4513 | 1.4347
2020-04-07 11:45:00 | 2.3473 | 205.5467 | 2.4713 | 144.1307 | 2.6847 | 201.0253 | 2.824 | 144.8673 | 15.96 | 892 | 63.214 | 1.322
2020-04-07 12:00:00 | 2.3073 | 176.8067 | 2.4453 | 117.6593 | 2.49 | 172.9167 | 2.6987 | 118.2607 | 16.4467 | 892 | 59.6533 | 0.414
2020-04-07 12:15:00 | 2.5033 | 225.9733 | 2.564 | 132.1267 | 2.7747 | 220.4027 | 2.8067 | 132.8027 | 16.5867 | 892 | 54.7747 | 0.70733
2020-04-07 12:30:00 | 2.6873 | 195.2533 | 2.8387 | 135.5193 | 2.9013 | 190.9567 | 3.1267 | 136.2107 | 16.4733 | 892 | 53.398 | 1.714
2020-04-07 12:45:00 | 2.7 | 181.5933 | 2.824 | 145.2327 | 3.004 | 177.5993 | 3.1513 | 145.9767 | 16.2867 | 892 | 52.6507 | 1.6587
2020-04-07 13:00:00 | 2.384 | 179.8733 | 2.476 | 152.3527 | 2.7293 | 175.916 | 2.804 | 153.132 | 15.9733 | 892 | 54.6713 | 0.83733
2020-04-07 13:15:00 | 2.3347 | 195.9533 | 2.402 | 146.5167 | 2.6967 | 191.6427 | 2.722 | 147.2667 | 16.28 | 891 | 57.6113 | 0.78333
2020-04-07 13:30:00 | 2.5287 | 188.92 | 2.566 | 136.47 | 2.8953 | 184.7627 | 2.8607 | 137.1673 | 16.2133 | 890.3333 | 58.446 | 1.1413
2020-04-07 13:45:00 | 2.092 | 172.02 | 2.1933 | 145.6107 | 2.1847 | 168.2353 | 2.3513 | 146.3553 | 16.3067 | 890 | 57.836 | 0.10333
2020-04-07 14:00:00 | 2.0813 | 175.1067 | 2.1693 | 161.18 | 2.2153 | 171.2547 | 2.342 | 162.0047 | 16.1467 | 890 | 56.1387 | 0.26533
2020-04-07 14:15:00 | 2.2393 | 203.48 | 2.3847 | 162.2433 | 2.5513 | 199.0027 | 2.7373 | 163.072 | 15.9133 | 890 | 58.532 | 1.1907
2020-04-07 14:30:00 | 2.298 | 183.1267 | 2.4247 | 173.4253 | 2.6753 | 179.0973 | 2.8087 | 174.3107 | 16.08 | 890 | 60.524 | 1.6367
2020-04-07 14:45:00 | 2.3633 | 197.9467 | 2.4953 | 167.9087 | 2.766 | 193.592 | 2.9 | 168.7673 | 16.1933 | 890 | 59.6413 | 1.5753
2020-04-07 15:00:00 | 1.7607 | 214.2133 | 1.8387 | 145.0513 | 2.0007 | 209.5 | 2.0827 | 145.7927 | 16.56 | 890 | 59.132 | 0
2020-04-07 15:15:00 | 1.8313 | 187.6267 | 1.9113 | 153.9573 | 2.0467 | 183.5 | 2.1373 | 154.7447 | 16.9 | 889.6667 | 57.4467 | 0
2020-04-07 15:30:00 | 1.8627 | 199.9733 | 1.9067 | 137.5853 | 1.8747 | 195.574 | 1.956 | 138.2873 | 16.9133 | 889 | 53.872 | 0
2020-04-07 15:45:00 | 1.658 | 205.08 | 1.6647 | 135.2833 | 1.858 | 198.4807 | 1.842 | 135.9747 | 17.34 | 889 | 53.272 | 0
2020-04-07 16:00:00 | 1.6847 | 185.5333 | 1.792 | 171.9853 | 2.2053 | 181.4533 | 2.256 | 172.864 | 17.6267 | 889 | 54.3947 | 0
2020-04-07 16:15:00 | 2.016 | 172.5933 | 2.1067 | 149.1907 | 2.2227 | 168.7973 | 2.3353 | 149.9527 | 17.68 | 889 | 52.7533 | 0
2020-04-07 16:30:00 | 1.8813 | 169.6333 | 1.924 | 140.7867 | 1.962 | 165.9013 | 2.022 | 141.506 | 17.42 | 889 | 52.7807 | 0
2020-04-07 16:45:00 | 1.8787 | 175.3067 | 1.9547 | 169.6507 | 2.0033 | 171.45 | 2.1147 | 170.5167 | 17.7733 | 889 | 52.5747 | 0
2020-04-07 17:00:00 | 1.7407 | 147.26 | 1.818 | 160.9073 | 2.1173 | 144.0207 | 2.154 | 161.73 | 17.9133 | 889 | 51.4107 | 0
2020-04-07 17:15:00 | 1.714 | 182.8533 | 1.8273 | 163.262 | 1.9387 | 178.8307 | 2.0887 | 164.0947 | 18.02 | 889 | 50.3713 | 0
2020-04-07 17:30:00 | 1.8133 | 182.08 | 1.954 | 145.0507 | 2.238 | 178.074 | 2.382 | 145.7927 | 17.7467 | 889 | 50.4127 | 0
2020-04-07 17:45:00 | 1.3313 | 180.5067 | 1.4947 | 160.008 | 1.8027 | 177.5267 | 1.972 | 160.8253 | 17.7333 | 889 | 53.0613 | 0
2020-04-07 18:00:00 | 1.264 | 196.8867 | 1.3427 | 175.5627 | 1.594 | 192.5547 | 1.6453 | 176.46 | 17.7267 | 889 | 53.4773 | 0
2020-04-07 18:15:00 | 1.0527 | 216.3667 | 1.14 | 203.39 | 1.144 | 211.9653 | 1.284 | 204.4307 | 17.6133 | 889 | 54.4347 | 0
2020-04-07 18:30:00 | 1.2073 | 231.8533 | 1.204 | 207.3947 | 1.292 | 226.7527 | 1.2593 | 208.4553 | 17.24 | 889 | 54.2473 | 0
2020-04-07 18:45:00 | 1.0013 | 210.0333 | 1.022 | 182.136 | 1.1073 | 205.4133 | 1.1173 | 183.0673 | 17.2133 | 889 | 54.726 | 0
2020-04-07 19:00:00 | 1.3927 | 198.2067 | 1.484 | 182.956 | 1.5707 | 193.846 | 1.6947 | 183.8933 | 17.08 | 889 | 55.4167 | 0
2020-04-07 19:15:00 | 1.5327 | 197.0867 | 1.6047 | 178.746 | 1.72 | 192.7507 | 1.8033 | 179.6587 | 16.98 | 888 | 55.888 | 0
2020-04-07 19:30:00 | 1.6253 | 189.6667 | 1.6927 | 167.4773 | 1.8233 | 185.4933 | 1.8933 | 168.336 | 16.9533 | 888 | 56.4373 | 0
2020-04-07 19:45:00 | 1.7367 | 186.1867 | 1.8027 | 176.8553 | 1.962 | 182.09 | 2.0247 | 177.7587 | 16.8067 | 888.3333 | 56.8073 | 0.198
2020-04-07 20:00:00 | 2.1887 | 186.9267 | 2.276 | 177.872 | 2.3153 | 182.814 | 2.4487 | 178.7793 | 16.6467 | 889 | 57.3673 | 1.554
2020-04-07 20:15:00 | 3.1313 | 182.3133 | 3.2793 | 169.7413 | 3.54 | 177.54 | 3.69 | 170.61 | 16.1 | 889 | 58.2527 | 5.3573
2020-04-07 20:30:00 | 2.9447 | 186.2867 | 3.1773 | 174.7107 | 3.4773 | 182.4613 | 3.766 | 175.6027 | 15.8933 | 889 | 61.594 | 5.6907
2020-04-07 20:45:00 | 2.4973 | 196.2467 | 2.7567 | 186.048 | 2.9853 | 191.93 | 3.3353 | 186.9987 | 15.7067 | 889 | 62.9433 | 4.1813
2020-04-07 21:00:00 | 2.094 | 197.0267 | 2.2413 | 201.2787 | 2.386 | 192.692 | 2.5847 | 202.308 | 15.7867 | 889 | 63.7547 | 0.95867
2020-04-07 21:15:00 | 1.9733 | 205.6733 | 2.0913 | 199.492 | 2.1507 | 201.1487 | 2.324 | 200.5127 | 15.9467 | 889 | 63.87 | 0.33133
2020-04-07 21:30:00 | 1.2087 | 213.6133 | 1.2667 | 196.7487 | 1.238 | 209.188 | 1.3193 | 197.7533 | 16.0667 | 889 | 64.094 | 0
2020-04-07 21:45:00 | 0.79 | 135.84 | 0.778 | 169.6047 | 1.058 | 132.8527 | 0.95933 | 170.4727 | 15.8867 | 890 | 64.292 | 0
2020-04-07 22:00:00 | 1.0947 | 171.08 | 1.1113 | 152.594 | 1.2813 | 167.318 | 1.26 | 153.3747 | 15.6333 | 889.3333 | 64.4387 | 0
2020-04-07 22:15:00 | 0.95333 | 186.6667 | 0.93733 | 199.8587 | 1.034 | 182.56 | 0.98 | 200.8787 | 15.7933 | 890 | 64.9153 | 0
2020-04-07 22:30:00 | 0.42 | 104.54 | 0.418 | 262.69 | 0.668 | 102.24 | 0.596 | 264.032 | 15.8 | 890 | 64.808 | 0
2020-04-07 22:45:00 | 0.51111 | 111.8889 | 0.56 | 217.4633 | 0.80556 | 109.4289 | 0.81 | 218.5756 | 15.8889 | 890 | 65.2633 | 0
2020-04-07 23:00:00 | 0.65067 | 73.4133 | 0.67267 | 175.226 | 0.866 | 71.7973 | 0.844 | 176.1213 | 15.46 | 890 | 65.894 | 0
2020-04-07 23:15:00 | 0.50333 | 67.8 | 0.52933 | 21.75 | 0.648 | 66.3207 | 0.65667 | 21.8627 | 15.64 | 890 | 66.42 | 0
2020-04-07 23:30:00 | 0.84667 | 46.0933 | 0.85533 | 312.81 | 0.90533 | 45.0793 | 0.90067 | 314.4087 | 15.5667 | 890 | 66.8273 | 0
2020-04-07 23:45:00 | 1.272 | 21.4333 | 1.286 | 326.3253 | 1.2753 | 20.9627 | 1.3007 | 327.9947 | 15.52 | 890 | 67.3087 | 0