## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-08 00:00:00 | 2.0329 | 34.95 | 2.1064 | 336.1243 | 2.4136 | 34.18 | 2.4436 | 337.8436 | 15.25 | 890 | 68.5355 | 0.072143
2020-04-08 00:15:00 | 3.1927 | 336.2133 | 3.3793 | 325.8687 | 3.9213 | 328.8153 | 4.0587 | 327.536 | 15.0067 | 890 | 71.4693 | 3.8127
2020-04-08 00:30:00 | 3.1133 | 330.86 | 3.2973 | 315.3607 | 3.5227 | 324.5073 | 3.7553 | 316.9727 | 15.1733 | 890 | 73.78 | 5.578
2020-04-08 00:45:00 | 3.268 | 334.1867 | 3.482 | 316.7747 | 3.738 | 326.834 | 4.0133 | 318.3933 | 15.0667 | 890 | 73.974 | 6.4807
2020-04-08 01:00:00 | 3.514 | 332.8 | 3.7453 | 317.6153 | 3.988 | 325.478 | 4.2947 | 319.2387 | 14.9933 | 889.3333 | 73.1633 | 6.308
2020-04-08 01:15:00 | 2.786 | 334.4533 | 2.9493 | 321.2733 | 3.1787 | 327.0967 | 3.378 | 322.916 | 14.8067 | 889 | 72.662 | 3.6413
2020-04-08 01:30:00 | 2.556 | 333.6467 | 2.6653 | 305.8727 | 3.05 | 326.3053 | 3.114 | 307.4353 | 14.6533 | 889 | 73.464 | 2.178
2020-04-08 01:45:00 | 3.2247 | 298.2867 | 3.2967 | 332.9633 | 3.544 | 291.7247 | 3.592 | 334.6653 | 14.7867 | 889 | 73.672 | 3.678
2020-04-08 02:00:00 | 3.338 | 334.9333 | 3.468 | 320.4653 | 3.642 | 327.5647 | 3.802 | 322.102 | 14.7467 | 888.3333 | 74.96 | 4.5227
2020-04-08 02:15:00 | 3.3367 | 339.18 | 3.5173 | 321.958 | 3.7827 | 331.7173 | 3.9973 | 323.604 | 14.2867 | 888 | 76.7267 | 6.9987
2020-04-08 02:30:00 | 3.236 | 332.14 | 3.4293 | 312.0073 | 3.7393 | 324.832 | 3.9607 | 313.6027 | 14.0267 | 888 | 78.698 | 7.2067
2020-04-08 02:45:00 | 3.706 | 338.6 | 3.9393 | 321.006 | 4.3193 | 331.15 | 4.582 | 322.6473 | 14.02 | 888 | 80.622 | 10.4313
2020-04-08 03:00:00 | 4.3507 | 334.3333 | 4.618 | 318.632 | 4.9493 | 326.712 | 5.2867 | 320.2613 | 14.0267 | 888 | 82.1933 | 15.1107
2020-04-08 03:15:00 | 4.7207 | 333.2 | 4.94 | 318.116 | 5.292 | 326.26 | 5.5467 | 319.7433 | 14.1733 | 887 | 81.1467 | 19.224
2020-04-08 03:30:00 | 5.3593 | 337.7667 | 5.688 | 324.0627 | 6.0853 | 330.3353 | 6.496 | 325.72 | 14.1267 | 887 | 81.1467 | 25.852
2020-04-08 03:45:00 | 5.5413 | 335.0533 | 5.814 | 327.5653 | 6.2607 | 327.682 | 6.568 | 329.24 | 13.96 | 887 | 82.4267 | 27.8347
2020-04-08 04:00:00 | 5.2813 | 335.1533 | 5.5493 | 331.8807 | 6.0693 | 327.7793 | 6.35 | 333.5773 | 13.98 | 887 | 82.9467 | 24.616
2020-04-08 04:15:00 | 4.8773 | 342.14 | 5.0887 | 332.1547 | 5.4207 | 334.972 | 5.666 | 333.8527 | 13.6667 | 887 | 84.26 | 19.7987
2020-04-08 04:30:00 | 4.614 | 344.48 | 4.7247 | 325.6413 | 5.2447 | 336.902 | 5.2767 | 327.3053 | 13.5267 | 887 | 85.56 | 17.826
2020-04-08 04:45:00 | 4.38 | 340.4933 | 4.5947 | 318.534 | 5.1167 | 333.002 | 5.314 | 320.162 | 13.2533 | 887 | 85.76 | 15.992
2020-04-08 05:00:00 | 4.3173 | 335.8733 | 4.576 | 315.7773 | 4.9693 | 328.484 | 5.2673 | 317.3913 | 13.0467 | 887 | 86.7133 | 14.2727
2020-04-08 05:15:00 | 4.3693 | 339.8933 | 4.6727 | 320.3033 | 4.856 | 332.4147 | 5.294 | 321.9393 | 12.94 | 887 | 86.0267 | 16.3767
2020-04-08 05:30:00 | 4.4773 | 340.0333 | 4.7793 | 325.6473 | 4.874 | 333.5653 | 5.3333 | 327.312 | 12.9467 | 887 | 88.66 | 18.87
2020-04-08 05:45:00 | 4.6187 | 342.2067 | 4.988 | 330.9873 | 5.1427 | 334.6787 | 5.6913 | 332.6813 | 12.6733 | 887 | 90.68 | 18.0807
2020-04-08 06:00:00 | 4.868 | 343.5267 | 5.2247 | 333.6367 | 5.3927 | 335.9693 | 5.9213 | 335.34 | 12.6533 | 887 | 90.62 | 19.92
2020-04-08 06:15:00 | 5.2127 | 347 | 5.614 | 332.5073 | 5.8593 | 339.366 | 6.434 | 334.2067 | 12.1667 | 887 | 90.76 | 22.0587
2020-04-08 06:30:00 | 5.206 | 345.5133 | 5.5793 | 331.1313 | 5.926 | 337.9107 | 6.4233 | 332.824 | 11.9533 | 887 | 89.6267 | 22.4793
2020-04-08 06:45:00 | 5.442 | 344.1133 | 5.8273 | 333.0613 | 6.118 | 337.182 | 6.652 | 334.7647 | 11.9333 | 887 | 89.18 | 24.206
2020-04-08 07:00:00 | 5.55 | 341.6 | 5.9473 | 331.02 | 6.2773 | 334.0853 | 6.8193 | 332.7133 | 12.1067 | 887 | 89.24 | 25.062
2020-04-08 07:15:00 | 5.5347 | 340.24 | 5.9427 | 332.5713 | 6.318 | 334.2153 | 6.8653 | 334.2727 | 12.2133 | 887.3333 | 89.2 | 25.352
2020-04-08 07:30:00 | 5.264 | 340.4333 | 5.646 | 331.972 | 6.0793 | 333.3553 | 6.57 | 333.6693 | 12.2267 | 888 | 88.6133 | 22.926
2020-04-08 07:45:00 | 5.1007 | 348.7733 | 5.4787 | 326.6653 | 5.9473 | 341.1007 | 6.4207 | 328.334 | 12.24 | 888 | 87.6667 | 21.6087
2020-04-08 08:00:00 | 5.5453 | 347.6733 | 5.8767 | 335.3607 | 6.3553 | 340.0247 | 6.7527 | 337.0767 | 12.3333 | 888.6667 | 85.2133 | 24.9647
2020-04-08 08:15:00 | 5.2187 | 346.34 | 5.458 | 333.322 | 6.0453 | 338.558 | 6.2633 | 335.0267 | 12.56 | 889 | 84.1333 | 21.1373
2020-04-08 08:30:00 | 5.0653 | 345.1533 | 5.3073 | 334.41 | 5.7253 | 337.56 | 5.994 | 336.1207 | 12.7467 | 889.6667 | 82.4333 | 20.0633
2020-04-08 08:45:00 | 5.0413 | 348.6667 | 5.358 | 336.0267 | 5.8053 | 341.0527 | 6.1847 | 337.746 | 12.4733 | 890 | 78.428 | 19.7667
2020-04-08 09:00:00 | 4.74 | 339.46 | 4.9753 | 332.3887 | 5.4767 | 331.9907 | 5.712 | 334.088 | 12.6467 | 890 | 75.2993 | 14.788
2020-04-08 09:15:00 | 4.0553 | 334.5667 | 4.2967 | 331.712 | 4.746 | 327.2073 | 5.0053 | 333.4073 | 13.0533 | 891 | 73.4713 | 9.83
2020-04-08 09:30:00 | 3.3247 | 335.96 | 3.5593 | 312.6213 | 4.122 | 328.5673 | 4.334 | 314.2187 | 13.52 | 891 | 69.9853 | 6.066
2020-04-08 09:45:00 | 2.7133 | 260.3533 | 2.83 | 264.6333 | 3.5573 | 254.6253 | 3.5353 | 265.9873 | 14.0867 | 891 | 69.0267 | 3.3527
2020-04-08 10:00:00 | 2.1073 | 209.2467 | 2.1607 | 251.7127 | 2.8287 | 204.6427 | 2.7207 | 252.998 | 14.8933 | 891 | 65.916 | 1.062
2020-04-08 10:15:00 | 2.4687 | 235.2267 | 2.5907 | 306.0027 | 3.084 | 229.27 | 3.1387 | 307.568 | 15.2267 | 891 | 64.7027 | 0.72333
2020-04-08 10:30:00 | 2.0253 | 149.5267 | 2.1207 | 283.0273 | 2.5107 | 146.7267 | 2.5527 | 284.474 | 15.8533 | 891.6667 | 63.544 | 0.366
2020-04-08 10:45:00 | 1.5813 | 187.1 | 1.6133 | 243.216 | 1.8233 | 182.984 | 1.812 | 244.4587 | 17 | 891.3333 | 59.1787 | 0
2020-04-08 11:00:00 | 1.5253 | 173.9 | 1.6547 | 115.0853 | 1.7507 | 170.0747 | 1.9307 | 115.6727 | 17.8 | 892 | 57.054 | 0
2020-04-08 11:15:00 | 1.694 | 174.72 | 1.8333 | 124.7273 | 1.744 | 174.228 | 2.0013 | 125.3653 | 18.4867 | 892 | 58.8867 | 0
2020-04-08 11:30:00 | 1.99 | 195 | 2.126 | 135.3033 | 2.2967 | 190.71 | 2.468 | 135.9933 | 18.4867 | 891.3333 | 57.178 | 0
2020-04-08 11:45:00 | 2.116 | 184.6067 | 2.116 | 128.8413 | 2.3293 | 180.5447 | 2.272 | 129.5013 | 18.5067 | 891 | 54.4587 | 0
2020-04-08 12:00:00 | 2.2347 | 185.1267 | 2.2733 | 130.0213 | 2.538 | 181.0533 | 2.524 | 130.6867 | 18.5467 | 891 | 54.7313 | 0
2020-04-08 12:15:00 | 2.5567 | 193.7533 | 2.6447 | 129.3833 | 2.7933 | 175.3867 | 2.8993 | 130.0447 | 18.68 | 891 | 54.424 | 0.98067
2020-04-08 12:30:00 | 2.7267 | 193 | 2.8333 | 133.2087 | 2.9833 | 188.7547 | 3.114 | 133.8907 | 18.66 | 891 | 52.0033 | 0.846
2020-04-08 12:45:00 | 2.8127 | 188.6133 | 2.9473 | 125.1173 | 3.0407 | 185.4553 | 3.23 | 125.7587 | 18.9 | 891 | 51.526 | 1.14
2020-04-08 13:00:00 | 3.0633 | 188.1867 | 3.176 | 132.9107 | 3.2487 | 184.0453 | 3.4167 | 133.5887 | 19.2267 | 891 | 50.32 | 2.038
2020-04-08 13:15:00 | 2.972 | 195.52 | 3.0887 | 130.3227 | 3.2553 | 191.218 | 3.3993 | 130.9887 | 19.52 | 891 | 48.7487 | 2.5367
2020-04-08 13:30:00 | 2.85 | 157.5067 | 2.878 | 143.694 | 2.9613 | 154.042 | 2.988 | 144.4293 | 19.7333 | 891 | 46.7933 | 2.852
2020-04-08 13:45:00 | 3.2 | 175.3 | 3.4053 | 146.016 | 3.562 | 171.4433 | 3.8473 | 146.762 | 20.3867 | 890.3333 | 44.8567 | 3.866
2020-04-08 14:00:00 | 2.8413 | 190.38 | 2.936 | 143.6807 | 3.092 | 186.1907 | 3.2033 | 144.416 | 20.5133 | 890.3333 | 41.9427 | 2.7627
2020-04-08 14:15:00 | 3.0427 | 179.4133 | 3.132 | 139.196 | 3.4873 | 175.1933 | 3.5247 | 139.908 | 20.7667 | 890 | 40.9213 | 4.2527
2020-04-08 14:30:00 | 2.641 | 167.7 | 2.774 | 139.53 | 3.206 | 164.01 | 3.297 | 140.245 | 21.24 | 890 | 38.948 | 5.276
2020-04-08 14:45:00 | 2.8547 | 165.14 | 3.016 | 164.5853 | 3.144 | 161.6693 | 3.3687 | 165.426 | 21.34 | 890 | 36.7487 | 6.4253
2020-04-08 15:00:00 | 3.152 | 147.46 | 3.3113 | 144.2813 | 3.6613 | 144.2153 | 3.8187 | 145.0173 | 21.3467 | 890 | 34.966 | 6.1947
2020-04-08 15:15:00 | 3.324 | 166.3067 | 3.3667 | 167.2833 | 3.646 | 162.648 | 3.634 | 168.138 | 21.5933 | 890 | 34.162 | 6.3007
2020-04-08 15:30:00 | 2.9313 | 164.96 | 3.0613 | 137.5727 | 3.3227 | 161.3313 | 3.4547 | 138.276 | 21.78 | 890 | 35.694 | 6.8413
2020-04-08 15:45:00 | 3.478 | 179.1133 | 3.6493 | 134.3193 | 3.8407 | 175.1727 | 4.058 | 135.0053 | 21.72 | 889 | 34.9333 | 7.536
2020-04-08 16:00:00 | 3.0967 | 165.04 | 3.2333 | 152.5287 | 3.3407 | 161.1013 | 3.5193 | 153.3087 | 21.8533 | 889 | 32.1027 | 5.5433
2020-04-08 16:15:00 | 3.232 | 164.5867 | 3.36 | 140.076 | 3.564 | 160.966 | 3.7113 | 140.7913 | 21.8533 | 889 | 31.5353 | 7.8213
2020-04-08 16:30:00 | 2.7253 | 171.52 | 2.8767 | 157.2427 | 3.1773 | 166.7347 | 3.3333 | 158.0467 | 22.1067 | 889 | 31.6733 | 6.48
2020-04-08 16:45:00 | 3.46 | 169.5467 | 3.6487 | 165.9073 | 3.7153 | 165.7253 | 4.0073 | 166.7567 | 22.0333 | 889 | 31.766 | 9.392
2020-04-08 17:00:00 | 3.712 | 162.4067 | 3.954 | 149.2627 | 4.1287 | 158.834 | 4.4693 | 150.0247 | 21.88 | 889 | 34.4207 | 13.2027
2020-04-08 17:15:00 | 3.5753 | 162.08 | 3.832 | 159.6673 | 3.9987 | 159.3673 | 4.3673 | 160.486 | 21.7933 | 889 | 36.5947 | 14.9633
2020-04-08 17:30:00 | 3.8933 | 167.84 | 4.1387 | 158.4873 | 4.2233 | 164.1473 | 4.596 | 159.2987 | 21.64 | 889 | 36.8093 | 16.1053
2020-04-08 17:45:00 | 3.9593 | 171.88 | 4.2193 | 146.7187 | 4.0267 | 168.0993 | 4.5013 | 147.47 | 21.46 | 888 | 37.5 | 18.91
2020-04-08 18:00:00 | 3.7367 | 175.1 | 3.9667 | 157.296 | 3.642 | 171.248 | 4.108 | 158.0987 | 21.3 | 888 | 38.83 | 21.08
2020-04-08 18:15:00 | 4.1667 | 182.82 | 4.4693 | 160.3587 | 4.1047 | 178.7973 | 4.7013 | 161.1773 | 21.0867 | 888 | 39.8153 | 26.0373
2020-04-08 18:30:00 | 4.3973 | 184.66 | 4.6947 | 167.546 | 4.5687 | 180.5973 | 5.0847 | 168.4013 | 20.7533 | 888 | 41.208 | 29.9093
2020-04-08 18:45:00 | 4.7393 | 178.3733 | 4.9953 | 169.044 | 4.698 | 174.45 | 5.202 | 169.9087 | 20.4067 | 887.6667 | 42.8987 | 30.4887
2020-04-08 19:00:00 | 4.5133 | 170.92 | 4.8033 | 162.1387 | 4.162 | 167.1593 | 4.8133 | 162.968 | 20.0733 | 887 | 44.4013 | 29.7373
2020-04-08 19:15:00 | 4.3693 | 167.7467 | 4.6793 | 163.4167 | 4.1133 | 164.056 | 4.774 | 164.2533 | 19.74 | 887 | 46.4867 | 26.954
2020-04-08 19:30:00 | 4.5893 | 170.24 | 4.9093 | 158.1813 | 4.414 | 166.4953 | 5.076 | 158.9907 | 19.5933 | 887 | 47.034 | 27.934
2020-04-08 19:45:00 | 4.5133 | 170.04 | 4.8007 | 158.044 | 4.178 | 166.012 | 4.8207 | 158.8513 | 19.4 | 887 | 48.2273 | 26.6687
2020-04-08 20:00:00 | 4.568 | 167.42 | 4.8313 | 160.04 | 4.2567 | 163.7367 | 4.85 | 160.858 | 19.12 | 887 | 50.1933 | 25.052
2020-04-08 20:15:00 | 4.2847 | 163.3733 | 4.4667 | 157.6073 | 3.9853 | 159.7787 | 4.424 | 158.4147 | 18.9667 | 887.3333 | 51.218 | 19.5967
2020-04-08 20:30:00 | 3.87 | 164.36 | 4.0753 | 154.288 | 3.8187 | 160.7447 | 4.2233 | 155.0773 | 18.7133 | 888 | 52.5833 | 16.1593
2020-04-08 20:45:00 | 3.7787 | 160.1467 | 3.992 | 147.7493 | 3.8513 | 156.656 | 4.236 | 148.504 | 18.3933 | 888 | 53.5667 | 13.7133
2020-04-08 21:00:00 | 3.806 | 155.2333 | 3.9807 | 146.438 | 4.0447 | 151.818 | 4.3087 | 147.1887 | 18.2533 | 888 | 54.8587 | 13.494
2020-04-08 21:15:00 | 3.8927 | 149.32 | 4.0907 | 141.0607 | 4.3427 | 146.036 | 4.5867 | 141.7827 | 18 | 888 | 55.744 | 13.7427
2020-04-08 21:30:00 | 4.3787 | 150.82 | 4.6587 | 140.114 | 4.8967 | 147.5013 | 5.2773 | 140.8313 | 17.7667 | 888 | 56.3127 | 16.0773
2020-04-08 21:45:00 | 4.306 | 139.6867 | 4.5 | 137.2987 | 4.85 | 136.6127 | 5.064 | 138 | 17.6667 | 888 | 55.6387 | 13.976
2020-04-08 22:00:00 | 4.022 | 137.0067 | 4.206 | 133.1833 | 4.6233 | 133.3807 | 4.8 | 133.8653 | 17.3933 | 888 | 55.9213 | 12.3113
2020-04-08 22:15:00 | 4.0273 | 140.4333 | 4.2073 | 132.1153 | 4.5113 | 137.3433 | 4.7193 | 132.7907 | 17.24 | 888 | 56.87 | 13.8253
2020-04-08 22:30:00 | 4.3953 | 146.0267 | 4.6113 | 134.1633 | 4.9407 | 142.8153 | 5.1933 | 134.8487 | 17.14 | 888 | 58.432 | 14.302
2020-04-08 22:45:00 | 4.1567 | 143.1533 | 4.33 | 135.5393 | 4.638 | 138.8767 | 4.8307 | 136.23 | 17.0467 | 888 | 59.346 | 12.1713
2020-04-08 23:00:00 | 3.94 | 142.42 | 4.1133 | 133.6393 | 4.4667 | 139.2867 | 4.6487 | 134.324 | 16.8267 | 888 | 60.1093 | 11.572
2020-04-08 23:15:00 | 4.0253 | 136.7867 | 4.2233 | 134.1767 | 4.67 | 133.7767 | 4.8673 | 134.8613 | 16.5133 | 888 | 61.5287 | 13.7487
2020-04-08 23:30:00 | 4.0807 | 140.9933 | 4.2687 | 132.7353 | 4.662 | 137.8927 | 4.8527 | 133.4127 | 16.38 | 888 | 62.6053 | 14.804
2020-04-08 23:45:00 | 4.0467 | 140.6867 | 4.23 | 133.2493 | 4.652 | 137.5907 | 4.828 | 133.9307 | 16.22 | 888.3333 | 63.4933 | 15.402