## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-09 00:00:00 | 3.7579 | 140.9286 | 3.9036 | 132.945 | 4.2921 | 139.0507 | 4.4179 | 133.625 | 15.9357 | 889 | 64.3757 | 14.2914
2020-04-09 00:15:00 | 3.804 | 140.28 | 3.95 | 130.3993 | 4.3413 | 137.162 | 4.4653 | 131.0653 | 15.9533 | 889 | 65.2327 | 13.9307
2020-04-09 00:30:00 | 3.886 | 136.24 | 4.0313 | 131.814 | 4.386 | 133.244 | 4.52 | 132.4893 | 15.8733 | 889 | 66.0613 | 13.228
2020-04-09 00:45:00 | 3.7307 | 137.32 | 3.862 | 129.1613 | 4.2207 | 134.2993 | 4.3293 | 129.822 | 15.8333 | 889 | 66.8853 | 12.0487
2020-04-09 01:00:00 | 3.6553 | 139.7 | 3.788 | 126.9567 | 4.1667 | 136.6267 | 4.2673 | 127.6067 | 15.6733 | 889 | 67.7267 | 10.7213
2020-04-09 01:15:00 | 3.6953 | 136.34 | 3.8327 | 128.8427 | 4.244 | 133.34 | 4.3453 | 129.5013 | 15.4733 | 888.6667 | 68.5953 | 11.1393
2020-04-09 01:30:00 | 3.6533 | 136.36 | 3.818 | 132.63 | 4.388 | 133.36 | 4.4887 | 133.3087 | 15.1133 | 888 | 69.8313 | 11.3447
2020-04-09 01:45:00 | 3.832 | 140.8267 | 4.0607 | 132.5513 | 4.4967 | 137.73 | 4.7407 | 133.23 | 15.0133 | 888 | 70.594 | 12.4513
2020-04-09 02:00:00 | 4.256 | 141.3933 | 4.434 | 132.1413 | 4.91 | 138.2827 | 5.0613 | 132.816 | 14.94 | 888 | 71.344 | 16.1293
2020-04-09 02:15:00 | 4.4447 | 142.0267 | 4.6473 | 131.782 | 5.064 | 138.9027 | 5.27 | 132.4573 | 14.88 | 888 | 72.1667 | 16.392
2020-04-09 02:30:00 | 4.1333 | 139.0133 | 4.3167 | 132.5267 | 4.6933 | 135.956 | 4.8847 | 133.2027 | 14.92 | 888 | 72.8933 | 13.4927
2020-04-09 02:45:00 | 3.522 | 134.5667 | 3.6813 | 129.6833 | 4.1793 | 132.1087 | 4.2927 | 130.3453 | 14.72 | 888 | 73.6733 | 9.6413
2020-04-09 03:00:00 | 3.3127 | 133.2267 | 3.438 | 126.174 | 3.9907 | 130.2947 | 4.032 | 126.82 | 14.5733 | 888 | 74.2367 | 8.3553
2020-04-09 03:15:00 | 3.4587 | 138.8133 | 3.606 | 130.432 | 3.9173 | 135.7587 | 4.0687 | 131.1007 | 14.5933 | 887.6667 | 74.7987 | 8.686
2020-04-09 03:30:00 | 3.5013 | 131.7133 | 3.6193 | 126.0713 | 3.88 | 128.814 | 3.9967 | 126.716 | 14.6133 | 887 | 74.882 | 9.8273
2020-04-09 03:45:00 | 3.552 | 133.36 | 3.672 | 126.696 | 3.9993 | 130.2233 | 4.1027 | 127.3453 | 14.4 | 887 | 75.0887 | 12.154
2020-04-09 04:00:00 | 3.716 | 138.8333 | 3.8647 | 127.9613 | 4.2467 | 135.778 | 4.3773 | 128.6153 | 14.3 | 887 | 76.4867 | 12.5593
2020-04-09 04:15:00 | 3.6333 | 138.6333 | 3.786 | 134.1613 | 4.2473 | 135.5827 | 4.3607 | 134.848 | 14.2133 | 887 | 76.7713 | 10.7647
2020-04-09 04:30:00 | 3.422 | 142.18 | 3.5693 | 134.0647 | 4.0113 | 139.0513 | 4.1213 | 134.75 | 14.0867 | 887 | 76.756 | 8.474
2020-04-09 04:45:00 | 3.2087 | 143.9333 | 3.3313 | 135.5647 | 3.714 | 140.766 | 3.8053 | 136.2573 | 14.0533 | 887 | 77.2953 | 6.7453
2020-04-09 05:00:00 | 3.002 | 143.0267 | 3.124 | 132.748 | 3.4227 | 139.88 | 3.536 | 133.426 | 13.9067 | 887 | 78.1787 | 6.022
2020-04-09 05:15:00 | 3.0793 | 142.1933 | 3.2167 | 138.836 | 3.492 | 139.0627 | 3.6347 | 139.5467 | 13.8333 | 887 | 78.86 | 6.842
2020-04-09 05:30:00 | 3.1013 | 142.3533 | 3.248 | 139.254 | 3.556 | 139.2213 | 3.7087 | 139.9647 | 13.7667 | 887 | 79.4167 | 7.732
2020-04-09 05:45:00 | 2.948 | 146.2133 | 3.0947 | 137.754 | 3.3927 | 142.9973 | 3.5473 | 138.458 | 13.78 | 887 | 79.8573 | 6.7693
2020-04-09 06:00:00 | 2.72 | 141.0333 | 2.8427 | 136.4253 | 3.0853 | 138.8633 | 3.2167 | 137.1213 | 13.7067 | 887 | 79.9773 | 5.806
2020-04-09 06:15:00 | 2.4373 | 145.8 | 2.4973 | 141.5947 | 2.7953 | 142.5913 | 2.8073 | 142.3193 | 13.7333 | 887 | 80.8067 | 4.102
2020-04-09 06:30:00 | 2.5233 | 146.3733 | 2.5973 | 143.3553 | 2.788 | 143.1527 | 2.8547 | 144.0873 | 13.6933 | 887 | 82.4267 | 3.7193
2020-04-09 06:45:00 | 2.5547 | 149.3733 | 2.5787 | 141.3147 | 2.84 | 146.0867 | 2.8087 | 142.036 | 13.6333 | 887 | 83.4733 | 4.7747
2020-04-09 07:00:00 | 2.602 | 159.18 | 2.6653 | 142.9053 | 2.842 | 155.6767 | 2.8967 | 143.636 | 13.4333 | 887 | 83.98 | 4.3287
2020-04-09 07:15:00 | 2.7587 | 157.1667 | 2.8673 | 149.9147 | 2.962 | 153.7093 | 3.1093 | 150.6807 | 13.3067 | 887 | 85.42 | 5.2013
2020-04-09 07:30:00 | 2.7607 | 145.1267 | 2.8693 | 138.2693 | 3.0127 | 142.1827 | 3.1467 | 138.9753 | 13.3533 | 887 | 85.3 | 5.588
2020-04-09 07:45:00 | 2.356 | 154.72 | 2.422 | 154.5753 | 2.5847 | 151.316 | 2.6433 | 155.3667 | 13.56 | 888 | 84.5533 | 4.3527
2020-04-09 08:00:00 | 2.5073 | 156.2467 | 2.598 | 152.36 | 2.858 | 152.8093 | 2.9267 | 153.138 | 13.5267 | 888 | 82.5667 | 4.87
2020-04-09 08:15:00 | 2.0447 | 152.76 | 2.1133 | 151.942 | 2.2747 | 149.3993 | 2.34 | 152.72 | 13.6733 | 888.3333 | 80.8833 | 3.2107
2020-04-09 08:30:00 | 2.0953 | 177.2133 | 2.16 | 154.4447 | 2.248 | 173.3153 | 2.3247 | 155.236 | 13.94 | 889 | 79.186 | 3.038
2020-04-09 08:45:00 | 2.392 | 164.14 | 2.4233 | 151.6547 | 2.55 | 160.5293 | 2.5687 | 152.43 | 14.0333 | 889.3333 | 80.268 | 3.7767
2020-04-09 09:00:00 | 2.59 | 161.56 | 2.6633 | 150.0627 | 2.836 | 158.006 | 2.9053 | 150.8313 | 14.0267 | 889.3333 | 82.02 | 4.3927
2020-04-09 09:15:00 | 2.3833 | 170.86 | 2.4687 | 158.5933 | 2.512 | 167.1 | 2.636 | 159.404 | 13.94 | 889.3333 | 81.6067 | 3.01
2020-04-09 09:30:00 | 2.4167 | 177.2333 | 2.472 | 162.0293 | 2.5293 | 173.334 | 2.6047 | 162.8573 | 13.94 | 890 | 82.0867 | 3.0953
2020-04-09 09:45:00 | 2.2687 | 169.8067 | 2.29 | 157.4707 | 2.4913 | 166.0707 | 2.468 | 158.2753 | 14.0933 | 890 | 82.8467 | 2.678
2020-04-09 10:00:00 | 1.8433 | 159.5133 | 1.892 | 157.6933 | 2.0753 | 156.0053 | 2.1027 | 158.4993 | 14.3933 | 890 | 81.8467 | 1.3133
2020-04-09 10:15:00 | 1.308 | 163.4733 | 1.3287 | 174.7893 | 1.5913 | 160.1833 | 1.5473 | 175.6827 | 14.8867 | 890 | 80.9467 | 0.22933
2020-04-09 10:30:00 | 1.746 | 151.5467 | 1.754 | 142.456 | 2.118 | 148.1533 | 2.0213 | 143.184 | 15.4533 | 890 | 78.546 | 0.54667
2020-04-09 10:45:00 | 2.252 | 148.0133 | 2.2467 | 137.1873 | 2.4673 | 144.7573 | 2.3973 | 137.8893 | 15.4067 | 890 | 76.1613 | 1.3073
2020-04-09 11:00:00 | 2.376 | 155.3333 | 2.3947 | 139.1813 | 2.8753 | 151.9167 | 2.7667 | 139.8947 | 15.5333 | 890 | 75.31 | 1.8487
2020-04-09 11:15:00 | 2.1047 | 158.7867 | 2.0887 | 145.1033 | 2.4067 | 155.2933 | 2.2887 | 145.844 | 15.6867 | 890 | 73.6533 | 1.2813
2020-04-09 11:30:00 | 2.2307 | 144.7667 | 2.2247 | 138.6933 | 2.5347 | 144.0393 | 2.4507 | 139.4027 | 16.0933 | 890 | 72.6187 | 1.202
2020-04-09 11:45:00 | 2.3667 | 172.24 | 2.4267 | 127.0813 | 2.748 | 166.9247 | 2.7447 | 127.7313 | 16.7067 | 890 | 70.1273 | 1.8533
2020-04-09 12:00:00 | 2.6713 | 170.3 | 2.6993 | 125 | 3.2373 | 166.552 | 3.1287 | 125.6407 | 17.4533 | 890 | 67.1253 | 3.65
2020-04-09 12:15:00 | 3.0073 | 171.4333 | 3.092 | 128.1053 | 3.4793 | 167.66 | 3.5033 | 128.76 | 17.62 | 890 | 64.9053 | 4.124
2020-04-09 12:30:00 | 3 | 207.46 | 3.054 | 130.9473 | 3.3347 | 202.8967 | 3.3413 | 131.6153 | 17.78 | 890 | 63.6607 | 3.43
2020-04-09 12:45:00 | 2.666 | 162.1333 | 2.758 | 128.8933 | 3.0873 | 158.5647 | 3.138 | 129.5527 | 18.0667 | 890 | 61.7467 | 2.7173
2020-04-09 13:00:00 | 2.0693 | 183.1533 | 2.1233 | 172.3367 | 2.4853 | 179.1253 | 2.47 | 173.218 | 18.4133 | 890 | 60.0327 | 1.3053
2020-04-09 13:15:00 | 2.0827 | 178.9267 | 2.1473 | 132.9373 | 2.3207 | 174.9907 | 2.3773 | 133.616 | 18.9333 | 889 | 58.9247 | 0.27867
2020-04-09 13:30:00 | 2.6027 | 156.9867 | 2.7227 | 127.8953 | 3.0853 | 155.0193 | 3.1773 | 128.5513 | 18.8467 | 889 | 58.4427 | 2.294
2020-04-09 13:45:00 | 2.7927 | 172.7333 | 2.898 | 138.628 | 3.322 | 168.9327 | 3.3707 | 139.338 | 18.8667 | 889 | 57.3767 | 3.5627
2020-04-09 14:00:00 | 2.3667 | 175.5867 | 2.4593 | 137.2587 | 2.482 | 171.724 | 2.626 | 137.9607 | 18.8333 | 889 | 59.16 | 2.212
2020-04-09 14:15:00 | 3.4547 | 167.6733 | 3.6187 | 133.3547 | 3.7813 | 163.9853 | 3.998 | 134.0347 | 19.26 | 889 | 59.416 | 3.008
2020-04-09 14:30:00 | 3.3587 | 177.64 | 3.4333 | 136.9147 | 3.568 | 173.732 | 3.6513 | 137.614 | 19.32 | 888.3333 | 56.482 | 6.062
2020-04-09 14:45:00 | 2.858 | 154.5733 | 3.0113 | 142.3453 | 3.0833 | 151.1727 | 3.3113 | 143.0727 | 19.3867 | 888 | 54.4653 | 6.03
2020-04-09 15:00:00 | 3.3653 | 187.28 | 3.52 | 154.9993 | 3.5973 | 183.16 | 3.8267 | 155.7913 | 19.9933 | 888 | 54.3187 | 4.4867
2020-04-09 15:15:00 | 3.0407 | 179.5467 | 3.214 | 128.04 | 3.4847 | 175.596 | 3.6867 | 128.6953 | 20.1733 | 888 | 54.2767 | 5.444
2020-04-09 15:30:00 | 3.282 | 199.7467 | 3.4893 | 149.3353 | 3.5847 | 195.3527 | 3.8913 | 150.0973 | 20.1867 | 888 | 53.37 | 7.6547
2020-04-09 15:45:00 | 3.05 | 183.9 | 3.25 | 163.236 | 3.298 | 180.7987 | 3.606 | 164.07 | 20.3133 | 887.6667 | 52.6453 | 7.088
2020-04-09 16:00:00 | 3.3293 | 189.2533 | 3.526 | 175.674 | 3.704 | 185.09 | 3.972 | 176.5727 | 20.04 | 887.6667 | 51.3627 | 9.4707
2020-04-09 16:15:00 | 3.4193 | 166.82 | 3.5433 | 167.4993 | 3.578 | 163.15 | 3.7673 | 168.356 | 19.6533 | 887 | 52.054 | 8.9527
2020-04-09 16:30:00 | 3.7933 | 165.8533 | 4.004 | 137.2187 | 4.2373 | 162.2047 | 4.5093 | 137.9227 | 19.62 | 887 | 51.6213 | 9.336
2020-04-09 16:45:00 | 3.658 | 169.74 | 3.802 | 136.744 | 3.8887 | 166.006 | 4.0993 | 137.4427 | 19.4133 | 887 | 51.0887 | 8.256
2020-04-09 17:00:00 | 3.4527 | 165.7867 | 3.5833 | 143.1653 | 3.816 | 161.794 | 3.9633 | 143.896 | 19.3133 | 886.3333 | 50.5033 | 8.0993
2020-04-09 17:15:00 | 2.796 | 181.8067 | 2.9573 | 150.958 | 2.9693 | 177.8067 | 3.2253 | 151.7287 | 19.64 | 886 | 51.0427 | 6.2427
2020-04-09 17:30:00 | 3.2667 | 167.2533 | 3.4947 | 154.7327 | 3.3893 | 163.5733 | 3.7867 | 155.524 | 19.4267 | 886 | 52.534 | 7.8127
2020-04-09 17:45:00 | 3.288 | 156 | 3.504 | 152.1967 | 3.7787 | 152.568 | 4.0507 | 152.9753 | 19.3467 | 886 | 52.6227 | 8.7473
2020-04-09 18:00:00 | 3.3707 | 161.76 | 3.524 | 161.7473 | 3.8207 | 158.2007 | 3.984 | 162.576 | 19.1333 | 886 | 52.092 | 9.7947
2020-04-09 18:15:00 | 3.69 | 193.4067 | 3.8807 | 173.4847 | 4.0967 | 189.8493 | 4.346 | 174.3713 | 18.62 | 886 | 52.5187 | 12.4107
2020-04-09 18:30:00 | 3.4007 | 188.54 | 3.602 | 172.5907 | 3.9227 | 184.392 | 4.1553 | 173.4733 | 18.2867 | 886 | 59.412 | 11.8427
2020-04-09 18:45:00 | 3.664 | 185.86 | 3.884 | 168.184 | 4.1893 | 181.7707 | 4.4573 | 169.0433 | 17.9667 | 886 | 62.0147 | 12.616
2020-04-09 19:00:00 | 3.5393 | 188.2733 | 3.7587 | 171.1953 | 4.07 | 184.2813 | 4.3327 | 172.0693 | 17.76 | 886 | 63.344 | 12.114
2020-04-09 19:15:00 | 3.6267 | 182.5 | 3.8867 | 175.016 | 4.246 | 178.4847 | 4.5573 | 175.9093 | 17.6267 | 886 | 64.4593 | 12.638
2020-04-09 19:30:00 | 3.784 | 187.66 | 4.0473 | 176.776 | 4.3313 | 183.5313 | 4.6747 | 177.6813 | 17.5733 | 886 | 65.16 | 13.558
2020-04-09 19:45:00 | 3.696 | 192.16 | 3.9353 | 173.9733 | 4.18 | 187.3247 | 4.498 | 174.8633 | 17.42 | 886 | 64.726 | 12.6627
2020-04-09 20:00:00 | 3.6413 | 188.4333 | 3.892 | 168.3407 | 4.1427 | 184.7107 | 4.476 | 169.2007 | 17.32 | 886 | 64.9887 | 12.39
2020-04-09 20:15:00 | 3.0767 | 190.2533 | 3.2767 | 172.616 | 3.546 | 186.068 | 3.7893 | 173.4993 | 17.2667 | 886 | 65.3587 | 9.5367
2020-04-09 20:30:00 | 2.6987 | 194.5133 | 2.916 | 175.5507 | 3.15 | 190.1247 | 3.43 | 176.448 | 17.2133 | 886 | 65.822 | 6.1347
2020-04-09 20:45:00 | 2.3307 | 197.18 | 2.5333 | 195.0533 | 2.7927 | 192.842 | 3.0413 | 196.0487 | 17.2933 | 886 | 66.4673 | 3.9013
2020-04-09 21:00:00 | 2.56 | 188.1667 | 2.7247 | 182.5213 | 2.9407 | 184.3 | 3.14 | 183.454 | 17.28 | 886 | 67.4253 | 3.708
2020-04-09 21:15:00 | 2.238 | 195.4133 | 2.3873 | 170.778 | 2.7033 | 190.9707 | 2.852 | 171.6513 | 17.2667 | 886 | 67.9553 | 2.568
2020-04-09 21:30:00 | 2.082 | 193.3867 | 2.2127 | 181.8833 | 2.5393 | 188.9493 | 2.6427 | 182.812 | 17.24 | 886 | 68.09 | 1.3213
2020-04-09 21:45:00 | 2.1353 | 182.5267 | 2.186 | 169.8273 | 2.206 | 178.5113 | 2.2887 | 170.6947 | 17.16 | 886 | 68.4573 | 0.16333
2020-04-09 22:00:00 | 1.72 | 190.82 | 1.8247 | 162.1267 | 1.8253 | 186.6213 | 1.9933 | 162.9553 | 17.0133 | 886 | 68.862 | 0.014
2020-04-09 22:15:00 | 1.752 | 177.1667 | 1.836 | 178.354 | 1.9507 | 173.2707 | 2.0533 | 179.2673 | 17.2467 | 886 | 69.5453 | 0
2020-04-09 22:30:00 | 1.7 | 184.95 | 1.776 | 175.933 | 1.688 | 180.88 | 1.842 | 176.831 | 17.41 | 886 | 69.47 | 0
2020-04-09 22:45:00 | 1.2571 | 184.3357 | 1.2729 | 194.5321 | 1.1971 | 180.28 | 1.245 | 195.5264 | 17.3571 | 886 | 69.3486 | 0
2020-04-09 23:00:00 | 0.69733 | 150.6533 | 0.68733 | 214.8213 | 0.572 | 147.34 | 0.592 | 215.9187 | 17.1267 | 886 | 69.9767 | 0
2020-04-09 23:15:00 | 0.74067 | 175.4333 | 0.75067 | 248.7307 | 0.68133 | 170.8693 | 0.718 | 250.0027 | 17.24 | 886 | 71.2393 | 0
2020-04-09 23:30:00 | 0.57267 | 299.1333 | 0.62333 | 253.2227 | 0.75467 | 292.5527 | 0.79467 | 254.518 | 17.5667 | 886 | 70.95 | 0
2020-04-09 23:45:00 | 0.38467 | 206.9467 | 0.36667 | 181.842 | 0.49467 | 202.3953 | 0.43267 | 182.7733 | 17.66 | 886 | 71.3153 | 0