## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-10 00:00:00 | 0.21571 | 142.5 | 0.19786 | 163.7529 | 0.20571 | 139.365 | 0.17714 | 164.5893 | 17.7 | 886 | 70.9086 | 0
2020-04-10 00:15:00 | 0.22667 | 146.7267 | 0.198 | 197.424 | 0.17533 | 143.5 | 0.136 | 198.4353 | 17.7067 | 886 | 69.9807 | 0
2020-04-10 00:30:00 | 0.25133 | 214.56 | 0.23133 | 209.8267 | 0.25867 | 209.8393 | 0.21733 | 210.898 | 17.7933 | 886 | 69.5827 | 0
2020-04-10 00:45:00 | 0.32533 | 221.1267 | 0.292 | 213.9853 | 0.29533 | 216.2613 | 0.24267 | 215.08 | 17.7133 | 886 | 69.5887 | 0
2020-04-10 01:00:00 | 0.50867 | 150.9267 | 0.47933 | 155.012 | 0.60133 | 147.606 | 0.51867 | 155.8067 | 17.5867 | 886 | 68.322 | 0
2020-04-10 01:15:00 | 0.758 | 158.2333 | 0.774 | 143.4987 | 0.93933 | 154.752 | 0.91667 | 144.2333 | 17.3667 | 886 | 67.6153 | 0
2020-04-10 01:30:00 | 0.86667 | 159.04 | 0.89267 | 146.8493 | 0.92133 | 155.542 | 0.956 | 147.6 | 17.3 | 886 | 69.2447 | 0
2020-04-10 01:45:00 | 1.3713 | 188.6733 | 1.3973 | 163.958 | 1.4713 | 184.4433 | 1.4927 | 164.796 | 17.2467 | 886 | 70.964 | 0
2020-04-10 02:00:00 | 1.5593 | 167.1333 | 1.6387 | 180.0953 | 1.6973 | 163.4567 | 1.8073 | 181.0173 | 16.9067 | 886 | 71.788 | 0.264
2020-04-10 02:15:00 | 1.5407 | 156.8267 | 1.5873 | 172.5573 | 1.6887 | 153.3753 | 1.7333 | 173.4407 | 16.8 | 885.6667 | 73.2087 | 0.18333
2020-04-10 02:30:00 | 1.2913 | 152.1733 | 1.314 | 183.1007 | 1.3913 | 148.8253 | 1.4047 | 184.038 | 16.7 | 885 | 74.1667 | 0.039333
2020-04-10 02:45:00 | 1.1807 | 142.7933 | 1.1633 | 186.4467 | 1.2367 | 139.6533 | 1.19 | 187.3993 | 16.46 | 885 | 73.0507 | 0.262
2020-04-10 03:00:00 | 1.0187 | 149.1267 | 1.0367 | 177.1347 | 1.1507 | 145.8453 | 1.1487 | 178.0407 | 16.1467 | 885 | 73.5867 | 0.024
2020-04-10 03:15:00 | 0.81333 | 157.04 | 0.808 | 213.948 | 0.83667 | 153.586 | 0.82267 | 215.0407 | 16.3267 | 885 | 74.2813 | 0
2020-04-10 03:30:00 | 0.64867 | 134.9733 | 0.69667 | 149.2493 | 0.78467 | 132.0027 | 0.83667 | 150.0113 | 16.0733 | 885 | 75.67 | 0
2020-04-10 03:45:00 | 0.496 | 115.6733 | 0.54467 | 90.888 | 0.60267 | 113.128 | 0.66133 | 91.354 | 16.0333 | 885 | 75.8433 | 0
2020-04-10 04:00:00 | 1.0153 | 130.5933 | 1.1227 | 102.8087 | 1.1067 | 127.722 | 1.2833 | 103.3333 | 16.0933 | 885 | 75.98 | 0
2020-04-10 04:15:00 | 1.8733 | 155.3133 | 1.966 | 136.9593 | 2.012 | 151.8967 | 2.1487 | 137.66 | 15.9133 | 885 | 74.8313 | 0.040667
2020-04-10 04:30:00 | 2.608 | 186.7333 | 2.8013 | 182.3713 | 3.144 | 182.624 | 3.3553 | 183.3033 | 15.1133 | 885 | 75.2307 | 3.6707
2020-04-10 04:45:00 | 2.4593 | 155.2467 | 2.598 | 153.494 | 2.8193 | 151.094 | 2.9787 | 154.28 | 14.4067 | 885 | 84.73 | 5.8293
2020-04-10 05:00:00 | 2.8507 | 150.5333 | 2.9687 | 141.9653 | 2.9687 | 147.2207 | 3.1613 | 142.692 | 14.04 | 885 | 88.1667 | 5.1393
2020-04-10 05:15:00 | 2.6773 | 160.3267 | 2.7647 | 152.1307 | 2.9747 | 156.8 | 3.058 | 152.9093 | 14.2 | 885 | 93.4533 | 3.674
2020-04-10 05:30:00 | 2.0967 | 189.2667 | 2.2027 | 176.262 | 2.222 | 185.102 | 2.3893 | 177.1627 | 13.92 | 885 | 94.52 | 2.912
2020-04-10 05:45:00 | 1.668 | 189.7733 | 1.7293 | 176.3073 | 1.9347 | 185.0313 | 1.9747 | 177.2087 | 13.6667 | 885 | 94.5133 | 1.652
2020-04-10 06:00:00 | 1.196 | 157.0467 | 1.2293 | 170.7787 | 1.4147 | 153.592 | 1.4147 | 171.6513 | 13.5467 | 885 | 95.0133 | 0
2020-04-10 06:15:00 | 0.782 | 179.74 | 0.77133 | 220.2513 | 0.86533 | 175.7867 | 0.82 | 221.378 | 13.4267 | 885 | 96.12 | 0
2020-04-10 06:30:00 | 0.75533 | 204.8867 | 0.762 | 279.232 | 0.656 | 200.3793 | 0.69867 | 280.6607 | 13.54 | 885 | 96.36 | 0
2020-04-10 06:45:00 | 1.048 | 52.1267 | 1.002 | 316.1287 | 0.86267 | 50.9813 | 0.83467 | 317.7447 | 13.86 | 885 | 96.0867 | 0
2020-04-10 07:00:00 | 1.1593 | 57.4 | 1.1287 | 289.34 | 1.03 | 55.7467 | 1.0127 | 290.8173 | 13.34 | 885 | 95.5067 | 0
2020-04-10 07:15:00 | 0.794 | 86.4933 | 0.788 | 230.8653 | 0.722 | 84.59 | 0.732 | 232.048 | 13.3133 | 885 | 96.02 | 0
2020-04-10 07:30:00 | 0.47933 | 97.28 | 0.50267 | 62.4533 | 0.52733 | 95.1393 | 0.56067 | 62.776 | 13.3733 | 885 | 95.58 | 0
2020-04-10 07:45:00 | 0.58 | 85.5867 | 0.62467 | 133.5353 | 0.692 | 83.704 | 0.74267 | 134.2187 | 13.44 | 886 | 96.36 | 0
2020-04-10 08:00:00 | 0.77333 | 37.4333 | 0.79133 | 122.1653 | 0.72 | 36.6093 | 0.76867 | 122.7893 | 13.4933 | 886 | 96.88 | 0
2020-04-10 08:15:00 | 1.8133 | 175.7667 | 1.8433 | 285.8047 | 1.918 | 171.8993 | 1.948 | 287.266 | 13.44 | 886 | 97.4533 | 0
2020-04-10 08:30:00 | 2.74 | 208.6133 | 2.8847 | 335.798 | 3.1967 | 204.068 | 3.342 | 337.5153 | 13.52 | 886 | 98.5933 | 0.064667
2020-04-10 08:45:00 | 2.934 | 322.4933 | 3.0627 | 329.2407 | 3.516 | 314.9093 | 3.592 | 330.9247 | 13.58 | 886 | 98.9933 | 2.394
2020-04-10 09:00:00 | 2.9327 | 328.4267 | 3.1407 | 322.5307 | 3.4553 | 321.202 | 3.698 | 324.1807 | 13.4067 | 886 | 99.0333 | 2.6667
2020-04-10 09:15:00 | 3.0553 | 342.7533 | 3.2653 | 313.4613 | 3.62 | 335.2133 | 3.8547 | 315.0647 | 13.4467 | 886.3333 | 99.14 | 3.2933
2020-04-10 09:30:00 | 3.2687 | 313.0333 | 3.5053 | 311.394 | 3.986 | 306.1473 | 4.226 | 312.986 | 13.4267 | 887 | 98.4867 | 4.9087
2020-04-10 09:45:00 | 3.6987 | 330.2 | 3.9447 | 318.1573 | 4.5227 | 322.9347 | 4.7487 | 319.7827 | 13.5267 | 887 | 97.6867 | 7.824
2020-04-10 10:00:00 | 4.0787 | 338.5733 | 4.4087 | 318.2407 | 4.738 | 331.1253 | 5.1733 | 319.8687 | 13.78 | 887 | 97.42 | 9.4347
2020-04-10 10:15:00 | 3.9387 | 346.6867 | 4.218 | 328.7707 | 4.4967 | 339.0593 | 4.862 | 330.4513 | 13.9333 | 887 | 96.36 | 9.5187
2020-04-10 10:30:00 | 3.6393 | 348.6067 | 3.8567 | 330.5973 | 4.176 | 340.9373 | 4.43 | 332.2873 | 13.94 | 887.6667 | 94.78 | 8.126
2020-04-10 10:45:00 | 3.724 | 302.0733 | 3.9673 | 325.85 | 4.3013 | 294.7573 | 4.5967 | 327.5147 | 13.9533 | 888 | 93.94 | 8.4953
2020-04-10 11:00:00 | 3.854 | 347.34 | 4.1353 | 325.7313 | 4.4827 | 339.698 | 4.8353 | 327.3967 | 14.04 | 888 | 93.4133 | 9.3773
2020-04-10 11:15:00 | 3.622 | 348.2133 | 3.882 | 325.7 | 4.1953 | 340.5533 | 4.52 | 327.3653 | 14.38 | 888 | 93.5867 | 7.344
2020-04-10 11:30:00 | 2.9707 | 323.0467 | 3.142 | 320.764 | 3.4507 | 315.94 | 3.6367 | 322.404 | 14.6733 | 888 | 91.58 | 3.574
2020-04-10 11:45:00 | 2.606 | 314.6667 | 2.6547 | 318.2727 | 3.0273 | 307.8353 | 3.0013 | 319.902 | 14.9867 | 888 | 88.7067 | 1.694
2020-04-10 12:00:00 | 2.264 | 270.5 | 2.3207 | 313.3507 | 2.5227 | 264.55 | 2.5547 | 314.9527 | 15.1933 | 888 | 85.4867 | 0.838
2020-04-10 12:15:00 | 1.862 | 253.3667 | 1.8953 | 319.7153 | 2.1027 | 247.7933 | 2.1027 | 321.3493 | 15.7533 | 888 | 83.0333 | 0
2020-04-10 12:30:00 | 2.0947 | 258.06 | 2.16 | 326.1447 | 2.4147 | 252.3833 | 2.4467 | 327.8113 | 16.1867 | 888 | 79.466 | 0
2020-04-10 12:45:00 | 1.6053 | 259.3667 | 1.6367 | 278.88 | 1.796 | 253.6607 | 1.8027 | 280.306 | 16.5933 | 888 | 76.6493 | 0
2020-04-10 13:00:00 | 1.4833 | 206.46 | 1.4573 | 230.1553 | 1.596 | 201.9173 | 1.5147 | 231.332 | 17.0867 | 888 | 72.112 | 0
2020-04-10 13:15:00 | 1.15 | 209.2333 | 1.1553 | 259.6513 | 1.2387 | 204.6307 | 1.2227 | 260.98 | 17.4533 | 888.6667 | 72.19 | 0
2020-04-10 13:30:00 | 1.4307 | 240.8933 | 1.436 | 262.2073 | 1.5553 | 235.594 | 1.534 | 263.5473 | 17.8733 | 888 | 71.4693 | 0
2020-04-10 13:45:00 | 1.5507 | 248.3467 | 1.532 | 231.296 | 1.6773 | 242.884 | 1.6073 | 232.4807 | 19.0867 | 888.3333 | 68.0373 | 0
2020-04-10 14:00:00 | 2.0067 | 181.6133 | 1.9527 | 284.1227 | 2.0253 | 177.618 | 1.918 | 285.574 | 19.6 | 888.3333 | 63.7507 | 0
2020-04-10 14:15:00 | 1.6807 | 290.1133 | 1.718 | 201.926 | 1.8047 | 283.728 | 1.8373 | 202.9567 | 19.72 | 888.6667 | 56.168 | 0
2020-04-10 14:30:00 | 1.38 | 190.0267 | 1.5553 | 232.6853 | 1.338 | 185.8453 | 1.68 | 233.8753 | 20.6 | 888.6667 | 52.3133 | 0
2020-04-10 14:45:00 | 2.1173 | 171.7533 | 2.2987 | 190.8593 | 2.316 | 167.9747 | 2.6053 | 191.836 | 20.5067 | 888 | 54.5427 | 0.049333
2020-04-10 15:00:00 | 1.7647 | 194.78 | 1.8813 | 134.1627 | 1.8107 | 190.4947 | 2.0213 | 134.8473 | 19.7467 | 888 | 64.0113 | 0
2020-04-10 15:15:00 | 2.4987 | 192.3067 | 2.6187 | 137.4687 | 2.6007 | 188.0753 | 2.8013 | 138.17 | 19.96 | 888 | 67.7667 | 0.20067
2020-04-10 15:30:00 | 1.8073 | 174.5667 | 1.9533 | 142.938 | 1.818 | 168.4573 | 2.1047 | 143.67 | 19.9667 | 888 | 66.6873 | 0.15
2020-04-10 15:45:00 | 1.6227 | 200.3 | 1.7267 | 128.9327 | 1.62 | 202.2247 | 1.8487 | 129.592 | 20.2467 | 888 | 64.488 | 0
2020-04-10 16:00:00 | 1.3987 | 220.6533 | 1.514 | 117.1967 | 1.6393 | 215.7987 | 1.79 | 117.7947 | 20.7 | 888 | 62.7393 | 0
2020-04-10 16:15:00 | 1.2607 | 167.44 | 1.356 | 164.1873 | 1.5987 | 163.7567 | 1.6813 | 165.0273 | 20.9933 | 887 | 58.4613 | 0
2020-04-10 16:30:00 | 1.606 | 185.5467 | 1.744 | 130.4187 | 1.7727 | 181.4647 | 1.9867 | 131.0853 | 20.8533 | 887.6667 | 58.1513 | 0
2020-04-10 16:45:00 | 2.186 | 195.0733 | 2.362 | 170.7393 | 2.568 | 191.1733 | 2.816 | 171.612 | 20.8733 | 887 | 58.244 | 0.008
2020-04-10 17:00:00 | 1.7447 | 186.16 | 1.9 | 150.5133 | 2.0227 | 181.4447 | 2.252 | 151.2833 | 20.6867 | 887 | 58.1467 | 0
2020-04-10 17:15:00 | 1.8847 | 199.14 | 2.006 | 140.7613 | 2.02 | 194.7593 | 2.214 | 141.4807 | 20.6267 | 887 | 57.7253 | 0
2020-04-10 17:30:00 | 1.8507 | 186.6267 | 2.0073 | 176.256 | 2.0467 | 182.5213 | 2.2887 | 177.1567 | 20.6867 | 887 | 58.002 | 0
2020-04-10 17:45:00 | 1.9713 | 183.64 | 2.0567 | 173.51 | 2.17 | 179.5987 | 2.2793 | 174.3973 | 20.5733 | 887 | 58.122 | 0.082667
2020-04-10 18:00:00 | 1.518 | 164.4533 | 1.586 | 161.65 | 1.7073 | 160.8353 | 1.7827 | 162.476 | 20.6133 | 887 | 58.3793 | 0
2020-04-10 18:15:00 | 8.1127 | 202.8533 | 8.6407 | 196.4867 | 9.3907 | 198.704 | 10.026 | 197.4913 | 18.4533 | 887.3333 | 60.8407 | 2.8913
2020-04-10 18:30:00 | 10.0707 | 173.96 | 10.796 | 165.698 | 11.208 | 146.9993 | 12.3047 | 166.5447 | 12.6667 | 888 | 83.4047 | 0
2020-04-10 18:45:00 | 10.902 | 166.7067 | 11.6587 | 249.59 | 12.0387 | 163.3 | 13.1447 | 250.8693 | 12.4267 | 887.6667 | 94.5267 | 0.50733
2020-04-10 19:00:00 | 9.0113 | 254.12 | 9.6753 | 330.962 | 10.088 | 248.5287 | 11.0387 | 332.6547 | 12.4933 | 887 | 97.4067 | 8.4673
2020-04-10 19:15:00 | 8.4413 | 325.18 | 9.124 | 327.2127 | 9.4493 | 318.0247 | 10.4507 | 328.8853 | 13.3133 | 887 | 98.6267 | 28.5933
2020-04-10 19:30:00 | 8.6813 | 344.9933 | 9.2693 | 326.3327 | 9.7167 | 336.8613 | 10.53 | 328.0007 | 13.44 | 887 | 99.16 | 49.9573
2020-04-10 19:45:00 | 8.074 | 322.8733 | 8.5987 | 321.88 | 8.868 | 314.8633 | 9.612 | 323.5247 | 13.5467 | 887 | 99.4333 | 53.9087
2020-04-10 20:00:00 | 7.0347 | 324.8733 | 7.546 | 326.346 | 7.91 | 317.7247 | 8.6213 | 328.0147 | 13.6067 | 887.6667 | 99.5 | 50.4313
2020-04-10 20:15:00 | 6.664 | 345.3 | 7.1087 | 327.9293 | 7.4387 | 337.7033 | 8.06 | 329.6073 | 13.7 | 888 | 99.5333 | 48.9427
2020-04-10 20:30:00 | 6.4 | 342.6467 | 6.9253 | 328.1573 | 7.384 | 335.108 | 8.0953 | 329.836 | 13.7667 | 888.6667 | 99.7467 | 47.8393
2020-04-10 20:45:00 | 6.0213 | 350.3533 | 6.554 | 306.7273 | 6.9467 | 342.4887 | 7.69 | 308.294 | 13.86 | 889 | 99.9333 | 48.286
2020-04-10 21:00:00 | 6.5993 | 303 | 7.0473 | 313.396 | 7.428 | 296.3347 | 8.04 | 315.0007 | 14.1 | 889 | 100 | 48.6047
2020-04-10 21:15:00 | 6.5547 | 281.84 | 6.9233 | 314.55 | 7.2133 | 275.6393 | 7.7253 | 316.158 | 14.12 | 890 | 100 | 48.5067
2020-04-10 21:30:00 | 6.4193 | 277.2667 | 6.85 | 331.3133 | 7.1287 | 271.168 | 7.742 | 333.0067 | 14.0533 | 890 | 100 | 47.6467
2020-04-10 21:45:00 | 6.0333 | 274.62 | 6.5127 | 324.4807 | 6.9033 | 268.5787 | 7.5567 | 326.1407 | 13.8533 | 890 | 100 | 45.4947
2020-04-10 22:00:00 | 5.708 | 278.2067 | 6.1373 | 306.6747 | 6.474 | 272.086 | 7.0673 | 308.2427 | 13.8867 | 890 | 100 | 45.764
2020-04-10 22:15:00 | 5.9027 | 324.82 | 6.256 | 311.8513 | 6.7387 | 317.6727 | 7.1647 | 313.446 | 14.02 | 890.3333 | 100 | 46.0507
2020-04-10 22:30:00 | 5.204 | 229.1467 | 5.5113 | 308.0707 | 6.046 | 224.1053 | 6.382 | 309.6447 | 13.7333 | 891 | 100 | 44.5853
2020-04-10 22:45:00 | 5.4127 | 298.42 | 5.678 | 333.98 | 6.1113 | 291.854 | 6.414 | 335.688 | 13.88 | 891 | 100 | 44.5527
2020-04-10 23:00:00 | 6.026 | 233.6067 | 6.3753 | 335.656 | 6.904 | 228.4667 | 7.3113 | 337.3733 | 13.8067 | 891 | 100 | 48.1293
2020-04-10 23:15:00 | 5.8773 | 256.6533 | 6.232 | 330.0933 | 6.6913 | 251.0067 | 7.1333 | 331.7827 | 13.8733 | 891 | 99.6667 | 46.9493
2020-04-10 23:30:00 | 5.504 | 278.4867 | 5.83 | 329.924 | 6.2327 | 272.1893 | 6.642 | 331.6113 | 13.9667 | 891 | 98.8933 | 44.6907
2020-04-10 23:45:00 | 5.452 | 255.38 | 5.7313 | 312.0147 | 6.0607 | 249.1827 | 6.416 | 313.6087 | 13.84 | 891 | 97.7867 | 42.0633