## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-11 00:00:00 | 5.3679 | 322.9071 | 5.7164 | 334.0986 | 6.2129 | 315.8029 | 6.625 | 335.8064 | 13.7429 | 891 | 96.59 | 45.965
2020-04-11 00:15:00 | 6.2967 | 302.4733 | 6.6513 | 333.036 | 7.2547 | 295.9353 | 7.656 | 334.738 | 13.7267 | 890.6667 | 96.2733 | 49.6087
2020-04-11 00:30:00 | 6.526 | 257.6267 | 6.918 | 312.7773 | 7.6153 | 252.1933 | 8.0313 | 314.3767 | 13.5733 | 890 | 96.82 | 50.4173
2020-04-11 00:45:00 | 6.42 | 190.4133 | 6.8107 | 317.772 | 7.2233 | 163.9 | 7.7493 | 319.3953 | 13.52 | 890 | 96.44 | 49.6767
2020-04-11 01:00:00 | 6.0293 | 280.42 | 6.3513 | 316.5587 | 6.7887 | 274.25 | 7.1833 | 318.1767 | 13.4467 | 890 | 95.6933 | 48.476
2020-04-11 01:15:00 | 5.7693 | 255.2667 | 6.094 | 308.2527 | 6.5907 | 249.6507 | 6.9727 | 309.8293 | 13.3667 | 890 | 96.38 | 47.2207
2020-04-11 01:30:00 | 5.55 | 302.4467 | 5.9453 | 286.8347 | 6.418 | 295.9947 | 6.9073 | 288.3013 | 13.3333 | 890 | 95.3667 | 45.944
2020-04-11 01:45:00 | 5.3487 | 234.4867 | 5.652 | 327.154 | 6.0867 | 229.328 | 6.452 | 328.8273 | 13.24 | 890 | 94.8067 | 42.61
2020-04-11 02:00:00 | 5.642 | 232.86 | 5.8833 | 329.8787 | 6.3947 | 227.7367 | 6.634 | 331.566 | 13.2 | 890 | 95.1733 | 44.8327
2020-04-11 02:15:00 | 5.6627 | 279.62 | 5.8567 | 327.036 | 6.1527 | 273.468 | 6.3833 | 328.7073 | 13.18 | 890 | 92.6933 | 44.9687
2020-04-11 02:30:00 | 5.268 | 301.0267 | 5.366 | 327.2453 | 5.6347 | 294.4047 | 5.7227 | 328.9173 | 13.1533 | 890 | 89.3 | 43.5027
2020-04-11 02:45:00 | 5.6513 | 297.78 | 5.8433 | 327.22 | 6.204 | 291.2293 | 6.4133 | 328.8933 | 13.1533 | 890 | 88.7 | 42.602
2020-04-11 03:00:00 | 5.516 | 336.2067 | 5.7547 | 306.68 | 6.3193 | 328.8107 | 6.5433 | 308.25 | 13.1333 | 890 | 88.9067 | 45.6633
2020-04-11 03:15:00 | 5.832 | 298.5667 | 6.2007 | 330.74 | 6.4913 | 291.9987 | 7.002 | 332.432 | 13.0667 | 890 | 87.1133 | 47.2313
2020-04-11 03:30:00 | 5.9573 | 321.56 | 6.2547 | 332.6507 | 6.5927 | 313.8993 | 6.9587 | 334.3513 | 13.24 | 890 | 86.0933 | 48.6647
2020-04-11 03:45:00 | 5.8947 | 296.6867 | 6.2133 | 311.5447 | 6.6493 | 289.4373 | 7.04 | 313.1367 | 13.18 | 890 | 84.3933 | 51.2873
2020-04-11 04:00:00 | 5.972 | 240.44 | 6.335 | 333.469 | 6.807 | 235.152 | 7.253 | 335.172 | 13.15 | 890 | 84.02 | 51.778
2020-04-11 04:15:00 | 6.1073 | 295.92 | 6.492 | 337.2793 | 6.8713 | 289.4093 | 7.3813 | 339.004 | 12.9533 | 890 | 81.6933 | 50.6907
2020-04-11 04:30:00 | 5.8253 | 254.9933 | 6.182 | 310.8207 | 6.6673 | 249.3827 | 7.1013 | 312.4107 | 12.9467 | 890 | 79.7627 | 49.9707
2020-04-11 04:45:00 | 5.988 | 253.4133 | 6.3273 | 318.0973 | 6.758 | 247.8387 | 7.182 | 319.7227 | 12.8867 | 890 | 79.4393 | 49.5773
2020-04-11 05:00:00 | 6.1253 | 211.3467 | 6.338 | 296.132 | 6.7307 | 206.6967 | 6.9587 | 297.6453 | 12.8733 | 890 | 78.0687 | 46.7893
2020-04-11 05:15:00 | 5.9827 | 280.8133 | 6.2387 | 295.1347 | 6.5347 | 274.6353 | 6.8647 | 296.6427 | 12.78 | 890 | 77.094 | 47.24
2020-04-11 05:30:00 | 5.5307 | 189.3733 | 5.748 | 294.4567 | 6.036 | 185.206 | 6.3047 | 295.9627 | 12.6933 | 890.6667 | 78.6273 | 43.2353
2020-04-11 05:45:00 | 5.5873 | 146.1867 | 5.8327 | 294.104 | 5.9853 | 142.756 | 6.3373 | 296.06 | 12.66 | 891 | 77.1447 | 41.6973
2020-04-11 06:00:00 | 5.586 | 166.7667 | 5.7993 | 339.81 | 6.0647 | 163.7487 | 6.3213 | 341.548 | 12.6533 | 891 | 77.278 | 41.19
2020-04-11 06:15:00 | 5.554 | 122.28 | 5.7873 | 318.2087 | 6.146 | 119.5907 | 6.42 | 319.836 | 12.6333 | 891 | 77.1853 | 41.718
2020-04-11 06:30:00 | 5.34 | 212.1333 | 5.5527 | 249.9447 | 5.856 | 207.4653 | 6.1127 | 251.2227 | 12.5133 | 891 | 75.9473 | 41.0747
2020-04-11 06:45:00 | 5.5753 | 235.36 | 5.8533 | 294.9513 | 6.166 | 230.324 | 6.526 | 296.4587 | 12.3467 | 891 | 75.9693 | 42.9753
2020-04-11 07:00:00 | 5.6747 | 235.9867 | 5.864 | 300.6173 | 6.0787 | 230.794 | 6.3247 | 302.1527 | 12.2467 | 891.6667 | 75.9093 | 42.4253
2020-04-11 07:15:00 | 5.9007 | 214.7667 | 6.0793 | 317.2707 | 6.5067 | 210.6553 | 6.6727 | 319.3447 | 12.18 | 892 | 76.436 | 44.582
2020-04-11 07:30:00 | 6.0013 | 231.98 | 6.1833 | 295.214 | 6.474 | 226.876 | 6.6847 | 296.7207 | 12.1 | 892 | 77.2427 | 45.9127
2020-04-11 07:45:00 | 5.4967 | 238.04 | 5.7133 | 205.6673 | 5.9087 | 232.804 | 6.2007 | 206.718 | 11.9733 | 892 | 79.1107 | 44.236
2020-04-11 08:00:00 | 5.7427 | 240.2733 | 6.0493 | 317.8627 | 6.3733 | 234.9873 | 6.7773 | 319.4887 | 11.88 | 892.6667 | 79.0273 | 44.7113
2020-04-11 08:15:00 | 6.062 | 234.96 | 6.368 | 295.9167 | 6.658 | 229.7907 | 7.0667 | 297.4287 | 11.82 | 893 | 79.26 | 48.3347
2020-04-11 08:30:00 | 5.6907 | 163.0733 | 5.9687 | 320.6927 | 6.2333 | 162.1067 | 6.5927 | 322.3313 | 11.8067 | 893 | 79.1367 | 43.8873
2020-04-11 08:45:00 | 5.502 | 144.5 | 5.6893 | 272.4767 | 5.842 | 141.3213 | 6.102 | 273.8713 | 12.0867 | 893.3333 | 75.9447 | 41.3213
2020-04-11 09:00:00 | 5.5773 | 170.2467 | 5.7533 | 271.3953 | 5.86 | 166.5013 | 6.114 | 272.7827 | 12.2267 | 894 | 70.6393 | 40.366
2020-04-11 09:15:00 | 5.764 | 282.2 | 6.14 | 248.6267 | 6.5753 | 275.1173 | 7.016 | 249.8987 | 12.4667 | 895 | 68.1133 | 41.9007
2020-04-11 09:30:00 | 6.1747 | 241.5267 | 6.5573 | 270.6527 | 7.0813 | 236.2133 | 7.5447 | 272.0347 | 12.6333 | 895 | 66.6013 | 48.016
2020-04-11 09:45:00 | 6.89 | 255.7067 | 7.31 | 250.8633 | 7.9233 | 250.0807 | 8.4187 | 252.1467 | 12.9667 | 895 | 64.4807 | 50.6133
2020-04-11 10:00:00 | 6.88 | 302 | 7.3647 | 267.222 | 8.0893 | 295.356 | 8.658 | 268.5887 | 13.2733 | 895.6667 | 62.6107 | 50.0427
2020-04-11 10:15:00 | 6.748 | 211.48 | 7.2233 | 292.1407 | 7.8953 | 206.8273 | 8.4667 | 293.6353 | 13.4067 | 896 | 60.6527 | 49.6753
2020-04-11 10:30:00 | 6.5907 | 276.78 | 6.936 | 224.4753 | 7.3653 | 270.69 | 7.796 | 225.6247 | 13.6667 | 896 | 58.18 | 49.5253
2020-04-11 10:45:00 | 6.3487 | 277.1867 | 6.626 | 249.078 | 6.91 | 271.088 | 7.2773 | 250.3527 | 13.7733 | 896 | 55.4973 | 46.218
2020-04-11 11:00:00 | 5.956 | 212.6467 | 6.1307 | 249.1487 | 6.726 | 207.9687 | 6.84 | 250.4233 | 14.04 | 896 | 54.422 | 39.3547
2020-04-11 11:15:00 | 5.5527 | 295.0333 | 5.8827 | 247.1927 | 6.538 | 288.542 | 6.8773 | 248.4573 | 14.5267 | 896 | 53.2787 | 37.3447
2020-04-11 11:30:00 | 5.65 | 167.14 | 6.0193 | 199.2767 | 6.5667 | 163.4633 | 7.0013 | 200.296 | 14.6733 | 896 | 51.0233 | 35.742
2020-04-11 11:45:00 | 5.9747 | 235.24 | 6.3373 | 275.992 | 6.87 | 230.064 | 7.298 | 277.402 | 14.7467 | 896 | 50.6587 | 41.162
2020-04-11 12:00:00 | 5.67 | 233.68 | 6.098 | 293.4387 | 6.2767 | 228.538 | 6.916 | 294.9393 | 14.6933 | 896 | 50.816 | 37.948
2020-04-11 12:15:00 | 5.3653 | 280.2267 | 5.6587 | 230.3507 | 6.0733 | 274.0627 | 6.4253 | 231.5287 | 15.24 | 896 | 50.23 | 34.35
2020-04-11 12:30:00 | 5.65 | 213.16 | 6.1147 | 230.6 | 6.7187 | 208.47 | 7.2927 | 231.7787 | 15.9933 | 896 | 45.2733 | 36.5953
2020-04-11 12:45:00 | 5.994 | 165.64 | 6.4527 | 143.7267 | 7.038 | 161.9953 | 7.604 | 144.462 | 16.12 | 896 | 41.222 | 38.3793
2020-04-11 13:00:00 | 6.0833 | 129.4667 | 6.3567 | 142.318 | 6.5467 | 126.6173 | 6.932 | 143.046 | 16.26 | 895.3333 | 39.7327 | 40.742
2020-04-11 13:15:00 | 5.5547 | 173.4267 | 5.7567 | 165.3667 | 6.1507 | 169.6107 | 6.3653 | 166.212 | 16.38 | 895 | 38.9733 | 33.9647
2020-04-11 13:30:00 | 4.354 | 120.7533 | 4.5313 | 143.01 | 4.6367 | 118.0987 | 4.8927 | 143.7407 | 16.2933 | 895 | 39.1973 | 24.3587
2020-04-11 13:45:00 | 4.3607 | 92.6533 | 4.5553 | 104.528 | 4.6967 | 90.614 | 4.97 | 105.064 | 16.3733 | 895 | 40.5787 | 23.8893
2020-04-11 14:00:00 | 4.3167 | 110.5867 | 4.5453 | 64.62 | 4.6993 | 108.1533 | 5.0247 | 64.9487 | 16.7333 | 895 | 38.838 | 21.4267
2020-04-11 14:15:00 | 4.538 | 28.8533 | 4.8207 | 83.4487 | 4.6527 | 28.2187 | 5.1553 | 83.8747 | 16.9267 | 895 | 38.064 | 21.7873
2020-04-11 14:30:00 | 4.8967 | 78.6533 | 5.064 | 61.3667 | 5.2173 | 76.9253 | 5.4433 | 61.68 | 17.6 | 894.3333 | 35.5007 | 19.524
2020-04-11 14:45:00 | 3.878 | 73.24 | 4.0247 | 57.266 | 4.0973 | 70.5787 | 4.3193 | 57.558 | 18.12 | 894.3333 | 33.2787 | 13.692
2020-04-11 15:00:00 | 3.72 | 26.3333 | 3.9553 | 36.6813 | 3.4433 | 25.7547 | 3.9747 | 36.8687 | 18.0733 | 895 | 34.6313 | 10.032
2020-04-11 15:15:00 | 3.4487 | 76.96 | 3.538 | 18.3787 | 3.266 | 75.2653 | 3.4907 | 18.474 | 18.1867 | 894 | 32.6173 | 5.2653
2020-04-11 15:30:00 | 2.936 | 45.1533 | 3.038 | 84.2647 | 3.2013 | 44.7127 | 3.316 | 84.6967 | 18.6667 | 894 | 31.8213 | 3.8227
2020-04-11 15:45:00 | 2.8207 | 117.9333 | 2.9393 | 138.874 | 2.9433 | 115.338 | 3.138 | 139.586 | 18.8933 | 894 | 31.5313 | 3.4827
2020-04-11 16:00:00 | 2.8627 | 131.7867 | 2.8767 | 151.0233 | 2.8727 | 128.8867 | 2.9007 | 151.7953 | 18.7733 | 894 | 31.26 | 3.8693
2020-04-11 16:15:00 | 3.078 | 42.64 | 3.2093 | 83.352 | 3.2347 | 41.702 | 3.4447 | 83.7767 | 18.9267 | 894 | 32.368 | 4.4487
2020-04-11 16:30:00 | 2.906 | 101.6667 | 3.162 | 104.834 | 3.1987 | 99.0387 | 3.5967 | 105.3707 | 19.16 | 894 | 32.5067 | 2.9727
2020-04-11 16:45:00 | 2.364 | 61.0467 | 2.47 | 167.1207 | 2.5747 | 59.704 | 2.7173 | 167.9747 | 19.4333 | 894 | 32.1387 | 1.334
2020-04-11 17:00:00 | 2.3927 | 288.6533 | 2.4813 | 250.714 | 2.6333 | 281.866 | 2.754 | 251.9953 | 19.48 | 894 | 30.982 | 0.65133
2020-04-11 17:15:00 | 1.8987 | 233.8467 | 1.994 | 61.072 | 2.2207 | 228.702 | 2.3093 | 61.3847 | 19.58 | 894 | 31.742 | 0
2020-04-11 17:30:00 | 2.072 | 209.6667 | 2.1793 | 269.7527 | 2.3087 | 205.0547 | 2.4467 | 271.1313 | 19.2867 | 894 | 32.8687 | 0
2020-04-11 17:45:00 | 1.0567 | 217.8267 | 1.09 | 145.206 | 1.1513 | 213.036 | 1.1887 | 145.9487 | 19.1267 | 894 | 33.7453 | 0
2020-04-11 18:00:00 | 0.95133 | 294.9533 | 1.0207 | 268.4173 | 1.1313 | 288.466 | 1.2133 | 269.788 | 19.3667 | 893.3333 | 33.86 | 0
2020-04-11 18:15:00 | 1.0973 | 150.2467 | 1.1553 | 148.4673 | 1.0713 | 146.942 | 1.188 | 149.226 | 19.1933 | 893 | 32.5413 | 0
2020-04-11 18:30:00 | 1.1887 | 32.0867 | 1.3033 | 35.2347 | 1.134 | 31.3813 | 1.368 | 35.4147 | 19.14 | 893 | 32.704 | 0
2020-04-11 18:45:00 | 1.348 | 44.5133 | 1.4587 | 59.1767 | 1.3373 | 43.534 | 1.5533 | 59.478 | 18.7933 | 893 | 32.7133 | 0
2020-04-11 19:00:00 | 1.4367 | 67.2733 | 1.4907 | 65.8187 | 1.4367 | 65.78 | 1.5193 | 66.1547 | 18.5733 | 893 | 33.6167 | 0
2020-04-11 19:15:00 | 1.442 | 90.7 | 1.4793 | 83.5467 | 1.5087 | 88.7633 | 1.5673 | 83.9753 | 18.5533 | 893 | 32.8393 | 0
2020-04-11 19:30:00 | 2.0573 | 175.76 | 2.226 | 126.2393 | 2.3427 | 171.8927 | 2.582 | 126.8853 | 18.4067 | 893 | 32.8667 | 0
2020-04-11 19:45:00 | 2.0167 | 185.7867 | 2.2687 | 173.244 | 2.48 | 181.6987 | 2.8233 | 174.128 | 18.1067 | 893 | 34.7853 | 0.42667
2020-04-11 20:00:00 | 2.1127 | 197.7667 | 2.3833 | 180.1607 | 2.6547 | 193.4147 | 3.0127 | 181.0827 | 17.9 | 893 | 37.83 | 1.2413
2020-04-11 20:15:00 | 2.096 | 198.4333 | 2.298 | 210.896 | 2.378 | 194.068 | 2.68 | 211.9733 | 17.94 | 893 | 40.3753 | 0.52467
2020-04-11 20:30:00 | 1.1087 | 211.5133 | 1.1407 | 216.392 | 1.034 | 206.8593 | 1.1147 | 217.4987 | 18.0267 | 893 | 40.782 | 0
2020-04-11 20:45:00 | 0.66933 | 119.92 | 0.71133 | 277.4247 | 0.90133 | 117.2807 | 0.91267 | 278.8447 | 17.92 | 893.3333 | 43.9473 | 0
2020-04-11 21:00:00 | 1.1093 | 114.52 | 1.248 | 105.976 | 1.5413 | 112.0007 | 1.6767 | 106.518 | 17.56 | 894 | 45.106 | 0
2020-04-11 21:15:00 | 2.3273 | 140.1133 | 2.464 | 128.856 | 2.534 | 137.0313 | 2.734 | 129.5127 | 16.4533 | 894 | 46.434 | 0
2020-04-11 21:30:00 | 1.9387 | 131.32 | 2.0367 | 121.6247 | 2.1347 | 128.3987 | 2.2627 | 122.2453 | 16.1867 | 894 | 48.222 | 0
2020-04-11 21:45:00 | 1.9673 | 141.3 | 2.074 | 130.6013 | 2.2093 | 138.0947 | 2.346 | 131.2693 | 16.1067 | 894 | 49.052 | 0
2020-04-11 22:00:00 | 2.2233 | 148.64 | 2.348 | 132.8053 | 2.342 | 145.598 | 2.5467 | 133.4847 | 15.88 | 894 | 49.628 | 0
2020-04-11 22:15:00 | 2.2627 | 132.4867 | 2.3627 | 131.3513 | 2.42 | 129.5727 | 2.5653 | 132.024 | 15.8267 | 894 | 50.184 | 0.46667
2020-04-11 22:30:00 | 2.202 | 133.3867 | 2.3047 | 132.0813 | 2.3787 | 130.4527 | 2.526 | 132.7587 | 15.78 | 894 | 50.1333 | 0.214
2020-04-11 22:45:00 | 2.1513 | 130.6733 | 2.282 | 126.1173 | 2.3433 | 127.798 | 2.534 | 126.7593 | 15.76 | 894 | 50.3047 | 0.182
2020-04-11 23:00:00 | 2.2867 | 126.98 | 2.4133 | 124.3427 | 2.4953 | 124.1867 | 2.6773 | 124.9787 | 15.54 | 894 | 50.5207 | 0.54667
2020-04-11 23:15:00 | 2.3127 | 128.2667 | 2.4347 | 123.0787 | 2.6107 | 125.4447 | 2.7587 | 123.706 | 15.44 | 894 | 50.9293 | 0.51133
2020-04-11 23:30:00 | 2.1633 | 123.7867 | 2.3133 | 125.3213 | 2.5793 | 121.0627 | 2.7407 | 125.962 | 15.4 | 894 | 50.2993 | 0.402
2020-04-11 23:45:00 | 1.6893 | 145.1667 | 1.8227 | 119.7987 | 2.0287 | 141.5827 | 2.1913 | 120.4107 | 15.38 | 894 | 49.75 | 0.081333