## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-13 00:00:00 | 2.4321 | 123.0643 | 2.5214 | 121.3907 | 2.6986 | 120.3564 | 2.7914 | 122.0121 | 15.8286 | 892 | 52.2136 | 3.9064
2020-04-13 00:15:00 | 2.3967 | 126.3 | 2.5167 | 124.0693 | 2.768 | 123.5227 | 2.894 | 124.704 | 15.7733 | 892 | 51.0573 | 3.6747
2020-04-13 00:30:00 | 2.6593 | 130.6667 | 2.74 | 126.9187 | 2.988 | 127.7927 | 3.0473 | 127.566 | 15.5933 | 892 | 51.5447 | 3.0207
2020-04-13 00:45:00 | 2.2567 | 137.7067 | 2.3093 | 136.236 | 2.5553 | 134.6767 | 2.5707 | 136.9313 | 15.6467 | 892 | 52.066 | 1.7347
2020-04-13 01:00:00 | 2.1313 | 144.28 | 2.2487 | 129.8067 | 2.3767 | 140.3427 | 2.5307 | 130.47 | 15.52 | 892 | 52.106 | 1.3047
2020-04-13 01:15:00 | 2.1847 | 139.0933 | 2.294 | 134.7433 | 2.406 | 135.9367 | 2.562 | 135.4307 | 15.34 | 891 | 52.372 | 1.434
2020-04-13 01:30:00 | 2.1733 | 147.8933 | 2.268 | 138.314 | 2.4647 | 144.64 | 2.5593 | 139.0227 | 15.3067 | 891 | 52.998 | 1.3833
2020-04-13 01:45:00 | 1.9627 | 139.0333 | 2.0587 | 139.3193 | 2.2553 | 135.9747 | 2.3567 | 140.032 | 15.1867 | 891 | 53.624 | 1.1067
2020-04-13 02:00:00 | 1.7933 | 130.7467 | 1.8827 | 135.7927 | 2.0493 | 127.8707 | 2.152 | 136.486 | 15.1067 | 891 | 54.0073 | 0.98133
2020-04-13 02:15:00 | 2.2653 | 132.12 | 2.404 | 130.83 | 2.6407 | 129.2147 | 2.7933 | 131.4987 | 15.1333 | 891 | 53.79 | 1.5747
2020-04-13 02:30:00 | 2.5747 | 126.7267 | 2.6987 | 121.93 | 2.9333 | 123.9387 | 3.066 | 122.5533 | 15.1 | 891 | 54.566 | 2.1927
2020-04-13 02:45:00 | 2.274 | 135.8267 | 2.374 | 119.062 | 2.6447 | 132.8373 | 2.728 | 119.6707 | 15.0867 | 890 | 53.68 | 1.9013
2020-04-13 03:00:00 | 2.184 | 125.5 | 2.3393 | 116.6947 | 2.666 | 122.7387 | 2.8213 | 117.2913 | 15.0533 | 890 | 54.0033 | 2.0747
2020-04-13 03:15:00 | 2.4987 | 125.5667 | 2.62 | 124.2387 | 2.766 | 122.8047 | 2.9227 | 124.8727 | 14.9933 | 890 | 55.1413 | 2.4267
2020-04-13 03:30:00 | 2.6273 | 117.8467 | 2.7593 | 117.132 | 2.7207 | 115.2547 | 2.944 | 117.7307 | 14.8267 | 890 | 55.0447 | 3.556
2020-04-13 03:45:00 | 2.9 | 118.7467 | 3.05 | 115.0513 | 3.1187 | 116.1353 | 3.34 | 115.638 | 15.0133 | 890 | 56.436 | 4.0267
2020-04-13 04:00:00 | 2.9756 | 120.5333 | 3.12 | 118.8922 | 3.22 | 117.88 | 3.4244 | 119.5011 | 14.9889 | 890 | 56.2833 | 4.032
2020-04-13 04:15:00 | 3.0227 | 121.02 | 3.1767 | 121.4607 | 3.2173 | 118.168 | 3.452 | 122.0833 | 14.8933 | 890 | 56.9773 | 3.5847
2020-04-13 04:30:00 | 2.926 | 121.9667 | 3.0807 | 120.02 | 3.1487 | 119.2847 | 3.378 | 120.6347 | 14.7467 | 890 | 58.226 | 3.1993
2020-04-13 04:45:00 | 2.8407 | 122.3933 | 2.9913 | 119.0553 | 3.1087 | 119.7007 | 3.318 | 119.6627 | 14.5867 | 889.6667 | 58.946 | 3.0653
2020-04-13 05:00:00 | 3.0207 | 117.9333 | 3.164 | 118.6387 | 3.2887 | 115.338 | 3.4827 | 119.246 | 14.4933 | 889 | 60.0273 | 3.478
2020-04-13 05:15:00 | 2.8713 | 124.9 | 3.024 | 120.952 | 3.1447 | 122.1527 | 3.356 | 121.5713 | 14.2533 | 889 | 61.374 | 2.5787
2020-04-13 05:30:00 | 2.67 | 116.6067 | 2.8127 | 121.918 | 2.9873 | 113.964 | 3.1693 | 122.5413 | 13.9667 | 889 | 62.656 | 2.35
2020-04-13 05:45:00 | 3.0967 | 120.0867 | 3.2887 | 121.9367 | 3.348 | 117.4453 | 3.6407 | 122.56 | 13.7333 | 889 | 63.88 | 3.8107
2020-04-13 06:00:00 | 3.0893 | 120.5133 | 3.3167 | 113.9113 | 3.5727 | 117.8607 | 3.8633 | 114.4927 | 13.4867 | 889 | 64.978 | 4.8213
2020-04-13 06:15:00 | 3.0027 | 124.3733 | 3.158 | 124.6753 | 3.5047 | 121.636 | 3.6567 | 125.3133 | 13.02 | 890 | 66.3093 | 6.126
2020-04-13 06:30:00 | 3.0487 | 129.5133 | 3.184 | 123.978 | 3.4267 | 126.664 | 3.5767 | 124.6113 | 13.24 | 890 | 66.9473 | 6.756
2020-04-13 06:45:00 | 2.8133 | 139.4 | 2.934 | 131.1967 | 3.3053 | 136.3327 | 3.394 | 131.8653 | 12.9933 | 890 | 67.9533 | 6.3273
2020-04-13 07:00:00 | 2.6573 | 150.9667 | 2.758 | 138.048 | 3.05 | 147.136 | 3.1287 | 138.7533 | 12.9533 | 890 | 69.3313 | 5.3273
2020-04-13 07:15:00 | 2.5167 | 146.8467 | 2.588 | 140.63 | 2.8767 | 143.616 | 2.9113 | 141.348 | 12.9067 | 890 | 69.9647 | 3.7093
2020-04-13 07:30:00 | 2.6013 | 146.6467 | 2.6853 | 142.996 | 2.982 | 143.824 | 3.03 | 143.7273 | 12.88 | 890 | 70.9233 | 3.55
2020-04-13 07:45:00 | 2.7707 | 146.9533 | 2.862 | 138.4713 | 3.1393 | 143.72 | 3.2073 | 139.1787 | 12.6733 | 890 | 71.39 | 4.1707
2020-04-13 08:00:00 | 2.9127 | 140.4067 | 3.0027 | 137.0187 | 3.3353 | 137.3173 | 3.388 | 137.7167 | 12.2533 | 890 | 71.3207 | 6.1353
2020-04-13 08:15:00 | 3.24 | 135.3333 | 3.378 | 134.8333 | 3.712 | 132.356 | 3.84 | 135.5233 | 11.9867 | 891 | 72.446 | 7.2193
2020-04-13 08:30:00 | 3.2433 | 144.2933 | 3.3993 | 135.5127 | 3.6827 | 141.1207 | 3.854 | 136.2033 | 11.9267 | 891 | 73.126 | 7.6827
2020-04-13 08:45:00 | 2.8933 | 148.28 | 3.0167 | 141.2433 | 3.2113 | 145.018 | 3.356 | 141.964 | 11.94 | 891 | 74.0393 | 6.342
2020-04-13 09:00:00 | 2.6907 | 144.72 | 2.8073 | 140.2707 | 3.1127 | 141.876 | 3.2093 | 140.9887 | 11.92 | 891 | 75.3967 | 4.4007
2020-04-13 09:15:00 | 2.7153 | 144.8 | 2.808 | 137.624 | 3.0593 | 142.3973 | 3.1393 | 138.3273 | 11.8733 | 891.3333 | 75.384 | 4.9133
2020-04-13 09:30:00 | 2.1753 | 159.8667 | 2.2513 | 137.826 | 2.4747 | 156.35 | 2.5367 | 138.5293 | 11.84 | 892 | 75.612 | 2.8033
2020-04-13 09:45:00 | 2.3147 | 152.6733 | 2.3567 | 138.224 | 2.6593 | 149.314 | 2.638 | 138.9307 | 11.7467 | 892 | 76.204 | 2.296
2020-04-13 10:00:00 | 2.134 | 158.4867 | 2.2073 | 141.268 | 2.5127 | 154.9993 | 2.5467 | 141.9907 | 11.6 | 892 | 77.3973 | 2.68
2020-04-13 10:15:00 | 2.0327 | 163.5933 | 2.0893 | 153.6967 | 2.4 | 159.9947 | 2.4013 | 154.4813 | 11.5067 | 892 | 78.1827 | 4.4447
2020-04-13 10:30:00 | 2.3187 | 151.5533 | 2.3787 | 155.614 | 2.6867 | 148.218 | 2.696 | 156.41 | 11.4667 | 892 | 80.5993 | 5.0493
2020-04-13 10:45:00 | 2.476 | 165.5733 | 2.542 | 157.698 | 2.8573 | 161.9327 | 2.874 | 158.5047 | 11.4067 | 892 | 80.6733 | 5.3733
2020-04-13 11:00:00 | 2.2747 | 176.1267 | 2.3313 | 170.5827 | 2.552 | 172.2513 | 2.5773 | 171.4547 | 11.4 | 892 | 81.96 | 4.7473
2020-04-13 11:15:00 | 2.4073 | 197.3333 | 2.4847 | 180.4987 | 2.562 | 192.992 | 2.6653 | 181.422 | 11.36 | 892 | 82.58 | 6.634
2020-04-13 11:30:00 | 3.156 | 201.2867 | 3.3553 | 179.392 | 3.5307 | 195.9007 | 3.802 | 180.308 | 11.5 | 892 | 83.7933 | 9.658
2020-04-13 11:45:00 | 2.8887 | 194.22 | 3.076 | 169.2587 | 3.2807 | 191.824 | 3.524 | 170.124 | 11.4867 | 892.3333 | 86.7933 | 6.402
2020-04-13 12:00:00 | 2.7007 | 199.9133 | 2.8453 | 170.6027 | 3.058 | 195.666 | 3.226 | 171.1667 | 11.6733 | 893 | 86.3067 | 4.526
2020-04-13 12:15:00 | 2.7553 | 203.06 | 2.8773 | 172.192 | 3.12 | 198.5933 | 3.2447 | 173.0733 | 12.3867 | 893 | 83.5933 | 5.2213
2020-04-13 12:30:00 | 2.9153 | 210.0467 | 3.1387 | 185.4813 | 3.1967 | 205.4253 | 3.5367 | 186.43 | 12.8733 | 893 | 80.9067 | 6.834
2020-04-13 12:45:00 | 2.9927 | 198.2667 | 3.196 | 163.592 | 3.354 | 193.906 | 3.6367 | 164.4293 | 13.0933 | 893 | 79.1067 | 8.392
2020-04-13 13:00:00 | 3.0547 | 205.5333 | 3.18 | 155.5407 | 3.372 | 201.0133 | 3.522 | 156.3347 | 12.9667 | 893 | 80.0773 | 9.914
2020-04-13 13:15:00 | 3.3873 | 204.32 | 3.562 | 172.2787 | 3.9287 | 199.9427 | 4.1033 | 173.1587 | 13.0467 | 893 | 78.3273 | 10.472
2020-04-13 13:30:00 | 3.4227 | 198.78 | 3.574 | 166.6367 | 3.7527 | 194.4073 | 3.9467 | 167.49 | 13.1267 | 893 | 76.956 | 11.7847
2020-04-13 13:45:00 | 3.5367 | 191.3533 | 3.7153 | 166.1813 | 3.9187 | 187.1433 | 4.1473 | 167.03 | 13.38 | 893 | 76.4027 | 12.078
2020-04-13 14:00:00 | 3.532 | 186.6067 | 3.772 | 164.3567 | 3.8733 | 182.5013 | 4.2313 | 165.1973 | 13.3133 | 892.3333 | 76.1573 | 12.4247
2020-04-13 14:15:00 | 3.6027 | 192.7133 | 3.8133 | 165.2087 | 4.006 | 188.474 | 4.2907 | 166.0547 | 13.3533 | 892 | 77.308 | 13.556
2020-04-13 14:30:00 | 3.5687 | 195.16 | 3.7987 | 164.6427 | 4.1873 | 190.742 | 4.4493 | 165.4847 | 13.5733 | 892 | 76.488 | 14.7873
2020-04-13 14:45:00 | 3.644 | 193.9067 | 3.8567 | 154.184 | 4.1613 | 189.642 | 4.4153 | 154.9727 | 13.8933 | 892 | 74.6453 | 12.264
2020-04-13 15:00:00 | 3.492 | 185.9533 | 3.75 | 157.2553 | 3.6733 | 182.4167 | 4.1027 | 158.0587 | 13.8 | 892 | 73.1547 | 15.202
2020-04-13 15:15:00 | 4.198 | 205.68 | 4.3947 | 169.116 | 4.772 | 201.0767 | 4.9867 | 169.9787 | 13.74 | 891.6667 | 74.9073 | 17.5787
2020-04-13 15:30:00 | 4.6667 | 197.7333 | 4.85 | 166.45 | 5.2593 | 193.3833 | 5.4393 | 167.3 | 13.2867 | 891 | 73.1473 | 21.0867
2020-04-13 15:45:00 | 4.1013 | 192.44 | 4.26 | 170.642 | 4.674 | 188.206 | 4.8087 | 171.5147 | 13.4267 | 891 | 73.242 | 15.6707
2020-04-13 16:00:00 | 3.6473 | 190.7867 | 3.8307 | 165.086 | 4.098 | 186.5893 | 4.3207 | 165.93 | 13.8467 | 891 | 71.3233 | 14.602
2020-04-13 16:15:00 | 3.2893 | 186.1067 | 3.522 | 170.608 | 3.6253 | 182.0127 | 3.9707 | 171.4807 | 14.0867 | 890.6667 | 69.474 | 14.6013
2020-04-13 16:30:00 | 3.6 | 184.8733 | 3.8433 | 165.4113 | 3.7473 | 180.806 | 4.1673 | 166.2573 | 14.1733 | 890 | 69.3933 | 15.9973
2020-04-13 16:45:00 | 3.4533 | 174.8067 | 3.6713 | 151.134 | 3.6327 | 170.96 | 3.996 | 151.908 | 14.1333 | 890 | 68.9607 | 14.63
2020-04-13 17:00:00 | 3.892 | 175.3267 | 4.0947 | 139.938 | 3.8993 | 171.4693 | 4.2873 | 140.654 | 14.1067 | 890 | 68.2367 | 18.2433
2020-04-13 17:15:00 | 3.412 | 166.0533 | 3.642 | 158.026 | 3.8093 | 162.772 | 4.13 | 158.832 | 13.9467 | 890 | 68.134 | 15.5413
2020-04-13 17:30:00 | 3.4213 | 173.7467 | 3.582 | 152.6913 | 3.448 | 170.8493 | 3.7487 | 153.4733 | 13.7933 | 890 | 70.1367 | 14.056
2020-04-13 17:45:00 | 3.9393 | 164.1133 | 4.1413 | 141.1787 | 4.186 | 160.5033 | 4.498 | 141.8993 | 13.7467 | 889 | 71.076 | 15.3413
2020-04-13 18:00:00 | 3.8127 | 169.0333 | 3.9467 | 141.588 | 4.0653 | 165.3153 | 4.2533 | 142.312 | 13.6733 | 889 | 70.4867 | 9.416
2020-04-13 18:15:00 | 3.0333 | 149.3733 | 3.1473 | 139.234 | 3.32 | 146.086 | 3.462 | 139.9453 | 13.6867 | 889 | 71.5773 | 4.5433
2020-04-13 18:30:00 | 2.7673 | 151.1667 | 2.902 | 147.958 | 3.2433 | 147.8413 | 3.3633 | 148.7147 | 13.6467 | 889 | 71.686 | 5.266
2020-04-13 18:45:00 | 2.832 | 170.54 | 2.9873 | 162.5687 | 2.91 | 167.5053 | 3.186 | 163.4007 | 13.58 | 889 | 72.0413 | 7.1473
2020-04-13 19:00:00 | 3.5307 | 183.9067 | 3.7567 | 172.5013 | 3.8893 | 179.86 | 4.2167 | 173.382 | 13.5 | 889 | 73.0207 | 10.838
2020-04-13 19:15:00 | 3.3473 | 183.8867 | 3.5753 | 167.5707 | 3.686 | 179.8413 | 4.0233 | 168.428 | 13.36 | 889 | 73.3487 | 9.722
2020-04-13 19:30:00 | 3.164 | 177.5067 | 3.4013 | 167.746 | 3.4207 | 173.6013 | 3.796 | 168.6027 | 13.3 | 889.6667 | 73.33 | 8.2833
2020-04-13 19:45:00 | 3.3253 | 176.6333 | 3.568 | 173.3207 | 3.7807 | 172.748 | 4.1107 | 174.2067 | 13.3133 | 890 | 73.8973 | 8.4693
2020-04-13 20:00:00 | 3.1893 | 180.3467 | 3.4133 | 168.7567 | 3.6727 | 177.128 | 3.96 | 169.62 | 13.2067 | 890 | 75.356 | 8.842
2020-04-13 20:15:00 | 2.8713 | 179.7733 | 3.0887 | 171.358 | 3.376 | 175.818 | 3.64 | 172.234 | 13.14 | 890 | 76.348 | 6.6413
2020-04-13 20:30:00 | 2.888 | 187.92 | 3.0907 | 171.7033 | 3.27 | 183.7867 | 3.544 | 172.5827 | 13.0333 | 890 | 77.396 | 6.842
2020-04-13 20:45:00 | 2.5033 | 198.4267 | 2.736 | 184.7327 | 2.9913 | 194.0613 | 3.2927 | 185.676 | 13.08 | 890 | 77.818 | 5.2253
2020-04-13 21:00:00 | 2.056 | 199.3667 | 2.3107 | 196.6887 | 2.4767 | 194.9793 | 2.8387 | 197.6947 | 13.0867 | 890.6667 | 78.1353 | 4.3567
2020-04-13 21:15:00 | 2.9173 | 187.7467 | 3.082 | 181.836 | 3.236 | 183.6167 | 3.4553 | 182.7653 | 13.1267 | 891 | 78.7427 | 5.6587
2020-04-13 21:30:00 | 3.1727 | 179.2933 | 3.3473 | 167.1653 | 3.5907 | 175.5973 | 3.7993 | 168.0207 | 12.92 | 891 | 78.6313 | 9.7247
2020-04-13 21:45:00 | 4.34 | 167.9267 | 4.498 | 155.9847 | 4.534 | 164.2313 | 4.7807 | 156.782 | 12.6533 | 890 | 80.4933 | 24.472
2020-04-13 22:00:00 | 4.4213 | 168.56 | 4.606 | 161.1147 | 4.418 | 164.8513 | 4.774 | 161.94 | 12.3333 | 890 | 82.1467 | 29.0807
2020-04-13 22:15:00 | 4.7833 | 167.7867 | 5.0013 | 158.2527 | 4.658 | 164.8127 | 5.1087 | 159.062 | 12.28 | 889 | 83.5 | 31.1833
2020-04-13 22:30:00 | 3.928 | 180.8 | 4.2093 | 177.24 | 4.202 | 176.8227 | 4.662 | 178.1453 | 12.1867 | 889 | 84.5133 | 20.2413
2020-04-13 22:45:00 | 3.768 | 189.4467 | 4.0113 | 178.9807 | 4.2107 | 185.278 | 4.5473 | 179.896 | 12.2733 | 890 | 84.96 | 13.3467
2020-04-13 23:00:00 | 2.576 | 203.1867 | 2.852 | 193.958 | 2.8547 | 197.9007 | 3.292 | 194.9493 | 12.2867 | 890 | 85.1 | 10.168
2020-04-13 23:15:00 | 3.002 | 193.7067 | 3.1607 | 170.732 | 3.0427 | 189.4447 | 3.3347 | 171.606 | 12.2067 | 890 | 85.3 | 6.4387
2020-04-13 23:30:00 | 2.54 | 174.1267 | 2.734 | 171.6067 | 2.8193 | 170.296 | 3.106 | 172.4833 | 12.12 | 890 | 86.5067 | 3.8307
2020-04-13 23:45:00 | 2.4547 | 164.1667 | 2.5467 | 148.1487 | 2.6113 | 160.554 | 2.7453 | 148.9053 | 12.0533 | 890 | 87.72 | 2.9353