## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-14 00:00:00 | 2.11 | 146.6071 | 2.1693 | 133.6221 | 2.3571 | 143.3814 | 2.4057 | 134.3057 | 11.8571 | 889.3571 | 88.7357 | 1.3114
2020-04-14 00:15:00 | 2.0867 | 129.5 | 2.174 | 131.8213 | 2.2707 | 125.8227 | 2.3887 | 132.496 | 11.82 | 889 | 88.66 | 2.0167
2020-04-14 00:30:00 | 2.4233 | 134.38 | 2.5447 | 126.7613 | 2.7033 | 131.4907 | 2.8567 | 127.6393 | 11.72 | 889 | 88.9667 | 2.9507
2020-04-14 00:45:00 | 2.9533 | 125.1733 | 3.0913 | 128.7373 | 3.404 | 122.4193 | 3.5373 | 129.3933 | 11.6 | 888.6667 | 89.1333 | 5.08
2020-04-14 01:00:00 | 3.0113 | 133.34 | 3.152 | 129.2467 | 3.5107 | 130.6553 | 3.6367 | 129.9073 | 11.4067 | 888 | 89.44 | 5.3527
2020-04-14 01:15:00 | 3.046 | 143.44 | 3.184 | 137.7807 | 3.5147 | 140.284 | 3.6433 | 138.4853 | 11.28 | 888 | 90.2733 | 6.008
2020-04-14 01:30:00 | 2.676 | 135.4933 | 2.7847 | 136.9273 | 2.9987 | 132.5133 | 3.1153 | 137.626 | 11.2867 | 888 | 90.2933 | 4.8967
2020-04-14 01:45:00 | 3.0133 | 142.4667 | 3.098 | 136.9927 | 3.432 | 139.3327 | 3.472 | 137.6907 | 11.2333 | 888 | 90.96 | 7.702
2020-04-14 02:00:00 | 2.9433 | 144.9133 | 3.0293 | 136.5733 | 3.3493 | 141.4247 | 3.396 | 137.2727 | 11.1067 | 888 | 91.3667 | 5.8527
2020-04-14 02:15:00 | 2.666 | 156.8 | 2.738 | 148.2647 | 2.824 | 153.3507 | 2.9187 | 149.0227 | 11.1533 | 888 | 91.3933 | 5.2647
2020-04-14 02:30:00 | 2.5853 | 143.94 | 2.642 | 148.2647 | 2.734 | 140.774 | 2.798 | 149.024 | 11.14 | 888 | 91.6867 | 4.8547
2020-04-14 02:45:00 | 2.2633 | 147.1 | 2.3293 | 136.4107 | 2.4853 | 143.8627 | 2.55 | 137.108 | 10.84 | 888 | 92.12 | 3.9327
2020-04-14 03:00:00 | 2.6953 | 147.1867 | 2.8 | 135.902 | 3.1067 | 143.5767 | 3.1753 | 136.598 | 10.8533 | 887.3333 | 92.4667 | 3.8627
2020-04-14 03:15:00 | 2.7447 | 135.9667 | 2.8607 | 133.6153 | 3.168 | 132.9747 | 3.2693 | 134.2967 | 10.86 | 887 | 92.5067 | 3.6913
2020-04-14 03:30:00 | 2.7833 | 139.0333 | 2.8967 | 130.368 | 3.2233 | 136.15 | 3.3127 | 131.0347 | 10.7333 | 887 | 92.4667 | 4.6427
2020-04-14 03:45:00 | 2.9433 | 139.74 | 3.042 | 129.9387 | 3.402 | 136.6647 | 3.458 | 130.6007 | 10.7133 | 887 | 92.5933 | 6.53
2020-04-14 04:00:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 04:15:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 04:30:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 04:45:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 05:00:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 05:15:00 | 2.97 | 130.51 | 3.09 | 128.097 | 3.481 | 127.639 | 3.556 | 128.755 | 10.6 | 887 | 92.65 | 6.604
2020-04-14 05:30:00 | 3.0767 | 140.4333 | 3.1833 | 135.668 | 3.4933 | 137.3453 | 3.5753 | 136.362 | 10.5867 | 886 | 93.7867 | 6.182
2020-04-14 05:45:00 | 3.0767 | 140.4333 | 3.1833 | 135.668 | 3.4933 | 137.3453 | 3.5753 | 136.362 | 10.5867 | 886 | 93.7867 | 6.182
2020-04-14 06:00:00 | 3.0767 | 140.4333 | 3.1833 | 135.668 | 3.4933 | 137.3453 | 3.5753 | 136.362 | 10.5867 | 886 | 93.7867 | 6.182
2020-04-14 06:15:00 | 3.0767 | 140.4333 | 3.1833 | 135.668 | 3.4933 | 137.3453 | 3.5753 | 136.362 | 10.5867 | 886 | 93.7867 | 6.182
2020-04-14 06:30:00 | 3.0767 | 140.4333 | 3.1833 | 135.668 | 3.4933 | 137.3453 | 3.5753 | 136.362 | 10.5867 | 886 | 93.7867 | 6.182
2020-04-14 06:45:00 | 3.1513 | 142.4933 | 3.2533 | 134.9387 | 3.5713 | 139.356 | 3.6447 | 135.6273 | 10.48 | 886 | 93.8133 | 6.132
2020-04-14 07:00:00 | 3.0113 | 141.4267 | 3.11 | 134.7813 | 3.3793 | 138.458 | 3.462 | 135.47 | 10.46 | 886 | 93.2667 | 5.8773
2020-04-14 07:15:00 | 2.6947 | 142.4867 | 2.7747 | 134.3447 | 3.088 | 139.3513 | 3.128 | 135.032 | 10.6 | 886 | 93.0667 | 3.9353
2020-04-14 07:30:00 | 2.728 | 143.7333 | 2.812 | 135.1087 | 3.0307 | 140.5713 | 3.1033 | 135.798 | 10.7133 | 886 | 92.7067 | 3.5107
2020-04-14 07:45:00 | 2.66 | 148.7067 | 2.7227 | 140.3947 | 2.8647 | 145.436 | 2.9247 | 141.1127 | 10.74 | 886 | 91.7533 | 3.2013
2020-04-14 08:00:00 | 2.5813 | 160.54 | 2.6167 | 143.4533 | 2.8293 | 157.0087 | 2.8253 | 144.186 | 10.8467 | 886.6667 | 91.2267 | 2.6633
2020-04-14 08:15:00 | 2.2847 | 156.0867 | 2.274 | 140.8847 | 2.4913 | 152.652 | 2.414 | 141.604 | 11.0467 | 887 | 90.4067 | 2.0447
2020-04-14 08:30:00 | 2.0387 | 147.5533 | 2.0587 | 144.6333 | 2.2513 | 143.3213 | 2.2287 | 145.3733 | 11.1067 | 887 | 89.0267 | 1.288
2020-04-14 08:45:00 | 2.0193 | 133.6133 | 2.0933 | 143.942 | 2.22 | 130.6747 | 2.304 | 144.678 | 11.1 | 887 | 88.5733 | 0.50467
2020-04-14 09:00:00 | 1.8653 | 145.84 | 1.914 | 137.5633 | 2.15 | 142.6313 | 2.1613 | 138.2673 | 11.3933 | 887 | 87.8067 | 0.13733
2020-04-14 09:15:00 | 2.1267 | 156.38 | 2.188 | 130.914 | 2.4633 | 152.9387 | 2.4867 | 131.584 | 11.84 | 887.3333 | 84.6467 | 0.47467
2020-04-14 09:30:00 | 2.282 | 162.1133 | 2.284 | 125.7713 | 2.6973 | 158.5473 | 2.5853 | 126.4153 | 11.9467 | 888 | 81.7733 | 0.816
2020-04-14 09:45:00 | 2.342 | 151.5533 | 2.4087 | 129.0047 | 2.822 | 148.2193 | 2.8127 | 129.6633 | 12.1467 | 888 | 83.4667 | 0.954
2020-04-14 10:00:00 | 2.3987 | 172.06 | 2.4727 | 133.132 | 2.888 | 168.2753 | 2.8853 | 133.8127 | 12.2867 | 888 | 83.6 | 1.4467
2020-04-14 10:15:00 | 2.504 | 167.5333 | 2.6027 | 131.6727 | 2.9553 | 163.8473 | 3.0173 | 132.3453 | 12.5067 | 888 | 83.8933 | 1.6473
2020-04-14 10:30:00 | 2.474 | 160.4733 | 2.5873 | 130.2173 | 2.686 | 156.942 | 2.842 | 130.8813 | 12.7933 | 888 | 81.7533 | 0.962
2020-04-14 10:45:00 | 2.6993 | 164.0533 | 2.8407 | 121.4073 | 3.108 | 160.4433 | 3.2567 | 122.03 | 13.2133 | 888 | 80.8813 | 1.7087
2020-04-14 11:00:00 | 3.1287 | 174.8867 | 3.276 | 137.168 | 3.6473 | 171.0387 | 3.7793 | 137.8687 | 13.7933 | 888 | 78.658 | 3.8893
2020-04-14 11:15:00 | 3.1567 | 165.34 | 3.3133 | 143.3227 | 3.826 | 161.7027 | 3.9313 | 144.056 | 14.1467 | 888 | 75.324 | 5.7387
2020-04-14 11:30:00 | 2.7967 | 172.3933 | 2.8867 | 138.3227 | 3.152 | 168.6007 | 3.2213 | 139.028 | 14.46 | 888 | 75.494 | 3.4533
2020-04-14 11:45:00 | 2.6487 | 178.1 | 2.8147 | 154.8693 | 3.036 | 174.1813 | 3.2373 | 155.6607 | 15.1733 | 888 | 73.4673 | 4.14
2020-04-14 12:00:00 | 3.2467 | 173.6267 | 3.3807 | 132.7213 | 3.5993 | 169.8067 | 3.7587 | 133.4 | 15.2267 | 887.3333 | 69.0493 | 5.1273
2020-04-14 12:15:00 | 3.5807 | 164.6067 | 3.704 | 145.272 | 4.1153 | 160.9847 | 4.196 | 146.0147 | 14.98 | 887 | 68.7793 | 9.1533
2020-04-14 12:30:00 | 3.6507 | 164.9067 | 3.8867 | 163.646 | 4.1333 | 161.2787 | 4.4407 | 164.4813 | 15.2267 | 887 | 70.0593 | 9.0693
2020-04-14 12:45:00 | 3.432 | 165.14 | 3.5853 | 134.5273 | 3.974 | 161.5073 | 4.1127 | 135.216 | 15.42 | 887 | 69.6787 | 6.7293
2020-04-14 13:00:00 | 2.9933 | 163.74 | 3.156 | 150.6567 | 3.5627 | 160.1387 | 3.7113 | 151.428 | 15.6333 | 887 | 68.7633 | 5.6813
2020-04-14 13:15:00 | 3.228 | 166.86 | 3.4613 | 149.746 | 3.6013 | 163.1887 | 3.9353 | 150.5113 | 15.9933 | 887 | 68.7833 | 5.0707
2020-04-14 13:30:00 | 3.0727 | 153.2533 | 3.2207 | 147.9273 | 3.6273 | 149.8813 | 3.7467 | 148.682 | 16.2 | 887 | 67.4387 | 5.898
2020-04-14 13:45:00 | 3.254 | 154.8067 | 3.3973 | 140.78 | 3.8 | 151.0947 | 3.9067 | 141.5 | 16.2733 | 886.6667 | 67.4127 | 7.35
2020-04-14 14:00:00 | 3.336 | 153.82 | 3.4693 | 134.098 | 3.8233 | 150.4353 | 3.9373 | 134.7827 | 16.3133 | 886 | 66.8047 | 6.2207
2020-04-14 14:15:00 | 3.7887 | 148.2933 | 3.916 | 137.468 | 4.2267 | 145.03 | 4.344 | 138.1693 | 16.4467 | 886 | 65.514 | 9.096
2020-04-14 14:30:00 | 3.8207 | 147.26 | 3.966 | 136.2093 | 4.2627 | 144.0207 | 4.414 | 136.9053 | 16.5333 | 886 | 64.7493 | 10.62
2020-04-14 14:45:00 | 3.8973 | 164.5067 | 4.0927 | 140.44 | 4.284 | 162.3867 | 4.542 | 141.1587 | 16.8 | 886 | 63.5647 | 11.516
2020-04-14 15:00:00 | 4.0233 | 167.66 | 4.1893 | 143.042 | 4.5687 | 163.9733 | 4.7313 | 143.774 | 16.8867 | 886 | 62.7493 | 11.6993
2020-04-14 15:15:00 | 4.1027 | 177.5133 | 4.2333 | 139.0527 | 4.5233 | 173.6087 | 4.656 | 139.7627 | 17.0467 | 886 | 63.2707 | 11.4827
2020-04-14 15:30:00 | 3.808 | 171.5533 | 3.9473 | 142.5453 | 4.1853 | 167.7807 | 4.344 | 143.2753 | 17.4733 | 885.3333 | 63.4093 | 12.1893
2020-04-14 15:45:00 | 3.6013 | 172.5133 | 3.7787 | 141.3533 | 3.8947 | 168.718 | 4.1473 | 142.0753 | 17.42 | 885 | 61.5453 | 13.822
2020-04-14 16:00:00 | 3.786 | 180.74 | 3.97 | 141.3153 | 4.1627 | 176.7627 | 4.404 | 142.036 | 17.5667 | 885 | 60.3653 | 16.1107
2020-04-14 16:15:00 | 3.7567 | 176.6267 | 3.936 | 143.65 | 3.912 | 172.74 | 4.212 | 144.3847 | 17.4933 | 885 | 60.6553 | 14.6627
2020-04-14 16:30:00 | 3.8973 | 179.26 | 4.0627 | 142.782 | 3.9347 | 175.3947 | 4.242 | 143.5127 | 17.3467 | 885 | 61.2767 | 14.6567
2020-04-14 16:45:00 | 3.5013 | 170.2267 | 3.636 | 145.07 | 3.582 | 166.4813 | 3.82 | 145.8107 | 17.1733 | 885 | 62.3527 | 12.0553
2020-04-14 17:00:00 | 3.78 | 164.8467 | 4.032 | 154.4127 | 4.174 | 161.174 | 4.544 | 155.2013 | 17.34 | 885 | 62.5727 | 13.5233
2020-04-14 17:15:00 | 3.4047 | 166.8333 | 3.5887 | 150.312 | 3.522 | 162.7727 | 3.846 | 151.0807 | 17.22 | 885 | 61.9793 | 12.3193
2020-04-14 17:30:00 | 3.9467 | 162.5867 | 4.112 | 139.3453 | 4.2187 | 159.662 | 4.4587 | 140.0573 | 17.3067 | 885 | 62.5767 | 12.9227
2020-04-14 17:45:00 | 4.042 | 166.9867 | 4.1973 | 143.5827 | 4.3853 | 163.3127 | 4.582 | 144.316 | 17.2733 | 885 | 63.2213 | 14.6773
2020-04-14 18:00:00 | 4.064 | 167.68 | 4.1793 | 142.3093 | 4.2167 | 163.992 | 4.396 | 143.038 | 17.2067 | 885 | 63.4933 | 12.9907
2020-04-14 18:15:00 | 3.5733 | 159.0467 | 3.7227 | 143.0753 | 3.926 | 155.548 | 4.108 | 143.8053 | 17.1867 | 885 | 64.2307 | 10.46
2020-04-14 18:30:00 | 3.5093 | 160.9133 | 3.6607 | 151.9487 | 3.91 | 157.3733 | 4.0833 | 152.7253 | 16.8933 | 885 | 65.828 | 11.4093
2020-04-14 18:45:00 | 3.422 | 171.58 | 3.6207 | 155.1493 | 3.5433 | 167.8053 | 3.8873 | 155.9427 | 16.8 | 885 | 66.8927 | 12.504
2020-04-14 19:00:00 | 3.6127 | 171.2867 | 3.7627 | 156.422 | 3.6487 | 167.5173 | 3.926 | 157.222 | 16.6 | 885 | 68.096 | 15.3333
2020-04-14 19:15:00 | 3.6713 | 153.6667 | 3.8813 | 148.3893 | 3.9093 | 150.2873 | 4.2407 | 149.1473 | 16.4133 | 885 | 68.926 | 12.8347
2020-04-14 19:30:00 | 3.9247 | 153.14 | 4.1333 | 142.2727 | 4.2447 | 149.77 | 4.5493 | 143.0007 | 16.2133 | 884.3333 | 69.5353 | 13.25
2020-04-14 19:45:00 | 3.8147 | 160.1333 | 4.0013 | 144.3533 | 4.0653 | 156.6107 | 4.3493 | 145.09 | 16.08 | 885 | 70.1607 | 13.21
2020-04-14 20:00:00 | 3.5407 | 157.9467 | 3.684 | 148.1987 | 3.7593 | 153.5473 | 3.9753 | 149.528 | 15.98 | 885 | 71.164 | 10.458
2020-04-14 20:15:00 | 3.6453 | 152.0867 | 3.8247 | 141.2173 | 4.0427 | 148.74 | 4.2673 | 141.9393 | 15.78 | 885 | 72.8873 | 11.408
2020-04-14 20:30:00 | 3.4933 | 145.6333 | 3.666 | 138.816 | 3.9393 | 142.4307 | 4.142 | 139.5267 | 15.6267 | 885 | 73.4347 | 9.6927
2020-04-14 20:45:00 | 3.454 | 142.18 | 3.6113 | 139.0453 | 3.8047 | 139.0527 | 4.0047 | 139.7567 | 15.5 | 885 | 74.1953 | 8.9747
2020-04-14 21:00:00 | 3.5707 | 140.9 | 3.7387 | 133.724 | 3.9647 | 137.8007 | 4.1673 | 134.4093 | 15.3133 | 885 | 75.082 | 9.296
2020-04-14 21:15:00 | 3.6567 | 139.2267 | 3.8207 | 133.6727 | 4.09 | 135.9487 | 4.278 | 134.3567 | 15.1333 | 885 | 76.3507 | 9.994
2020-04-14 21:30:00 | 3.5553 | 143.34 | 3.712 | 137.2327 | 3.982 | 140.1853 | 4.1593 | 137.934 | 15.0267 | 885.6667 | 77.04 | 9.3953
2020-04-14 21:45:00 | 3.5807 | 140.1667 | 3.7447 | 130.9993 | 4.0213 | 137.5587 | 4.2067 | 131.6687 | 14.94 | 886 | 77.0067 | 10.7287
2020-04-14 22:00:00 | 3.6367 | 139.9533 | 3.8033 | 131.006 | 4.1067 | 136.8747 | 4.2867 | 131.6773 | 14.86 | 886 | 77.6613 | 10.4387
2020-04-14 22:15:00 | 3.5067 | 141.7067 | 3.6593 | 138.928 | 4.0033 | 139.424 | 4.1567 | 139.638 | 14.7067 | 886 | 77.6013 | 10.3087
2020-04-14 22:30:00 | 3.4493 | 142.28 | 3.5873 | 140.03 | 3.8927 | 139.15 | 4.0273 | 140.746 | 14.5867 | 885.3333 | 77.7953 | 10.2933
2020-04-14 22:45:00 | 3.2347 | 148.4 | 3.3753 | 144.724 | 3.586 | 146.1347 | 3.752 | 145.6993 | 14.6133 | 886 | 78.2767 | 8.7853
2020-04-14 23:00:00 | 3.1387 | 149.8733 | 3.2587 | 146.5833 | 3.38 | 146.5753 | 3.5393 | 147.332 | 14.4667 | 886 | 78.418 | 10.6533
2020-04-14 23:15:00 | 2.9227 | 145.5267 | 3.0313 | 141.856 | 3.25 | 142.3253 | 3.3633 | 142.5807 | 14.26 | 886 | 79.31 | 8.2113
2020-04-14 23:30:00 | 2.9913 | 145.9667 | 3.1087 | 138.0667 | 3.342 | 142.7553 | 3.4647 | 138.774 | 14.0867 | 886 | 80.008 | 8.9133
2020-04-14 23:45:00 | 2.8907 | 145.2867 | 3.0093 | 136.7507 | 3.2413 | 142.09 | 3.3673 | 137.4487 | 13.9733 | 886 | 80.7 | 7.7653