## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-15 00:00:00 | 2.6957 | 147.4786 | 2.7986 | 137.92 | 3.0736 | 144.2336 | 3.1586 | 138.6229 | 13.7357 | 885.3571 | 81.4857 | 7.4743
2020-04-15 00:15:00 | 2.8233 | 147.9 | 2.8933 | 139.998 | 3.2833 | 144.646 | 3.2813 | 140.7133 | 13.7733 | 885 | 81.9333 | 8.546
2020-04-15 00:30:00 | 2.6773 | 143.6 | 2.7187 | 143.656 | 3.1567 | 140.4407 | 3.1027 | 144.39 | 13.88 | 885 | 82.8 | 7.2967
2020-04-15 00:45:00 | 2.2807 | 134.5667 | 2.2907 | 135.1593 | 2.7513 | 131.6053 | 2.6333 | 135.852 | 13.86 | 885 | 83.3267 | 5.1647
2020-04-15 01:00:00 | 2.3147 | 131.08 | 2.4067 | 131.7953 | 2.7153 | 128.1967 | 2.7747 | 132.4693 | 13.92 | 885 | 83.3867 | 4.1067
2020-04-15 01:15:00 | 2.4233 | 142.6267 | 2.5127 | 135.3747 | 2.8607 | 139.4893 | 2.906 | 136.0673 | 13.9533 | 885 | 82.5733 | 4.6307
2020-04-15 01:30:00 | 2.7429 | 138.6929 | 2.87 | 133.7414 | 3.2186 | 135.6414 | 3.325 | 134.425 | 13.95 | 884.3571 | 81.4929 | 5.1773
2020-04-15 01:45:00 | 2.8827 | 138.86 | 3.0093 | 136.5867 | 3.3213 | 135.8053 | 3.434 | 137.286 | 13.94 | 884 | 81.1933 | 5.9427
2020-04-15 02:00:00 | 2.996 | 138.12 | 3.0993 | 128.4047 | 3.424 | 134.2213 | 3.4953 | 128.6747 | 13.8867 | 884 | 80.6 | 5.7613
2020-04-15 02:15:00 | 3.044 | 144.7533 | 3.1433 | 132.7747 | 3.4307 | 141.5693 | 3.512 | 133.4513 | 13.7267 | 884 | 81.0533 | 5.2573
2020-04-15 02:30:00 | 2.862 | 143.7133 | 2.948 | 136.764 | 3.2473 | 140.552 | 3.302 | 137.4613 | 13.7133 | 884 | 82.24 | 5.7827
2020-04-15 02:45:00 | 2.6793 | 146.6867 | 2.7313 | 137.4667 | 3.07 | 143.458 | 3.062 | 138.1713 | 13.62 | 884 | 83.5733 | 4.722
2020-04-15 03:00:00 | 2.362 | 140.14 | 2.4047 | 133.7847 | 2.7587 | 137.0567 | 2.7273 | 134.468 | 13.5333 | 884 | 83.5667 | 3.552
2020-04-15 03:15:00 | 1.972 | 127.1333 | 2.0387 | 128.236 | 2.4287 | 124.336 | 2.4213 | 128.8913 | 13.4533 | 884 | 83.8333 | 2.6907
2020-04-15 03:30:00 | 2.0633 | 118.62 | 2.2027 | 118.4093 | 2.528 | 116.0107 | 2.6533 | 119.0153 | 13.2333 | 884 | 84.6733 | 2.8107
2020-04-15 03:45:00 | 1.8867 | 126.16 | 2.0013 | 124.9113 | 2.442 | 123.3847 | 2.5 | 125.5493 | 13.26 | 883 | 85.7333 | 2.3087
2020-04-15 04:00:00 | 2.053 | 127.41 | 2.124 | 128.001 | 2.626 | 124.607 | 2.591 | 128.656 | 13.3 | 883 | 85.66 | 2.449
2020-04-15 04:15:00 | 2.094 | 140.1467 | 2.1953 | 131.82 | 2.556 | 136.588 | 2.6133 | 132.4953 | 13.1467 | 883 | 86.0733 | 2.736
2020-04-15 04:30:00 | 2.3967 | 140.6333 | 2.5713 | 131.978 | 2.7913 | 137.5387 | 3.0087 | 132.6533 | 12.96 | 883 | 85.8067 | 3.6813
2020-04-15 04:45:00 | 2.7413 | 143.1267 | 2.918 | 139.658 | 3.0927 | 139.978 | 3.3307 | 140.372 | 12.9467 | 883 | 84.9867 | 4.2407
2020-04-15 05:00:00 | 2.614 | 133.52 | 2.7907 | 138.062 | 2.7707 | 130.5827 | 3.064 | 138.7667 | 12.8467 | 883 | 83.7733 | 4.488
2020-04-15 05:15:00 | 2.4967 | 137.6267 | 2.6347 | 136.5933 | 2.7633 | 134.6 | 2.95 | 137.2913 | 12.7667 | 883 | 85.7333 | 4.43
2020-04-15 05:30:00 | 2.7347 | 136.92 | 2.8707 | 133.66 | 2.992 | 133.9067 | 3.18 | 134.3427 | 12.7467 | 883 | 86.94 | 4.184
2020-04-15 05:45:00 | 2.5247 | 143.3333 | 2.6433 | 136.6207 | 2.6367 | 140.1787 | 2.832 | 137.3193 | 12.7333 | 883 | 87.7933 | 3.566
2020-04-15 06:00:00 | 2.4747 | 144.3467 | 2.5887 | 147.9653 | 2.588 | 141.172 | 2.7707 | 148.722 | 12.8533 | 883 | 89.22 | 3.3667
2020-04-15 06:15:00 | 2.34 | 135.4667 | 2.4873 | 141.9013 | 2.478 | 132.486 | 2.718 | 142.6273 | 12.7067 | 883 | 88.0667 | 2.472
2020-04-15 06:30:00 | 2.3073 | 128.46 | 2.4513 | 136.0013 | 2.5873 | 125.634 | 2.78 | 136.6973 | 12.9333 | 883 | 85.9667 | 1.7147
2020-04-15 06:45:00 | 2.3667 | 128.3067 | 2.506 | 135.342 | 2.6267 | 125.4847 | 2.8173 | 136.0333 | 13.1267 | 883 | 86.3533 | 2.0713
2020-04-15 07:00:00 | 2.2247 | 149.24 | 2.3307 | 141.9473 | 2.5533 | 145.9573 | 2.662 | 142.6727 | 13.1 | 883 | 84.78 | 1.8033
2020-04-15 07:15:00 | 1.894 | 148.58 | 2.0387 | 150.4753 | 2.04 | 145.312 | 2.2733 | 151.244 | 13.0267 | 883 | 84.8133 | 1.1187
2020-04-15 07:30:00 | 1.39 | 171.06 | 1.464 | 163.828 | 1.608 | 167.0173 | 1.6833 | 164.6667 | 13.1533 | 883 | 85.4 | 0.286
2020-04-15 07:45:00 | 1.482 | 171.5067 | 1.6073 | 156.102 | 1.774 | 167.7333 | 1.9307 | 156.9 | 13.4533 | 883 | 86.42 | 0.47467
2020-04-15 08:00:00 | 1.7687 | 165.1 | 1.9147 | 160.536 | 2.104 | 161.4407 | 2.288 | 161.016 | 13.5267 | 883.6667 | 85.4667 | 0.62
2020-04-15 08:15:00 | 1.864 | 151.26 | 1.972 | 162.824 | 2.218 | 147.9313 | 2.322 | 163.6567 | 13.6067 | 884 | 84.8333 | 0.538
2020-04-15 08:30:00 | 1.6453 | 174.8067 | 1.7687 | 165.0087 | 1.934 | 170.9613 | 2.0833 | 165.852 | 13.7333 | 884 | 84.1933 | 0.168
2020-04-15 08:45:00 | 1.8087 | 156.2467 | 1.888 | 153.9753 | 2.004 | 152.8093 | 2.0987 | 154.7633 | 13.9867 | 884 | 83.5267 | 0.512
2020-04-15 09:00:00 | 1.834 | 162.2133 | 1.8927 | 150.2807 | 2.074 | 158.6453 | 2.118 | 151.048 | 14.06 | 884 | 83.4533 | 0.28267
2020-04-15 09:15:00 | 1.9193 | 183.3867 | 2.018 | 175.5567 | 2.228 | 179.352 | 2.3267 | 176.4553 | 14 | 884.3333 | 82.74 | 0.52333
2020-04-15 09:30:00 | 2.16 | 169.1133 | 2.2213 | 167.1527 | 2.4993 | 165.3933 | 2.52 | 168.0073 | 14.0333 | 885 | 81.94 | 1.33
2020-04-15 09:45:00 | 2.156 | 188.7933 | 2.2073 | 164.05 | 2.4233 | 184.6387 | 2.4427 | 164.8887 | 13.9267 | 885 | 82.5267 | 1.4153
2020-04-15 10:00:00 | 2.406 | 184 | 2.45 | 168.4387 | 2.6 | 179.9513 | 2.63 | 169.2987 | 13.8 | 885 | 81.3227 | 4.0487
2020-04-15 10:15:00 | 1.8833 | 174.9067 | 1.8973 | 168.378 | 1.9133 | 171.0593 | 1.9353 | 169.24 | 13.9267 | 885 | 79.8607 | 2.1067
2020-04-15 10:30:00 | 1.6293 | 175.8267 | 1.63 | 175.916 | 1.75 | 171.9587 | 1.722 | 176.8153 | 14.2667 | 885 | 81.62 | 1.004
2020-04-15 10:45:00 | 1.4873 | 187.9133 | 1.5373 | 186.0287 | 1.4773 | 182.696 | 1.5827 | 186.978 | 14.6733 | 885 | 81.62 | 0.208
2020-04-15 11:00:00 | 1.356 | 179.0067 | 1.4153 | 185.4607 | 1.3907 | 175.068 | 1.4947 | 186.4093 | 15.0467 | 885 | 80.6467 | 0
2020-04-15 11:15:00 | 1.2087 | 204.3133 | 1.2093 | 189.7913 | 1.1907 | 199.8187 | 1.1987 | 190.7593 | 15.3 | 885 | 78.5073 | 0
2020-04-15 11:30:00 | 1.2473 | 203.52 | 1.2687 | 152.586 | 1.326 | 199.0413 | 1.344 | 153.3667 | 15.44 | 885 | 77.302 | 0.25643
2020-04-15 11:45:00 | 0.94733 | 184.3267 | 0.98333 | 172.1207 | 0.98933 | 180.2727 | 1.0473 | 173.0007 | 15.6267 | 885 | 75.4253 | 0.004
2020-04-15 12:00:00 | 0.98067 | 185.4267 | 0.982 | 152.6267 | 1.008 | 181.3467 | 1.0047 | 153.4067 | 15.9667 | 885 | 73.656 | 0
2020-04-15 12:15:00 | 1.4093 | 191.5467 | 1.504 | 143.5967 | 1.542 | 187.8873 | 1.68 | 144.3307 | 16.1267 | 885 | 74.1313 | 0.13867
2020-04-15 12:30:00 | 1.5727 | 201.88 | 1.6293 | 166.45 | 1.8193 | 197.438 | 1.8607 | 167.2993 | 16.3333 | 885 | 73.1667 | 0.31733
2020-04-15 12:45:00 | 1.634 | 190.82 | 1.724 | 170.5893 | 1.8633 | 186.6227 | 1.9693 | 171.4613 | 16.8667 | 884 | 70.9427 | 0.40133
2020-04-15 13:00:00 | 1.8673 | 200.9933 | 1.964 | 161.0233 | 2.146 | 197.4007 | 2.2267 | 161.8473 | 17.08 | 884 | 69.2513 | 0.49667
2020-04-15 13:15:00 | 2.172 | 198.5667 | 2.2367 | 168.8933 | 2.596 | 194.1993 | 2.598 | 169.7573 | 17.4 | 884 | 67.204 | 1.386
2020-04-15 13:30:00 | 2.3267 | 186.68 | 2.42 | 151.2573 | 2.686 | 182.5733 | 2.7547 | 152.0293 | 17.5533 | 884 | 66.3127 | 1.2127
2020-04-15 13:45:00 | 2.2247 | 214.54 | 2.262 | 140.2007 | 2.3927 | 209.8207 | 2.4147 | 140.9167 | 17.4733 | 884 | 64.6367 | 0.85333
2020-04-15 14:00:00 | 1.8053 | 184.4067 | 1.8633 | 146.458 | 2.0727 | 180.35 | 2.1067 | 147.2073 | 17.6 | 884 | 64.984 | 0.498
2020-04-15 14:15:00 | 2.0887 | 193.7333 | 2.1713 | 134.7613 | 2.22 | 189.4713 | 2.342 | 135.45 | 17.66 | 883 | 65.074 | 0.34867
2020-04-15 14:30:00 | 2.0927 | 201.4067 | 2.1713 | 147.998 | 2.324 | 196.9753 | 2.4053 | 148.7547 | 17.7933 | 883 | 64.446 | 0.63
2020-04-15 14:45:00 | 1.9967 | 184.5133 | 2.0367 | 181.576 | 2.1073 | 180.1413 | 2.1513 | 182.504 | 17.8133 | 883 | 64.062 | 0.041333
2020-04-15 15:00:00 | 1.6827 | 173.08 | 1.7753 | 180.2713 | 1.958 | 169.272 | 2.0573 | 181.1933 | 18.24 | 883 | 63.4793 | 0
2020-04-15 15:15:00 | 1.8207 | 200.4 | 1.9127 | 190.638 | 2.046 | 195.9927 | 2.1567 | 191.6133 | 18.4467 | 883 | 63.0893 | 0
2020-04-15 15:30:00 | 1.922 | 204.0933 | 2.0133 | 160.086 | 2.108 | 199.604 | 2.2287 | 160.9033 | 18.8533 | 883 | 62.2647 | 0
2020-04-15 15:45:00 | 2.0487 | 189.9 | 2.1553 | 148.3293 | 2.4333 | 185.7213 | 2.5273 | 149.0887 | 18.9 | 882 | 61.956 | 0.388
2020-04-15 16:00:00 | 2.4607 | 206.14 | 2.588 | 165.1767 | 2.8247 | 201.6047 | 2.9647 | 166.022 | 18.9533 | 882 | 62.292 | 2.0493
2020-04-15 16:15:00 | 2.3567 | 204.3933 | 2.4727 | 172.682 | 2.6253 | 199.896 | 2.7707 | 173.566 | 18.7067 | 882 | 63.0467 | 1.0673
2020-04-15 16:30:00 | 1.9793 | 199.94 | 2.0893 | 172.9233 | 2.24 | 195.5413 | 2.372 | 173.8073 | 18.7867 | 882 | 63.0147 | 0.634
2020-04-15 16:45:00 | 2.0147 | 197.7333 | 2.2053 | 159.4993 | 2.4113 | 193.384 | 2.6567 | 160.314 | 18.92 | 882 | 62.6373 | 0.73533
2020-04-15 17:00:00 | 1.612 | 194.62 | 1.7547 | 198.5847 | 2.0693 | 190.3393 | 2.2107 | 199.6013 | 19.0467 | 882 | 62.2413 | 0.306
2020-04-15 17:15:00 | 1.648 | 203.9733 | 1.8027 | 161.3573 | 2.096 | 199.4867 | 2.2587 | 162.1813 | 19.1133 | 882 | 61.666 | 0.20533
2020-04-15 17:30:00 | 1.8567 | 192.7067 | 2.0093 | 199.3307 | 2.1973 | 188.4667 | 2.3913 | 200.348 | 19.2133 | 882 | 62.4667 | 0.294
2020-04-15 17:45:00 | 1.7767 | 193.68 | 1.9827 | 195.528 | 1.9727 | 189.164 | 2.2993 | 196.5273 | 19.1667 | 882 | 62.6053 | 0.51
2020-04-15 18:00:00 | 1.6967 | 215.5667 | 1.7813 | 221.1053 | 2.0307 | 210.824 | 2.096 | 222.2353 | 19.28 | 882 | 63.2513 | 0.10733
2020-04-15 18:15:00 | 2.248 | 194.9 | 2.3687 | 185.0253 | 2.416 | 190.748 | 2.6127 | 185.97 | 18.8867 | 882 | 63.768 | 0.70867
2020-04-15 18:30:00 | 1.092 | 200.0667 | 1.1807 | 187.744 | 1.1933 | 195.6633 | 1.3127 | 188.702 | 19.1133 | 882 | 65.22 | 0.15267
2020-04-15 18:45:00 | 1.8547 | 184.1 | 2 | 154.8833 | 2.1147 | 180.0487 | 2.3167 | 155.674 | 18.6 | 882 | 67.0927 | 0.584
2020-04-15 19:00:00 | 2.6993 | 180.3133 | 2.8333 | 168.6193 | 2.9933 | 176.346 | 3.1653 | 169.482 | 18.1667 | 881.3333 | 69.7347 | 1.6733
2020-04-15 19:15:00 | 2.212 | 191.5667 | 2.4233 | 167.89 | 2.61 | 187.3533 | 2.8947 | 168.748 | 17.8533 | 881 | 70.954 | 1.8267
2020-04-15 19:30:00 | 1.9407 | 174.9267 | 2.026 | 158.0907 | 2.172 | 170.9553 | 2.264 | 158.9 | 17.7667 | 881 | 71.4133 | 0.984
2020-04-15 19:45:00 | 1.658 | 155.8467 | 1.7567 | 144.854 | 1.8227 | 152.418 | 1.966 | 145.596 | 17.68 | 880 | 72.8507 | 0.21533
2020-04-15 20:00:00 | 1.2693 | 185.86 | 1.3313 | 189.6213 | 1.384 | 181.7713 | 1.4667 | 190.59 | 17.6733 | 880 | 73.4533 | 0
2020-04-15 20:15:00 | 0.73867 | 123.1533 | 0.706 | 315.998 | 0.612 | 120.4447 | 0.592 | 317.6133 | 17.7267 | 881 | 74.0193 | 0
2020-04-15 20:30:00 | 1.0073 | 28.4067 | 0.978 | 334.3007 | 0.98133 | 27.7807 | 0.936 | 336.01 | 17.64 | 881 | 74.384 | 0
2020-04-15 20:45:00 | 0.54733 | 107.74 | 0.53533 | 327.2973 | 0.57533 | 105.37 | 0.54933 | 328.97 | 17.7667 | 881 | 76.0533 | 0
2020-04-15 21:00:00 | 0.642 | 173.2867 | 0.62133 | 330.3813 | 0.70533 | 169.474 | 0.64933 | 332.0693 | 17.8133 | 881 | 76.468 | 0
2020-04-15 21:15:00 | 0.534 | 205.9733 | 0.59867 | 253.322 | 0.496 | 201.442 | 0.632 | 254.6173 | 17.8533 | 881 | 75.7853 | 0
2020-04-15 21:30:00 | 0.72533 | 225.6333 | 0.71467 | 253.888 | 0.69733 | 220.3947 | 0.688 | 255.1867 | 17.74 | 881 | 75.4427 | 0
2020-04-15 21:45:00 | 1.7027 | 10.3533 | 1.7327 | 341.6867 | 1.9207 | 10.1253 | 1.9147 | 343.4327 | 17.4667 | 881 | 75.956 | 0
2020-04-15 22:00:00 | 2.0973 | 212.86 | 2.202 | 332.2347 | 2.4373 | 208.2433 | 2.54 | 333.9313 | 17.4667 | 881 | 77.8513 | 0
2020-04-15 22:15:00 | 1.8413 | 337.2667 | 1.902 | 337.586 | 2.0787 | 329.846 | 2.1247 | 339.312 | 17.38 | 881 | 78.8347 | 0
2020-04-15 22:30:00 | 1.794 | 236.2267 | 1.8307 | 342.5033 | 2.0953 | 231.0287 | 2.0813 | 344.254 | 17.3933 | 881 | 78.1467 | 0
2020-04-15 22:45:00 | 2.16 | 254.9933 | 2.21 | 332.93 | 2.5747 | 226.7013 | 2.5427 | 334.6327 | 17.16 | 881.3333 | 78.9533 | 0
2020-04-15 23:00:00 | 1.9287 | 227.3067 | 2.018 | 325.9547 | 2.2847 | 222.306 | 2.3553 | 327.6213 | 17.1667 | 881.3333 | 80.2773 | 0
2020-04-15 23:15:00 | 2.1473 | 251.4067 | 2.2353 | 332.174 | 2.5773 | 246.3833 | 2.624 | 333.874 | 17.2933 | 882 | 79.9593 | 0.023333
2020-04-15 23:30:00 | 2.396 | 340.1867 | 2.4747 | 329.0907 | 2.9373 | 332.7013 | 2.93 | 330.774 | 17.0533 | 882 | 81.0867 | 1.038
2020-04-15 23:45:00 | 2.9213 | 343.4067 | 3.0747 | 328.4653 | 3.432 | 335.8507 | 3.578 | 330.1427 | 16.92 | 881 | 83.14 | 2.916