## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-16 00:00:00 | 3.3357 | 347.1357 | 3.5679 | 329.1614 | 3.9607 | 339.4971 | 4.2221 | 330.8436 | 16.4286 | 881 | 84.71 | 5.4179
2020-04-16 00:15:00 | 3.1987 | 283.4267 | 3.3807 | 329.9373 | 3.7673 | 277.192 | 3.9493 | 331.6247 | 16.4533 | 881 | 86.6667 | 4.4707
2020-04-16 00:30:00 | 3.1153 | 261.8 | 3.2833 | 335.4927 | 3.67 | 256.04 | 3.8327 | 337.2087 | 16.7533 | 881 | 87.3733 | 3.67
2020-04-16 00:45:00 | 2.934 | 72.5933 | 3.0807 | 333.7653 | 3.474 | 70.9973 | 3.5973 | 335.472 | 16.7933 | 881 | 86.5667 | 2.6827
2020-04-16 01:00:00 | 2.7173 | 123.5 | 2.844 | 331.0847 | 3.2913 | 120.784 | 3.3673 | 332.7773 | 16.8067 | 881 | 86.16 | 2.3353
2020-04-16 01:15:00 | 3.0613 | 234.0067 | 3.2007 | 322.564 | 3.726 | 228.8593 | 3.8007 | 324.2127 | 16.5467 | 881 | 86.4733 | 3.8287
2020-04-16 01:30:00 | 3.398 | 300.1 | 3.566 | 316.0047 | 4.16 | 293.342 | 4.256 | 317.6207 | 16.18 | 881 | 87.5133 | 5.6287
2020-04-16 01:45:00 | 3.9047 | 302.9467 | 4.1547 | 321.6967 | 4.8527 | 296.282 | 5.0533 | 323.3433 | 15.5667 | 881 | 89.58 | 9.7747
2020-04-16 02:00:00 | 4.4033 | 345.54 | 4.7367 | 322.1133 | 5.4413 | 337.938 | 5.772 | 323.7613 | 15.3667 | 881 | 91.26 | 15.046
2020-04-16 02:15:00 | 4.4293 | 345.0133 | 4.7827 | 315.424 | 5.5213 | 337.2213 | 5.874 | 317.0373 | 15.4133 | 880 | 91.9533 | 16.4767
2020-04-16 02:30:00 | 4.136 | 350.2867 | 4.5167 | 323.0587 | 5.0787 | 342.58 | 5.5293 | 324.712 | 15.5067 | 880 | 91.54 | 12.5053
2020-04-16 02:45:00 | 4.4573 | 351.6333 | 4.8433 | 326.112 | 5.412 | 343.8067 | 5.87 | 327.778 | 15.78 | 880 | 92.1867 | 15.2233
2020-04-16 03:00:00 | 4.9587 | 349.0933 | 5.3753 | 321.0527 | 5.928 | 340.9967 | 6.442 | 322.694 | 15.14 | 880 | 93.0733 | 21.99
2020-04-16 03:15:00 | 5.1653 | 349.3067 | 5.5747 | 323.138 | 6.0927 | 341.6213 | 6.6007 | 324.79 | 14.7133 | 880 | 92.64 | 23.4027
2020-04-16 03:30:00 | 5.8153 | 327.4133 | 6.244 | 327.7993 | 6.7333 | 320.21 | 7.2813 | 329.4767 | 14.72 | 880 | 92.3267 | 32.4507
2020-04-16 03:45:00 | 6.512 | 347.1533 | 6.9473 | 329.3967 | 7.4113 | 339.516 | 7.98 | 331.0807 | 14.2867 | 879.6667 | 93.7733 | 40.826
2020-04-16 04:00:00 | 6.6536 | 351.15 | 7.1264 | 333.4564 | 7.5786 | 343.5079 | 8.2143 | 335.1614 | 14.3857 | 879 | 93.9286 | 40.574
2020-04-16 04:15:00 | 6.504 | 352.9333 | 6.9527 | 332.462 | 7.3553 | 345.1693 | 7.96 | 334.1613 | 14.4867 | 879 | 94.06 | 39.6207
2020-04-16 04:30:00 | 6.2567 | 353.6 | 6.7153 | 327.2247 | 7.146 | 345.82 | 7.762 | 328.898 | 14.3133 | 879 | 94.0067 | 37.0987
2020-04-16 04:45:00 | 6.5847 | 353.78 | 7.0653 | 328.264 | 7.5413 | 345.812 | 8.1713 | 329.94 | 14.06 | 879 | 93.72 | 39.374
2020-04-16 05:00:00 | 6.4833 | 349.3533 | 6.9713 | 327.3773 | 7.3713 | 341.6673 | 8.0413 | 329.05 | 14.4867 | 879 | 92.92 | 39.3427
2020-04-16 05:15:00 | 5.922 | 329.9867 | 6.3593 | 323.5213 | 6.7453 | 322.7267 | 7.334 | 325.1753 | 14.5 | 879 | 93.0333 | 35.2307
2020-04-16 05:30:00 | 6.104 | 283.74 | 6.564 | 321.202 | 7.056 | 277.2433 | 7.6547 | 322.718 | 14.3133 | 879 | 93.68 | 35.352
2020-04-16 05:45:00 | 6.4133 | 353.0133 | 6.9 | 320.3073 | 7.5013 | 345.6707 | 8.1093 | 321.9467 | 14.4667 | 879 | 94.1133 | 36.1787
2020-04-16 06:00:00 | 6.4833 | 348.7933 | 6.9913 | 324.924 | 7.576 | 341.1187 | 8.222 | 326.5853 | 14.6867 | 879.6667 | 95 | 36.7407
2020-04-16 06:15:00 | 6.0107 | 353.16 | 6.4713 | 324.7813 | 7.0427 | 345.5813 | 7.6113 | 326.4407 | 14.5467 | 880 | 95.52 | 34.9533
2020-04-16 06:30:00 | 5.9853 | 352.9 | 6.3833 | 324.468 | 6.9893 | 345.514 | 7.456 | 326.2573 | 14.7733 | 880 | 96.3467 | 35.484
2020-04-16 06:45:00 | 6.4993 | 349.9533 | 6.9533 | 324.7353 | 7.4667 | 342.1113 | 8.048 | 326.3953 | 14.6133 | 880 | 96.4933 | 37.5387
2020-04-16 07:00:00 | 7.0727 | 348.3667 | 7.564 | 326.6773 | 7.9913 | 340.702 | 8.6593 | 328.348 | 14.6267 | 880 | 95.36 | 43.2073
2020-04-16 07:15:00 | 7.2687 | 348.44 | 7.7747 | 327.1927 | 8.2227 | 340.7733 | 8.9053 | 328.8653 | 14.8933 | 880.3333 | 95.6733 | 46.7127
2020-04-16 07:30:00 | 7.18 | 348.8 | 7.702 | 327.278 | 8.122 | 341.1273 | 8.836 | 328.9507 | 15.04 | 881 | 94.3667 | 46.7893
2020-04-16 07:45:00 | 7.162 | 353.8933 | 7.636 | 330.316 | 8.066 | 346.1073 | 8.7007 | 332.006 | 15.1133 | 881 | 92.8 | 46.3467
2020-04-16 08:00:00 | 7.314 | 303.8 | 7.7813 | 333.0933 | 8.2013 | 297.1167 | 8.8293 | 334.796 | 14.96 | 881.6667 | 91.12 | 45.7673
2020-04-16 08:15:00 | 6.864 | 327.5733 | 7.29 | 327.5773 | 7.6633 | 320.366 | 8.236 | 329.2533 | 15.04 | 882 | 89.9733 | 44.3787
2020-04-16 08:30:00 | 6.514 | 327.02 | 6.9647 | 325.7853 | 7.3653 | 319.826 | 7.9747 | 327.452 | 15.44 | 882 | 88.42 | 45.0813
2020-04-16 08:45:00 | 6.7067 | 352.12 | 7.1707 | 328.5693 | 7.4833 | 344.3747 | 8.1407 | 330.2493 | 15.86 | 882 | 84.28 | 44.8027
2020-04-16 09:00:00 | 6.7833 | 326.7733 | 7.2767 | 325.204 | 7.6987 | 319.584 | 8.3733 | 326.8667 | 15.9 | 882.6667 | 81.3933 | 44.8173
2020-04-16 09:15:00 | 6.6847 | 350.32 | 7.1507 | 326.326 | 7.574 | 342.6127 | 8.1987 | 327.994 | 16.2133 | 883 | 82.3267 | 44.2033
2020-04-16 09:30:00 | 6.4327 | 341.52 | 6.8427 | 327.0367 | 7.2713 | 334.0053 | 7.8087 | 328.708 | 16.36 | 883 | 81.4267 | 41.4827
2020-04-16 09:45:00 | 6.3273 | 344.0467 | 6.7133 | 328.836 | 7.1147 | 336.4767 | 7.6213 | 330.518 | 16.5067 | 883 | 76.7053 | 42.154
2020-04-16 10:00:00 | 6.3887 | 348.04 | 6.7413 | 330.5053 | 7.29 | 340.384 | 7.7007 | 332.1953 | 16.9267 | 883 | 75.2333 | 43.788
2020-04-16 10:15:00 | 6.6353 | 344.8067 | 7.136 | 331.2033 | 7.2913 | 337.2213 | 8.0513 | 332.896 | 16.8467 | 883 | 76.224 | 44.5193
2020-04-16 10:30:00 | 6.6053 | 324.74 | 7.0653 | 332.3687 | 7.0267 | 317.5967 | 7.78 | 334.068 | 16.9533 | 883 | 75.8587 | 43.646
2020-04-16 10:45:00 | 6.1947 | 351.3467 | 6.604 | 330.6547 | 6.5627 | 343.6173 | 7.234 | 332.3447 | 17.34 | 883 | 74.388 | 36.944
2020-04-16 11:00:00 | 5.99 | 352.3867 | 6.3673 | 330.088 | 6.3447 | 344.6347 | 6.9587 | 331.7747 | 17.8933 | 883.6667 | 73.5327 | 32.2387
2020-04-16 11:15:00 | 5.636 | 327.36 | 5.9793 | 330.818 | 6.1167 | 319.9547 | 6.632 | 332.5087 | 18.12 | 884 | 73.5613 | 30.072
2020-04-16 11:30:00 | 5.858 | 351.0133 | 6.264 | 328.8173 | 6.3787 | 343.2913 | 6.998 | 330.498 | 18.3667 | 884 | 72.224 | 31.8013
2020-04-16 11:45:00 | 6.1447 | 352.28 | 6.5887 | 333.27 | 6.7087 | 344.5293 | 7.3887 | 334.974 | 18.66 | 884 | 71.918 | 33.8373
2020-04-16 12:00:00 | 6.036 | 329.5067 | 6.4933 | 332.6107 | 6.6113 | 322.2587 | 7.312 | 334.3113 | 18.9 | 884 | 70.67 | 33.06
2020-04-16 12:15:00 | 5.9327 | 322.5267 | 6.3827 | 332.5067 | 6.43 | 315.4307 | 7.1407 | 334.2067 | 19.0533 | 884 | 69.288 | 31.462
2020-04-16 12:30:00 | 5.7907 | 344.6933 | 6.2227 | 327.4667 | 6.282 | 337.1627 | 6.9547 | 329.14 | 19.1467 | 884 | 68.7013 | 30.0933
2020-04-16 12:45:00 | 5.5773 | 345.8733 | 6.0187 | 326.45 | 6.0807 | 338.262 | 6.7713 | 328.1193 | 19.0933 | 884 | 68.1607 | 30.8193
2020-04-16 13:00:00 | 5.506 | 346.96 | 5.8813 | 327.656 | 6.0507 | 339.3267 | 6.6073 | 329.3307 | 19.2267 | 883.3333 | 66.6507 | 31.122
2020-04-16 13:15:00 | 5.2613 | 322.16 | 5.6167 | 328.64 | 5.9593 | 315.072 | 6.4307 | 330.3207 | 19.6 | 883 | 65.8173 | 27.2713
2020-04-16 13:30:00 | 5.03 | 190.3067 | 5.3147 | 329.644 | 5.8787 | 186.1187 | 6.174 | 331.3313 | 20.12 | 883 | 63.7913 | 26.4573
2020-04-16 13:45:00 | 5.1027 | 191.46 | 5.476 | 329.932 | 5.8313 | 187.2467 | 6.3307 | 331.6187 | 20.2867 | 883.3333 | 58.6487 | 29.9807
2020-04-16 14:00:00 | 4.6993 | 276.5067 | 5.0313 | 309.1407 | 5.6227 | 270.4227 | 5.9833 | 310.72 | 20.48 | 884 | 60.2873 | 30.0467
2020-04-16 14:15:00 | 5.2453 | 193.92 | 5.6287 | 322.0027 | 6.1947 | 189.654 | 6.648 | 323.6487 | 20.5733 | 883 | 59.36 | 31.58
2020-04-16 14:30:00 | 4.84 | 190.28 | 5.266 | 329.6827 | 5.7987 | 186.0933 | 6.3267 | 331.37 | 20.6 | 883 | 58.0093 | 28.1153
2020-04-16 14:45:00 | 4.9833 | 185.0067 | 5.3487 | 306.78 | 5.918 | 181.2693 | 6.3373 | 307.9793 | 20.7267 | 883 | 58.9333 | 25.658
2020-04-16 15:00:00 | 4.9933 | 318.4133 | 5.3693 | 327.0113 | 5.486 | 311.4073 | 6.056 | 328.6833 | 20.8533 | 883 | 59.668 | 23.81
2020-04-16 15:15:00 | 5.4773 | 322.0267 | 5.9047 | 331.7387 | 6.1053 | 314.9433 | 6.736 | 333.4327 | 21.0867 | 883 | 58.0487 | 31.546
2020-04-16 15:30:00 | 5.6407 | 170.14 | 6.074 | 317.1207 | 6.392 | 166.3967 | 6.9927 | 318.7413 | 21.2667 | 883 | 56.46 | 34.1153
2020-04-16 15:45:00 | 5.5807 | 214.6467 | 6.094 | 301.082 | 6.3747 | 209.9247 | 7.1127 | 302.6193 | 21.42 | 883 | 53.5873 | 36.634
2020-04-16 16:00:00 | 4.9987 | 143.7667 | 5.4453 | 275.6467 | 5.5633 | 140.604 | 6.248 | 277.0553 | 21.6 | 883 | 52.94 | 30.566
2020-04-16 16:15:00 | 4.55 | 325.68 | 4.998 | 225.9967 | 5.0193 | 318.516 | 5.7347 | 227.152 | 21.8333 | 883 | 53.0353 | 26.5933
2020-04-16 16:30:00 | 4.8133 | 302.14 | 5.2393 | 316.962 | 5.276 | 295.4927 | 5.9513 | 318.5827 | 21.9467 | 883 | 52.1167 | 29.8733
2020-04-16 16:45:00 | 5.3927 | 282.4733 | 5.6887 | 143.7153 | 5.8 | 276.258 | 6.246 | 144.45 | 22.0267 | 883 | 50.9767 | 33.1567
2020-04-16 17:00:00 | 5.3527 | 255.4667 | 5.7147 | 160.5027 | 5.8867 | 226.9493 | 6.4267 | 161.3227 | 22.0267 | 883 | 49.926 | 33.2027
2020-04-16 17:15:00 | 5.6053 | 190.5333 | 6.1133 | 209.2207 | 6.6413 | 186.342 | 7.3033 | 210.2893 | 21.94 | 883 | 49.3293 | 38.284
2020-04-16 17:30:00 | 5.5013 | 165.26 | 6.0387 | 231.8307 | 6.528 | 161.6247 | 7.2513 | 233.018 | 21.8933 | 882.3333 | 49.5467 | 36.1027
2020-04-16 17:45:00 | 4.6927 | 193.7 | 5.1547 | 308.226 | 5.6913 | 189.4393 | 6.2767 | 309.802 | 21.74 | 882.6667 | 49.758 | 30.0853
2020-04-16 18:00:00 | 5.1247 | 214.5667 | 5.578 | 295.5253 | 6.2647 | 209.8473 | 6.7907 | 297.0373 | 21.6333 | 882 | 50.992 | 34.9327
2020-04-16 18:15:00 | 5.522 | 54.94 | 6.016 | 255.0753 | 6.2833 | 53.7313 | 6.996 | 256.3807 | 21.7733 | 882 | 50.0653 | 32.1247
2020-04-16 18:30:00 | 5.4733 | 61.4333 | 5.8673 | 318.156 | 6.17 | 60.0807 | 6.716 | 319.7833 | 21.7533 | 882 | 50.28 | 30.9013
2020-04-16 18:45:00 | 5.594 | 80.3267 | 5.988 | 209.6253 | 6.0627 | 78.5593 | 6.6687 | 210.694 | 21.8 | 882 | 51.5367 | 34.064
2020-04-16 19:00:00 | 5.4773 | 150.2267 | 5.802 | 253.0287 | 6.0747 | 146.9207 | 6.5213 | 254.3207 | 21.84 | 882 | 51.2267 | 32.0807
2020-04-16 19:15:00 | 5.418 | 258.5867 | 5.7873 | 332.8207 | 6.2267 | 252.898 | 6.6927 | 334.5207 | 21.6933 | 882 | 51.7993 | 31.772
2020-04-16 19:30:00 | 5.2393 | 326.76 | 5.6 | 334.2087 | 5.8433 | 319.5707 | 6.352 | 335.9173 | 21.5867 | 882.6667 | 52.562 | 30.7787
2020-04-16 19:45:00 | 5.8133 | 347.4333 | 6.1867 | 315.4293 | 6.32 | 339.7893 | 6.8827 | 317.0433 | 21.62 | 883 | 54.2107 | 37.2107
2020-04-16 20:00:00 | 6.0073 | 257.86 | 6.2967 | 334.56 | 6.54 | 252.1867 | 6.9387 | 336.2713 | 21.5933 | 883 | 55.458 | 40.4233
2020-04-16 20:15:00 | 6.642 | 324.9267 | 7.004 | 296.2027 | 7.2847 | 317.78 | 7.7867 | 297.7167 | 21.66 | 883 | 55.7613 | 44.7153
2020-04-16 20:30:00 | 6.9847 | 211.7467 | 7.5107 | 313.9693 | 8.1207 | 229.634 | 8.7933 | 315.5753 | 21.4067 | 883 | 56.2187 | 44.0667
2020-04-16 20:45:00 | 6.802 | 278.7867 | 7.2153 | 295.3873 | 7.5767 | 272.6533 | 8.1393 | 296.8987 | 21.26 | 883 | 55.2067 | 46.246
2020-04-16 21:00:00 | 7.274 | 298.7467 | 7.7173 | 314.974 | 8.056 | 292.1747 | 8.67 | 316.5853 | 21.3133 | 883 | 54.3713 | 48.288
2020-04-16 21:15:00 | 7.384 | 233.9133 | 7.8547 | 317.2173 | 8.398 | 228.7687 | 8.996 | 318.8393 | 21.2267 | 883.3333 | 54.9013 | 51.2767
2020-04-16 21:30:00 | 7.578 | 185.6333 | 8.1067 | 341.1793 | 8.6673 | 181.5507 | 9.354 | 342.9227 | 21.1333 | 884 | 55.928 | 51.2093
2020-04-16 21:45:00 | 7.3987 | 258.8733 | 7.9773 | 312.2107 | 8.6513 | 253.1787 | 9.384 | 313.806 | 20.8467 | 884 | 55.762 | 49.5807
2020-04-16 22:00:00 | 7.054 | 303.76 | 7.5553 | 332.696 | 8.11 | 297.078 | 8.76 | 334.3973 | 20.6067 | 884 | 56.3253 | 50.004
2020-04-16 22:15:00 | 7.088 | 324.9467 | 7.6407 | 331.51 | 8.2187 | 317.7973 | 8.9387 | 333.204 | 20.44 | 884 | 57.95 | 51.012
2020-04-16 22:30:00 | 7.5333 | 256.18 | 8.094 | 330.46 | 8.7353 | 250.544 | 9.446 | 332.1507 | 20.4333 | 884 | 59.3567 | 50.5967
2020-04-16 22:45:00 | 7.0247 | 323.8533 | 7.5727 | 328.888 | 8.1833 | 316.7273 | 8.886 | 330.5687 | 20.2267 | 884 | 59.8547 | 52.0407
2020-04-16 23:00:00 | 7.2567 | 280.18 | 7.8573 | 289.7753 | 8.43 | 274.0167 | 9.232 | 291.256 | 20.1133 | 884.6667 | 60.3567 | 51.7653
2020-04-16 23:15:00 | 7.1407 | 277.2733 | 7.602 | 334.6193 | 8.33 | 271.1727 | 8.86 | 336.3293 | 19.9533 | 885 | 60.4553 | 51.8247
2020-04-16 23:30:00 | 7.1507 | 253.5333 | 7.7027 | 331.998 | 8.2273 | 247.956 | 8.9633 | 333.696 | 19.94 | 885 | 60.2 | 51.9327
2020-04-16 23:45:00 | 7.3333 | 301.96 | 7.886 | 332.338 | 8.522 | 295.3173 | 9.226 | 334.038 | 19.98 | 885 | 60.1773 | 54.7447