## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-17 00:00:00 | 7.3971 | 318.3357 | 7.9664 | 328.88 | 8.6379 | 311.3329 | 9.355 | 330.5629 | 19.9286 | 884.5 | 60.166 | 55.1064
2020-04-17 00:15:00 | 7.9747 | 255.62 | 8.5987 | 325.322 | 9.124 | 249.9973 | 9.976 | 326.986 | 19.7867 | 884 | 58.194 | 55.7253
2020-04-17 00:30:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 00:45:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 01:00:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 01:15:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 01:30:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 01:45:00 | 8.0307 | 278.92 | 8.5933 | 332.1487 | 9.2733 | 272.7833 | 9.9767 | 333.8467 | 19.88 | 884 | 58.3167 | 56.872
2020-04-17 02:00:00 | 8.3993 | 324.1933 | 8.952 | 312.94 | 9.7407 | 317.0607 | 10.4013 | 314.5407 | 19.14 | 883.3333 | 52.5933 | 59.6773
2020-04-17 02:15:00 | 8.3993 | 324.1933 | 8.952 | 312.94 | 9.7407 | 317.0607 | 10.4013 | 314.5407 | 19.14 | 883.3333 | 52.5933 | 59.6773
2020-04-17 02:30:00 | 8.3993 | 324.1933 | 8.952 | 312.94 | 9.7407 | 317.0607 | 10.4013 | 314.5407 | 19.14 | 883.3333 | 52.5933 | 59.6773
2020-04-17 02:45:00 | 8.3993 | 324.1933 | 8.952 | 312.94 | 9.7407 | 317.0607 | 10.4013 | 314.5407 | 19.14 | 883.3333 | 52.5933 | 59.6773
2020-04-17 03:00:00 | 8.628 | 257.84 | 9.1813 | 338.7527 | 9.8093 | 252.168 | 10.5187 | 340.4833 | 19.1 | 884 | 53.0647 | 59.4147
2020-04-17 03:15:00 | 8.548 | 278.5267 | 9.1147 | 294.5807 | 9.744 | 272.3993 | 10.4713 | 296.0867 | 18.98 | 884 | 52.8827 | 58.776
2020-04-17 03:30:00 | 8.712 | 282.0067 | 9.234 | 317.974 | 9.7767 | 275.8013 | 10.454 | 319.6 | 18.9467 | 884 | 51.3407 | 58.596
2020-04-17 03:45:00 | 8.0593 | 145.98 | 8.6173 | 291.9333 | 9.3 | 142.77 | 9.9967 | 293.426 | 18.82 | 884 | 50.2673 | 58.9613
2020-04-17 04:00:00 | 8.34 | 258.2067 | 8.924 | 314.5647 | 9.5527 | 252.5267 | 10.3127 | 316.1727 | 18.7733 | 884 | 50.0113 | 59.04
2020-04-17 04:15:00 | 8.552 | 190.1667 | 9.184 | 274.1853 | 9.8993 | 185.982 | 10.7033 | 275.5867 | 18.68 | 884 | 49.1833 | 59.034
2020-04-17 04:30:00 | 8.492 | 123.7 | 9.156 | 225.6433 | 9.816 | 120.978 | 10.69 | 226.796 | 18.4533 | 884 | 48.5573 | 59.006
2020-04-17 04:45:00 | 8.154 | 167.6067 | 8.7347 | 295.6287 | 9.4933 | 163.92 | 10.21 | 297.1413 | 18.36 | 884 | 47.9967 | 59.604
2020-04-17 05:00:00 | 8.7107 | 187.4133 | 9.264 | 314.2447 | 10.0093 | 183.2907 | 10.6787 | 315.8507 | 18.24 | 884 | 47.2227 | 59.878
2020-04-17 05:15:00 | 8.7613 | 105.3667 | 9.4293 | 274.8307 | 10.2113 | 103.05 | 11.0607 | 276.2353 | 18.1467 | 884 | 45.2653 | 59.4533
2020-04-17 05:30:00 | 8.4473 | 211.2667 | 9.058 | 296.092 | 9.7627 | 206.618 | 10.5433 | 297.6053 | 17.9933 | 884 | 43.1013 | 58.1793
2020-04-17 05:45:00 | 8.2353 | 191.68 | 8.6913 | 309.9213 | 9.382 | 187.462 | 9.9167 | 311.5067 | 17.94 | 884 | 43.154 | 59.842
2020-04-17 06:00:00 | 8.6827 | 300.0333 | 9.2973 | 290.16 | 10.138 | 293.432 | 10.882 | 291.644 | 17.7467 | 884 | 42.926 | 58.1867
2020-04-17 06:15:00 | 8.478 | 277.3867 | 8.9833 | 312.934 | 9.862 | 292.336 | 10.408 | 314.534 | 17.5333 | 884 | 42.4907 | 60.6
2020-04-17 06:30:00 | 8.4193 | 253.1467 | 9.004 | 288.002 | 9.822 | 247.5773 | 10.5267 | 289.4747 | 17.2667 | 884 | 43.0293 | 61.888
2020-04-17 06:45:00 | 8.924 | 279.48 | 9.5407 | 330.7327 | 10.3073 | 273.332 | 11.076 | 332.424 | 17.1 | 884 | 44.4347 | 60.8933
2020-04-17 07:00:00 | 8.2193 | 281.58 | 8.8073 | 285.4267 | 9.3953 | 275.384 | 10.1713 | 286.886 | 16.9 | 884 | 45.8353 | 61.2593
2020-04-17 07:15:00 | 8.9353 | 318.56 | 9.5653 | 302.2727 | 10.2653 | 311.5513 | 11.0773 | 303.8187 | 16.74 | 884 | 47.254 | 61.188
2020-04-17 07:30:00 | 8.596 | 324.76 | 9.29 | 331.002 | 10.136 | 317.6153 | 11.0047 | 332.6947 | 16.5467 | 884 | 49.5227 | 61.462
2020-04-17 07:45:00 | 8.7647 | 252.64 | 9.3547 | 327.7787 | 10.1527 | 247.082 | 10.8693 | 329.454 | 16.3867 | 884 | 50.8227 | 61.4133
2020-04-17 08:00:00 | 8.444 | 298.7267 | 9.0153 | 326.9587 | 9.5553 | 292.154 | 10.3187 | 328.63 | 16.2933 | 884.6667 | 51.9833 | 61.02
2020-04-17 08:15:00 | 8.4307 | 341.3533 | 8.926 | 324.682 | 9.4607 | 333.8447 | 10.1 | 326.3433 | 16.2067 | 885 | 52.6173 | 60.0787
2020-04-17 08:30:00 | 8.278 | 345.1533 | 8.8367 | 321.6387 | 9.438 | 337.5607 | 10.1627 | 323.282 | 16.0667 | 885 | 54.0427 | 59.7767
2020-04-17 08:45:00 | 8.3373 | 340.2733 | 8.874 | 322.0953 | 9.2453 | 332.7887 | 10.0053 | 323.742 | 15.6467 | 885 | 55.3707 | 60.1533
2020-04-17 09:00:00 | 8.8293 | 340.72 | 9.3827 | 322.0867 | 9.742 | 333.224 | 10.5273 | 323.736 | 15.36 | 885 | 59.098 | 61.0453
2020-04-17 09:15:00 | 8.5527 | 338.96 | 9.0653 | 324.5207 | 9.2753 | 331.502 | 10.0413 | 326.1793 | 15.2067 | 885 | 61.3647 | 61.2133
2020-04-17 09:30:00 | 7.7147 | 342.7267 | 8.172 | 323.5093 | 8.5767 | 335.186 | 9.1947 | 325.164 | 15.1933 | 885 | 59.8207 | 59.3133
2020-04-17 09:45:00 | 7.56 | 341.6067 | 8.086 | 329.8467 | 8.7213 | 334.09 | 9.3813 | 331.534 | 15.3333 | 886 | 59.756 | 58.6487
2020-04-17 10:00:00 | 7.2 | 321.8267 | 7.764 | 287.4667 | 8.4573 | 314.746 | 9.1633 | 288.936 | 15.3467 | 886 | 59.242 | 56.116
2020-04-17 10:15:00 | 6.9573 | 280.1667 | 7.472 | 314.2113 | 7.8467 | 274.002 | 8.5627 | 315.8173 | 15.3867 | 886 | 59.418 | 53.8587
2020-04-17 10:30:00 | 6.9273 | 255.8533 | 7.4367 | 330.2373 | 7.966 | 250.2253 | 8.6307 | 331.926 | 15.4067 | 886 | 59.22 | 54.216
2020-04-17 10:45:00 | 7.06 | 351.0667 | 7.534 | 307.1107 | 7.9293 | 343.3433 | 8.5767 | 308.6827 | 15.42 | 886 | 59.5013 | 55.4747
2020-04-17 11:00:00 | 6.946 | 229.1733 | 7.4933 | 310.4493 | 7.9727 | 224.132 | 8.712 | 312.0373 | 15.5133 | 886 | 59.1207 | 53.7787
2020-04-17 11:15:00 | 7.1427 | 277.6733 | 7.56 | 309.23 | 7.946 | 271.5647 | 8.5067 | 310.8107 | 15.4933 | 886 | 58.4327 | 52.8347
2020-04-17 11:30:00 | 7.3293 | 346.2 | 7.914 | 312.9807 | 8.3953 | 338.5827 | 9.196 | 314.5793 | 15.5667 | 886 | 59.1773 | 54.3793
2020-04-17 11:45:00 | 7.1613 | 257.0667 | 7.662 | 273.37 | 8.1467 | 251.4107 | 8.8167 | 274.7687 | 15.5467 | 886 | 57.026 | 53.2713
2020-04-17 12:00:00 | 6.6493 | 297.7867 | 7.1167 | 333.8113 | 7.738 | 291.2353 | 8.3107 | 335.5173 | 15.6467 | 886 | 57.3567 | 51.84
2020-04-17 12:15:00 | 6.724 | 165.1533 | 7.196 | 336.5093 | 7.5693 | 161.318 | 8.2253 | 338.23 | 15.6333 | 886 | 57.068 | 51.2947
2020-04-17 12:30:00 | 6.8727 | 326.32 | 7.3887 | 246.9327 | 7.86 | 319.1407 | 8.55 | 248.194 | 15.56 | 886 | 57.248 | 53.2393
2020-04-17 12:45:00 | 7.0773 | 234.68 | 7.624 | 277.6393 | 8.0407 | 229.5153 | 8.794 | 279.0607 | 15.3467 | 886 | 58.1633 | 52.9567
2020-04-17 13:00:00 | 6.8393 | 238.5867 | 7.4393 | 291.4053 | 7.926 | 233.3373 | 8.7453 | 292.8947 | 15.3067 | 886 | 58.9347 | 52.848
2020-04-17 13:15:00 | 6.602 | 237.2933 | 7.128 | 292.22 | 7.5387 | 232.0727 | 8.2587 | 293.7133 | 15.3333 | 886 | 59.216 | 53.6227
2020-04-17 13:30:00 | 6.41 | 214.3133 | 6.886 | 293.55 | 7.278 | 209.5987 | 7.928 | 295.0507 | 15.3333 | 886 | 59.196 | 51.2793
2020-04-17 13:45:00 | 6.4153 | 283.0533 | 6.9567 | 313.6313 | 7.3547 | 276.826 | 8.1127 | 315.234 | 15.2867 | 885 | 59.406 | 50.438
2020-04-17 14:00:00 | 6.3467 | 169.28 | 6.8107 | 314.2773 | 7.2007 | 165.5553 | 7.8347 | 315.884 | 15.2067 | 885 | 59.3107 | 50.5833
2020-04-17 14:15:00 | 6.3647 | 279.9933 | 6.8573 | 291.0993 | 7.1753 | 273.8333 | 7.8793 | 292.5853 | 15.1333 | 885 | 59.718 | 50.6747
2020-04-17 14:30:00 | 6.5433 | 166.1867 | 6.9213 | 290.2113 | 7.2253 | 162.53 | 7.744 | 291.696 | 15 | 885 | 60.95 | 52.0447
2020-04-17 14:45:00 | 6.7787 | 164.7 | 7.2 | 266.8907 | 7.3753 | 161.076 | 8.0047 | 268.2533 | 14.8133 | 884.6667 | 61.352 | 51.7187
2020-04-17 15:00:00 | 6.364 | 169.1267 | 6.78 | 339.0207 | 7.2093 | 165.4053 | 7.752 | 340.754 | 14.8467 | 884 | 60.8607 | 49.688
2020-04-17 15:15:00 | 6.4673 | 142.5133 | 6.9227 | 292.0367 | 7.2627 | 139.3787 | 7.8987 | 293.5313 | 14.6867 | 884 | 60.0553 | 48.2767
2020-04-17 15:30:00 | 6.6873 | 167.3933 | 7.1573 | 272.19 | 7.604 | 163.7113 | 8.2327 | 273.582 | 14.52 | 884 | 60.982 | 50.766
2020-04-17 15:45:00 | 6.8773 | 280.3133 | 7.448 | 245.048 | 7.9453 | 274.1453 | 8.718 | 246.3013 | 14.4467 | 884 | 61.6413 | 50.8673
2020-04-17 16:00:00 | 6.834 | 209.6533 | 7.2373 | 271.6553 | 7.6853 | 205.0407 | 8.206 | 273.046 | 14.32 | 883.3333 | 61.6213 | 52.86
2020-04-17 16:15:00 | 6.6867 | 216.3533 | 7.224 | 249.788 | 7.6227 | 211.5947 | 8.3727 | 251.0633 | 14.14 | 884 | 62.642 | 52.784
2020-04-17 16:30:00 | 1.3587 | 0 | 1.4327 | 0 | 3.818 | 0 | 3.244 | 0 | 0 | 883.3333 | 64.51 | 52.0473
2020-04-17 16:45:00 | 1.3107 | 0 | 1.382 | 0 | 3.6827 | 0 | 3.1293 | 0 | 0 | 883 | 64.5653 | 50.422
2020-04-17 17:00:00 | 1.4813 | 0 | 1.5633 | 0 | 4.166 | 0 | 3.5387 | 0 | 0 | 883 | 65.2167 | 50.8553
2020-04-17 17:15:00 | 4.374 | 120.8533 | 4.672 | 156.2847 | 6.0427 | 118.1933 | 6.124 | 157.084 | 7.26 | 883 | 65.772 | 51.67
2020-04-17 17:30:00 | 7.25 | 257.5133 | 7.7747 | 293.0867 | 8.1627 | 251.848 | 8.896 | 294.586 | 13.6 | 883 | 66.066 | 57.3647
2020-04-17 17:45:00 | 7.668 | 231.9333 | 8.1213 | 292.8667 | 8.312 | 226.83 | 8.9887 | 294.3627 | 13.5133 | 882.6667 | 66.344 | 58.8613
2020-04-17 18:00:00 | 7.5973 | 280.9933 | 8.0467 | 268.4473 | 8.4333 | 274.8113 | 9.0433 | 269.8207 | 13.4 | 882 | 66.7953 | 58.782
2020-04-17 18:15:00 | 7.6353 | 233.5533 | 8.1053 | 294.1493 | 8.2833 | 228.416 | 8.9933 | 295.6547 | 13.2467 | 882 | 67.7713 | 59.2373
2020-04-17 18:30:00 | 7.7773 | 255.1333 | 8.3267 | 292.0507 | 8.6233 | 249.52 | 9.4193 | 293.5433 | 13.04 | 882 | 69.1847 | 58.9573
2020-04-17 18:45:00 | 7.9887 | 259.3333 | 8.4907 | 276.2593 | 8.624 | 253.628 | 9.3947 | 277.67 | 12.9 | 882 | 70.258 | 56.9887
2020-04-17 19:00:00 | 7.026 | 233.1867 | 7.5347 | 292.9767 | 7.8987 | 228.056 | 8.616 | 294.4727 | 12.86 | 882 | 70.9653 | 55.0613
2020-04-17 19:15:00 | 7.208 | 278.1667 | 7.724 | 336.6333 | 8.0693 | 272.0473 | 8.7967 | 338.3547 | 12.7067 | 882 | 71.8393 | 53.006
2020-04-17 19:30:00 | 7.4587 | 341.4267 | 8.0687 | 311.5967 | 8.486 | 333.9147 | 9.3453 | 313.1907 | 12.5467 | 882 | 72.864 | 53.0513
2020-04-17 19:45:00 | 7.5107 | 346.38 | 8.0713 | 333.3027 | 8.4813 | 338.7593 | 9.2593 | 335.0067 | 12.42 | 882.3333 | 73.1747 | 53.3733
2020-04-17 20:00:00 | 7.6813 | 281 | 8.238 | 292.1873 | 8.7093 | 274.8173 | 9.466 | 293.6807 | 12.2667 | 882.3333 | 73.77 | 54.0187
2020-04-17 20:15:00 | 7.3667 | 256.5 | 7.8873 | 327.16 | 8.322 | 228.9753 | 9.046 | 328.834 | 12.1533 | 882 | 74.336 | 53.8393
2020-04-17 20:30:00 | 7.1667 | 300.22 | 7.6933 | 334.4813 | 8.2867 | 293.616 | 8.9633 | 336.1913 | 12.1067 | 882.6667 | 75.0947 | 53.0253
2020-04-17 20:45:00 | 7.2553 | 275.1067 | 7.8113 | 335.3433 | 8.3567 | 269.0553 | 9.0873 | 337.0573 | 11.9 | 883 | 76.4147 | 53.516
2020-04-17 21:00:00 | 7.286 | 255.6667 | 7.8773 | 308.7347 | 8.4773 | 250.0413 | 9.2633 | 310.3147 | 11.6733 | 883 | 77.9413 | 53.4487
2020-04-17 21:15:00 | 7.33 | 296.7667 | 7.85 | 304.4247 | 8.4667 | 290.2373 | 9.122 | 305.9813 | 11.6133 | 883 | 79.0393 | 52.5793
2020-04-17 21:30:00 | 7.2013 | 321.1867 | 7.73 | 329.4627 | 8.2247 | 314.1207 | 8.9267 | 331.1473 | 11.6733 | 883 | 79.322 | 51.252
2020-04-17 21:45:00 | 6.646 | 294.6067 | 7.0867 | 322.4453 | 7.5453 | 288.124 | 8.1187 | 324.0947 | 11.68 | 883.3333 | 79.4533 | 46.5887
2020-04-17 22:00:00 | 6.8347 | 298.2067 | 7.288 | 330.9613 | 7.682 | 291.6473 | 8.2953 | 332.654 | 11.6133 | 884 | 79.572 | 50.0507
2020-04-17 22:15:00 | 6.5773 | 342.0467 | 7.0533 | 310.8153 | 7.3733 | 334.5227 | 8.046 | 312.4033 | 11.5 | 884 | 80.124 | 47.5647
2020-04-17 22:30:00 | 6.9367 | 299.7067 | 7.4493 | 309.8493 | 7.7047 | 293.1127 | 8.46 | 311.434 | 11.3733 | 884 | 80.76 | 50.0747
2020-04-17 22:45:00 | 7.2327 | 319.86 | 7.7113 | 327.1533 | 8.0907 | 312.8233 | 8.746 | 328.8267 | 11.26 | 883 | 81.3267 | 53.562
2020-04-17 23:00:00 | 7.192 | 320.34 | 7.6613 | 327.4413 | 8.0287 | 313.2933 | 8.678 | 329.1147 | 11.0933 | 883 | 82.16 | 53.194
2020-04-17 23:15:00 | 6.9913 | 342.5467 | 7.5433 | 307.692 | 7.93 | 335.0107 | 8.708 | 309.266 | 11.02 | 883 | 82.6933 | 50.4253
2020-04-17 23:30:00 | 7.1507 | 337.8733 | 7.5867 | 324.3433 | 7.8313 | 330.4413 | 8.458 | 326.0027 | 10.9533 | 883 | 83.04 | 45.3127
2020-04-17 23:45:00 | 6.8653 | 336.6133 | 7.4067 | 325.4333 | 7.5113 | 329.2067 | 8.3527 | 327.0967 | 10.8333 | 883 | 83.56 | 44.316