## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-18 00:00:00 | 6.8464 | 316.3143 | 7.3243 | 329.9707 | 7.6714 | 309.3571 | 8.3393 | 331.6564 | 10.7214 | 883 | 84.2929 | 43.7886
2020-04-18 00:15:00 | 6.6773 | 339.1133 | 7.068 | 318.1033 | 7.3353 | 331.914 | 7.906 | 319.7313 | 10.38 | 882.6667 | 86 | 43.5067
2020-04-18 00:30:00 | 6.32 | 337.3 | 6.7993 | 318.1767 | 7.0753 | 329.8787 | 7.7647 | 319.802 | 10.1867 | 882.6667 | 88.0867 | 43.5907
2020-04-18 00:45:00 | 6.5907 | 336.48 | 7.052 | 321.0513 | 7.3287 | 329.0767 | 7.9893 | 322.6933 | 9.94 | 883 | 91.3733 | 42.9053
2020-04-18 01:00:00 | 6.618 | 339.1 | 7.0633 | 320.0667 | 7.3687 | 331.6393 | 7.9947 | 321.704 | 9.6133 | 883 | 95.3667 | 42.9713
2020-04-18 01:15:00 | 6.582 | 334.82 | 7.0527 | 322.2313 | 7.372 | 327.454 | 8.034 | 323.878 | 9.4067 | 882 | 97.5067 | 42.8793
2020-04-18 01:30:00 | 7.0327 | 337.24 | 7.5333 | 323.182 | 7.7573 | 329.8193 | 8.4967 | 324.8353 | 9.3 | 882 | 98.6133 | 45.484
2020-04-18 01:45:00 | 7.358 | 337.0133 | 7.8673 | 324.6507 | 8.138 | 329.5987 | 8.8727 | 326.31 | 9.22 | 882 | 99.1667 | 48.4727
2020-04-18 02:00:00 | 7.2947 | 344.68 | 7.7887 | 322.4593 | 8.1753 | 337.0967 | 8.8573 | 324.1087 | 9.1533 | 882 | 99.6867 | 49.5947
2020-04-18 02:15:00 | 7.4453 | 274.1333 | 7.9133 | 323.542 | 8.296 | 268.102 | 8.9367 | 325.1953 | 9.1 | 882 | 99.9333 | 51.1213
2020-04-18 02:30:00 | 7.9013 | 343.7267 | 8.386 | 324.67 | 8.7933 | 336.1633 | 9.4447 | 326.33 | 9.06 | 881.3333 | 100 | 53.5433
2020-04-18 02:45:00 | 8.44 | 343.9267 | 8.9747 | 325.2233 | 9.184 | 336.3613 | 9.9833 | 326.8873 | 9.0133 | 881 | 100 | 55.3827
2020-04-18 03:00:00 | 8.3913 | 340.28 | 8.9267 | 325.1 | 9.2287 | 332.794 | 10.0007 | 326.7627 | 8.96 | 881 | 100 | 56.0693
2020-04-18 03:15:00 | 8.1713 | 341.24 | 8.7673 | 322.244 | 8.84 | 333.732 | 9.7733 | 323.8913 | 8.94 | 881 | 100 | 53.738
2020-04-18 03:30:00 | 8.2273 | 338.44 | 8.8 | 323.6727 | 8.9093 | 330.994 | 9.7987 | 325.3273 | 8.8867 | 881.6667 | 100 | 54.6747
2020-04-18 03:45:00 | 8.4367 | 340.2267 | 8.9793 | 324.846 | 9.1347 | 332.742 | 9.9653 | 326.506 | 8.82 | 881.6667 | 100 | 55.1647
2020-04-18 04:00:00 | 8.6327 | 299.4 | 9.1727 | 325.6733 | 9.328 | 292.8127 | 10.1573 | 327.3387 | 8.7933 | 881.6667 | 100 | 57.4927
2020-04-18 04:15:00 | 8.3153 | 299.3733 | 8.9227 | 324.618 | 9.0253 | 292.788 | 9.9713 | 326.278 | 8.78 | 881 | 100 | 57.0767
2020-04-18 04:30:00 | 8.4753 | 343.56 | 9.1107 | 330.3747 | 9.276 | 336.002 | 10.25 | 332.0647 | 8.7467 | 881 | 100 | 57.3427
2020-04-18 04:45:00 | 8.942 | 342.1467 | 9.604 | 324.552 | 9.9267 | 334.62 | 10.8913 | 326.2107 | 8.7533 | 881 | 100 | 58.2087
2020-04-18 05:00:00 | 8.8647 | 340.86 | 9.464 | 328.8947 | 9.7913 | 333.36 | 10.6607 | 330.5753 | 8.72 | 881 | 100 | 57.6027
2020-04-18 05:15:00 | 8.59 | 319.3667 | 9.196 | 322.7653 | 9.214 | 312.3413 | 10.184 | 324.4153 | 8.6867 | 881 | 100 | 57.1647
2020-04-18 05:30:00 | 9.044 | 338.3133 | 9.736 | 320.6013 | 9.604 | 330.8707 | 10.76 | 322.24 | 8.6733 | 881 | 100 | 57.8807
2020-04-18 05:45:00 | 8.8173 | 340.2667 | 9.484 | 321.7227 | 9.614 | 332.7833 | 10.6453 | 323.3687 | 8.7 | 881 | 100 | 58.268
2020-04-18 06:00:00 | 9.0753 | 319.8867 | 9.68 | 325.6227 | 10.092 | 313.168 | 10.9427 | 327.2867 | 8.7 | 881 | 100 | 59.0573
2020-04-18 06:15:00 | 8.95 | 320.9333 | 9.5607 | 326.5667 | 9.796 | 313.8727 | 10.716 | 328.2373 | 8.7 | 881 | 100 | 60.2073
2020-04-18 06:30:00 | 9.4707 | 342.42 | 10.0613 | 324.9373 | 10.2267 | 334.8853 | 11.1293 | 326.5993 | 8.6467 | 881 | 100 | 60.4347
2020-04-18 06:45:00 | 9.2333 | 339.0933 | 9.8767 | 326.794 | 10.0827 | 331.634 | 11.056 | 328.4673 | 8.64 | 881.3333 | 100 | 59.898
2020-04-18 07:00:00 | 8.9727 | 343.06 | 9.7613 | 324.2 | 9.8647 | 335.5113 | 11.0967 | 325.858 | 8.6533 | 882 | 100 | 60.08
2020-04-18 07:15:00 | 8.9893 | 347.7067 | 9.73 | 310.2353 | 9.9347 | 340.0573 | 11.062 | 311.82 | 8.66 | 882 | 100 | 60.8993
2020-04-18 07:30:00 | 9.242 | 299.5533 | 9.874 | 330.2713 | 9.9533 | 292.9633 | 10.9453 | 331.958 | 8.54 | 881.3333 | 100 | 61.2667
2020-04-18 07:45:00 | 8.9807 | 345.2933 | 9.5667 | 332.8313 | 9.8473 | 337.696 | 10.7113 | 334.534 | 8.5067 | 881 | 100 | 60.3193
2020-04-18 08:00:00 | 8.852 | 345.66 | 9.376 | 328.204 | 9.394 | 337.4353 | 10.2407 | 329.8827 | 8.6133 | 881 | 100 | 59.2747
2020-04-18 08:15:00 | 9.3153 | 322.0667 | 9.8547 | 328.954 | 10.0807 | 314.9813 | 10.904 | 330.6353 | 8.7133 | 881 | 100 | 61.432
2020-04-18 08:30:00 | 9.3913 | 343.5133 | 9.9193 | 326.8213 | 10.1973 | 335.956 | 10.9747 | 328.4933 | 9.2133 | 881 | 100 | 62.1773
2020-04-18 08:45:00 | 9.1093 | 343.8467 | 9.6087 | 326.834 | 9.9107 | 336.2827 | 10.634 | 328.5067 | 9.4333 | 881.3333 | 100 | 62.7187
2020-04-18 09:00:00 | 9.3313 | 276.1467 | 9.8547 | 330.8507 | 10.376 | 270.0713 | 11.0673 | 332.542 | 9.64 | 882 | 100 | 62.538
2020-04-18 09:15:00 | 10.2193 | 282.1667 | 10.7753 | 322.1207 | 11.056 | 275.2593 | 11.886 | 323.768 | 9.9333 | 882 | 100 | 63.2313
2020-04-18 09:30:00 | 10.5133 | 301.9067 | 11.1107 | 324.174 | 11.4007 | 295.2653 | 12.2773 | 325.832 | 10.22 | 882 | 100 | 62.286
2020-04-18 09:45:00 | 9.7713 | 257.46 | 10.2927 | 325.2893 | 10.8713 | 251.7947 | 11.5427 | 326.9513 | 10.2533 | 882 | 99.3133 | 62.0213
2020-04-18 10:00:00 | 8.6613 | 320 | 9.1433 | 328.126 | 9.7133 | 312.96 | 10.3273 | 329.8033 | 10.4133 | 882 | 95.6533 | 60.784
2020-04-18 10:15:00 | 7.768 | 346.3133 | 8.2507 | 328.914 | 8.616 | 338.6947 | 9.288 | 330.5953 | 10.62 | 883 | 94.22 | 59.5187
2020-04-18 10:30:00 | 7.098 | 235.0867 | 7.5167 | 324.806 | 7.974 | 229.9133 | 8.516 | 326.4673 | 10.9133 | 883 | 91.98 | 55.854
2020-04-18 10:45:00 | 7.49 | 303.8267 | 8.0633 | 335.0293 | 8.54 | 297.006 | 9.3147 | 336.7433 | 11.16 | 884 | 90.34 | 57.7447
2020-04-18 11:00:00 | 7.9607 | 236.3933 | 8.5467 | 329.698 | 8.964 | 231.192 | 9.7827 | 331.3827 | 11.36 | 884 | 88.2533 | 57.872
2020-04-18 11:15:00 | 7.7027 | 234.46 | 8.2067 | 328.47 | 8.6187 | 229.3027 | 9.312 | 330.1513 | 11.52 | 884 | 85.2267 | 60.566
2020-04-18 11:30:00 | 8.314 | 231.24 | 8.856 | 330.7013 | 9.256 | 226.1527 | 10.0107 | 332.392 | 11.6333 | 884 | 85.0267 | 60.5647
2020-04-18 11:45:00 | 8.2287 | 324.1467 | 8.6187 | 325.2893 | 9.2413 | 317.0153 | 9.6933 | 326.9527 | 11.9067 | 884 | 85.62 | 59.3107
2020-04-18 12:00:00 | 7.5567 | 301.0467 | 7.9733 | 309.712 | 8.51 | 294.4233 | 9.0233 | 311.2953 | 12.2133 | 884 | 84.0533 | 58.15
2020-04-18 12:15:00 | 8.1513 | 269.92 | 8.3207 | 325.8493 | 9.048 | 263.982 | 9.1173 | 327.516 | 12.5067 | 884 | 80.3227 | 58.5667
2020-04-18 12:30:00 | 7.9627 | 276.5467 | 8.068 | 322.8193 | 8.6873 | 270.464 | 8.682 | 324.4687 | 12.6267 | 884 | 76.502 | 55.8493
2020-04-18 12:45:00 | 7.7693 | 210.3667 | 7.9013 | 325.4127 | 8.6227 | 205.7393 | 8.634 | 327.076 | 12.9 | 884 | 75.5553 | 54.5127
2020-04-18 13:00:00 | 7.7407 | 250.4 | 8.1447 | 306.7987 | 8.808 | 244.8907 | 9.2653 | 308.3667 | 13.2333 | 884 | 72.676 | 57.5473
2020-04-18 13:15:00 | 7.4893 | 276.7733 | 7.9287 | 285.6027 | 8.68 | 270.6847 | 9.174 | 287.0633 | 13.6533 | 884 | 71.0867 | 58.3893
2020-04-18 13:30:00 | 7.7647 | 234.7933 | 8.268 | 292.5727 | 8.6527 | 229.6287 | 9.3487 | 294.0693 | 13.66 | 884 | 69.9673 | 57.6153
2020-04-18 13:45:00 | 8.256 | 257.7133 | 8.7893 | 227.4247 | 9.1847 | 252.0433 | 9.9273 | 228.5867 | 13.9667 | 884 | 67.856 | 57.508
2020-04-18 14:00:00 | 7.8787 | 260.1933 | 8.4587 | 209.52 | 8.7367 | 254.47 | 9.5887 | 210.5907 | 14.44 | 884 | 66.9347 | 56.6373
2020-04-18 14:15:00 | 7.6727 | 233.0933 | 8.2353 | 229.902 | 8.6067 | 227.9647 | 9.4027 | 231.076 | 14.7467 | 884 | 65.9367 | 56.3033
2020-04-18 14:30:00 | 7.6853 | 233.9333 | 8.1553 | 293.622 | 8.4147 | 228.7873 | 9.092 | 295.1233 | 14.7933 | 884 | 64.458 | 59.0713
2020-04-18 14:45:00 | 7.79 | 237.5267 | 8.298 | 229.406 | 8.6973 | 232.3007 | 9.4 | 230.5787 | 15.0333 | 883.6667 | 63.4933 | 58.944
2020-04-18 15:00:00 | 7.898 | 254.5467 | 8.42 | 290.8447 | 8.7753 | 248.6193 | 9.5133 | 292.332 | 14.9533 | 883 | 64.336 | 55.454
2020-04-18 15:15:00 | 8.0467 | 296.1667 | 8.5667 | 287.804 | 9.0567 | 289.5933 | 9.7393 | 289.2753 | 14.9267 | 883 | 63.8247 | 57.002
2020-04-18 15:30:00 | 7.4453 | 272.7733 | 7.9453 | 295.5193 | 8.522 | 266.7727 | 9.154 | 297.0287 | 15.0733 | 883 | 63.7467 | 58.1827
2020-04-18 15:45:00 | 7.1667 | 346.4067 | 7.678 | 337.2407 | 8.2713 | 338.7867 | 8.9213 | 338.964 | 15.0267 | 883 | 62.7487 | 57.164
2020-04-18 16:00:00 | 7.3673 | 299.4267 | 7.908 | 336.1453 | 8.362 | 292.9367 | 9.1027 | 337.8647 | 15.1333 | 883 | 63.144 | 56.2727
2020-04-18 16:15:00 | 7.4133 | 321.8933 | 7.8533 | 290.1593 | 8.4553 | 314.8127 | 8.9927 | 291.6427 | 15.0067 | 883 | 64.2433 | 53.9613
2020-04-18 16:30:00 | 7.6347 | 296.6267 | 8.162 | 286.1627 | 8.9073 | 290.1007 | 9.54 | 287.6253 | 14.8667 | 883 | 65.0367 | 54.874
2020-04-18 16:45:00 | 7.2387 | 298.1333 | 7.838 | 332.5467 | 8.2387 | 291.574 | 9.0873 | 334.2453 | 14.88 | 883 | 66.292 | 52.3827
2020-04-18 17:00:00 | 7.8847 | 342.26 | 8.51 | 271.114 | 8.938 | 334.732 | 9.8207 | 272.502 | 14.7267 | 883 | 67.1173 | 51.82
2020-04-18 17:15:00 | 7.76 | 324.4 | 8.38 | 303.39 | 8.68 | 317.2627 | 9.588 | 304.94 | 14.7533 | 883 | 67.6387 | 49.0613
2020-04-18 17:30:00 | 7.8787 | 323.5133 | 8.5587 | 308.3767 | 9.0387 | 316.396 | 9.9913 | 309.9533 | 14.8533 | 883 | 67.5633 | 51.4613
2020-04-18 17:45:00 | 7.9227 | 341.2333 | 8.5853 | 334.8533 | 9.0707 | 333.726 | 9.9913 | 336.566 | 14.7533 | 883 | 69.0073 | 52.114
2020-04-18 18:00:00 | 7.2707 | 338.5667 | 7.852 | 284.9313 | 8.2213 | 331.1173 | 9.0487 | 286.386 | 14.7067 | 883 | 71.044 | 53.7727
2020-04-18 18:15:00 | 7.184 | 318.3267 | 7.6753 | 323.8373 | 8.048 | 311.3227 | 8.7287 | 325.4907 | 14.62 | 883 | 71.9453 | 52.198
2020-04-18 18:30:00 | 7.228 | 316.52 | 7.6833 | 323.6533 | 7.8227 | 309.5567 | 8.5147 | 325.3087 | 14.3667 | 883 | 73.8933 | 53.9353
2020-04-18 18:45:00 | 6.8567 | 298.9267 | 7.3493 | 310.9193 | 7.6967 | 292.35 | 8.386 | 312.5067 | 14.0467 | 883 | 75.462 | 51.8533
2020-04-18 19:00:00 | 7.348 | 322.4 | 7.844 | 327.4213 | 8.014 | 317.1387 | 8.754 | 329.0953 | 13.9133 | 883 | 77.4147 | 53.6273
2020-04-18 19:15:00 | 7.5313 | 323.8333 | 8.1387 | 333.0147 | 8.5687 | 316.708 | 9.4093 | 334.718 | 13.6867 | 883.6667 | 79.0127 | 50.2387
2020-04-18 19:30:00 | 6.7853 | 344.4 | 7.3993 | 338.1007 | 7.57 | 336.824 | 8.5033 | 339.8287 | 13.3733 | 883.6667 | 79.7407 | 44.3047
2020-04-18 19:45:00 | 6.5613 | 344.22 | 7.13 | 332.8853 | 7.204 | 336.6473 | 8.0947 | 334.5867 | 13.32 | 883 | 79.8373 | 42.614
2020-04-18 20:00:00 | 7.262 | 211.02 | 7.8767 | 315.052 | 7.8253 | 206.378 | 8.824 | 316.6633 | 13.2867 | 883 | 79.4467 | 42.4547
2020-04-18 20:15:00 | 7.5727 | 319.4667 | 8.0153 | 325.3213 | 8.3673 | 312.4387 | 8.9847 | 326.986 | 13.1667 | 882 | 79.1467 | 50.71
2020-04-18 20:30:00 | 7.1833 | 332.0533 | 7.6287 | 328.2893 | 7.7873 | 324.7487 | 8.4587 | 329.9667 | 12.9867 | 882.6667 | 79.2 | 48.3673
2020-04-18 20:45:00 | 7.2713 | 340.32 | 7.7407 | 323.0993 | 7.968 | 332.832 | 8.658 | 324.75 | 12.72 | 883.3333 | 79.9707 | 50.0793
2020-04-18 21:00:00 | 7.4667 | 343.9267 | 7.9073 | 324.65 | 8.1933 | 336.362 | 8.8187 | 326.31 | 12.6 | 884 | 81.2 | 50.8
2020-04-18 21:15:00 | 7.382 | 339.1867 | 7.9153 | 330.6873 | 8.04 | 331.7247 | 8.86 | 332.3773 | 12.44 | 884 | 81.94 | 54.3527
2020-04-18 21:30:00 | 7.8033 | 326.9467 | 8.4473 | 308.4093 | 8.8107 | 319.7553 | 9.74 | 309.9853 | 12.2533 | 884 | 81.8467 | 52.746
2020-04-18 21:45:00 | 7.1953 | 347.4533 | 7.7767 | 333.6673 | 8.0307 | 339.8093 | 8.8947 | 335.3727 | 12.3067 | 884 | 82.9133 | 49.2207
2020-04-18 22:00:00 | 6.3807 | 351.32 | 6.8033 | 330.8113 | 7.006 | 343.5907 | 7.63 | 332.5033 | 12.22 | 884 | 82.6467 | 41.7153
2020-04-18 22:15:00 | 5.4507 | 301.8267 | 5.742 | 314.148 | 6.2507 | 295.2653 | 6.5747 | 315.7527 | 12.1133 | 884 | 83.2133 | 28.7107
2020-04-18 22:30:00 | 5.6733 | 344.7067 | 5.99 | 320.2433 | 6.2533 | 337.1227 | 6.686 | 321.8807 | 11.9733 | 884 | 84.9133 | 32.9847
2020-04-18 22:45:00 | 6.7373 | 345.7467 | 7.1693 | 328.4047 | 7.5607 | 337.462 | 8.1373 | 330.0853 | 11.8067 | 884 | 86.6533 | 48.236
2020-04-18 23:00:00 | 7.9887 | 348.7667 | 8.5953 | 336.2033 | 8.7667 | 341.094 | 9.694 | 337.922 | 11.62 | 884.6667 | 87.5 | 53.7527
2020-04-18 23:15:00 | 8.296 | 281.5867 | 8.928 | 332.664 | 8.9947 | 275.3913 | 9.9953 | 334.3653 | 11.36 | 884.3333 | 88.1467 | 53.7047
2020-04-18 23:30:00 | 8.138 | 347.3667 | 8.6773 | 330.0227 | 9.1187 | 339.7253 | 9.8567 | 331.7113 | 11.2867 | 884.3333 | 89.08 | 57.3767
2020-04-18 23:45:00 | 7.978 | 300.4867 | 8.508 | 329.7673 | 8.7673 | 293.876 | 9.5453 | 331.4547 | 11.2533 | 885 | 89.5333 | 55.054