## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-19 00:00:00 | 7.73 | 342.85 | 8.2386 | 328.5243 | 8.685 | 335.3071 | 9.3729 | 330.2036 | 11.2 | 885 | 89.56 | 55.4329
2020-04-19 00:15:00 | 8.0467 | 346.9133 | 8.5653 | 333.974 | 8.982 | 339.2807 | 9.696 | 335.6807 | 11.1667 | 885 | 89.1267 | 55.4247
2020-04-19 00:30:00 | 8.014 | 300.8533 | 8.5573 | 331.1167 | 8.7913 | 294.234 | 9.598 | 332.8113 | 10.9867 | 885 | 89.0533 | 55.2407
2020-04-19 00:45:00 | 8.0953 | 329.0133 | 8.5787 | 327.102 | 8.7273 | 321.7747 | 9.4547 | 328.7747 | 10.9133 | 885 | 89.7533 | 54.866
2020-04-19 01:00:00 | 8.1173 | 351.3933 | 8.586 | 327.9827 | 8.7507 | 343.1087 | 9.4547 | 329.6587 | 10.9133 | 885 | 89.0333 | 55.6133
2020-04-19 01:15:00 | 7.796 | 347.4533 | 8.2173 | 328.3927 | 8.486 | 339.8107 | 9.086 | 330.0727 | 10.84 | 885 | 89.0067 | 55.17
2020-04-19 01:30:00 | 7.6413 | 298.9333 | 8 | 327.9633 | 8.186 | 292.356 | 8.718 | 329.64 | 10.7867 | 885 | 88.96 | 55.442
2020-04-19 01:45:00 | 7.6 | 320.6267 | 7.9567 | 329.992 | 7.994 | 313.5727 | 8.552 | 331.6773 | 10.7933 | 885 | 89.9533 | 55.362
2020-04-19 02:00:00 | 8.1753 | 348.3867 | 8.608 | 329.9573 | 8.5773 | 340.7213 | 9.2847 | 331.6447 | 10.7533 | 885 | 90.2533 | 57.37
2020-04-19 02:15:00 | 8.854 | 347.2133 | 9.444 | 325.0733 | 9.3047 | 339.574 | 10.2933 | 326.7347 | 10.82 | 885 | 89.5467 | 57.7447
2020-04-19 02:30:00 | 8.6947 | 349.66 | 9.3293 | 324.344 | 9.176 | 341.9673 | 10.2407 | 326.0027 | 10.5667 | 884.3333 | 89.2333 | 57.416
2020-04-19 02:45:00 | 8.3327 | 327.9667 | 9.012 | 331.4187 | 8.962 | 320.7513 | 10.07 | 333.1127 | 10.6267 | 884 | 88.8867 | 56.4127
2020-04-19 03:00:00 | 7.4493 | 324.3667 | 8.006 | 320.296 | 7.7927 | 317.2307 | 8.75 | 321.9327 | 10.4867 | 884 | 88.9933 | 55.2207
2020-04-19 03:15:00 | 7.606 | 327.0933 | 8.0347 | 325.556 | 8.0693 | 319.8973 | 8.7513 | 327.2213 | 10.5 | 884 | 88.8267 | 54.4213
2020-04-19 03:30:00 | 7.5393 | 257.6467 | 7.896 | 326.6127 | 7.9767 | 251.9793 | 8.5287 | 328.2827 | 10.5667 | 884 | 88.8067 | 53.014
2020-04-19 03:45:00 | 7.444 | 343.8867 | 7.756 | 332.9693 | 7.8313 | 336.3213 | 8.314 | 334.6727 | 10.5133 | 884 | 89.64 | 52.6953
2020-04-19 04:00:00 | 6.7533 | 346.3333 | 7.1847 | 328.896 | 7.1173 | 338.7147 | 7.8293 | 330.576 | 10.36 | 884 | 89.28 | 49.584
2020-04-19 04:15:00 | 7.1727 | 349.2 | 7.5713 | 336.056 | 7.504 | 341.5173 | 8.1653 | 337.7727 | 10.4867 | 884 | 89.6733 | 50.9873
2020-04-19 04:30:00 | 7.32 | 330.36 | 7.8207 | 332.35 | 7.6907 | 299.758 | 8.5447 | 334.2453 | 10.58 | 884 | 90.3333 | 49.1433
2020-04-19 04:45:00 | 7.024 | 349.06 | 7.4547 | 328.2607 | 7.0273 | 341.3807 | 7.846 | 329.9413 | 10.56 | 884 | 90.3933 | 46.726
2020-04-19 05:00:00 | 7.1473 | 323.72 | 7.5993 | 331.4513 | 7.3767 | 316.5987 | 8.1687 | 333.1453 | 10.58 | 884 | 90.5933 | 49.8947
2020-04-19 05:15:00 | 7.48 | 281.44 | 7.9487 | 330.2893 | 8.18 | 275.2473 | 8.8733 | 331.978 | 10.52 | 884 | 91.2533 | 52.4593
2020-04-19 05:30:00 | 7.4133 | 271.8067 | 7.76 | 331.6453 | 7.7667 | 265.8267 | 8.3293 | 333.3413 | 10.62 | 884 | 91.5867 | 52.282
2020-04-19 05:45:00 | 7.156 | 232.02 | 7.418 | 329.338 | 7.7647 | 226.9167 | 8.092 | 331.0227 | 10.6267 | 884 | 91.2667 | 51.364
2020-04-19 06:00:00 | 7.44 | 277.0333 | 7.7887 | 331.1173 | 8.1227 | 270.9373 | 8.5907 | 332.8107 | 10.6133 | 884 | 91.8267 | 53.1433
2020-04-19 06:15:00 | 7.2673 | 324.7733 | 7.6553 | 333.42 | 7.968 | 316.7153 | 8.532 | 335.1247 | 10.46 | 884 | 93.0733 | 53.132
2020-04-19 06:30:00 | 6.298 | 320.6133 | 6.6053 | 324.182 | 7.1113 | 313.56 | 7.4573 | 325.8387 | 10.1867 | 884 | 93.2133 | 45.0007
2020-04-19 06:45:00 | 6.08 | 349.3533 | 6.4927 | 326.892 | 6.728 | 341.6667 | 7.324 | 328.5647 | 10.3067 | 884.3333 | 92.9933 | 37.8607
2020-04-19 07:00:00 | 5.53 | 325.9267 | 5.9927 | 320.882 | 6.1133 | 318.7567 | 6.822 | 322.5227 | 10.44 | 885 | 92.6467 | 30.262
2020-04-19 07:15:00 | 6.1293 | 284.1533 | 6.666 | 329.418 | 6.78 | 277.9013 | 7.6107 | 331.1013 | 10.42 | 885 | 91.3867 | 35.522
2020-04-19 07:30:00 | 6.23 | 307.4133 | 6.8153 | 326.6253 | 6.9507 | 300.73 | 7.8507 | 328.2953 | 10.5933 | 885.6667 | 89.68 | 34.9607
2020-04-19 07:45:00 | 6.4753 | 305.22 | 7.0233 | 322.7793 | 7.1933 | 298.5073 | 8.0253 | 324.43 | 10.8933 | 886.3333 | 88.56 | 37.236
2020-04-19 08:00:00 | 6.732 | 348.44 | 7.1913 | 324.2987 | 7.3753 | 340.7733 | 8.058 | 325.9553 | 11.1533 | 887 | 86.28 | 39.512
2020-04-19 08:15:00 | 6.7593 | 320.6533 | 7.1733 | 320.856 | 7.404 | 313.5993 | 8.006 | 322.496 | 11.2267 | 888 | 83.4467 | 42.138
2020-04-19 08:30:00 | 6.994 | 345.9133 | 7.398 | 326.768 | 7.6607 | 338.3027 | 8.234 | 328.4407 | 11.4067 | 888 | 81.8187 | 45.2673
2020-04-19 08:45:00 | 7.0827 | 343.08 | 7.4793 | 324.728 | 7.7827 | 335.532 | 8.3327 | 326.39 | 11.6533 | 888 | 78.9207 | 44.5407
2020-04-19 09:00:00 | 6.7833 | 324.7133 | 7.23 | 325.6087 | 7.486 | 317.57 | 8.1333 | 327.2733 | 12.1467 | 888 | 78.996 | 37.142
2020-04-19 09:15:00 | 6.556 | 345.9 | 6.9633 | 323.966 | 7.27 | 338.29 | 7.834 | 325.6227 | 12.4467 | 888.3333 | 78.384 | 34.4367
2020-04-19 09:30:00 | 6.3827 | 345.8467 | 6.914 | 322.8573 | 7.1187 | 338.2393 | 7.9127 | 324.5093 | 12.74 | 889 | 77.574 | 35.1047
2020-04-19 09:45:00 | 6.1513 | 342.2933 | 6.6687 | 329.456 | 6.7887 | 335.5187 | 7.592 | 331.1393 | 13.0667 | 888 | 72.9407 | 35.024
2020-04-19 10:00:00 | 5.958 | 339.3933 | 6.4053 | 332.9633 | 6.6753 | 331.9273 | 7.316 | 334.6647 | 13.5867 | 888.6667 | 69.4187 | 31.0353
2020-04-19 10:15:00 | 5.288 | 337.74 | 5.6967 | 314.2047 | 5.9927 | 330.3093 | 6.5687 | 315.8127 | 13.8133 | 889 | 65.9547 | 24.758
2020-04-19 10:30:00 | 4.222 | 321.3667 | 4.6753 | 308.03 | 4.978 | 314.296 | 5.6213 | 309.6053 | 14.3933 | 889 | 65.1473 | 15.316
2020-04-19 10:45:00 | 4.2873 | 342.08 | 4.6267 | 312.528 | 4.7233 | 334.5533 | 5.2393 | 314.1267 | 14.8933 | 889 | 64.184 | 11.5207
2020-04-19 11:00:00 | 3.784 | 341.2467 | 4.122 | 331.2027 | 4.2313 | 333.7393 | 4.7433 | 332.896 | 15.5067 | 889 | 63.44 | 8.2933
2020-04-19 11:15:00 | 3.3253 | 334.38 | 3.6173 | 319.6233 | 3.5767 | 327.024 | 4.06 | 321.258 | 16 | 889 | 61.314 | 6.9013
2020-04-19 11:30:00 | 3.7113 | 337.3067 | 4.056 | 325.4773 | 4.0273 | 329.886 | 4.5887 | 327.1427 | 16.3067 | 889 | 61.0993 | 7.7627
2020-04-19 11:45:00 | 3.2327 | 337.74 | 3.5373 | 323.9533 | 3.552 | 330.3093 | 4.0373 | 325.6093 | 16.6467 | 889 | 61.0093 | 5.624
2020-04-19 12:00:00 | 2.7927 | 313.0733 | 3.0173 | 317.2113 | 3.1087 | 306.186 | 3.444 | 318.8333 | 17.4133 | 889 | 60.1587 | 2.952
2020-04-19 12:15:00 | 2.84 | 331.54 | 3.0273 | 313.906 | 3.2287 | 324.2467 | 3.4733 | 315.51 | 17.76 | 889 | 58.5307 | 1.7573
2020-04-19 12:30:00 | 2.5273 | 319.0933 | 2.702 | 275.0393 | 2.8433 | 312.0733 | 3.0813 | 276.4453 | 18.2 | 889 | 57.7607 | 1.798
2020-04-19 12:45:00 | 2.4093 | 288.5133 | 2.4647 | 299.2627 | 2.72 | 282.166 | 2.738 | 300.7927 | 18.5667 | 888 | 56.6747 | 0.858
2020-04-19 13:00:00 | 2.1847 | 290.2733 | 2.3047 | 298.942 | 2.416 | 283.8873 | 2.5727 | 300.47 | 18.96 | 888 | 54.0567 | 0
2020-04-19 13:15:00 | 2.1293 | 284.9067 | 2.1887 | 312.4767 | 2.416 | 278.64 | 2.4487 | 314.0747 | 19.44 | 888 | 55.1533 | 0
2020-04-19 13:30:00 | 1.6033 | 242 | 1.6167 | 252.884 | 1.8807 | 236.6753 | 1.8247 | 254.1787 | 20.1133 | 888 | 53.0767 | 0
2020-04-19 13:45:00 | 1.2213 | 155.12 | 1.2693 | 319.336 | 1.3767 | 151.7067 | 1.4207 | 320.9687 | 20.7333 | 888 | 51.0587 | 0
2020-04-19 14:00:00 | 1.6327 | 163.58 | 1.838 | 152.6467 | 1.7607 | 159.982 | 2.1107 | 153.4273 | 21.0533 | 888 | 49.6193 | 0
2020-04-19 14:15:00 | 1.9147 | 196.44 | 1.9333 | 152.444 | 1.7687 | 192.12 | 1.8513 | 153.224 | 20.06 | 888 | 49.728 | 0
2020-04-19 14:30:00 | 1.7207 | 195.9867 | 1.78 | 144.666 | 1.8487 | 191.6753 | 1.9233 | 145.4053 | 20.0267 | 888 | 50.2633 | 0
2020-04-19 14:45:00 | 1.9073 | 200.2067 | 1.9627 | 139.482 | 2.1213 | 195.8013 | 2.166 | 140.194 | 19.8267 | 887 | 52.384 | 0
2020-04-19 15:00:00 | 1.496 | 199.76 | 1.6547 | 154.1327 | 1.9393 | 195.3647 | 2.1093 | 154.92 | 19.8133 | 887 | 55.3133 | 0
2020-04-19 15:15:00 | 1.8467 | 198.1067 | 1.9887 | 177.5453 | 2.2507 | 193.7487 | 2.402 | 178.4527 | 19.6933 | 887 | 57.93 | 0
2020-04-19 15:30:00 | 1.7527 | 177.6267 | 1.8487 | 155.4367 | 1.8393 | 173.718 | 1.9973 | 156.2327 | 19.5267 | 886.3333 | 58.8967 | 0
2020-04-19 15:45:00 | 1.8673 | 181.3667 | 2.046 | 157.1587 | 2.1933 | 177.376 | 2.4347 | 157.962 | 19.36 | 886 | 59.236 | 0.70933
2020-04-19 16:00:00 | 1.77 | 176.7067 | 1.8847 | 163.104 | 2.0873 | 172.8193 | 2.216 | 163.9387 | 19.24 | 886 | 58.744 | 0.508
2020-04-19 16:15:00 | 1.9593 | 190.34 | 2.04 | 173.276 | 2.2693 | 186.1527 | 2.3333 | 174.1607 | 19.1467 | 885 | 58.264 | 0.40733
2020-04-19 16:30:00 | 1.7533 | 190.1333 | 1.856 | 176.7507 | 2.1547 | 185.9513 | 2.234 | 177.6547 | 19.1733 | 885 | 57.7327 | 0.48733
2020-04-19 16:45:00 | 1.7167 | 171.36 | 1.794 | 153.8587 | 1.9173 | 167.5907 | 2.0093 | 154.646 | 19.1 | 885 | 58.5527 | 0.634
2020-04-19 17:00:00 | 1.8413 | 164.46 | 1.9287 | 159.0347 | 2.062 | 160.8413 | 2.1667 | 159.8487 | 19.0533 | 885 | 59.9467 | 0.63933
2020-04-19 17:15:00 | 1.604 | 165.6067 | 1.632 | 159.6013 | 1.7867 | 161.9627 | 1.786 | 160.4193 | 18.9667 | 885 | 60.8387 | 0.944
2020-04-19 17:30:00 | 1.5187 | 170.4333 | 1.5393 | 149.016 | 1.7893 | 166.6833 | 1.752 | 149.7767 | 18.8267 | 885 | 60.612 | 0.586
2020-04-19 17:45:00 | 1.2807 | 160.38 | 1.336 | 140.9687 | 1.376 | 156.852 | 1.452 | 141.69 | 18.8133 | 885 | 60.752 | 0
2020-04-19 18:00:00 | 1.7267 | 149.8133 | 1.8207 | 137.8707 | 1.898 | 146.5187 | 2.0273 | 138.5753 | 18.6733 | 885 | 60.7647 | 0
2020-04-19 18:15:00 | 1.3033 | 148.1933 | 1.3687 | 158.528 | 1.5427 | 144.932 | 1.5993 | 159.3373 | 18.54 | 885 | 62.576 | 0
2020-04-19 18:30:00 | 0.81 | 161.2133 | 0.818 | 179.788 | 0.93533 | 157.666 | 0.914 | 180.7087 | 18.52 | 885 | 62.3567 | 0
2020-04-19 18:45:00 | 1.31 | 160.0667 | 1.388 | 164.004 | 1.5067 | 156.5447 | 1.596 | 164.8427 | 18.3333 | 885 | 63.2807 | 0
2020-04-19 19:00:00 | 1.4367 | 158.4667 | 1.512 | 151.204 | 1.6873 | 154.9793 | 1.7567 | 151.978 | 18.2 | 885 | 64.9287 | 0
2020-04-19 19:15:00 | 0.76533 | 192.74 | 0.8 | 175.472 | 0.86667 | 188.5 | 0.90467 | 176.3687 | 18.0933 | 885 | 65.4473 | 0
2020-04-19 19:30:00 | 0.59467 | 200.9067 | 0.61333 | 262.1627 | 0.69333 | 196.4873 | 0.70133 | 263.5033 | 17.78 | 885.6667 | 69.8847 | 0
2020-04-19 19:45:00 | 1.0327 | 235.8533 | 1.1273 | 337.4367 | 1.1933 | 230.6647 | 1.3287 | 339.16 | 17.6267 | 886 | 75.2267 | 0
2020-04-19 20:00:00 | 2.066 | 144.7267 | 2.2167 | 143.1013 | 2.376 | 141.5433 | 2.568 | 143.8327 | 17.1933 | 886 | 81.466 | 0
2020-04-19 20:15:00 | 2.806 | 210.9 | 2.996 | 337.1893 | 3.1427 | 206.26 | 3.402 | 338.912 | 16.9533 | 886 | 85.4 | 1.0727
2020-04-19 20:30:00 | 3.6 | 144.0733 | 3.876 | 333.726 | 4.06 | 140.9033 | 4.45 | 335.4327 | 16.6933 | 886 | 87.28 | 7.8027
2020-04-19 20:45:00 | 4.4607 | 213.24 | 4.8307 | 338.3687 | 5.0647 | 208.5493 | 5.5873 | 340.0973 | 16.5133 | 886 | 88.9667 | 16.1073
2020-04-19 21:00:00 | 5.1267 | 258.0333 | 5.5547 | 337.598 | 5.7013 | 252.3567 | 6.3453 | 339.3253 | 16.3333 | 885.3333 | 88.8267 | 25.3147
2020-04-19 21:15:00 | 5.3193 | 235.8 | 5.7553 | 341.212 | 5.9733 | 230.6127 | 6.612 | 342.956 | 16.0133 | 885 | 90.8667 | 28.47
2020-04-19 21:30:00 | 5.072 | 273.04 | 5.4793 | 331.7113 | 5.798 | 267.0327 | 6.3667 | 333.4067 | 15.58 | 885 | 91.74 | 25.2487
2020-04-19 21:45:00 | 5.478 | 302.98 | 5.8853 | 329.044 | 6.208 | 296.3147 | 6.7693 | 330.7267 | 15.2133 | 886 | 91.4067 | 27.182
2020-04-19 22:00:00 | 5.4187 | 345.2333 | 5.7447 | 317.0747 | 5.8427 | 337.638 | 6.3393 | 318.6947 | 15.0067 | 886 | 92.4133 | 26.8093
2020-04-19 22:15:00 | 5.352 | 326.9867 | 5.796 | 325.3947 | 6.0167 | 319.7933 | 6.6653 | 327.0567 | 14.82 | 886 | 92.2867 | 31.7707
2020-04-19 22:30:00 | 6.1427 | 344.22 | 6.6207 | 323.288 | 6.9047 | 336.6473 | 7.59 | 324.94 | 14.8867 | 886 | 92.5333 | 38.46
2020-04-19 22:45:00 | 6.5807 | 339.72 | 7.0707 | 320.856 | 7.318 | 332.246 | 8.0353 | 322.496 | 14.9533 | 886 | 91.4667 | 40.56
2020-04-19 23:00:00 | 6.814 | 337.16 | 7.3727 | 320.2747 | 7.4613 | 329.7433 | 8.3313 | 321.9133 | 14.9133 | 886 | 89.3 | 39.7367
2020-04-19 23:15:00 | 7.5193 | 338.9067 | 8.136 | 327.532 | 8.1933 | 331.4493 | 9.1687 | 329.2067 | 14.8533 | 886 | 87.3733 | 44.0707
2020-04-19 23:30:00 | 7.53 | 341.7667 | 8.0767 | 331.456 | 7.9927 | 334.2487 | 8.8993 | 333.1513 | 14.6667 | 886 | 86.3 | 46.47
2020-04-19 23:45:00 | 7.0467 | 343.1133 | 7.6847 | 321.7107 | 7.8007 | 335.564 | 8.7893 | 323.3527 | 14.34 | 886 | 86.64 | 42.236