## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-20 00:00:00 | 6.7914 | 339.4929 | 7.3007 | 323.285 | 7.3964 | 332.025 | 8.1879 | 324.9379 | 14.2214 | 886 | 87.38 | 41.9336
2020-04-20 00:15:00 | 7.038 | 341.8 | 7.5627 | 326.2613 | 7.476 | 334.28 | 8.3467 | 327.928 | 14.0533 | 886 | 90.6867 | 44.1293
2020-04-20 00:30:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 00:45:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 01:00:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 01:15:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 01:30:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 01:45:00 | 7.264 | 341.1667 | 7.8007 | 323.282 | 7.9207 | 333.66 | 8.752 | 324.9347 | 13.84 | 886 | 92.94 | 47.0673
2020-04-20 02:00:00 | 6.9147 | 337.68 | 7.4047 | 322.0627 | 7.554 | 330.252 | 8.3027 | 323.7073 | 12.9467 | 885 | 92.7533 | 43.3387
2020-04-20 02:15:00 | 6.9147 | 337.68 | 7.4047 | 322.0627 | 7.554 | 330.252 | 8.3027 | 323.7073 | 12.9467 | 885 | 92.7533 | 43.3387
2020-04-20 02:30:00 | 6.9147 | 337.68 | 7.4047 | 322.0627 | 7.554 | 330.252 | 8.3027 | 323.7073 | 12.9467 | 885 | 92.7533 | 43.3387
2020-04-20 02:45:00 | 6.9147 | 337.68 | 7.4047 | 322.0627 | 7.554 | 330.252 | 8.3027 | 323.7073 | 12.9467 | 885 | 92.7533 | 43.3387
2020-04-20 03:00:00 | 6.8893 | 339.5467 | 7.4327 | 318.4447 | 7.628 | 332.076 | 8.444 | 320.072 | 12.8333 | 885 | 94.2467 | 42.5013
2020-04-20 03:15:00 | 6.622 | 340.9067 | 7.2 | 326.822 | 7.3487 | 333.406 | 8.2333 | 328.4913 | 12.6133 | 885 | 95.5933 | 40.51
2020-04-20 03:30:00 | 6.8833 | 337.4267 | 7.4787 | 306.6673 | 7.5993 | 330.002 | 8.52 | 308.2353 | 12.3333 | 885 | 97.08 | 41.2233
2020-04-20 03:45:00 | 7.0727 | 341.9067 | 7.674 | 323.092 | 7.7287 | 334.3847 | 8.6807 | 324.744 | 12.2067 | 885 | 98.32 | 41.5113
2020-04-20 04:00:00 | 6.888 | 342.6933 | 7.3987 | 324.3753 | 7.504 | 335.154 | 8.296 | 326.036 | 12.0267 | 884.3333 | 99.16 | 40.7953
2020-04-20 04:15:00 | 6.7 | 337.1067 | 7.17 | 321.8333 | 7.2953 | 329.69 | 8.0153 | 323.4787 | 11.9467 | 884 | 99.64 | 39.028
2020-04-20 04:30:00 | 6.416 | 335.9467 | 6.9367 | 319.0567 | 7.088 | 328.4447 | 7.8767 | 320.6873 | 12.0867 | 884 | 99.96 | 37.1453
2020-04-20 04:45:00 | 6.2647 | 339.08 | 6.758 | 318.7547 | 6.8333 | 331.62 | 7.604 | 320.3853 | 12.0733 | 884 | 100 | 35.5193
2020-04-20 05:00:00 | 6.446 | 341.7867 | 6.9753 | 332.056 | 7.058 | 334.268 | 7.8833 | 333.756 | 11.9667 | 884 | 100 | 38.5067
2020-04-20 05:15:00 | 6.718 | 340.3933 | 7.25 | 328.0607 | 7.2847 | 332.9047 | 8.124 | 329.7373 | 12.1 | 884 | 100 | 41.3413
2020-04-20 05:30:00 | 6.612 | 341.4267 | 7.118 | 324.428 | 7.2947 | 333.9127 | 8.0527 | 326.0867 | 12.1133 | 884 | 100 | 43.9433
2020-04-20 05:45:00 | 6.1353 | 344.02 | 6.5973 | 328.4573 | 6.7433 | 336.4527 | 7.446 | 330.1367 | 11.9667 | 884 | 100 | 40.1407
2020-04-20 06:00:00 | 5.8173 | 344.9133 | 6.3353 | 326.7827 | 6.2493 | 337.3247 | 7.102 | 328.454 | 11.9067 | 884 | 100 | 34.9
2020-04-20 06:15:00 | 6.7313 | 343.2733 | 7.2193 | 328.0673 | 7.304 | 335.7213 | 8.0647 | 329.7447 | 11.8533 | 884 | 100 | 43.6773
2020-04-20 06:30:00 | 6.5227 | 302.16 | 7.0007 | 321.652 | 7.1407 | 295.5127 | 7.866 | 323.2947 | 12.0333 | 884 | 100 | 45.1093
2020-04-20 06:45:00 | 6.1947 | 336.0333 | 6.6373 | 319.518 | 6.8647 | 328.6413 | 7.5107 | 321.1527 | 12.04 | 884 | 100 | 42.1793
2020-04-20 07:00:00 | 6.0087 | 332.5933 | 6.39 | 316.6313 | 6.568 | 325.276 | 7.1273 | 318.2507 | 12.0067 | 884 | 100 | 39.1567
2020-04-20 07:15:00 | 5.9433 | 340.42 | 6.2347 | 323.6987 | 6.3713 | 332.932 | 6.8007 | 325.3533 | 12.3267 | 884.3333 | 100 | 36.0093
2020-04-20 07:30:00 | 6.5247 | 340.1667 | 6.8627 | 327.6553 | 7.0587 | 332.6827 | 7.5487 | 329.3313 | 12.4733 | 885 | 100 | 42.2573
2020-04-20 07:45:00 | 6.6107 | 349.12 | 7.0427 | 332.9113 | 7.2533 | 341.4407 | 7.8887 | 334.6133 | 12.5333 | 885 | 100 | 42.51
2020-04-20 08:00:00 | 6.3187 | 343.74 | 6.8147 | 330.0167 | 7.144 | 336.1767 | 7.848 | 331.704 | 12.44 | 885 | 100 | 41.0727
2020-04-20 08:15:00 | 6.3253 | 341.2667 | 6.802 | 325.8767 | 7.1173 | 333.758 | 7.7927 | 327.5427 | 12.5933 | 885 | 100 | 40.6853
2020-04-20 08:30:00 | 6.562 | 347.78 | 7.0567 | 324.474 | 7.442 | 340.13 | 8.128 | 326.134 | 12.8 | 885.6667 | 100 | 41.6
2020-04-20 08:45:00 | 6.476 | 349.5133 | 7.0313 | 325.5233 | 7.4367 | 341.824 | 8.2093 | 327.1873 | 12.84 | 886 | 100 | 38.7867
2020-04-20 09:00:00 | 6.7293 | 350.2733 | 7.33 | 325.822 | 7.7753 | 342.5673 | 8.6053 | 327.4893 | 12.8133 | 886 | 100 | 39.3933
2020-04-20 09:15:00 | 5.7707 | 344.94 | 6.2433 | 322.1027 | 6.6673 | 337.3507 | 7.3033 | 323.7473 | 12.78 | 886 | 100 | 33.1587
2020-04-20 09:30:00 | 4.8933 | 324.0133 | 5.2407 | 327.538 | 5.6847 | 316.886 | 6.114 | 329.214 | 12.86 | 886 | 100 | 22.7913
2020-04-20 09:45:00 | 4.732 | 305.7533 | 5.052 | 315.3653 | 5.3393 | 299.0267 | 5.7687 | 316.978 | 12.8867 | 886.3333 | 100 | 19.646
2020-04-20 10:00:00 | 5.402 | 345.4733 | 5.666 | 331.626 | 5.9987 | 337.8713 | 6.3293 | 333.3227 | 13.02 | 887 | 100 | 25.502
2020-04-20 10:15:00 | 5.46 | 301.3733 | 5.7727 | 328.19 | 6.138 | 294.7427 | 6.54 | 329.868 | 13.1733 | 887 | 100 | 29.538
2020-04-20 10:30:00 | 5.7087 | 344.78 | 6.0327 | 326.958 | 6.3913 | 337.1947 | 6.8093 | 328.6293 | 13.3867 | 887 | 100 | 33.5567
2020-04-20 10:45:00 | 6.2187 | 346.88 | 6.6133 | 333.388 | 6.8693 | 339.2473 | 7.428 | 335.0907 | 13.7467 | 887 | 100 | 40.164
2020-04-20 11:00:00 | 6.3613 | 342.2933 | 6.8047 | 329.9113 | 7.008 | 334.9913 | 7.6607 | 331.5987 | 13.84 | 887 | 99.96 | 43.2247
2020-04-20 11:15:00 | 6.5547 | 343.66 | 7.1093 | 331.3267 | 7.3847 | 336.0993 | 8.1973 | 333.0193 | 13.7333 | 887 | 99.1333 | 45.6133
2020-04-20 11:30:00 | 6.356 | 344.4 | 6.7787 | 329.982 | 7.036 | 336.8227 | 7.644 | 331.6693 | 13.6733 | 887.6667 | 97.8 | 42.014
2020-04-20 11:45:00 | 5.9907 | 314.5067 | 6.3753 | 326.45 | 6.664 | 307.5873 | 7.1993 | 328.1187 | 13.68 | 888 | 96.86 | 41.2113
2020-04-20 12:00:00 | 6.1047 | 340.7733 | 6.5387 | 329.6433 | 6.8333 | 333.2747 | 7.4487 | 331.3293 | 13.5133 | 888 | 96.3533 | 41.7093
2020-04-20 12:15:00 | 6.6313 | 346.1733 | 7.1507 | 329.0567 | 7.4707 | 338.558 | 8.2113 | 330.74 | 13.44 | 887.6667 | 95.5867 | 46.3967
2020-04-20 12:30:00 | 6.1813 | 319.7 | 6.744 | 330.16 | 7.0007 | 312.6667 | 7.8267 | 331.848 | 13.54 | 887 | 95.8333 | 46.9253
2020-04-20 12:45:00 | 5.9287 | 342.52 | 6.3567 | 327.5967 | 6.602 | 334.9833 | 7.22 | 329.2727 | 13.6133 | 887 | 95.3467 | 43.12
2020-04-20 13:00:00 | 6.462 | 317.8267 | 6.8173 | 320.4847 | 6.9453 | 310.834 | 7.482 | 322.1233 | 13.8 | 887 | 94.18 | 44.2767
2020-04-20 13:15:00 | 6.6533 | 343.0867 | 7.0327 | 326.878 | 7.2107 | 335.5393 | 7.772 | 328.5507 | 13.9267 | 887 | 94.24 | 46.054
2020-04-20 13:30:00 | 6.488 | 301.4933 | 6.872 | 325.028 | 7.2513 | 294.8593 | 7.7613 | 326.6887 | 14.02 | 887 | 93.3533 | 45.6433
2020-04-20 13:45:00 | 6.202 | 343.4533 | 6.6827 | 305.6647 | 7.1947 | 335.8967 | 7.8173 | 307.2267 | 14.1267 | 886 | 91.3 | 49.0273
2020-04-20 14:00:00 | 6.2367 | 278.96 | 6.7167 | 329.9513 | 7.3713 | 272.8233 | 7.9533 | 331.638 | 14.2067 | 886.6667 | 89.84 | 47.2947
2020-04-20 14:15:00 | 6.3027 | 299.2067 | 6.8653 | 309.002 | 7.402 | 292.624 | 8.1447 | 310.582 | 14.26 | 887 | 89.52 | 48.6307
2020-04-20 14:30:00 | 5.8553 | 268.66 | 6.2427 | 331.3527 | 7.022 | 262.7487 | 7.418 | 333.0473 | 14.1067 | 887 | 89.36 | 47.4573
2020-04-20 14:45:00 | 6.0553 | 254.8867 | 6.4427 | 330.4987 | 7.244 | 249.2787 | 7.6333 | 332.1887 | 14.04 | 887 | 88.04 | 46.8193
2020-04-20 15:00:00 | 6.872 | 236.9067 | 7.356 | 338.374 | 8.2053 | 231.6953 | 8.7307 | 340.104 | 14.0067 | 886.3333 | 86.24 | 49.2933
2020-04-20 15:15:00 | 7.2387 | 257.4333 | 7.6607 | 313.026 | 8.294 | 251.7693 | 8.7893 | 314.626 | 13.9867 | 886 | 83.48 | 54.0093
2020-04-20 15:30:00 | 7.0187 | 296.06 | 7.5327 | 285.1793 | 8.2653 | 289.5467 | 8.8847 | 286.6373 | 13.8733 | 886 | 83.7 | 54.884
2020-04-20 15:45:00 | 6.578 | 275.0467 | 6.952 | 284.038 | 7.6773 | 268.9967 | 8.0733 | 285.4907 | 13.86 | 886 | 84.38 | 53.14
2020-04-20 16:00:00 | 6.808 | 319.3533 | 7.1527 | 312.2693 | 7.8713 | 312.328 | 8.218 | 313.8653 | 14 | 886 | 85.2333 | 51.256
2020-04-20 16:15:00 | 6.9727 | 238.5667 | 7.4853 | 330.6693 | 8.2433 | 233.318 | 8.8473 | 332.358 | 13.9467 | 886 | 84.9333 | 51.622
2020-04-20 16:30:00 | 6.608 | 275.1933 | 7.1107 | 306.2247 | 7.7147 | 269.14 | 8.3433 | 307.7913 | 13.8333 | 886 | 84.76 | 51.3893
2020-04-20 16:45:00 | 6.704 | 301.9 | 7.1527 | 334.5807 | 7.694 | 295.2573 | 8.254 | 336.2907 | 13.8333 | 886 | 84.56 | 49.6413
2020-04-20 17:00:00 | 6.5313 | 345.4667 | 6.98 | 326.9047 | 7.5367 | 337.8667 | 8.1 | 328.578 | 13.8067 | 886 | 83.7733 | 51.4573
2020-04-20 17:15:00 | 6.7787 | 276.5867 | 7.294 | 329.54 | 7.8927 | 248.412 | 8.5613 | 331.2253 | 13.7467 | 886 | 83.7933 | 50.6053
2020-04-20 17:30:00 | 6.8593 | 323.2067 | 7.3813 | 331.594 | 7.8753 | 316.0967 | 8.5733 | 333.288 | 13.7533 | 886 | 83.5867 | 50.9847
2020-04-20 17:45:00 | 7.0587 | 303.6933 | 7.568 | 311.0227 | 8.1513 | 297.0127 | 8.8 | 312.6133 | 13.7467 | 886 | 82.8133 | 53.2387
2020-04-20 18:00:00 | 7.146 | 299.5 | 7.7047 | 330.7067 | 8.1907 | 292.9107 | 8.9493 | 332.398 | 13.6267 | 886 | 82.2867 | 52.8
2020-04-20 18:15:00 | 7.0627 | 323.4067 | 7.606 | 336.296 | 8.08 | 316.552 | 8.814 | 338.0127 | 13.5733 | 886 | 82.7267 | 53.6313
2020-04-20 18:30:00 | 7.3973 | 256.9133 | 7.9253 | 246.9 | 8.64 | 251.2613 | 9.2727 | 248.1613 | 13.5733 | 886 | 83.9267 | 55.9467
2020-04-20 18:45:00 | 7.476 | 253.58 | 7.9593 | 296.184 | 8.4953 | 248.0007 | 9.1187 | 297.6987 | 13.52 | 886 | 81.32 | 56.504
2020-04-20 19:00:00 | 7.3 | 299.88 | 7.8313 | 314.9413 | 8.4067 | 293.2833 | 9.092 | 316.552 | 13.36 | 886 | 80.62 | 55.9487
2020-04-20 19:15:00 | 7.802 | 322.9933 | 8.3927 | 331.5293 | 8.9147 | 315.888 | 9.712 | 333.2233 | 13.2667 | 886 | 81.0933 | 55.692
2020-04-20 19:30:00 | 6.924 | 321.6133 | 7.3447 | 327.4487 | 7.8447 | 314.5393 | 8.376 | 329.122 | 13.1267 | 886 | 80.484 | 55.9947
2020-04-20 19:45:00 | 7.4627 | 280.84 | 8.004 | 308.148 | 8.664 | 297.6 | 9.3353 | 309.7233 | 12.9 | 886 | 78.1807 | 57.638
2020-04-20 20:00:00 | 7.8713 | 301.4 | 8.3793 | 332.5453 | 9.088 | 294.1313 | 9.6833 | 334.246 | 12.7467 | 886 | 78.7693 | 58.0127
2020-04-20 20:15:00 | 7.7873 | 323.3067 | 8.3753 | 308.2273 | 8.9707 | 316.1933 | 9.744 | 309.8027 | 12.62 | 886.3333 | 79.8633 | 57.4193
2020-04-20 20:30:00 | 7.288 | 346 | 7.8267 | 329.4933 | 8.504 | 338.3873 | 9.1733 | 331.1793 | 12.5667 | 887 | 79.4727 | 57.5173
2020-04-20 20:45:00 | 7.472 | 275.2867 | 7.9787 | 286.658 | 8.576 | 269.23 | 9.2207 | 288.1247 | 12.54 | 887 | 79.024 | 57.5127
2020-04-20 21:00:00 | 6.8067 | 228.36 | 7.2847 | 333.792 | 7.8507 | 223.3367 | 8.4527 | 335.4973 | 12.48 | 887 | 78.168 | 52.922
2020-04-20 21:15:00 | 6.7307 | 323.8667 | 7.18 | 329.7153 | 7.6367 | 316.7413 | 8.2327 | 331.4013 | 12.44 | 887 | 76.4927 | 50.194
2020-04-20 21:30:00 | 7.1647 | 344.36 | 7.6653 | 328.1973 | 7.9353 | 336.7847 | 8.662 | 329.876 | 12.28 | 887 | 76.7733 | 51.486
2020-04-20 21:45:00 | 7.3967 | 338.36 | 7.91 | 326.536 | 7.9907 | 330.9173 | 8.7933 | 328.204 | 12.3267 | 888 | 77.728 | 52.9867
2020-04-20 22:00:00 | 7.348 | 340.9933 | 7.8027 | 324.572 | 7.9587 | 333.4913 | 8.646 | 326.232 | 12.2 | 888 | 78.0333 | 52.7533
2020-04-20 22:15:00 | 6.6207 | 336.14 | 7.056 | 321.6067 | 7.2333 | 328.746 | 7.8847 | 323.2507 | 12.1533 | 888 | 78.8467 | 51.5427
2020-04-20 22:30:00 | 5.878 | 334.8533 | 6.3107 | 328.8627 | 6.168 | 326.3847 | 6.9107 | 330.5427 | 12.0867 | 888 | 78.5767 | 47.1993
2020-04-20 22:45:00 | 6.5833 | 338.9533 | 7.132 | 331.4 | 7.1347 | 331.4953 | 8.0153 | 333.092 | 12.0667 | 888 | 79.1373 | 50.1533
2020-04-20 23:00:00 | 7.2127 | 321.9133 | 7.8507 | 331.8873 | 8.1453 | 314.832 | 9.0887 | 333.584 | 11.9933 | 888 | 80.3133 | 53.7173
2020-04-20 23:15:00 | 7.7067 | 322.08 | 8.3533 | 330.322 | 8.776 | 314.992 | 9.692 | 332.0113 | 11.9333 | 888 | 82.94 | 56.2587
2020-04-20 23:30:00 | 7.488 | 255.5733 | 8.134 | 310.0207 | 8.5953 | 249.9507 | 9.5 | 311.606 | 11.8 | 888 | 84.0467 | 55.8613
2020-04-20 23:45:00 | 7.5313 | 323.48 | 8.194 | 331.8487 | 8.692 | 316.3633 | 9.6113 | 333.5433 | 11.82 | 888 | 84.0867 | 55.0347