## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-21 00:00:00 | 7.5836 | 321.8429 | 8.1643 | 332.5207 | 8.7157 | 314.7621 | 9.49 | 334.22 | 11.75 | 888 | 84.04 | 55.47
2020-04-21 00:15:00 | 6.6787 | 319.94 | 7.0873 | 330.0107 | 7.8127 | 312.902 | 8.254 | 331.6967 | 11.6533 | 887.6667 | 82.9867 | 52.0753
2020-04-21 00:30:00 | 6.724 | 338.3467 | 7.1913 | 323.066 | 7.342 | 330.902 | 8.0473 | 324.7187 | 11.6133 | 887 | 81.3333 | 47.6233
2020-04-21 00:45:00 | 7.0467 | 340.8333 | 7.4607 | 324.5193 | 7.846 | 333.3347 | 8.402 | 326.1773 | 11.66 | 888 | 80.7267 | 50.348
2020-04-21 01:00:00 | 6.9907 | 317.96 | 7.492 | 327.3373 | 7.714 | 310.964 | 8.4567 | 329.0087 | 11.6933 | 888 | 80.6333 | 51.1607
2020-04-21 01:15:00 | 6.9113 | 342.1286 | 7.435 | 325.9593 | 7.6564 | 334.6029 | 8.4471 | 327.6264 | 11.65 | 888 | 80.8571 | 48.5213
2020-04-21 01:30:00 | 6.9247 | 300.38 | 7.4873 | 328.6913 | 7.8173 | 294.1567 | 8.6233 | 330.3733 | 11.5333 | 888 | 80.8733 | 47.4613
2020-04-21 01:45:00 | 6.914 | 343.4667 | 7.4413 | 327.4867 | 7.9293 | 335.91 | 8.6353 | 329.1613 | 11.4067 | 887 | 81.2333 | 49.156
2020-04-21 02:00:00 | 6.756 | 322.5933 | 7.3133 | 325.348 | 7.6727 | 315.4953 | 8.4633 | 327.0107 | 11.4 | 887 | 81.3267 | 46.9587
2020-04-21 02:15:00 | 6.638 | 318.3267 | 7.046 | 322.864 | 7.5127 | 311.3233 | 8.036 | 324.5133 | 11.3867 | 887 | 80.4133 | 47.1707
2020-04-21 02:30:00 | 6.736 | 320.9 | 7.19 | 325.132 | 7.7207 | 313.8393 | 8.2967 | 326.7947 | 11.3733 | 887 | 80.72 | 50.8793
2020-04-21 02:45:00 | 6.852 | 225.6333 | 7.362 | 325.5367 | 7.6267 | 220.6693 | 8.3673 | 327.2013 | 11.3133 | 887 | 80.88 | 52.3307
2020-04-21 03:00:00 | 7.0073 | 345.4067 | 7.5713 | 314.564 | 8.0427 | 337.8087 | 8.808 | 316.1727 | 11.3133 | 887 | 82.36 | 51.2693
2020-04-21 03:15:00 | 6.8613 | 327.84 | 7.3933 | 333.8313 | 7.8313 | 320.8553 | 8.548 | 335.538 | 11.2933 | 887 | 85.82 | 49.7533
2020-04-21 03:30:00 | 6.0647 | 326.8667 | 6.448 | 310.3713 | 6.9253 | 319.676 | 7.4053 | 311.9573 | 11.2733 | 886.3333 | 85.3933 | 43.0547
2020-04-21 03:45:00 | 5.564 | 257.4733 | 5.95 | 322.0893 | 6.1173 | 251.8087 | 6.6933 | 323.734 | 11.1867 | 886 | 84.9467 | 38.5053
2020-04-21 04:00:00 | 5.2887 | 280.4867 | 5.5293 | 326.0327 | 5.5073 | 274.3153 | 5.9027 | 327.7007 | 11.14 | 886 | 87.3867 | 36.3487
2020-04-21 04:15:00 | 5.996 | 278.3 | 6.352 | 324.8913 | 6.6307 | 272.176 | 7.1227 | 326.5513 | 11.1133 | 886 | 88.12 | 42.1553
2020-04-21 04:30:00 | 6.206 | 304.0067 | 6.5553 | 327.0553 | 6.8747 | 297.3187 | 7.346 | 328.7273 | 10.9667 | 886 | 88.6933 | 43.92
2020-04-21 04:45:00 | 6.0387 | 342.54 | 6.4627 | 324.0167 | 6.6267 | 335.004 | 7.26 | 325.674 | 10.7933 | 886 | 92.4933 | 44.632
2020-04-21 05:00:00 | 5.9887 | 344.5867 | 6.362 | 321.5727 | 6.4587 | 337.006 | 7.0307 | 323.2173 | 10.6267 | 886 | 95.0867 | 44.2473
2020-04-21 05:15:00 | 6.74 | 343.06 | 7.1887 | 330.062 | 7.2727 | 335.5127 | 7.9733 | 331.7493 | 10.1733 | 886 | 96.0533 | 48.83
2020-04-21 05:30:00 | 7.0893 | 343.9933 | 7.5467 | 328.9273 | 7.6307 | 336.4267 | 8.3433 | 330.608 | 9.8667 | 886 | 97.6 | 50.25
2020-04-21 05:45:00 | 7.5407 | 343.0267 | 8.0493 | 325.3427 | 8.0813 | 335.48 | 8.89 | 327.0067 | 9.72 | 886 | 98.66 | 54.4593
2020-04-21 06:00:00 | 8.0127 | 322.3 | 8.6207 | 326.6913 | 9.072 | 315.2087 | 9.9153 | 328.362 | 9.5133 | 886 | 99.0667 | 56.9827
2020-04-21 06:15:00 | 8.0127 | 323.4 | 8.6427 | 332.65 | 9.2827 | 316.2853 | 10.1093 | 334.3513 | 9.4067 | 886 | 99.2933 | 56.9593
2020-04-21 06:30:00 | 7.866 | 345.6467 | 8.5313 | 328.1327 | 8.8153 | 338.042 | 9.8053 | 329.8107 | 9.3467 | 886 | 99.6667 | 54.594
2020-04-21 06:45:00 | 7.496 | 338.8 | 8.1673 | 323.222 | 8.1593 | 331.348 | 9.238 | 324.8747 | 9.3533 | 886.3333 | 99.9333 | 54.074
2020-04-21 07:00:00 | 7.716 | 321.78 | 8.3167 | 324.4013 | 8.526 | 314.7013 | 9.432 | 326.0607 | 9.24 | 887 | 100 | 57.946
2020-04-21 07:15:00 | 7.2527 | 344.5 | 7.8047 | 329.4033 | 8.2267 | 336.9207 | 8.992 | 331.0873 | 9.0933 | 887 | 100 | 58.6307
2020-04-21 07:30:00 | 7.412 | 322.28 | 7.8907 | 325.4453 | 8.246 | 315.19 | 8.9133 | 327.11 | 8.7733 | 887 | 100 | 60.8127
2020-04-21 07:45:00 | 8.19 | 318.5067 | 8.6793 | 329.9187 | 8.9767 | 311.4987 | 9.676 | 331.606 | 8.9667 | 887 | 100 | 62.0713
2020-04-21 08:00:00 | 8.5313 | 298.7067 | 8.9873 | 328.034 | 9.3213 | 292.1353 | 9.9593 | 329.7113 | 8.8133 | 887 | 100 | 62.6167
2020-04-21 08:15:00 | 8.2507 | 323.1867 | 8.7427 | 288.62 | 9.1313 | 316.0773 | 9.8073 | 290.0967 | 8.6933 | 887 | 100 | 62.34
2020-04-21 08:30:00 | 8.0287 | 299.5467 | 8.5093 | 324.604 | 8.7373 | 292.9567 | 9.4427 | 326.2633 | 8.5667 | 887 | 100 | 63.0187
2020-04-21 08:45:00 | 7.7467 | 299.0933 | 8.2187 | 303.4933 | 8.9807 | 292.5133 | 9.518 | 305.044 | 8.4667 | 887 | 100 | 62.9773
2020-04-21 09:00:00 | 7.602 | 344.0867 | 8.1047 | 327.6427 | 8.744 | 336.5173 | 9.3667 | 329.3173 | 8.4533 | 887.6667 | 100 | 62.45
2020-04-21 09:15:00 | 8.0653 | 299.5933 | 8.6687 | 326.73 | 9.11 | 293.0013 | 9.9493 | 328.4 | 8.4267 | 888 | 100 | 62.7233
2020-04-21 09:30:00 | 8.1807 | 338.6 | 8.7473 | 329.332 | 9.0553 | 331.1513 | 9.874 | 331.0153 | 8.38 | 888 | 100 | 62.088
2020-04-21 09:45:00 | 8.2507 | 320.48 | 8.8273 | 329.3307 | 9.1527 | 313.4287 | 9.9847 | 331.014 | 8.4467 | 888 | 100 | 61.706
2020-04-21 10:00:00 | 8.008 | 252.6067 | 8.5187 | 329.612 | 9.3307 | 247.0493 | 9.9147 | 331.2987 | 8.4933 | 888.6667 | 100 | 62.756
2020-04-21 10:15:00 | 8.1813 | 298.3867 | 8.8413 | 310.3 | 9.4387 | 291.822 | 10.326 | 311.8873 | 8.5533 | 888 | 100 | 63.2253
2020-04-21 10:30:00 | 8.0473 | 275.68 | 8.6307 | 333.2827 | 9.2873 | 269.616 | 10.0393 | 334.9867 | 8.68 | 888.6667 | 99.9067 | 62.8393
2020-04-21 10:45:00 | 8.3113 | 274.34 | 8.85 | 313.1807 | 9.4313 | 268.3033 | 10.1313 | 314.784 | 8.88 | 889 | 99.5067 | 63.4813
2020-04-21 11:00:00 | 8.3587 | 317.08 | 8.8 | 306.434 | 9.672 | 310.1053 | 10.13 | 308.0013 | 9.06 | 889 | 98.4667 | 63.1147
2020-04-21 11:15:00 | 8.9553 | 291.9067 | 9.3273 | 329.0253 | 10.0813 | 285.484 | 10.47 | 330.7067 | 9.1667 | 889 | 96.64 | 62.0487
2020-04-21 11:30:00 | 8.5453 | 273.3467 | 8.994 | 328.1253 | 9.7647 | 267.3313 | 10.2673 | 329.8033 | 9.2 | 889 | 94.6467 | 62.592
2020-04-21 11:45:00 | 9.01 | 342.08 | 9.3633 | 330.936 | 9.7727 | 334.5533 | 10.222 | 332.6267 | 9.26 | 889 | 93.7267 | 62.9047
2020-04-21 12:00:00 | 7.772 | 209.24 | 8.196 | 290.2247 | 9.0927 | 204.638 | 9.518 | 291.7087 | 9.3533 | 889 | 92.6067 | 63.15
2020-04-21 12:15:00 | 7.554 | 258.38 | 8.0393 | 225.2987 | 8.868 | 252.4927 | 9.4027 | 226.4513 | 9.3 | 889 | 94.0733 | 60.596
2020-04-21 12:30:00 | 7.704 | 296.5867 | 8.264 | 306.1 | 8.842 | 290.062 | 9.5767 | 307.666 | 9.38 | 889 | 93.04 | 61.2513
2020-04-21 12:45:00 | 8.7127 | 320.34 | 9.1347 | 329.22 | 9.75 | 313.6513 | 10.2033 | 330.9053 | 9.42 | 889 | 91.36 | 62.398
2020-04-21 13:00:00 | 8.7867 | 277.8 | 9.4953 | 310.1113 | 10.334 | 271.688 | 11.2327 | 311.6973 | 9.5133 | 889 | 91.0467 | 62.5533
2020-04-21 13:15:00 | 9.3527 | 300.68 | 9.826 | 321.2793 | 10.4593 | 294.064 | 11.038 | 322.922 | 9.5533 | 888.3333 | 90.3267 | 61.4247
2020-04-21 13:30:00 | 9.408 | 338.4667 | 9.9233 | 320.5287 | 10.562 | 331.0213 | 11.21 | 322.1673 | 9.5 | 889 | 88.2667 | 62.8307
2020-04-21 13:45:00 | 9.6887 | 323.2467 | 10.156 | 328.4967 | 10.804 | 316.1353 | 11.366 | 330.1773 | 9.4133 | 889 | 89.2867 | 62.7387
2020-04-21 14:00:00 | 9.3933 | 297.14 | 9.7733 | 327.8513 | 10.2887 | 290.6033 | 10.752 | 329.526 | 9.34 | 889 | 89.32 | 62.2273
2020-04-21 14:15:00 | 8.66 | 345.3 | 9.04 | 325.538 | 9.7533 | 337.7033 | 10.1587 | 327.2 | 9.2867 | 888.3333 | 88.6333 | 61.3713
2020-04-21 14:30:00 | 8.5747 | 319.6533 | 8.9913 | 322.7127 | 9.46 | 312.6207 | 9.9967 | 324.364 | 9.2067 | 889 | 89.2 | 61.068
2020-04-21 14:45:00 | 9.2553 | 340.8733 | 9.716 | 325.668 | 10.1853 | 333.374 | 10.792 | 327.3327 | 9.1733 | 889 | 87.74 | 61.5407
2020-04-21 15:00:00 | 8.914 | 342.5133 | 9.4187 | 324.4027 | 9.866 | 334.6567 | 10.5773 | 326.062 | 9.14 | 888.3333 | 88.9933 | 61.4747
2020-04-21 15:15:00 | 9.0047 | 282.9067 | 9.6613 | 332.326 | 10.2053 | 276.6833 | 11.1027 | 334.022 | 9.26 | 888 | 89.5 | 61.6487
2020-04-21 15:30:00 | 8.0653 | 322.2733 | 8.7027 | 331.1247 | 9.3587 | 315.182 | 10.1953 | 332.8167 | 9.6 | 888 | 88.5533 | 59.5667
2020-04-21 15:45:00 | 8.3233 | 297.8267 | 8.8747 | 321.5407 | 9.3953 | 291.274 | 10.134 | 323.184 | 9.6 | 888.3333 | 85.1733 | 59.556
2020-04-21 16:00:00 | 8.67 | 321.7267 | 9.138 | 326.9773 | 9.8747 | 314.6493 | 10.4173 | 328.65 | 9.6333 | 889 | 83.2867 | 60.9247
2020-04-21 16:15:00 | 8.2667 | 322.5867 | 8.752 | 324.2133 | 9.382 | 315.49 | 9.9787 | 325.8713 | 9.64 | 889 | 81.94 | 58.4427
2020-04-21 16:30:00 | 7.884 | 319.9867 | 8.4093 | 326.398 | 9.0867 | 312.9467 | 9.7393 | 328.068 | 9.6333 | 889 | 82.0867 | 57.408
2020-04-21 16:45:00 | 8.146 | 297.14 | 8.5673 | 329.618 | 9.1293 | 290.602 | 9.646 | 331.3033 | 9.5 | 889 | 83.3667 | 59.9713
2020-04-21 17:00:00 | 7.814 | 299.2867 | 8.29 | 314.0953 | 8.7307 | 292.7027 | 9.3693 | 315.6993 | 9.5333 | 889 | 83.74 | 60.3607
2020-04-21 17:15:00 | 7.296 | 302.28 | 7.7327 | 331.7367 | 8.36 | 295.63 | 8.8767 | 333.4333 | 9.5933 | 889 | 84.08 | 60.4407
2020-04-21 17:30:00 | 7.948 | 255.96 | 8.5593 | 290.1527 | 9.0893 | 250.3287 | 9.9187 | 291.636 | 9.6333 | 889 | 84.5067 | 61.17
2020-04-21 17:45:00 | 7.9267 | 190.6733 | 8.4927 | 313.3653 | 9.0687 | 186.4787 | 9.8093 | 314.966 | 9.6067 | 889 | 82.1667 | 60.8953
2020-04-21 18:00:00 | 7.9267 | 99.2933 | 8.5567 | 316.5 | 9.2407 | 97.1087 | 10.0547 | 318.1193 | 9.6 | 889 | 80.4047 | 60.9387
2020-04-21 18:15:00 | 7.7253 | 146.44 | 8.4027 | 273.0187 | 9.05 | 143.2173 | 9.9453 | 274.4153 | 9.6333 | 889 | 79.0767 | 59.6533
2020-04-21 18:30:00 | 7.1173 | 78.1333 | 7.6233 | 268.5853 | 8.164 | 76.4133 | 8.8233 | 269.9573 | 9.56 | 889 | 80.006 | 59.1313
2020-04-21 18:45:00 | 7.586 | 215.8267 | 8.07 | 339.862 | 8.7567 | 211.0773 | 9.34 | 341.598 | 9.4533 | 889.6667 | 80.4333 | 59.6847
2020-04-21 19:00:00 | 7.142 | 281.9467 | 7.666 | 308.7613 | 8.196 | 275.7427 | 8.8893 | 310.34 | 9.3667 | 889 | 81.22 | 56.8973
2020-04-21 19:15:00 | 7.328 | 283.8267 | 7.7967 | 306.734 | 8.2767 | 278.2473 | 8.8887 | 308.3033 | 9.3733 | 889 | 83.54 | 58.684
2020-04-21 19:30:00 | 6.59 | 259.5867 | 7.0327 | 312.438 | 7.7707 | 253.8747 | 8.2707 | 314.0347 | 9.2533 | 889 | 84.5667 | 56.7367
2020-04-21 19:45:00 | 6.214 | 235.16 | 6.5493 | 269.4587 | 7.35 | 229.9867 | 7.6607 | 270.8353 | 9.2267 | 889 | 84.9933 | 55.0647
2020-04-21 20:00:00 | 5.9367 | 233.16 | 6.2467 | 311.4727 | 7.056 | 228.0307 | 7.3207 | 313.0673 | 9.16 | 889 | 85.4867 | 53.132
2020-04-21 20:15:00 | 6.1413 | 212.86 | 6.4553 | 309.0087 | 7.154 | 208.1767 | 7.458 | 310.5893 | 9.1 | 889.3333 | 85.5867 | 52.9007
2020-04-21 20:30:00 | 5.8647 | 236.92 | 6.1873 | 311.14 | 6.6313 | 231.708 | 7.024 | 312.7313 | 8.9733 | 890 | 85.4333 | 51.0373
2020-04-21 20:45:00 | 6.5887 | 231.8267 | 6.9447 | 317.25 | 7.312 | 226.7273 | 7.7793 | 318.8713 | 8.9867 | 890 | 85.6067 | 53.962
2020-04-21 21:00:00 | 6.92 | 145.6267 | 7.3907 | 298.0687 | 7.87 | 142.4227 | 8.4907 | 299.5907 | 8.9333 | 890 | 87.22 | 56.7607
2020-04-21 21:15:00 | 6.3613 | 215.4333 | 6.8867 | 306.7193 | 7.368 | 210.694 | 8.072 | 308.2873 | 8.8733 | 890 | 87.2533 | 53.5413
2020-04-21 21:30:00 | 6.1327 | 301.28 | 6.5573 | 306.7467 | 7.1627 | 294.6513 | 7.67 | 308.3147 | 8.9133 | 890.6667 | 87.8133 | 51.6533
2020-04-21 21:45:00 | 5.8013 | 278.5733 | 6.1393 | 310.0973 | 6.574 | 272.4447 | 6.9907 | 311.6833 | 8.8733 | 891 | 87.4533 | 50.014
2020-04-21 22:00:00 | 5.5893 | 303.6733 | 6.0073 | 288.6327 | 6.3187 | 296.9913 | 6.9033 | 290.108 | 8.92 | 891 | 88.1333 | 43.866
2020-04-21 22:15:00 | 5.228 | 296.3333 | 5.694 | 289.0647 | 5.9893 | 289.8133 | 6.654 | 290.5427 | 8.84 | 891 | 89.24 | 40.954
2020-04-21 22:30:00 | 5.3753 | 255.5533 | 5.8213 | 324.794 | 6.0153 | 249.9307 | 6.678 | 326.4553 | 8.7667 | 891 | 90.4867 | 39.978
2020-04-21 22:45:00 | 5.6307 | 320.2 | 6.0207 | 318.652 | 6.1413 | 313.1553 | 6.7347 | 320.2813 | 8.8733 | 891 | 90.64 | 38.9887
2020-04-21 23:00:00 | 6.9373 | 322.24 | 7.41 | 325.146 | 7.5827 | 315.1507 | 8.2953 | 326.808 | 8.94 | 891 | 89.36 | 48.736
2020-04-21 23:15:00 | 7.1333 | 324.5933 | 7.6453 | 326.6653 | 7.8433 | 317.4527 | 8.6073 | 328.336 | 8.94 | 891 | 89.62 | 52.05
2020-04-21 23:30:00 | 7.012 | 340.4933 | 7.4447 | 325.636 | 7.5787 | 333.0027 | 8.2373 | 327.3 | 8.94 | 891.6667 | 89.3867 | 48.914
2020-04-21 23:45:00 | 7.032 | 323.3733 | 7.442 | 326.0393 | 7.51 | 316.2593 | 8.1507 | 327.706 | 9.0467 | 892 | 89.7533 | 46.6013