## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-22 00:00:00 | 6.8293 | 322.7071 | 7.2629 | 331.9621 | 7.6993 | 315.6079 | 8.27 | 333.6579 | 8.65 | 892 | 90.45 | 47.88
2020-04-22 00:15:00 | 6.4227 | 320.4933 | 6.616 | 333.1913 | 7.206 | 313.4427 | 7.3473 | 334.896 | 8.5267 | 891 | 92.3267 | 47.3753
2020-04-22 00:30:00 | 6.0433 | 316.92 | 6.3347 | 339.3873 | 6.7733 | 309.9473 | 7.1173 | 341.1207 | 8.46 | 891 | 92.7267 | 44.068
2020-04-22 00:45:00 | 6.0433 | 316.92 | 6.3347 | 339.3873 | 6.7733 | 309.9473 | 7.1173 | 341.1207 | 8.46 | 891 | 92.7267 | 44.068
2020-04-22 01:00:00 | 6.0433 | 316.92 | 6.3347 | 339.3873 | 6.7733 | 309.9473 | 7.1173 | 341.1207 | 8.46 | 891 | 92.7267 | 44.068
2020-04-22 01:15:00 | 6.0433 | 316.92 | 6.3347 | 339.3873 | 6.7733 | 309.9473 | 7.1173 | 341.1207 | 8.46 | 891 | 92.7267 | 44.068
2020-04-22 01:30:00 | 6.0433 | 316.92 | 6.3347 | 339.3873 | 6.7733 | 309.9473 | 7.1173 | 341.1207 | 8.46 | 891 | 92.7267 | 44.068
2020-04-22 01:45:00 | 6.146 | 336.8133 | 6.6807 | 307.4833 | 6.7507 | 329.4027 | 7.59 | 309.0547 | 7.8267 | 890 | 90.8533 | 43.7873
2020-04-22 02:00:00 | 6.146 | 336.8133 | 6.6807 | 307.4833 | 6.7507 | 329.4027 | 7.59 | 309.0547 | 7.8267 | 890 | 90.8533 | 43.7873
2020-04-22 02:15:00 | 6.146 | 336.8133 | 6.6807 | 307.4833 | 6.7507 | 329.4027 | 7.59 | 309.0547 | 7.8267 | 890 | 90.8533 | 43.7873
2020-04-22 02:30:00 | 6.146 | 336.8133 | 6.6807 | 307.4833 | 6.7507 | 329.4027 | 7.59 | 309.0547 | 7.8267 | 890 | 90.8533 | 43.7873
2020-04-22 02:45:00 | 6.146 | 336.8133 | 6.6807 | 307.4833 | 6.7507 | 329.4027 | 7.59 | 309.0547 | 7.8267 | 890 | 90.8533 | 43.7873
2020-04-22 03:00:00 | 7.0107 | 272.5133 | 7.4213 | 325.4587 | 7.7827 | 266.518 | 8.3387 | 327.1233 | 7.8 | 890 | 91.4733 | 49.5673
2020-04-22 03:15:00 | 6.626 | 334.5533 | 7.0447 | 323.4187 | 7.2193 | 327.194 | 7.8447 | 325.07 | 7.96 | 890 | 90.9067 | 42.89
2020-04-22 03:30:00 | 6.654 | 340.58 | 7.088 | 320.9027 | 7.164 | 333.0887 | 7.842 | 322.5427 | 8.1 | 890 | 91.1533 | 42.6467
2020-04-22 03:45:00 | 7.1627 | 342.3467 | 7.6767 | 323.3273 | 7.8307 | 334.8153 | 8.612 | 324.98 | 7.9733 | 890 | 91.56 | 47.9013
2020-04-22 04:00:00 | 7.288 | 299.5067 | 7.7907 | 326.6633 | 7.916 | 292.9173 | 8.692 | 328.3333 | 7.8867 | 890 | 91.6333 | 48.72
2020-04-22 04:15:00 | 6.978 | 339.7067 | 7.464 | 326.286 | 7.476 | 332.2347 | 8.2593 | 327.954 | 7.6933 | 890 | 90.78 | 48.3667
2020-04-22 04:30:00 | 6.998 | 338.6 | 7.458 | 325.4987 | 7.7453 | 331.1513 | 8.3993 | 327.1627 | 7.5933 | 890 | 90.1267 | 47.1933
2020-04-22 04:45:00 | 6.7567 | 338.74 | 7.2307 | 323.2293 | 7.348 | 330.9013 | 8.0727 | 324.8813 | 7.7667 | 890 | 89.5733 | 44.9793
2020-04-22 05:00:00 | 6.7293 | 341.58 | 7.1513 | 321.2473 | 7.29 | 334.228 | 7.93 | 322.8887 | 7.7733 | 890 | 89.4 | 44.5387
2020-04-22 05:15:00 | 6.8667 | 340.8933 | 7.334 | 321.24 | 7.288 | 333.394 | 8.0533 | 322.8827 | 7.7867 | 890 | 89.54 | 46.602
2020-04-22 05:30:00 | 7.4287 | 342.2867 | 7.978 | 321.43 | 8.09 | 334.7573 | 8.9413 | 323.0727 | 7.82 | 890 | 90.6333 | 49.29
2020-04-22 05:45:00 | 7.386 | 336.4733 | 7.9547 | 318.132 | 8.0047 | 329.0713 | 8.9027 | 319.7573 | 7.8333 | 889 | 91.7 | 48.848
2020-04-22 06:00:00 | 7.5827 | 337.96 | 8.1487 | 321.8133 | 8.27 | 330.526 | 9.1373 | 323.4593 | 7.8733 | 889.6667 | 91.54 | 47.7333
2020-04-22 06:15:00 | 7.346 | 336.56 | 7.8893 | 318.7627 | 8.0247 | 329.156 | 8.858 | 320.392 | 7.7733 | 890 | 90.8 | 44.5827
2020-04-22 06:30:00 | 7.4673 | 338.0267 | 8.0847 | 321.9633 | 8.41 | 330.5907 | 9.306 | 323.6093 | 7.6533 | 890 | 90.3267 | 47.374
2020-04-22 06:45:00 | 7.6873 | 336.7733 | 8.3273 | 321.638 | 8.6807 | 328.68 | 9.6187 | 323.2813 | 7.6533 | 890 | 90.4733 | 48.704
2020-04-22 07:00:00 | 7.75 | 339.6533 | 8.3873 | 327.7467 | 8.6353 | 332.18 | 9.588 | 329.4247 | 7.6533 | 890 | 90.8 | 47.126
2020-04-22 07:15:00 | 7.67 | 340.4067 | 8.3467 | 323.652 | 8.632 | 332.9187 | 9.6333 | 325.308 | 7.5933 | 890 | 90.6867 | 48.19
2020-04-22 07:30:00 | 7.6553 | 336.3267 | 8.2533 | 322.3233 | 8.5407 | 328.9273 | 9.4193 | 323.9713 | 7.6533 | 889.3333 | 90.74 | 46.92
2020-04-22 07:45:00 | 7.4007 | 335.1133 | 8.0067 | 319.2847 | 8.082 | 327.742 | 9.0293 | 320.916 | 7.6133 | 889.6667 | 90.2667 | 45.1293
2020-04-22 08:00:00 | 6.842 | 328 | 7.4207 | 319.1533 | 7.2693 | 320.7833 | 8.246 | 320.7867 | 7.5933 | 889.6667 | 90.7333 | 40.1853
2020-04-22 08:15:00 | 7.0473 | 329.8333 | 7.6047 | 318.886 | 7.4993 | 322.5767 | 8.4287 | 320.518 | 7.78 | 890 | 91.0667 | 41.622
2020-04-22 08:30:00 | 7.022 | 331.8133 | 7.6273 | 320.4193 | 7.5913 | 324.512 | 8.574 | 322.0567 | 7.6133 | 890 | 90.5867 | 43.7333
2020-04-22 08:45:00 | 7.1353 | 337.82 | 7.73 | 316.4487 | 7.6487 | 330.388 | 8.6273 | 318.068 | 7.6667 | 890 | 91.6533 | 45.4253
2020-04-22 09:00:00 | 7.29 | 341.78 | 7.93 | 319.7407 | 7.908 | 334.2607 | 8.9473 | 321.376 | 7.8333 | 890 | 92.68 | 47.2467
2020-04-22 09:15:00 | 7.152 | 339.1733 | 7.746 | 323.608 | 7.7533 | 331.7113 | 8.7053 | 325.2613 | 7.8267 | 890 | 93.54 | 46.3487
2020-04-22 09:30:00 | 7.0567 | 336.5867 | 7.5993 | 325.0153 | 7.614 | 329.182 | 8.4813 | 326.6767 | 7.7733 | 890 | 92.6867 | 45.5447
2020-04-22 09:45:00 | 6.9433 | 331.74 | 7.474 | 323.594 | 7.5947 | 324.4407 | 8.4107 | 325.248 | 7.78 | 890.3333 | 92.2267 | 44.4187
2020-04-22 10:00:00 | 6.8007 | 330.7533 | 7.3333 | 320.6733 | 7.3273 | 323.4767 | 8.194 | 322.3113 | 7.92 | 891 | 91.6333 | 41.8947
2020-04-22 10:15:00 | 6.574 | 332.8133 | 7.096 | 321.998 | 7.1393 | 325.4927 | 7.9647 | 323.6427 | 8 | 891 | 90.8533 | 39.0033
2020-04-22 10:30:00 | 6.334 | 335.5933 | 6.8827 | 326.5473 | 7.13 | 328.21 | 7.94 | 328.216 | 8.04 | 891 | 90.1733 | 37.808
2020-04-22 10:45:00 | 6.376 | 335.7533 | 6.928 | 327.7533 | 7.0033 | 328.366 | 7.8673 | 329.428 | 8.2 | 891 | 89.08 | 36.1307
2020-04-22 11:00:00 | 6.334 | 341 | 6.83 | 331.2353 | 6.838 | 333.4987 | 7.63 | 332.928 | 8.4933 | 891 | 87.5533 | 36.1927
2020-04-22 11:15:00 | 6.2373 | 339.98 | 6.742 | 326.9067 | 6.8687 | 332.5013 | 7.6427 | 328.576 | 8.48 | 891 | 86.6133 | 34.8187
2020-04-22 11:30:00 | 6.11 | 343.44 | 6.626 | 328.164 | 6.8253 | 335.884 | 7.5967 | 329.842 | 8.5467 | 891 | 87.2333 | 33.4447
2020-04-22 11:45:00 | 6.0187 | 342.74 | 6.4727 | 330.922 | 6.3307 | 335.2013 | 7.0993 | 332.6153 | 8.64 | 891 | 87.0267 | 32.212
2020-04-22 12:00:00 | 5.8007 | 332.8733 | 6.228 | 326.5087 | 6.094 | 325.5493 | 6.8233 | 328.178 | 8.7533 | 891 | 87 | 30.4553
2020-04-22 12:15:00 | 5.9627 | 333.8533 | 6.38 | 327.8467 | 6.418 | 326.5093 | 7.0753 | 329.5207 | 8.7267 | 891 | 88.0667 | 31.184
2020-04-22 12:30:00 | 5.578 | 338.8467 | 6.0093 | 323.4047 | 5.9753 | 331.3913 | 6.6813 | 325.0593 | 8.7467 | 891 | 90.9667 | 27.528
2020-04-22 12:45:00 | 4.848 | 348.3133 | 5.264 | 328.236 | 5.3573 | 340.6507 | 5.9947 | 329.9147 | 8.74 | 891 | 93.46 | 22.6333
2020-04-22 13:00:00 | 4.1827 | 253.3867 | 4.4653 | 335.4733 | 4.638 | 247.8127 | 5.044 | 337.1893 | 8.92 | 891 | 94.4267 | 16.8447
2020-04-22 13:15:00 | 4.3633 | 234.7067 | 4.6047 | 331.496 | 4.634 | 229.5433 | 5.018 | 333.1907 | 9.0133 | 891 | 93.8267 | 16.744
2020-04-22 13:30:00 | 4.5807 | 304.14 | 4.9313 | 269.466 | 5.2147 | 297.448 | 5.696 | 270.842 | 8.9667 | 891 | 92.2133 | 20.078
2020-04-22 13:45:00 | 4.584 | 102.6 | 4.9447 | 270.9853 | 5.4067 | 100.3433 | 5.848 | 272.3693 | 8.7867 | 891 | 90.88 | 25.9113
2020-04-22 14:00:00 | 4.8 | 258.7733 | 5.196 | 332.8853 | 5.58 | 253.0793 | 6.106 | 334.588 | 8.4667 | 891 | 92.4733 | 29.2173
2020-04-22 14:15:00 | 5.1153 | 301.98 | 5.4287 | 289.1433 | 5.7433 | 295.3367 | 6.1553 | 290.6213 | 8.24 | 891 | 95.9733 | 27.0687
2020-04-22 14:30:00 | 5.1853 | 322.0467 | 5.5293 | 300.9033 | 5.6827 | 314.962 | 6.1907 | 302.4427 | 8.0067 | 891 | 97.36 | 27.7973
2020-04-22 14:45:00 | 5.338 | 337.94 | 5.698 | 322.1653 | 5.8007 | 330.4153 | 6.3413 | 323.814 | 7.8867 | 891 | 97.9733 | 26.434
2020-04-22 15:00:00 | 4.9133 | 336 | 5.2327 | 308.8207 | 5.578 | 328.6067 | 5.9933 | 310.3987 | 7.6 | 891 | 97.8933 | 23.5287
2020-04-22 15:15:00 | 5.496 | 339.2667 | 5.8227 | 321.82 | 6.0153 | 331.8027 | 6.486 | 323.4647 | 7.4 | 891 | 98.4867 | 32.654
2020-04-22 15:30:00 | 5.8727 | 123.0933 | 6.3847 | 309.916 | 6.6927 | 120.3847 | 7.4247 | 311.4993 | 7.3733 | 891 | 98.9067 | 34.0753
2020-04-22 15:45:00 | 5.1533 | 281.06 | 5.5767 | 326.528 | 5.7747 | 274.8767 | 6.4007 | 328.1973 | 7.2867 | 890.6667 | 98.86 | 25.2687
2020-04-22 16:00:00 | 4.608 | 337.5467 | 4.938 | 318.762 | 4.9913 | 330.12 | 5.5073 | 320.3927 | 7.5 | 890.6667 | 99.1 | 21.5647
2020-04-22 16:15:00 | 4.936 | 339.9467 | 5.236 | 320.5693 | 5.1887 | 332.4673 | 5.6907 | 322.2073 | 7.8133 | 890.6667 | 99.0667 | 24.48
2020-04-22 16:30:00 | 4.734 | 340.56 | 5.032 | 309.556 | 4.9853 | 333.068 | 5.4793 | 311.1387 | 7.9067 | 890 | 99 | 25.806
2020-04-22 16:45:00 | 4.2073 | 329.7667 | 4.3473 | 313.032 | 4.4053 | 322.5107 | 4.6153 | 314.6327 | 7.9 | 891 | 99 | 25.99
2020-04-22 17:00:00 | 4.5213 | 330.1333 | 4.7713 | 316.0773 | 4.85 | 322.87 | 5.228 | 317.6927 | 7.84 | 891 | 99.1867 | 30.3773
2020-04-22 17:15:00 | 5.2573 | 303 | 5.5 | 301.986 | 5.8947 | 296.334 | 6.166 | 303.5307 | 7.76 | 890 | 99.4333 | 37.8487
2020-04-22 17:30:00 | 5.3287 | 329.28 | 5.6213 | 315.672 | 6.006 | 322.0373 | 6.3667 | 317.286 | 7.9333 | 890 | 99.54 | 39.6427
2020-04-22 17:45:00 | 5.474 | 333.9133 | 5.728 | 299.5413 | 5.868 | 326.5667 | 6.2427 | 301.0727 | 8.0733 | 891 | 99.02 | 38.2167
2020-04-22 18:00:00 | 6.0013 | 339.9667 | 6.316 | 325.4667 | 6.504 | 332.4887 | 6.954 | 327.1307 | 8.06 | 890.3333 | 98.7733 | 42.5687
2020-04-22 18:15:00 | 6.6693 | 339.3 | 7.0447 | 327.044 | 7.2447 | 331.836 | 7.79 | 328.7147 | 8.0533 | 891 | 98.2933 | 48.1427
2020-04-22 18:30:00 | 6.962 | 342.4667 | 7.272 | 321.6627 | 7.6407 | 334.9327 | 8.0333 | 323.3087 | 8.08 | 891 | 97.1533 | 52.576
2020-04-22 18:45:00 | 7.4373 | 338.16 | 7.7887 | 321.86 | 8.1107 | 330.7213 | 8.5853 | 323.5053 | 8.0267 | 891 | 96.62 | 56.724
2020-04-22 19:00:00 | 7.4607 | 341.8467 | 7.74 | 326.0513 | 8.1627 | 334.3273 | 8.4927 | 327.718 | 8.04 | 891 | 95.42 | 56.63
2020-04-22 19:15:00 | 7.4493 | 339.12 | 7.8253 | 325.888 | 8.1513 | 331.6587 | 8.6613 | 327.5553 | 7.96 | 891 | 95.8733 | 58.2527
2020-04-22 19:30:00 | 7.678 | 316.7333 | 7.9793 | 320.0867 | 8.182 | 309.7647 | 8.6113 | 321.724 | 8 | 891 | 94.0133 | 57.0093
2020-04-22 19:45:00 | 7.6407 | 334.3467 | 7.9967 | 322.5187 | 8.294 | 326.99 | 8.782 | 324.1673 | 7.8667 | 891 | 93.7 | 60.002
2020-04-22 20:00:00 | 7.7073 | 293.3867 | 8.002 | 322.2893 | 8.4387 | 286.932 | 8.794 | 323.9373 | 7.76 | 891 | 92.9 | 57.8887
2020-04-22 20:15:00 | 7.4447 | 312.7533 | 7.7153 | 317.7707 | 8.4267 | 305.8733 | 8.6567 | 319.3967 | 7.7267 | 891 | 93.1733 | 56.4507
2020-04-22 20:30:00 | 6.54 | 317.38 | 6.662 | 305.5273 | 7.3913 | 310.3987 | 7.3787 | 307.0893 | 7.8067 | 891 | 94.52 | 45.9913
2020-04-22 20:45:00 | 5.8253 | 336.1867 | 5.9927 | 323.7633 | 6.4587 | 328.7907 | 6.5947 | 325.4173 | 7.7933 | 891.3333 | 95.1067 | 37.512
2020-04-22 21:00:00 | 5.294 | 339.2 | 5.514 | 321.5853 | 5.8387 | 331.7373 | 6.1 | 323.2293 | 7.74 | 892 | 95.1533 | 33.7
2020-04-22 21:15:00 | 5.2913 | 334.4467 | 5.4653 | 326.6127 | 5.44 | 327.088 | 5.7293 | 328.2833 | 7.7733 | 892 | 94.34 | 31.5587
2020-04-22 21:30:00 | 5.468 | 333.04 | 5.7627 | 327.3033 | 5.7613 | 325.7127 | 6.2393 | 328.978 | 7.7267 | 892 | 94.5467 | 31.4793
2020-04-22 21:45:00 | 5.1087 | 329.2333 | 5.3687 | 317.458 | 5.1233 | 321.9907 | 5.6173 | 319.082 | 7.7067 | 892 | 95.3 | 27.44
2020-04-22 22:00:00 | 4.012 | 324.6267 | 4.2253 | 312.4647 | 4.482 | 317.484 | 4.7507 | 314.0613 | 7.76 | 892 | 94.1533 | 17.5427
2020-04-22 22:15:00 | 3.578 | 330.84 | 3.7293 | 303.728 | 4.004 | 323.562 | 4.1693 | 305.2807 | 7.7667 | 893 | 93.3267 | 11.8073
2020-04-22 22:30:00 | 3.33 | 322.98 | 3.4987 | 311.252 | 3.6547 | 315.8753 | 3.882 | 312.844 | 7.8933 | 893 | 94.0267 | 11.354
2020-04-22 22:45:00 | 4.1007 | 330.68 | 4.3653 | 312.4573 | 4.546 | 323.404 | 4.9213 | 314.0553 | 7.9867 | 893 | 93.78 | 13.2047
2020-04-22 23:00:00 | 3.9233 | 272.7933 | 4.1507 | 326.1633 | 4.6113 | 266.7913 | 4.8447 | 327.8313 | 7.9867 | 893 | 91.24 | 12.5547
2020-04-22 23:15:00 | 4.164 | 248.02 | 4.2873 | 329.646 | 4.9847 | 242.5627 | 4.9847 | 331.3307 | 8.06 | 893 | 94.22 | 15.176
2020-04-22 23:30:00 | 3.9807 | 338.9933 | 4.1067 | 327.5767 | 4.6127 | 331.5353 | 4.6707 | 329.2533 | 8.0933 | 893 | 95.92 | 13.7047
2020-04-22 23:45:00 | 4.304 | 274.9267 | 4.4927 | 326.6847 | 4.884 | 268.8787 | 5.076 | 328.3553 | 7.92 | 893.3333 | 95.7733 | 15.118