## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-23 00:00:00 | 5.2329 | 337.0571 | 5.525 | 322.7471 | 5.6764 | 329.64 | 6.1014 | 324.3964 | 7.9429 | 894 | 94.33 | 22.0171
2020-04-23 00:15:00 | 5.256 | 339.4533 | 5.598 | 328.0873 | 5.6053 | 331.9853 | 6.152 | 329.764 | 7.5933 | 894 | 94.7667 | 26.5067
2020-04-23 00:30:00 | 5.8487 | 340.8533 | 6.2093 | 329.554 | 6.4607 | 333.3547 | 6.968 | 331.238 | 7.56 | 894 | 96.68 | 33.802
2020-04-23 00:45:00 | 5.9387 | 340.9267 | 6.3333 | 332.154 | 6.704 | 333.426 | 7.2327 | 333.8527 | 7.4733 | 894 | 97.44 | 34.0413
2020-04-23 01:00:00 | 5.4487 | 340.6267 | 5.7773 | 332.7087 | 6.082 | 333.1333 | 6.5233 | 334.4107 | 7.56 | 894 | 98.2533 | 27.6973
2020-04-23 01:15:00 | 5.3753 | 343.48 | 5.6893 | 330.4467 | 5.78 | 335.5187 | 6.2593 | 332.1347 | 7.44 | 894 | 97.7 | 25.658
2020-04-23 01:30:00 | 4.888 | 302.3267 | 5.074 | 334.7507 | 4.9847 | 295.6753 | 5.3127 | 336.4607 | 7.62 | 894 | 96.18 | 19.1873
2020-04-23 01:45:00 | 3.7747 | 303.64 | 3.9027 | 330.472 | 4.1513 | 296.9587 | 4.2887 | 332.1613 | 7.6733 | 894 | 95.7867 | 10.0647
2020-04-23 02:00:00 | 2.902 | 100.24 | 3.0047 | 319.434 | 3.154 | 98.0347 | 3.276 | 321.0693 | 7.6933 | 894 | 94.3667 | 4.19
2020-04-23 02:15:00 | 2.2687 | 79.4067 | 2.4033 | 251.02 | 2.4867 | 77.6607 | 2.6787 | 252.304 | 7.7333 | 894 | 95.6333 | 1.2947
2020-04-23 02:30:00 | 2.258 | 122.9333 | 2.3187 | 337.646 | 2.6707 | 120.2287 | 2.67 | 339.37 | 7.66 | 894 | 95.32 | 1.812
2020-04-23 02:45:00 | 2.7833 | 167.7 | 2.8773 | 324.272 | 3.364 | 164.0107 | 3.3767 | 325.9307 | 7.3667 | 894 | 95.74 | 4.4273
2020-04-23 03:00:00 | 3.3427 | 188.2133 | 3.5087 | 322.4273 | 3.954 | 184.072 | 4.0887 | 324.0747 | 7.2267 | 893.3333 | 96.74 | 7.1367
2020-04-23 03:15:00 | 3.188 | 77.4933 | 3.356 | 336.3213 | 3.5973 | 75.7887 | 3.7993 | 338.042 | 7.3467 | 893 | 96.9667 | 5.6973
2020-04-23 03:30:00 | 3.2047 | 101.1867 | 3.4087 | 336.268 | 3.616 | 98.9607 | 3.8827 | 337.9887 | 7.4467 | 893 | 97.1133 | 5.6193
2020-04-23 03:45:00 | 3.482 | 235.3933 | 3.6847 | 329.97 | 4.1127 | 230.216 | 4.316 | 331.6573 | 7.26 | 893 | 97.7533 | 8.742
2020-04-23 04:00:00 | 3.504 | 233.6933 | 3.6627 | 322.48 | 4.164 | 228.552 | 4.276 | 324.1267 | 7.0933 | 893 | 98.1533 | 9.634
2020-04-23 04:15:00 | 3.7647 | 302 | 3.9467 | 330.0673 | 4.3393 | 296.1707 | 4.5153 | 331.7553 | 7.2667 | 893 | 98.42 | 11.2067
2020-04-23 04:30:00 | 3.9673 | 342.92 | 4.188 | 326.188 | 4.5693 | 335.376 | 4.8107 | 327.8573 | 7.2933 | 893 | 98.46 | 12.22
2020-04-23 04:45:00 | 4.0947 | 347.4467 | 4.2813 | 331.522 | 4.652 | 339.802 | 4.844 | 333.2173 | 7.3533 | 893 | 98.22 | 13.5653
2020-04-23 05:00:00 | 4.2553 | 344.22 | 4.4527 | 328.4587 | 4.864 | 336.6473 | 5.0693 | 330.1367 | 7.3267 | 893 | 98.58 | 15.0073
2020-04-23 05:15:00 | 4.2787 | 299.82 | 4.4587 | 327.3753 | 4.838 | 293.2227 | 5.022 | 329.0507 | 7.2267 | 893 | 98.9533 | 14.8113
2020-04-23 05:30:00 | 4.482 | 344.9 | 4.6893 | 329.6313 | 5.018 | 337.312 | 5.26 | 331.3153 | 7.1467 | 893 | 98.68 | 15.6547
2020-04-23 05:45:00 | 4.4133 | 294.5067 | 4.566 | 328.3747 | 5.1107 | 288.0267 | 5.2047 | 330.052 | 7.2067 | 893 | 99.0933 | 14.8633
2020-04-23 06:00:00 | 4.526 | 345.4533 | 4.78 | 327.1207 | 5.1973 | 337.8547 | 5.4833 | 328.7953 | 7.16 | 893 | 99.2667 | 15.1973
2020-04-23 06:15:00 | 4.5427 | 349.2333 | 4.79 | 328.1073 | 5.1367 | 341.5493 | 5.4347 | 329.7847 | 7.2733 | 893 | 99.1667 | 16.7693
2020-04-23 06:30:00 | 4.4893 | 344.6267 | 4.7207 | 326.3193 | 5.084 | 337.0433 | 5.3487 | 327.988 | 7.24 | 893 | 99.1 | 15.056
2020-04-23 06:45:00 | 3.6853 | 337.8133 | 3.8173 | 319.9233 | 4.4213 | 330.382 | 4.4593 | 321.5587 | 7.22 | 893 | 99.1067 | 10.066
2020-04-23 07:00:00 | 3.3447 | 279.2733 | 3.4633 | 330.9827 | 3.918 | 273.1293 | 3.9807 | 332.676 | 7.3867 | 893 | 98.84 | 8.1173
2020-04-23 07:15:00 | 4.1887 | 321.7067 | 4.472 | 334.2087 | 4.8787 | 314.6293 | 5.218 | 335.9173 | 6.8733 | 893 | 99.18 | 15.8607
2020-04-23 07:30:00 | 5.376 | 342.6067 | 5.686 | 333.3547 | 6.2367 | 335.0693 | 6.574 | 335.06 | 6.8733 | 893 | 99.54 | 25.2713
2020-04-23 07:45:00 | 5.87 | 343.5867 | 6.214 | 328.47 | 6.654 | 336.028 | 7.0813 | 330.15 | 7.0267 | 893 | 98.56 | 29.2567
2020-04-23 08:00:00 | 5.3467 | 324.98 | 5.6073 | 331.88 | 5.9247 | 317.8307 | 6.2527 | 333.578 | 7.3333 | 893.6667 | 97.2533 | 23.982
2020-04-23 08:15:00 | 5.2793 | 320.6067 | 5.5027 | 330.9413 | 5.864 | 313.5533 | 6.1173 | 332.6353 | 7.5533 | 894 | 96.0867 | 23.1507
2020-04-23 08:30:00 | 4.6693 | 273.74 | 4.7727 | 331.372 | 5.3247 | 267.718 | 5.336 | 333.0653 | 7.6933 | 894 | 94.1667 | 18.1587
2020-04-23 08:45:00 | 3.41 | 151.4867 | 3.3927 | 287.7733 | 4.016 | 148.154 | 3.8107 | 289.2447 | 7.7133 | 894 | 93.6067 | 10.1847
2020-04-23 09:00:00 | 2.8913 | 111.26 | 3.0453 | 310.62 | 3.5233 | 108.8113 | 3.636 | 312.2093 | 8.32 | 894 | 91.4067 | 6.682
2020-04-23 09:15:00 | 2.9127 | 129.3533 | 3.0673 | 295.5973 | 3.3673 | 149.296 | 3.5287 | 297.108 | 8.86 | 894.3333 | 86.5133 | 4.6087
2020-04-23 09:30:00 | 2.6913 | 100.0667 | 2.832 | 143.688 | 3.0147 | 97.8647 | 3.1893 | 144.4227 | 9.1533 | 895 | 84.2267 | 3.52
2020-04-23 09:45:00 | 2.202 | 200.0733 | 2.296 | 178.1927 | 2.474 | 195.6713 | 2.5713 | 179.1027 | 9.56 | 895.3333 | 79.6987 | 2.3613
2020-04-23 10:00:00 | 1.5313 | 247.7467 | 1.6787 | 255.532 | 1.8053 | 242.296 | 2.0047 | 256.8387 | 10.4133 | 896 | 76.2227 | 0
2020-04-23 10:15:00 | 1.9173 | 188.8667 | 1.9807 | 291.7433 | 2.2647 | 184.7107 | 2.282 | 293.2353 | 10.6 | 896 | 75.2333 | 0
2020-04-23 10:30:00 | 0.948 | 171.9 | 0.922 | 200.5087 | 1.1313 | 168.118 | 1.0293 | 201.534 | 11.2133 | 896 | 72.774 | 0
2020-04-23 10:45:00 | 1.2253 | 222.8 | 1.2647 | 237.1507 | 1.3013 | 217.898 | 1.352 | 238.3647 | 12.14 | 896 | 73.422 | 0
2020-04-23 11:00:00 | 1.2987 | 243.8533 | 1.3273 | 295.374 | 1.44 | 238.488 | 1.4547 | 296.8867 | 12.7 | 896 | 71.9173 | 0
2020-04-23 11:15:00 | 1.228 | 200.3267 | 1.2467 | 267.3147 | 1.232 | 195.9187 | 1.264 | 268.68 | 13.4333 | 897 | 69.392 | 0
2020-04-23 11:30:00 | 1.1873 | 183.54 | 1.2453 | 244.506 | 1.4107 | 179.502 | 1.4527 | 245.7553 | 14.0333 | 896.3333 | 68.36 | 0
2020-04-23 11:45:00 | 1.2613 | 152.56 | 1.3773 | 302.5607 | 1.4687 | 149.2033 | 1.6247 | 304.108 | 15.0133 | 896 | 64.182 | 0
2020-04-23 12:00:00 | 1.5407 | 156.0867 | 1.6767 | 183.2587 | 1.9647 | 152.6527 | 2.0993 | 184.194 | 15.9133 | 896 | 56.5353 | 0
2020-04-23 12:15:00 | 1.4973 | 106.2933 | 1.49 | 154.0273 | 1.7407 | 103.9553 | 1.6533 | 154.8167 | 15.3733 | 896 | 50.52 | 0
2020-04-23 12:30:00 | 2.034 | 188.6067 | 2.034 | 128.934 | 2.0507 | 184.4573 | 2.0453 | 129.5913 | 15.3867 | 896 | 48.7367 | 0.046667
2020-04-23 12:45:00 | 2.3187 | 167.9933 | 2.358 | 133.5427 | 2.3513 | 164.2973 | 2.4193 | 134.2253 | 15.1667 | 896 | 54.4787 | 0.33333
2020-04-23 13:00:00 | 1.714 | 192.8867 | 1.8253 | 151.4273 | 2.1113 | 188.6433 | 2.2047 | 152.2 | 15.82 | 895.3333 | 56.5713 | 0.50667
2020-04-23 13:15:00 | 2.3367 | 191.9533 | 2.4233 | 147.894 | 2.8847 | 187.73 | 2.892 | 148.648 | 15.8533 | 895 | 55.6507 | 0.83467
2020-04-23 13:30:00 | 2.436 | 195.92 | 2.476 | 143.1073 | 2.922 | 191.6113 | 2.862 | 143.8393 | 15.9733 | 895 | 52.4347 | 1.4567
2020-04-23 13:45:00 | 2.762 | 182.1467 | 2.8807 | 127.5053 | 3.294 | 178.1387 | 3.3713 | 128.158 | 16.04 | 895 | 49.1207 | 2.6153
2020-04-23 14:00:00 | 2.9633 | 175.8933 | 3.072 | 139.894 | 3.3767 | 172.0233 | 3.462 | 140.608 | 16.1333 | 895 | 46.64 | 2.3833
2020-04-23 14:15:00 | 2.6353 | 177.7067 | 2.7707 | 128.052 | 3.142 | 173.7967 | 3.2533 | 128.7073 | 16.4867 | 895 | 44.2093 | 1.928
2020-04-23 14:30:00 | 2.5453 | 201.22 | 2.6247 | 131.6653 | 3.062 | 196.7953 | 3.0633 | 132.3393 | 16.6933 | 895 | 43.0287 | 1.332
2020-04-23 14:45:00 | 2.4893 | 169.1467 | 2.6027 | 143.6893 | 2.948 | 165.4247 | 3.0273 | 144.4233 | 16.8867 | 895 | 41.62 | 0.83267
2020-04-23 15:00:00 | 2.4527 | 190.7067 | 2.5447 | 121.8067 | 2.934 | 186.5113 | 2.968 | 122.4287 | 16.5667 | 894.3333 | 41.3233 | 1.0633
2020-04-23 15:15:00 | 2.992 | 150.4333 | 3.1033 | 138.01 | 3.2887 | 147.1233 | 3.4173 | 138.7147 | 16.5467 | 894 | 40.9287 | 4.3567
2020-04-23 15:30:00 | 3.8427 | 167.8467 | 4.0713 | 149.776 | 4.252 | 164.1533 | 4.574 | 150.5427 | 16.62 | 894 | 41.2767 | 10.6807
2020-04-23 15:45:00 | 3.4407 | 165.9933 | 3.5833 | 130.212 | 3.6573 | 162.342 | 3.872 | 130.876 | 16.3467 | 894 | 44.422 | 5.9493
2020-04-23 16:00:00 | 3.2993 | 162.7933 | 3.436 | 138.9733 | 3.578 | 159.2127 | 3.7587 | 139.684 | 16.6133 | 894 | 45.4253 | 6.7987
2020-04-23 16:15:00 | 3.8967 | 170.1067 | 4.0487 | 137.7493 | 4.288 | 166.3647 | 4.4653 | 138.4507 | 16.44 | 894 | 45.5053 | 10.706
2020-04-23 16:30:00 | 3.6127 | 172.22 | 3.806 | 144.412 | 4.1373 | 168.43 | 4.352 | 145.1487 | 15.98 | 893.3333 | 47.8513 | 12.048
2020-04-23 16:45:00 | 4.222 | 158.0467 | 4.4453 | 141.868 | 4.7487 | 154.57 | 5.0207 | 142.5927 | 15.9 | 893 | 50.3007 | 15.1507
2020-04-23 17:00:00 | 4.858 | 151.48 | 5.0667 | 141.8433 | 5.298 | 148.146 | 5.5713 | 142.5673 | 15.7867 | 893 | 52.202 | 19.2107
2020-04-23 17:15:00 | 4.7913 | 147.3467 | 4.9667 | 135.296 | 5.0653 | 144.1047 | 5.322 | 135.988 | 15.5267 | 893 | 54.6793 | 19.0693
2020-04-23 17:30:00 | 5.0947 | 152.9533 | 5.26 | 139.952 | 5.3927 | 149.5873 | 5.6233 | 140.6667 | 15.16 | 893 | 54.8807 | 22.7987
2020-04-23 17:45:00 | 4.748 | 158.56 | 4.8887 | 139.4427 | 5.028 | 155.0707 | 5.2167 | 140.1567 | 14.96 | 893 | 55.8007 | 21.0107
2020-04-23 18:00:00 | 4.5373 | 161.9667 | 4.686 | 140.3247 | 4.8293 | 158.4047 | 5.03 | 141.0407 | 14.96 | 892.3333 | 56.3913 | 19.8293
2020-04-23 18:15:00 | 4.4967 | 159.7 | 4.6633 | 143.426 | 4.746 | 156.1867 | 4.9907 | 144.162 | 15.0267 | 892.3333 | 56.406 | 19.1793
2020-04-23 18:30:00 | 4.726 | 157.4867 | 4.9447 | 139.918 | 5.026 | 154.022 | 5.3547 | 140.636 | 14.9467 | 892.3333 | 56.5467 | 20.13
2020-04-23 18:45:00 | 4.5987 | 152.84 | 4.7907 | 136.8347 | 4.7893 | 149.4767 | 5.1047 | 137.5333 | 14.6933 | 892.3333 | 56.876 | 17.6913
2020-04-23 19:00:00 | 4.4707 | 161.4533 | 4.644 | 140.63 | 4.612 | 157.9013 | 4.9073 | 141.348 | 14.42 | 892.3333 | 56.9833 | 18.168
2020-04-23 19:15:00 | 4.618 | 155.4667 | 4.808 | 141.8227 | 4.8193 | 152.048 | 5.1273 | 142.548 | 14.1667 | 892 | 58.398 | 19.5533
2020-04-23 19:30:00 | 4.4127 | 158.5933 | 4.5953 | 143.3487 | 4.606 | 155.1033 | 4.898 | 144.082 | 13.8267 | 892 | 59.4027 | 22.4867
2020-04-23 19:45:00 | 4.4867 | 158.0067 | 4.666 | 143.648 | 4.7013 | 154.53 | 4.9813 | 144.3833 | 13.5733 | 892 | 62.4193 | 23.904
2020-04-23 20:00:00 | 4.4107 | 158.1133 | 4.634 | 153.5787 | 4.8293 | 154.6347 | 5.1367 | 154.3633 | 13.3867 | 892 | 66.0047 | 26.318
2020-04-23 20:15:00 | 4.032 | 156.4067 | 4.2127 | 151.1467 | 4.4207 | 152.966 | 4.6507 | 151.92 | 13.2067 | 892 | 68.0567 | 20.342
2020-04-23 20:30:00 | 3.808 | 150.88 | 3.9507 | 147.202 | 4.412 | 147.5607 | 4.508 | 147.9547 | 12.9867 | 892.6667 | 68.176 | 17.6313
2020-04-23 20:45:00 | 3.9573 | 142.84 | 4.0827 | 135.166 | 4.5407 | 139.6973 | 4.6147 | 135.856 | 12.7733 | 893 | 66.982 | 16.5033
2020-04-23 21:00:00 | 3.9907 | 147.8733 | 4.0907 | 135.7013 | 4.4373 | 144.6193 | 4.5033 | 136.3947 | 12.7533 | 893 | 65.6293 | 14.536
2020-04-23 21:15:00 | 4.1693 | 146.64 | 4.3687 | 139.0393 | 4.7147 | 143.4133 | 4.9353 | 139.7507 | 12.6 | 893 | 66.1413 | 16.5547
2020-04-23 21:30:00 | 3.9393 | 149.48 | 4.1307 | 137.76 | 4.4127 | 146.1907 | 4.6407 | 138.4653 | 12.3067 | 893 | 67.856 | 13.9207
2020-04-23 21:45:00 | 3.6267 | 159.06 | 3.7567 | 142.3073 | 3.9513 | 155.5607 | 4.106 | 143.034 | 12.26 | 893 | 68.662 | 12.84
2020-04-23 22:00:00 | 3.442 | 157.24 | 3.558 | 146.78 | 3.696 | 153.78 | 3.848 | 147.526 | 12.2 | 893 | 69.336 | 14.566
2020-04-23 22:15:00 | 3.4147 | 175.5533 | 3.544 | 154.896 | 3.63 | 171.6907 | 3.8167 | 155.686 | 11.8533 | 894 | 72.4047 | 15.812
2020-04-23 22:30:00 | 3.702 | 175.12 | 3.8513 | 161.1673 | 3.904 | 171.8533 | 4.134 | 161.992 | 11.5667 | 894 | 76.1853 | 18.7253
2020-04-23 22:45:00 | 3.6113 | 167.8067 | 3.678 | 158.018 | 3.7413 | 164.114 | 3.8313 | 158.826 | 11.2933 | 894 | 78.6567 | 17.6607
2020-04-23 23:00:00 | 3.1347 | 171.8 | 3.204 | 154.3473 | 3.2653 | 168.0207 | 3.36 | 155.1373 | 11.2267 | 894 | 79.6247 | 10.3607
2020-04-23 23:15:00 | 3.0813 | 168.6933 | 3.164 | 156.2467 | 3.1427 | 164.982 | 3.2853 | 157.0447 | 11.0867 | 894 | 79.9947 | 9.494
2020-04-23 23:30:00 | 3.0587 | 160.5333 | 3.1253 | 155.5867 | 3.2133 | 157.002 | 3.294 | 156.3807 | 10.9867 | 894 | 81.8933 | 9.3973
2020-04-23 23:45:00 | 2.9807 | 157.44 | 3.1353 | 149.9067 | 3.2427 | 153.9753 | 3.4593 | 150.6727 | 10.7867 | 894 | 83.9 | 7.85